## Settings
Sample Info | ReRAM ZrO2 zb1e run 5
Comments | 0.1/-0.5/0.1
Additional Comments | next day, noisy
Major Measurement Parameters
Starting Temperature | 295.179
Initial Temperature | 81
Final Temperature | 320
Preliminary Voltage | 0.1
Pulse Voltage | -0.5
Pulse Time | 20
Wait Time | 0
Measurement Voltage | 0.1
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 31.1.2024
Clock | 13:1:8

## Stabilization
Temperature | Current
0 | 1.0333e-06
0 | 1.0416e-06
0 | 1.0442e-06
0 | 1.0487e-06
0 | 1.0455e-06
0 | 1.0563e-06
0 | 1.0454e-06
0 | 1.044e-06
0 | 1.0459e-06
80.9205 | 1.0552e-06
0 | 1.0531e-06
0 | 1.044e-06
0 | 1.041e-06
0 | 1.0467e-06
0 | 1.0398e-06
0 | 1.0443e-06
0 | 1.0426e-06
0 | 1.0427e-06
0 | 1.0368e-06
0 | 1.061e-06
0 | 1.0424e-06
0 | 1.0516e-06
0 | 1.0624e-06
0 | 1.0489e-06
0 | 1.0521e-06
0 | 1.0527e-06
0 | 1.0508e-06
0 | 1.0449e-06
0 | 1.0524e-06
0 | 1.0593e-06
0 | 1.0498e-06
0 | 1.0465e-06
0 | 1.0517e-06
0 | 1.0486e-06
0 | 1.0551e-06
0 | 1.0463e-06
0 | 1.0422e-06
0 | 1.0468e-06
0 | 1.0602e-06
0 | 1.0565e-06
0 | 1.0465e-06
0 | 1.0588e-06
0 | 1.0575e-06
0 | 1.0494e-06
0 | 1.0461e-06
0 | 1.0413e-06
0 | 1.0515e-06
0 | 1.0495e-06
0 | 1.0416e-06
0 | 1.0511e-06
0 | 1.0415e-06
0 | 1.0439e-06
0 | 1.041e-06
0 | 1.0393e-06
0 | 1.0353e-06
0 | 1.0424e-06
0 | 1.0304e-06
0 | 1.0349e-06
0 | 1.0439e-06
0 | 1.0495e-06
0 | 1.0322e-06
0 | 1.0369e-06
0 | 1.0479e-06
0 | 1.0395e-06
0 | 1.0336e-06
0 | 1.0275e-06
0 | 1.0353e-06
0 | 1.0359e-06
0 | 1.0379e-06
0 | 1.0393e-06
0 | 1.0479e-06
0 | 1.0451e-06
0 | 1.0518e-06
0 | 1.0471e-06
0 | 1.0507e-06
0 | 1.054e-06
0 | 1.0546e-06
0 | 1.0558e-06
0 | 1.0565e-06
0 | 1.0576e-06
0 | 1.0533e-06
0 | 1.0396e-06
0 | 1.0541e-06
0 | 1.0484e-06
0 | 1.0463e-06
0 | 1.0437e-06
0 | 1.0457e-06
0 | 1.0468e-06
0 | 1.0459e-06
0 | 1.0485e-06
0 | 1.042e-06
0 | 1.0559e-06
0 | 1.0568e-06
0 | 1.0529e-06
0 | 1.0514e-06
0 | 1.0524e-06
0 | 1.0506e-06
0 | 1.0493e-06
0 | 1.053e-06
0 | 1.0534e-06
0 | 1.044e-06
0 | 1.0497e-06
0 | 1.0429e-06
0 | 1.046e-06
0 | 1.0292e-06
0 | 1.0444e-06
0 | 1.0347e-06
0 | 1.049e-06
0 | 1.0352e-06
0 | 1.0343e-06
0 | 1.0354e-06
0 | 1.047e-06
0 | 1.0354e-06
0 | 1.0287e-06
0 | 1.0324e-06
0 | 1.0291e-06
0 | 1.0263e-06
0 | 1.0278e-06
0 | 1.0237e-06
0 | 1.0157e-06
0 | 1.0198e-06
0 | 1.0266e-06
0 | 1.0232e-06
0 | 1.0256e-06
0 | 1.0241e-06
0 | 1.0221e-06
0 | 1.0245e-06
0 | 1.0349e-06
0 | 1.0235e-06
0 | 1.0226e-06
0 | 1.0223e-06
0 | 1.0325e-06
0 | 1.0338e-06
0 | 1.0211e-06
0 | 1.0218e-06
0 | 1.0202e-06
0 | 1.0222e-06
0 | 1.0206e-06
0 | 1.0264e-06
0 | 1.0156e-06
0 | 1.0193e-06
0 | 1.0194e-06
0 | 1.0195e-06
0 | 1.0186e-06
0 | 1.0232e-06
0 | 1.0154e-06
0 | 1.0161e-06
0 | 1.0164e-06
0 | 1.0168e-06
0 | 1.0147e-06
0 | 1.0169e-06
0 | 1.0123e-06
0 | 1.0225e-06
0 | 1.0257e-06
0 | 1.0116e-06
0 | 1.0116e-06
0 | 1.0132e-06
0 | 1.0162e-06
0 | 1.0185e-06
0 | 1.0234e-06
0 | 1.0273e-06
0 | 1.025e-06
0 | 1.0286e-06
0 | 1.0161e-06
0 | 1.0241e-06
0 | 1.0247e-06
0 | 1.0255e-06
0 | 1.026e-06
0 | 1.022e-06
0 | 1.02e-06
0 | 1.0202e-06
0 | 1.0179e-06
0 | 1.0188e-06
0 | 1.0178e-06
0 | 1.0149e-06
0 | 1.0204e-06
0 | 1.0089e-06
0 | 1.0177e-06
0 | 1.0161e-06
0 | 1.0189e-06
0 | 1.0043e-06
0 | 1.0063e-06
0 | 1.0076e-06
0 | 1.0092e-06
0 | 1.0155e-06
0 | 1.0005e-06
0 | 1.0015e-06
0 | 1.0033e-06
0 | 1.0025e-06
0 | 9.988e-07
0 | 9.9285e-07
0 | 9.9769e-07
0 | 9.942e-07
0 | 9.9736e-07
0 | 1.0029e-06
0 | 1.0008e-06
0 | 9.995e-07
0 | 1.0025e-06
0 | 9.9944e-07
0 | 9.9841e-07
0 | 1.0008e-06
0 | 1.0001e-06
0 | 9.9891e-07
0 | 9.9679e-07
0 | 9.9587e-07
0 | 9.9864e-07
0 | 9.976e-07
0 | 9.8672e-07
0 | 9.939e-07
0 | 9.9203e-07
0 | 9.9869e-07
0 | 9.8886e-07
0 | 9.9074e-07
0 | 9.9032e-07
0 | 9.9069e-07
0 | 9.8835e-07
0 | 9.8874e-07
0 | 9.9544e-07
0 | 9.9577e-07
0 | 9.9878e-07
0 | 9.9504e-07
0 | 9.851e-07
0 | 9.7492e-07
0 | 9.8121e-07
0 | 9.8507e-07
0 | 9.8531e-07
0 | 9.8042e-07
0 | 9.8035e-07
0 | 9.797e-07
0 | 9.6784e-07
0 | 9.7952e-07
0 | 9.7719e-07
0 | 9.7503e-07
0 | 9.656e-07
0 | 9.6397e-07
0 | 9.6363e-07
0 | 9.6304e-07
0 | 9.7251e-07
0 | 9.6731e-07
0 | 9.5945e-07
0 | 9.5388e-07
0 | 9.5676e-07
0 | 9.5601e-07
0 | 9.557e-07
0 | 9.5763e-07
0 | 9.5348e-07
0 | 9.5465e-07
0 | 9.5692e-07
0 | 9.5242e-07
0 | 9.5417e-07
0 | 9.5457e-07
0 | 9.5049e-07
0 | 9.5329e-07
0 | 9.505e-07
0 | 9.4944e-07
0 | 9.4957e-07
0 | 9.4899e-07
0 | 9.5043e-07
0 | 9.4875e-07
0 | 9.4665e-07
0 | 9.471e-07
0 | 9.5515e-07
0 | 9.4445e-07
0 | 9.4593e-07
0 | 9.394e-07
0 | 9.4564e-07
0 | 9.4646e-07
0 | 9.3178e-07
0 | 9.4105e-07
0 | 9.4574e-07
0 | 9.44e-07
0 | 9.4242e-07
0 | 9.4026e-07
0 | 9.4082e-07
0 | 9.458e-07
0 | 9.4195e-07
0 | 9.4221e-07
0 | 9.4368e-07
0 | 9.4148e-07
0 | 9.3874e-07
0 | 9.4007e-07
0 | 9.4198e-07
0 | 9.3856e-07
0 | 9.4076e-07
0 | 9.4038e-07
0 | 9.4015e-07
0 | 9.4461e-07
0 | 9.5284e-07
0 | 9.4744e-07
0 | 9.393e-07
0 | 9.4419e-07
0 | 9.4914e-07
0 | 9.3988e-07
0 | 9.5169e-07
0 | 9.4799e-07
0 | 9.3805e-07
0 | 9.4943e-07
0 | 9.4167e-07
0 | 8.6036e-07
0 | 9.1018e-07
0 | 9.3691e-07
0 | 8.9186e-07
0 | 8.3537e-07
0 | 8.3569e-07
0 | 8.4468e-07
0 | 8.2839e-07
0 | 7.8096e-07
0 | 7.8331e-07
0 | 7.7342e-07
0 | 7.9335e-07
0 | 7.72e-07
0 | 7.6035e-07
0 | 8.0469e-07
0 | 7.6639e-07
0 | 7.4517e-07
0 | 6.9744e-07
0 | 7.7595e-07
0 | 6.4746e-07
0 | 7.1804e-07
0 | 6.7514e-07
0 | 6.0001e-07
0 | 5.3072e-07
0 | 6.6736e-07
0 | 5.8709e-07
0 | 5.2592e-07
0 | 4.8821e-07
0 | 3.9455e-07
0 | 3.3075e-07
0 | 3.6677e-07
0 | 4.1418e-07
0 | 4.059e-07
0 | 4.3063e-07
0 | 3.7481e-07
0 | 3.7593e-07
0 | 3.6487e-07
0 | 3.5706e-07
0 | 3.4804e-07
0 | 3.5059e-07
0 | 3.3248e-07
0 | 3.3203e-07
0 | 3.2452e-07
0 | 2.9051e-07
0 | 3.0373e-07
0 | 3.0286e-07
0 | 2.9248e-07
0 | 2.1384e-07
0 | 2.443e-07
0 | 2.6845e-07
0 | 2.5045e-07
0 | 2.2776e-07
0 | 2.4852e-07
0 | 2.4379e-07
0 | 2.3017e-07
0 | 2.3641e-07
0 | 2.435e-07
0 | 2.5387e-07
0 | 2.467e-07
0 | 2.2597e-07
0 | 2.4266e-07
0 | 2.6145e-07
0 | 2.4539e-07
0 | 2.4159e-07
0 | 2.5915e-07
0 | 2.5281e-07
0 | 2.3393e-07
0 | 2.2202e-07
0 | 2.0256e-07
0 | 1.8118e-07
0 | 1.6058e-07
0 | 1.1046e-07
0 | 1.6518e-07
0 | 1.0515e-07
0 | 2.2552e-08
0 | 2.268e-08
0 | 7.0088e-10
0 | -2.218e-10
0 | -2.2227e-10
0 | -2.2142e-10
0 | -2.2191e-10
0 | -2.223e-10
0 | -2.2403e-10
0 | -2.2261e-10
0 | -2.2358e-10
0 | -2.2185e-10
0 | -2.2133e-10
0 | -2.2172e-10
0 | -2.2142e-10
0 | -2.2004e-10
0 | -2.2073e-10
0 | -2.2126e-10
0 | -2.2178e-10
0 | -2.2133e-10
0 | -2.2102e-10
0 | -2.2001e-10
0 | -2.2119e-10
0 | -2.2209e-10
0 | -2.2222e-10
0 | -2.22e-10
0 | -2.2035e-10
0 | -2.2025e-10
0 | -2.2127e-10
0 | -2.2103e-10
0 | -2.2198e-10
0 | -2.2219e-10
0 | -2.2224e-10
0 | -2.2083e-10
0 | -2.2085e-10
0 | -2.2081e-10
0 | -2.2204e-10
0 | -2.2222e-10
0 | -2.2187e-10
0 | -2.2189e-10
0 | -2.2107e-10
0 | -2.2201e-10
0 | -2.2179e-10
0 | -2.2221e-10
0 | -2.2214e-10
0 | -2.2329e-10
0 | -2.2458e-10
0 | -2.2321e-10
0 | -2.2261e-10
0 | -2.2349e-10
0 | -2.2426e-10
0 | -2.2353e-10
0 | -2.2176e-10
0 | -2.2291e-10
0 | -2.2357e-10
0 | -2.2254e-10
0 | -2.2326e-10
0 | -2.2449e-10
0 | -2.2396e-10
0 | -2.239e-10
0 | -2.2465e-10
0 | -2.2518e-10
0 | -2.2341e-10
0 | -2.2468e-10
0 | -2.2266e-10
0 | -2.2259e-10
0 | -2.2369e-10
0 | -2.225e-10
0 | -2.2295e-10
0 | -2.2392e-10
0 | -2.2439e-10
0 | -2.2357e-10
0 | -2.2224e-10
0 | -2.2391e-10
0 | -2.2259e-10
0 | -2.221e-10
0 | -2.2289e-10
0 | -2.2222e-10
0 | -2.2188e-10
0 | -2.2442e-10
0 | -2.2359e-10
0 | -2.2347e-10
0 | -2.2358e-10
0 | -2.2269e-10
0 | -2.2324e-10
0 | -2.2379e-10
0 | -2.238e-10
0 | -2.2364e-10
0 | -2.2385e-10
0 | -2.2297e-10
0 | -2.2323e-10
0 | -2.2325e-10
0 | -2.2322e-10
0 | -2.2426e-10
0 | -2.2304e-10
0 | -2.2347e-10
0 | -2.2333e-10
0 | -2.2369e-10
0 | -2.2352e-10
0 | -2.2289e-10
0 | -2.2297e-10
0 | -2.2323e-10
0 | -2.2277e-10
0 | -2.2224e-10
0 | -2.2203e-10
0 | -2.2218e-10
0 | -2.2299e-10
0 | -2.2278e-10
0 | -2.2182e-10
0 | -2.2121e-10
0 | -2.2186e-10
0 | -2.2169e-10
0 | -2.2155e-10
0 | -2.2178e-10
0 | -2.2201e-10
0 | -2.2145e-10
0 | -2.2318e-10
0 | -2.2284e-10
0 | -1.3568e-10
0 | -2.0946e-10
0 | -1.1361e-10
0 | -2.2145e-10
0 | -2.2158e-10
0 | -2.2092e-10
0 | -2.2131e-10
0 | -2.2062e-10
0 | -2.2235e-10
0 | -2.2303e-10
0 | -2.2315e-10
0 | -2.2242e-10
0 | -2.2359e-10
0 | -2.2335e-10
0 | -2.2423e-10
0 | -2.1834e-10
0 | 9.1005e-07
0 | 9.0948e-07
0 | 9.0717e-07
0 | 9.0446e-07
0 | 9.0246e-07
0 | 9.0334e-07
0 | 9.0255e-07
0 | 8.9854e-07
0 | 9.0023e-07
0 | 9.0178e-07
0 | 8.9709e-07
0 | 8.9346e-07
0 | 8.9545e-07
0 | 8.9411e-07
0 | 8.9485e-07
0 | 8.9229e-07
0 | 8.8378e-07
0 | 8.8872e-07
0 | 8.9052e-07
0 | 8.872e-07
0 | 8.8746e-07
0 | 8.8529e-07
0 | 8.8734e-07
0 | 8.8415e-07
0 | 8.8428e-07
0 | 8.855e-07
0 | 8.6965e-07
0 | 8.8025e-07
0 | 8.8062e-07
0 | 8.8269e-07
0 | 8.8086e-07
0 | 8.8107e-07
0 | 8.7809e-07
0 | 8.7691e-07
0 | 8.7861e-07
0 | 8.782e-07
0 | 8.7891e-07
0 | 8.7651e-07
0 | 8.741e-07
0 | 8.7371e-07
0 | 8.7232e-07
0 | 8.6465e-07
0 | 8.6377e-07
0 | 8.6365e-07
0 | 8.6372e-07
0 | 8.7149e-07
0 | 8.6945e-07
0 | 8.7098e-07
0 | 8.692e-07
0 | 8.1428e-07
0 | 8.6587e-07
0 | 8.6416e-07
0 | 8.6091e-07
0 | 8.6156e-07
0 | 8.5987e-07
0 | 8.6365e-07
0 | 8.6262e-07
0 | 8.609e-07
0 | 8.6155e-07
0 | 8.61e-07
0 | 8.6027e-07
0 | 8.6195e-07
0 | 8.6142e-07
0 | 8.5835e-07
0 | 8.5894e-07
0 | 8.5597e-07
0 | 8.5668e-07
0 | 8.543e-07
0 | 8.4875e-07
0 | 8.5092e-07
0 | 8.5327e-07
0 | 8.5316e-07
0 | 8.5028e-07
0 | 8.507e-07
0 | 8.4972e-07
0 | 8.5061e-07
0 | 8.4977e-07
0 | 8.5025e-07
0 | 8.4932e-07
0 | 8.4669e-07
0 | 8.4614e-07
80.8861 | 8.4727e-07

## Measurements
Temperature | Current
80.8042 | 8.1506e-07
80.9384 | 8.0466e-07
81.2127 | 8.0722e-07
81.5719 | 8.2731e-07
81.8271 | 8.2348e-07
82.1996 | 8.2198e-07
82.5014 | 8.1767e-07
82.7729 | 8.234e-07
83.0423 | 8.1876e-07
83.3263 | 8.1455e-07
83.6378 | 8.096e-07
84.0136 | 8.111e-07
84.2758 | 8.1182e-07
84.5316 | 8.1565e-07
84.8689 | 8.2142e-07
85.1067 | 8.1709e-07
85.4531 | 8.1918e-07
85.7596 | 8.108e-07
86.0495 | 8.0408e-07
86.33 | 7.9913e-07
86.6422 | 8.119e-07
86.8946 | 8.0642e-07
87.2605 | 8.0895e-07
87.6671 | 8.1245e-07
87.8095 | 7.886e-07
88.1906 | 7.8907e-07
88.4704 | 7.8911e-07
88.7691 | 8.0219e-07
89.0581 | 7.8457e-07
89.3448 | 8.0003e-07
89.3286 | 7.9164e-07
89.9785 | 7.9284e-07
90.4171 | 7.9195e-07
90.7827 | 7.926e-07
91.155 | 7.9183e-07
91.3832 | 7.9047e-07
91.4665 | 7.8973e-07
91.7665 | 7.8875e-07
92.0975 | 7.8893e-07
92.3749 | 7.9219e-07
92.6584 | 7.9011e-07
92.9511 | 7.8951e-07
93.2621 | 7.884e-07
93.5649 | 7.8813e-07
93.8582 | 7.8727e-07
94.1388 | 7.8621e-07
94.4098 | 7.8561e-07
94.7381 | 7.8544e-07
95.0492 | 7.8423e-07
95.3448 | 7.8438e-07
95.6332 | 7.8397e-07
95.9423 | 7.8395e-07
96.2583 | 7.8307e-07
96.5549 | 7.8319e-07
96.834 | 7.8298e-07
97.1434 | 7.8115e-07
97.4209 | 7.8135e-07
97.7544 | 7.8058e-07
98.0224 | 7.7908e-07
98.3265 | 7.7873e-07
98.6326 | 7.7923e-07
98.9292 | 7.773e-07
99.2221 | 7.774e-07
99.5257 | 7.7454e-07
99.8205 | 7.7698e-07
100.124 | 7.7367e-07
100.455 | 7.748e-07
100.709 | 7.7674e-07
101.044 | 7.7227e-07
101.364 | 7.7505e-07
101.648 | 7.7436e-07
101.922 | 7.7901e-07
102.246 | 7.9692e-07
102.544 | 7.9661e-07
102.85 | 7.9903e-07
103.144 | 7.8924e-07
103.411 | 7.839e-07
103.708 | 7.8662e-07
104.029 | 7.7516e-07
104.355 | 7.8373e-07
104.612 | 7.8802e-07
104.941 | 7.7855e-07
105.212 | 7.8149e-07
105.552 | 7.8544e-07
105.838 | 7.758e-07
106.105 | 7.8312e-07
106.441 | 7.8336e-07
106.708 | 7.8143e-07
107.04 | 7.7653e-07
107.356 | 7.8613e-07
107.648 | 7.8097e-07
107.945 | 7.7556e-07
108.243 | 7.7765e-07
108.519 | 7.7778e-07
108.811 | 7.8284e-07
109.127 | 7.8562e-07
109.406 | 7.6988e-07
109.734 | 7.7372e-07
110.052 | 7.7836e-07
110.336 | 7.8008e-07
110.668 | 7.7335e-07
110.949 | 7.7972e-07
111.234 | 7.8101e-07
111.566 | 7.6997e-07
111.834 | 7.7934e-07
112.114 | 7.8014e-07
112.453 | 7.7718e-07
112.721 | 7.8081e-07
113.049 | 7.8118e-07
113.34 | 7.6576e-07
113.614 | 7.77e-07
113.948 | 7.7425e-07
114.234 | 7.743e-07
114.52 | 7.7859e-07
114.81 | 7.5762e-07
115.132 | 7.5741e-07
115.443 | 7.5758e-07
115.733 | 7.5705e-07
116.025 | 7.5846e-07
116.349 | 7.6333e-07
116.644 | 7.6347e-07
116.92 | 7.6473e-07
117.255 | 7.6329e-07
117.541 | 7.6117e-07
117.849 | 7.5847e-07
118.138 | 7.633e-07
118.407 | 7.7152e-07
118.713 | 7.7035e-07
119.047 | 7.6998e-07
119.307 | 7.7034e-07
119.653 | 7.7119e-07
119.951 | 7.7138e-07
120.255 | 7.701e-07
120.54 | 7.7292e-07
120.853 | 7.6805e-07
121.13 | 7.565e-07
121.427 | 7.6303e-07
121.76 | 7.7691e-07
122.035 | 8.0481e-07
122.347 | 8.0216e-07
122.643 | 8.0353e-07
122.953 | 8.0558e-07
123.23 | 8.052e-07
123.53 | 8.0456e-07
123.837 | 8.025e-07
124.107 | 8.0185e-07
124.41 | 8.0269e-07
124.713 | 8.0342e-07
125.042 | 8.0295e-07
125.316 | 8.0355e-07
125.64 | 8.0259e-07
125.955 | 8.0244e-07
126.251 | 8.0395e-07
126.541 | 8.045e-07
126.855 | 8.051e-07
127.17 | 8.0494e-07
127.409 | 8.056e-07
127.71 | 8.0584e-07
128.021 | 8.0531e-07
128.318 | 8.0615e-07
128.68 | 8.0566e-07
128.97 | 8.0319e-07
129.221 | 8.0621e-07
129.518 | 8.086e-07
129.888 | 8.0728e-07
130.193 | 8.0729e-07
130.533 | 8.0799e-07
130.822 | 8.0816e-07
131.108 | 8.0864e-07
131.413 | 8.0733e-07
131.669 | 8.0802e-07
131.916 | 8.0793e-07
132.234 | 8.0781e-07
132.532 | 8.0731e-07
132.805 | 8.0781e-07
133.126 | 8.074e-07
133.424 | 8.057e-07
133.71 | 7.9453e-07
134.042 | 7.762e-07
134.354 | 7.9481e-07
134.638 | 7.9474e-07
134.951 | 7.8951e-07
135.228 | 7.8861e-07
135.528 | 7.7797e-07
135.838 | 8.061e-07
136.129 | 7.7691e-07
136.422 | 7.959e-07
136.741 | 7.7822e-07
137.033 | 7.9583e-07
137.313 | 7.9491e-07
137.656 | 7.7789e-07
137.936 | 7.7576e-07
138.226 | 7.9277e-07
138.548 | 8.0267e-07
138.842 | 8.0744e-07
139.147 | 7.7836e-07
139.443 | 7.9221e-07
139.742 | 7.9373e-07
140.047 | 7.75e-07
140.348 | 7.882e-07
140.62 | 7.7419e-07
140.942 | 7.608e-07
141.263 | 7.5953e-07
141.538 | 7.7605e-07
141.848 | 7.7554e-07
142.208 | 8.0403e-07
142.433 | 8.0483e-07
142.755 | 8.0578e-07
143.03 | 8.0681e-07
143.341 | 8.0794e-07
143.622 | 8.0674e-07
143.951 | 7.9385e-07
144.213 | 7.7726e-07
144.546 | 7.8396e-07
144.832 | 7.8386e-07
145.17 | 8.071e-07
145.436 | 8.0768e-07
145.719 | 8.0778e-07
146.049 | 8.0693e-07
146.332 | 8.0737e-07
146.648 | 8.0732e-07
146.938 | 8.0896e-07
147.219 | 8.0768e-07
147.55 | 8.0914e-07
147.83 | 8.0808e-07
148.143 | 8.0845e-07
148.422 | 8.0858e-07
148.752 | 7.9782e-07
149.034 | 7.9054e-07
149.315 | 7.8585e-07
149.649 | 7.8098e-07
149.929 | 7.9398e-07
150.256 | 7.84e-07
150.513 | 7.8133e-07
150.844 | 7.8045e-07
151.13 | 7.8274e-07
151.468 | 7.8097e-07
151.736 | 7.9193e-07
152.018 | 7.8194e-07
152.305 | 7.9586e-07
152.643 | 7.852e-07
152.929 | 7.9794e-07
153.25 | 7.82e-07
153.535 | 7.8144e-07
153.817 | 7.9691e-07
154.15 | 7.8225e-07
154.435 | 8.0215e-07
154.752 | 7.8496e-07
155.037 | 8.0066e-07
155.367 | 7.9639e-07
155.624 | 8.1327e-07
155.923 | 8.1351e-07
156.248 | 8.1224e-07
156.533 | 8.1413e-07
156.824 | 8.1239e-07
157.149 | 8.1492e-07
157.435 | 8.1298e-07
157.722 | 8.163e-07
158.017 | 8.1484e-07
158.354 | 8.1486e-07
158.617 | 8.1695e-07
158.948 | 8.1543e-07
159.228 | 8.1703e-07
159.549 | 8.1635e-07
159.832 | 8.2017e-07
160.161 | 8.1585e-07
160.423 | 8.1677e-07
160.751 | 8.1812e-07
161.018 | 8.1877e-07
161.351 | 8.1877e-07
161.631 | 8.1929e-07
161.922 | 8.0107e-07
162.228 | 8.2183e-07
162.547 | 8.2319e-07
162.853 | 8.2331e-07
163.145 | 8.2384e-07
163.433 | 8.2385e-07
163.731 | 8.2499e-07
164.028 | 8.2469e-07
164.32 | 8.2361e-07
164.672 | 8.2455e-07
164.952 | 8.2317e-07
165.225 | 8.2428e-07
165.523 | 8.2375e-07
165.82 | 8.2399e-07
166.16 | 8.2495e-07
166.428 | 8.2602e-07
166.766 | 8.2521e-07
167.036 | 8.2675e-07
167.324 | 8.2809e-07
167.613 | 8.1389e-07
167.92 | 8.05e-07
168.246 | 8.014e-07
168.532 | 8.0886e-07
168.831 | 8.3183e-07
169.12 | 8.3176e-07
169.521 | 8.1414e-07
169.725 | 8.3289e-07
170.05 | 8.3418e-07
170.335 | 8.3429e-07
170.61 | 8.3578e-07
170.905 | 8.3458e-07
171.243 | 8.3778e-07
171.522 | 8.3685e-07
171.845 | 8.3768e-07
172.133 | 8.3819e-07
172.427 | 8.3935e-07
172.724 | 8.3749e-07
173.007 | 8.3895e-07
173.328 | 8.3985e-07
173.673 | 8.4128e-07
173.95 | 8.4126e-07
174.251 | 8.4295e-07
174.552 | 8.417e-07
174.832 | 8.4086e-07
175.155 | 8.4153e-07
175.416 | 8.4272e-07
175.74 | 8.4346e-07
176.029 | 8.1427e-07
176.323 | 8.1587e-07
176.633 | 8.4533e-07
176.932 | 8.4478e-07
177.248 | 8.4417e-07
177.547 | 8.4587e-07
177.85 | 8.4998e-07
178.137 | 8.4943e-07
178.43 | 8.5108e-07
178.716 | 8.5243e-07
179.049 | 8.5252e-07
179.329 | 8.3765e-07
179.653 | 7.5791e-07
179.948 | 8.3933e-07
180.225 | 8.4089e-07
180.507 | 8.5562e-07
180.841 | 8.5574e-07
181.122 | 8.5286e-07
181.441 | 8.546e-07
181.742 | 8.5669e-07
182.055 | 8.5693e-07
182.341 | 8.5832e-07
182.611 | 8.5855e-07
182.953 | 8.5363e-07
183.23 | 8.4481e-07
183.539 | 8.3831e-07
183.839 | 8.4762e-07
184.156 | 8.1951e-07
184.437 | 8.6182e-07
184.727 | 8.398e-07
185.051 | 8.6323e-07
185.345 | 8.6278e-07
185.637 | 8.622e-07
185.929 | 8.6372e-07
186.254 | 8.6387e-07
186.548 | 8.6455e-07
186.832 | 8.4424e-07
187.164 | 8.6472e-07
187.445 | 8.6654e-07
187.73 | 8.6704e-07
188.07 | 8.6713e-07
188.348 | 8.6635e-07
188.645 | 8.6685e-07
188.933 | 8.6748e-07
189.227 | 8.6705e-07
189.519 | 8.6763e-07
189.807 | 8.6782e-07
190.143 | 8.6462e-07
190.413 | 8.6239e-07
190.745 | 8.616e-07
191.025 | 8.6846e-07
191.35 | 8.5576e-07
191.633 | 8.6449e-07
191.967 | 8.7174e-07
192.229 | 8.7222e-07
192.508 | 8.6993e-07
192.843 | 8.7168e-07
193.131 | 8.705e-07
193.427 | 8.685e-07
193.819 | -2.2897e-10
194.05 | -2.1643e-10
194.328 | -2.1493e-10
194.639 | -2.1641e-10
194.924 | -2.1566e-10
195.21 | -2.1518e-10
195.537 | -2.144e-10
195.864 | -2.1717e-10
196.145 | -2.1739e-10
196.41 | -2.168e-10
196.733 | -2.1736e-10
197.021 | -2.1577e-10
197.349 | -2.1756e-10
197.611 | -2.1732e-10
197.939 | 8.4606e-07
198.237 | 8.7134e-07
198.543 | 8.5725e-07
198.816 | 8.715e-07
199.142 | 8.7121e-07
199.469 | 8.7203e-07
199.75 | 8.7284e-07
200.033 | 8.5307e-07
200.371 | 8.7383e-07
200.659 | 8.6915e-07
200.927 | 8.7204e-07
201.24 | 8.7233e-07
201.529 | 8.724e-07
201.816 | 8.721e-07
202.105 | 8.7366e-07
202.43 | 8.7364e-07
202.747 | 8.7645e-07
203.021 | 8.7802e-07
203.329 | 8.7827e-07
203.616 | 8.757e-07
203.914 | 8.7554e-07
204.234 | 8.7793e-07
204.588 | 8.7777e-07
204.821 | 8.7522e-07
205.146 | 8.7395e-07
205.443 | 8.7696e-07
205.757 | 8.7656e-07
206.005 | 8.7566e-07
206.344 | 8.7687e-07
206.608 | 8.7744e-07
206.915 | 8.8035e-07
207.211 | 8.513e-07
207.557 | 8.5117e-07
207.837 | 8.8011e-07
208.147 | 8.8003e-07
208.442 | 8.7931e-07
208.756 | 8.8012e-07
209.036 | 8.8209e-07
209.34 | 8.8305e-07
209.643 | 8.8273e-07
209.918 | 8.8284e-07
210.221 | 8.5245e-07
210.527 | 8.5474e-07
210.872 | 8.8288e-07
211.117 | 8.824e-07
211.433 | 8.8002e-07
211.712 | 8.529e-07
212.04 | 8.5976e-07
212.329 | 8.8375e-07
212.624 | 8.5047e-07
212.923 | 8.547e-07
213.223 | 8.8461e-07
213.528 | 8.8582e-07
213.837 | 8.544e-07
214.151 | 8.8446e-07
214.422 | 8.8179e-07
214.741 | 8.6207e-07
215.016 | 8.8619e-07
215.342 | 8.8689e-07
215.619 | 8.6028e-07
215.949 | 8.7115e-07
216.228 | 8.8761e-07
216.561 | 8.7444e-07
216.843 | 8.8847e-07
217.126 | 8.7546e-07
217.411 | 8.8587e-07
217.743 | 8.607e-07
218.025 | 8.6192e-07
218.337 | 8.8931e-07
218.615 | 8.8786e-07
218.943 | 8.872e-07
219.234 | 8.5906e-07
219.53 | 8.9129e-07
219.824 | 8.6405e-07
220.119 | 8.9189e-07
220.409 | 8.7673e-07
220.748 | 8.5571e-07
221.032 | 8.8719e-07
221.314 | 8.9093e-07
221.645 | 8.8783e-07
221.928 | 8.8929e-07
222.209 | 8.6083e-07
222.541 | 8.9214e-07
222.824 | 8.9512e-07
223.157 | 8.932e-07
223.439 | 8.9291e-07
223.724 | 8.9338e-07
224.039 | 8.9142e-07
224.323 | 8.9356e-07
224.658 | 8.8035e-07
224.94 | 8.9006e-07
225.223 | 8.7061e-07
225.557 | 8.8168e-07
225.84 | 9.0087e-07
226.123 | 8.665e-07
226.441 | 9.0003e-07
226.725 | 8.6878e-07
227.009 | 8.8718e-07
227.343 | 8.9709e-07
227.624 | 8.975e-07
227.959 | 8.9728e-07
228.238 | 8.9642e-07
228.551 | 8.9915e-07
228.832 | 9.0121e-07
229.115 | 8.9607e-07
229.445 | 8.9835e-07
229.727 | 9.0281e-07
230.01 | 9.0413e-07
230.344 | 9.0048e-07
230.626 | 8.855e-07
230.911 | 8.7229e-07
231.246 | 9.035e-07
231.532 | 9.0504e-07
231.817 | 8.8508e-07
232.149 | 8.7384e-07
232.438 | 9.0315e-07
232.722 | 8.5421e-07
233.039 | 9.0745e-07
233.338 | 9.0377e-07
233.622 | 9.0851e-07
233.955 | 9.0497e-07
234.238 | 9.0755e-07
234.522 | 9.2036e-07
234.839 | 9.0583e-07
235.138 | 9.127e-07
235.421 | 9.0983e-07
235.738 | 9.0757e-07
236.038 | 9.0705e-07
236.305 | 8.9483e-07
236.637 | 9.098e-07
236.921 | 8.9342e-07
237.255 | 9.1492e-07
237.556 | 9.1335e-07
237.84 | 9.1458e-07
238.123 | 8.8595e-07
238.405 | 9.1678e-07
238.74 | 9.1776e-07
239.024 | 9.1748e-07
239.305 | 9.196e-07
239.641 | 9.2445e-07
239.924 | 9.202e-07
240.24 | 8.9902e-07
240.54 | 9.2198e-07
240.807 | 9.2187e-07
241.141 | 9.1308e-07
241.424 | 8.9765e-07
241.723 | 9.2174e-07
242.04 | 8.9231e-07
242.324 | 8.9191e-07
242.655 | 9.0766e-07
242.94 | 9.0909e-07
243.223 | 9.2777e-07
243.506 | 9.239e-07
243.841 | 9.2333e-07
244.122 | 9.2372e-07
244.452 | 8.9546e-07
244.733 | 9.2495e-07
245.012 | 9.2042e-07
245.345 | 9.2208e-07
245.628 | 9.2085e-07
245.91 | 9.2374e-07
246.243 | 9.2651e-07
246.527 | 9.232e-07
246.81 | 9.2687e-07
247.144 | 9.2615e-07
247.445 | 9.0208e-07
247.712 | 9.0603e-07
248.046 | 9.0722e-07
248.329 | 9.0093e-07
248.615 | 9.2649e-07
248.948 | 9.2758e-07
249.232 | 9.3144e-07
249.568 | 9.0975e-07
249.85 | 9.3264e-07
250.15 | 9.303e-07
250.434 | 9.3328e-07
250.719 | 9.3397e-07
251.053 | 9.3298e-07
251.335 | 9.3094e-07
251.62 | 9.1626e-07
251.951 | 9.3581e-07
252.236 | 9.3548e-07
252.57 | 9.3655e-07
252.852 | 9.3168e-07
253.138 | 9.0339e-07
253.471 | 9.1069e-07
253.754 | 9.1087e-07
254.036 | 9.1288e-07
254.321 | 9.123e-07
254.654 | 9.1598e-07
254.938 | 9.1686e-07
255.22 | 9.1818e-07
255.505 | 9.1483e-07
255.838 | 9.1363e-07
256.122 | 9.1208e-07
256.406 | 9.1108e-07
256.738 | 9.1448e-07
257.022 | 9.0703e-07
257.305 | 9.1662e-07
257.639 | 9.1364e-07
257.922 | 9.1599e-07
258.206 | 9.2403e-07
258.539 | 9.2445e-07
258.822 | 9.3057e-07
259.106 | 9.2577e-07
259.439 | 9.2313e-07
259.724 | 9.3129e-07
260.056 | 9.2779e-07
260.341 | 9.2679e-07
260.621 | 9.2839e-07
260.937 | 9.3327e-07
261.235 | 9.2076e-07
261.549 | 9.2604e-07
261.832 | 9.2903e-07
262.13 | 9.3581e-07
262.445 | 9.3562e-07
262.728 | 9.2156e-07
263.011 | 9.2132e-07
263.345 | 9.334e-07
263.628 | 9.2814e-07
263.912 | 9.3632e-07
264.244 | 9.3584e-07
264.529 | 9.2727e-07
264.881 | 9.3114e-07
265.11 | 9.3236e-07
265.447 | 9.3134e-07
265.732 | 9.3351e-07
266.015 | 9.3378e-07
266.35 | 9.2979e-07
266.633 | 9.3982e-07
266.965 | 9.2008e-07
267.251 | 9.3312e-07
267.55 | 9.2257e-07
267.835 | 9.1529e-07
268.134 | 9.308e-07
268.418 | 9.2735e-07
268.752 | 9.2972e-07
269.037 | 9.2849e-07
269.319 | 9.3055e-07
269.65 | 9.2829e-07
269.938 | 9.2347e-07
270.237 | 9.3192e-07
270.555 | 9.3544e-07
270.852 | 9.3822e-07
271.138 | 9.4491e-07
271.471 | 9.3852e-07
271.753 | 9.4807e-07
272.037 | 9.3313e-07
272.372 | 9.3644e-07
272.652 | 9.3852e-07
272.939 | 9.3932e-07
273.272 | 9.4084e-07
273.506 | 9.414e-07
273.839 | 9.4802e-07
274.123 | 9.4899e-07
274.405 | 9.3901e-07
274.739 | 9.6167e-07
275.039 | 9.4003e-07
275.306 | 9.6169e-07
275.638 | 9.5339e-07
275.939 | 9.5576e-07
276.222 | 9.5384e-07
276.506 | 9.7182e-07
276.84 | 9.5809e-07
277.122 | 9.5916e-07
277.455 | 9.5262e-07
277.739 | 9.5867e-07
278.023 | 9.6052e-07
278.305 | 9.5783e-07
278.622 | 9.5306e-07
278.905 | 9.6729e-07
279.235 | 9.4271e-07
279.517 | 9.5823e-07
279.849 | 9.7592e-07
280.129 | 9.6089e-07
280.412 | 9.638e-07
280.743 | 9.6855e-07
281.026 | 9.609e-07
281.311 | 9.6701e-07
281.661 | 9.4997e-07
281.944 | 9.6313e-07
282.212 | 9.6581e-07
282.546 | 9.5013e-07
282.83 | 9.1082e-07
283.114 | 9.2168e-07
283.447 | 9.197e-07
283.749 | 9.1156e-07
284.032 | 9.6408e-07
284.366 | 9.7747e-07
284.649 | 9.7356e-07
284.934 | 9.559e-07
285.234 | 9.6188e-07
285.517 | 9.7027e-07
285.851 | 9.6091e-07
286.136 | 9.6421e-07
286.419 | 9.6348e-07
286.752 | 9.6366e-07
287.036 | 9.6384e-07
287.319 | 9.6519e-07
287.652 | 9.6494e-07
287.953 | 9.625e-07
288.237 | 9.6588e-07
288.57 | 9.6165e-07
288.855 | 9.6342e-07
289.136 | 9.64e-07
289.422 | 9.6345e-07
289.755 | 9.6123e-07
290.054 | 9.6156e-07
290.337 | 9.6084e-07
290.622 | 9.6638e-07
290.954 | 9.7408e-07
291.238 | 9.707e-07
291.539 | 9.644e-07
291.871 | 9.6444e-07
292.17 | 9.6444e-07
292.454 | 9.6588e-07
292.738 | 9.6661e-07
293.038 | 9.8051e-07
293.335 | 9.7143e-07
293.621 | 9.7421e-07
293.954 | 9.738e-07
294.237 | 9.7496e-07
294.521 | 9.7411e-07
294.87 | 9.7437e-07
295.155 | 9.8328e-07
295.454 | 9.8262e-07
295.736 | 9.7907e-07
296.038 | 9.8011e-07
296.338 | 9.8264e-07
296.621 | 9.7769e-07
296.922 | 9.9556e-07
297.22 | 1.0057e-06
297.505 | 9.9359e-07
297.838 | 1.0006e-06
298.12 | 1.0023e-06
298.454 | 1.0015e-06
298.736 | 9.9509e-07
299.015 | 1.0026e-06
299.347 | 9.9267e-07
299.63 | 9.9217e-07
299.929 | 9.8826e-07
300.211 | 9.9128e-07
300.512 | 9.9176e-07
300.844 | 9.957e-07
301.128 | 9.9363e-07
301.429 | 9.9389e-07
301.764 | 9.9708e-07
302.046 | 1.002e-06
302.332 | 9.9999e-07
302.615 | 1.0064e-06
302.95 | 1.0075e-06
303.233 | 1.0044e-06
303.518 | 1.003e-06
303.851 | 1.0188e-06
304.135 | 1.0021e-06
304.437 | 1.0089e-06
304.769 | 1.0002e-06
305.055 | 1.0003e-06
305.337 | 1.0046e-06
305.621 | 1.0032e-06
305.971 | 1.0115e-06
306.206 | 1.0089e-06
306.54 | 1.0016e-06
306.822 | 1.0092e-06
307.106 | 1.0128e-06
307.44 | 1.0028e-06
307.724 | 1.0174e-06
308.007 | 1.0165e-06
308.34 | 1.0107e-06
308.641 | 1.0185e-06
308.923 | 1.0227e-06
309.206 | 1.0261e-06
309.54 | 1.0238e-06
309.822 | 1.0242e-06
310.107 | 1.0173e-06
310.44 | 1.0151e-06
310.724 | 1.0227e-06
311.007 | 1.0249e-06
311.34 | 1.0245e-06
311.64 | 1.0162e-06
311.923 | 1.0133e-06
312.207 | 1.0168e-06
312.541 | 1.0143e-06
312.824 | 1.0137e-06
313.123 | 1.0102e-06
313.407 | 1.0176e-06
313.74 | 1.0111e-06
314.04 | 1.0204e-06
314.324 | 1.022e-06
314.607 | 1.0353e-06
314.94 | 1.0323e-06
315.242 | 1.0328e-06
315.524 | 1.0347e-06
315.824 | 1.0362e-06
316.108 | 1.0448e-06
316.44 | 1.0332e-06
316.724 | 1.0378e-06
317.024 | 1.0366e-06
317.309 | 1.0402e-06
317.64 | 1.0381e-06
317.924 | 1.032e-06
318.207 | 1.0363e-06
318.54 | 1.0406e-06
318.824 | 1.0424e-06
319.139 | 1.0448e-06
319.406 | 1.0425e-06
319.739 | 1.0427e-06
320.038 | 1.0421e-06