## Settings
Sample Info | ReRAM ZrO2 zb1e run 07 after set 500 uA
Comments | 0.1/-0.5/0.1
Additional Comments | interrupted
Major Measurement Parameters
Starting Temperature | 247.03
Initial Temperature | 80.5
Final Temperature | 320
Preliminary Voltage | 0.1
Pulse Voltage | -0.5
Pulse Time | 30
Wait Time | 0
Measurement Voltage | 0.1
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 31.1.2024
Clock | 15:12:16

## Stabilization
Temperature | Current
0 | 6.0816e-06
0 | 6.0925e-06
0 | 6.0805e-06
0 | 6.0777e-06
0 | 6.068e-06
0 | 6.0765e-06
0 | 6.0604e-06
0 | 6.0618e-06
0 | 6.067e-06
80.0342 | 6.0538e-06
0 | 6.0541e-06
0 | 6.0475e-06
0 | 6.0543e-06
0 | 6.036e-06
0 | 6.0314e-06
0 | 6.0633e-06
0 | 6.0635e-06
0 | 6.0517e-06
0 | 6.0232e-06
0 | 6.0195e-06
0 | 6.0107e-06
0 | 6.0142e-06
0 | 6.0068e-06
0 | 6.0015e-06
0 | 6.0039e-06
0 | 5.9886e-06
0 | 5.9933e-06
0 | 5.9946e-06
0 | 5.9911e-06
0 | 5.986e-06
0 | 5.9865e-06
0 | 5.9686e-06
0 | 5.9693e-06
0 | 5.9689e-06
0 | 5.9542e-06
0 | 5.956e-06
0 | 5.9625e-06
0 | 5.9604e-06
0 | 5.9575e-06
0 | 5.9499e-06
0 | 5.9479e-06
0 | 5.9478e-06
0 | 5.9333e-06
0 | 5.9352e-06
0 | 5.9355e-06
0 | 5.9348e-06
0 | 5.928e-06
0 | 5.9223e-06
0 | 5.9264e-06
0 | 5.9194e-06
0 | 5.9161e-06
0 | 5.9169e-06
0 | 5.9e-06
0 | 5.8938e-06
0 | 5.894e-06
0 | 5.8922e-06
0 | 5.8914e-06
0 | 5.88e-06
0 | 5.8961e-06
0 | 5.8921e-06
0 | 5.8847e-06
0 | 5.8765e-06
0 | 5.869e-06
0 | 5.8755e-06
0 | 5.8633e-06
0 | 5.8606e-06
0 | 5.8692e-06
0 | 5.8621e-06
0 | 5.8609e-06
0 | 5.8498e-06
0 | 5.8423e-06
0 | 5.8274e-06
0 | 5.8315e-06
0 | 5.8267e-06
0 | 5.8398e-06
0 | 5.8241e-06
0 | 5.8301e-06
0 | 5.8258e-06
0 | 5.8271e-06
0 | 5.8221e-06
0 | 5.822e-06
0 | 5.8197e-06
0 | 5.8175e-06
0 | 5.8084e-06
0 | 5.8164e-06
0 | 5.8078e-06
0 | 5.7969e-06
0 | 5.8125e-06
0 | 5.7925e-06
0 | 5.8018e-06
0 | 5.7991e-06
0 | 5.7952e-06
0 | 5.7882e-06
0 | 5.7742e-06
0 | 5.7784e-06
0 | 5.7743e-06
0 | 5.7752e-06
0 | 5.7745e-06
0 | 5.7615e-06
0 | 5.7683e-06
0 | 5.7762e-06
0 | 5.7709e-06
0 | 5.7704e-06
0 | 5.7664e-06
0 | 5.7603e-06
0 | 5.7635e-06
0 | 5.7476e-06
0 | 5.7442e-06
0 | 5.76e-06
0 | 5.7406e-06
0 | 5.7483e-06
0 | 5.7426e-06
0 | 5.7462e-06
0 | 5.74e-06
0 | 5.7367e-06
0 | 5.7353e-06
0 | 5.7315e-06
0 | 5.7418e-06
0 | 5.733e-06
0 | 5.7396e-06
0 | 5.7272e-06
0 | 5.7282e-06
0 | 5.7317e-06
0 | 5.7198e-06
0 | 5.7187e-06
0 | 5.7171e-06
0 | 5.7077e-06
0 | 5.7215e-06
0 | 5.7071e-06
0 | 5.7075e-06
0 | 5.7109e-06
0 | 5.7109e-06
0 | 5.7111e-06
0 | 5.712e-06
0 | 5.7123e-06
0 | 5.7044e-06
0 | 5.6975e-06
0 | 5.6995e-06
0 | 5.6856e-06
0 | 5.6965e-06
0 | 5.6879e-06
0 | 5.6881e-06
0 | 5.6911e-06
0 | 5.681e-06
0 | 5.6742e-06
0 | 5.683e-06
0 | 5.6801e-06
0 | 5.6705e-06
0 | 5.6687e-06
0 | 5.6771e-06
0 | 5.676e-06
0 | 5.6732e-06
0 | 5.6694e-06
0 | 5.665e-06
0 | 5.6645e-06
0 | 5.6631e-06
0 | 5.6559e-06
0 | 5.6497e-06
0 | 5.6512e-06
0 | 5.6481e-06
0 | 5.645e-06
0 | 5.6524e-06
0 | 5.649e-06
0 | 5.6493e-06
0 | 5.6405e-06
0 | 5.6498e-06
0 | 5.6429e-06
0 | 5.6454e-06
0 | 5.6502e-06
0 | 5.6401e-06
0 | 5.6451e-06
0 | 5.6469e-06
0 | 5.6533e-06
0 | 5.6512e-06
0 | 5.6523e-06
0 | 5.6485e-06
0 | 5.6345e-06
0 | 5.6409e-06
0 | 5.639e-06
0 | 5.64e-06
0 | 5.6317e-06
0 | 5.6402e-06
0 | 5.6277e-06
0 | 5.6375e-06
0 | 5.627e-06
0 | 5.6225e-06
0 | 5.6418e-06
0 | 5.6401e-06
0 | 5.6335e-06
0 | 5.6296e-06
0 | 5.6261e-06
0 | 5.6309e-06
0 | 5.6305e-06
0 | 5.6316e-06
0 | 5.6311e-06
0 | 5.6249e-06
0 | 5.6288e-06
0 | 5.6284e-06
0 | 5.6297e-06
0 | 5.6118e-06
0 | 5.6277e-06
0 | 5.6247e-06
0 | 5.6252e-06
0 | 5.6237e-06
0 | 5.6195e-06
0 | 5.6116e-06
0 | 5.6203e-06
0 | 5.6192e-06
0 | 5.6174e-06
0 | 5.6126e-06
0 | 5.6183e-06
0 | 5.6102e-06
0 | 5.6093e-06
0 | 5.6108e-06
0 | 5.612e-06
0 | 5.6126e-06
0 | 5.6107e-06
0 | 5.602e-06
0 | 5.6127e-06
0 | 5.6002e-06
0 | 5.6098e-06
0 | 5.5981e-06
0 | 5.6082e-06
0 | 5.5992e-06
0 | 5.6019e-06
0 | 5.5897e-06
0 | 5.5924e-06
0 | 5.5955e-06
0 | 5.5886e-06
0 | 5.5841e-06
0 | 5.585e-06
0 | 5.5729e-06
0 | 5.5736e-06
0 | 5.5886e-06
0 | 5.5764e-06
0 | 5.5769e-06
0 | 5.5829e-06
0 | 5.5735e-06
0 | 5.571e-06
0 | 5.5852e-06
0 | 5.583e-06
0 | 5.5862e-06
0 | 5.5837e-06
0 | 5.5767e-06
0 | 5.5791e-06
0 | 5.5716e-06
0 | 5.5781e-06
0 | 5.5663e-06
0 | 5.5732e-06
0 | 5.5702e-06
0 | 5.5788e-06
0 | 5.5746e-06
0 | 5.5659e-06
0 | 5.5684e-06
0 | 5.5576e-06
0 | 5.5512e-06
0 | 5.5656e-06
0 | 5.5648e-06
0 | 5.5654e-06
0 | 5.5453e-06
0 | 5.5514e-06
0 | 5.5501e-06
0 | 5.5483e-06
0 | 5.5393e-06
0 | 5.5322e-06
0 | 5.5402e-06
0 | 5.5358e-06
0 | 5.5326e-06
0 | 5.5398e-06
0 | 5.5343e-06
0 | -2.1953e-10
0 | -2.0978e-10
0 | -2.1049e-10
0 | -2.0952e-10
0 | -2.0998e-10
0 | -2.0983e-10
0 | -2.1075e-10
0 | -2.1217e-10
0 | -2.102e-10
0 | -2.0951e-10
0 | -2.0971e-10
0 | -2.1076e-10
0 | -2.1035e-10
0 | -2.1137e-10
0 | -2.1042e-10
0 | -2.1017e-10
0 | -2.1039e-10
0 | 5.5267e-06
0 | 5.5329e-06
0 | 5.5358e-06
0 | 5.5333e-06
0 | 5.5339e-06
0 | 5.5328e-06
0 | 5.5138e-06
0 | 5.5179e-06
0 | 5.5277e-06
0 | 5.5119e-06
0 | 5.5241e-06
0 | 5.5196e-06
0 | 5.5106e-06
0 | 5.5201e-06
0 | 5.5165e-06
0 | 5.5215e-06
0 | 5.5198e-06
0 | 5.5182e-06
0 | 5.5158e-06
0 | 5.505e-06
0 | 5.5162e-06
0 | 5.5117e-06
0 | 5.5129e-06
0 | 5.5099e-06
0 | 5.5031e-06
0 | 5.5066e-06
0 | 5.4953e-06
0 | 5.5056e-06
0 | 5.5002e-06
0 | 5.5029e-06
0 | 5.5011e-06
0 | 5.5047e-06
0 | 5.5013e-06
0 | 5.4967e-06
0 | 5.4963e-06
0 | 5.494e-06
0 | 5.494e-06
0 | 5.491e-06
0 | 5.4901e-06
0 | 5.471e-06
0 | 5.4696e-06
0 | 5.4863e-06
0 | 5.4795e-06
0 | 5.4816e-06
0 | 5.4882e-06
0 | 5.4866e-06
0 | 5.4893e-06
0 | 5.4757e-06
0 | 5.4844e-06
0 | 5.4804e-06
0 | 5.4669e-06
0 | 5.4831e-06
0 | 5.482e-06
0 | 5.466e-06
0 | 5.4593e-06
0 | 5.4646e-06
0 | 5.4651e-06
0 | 5.4716e-06
0 | 5.4582e-06
0 | 5.4599e-06
0 | 5.4619e-06
0 | 5.4721e-06
0 | 5.4711e-06
0 | 5.4773e-06
0 | 5.4812e-06
0 | 5.4753e-06
0 | 5.4753e-06
0 | 5.4516e-06
0 | 5.4599e-06
0 | 5.446e-06
0 | 5.4609e-06
0 | 5.4479e-06
0 | 5.45e-06
0 | 5.4536e-06
0 | 5.4524e-06
0 | 5.4448e-06
0 | 5.4424e-06
0 | 5.4644e-06
0 | 5.4569e-06
0 | 5.4584e-06
0 | 5.4561e-06
0 | 5.4447e-06
0 | 5.4494e-06
0 | 5.4479e-06
0 | 5.4515e-06
0 | 5.4474e-06
0 | 5.4458e-06
0 | 5.4364e-06
0 | 5.4475e-06
0 | 5.4521e-06
0 | 5.4436e-06
0 | 5.4442e-06
0 | 5.4287e-06
0 | 5.4345e-06
0 | 5.4279e-06
0 | 5.4315e-06
0 | 5.4348e-06
0 | 5.4361e-06
0 | 5.4345e-06
0 | 5.4341e-06
0 | 5.4251e-06
0 | 5.4316e-06
0 | 5.4308e-06
0 | 5.4295e-06
0 | 5.4302e-06
0 | 5.4163e-06
0 | 5.4283e-06
0 | 5.4302e-06
0 | 5.4213e-06
0 | 5.4243e-06
0 | 5.4152e-06
0 | 5.4096e-06
0 | 5.4268e-06
0 | 5.4262e-06
0 | 5.4255e-06
0 | 5.418e-06
0 | 5.4114e-06
0 | 5.4174e-06
0 | 5.4227e-06
0 | 5.4215e-06
0 | 5.4184e-06
0 | 5.4151e-06
0 | 5.405e-06
0 | 5.4011e-06
0 | 5.407e-06
0 | 5.4109e-06
0 | 5.41e-06
0 | 5.4096e-06
0 | 5.4092e-06
0 | 5.3985e-06
0 | 5.4069e-06
0 | 5.4123e-06
0 | 5.4109e-06
0 | 5.4026e-06
0 | 5.4078e-06
0 | 5.4081e-06
0 | 5.4132e-06
0 | 5.4116e-06
0 | 5.4087e-06
0 | 5.4081e-06
0 | 5.4074e-06
0 | 5.4032e-06
0 | 5.3861e-06
0 | 5.397e-06
0 | 5.3917e-06
0 | 5.3986e-06
0 | 5.3997e-06
0 | 5.4046e-06
0 | 5.3994e-06
0 | 5.4021e-06
0 | 5.3971e-06
0 | 5.3932e-06
0 | 5.3826e-06
0 | 5.3894e-06
0 | 5.3844e-06
0 | 5.3952e-06
0 | 5.3838e-06
0 | 5.3858e-06
0 | 5.387e-06
0 | 5.3709e-06
0 | 5.3861e-06
0 | 5.3891e-06
0 | 5.3842e-06
0 | 5.382e-06
0 | 5.3818e-06
0 | 5.3685e-06
0 | 5.3814e-06
0 | 5.3765e-06
0 | 5.3804e-06
0 | 5.3657e-06
0 | 5.3756e-06
0 | 5.3735e-06
0 | 5.3586e-06
0 | 5.3607e-06
0 | 5.3706e-06
0 | 5.3597e-06
0 | 5.3582e-06
0 | 5.3611e-06
0 | 5.3564e-06
0 | 5.3693e-06
0 | 5.3622e-06
0 | 5.3671e-06
0 | 5.3604e-06
0 | 5.3637e-06
0 | 5.3559e-06
0 | 5.3547e-06
0 | 5.3566e-06
0 | 5.3581e-06
0 | 5.3585e-06
0 | 5.3484e-06
0 | 5.344e-06
0 | 5.3467e-06
0 | 5.3419e-06
0 | 5.3437e-06
0 | 5.3465e-06
0 | 5.3369e-06
0 | 5.3283e-06
0 | 5.3344e-06
0 | 5.3426e-06
0 | 5.3195e-06
0 | 5.3084e-06
0 | 5.3135e-06
0 | 5.3145e-06
0 | 5.3111e-06
0 | 5.3075e-06
0 | 5.3045e-06
0 | 5.2778e-06
0 | 5.2822e-06
0 | -1.7711e-10
0 | -2.1021e-10
0 | -2.0954e-10
0 | -2.1022e-10
0 | -2.1015e-10
0 | -2.1091e-10
0 | -2.0961e-10
0 | -2.1011e-10
0 | -2.1064e-10
0 | -2.097e-10
0 | -2.0831e-10
0 | -2.1077e-10
0 | -2.0955e-10
0 | -2.0965e-10
0 | -2.098e-10
0 | -2.0945e-10
0 | -2.0932e-10
0 | 5.07e-06
0 | 4.4048e-06
0 | 9.2219e-07
0 | 8.9093e-07
0 | 9.1072e-07
0 | 9.0543e-07
0 | 9.1355e-07
0 | 8.8712e-07
0 | 8.6402e-07
0 | 4.7162e-06
0 | 1.365e-06
0 | 5.3281e-06
0 | 5.3189e-06
0 | 5.3176e-06
0 | 5.3181e-06
0 | 5.3137e-06
0 | 5.3072e-06
0 | 5.2947e-06
0 | 5.3204e-06
0 | 5.2945e-06
0 | 5.2917e-06
0 | 5.2838e-06
0 | 5.2953e-06
0 | 5.2438e-06
0 | 5.2401e-06
0 | 4.8224e-06
0 | 5.2331e-06
0 | 5.23e-06
0 | 5.2328e-06
0 | 5.223e-06
0 | 5.225e-06
0 | 5.2263e-06
0 | 5.2486e-06
0 | 5.2366e-06
0 | 5.2206e-06
0 | 5.2214e-06
0 | 5.2343e-06
0 | 5.2487e-06
0 | 5.2185e-06
0 | 5.2213e-06
0 | 5.2202e-06
0 | 5.2205e-06
0 | 5.2096e-06
0 | 5.2107e-06
0 | 5.2145e-06
0 | 5.2168e-06
0 | 5.211e-06
0 | 5.2213e-06
0 | 5.2377e-06
0 | 5.2473e-06
0 | 5.2449e-06
0 | 5.2599e-06
0 | 5.2603e-06
0 | 5.2609e-06
0 | 5.2675e-06
0 | 5.2652e-06
0 | 5.268e-06
0 | 5.2693e-06
0 | 5.2721e-06
0 | 5.2636e-06
0 | 5.2655e-06
0 | 5.2751e-06
0 | 5.2582e-06
0 | 2.707e-06
0 | 5.2113e-06
0 | 5.0607e-06
0 | 5.1667e-06
0 | 5.2428e-06
0 | 5.1754e-06
0 | 5.1765e-06
0 | 5.1789e-06
0 | 5.1833e-06
0 | 5.2059e-06
0 | 5.2195e-06
0 | 5.2482e-06
0 | 5.2502e-06
0 | 5.2231e-06
0 | 5.2142e-06
0 | 5.2519e-06
0 | 5.2502e-06
0 | 5.1801e-06
0 | 5.2045e-06
0 | 5.213e-06
0 | 5.2301e-06
0 | 5.2321e-06
0 | 6.1733e-07
0 | 5.506e-07
0 | 5.1387e-07
0 | 5.059e-07
0 | 4.2683e-07
0 | 4.062e-07
0 | 4.0765e-07
0 | 4.1547e-07
0 | 1.8413e-06
0 | 5.1771e-06
0 | 5.2353e-06
0 | 5.2317e-06
0 | 5.2333e-06
0 | 5.2326e-06
0 | 5.2213e-06
0 | 5.229e-06
0 | 5.2376e-06
0 | 5.2333e-06
0 | 5.236e-06
0 | 5.2324e-06
0 | 5.2282e-06
0 | 5.2159e-06
0 | 5.2202e-06
0 | 5.2284e-06
0 | 5.2256e-06
0 | 5.2207e-06
0 | 5.2327e-06
0 | 5.2215e-06
0 | 5.2236e-06
0 | 5.2279e-06
0 | 5.2207e-06
0 | 5.2238e-06
0 | 5.2199e-06
0 | 5.208e-06
0 | 5.178e-06
0 | 5.1815e-06
0 | 5.1904e-06
0 | 5.1758e-06
0 | 5.2108e-06
0 | 5.2096e-06
0 | 5.1587e-06
0 | 5.1704e-06
0 | 5.1737e-06
0 | 5.1993e-06
0 | 5.1863e-06
0 | 5.2194e-06
0 | 5.2128e-06
0 | 5.2207e-06
0 | 5.2104e-06
0 | 5.2096e-06
0 | 5.2105e-06
0 | 5.2086e-06
0 | 5.2151e-06
0 | 5.2058e-06
0 | 5.1989e-06
0 | 5.2064e-06
0 | 5.1981e-06
0 | 5.1988e-06
0 | 5.196e-06
0 | 5.1975e-06
0 | 5.2007e-06
0 | 5.1857e-06
0 | 5.1926e-06
0 | 5.1945e-06
0 | 5.1888e-06
0 | 5.1799e-06
0 | 5.1834e-06
0 | 5.1826e-06
0 | 5.1826e-06
0 | 5.1826e-06
0 | 5.181e-06
0 | 5.1745e-06
0 | 5.183e-06
0 | 5.1892e-06
0 | 5.1845e-06
0 | 5.1858e-06
0 | 5.1843e-06
0 | 5.1801e-06
0 | 5.1782e-06
0 | 5.1728e-06
0 | 5.1714e-06
0 | 5.173e-06
0 | 5.168e-06
0 | 5.1563e-06
0 | 5.1491e-06
0 | 5.1459e-06
0 | 5.1323e-06
0 | 5.1395e-06
0 | 5.1543e-06
0 | 5.1424e-06
0 | 5.1397e-06
0 | 5.1399e-06
0 | 5.1368e-06
0 | 5.1415e-06
0 | 5.138e-06
0 | 5.1201e-06
0 | 5.1269e-06
0 | 5.0946e-06
0 | 5.1106e-06
0 | 5.1192e-06
0 | 5.1331e-06
0 | 5.1229e-06
0 | 5.124e-06
0 | 5.0994e-06
0 | 5.0874e-06
0 | 5.0885e-06
0 | 5.117e-06
0 | 5.1512e-06
0 | 5.079e-06
0 | 5.0739e-06
0 | 5.0715e-06
0 | 5.0733e-06
0 | 5.0822e-06
0 | 5.1125e-06
0 | 5.1135e-06
0 | 5.1092e-06
0 | 5.1246e-06
0 | 5.1326e-06
0 | 5.1393e-06
0 | 5.1286e-06
0 | 5.1335e-06
0 | 5.1432e-06
0 | 5.1398e-06
0 | 5.1516e-06
0 | 5.1443e-06
0 | 5.1345e-06
0 | 5.1335e-06
0 | 5.1354e-06
0 | 5.1373e-06
0 | 5.1462e-06
0 | 5.1379e-06
0 | 5.1403e-06
0 | 5.1496e-06
0 | 5.1497e-06
0 | 5.1471e-06
0 | 5.1482e-06
0 | 5.1487e-06
0 | 5.1424e-06
0 | 5.1264e-06
0 | 5.1325e-06
0 | 5.1392e-06
0 | 5.1441e-06
0 | 5.1301e-06
0 | 5.1312e-06
0 | 5.135e-06
0 | 5.1428e-06
0 | 5.1416e-06
0 | 5.1362e-06
0 | 5.1413e-06
0 | 5.1394e-06
0 | 5.1429e-06
0 | 5.1396e-06
0 | 5.1422e-06
0 | 5.1423e-06
0 | 5.141e-06
0 | 5.1406e-06
0 | 5.1382e-06
0 | 5.1364e-06
0 | 5.134e-06
0 | 5.1355e-06
0 | 5.1365e-06
0 | 5.1332e-06
0 | 5.1309e-06
0 | 5.132e-06
0 | 5.1265e-06
0 | 5.136e-06
0 | 5.1348e-06
0 | 5.1355e-06
0 | 5.1358e-06
0 | 5.1275e-06
0 | 5.1388e-06
0 | 5.1352e-06
0 | 5.1308e-06
0 | 5.1351e-06
0 | 5.1181e-06
0 | 5.1384e-06
0 | 5.1424e-06
0 | 5.1391e-06
0 | 5.1244e-06
0 | 5.1303e-06
0 | 5.1289e-06
0 | 5.124e-06
0 | 5.1261e-06
0 | 5.1241e-06
0 | 5.1153e-06
0 | 5.113e-06
0 | 5.1136e-06
0 | 5.118e-06
0 | 5.1172e-06
0 | 5.0936e-06
0 | 5.0936e-06
0 | 5.0883e-06
0 | 5.0874e-06
0 | 5.086e-06
0 | 5.0903e-06
0 | 5.0942e-06
0 | 5.0866e-06
0 | 5.0742e-06
0 | 5.0714e-06
0 | 5.0027e-06
0 | 5.0609e-06
0 | 4.9992e-06
0 | 1.033e-08
0 | 4.9391e-06
0 | 4.9768e-06
0 | 5.0069e-06
0 | 5.0137e-06
0 | 5.0677e-06
0 | 5.0144e-06
0 | 5.0665e-06
0 | 5.0701e-06
0 | 5.07e-06
0 | 5.0691e-06
0 | 5.0546e-06
0 | 5.0714e-06
0 | 5.0556e-06
0 | 5.0779e-06
0 | 5.0744e-06
0 | 5.0804e-06
0 | 5.0866e-06
0 | 5.0862e-06
0 | 5.0657e-06
0 | 5.0597e-06
0 | 5.0579e-06
0 | 5.0565e-06
0 | 5.0535e-06
0 | 5.0542e-06
0 | 5.0552e-06
0 | 5.0562e-06
0 | 5.0481e-06
0 | 5.0395e-06
0 | 5.0517e-06
0 | 5.0506e-06
0 | 5.0463e-06
0 | 5.0389e-06
0 | 5.0431e-06
0 | 5.0442e-06
0 | 5.0355e-06
0 | 5.0383e-06
0 | 4.9884e-06
0 | 4.9858e-06
0 | 5.0203e-06
0 | 5.0399e-06
0 | 5.0405e-06
0 | 5.0449e-06
0 | 5.0427e-06
0 | 5.0394e-06
0 | 5.0514e-06
0 | 5.0702e-06
0 | 5.0402e-06
0 | 5.0751e-06
0 | 5.0757e-06
0 | 5.0835e-06
0 | 5.0848e-06
0 | 5.0697e-06
0 | 5.063e-06
0 | 5.0577e-06
0 | 5.0165e-06
0 | 5.0143e-06
0 | 5.0139e-06
0 | 5.0166e-06
0 | 4.9466e-06
0 | 5.0651e-06
0 | 5.0208e-06
0 | 5.0426e-06
0 | 5.0574e-06
0 | 5.0475e-06
0 | 4.9904e-06
0 | 5.0145e-06
0 | 4.9905e-06
0 | 5.0272e-06
0 | 5.0376e-06
0 | 5.0577e-06
0 | 4.9354e-06
0 | 5.0045e-06
0 | 4.9911e-06
0 | 4.9951e-06
0 | 5.0609e-06
0 | 4.9924e-06
0 | 4.9862e-06
0 | 5.0647e-06
0 | 5.0637e-06
0 | 5.0376e-06
0 | 5.0158e-06
0 | 5.0193e-06
0 | 5.0281e-06
0 | 5.0309e-06
0 | 5.0361e-06
0 | 5.0389e-06
0 | 5.0413e-06
0 | 5.0424e-06
0 | 5.0375e-06
0 | 5.0417e-06
0 | 5.0472e-06
0 | 5.0449e-06
0 | 5.0437e-06
0 | 5.0426e-06
0 | 5.0527e-06
0 | 5.0362e-06
0 | 5.0349e-06
0 | 5.0348e-06
0 | 5.0402e-06
0 | 5.0402e-06
0 | 5.0361e-06
0 | 5.0357e-06
0 | 5.0393e-06
0 | 5.0317e-06
0 | 5.0437e-06
0 | 5.0281e-06
0 | 5.0278e-06
0 | 5.0231e-06
0 | 5.0227e-06
0 | 5.023e-06
0 | 5.0234e-06
0 | 5.0307e-06
0 | 5.0214e-06
0 | 5.0165e-06
0 | 5.0383e-06
0 | 5.0358e-06
0 | 5.0259e-06
0 | 5.0041e-06
0 | 5.0128e-06
0 | 4.9991e-06
0 | 4.9968e-06
0 | 5.0034e-06
0 | 4.999e-06
0 | 5.0244e-06
0 | 5.0212e-06
0 | 5.0212e-06
0 | 5.0209e-06
0 | 5.014e-06
0 | 5.0228e-06
0 | 5.0142e-06
0 | 5.0168e-06
0 | 5.0244e-06
0 | 4.9496e-06
0 | 4.9526e-06
0 | 4.9486e-06
0 | 4.9489e-06
0 | 4.9481e-06
0 | 4.9366e-06
0 | 4.9208e-06
0 | 4.9343e-06
0 | 4.9298e-06
0 | 4.9397e-06
0 | 1.2149e-10
0 | 4.231e-10
0 | -1.4353e-11
0 | -8.9731e-11
0 | -9.5167e-11
0 | -8.8048e-11
0 | -1.0109e-10
0 | 3.3275e-09
0 | -9.5548e-11
0 | -9.2149e-11
0 | -3.2608e-11
0 | 2.0931e-10
0 | 6.0654e-11
0 | 1.7985e-09
0 | -7.9725e-11
0 | -9.2564e-11
0 | 1.4257e-09
0 | 4.7129e-06
0 | 4.6207e-06
0 | 1.0086e-07
0 | 1.1574e-07
0 | 1.6833e-07
0 | 1.455e-07
0 | 1.2417e-07
0 | 7.3289e-08
0 | 8.0502e-08
0 | 9.7197e-08
0 | -1.9991e-10
0 | -2.1017e-10
0 | -2.0865e-10
0 | -2.0786e-10
0 | -2.0885e-10
0 | -2.092e-10
0 | -2.0924e-10
0 | -2.0873e-10
0 | 4.7883e-06
0 | 4.851e-06
0 | 3.6171e-08
0 | 9.0952e-08
0 | 5.4346e-08
0 | 4.9649e-06
0 | 4.9619e-06
0 | 4.9453e-06
0 | 2.1903e-09
0 | 1.9971e-10
0 | 2.0573e-10
0 | 2.1504e-10
0 | 1.6126e-10
0 | 1.2676e-10
0 | 1.3697e-10
0 | 1.981e-10
0 | 2.1981e-10
0 | 1.3694e-12
0 | 2.7765e-06
0 | 4.922e-06
0 | 4.9274e-06
0 | 4.9378e-06
0 | 4.9432e-06
0 | 4.9358e-06
0 | 4.9465e-06
0 | 4.9444e-06
0 | 4.9496e-06
0 | 4.9437e-06
0 | 4.9458e-06
0 | 4.9473e-06
0 | 4.939e-06
0 | 4.9357e-06
0 | 4.9385e-06
0 | 4.9406e-06
0 | 4.9339e-06
0 | 4.9367e-06
0 | 4.9407e-06
0 | 4.925e-06
0 | 4.9328e-06
0 | 4.9263e-06
0 | 4.9305e-06
0 | 4.9322e-06
0 | 4.9407e-06
0 | 4.932e-06
0 | 4.9304e-06
0 | 4.9296e-06
0 | 4.9262e-06
0 | 4.9255e-06
0 | 4.9283e-06
0 | 4.9341e-06
0 | 4.9379e-06
0 | 4.9357e-06
0 | 4.9298e-06
0 | 4.9367e-06
0 | 4.9325e-06
0 | 4.9311e-06
0 | 4.9375e-06
0 | 4.9348e-06
0 | 4.9359e-06
0 | 4.9342e-06
0 | 4.9402e-06
0 | 4.9399e-06
0 | 4.9377e-06
0 | 4.9291e-06
0 | 4.9264e-06
0 | 4.9347e-06
0 | 4.929e-06
0 | 4.9223e-06
0 | 4.9303e-06
0 | 4.9161e-06
0 | 4.9109e-06
0 | 4.9122e-06
0 | 4.9147e-06
0 | 4.9228e-06
0 | 4.9125e-06
0 | 4.9219e-06
0 | 4.9221e-06
0 | 4.9156e-06
0 | 4.9208e-06
0 | 4.9201e-06
0 | 4.9168e-06
0 | 4.9182e-06
0 | 4.917e-06
0 | 4.917e-06
0 | 4.9144e-06
0 | 4.9115e-06
0 | 4.913e-06
0 | 4.9093e-06
0 | 4.9106e-06
0 | 4.8887e-06
0 | 4.8945e-06
0 | 4.9024e-06
0 | 4.894e-06
0 | 4.9025e-06
0 | 4.8981e-06
0 | 4.8968e-06
0 | 4.9014e-06
0 | 4.896e-06
0 | 4.9033e-06
0 | 4.9057e-06
0 | 4.9036e-06
0 | 4.8972e-06
0 | 4.8867e-06
0 | 4.8937e-06
0 | 4.8936e-06
0 | 4.8965e-06
0 | 4.8902e-06
0 | 4.8861e-06
0 | 4.8813e-06
0 | 4.8868e-06
0 | 4.8871e-06
0 | 4.891e-06
0 | 4.8854e-06
0 | 4.8876e-06
0 | 4.8882e-06
0 | 4.8785e-06
0 | 4.8853e-06
0 | 4.8747e-06
80.0161 | 4.8667e-06

## Measurements
Temperature | Current
80.651 | 4.8372e-06
80.8592 | 4.838e-06
81.0736 | 4.8351e-06
81.3458 | 4.8403e-06
81.6898 | 4.8451e-06
81.9746 | 4.8412e-06
82.2885 | 4.8395e-06
82.5752 | 4.8328e-06
82.8765 | 4.8339e-06
83.2114 | 4.8359e-06
83.4648 | 4.8367e-06
83.769 | 4.8225e-06
84.0692 | 4.8281e-06
84.3822 | 4.8351e-06
84.7102 | 4.8349e-06
84.964 | 4.8143e-06
85.2712 | 4.8193e-06
85.5777 | 4.8198e-06
85.901 | 4.8159e-06
86.2011 | 4.8089e-06
86.4824 | 4.8156e-06
86.7943 | 4.8207e-06
87.0861 | 4.8191e-06
87.3666 | 4.8113e-06
87.6901 | 4.819e-06
87.9543 | 4.8103e-06
88.292 | 4.8116e-06
88.5847 | 4.8116e-06
88.8936 | 4.8093e-06
89.1838 | 4.8044e-06
89.4461 | 4.8125e-06
89.7784 | 4.81e-06
90.0646 | 4.8066e-06
90.3997 | 4.8e-06
90.6734 | 4.8044e-06
90.9749 | 4.7998e-06
91.2647 | 4.7977e-06
91.6652 | 4.8017e-06
91.9067 | 4.8009e-06
92.2343 | 4.7993e-06
92.4459 | 4.7973e-06
92.7971 | 4.7792e-06
93.1148 | 4.7913e-06
93.4161 | 4.794e-06
93.7191 | 4.7922e-06
93.9731 | 4.7815e-06
94.2836 | 4.7952e-06
94.5848 | 4.7822e-06
94.8432 | 4.7878e-06
95.1768 | 4.7874e-06
95.4798 | 4.7845e-06
95.7468 | 4.7834e-06
96.0736 | 4.783e-06
96.3887 | 4.7825e-06
96.6453 | 4.7845e-06
96.9696 | 4.7773e-06
97.2995 | 4.7722e-06
97.5466 | 4.7782e-06
97.8798 | 4.7742e-06
98.151 | 4.7615e-06
98.4438 | 4.7557e-06
98.7806 | 4.7585e-06
99.0523 | 4.768e-06
99.3655 | 4.7685e-06
99.6851 | 4.7655e-06
99.9713 | 4.7648e-06
100.246 | 4.7596e-06
100.578 | 4.757e-06
100.885 | 4.7674e-06
101.189 | 4.763e-06
101.509 | 4.7607e-06
101.766 | 4.7587e-06
102.093 | 4.7619e-06
102.369 | 4.764e-06
102.681 | 4.7515e-06
103.002 | 4.7615e-06
103.243 | 4.7511e-06
103.571 | 1.0014e-07
103.881 | 1.05e-07
104.146 | 1.5837e-08
104.481 | 1.6793e-08
104.745 | 1.8541e-08
105.044 | 2.1716e-08
105.367 | 6.7221e-08
105.663 | 5.8804e-08
105.952 | 4.6906e-08
106.3 | 2.4277e-08
106.566 | 4.7445e-06
106.857 | 4.7434e-06
107.174 | 4.7486e-06
107.483 | 4.7397e-06
107.749 | 4.7511e-06
108.071 | 4.7431e-06
108.346 | 4.7524e-06
108.677 | 2.143e-06
108.942 | 4.1801e-06
109.254 | 4.6482e-06
109.595 | 4.6748e-06
109.891 | 4.6465e-06
110.19 | 4.6748e-06
110.482 | 4.6712e-06
110.747 | 4.682e-06
111.087 | 4.6926e-06
111.408 | 4.7018e-06
111.657 | 4.7053e-06
111.976 | 4.7092e-06
112.254 | 4.7123e-06
112.559 | 4.7077e-06
112.888 | 4.7074e-06
113.169 | 4.7225e-06
113.465 | 4.7167e-06
113.775 | 4.7257e-06
114.068 | 4.7339e-06
114.356 | 4.7377e-06
114.671 | 4.7334e-06
114.981 | 4.7248e-06
115.253 | 4.7355e-06
115.601 | 4.7294e-06
115.893 | 4.7432e-06
116.193 | 4.7407e-06
116.493 | 4.7398e-06
116.743 | 4.7439e-06
117.088 | 4.7435e-06
117.366 | 4.7492e-06
117.671 | 4.751e-06
117.985 | 4.7457e-06
118.268 | 4.7519e-06
118.581 | 4.7533e-06
118.86 | 4.7505e-06
119.172 | 4.7401e-06
119.452 | 4.7455e-06
119.759 | 4.7486e-06
120.062 | 4.7521e-06
120.354 | 4.7624e-06
120.657 | 4.7628e-06
120.962 | 4.7213e-06
121.299 | 4.5492e-06
121.587 | 4.6598e-06
121.891 | 4.6584e-06
122.142 | 4.659e-06
122.465 | 4.6804e-06
122.756 | 4.682e-06
123.095 | 4.6813e-06
123.344 | 4.6816e-06
123.65 | 4.6809e-06
123.978 | 2.9341e-06
124.492 | 4.2801e-06
124.645 | 1.3134e-06
124.842 | -1.923e-10
125.196 | -2.0666e-10
125.49 | -2.0573e-10
125.775 | -2.071e-10
126.066 | -2.0694e-10
126.364 | -2.0751e-10
126.71 | -8.3009e-11
127.006 | -1.1238e-10
127.255 | -1.2156e-10
127.547 | 9.2723e-07
127.86 | 4.0525e-07
128.211 | 3.6187e-07
128.45 | 3.9426e-07
128.744 | 3.3036e-07
129.078 | 2.0641e-07
129.385 | 1.4903e-07
129.685 | 1.3202e-07
129.98 | 4.757e-06
130.286 | 4.8106e-06
130.554 | 4.8115e-06
130.897 | 4.8118e-06
131.197 | 4.8139e-06
131.493 | 4.8119e-06
131.786 | 4.812e-06
132.105 | 4.8114e-06
132.387 | 4.8138e-06
132.669 | 4.8009e-06
132.979 | 4.8136e-06
133.309 | 4.816e-06
133.572 | 4.8155e-06
133.861 | 4.8074e-06
134.168 | 4.8056e-06
134.515 | 4.8152e-06
134.767 | 4.8128e-06
135.09 | 4.811e-06
135.352 | 4.8152e-06
135.69 | 4.8152e-06
135.996 | 4.811e-06
136.282 | 4.8148e-06
136.549 | 4.8195e-06
136.868 | 4.8133e-06
137.18 | 4.8197e-06
137.487 | 4.8208e-06
137.782 | 4.8121e-06
138.064 | 4.8158e-06
138.364 | 4.8219e-06
138.672 | 4.8238e-06
138.987 | 4.8119e-06
139.316 | 4.8185e-06
139.589 | 4.8152e-06
139.866 | 4.8066e-06
140.162 | 4.8076e-06
140.463 | 4.8181e-06
140.765 | 4.806e-06
141.062 | 4.7603e-06
141.373 | 8.0561e-07
141.646 | 6.5737e-07
141.975 | 7.8434e-07
142.242 | 6.8386e-07
142.567 | 9.4745e-07
142.887 | 7.6374e-07
143.254 | 1.0639e-06
143.492 | 7.4916e-07
143.778 | 6.5578e-07
144.068 | 5.1563e-07
144.395 | 4.8468e-09
144.696 | 5.4874e-09
145.004 | 3.9305e-09
145.282 | 9.5372e-09
145.569 | 9.0899e-09
145.856 | 4.9709e-09
146.202 | 4.9085e-09
146.46 | 1.4017e-10
146.824 | -4.4595e-12
147.056 | -6.3361e-12
147.372 | -6.9197e-12
147.665 | -4.7818e-11
147.957 | -7.9457e-11
148.246 | -4.1423e-11
148.593 | -7.2134e-11