## Settings
Sample Info | ReRAM ZrO2 zb1e run 08 after set 500 uA
Comments | 0.1/-0.5/0.1
Additional Comments | heating only
Major Measurement Parameters
Starting Temperature | 79.8027
Initial Temperature | 80.5
Final Temperature | 320
Preliminary Voltage | 0.1
Pulse Voltage | -0.5
Pulse Time | 30
Wait Time | 0
Measurement Voltage | 0.1
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 31.1.2024
Clock | 15:58:51

## Stabilization
Temperature | Current
0 | 4.7047e-06
0 | 4.6948e-06
0 | 4.7068e-06
0 | 4.7029e-06
0 | 4.7004e-06
0 | 4.6989e-06
0 | 4.7005e-06
0 | 4.698e-06
0 | 4.6983e-06
80.1333 | 4.6876e-06
0 | 4.685e-06
0 | 4.685e-06
0 | 4.6846e-06
0 | 4.684e-06
0 | 4.683e-06
0 | 4.6862e-06
0 | 4.6768e-06
0 | 4.6732e-06
0 | 4.6821e-06
0 | 4.6826e-06
0 | 4.673e-06
0 | 4.6851e-06
0 | 4.6811e-06
0 | 4.6739e-06
0 | 4.6816e-06
0 | 4.6681e-06
0 | 4.6774e-06
0 | 4.6787e-06
0 | 4.6724e-06
0 | 4.6763e-06
0 | 4.6777e-06
0 | 4.6771e-06
0 | 4.6759e-06
0 | 4.6735e-06
0 | 4.674e-06
0 | 4.6592e-06
80.1487 | 4.635e-06

## Measurements
Temperature | Current
80.3376 | 2.2283e-06
80.4579 | 4.6081e-06
80.7655 | 3.5167e-06
81.0535 | 4.5379e-06
81.36 | 4.5772e-06
81.6526 | 4.6369e-06
81.9954 | 4.602e-06
82.3408 | 4.5741e-06
82.6582 | 2.9312e-06
84.172 | 4.4939e-06
85.2079 | 4.5066e-06
85.487 | 4.5086e-06
85.769 | 4.475e-06
86.1101 | 2.9441e-10
86.4155 | 2.9875e-10
86.7511 | 2.9909e-10
87.0509 | 3.0703e-10
87.3132 | 3.0936e-10
87.6349 | 4.5836e-06
88.1612 | 1.2115e-06
88.4166 | 2.6634e-10
88.7575 | 1.3132e-06
88.8104 | 4.6515e-06
89.1023 | 4.6749e-06
89.3885 | 4.6082e-06
89.7033 | 4.6258e-06
89.9807 | 4.6357e-06
90.2651 | 4.5977e-06
90.5412 | 4.6564e-06
90.8397 | 1.5036e-10
91.2438 | 1.4834e-10
91.4776 | 1.8455e-10
91.7587 | -8.6001e-11
92.0481 | 3.7147e-10
92.3827 | -9.4281e-11
92.6908 | -9.2447e-11
92.971 | 1.7137e-11
93.2908 | 3.6745e-10
93.5842 | 5.3315e-12
93.8839 | 4.6777e-06
94.1633 | 1.8376e-09
94.5828 | -8.1606e-11
94.8391 | -3.7028e-11
95.0859 | 1.0499e-08
95.3759 | 3.6906e-09
95.6572 | -2.1373e-10
95.9825 | -2.1497e-10
96.266 | -2.1291e-10
96.5444 | -2.1266e-10
96.8799 | -2.1385e-10
97.194 | -2.1402e-10
97.5155 | 4.0089e-11
97.7934 | -7.3896e-11
98.0441 | -6.7586e-11
98.3782 | -7.242e-11
98.7196 | -7.3354e-11
99.0219 | 4.089e-10
99.3352 | 6.1239e-09
99.6305 | 7.6918e-11
99.8767 | 4.1381e-06
100.204 | 4.2011e-06
100.477 | 3.092e-06
100.784 | -8.2267e-11
101.065 | -5.9348e-11
101.377 | -5.8294e-12
101.675 | -5.106e-11
101.983 | -2.8788e-12
102.261 | -6.7759e-11
102.555 | -5.3327e-11
102.892 | 2.0566e-10
103.19 | 4.6344e-06
103.458 | 4.6284e-06
103.795 | 4.6067e-06
104.054 | 4.6154e-06
104.349 | 4.6263e-06
104.693 | 4.6319e-06
104.953 | 4.6322e-06
105.281 | 4.635e-06
105.587 | 4.6478e-06
105.865 | 4.6284e-06
106.162 | 4.6315e-06
106.459 | 4.63e-06
106.754 | 4.6319e-06
107.049 | 4.6319e-06
107.35 | 4.6348e-06
107.656 | 4.6266e-06
107.939 | 4.6171e-06
108.254 | 4.6325e-06
108.546 | 4.6189e-06
108.877 | 4.6338e-06
109.164 | 4.6642e-06
109.45 | 4.6576e-06
109.741 | 4.6787e-06
110.083 | 4.6749e-06
110.399 | 4.678e-06
110.653 | 4.676e-06
110.95 | 4.6745e-06
111.265 | 4.6788e-06
111.572 | 4.6705e-06
111.896 | 4.6892e-06
112.14 | 4.6868e-06
112.483 | 4.6762e-06
112.789 | 4.676e-06
113.067 | 4.6875e-06
113.373 | 4.6868e-06
113.667 | 4.6805e-06
113.987 | 4.689e-06
114.246 | 4.692e-06
114.561 | 4.6885e-06
114.89 | 4.6938e-06
115.198 | 4.6949e-06
115.461 | 4.696e-06
115.776 | 4.6986e-06
116.062 | 4.6979e-06
116.382 | 4.6995e-06
116.653 | 4.6907e-06
116.969 | 4.6888e-06
117.283 | 4.6916e-06
117.564 | 4.6875e-06
117.882 | 4.7068e-06
118.163 | 4.7076e-06
118.488 | 4.7073e-06
118.783 | 4.7075e-06
119.048 | 4.7102e-06
119.381 | 4.7118e-06
119.646 | 4.7126e-06
119.979 | 4.7162e-06
120.245 | 4.7159e-06
120.566 | 4.7175e-06
120.901 | 4.7172e-06
121.164 | 4.7159e-06
121.465 | 4.7191e-06
121.782 | 4.7218e-06
122.069 | 4.7257e-06
122.38 | 4.7278e-06
122.669 | 4.7187e-06
122.942 | 4.7233e-06
123.281 | 4.7293e-06
123.548 | 4.7288e-06
123.867 | 4.7259e-06
124.181 | 4.7272e-06
124.461 | 4.7321e-06
124.787 | 4.7328e-06
125.058 | 4.7355e-06
125.378 | 4.7354e-06
125.673 | 4.7383e-06
125.96 | 4.7354e-06
126.291 | 4.7345e-06
126.566 | 4.7453e-06
126.88 | 4.7473e-06
127.167 | 4.7526e-06
127.489 | 4.7531e-06
127.76 | 4.7543e-06
128.083 | 4.756e-06
128.376 | 4.7529e-06
128.667 | 4.7428e-06
128.987 | 4.7586e-06
129.276 | 4.7512e-06
129.542 | 4.7609e-06
129.866 | 4.7524e-06
130.142 | 4.7572e-06
130.454 | 4.7617e-06
130.758 | 4.7579e-06
131.091 | 4.7648e-06
131.355 | 4.768e-06
131.64 | 4.7712e-06
131.965 | 4.7725e-06
132.267 | 4.7749e-06
132.589 | 4.7756e-06
132.849 | 4.7777e-06
133.197 | 4.7714e-06
133.49 | 4.7807e-06
133.795 | 4.7669e-06
134.078 | 4.7846e-06
134.366 | 4.7878e-06
134.678 | 4.7875e-06
134.972 | 4.7879e-06
135.29 | 4.7877e-06
135.584 | 4.7881e-06
135.901 | 4.79e-06
136.158 | 4.7912e-06
136.453 | 4.7926e-06
136.756 | 4.7941e-06
137.09 | 4.7967e-06
137.353 | 4.7971e-06
137.669 | 4.8043e-06
137.98 | 4.7964e-06
138.269 | 4.7718e-06
138.588 | 4.7878e-06
138.84 | 4.7915e-06
139.178 | 4.7875e-06
139.457 | 4.791e-06
139.769 | 4.7923e-06
140.1 | 4.8036e-06
140.378 | 4.797e-06
140.674 | 4.7976e-06
140.986 | 4.8108e-06
141.25 | 4.813e-06
141.569 | 4.8119e-06
141.886 | 4.8113e-06
142.159 | 4.8159e-06
142.467 | 4.8141e-06
142.782 | 4.8094e-06
143.063 | 4.8209e-06
143.383 | 4.8233e-06
143.674 | 4.8244e-06
143.973 | 4.8163e-06
144.249 | 4.8265e-06
144.562 | 4.8231e-06
144.9 | 4.8326e-06
145.161 | 4.8319e-06
145.469 | 4.8327e-06
145.767 | 4.8337e-06
146.084 | 4.8254e-06
146.368 | 4.8268e-06
146.707 | 4.8493e-06
146.974 | 4.8485e-06
147.304 | 4.846e-06
147.54 | 4.8385e-06
147.858 | 4.8421e-06
148.141 | 4.8446e-06
148.457 | 4.8424e-06
148.775 | 4.8386e-06
149.105 | 4.848e-06
149.37 | 4.8523e-06
149.706 | 4.8515e-06
149.972 | 4.8575e-06
150.303 | 4.8634e-06
150.57 | 4.8601e-06
150.906 | 4.8542e-06
151.178 | 4.8515e-06
151.443 | 4.8676e-06
151.769 | 4.8683e-06
152.087 | 4.8708e-06
152.352 | 4.8688e-06
152.691 | 4.8744e-06
152.957 | 4.8693e-06
153.273 | 4.8749e-06
153.585 | 4.8819e-06
153.867 | 4.8844e-06
154.187 | 4.8848e-06
154.475 | 4.8863e-06
154.802 | 4.8859e-06
155.067 | 4.8887e-06
155.35 | 4.8905e-06
155.685 | 4.8883e-06
155.957 | 4.899e-06
156.295 | 4.9041e-06
156.575 | 4.8997e-06
156.889 | 4.8911e-06
157.159 | 4.9057e-06
157.462 | 4.9078e-06
157.782 | 4.9074e-06
158.045 | 4.9021e-06
158.356 | 4.9089e-06
158.682 | 4.906e-06
158.966 | 4.9061e-06
159.283 | 4.9123e-06
159.556 | 4.9151e-06
159.849 | 4.9104e-06
160.197 | 4.9129e-06
160.478 | 4.9119e-06
160.775 | 4.9201e-06
161.053 | 4.9131e-06
161.372 | 4.9176e-06
161.669 | 4.9173e-06
161.947 | 4.9229e-06
162.282 | 4.928e-06
162.55 | 4.9257e-06
162.877 | 4.9281e-06
163.146 | 4.9356e-06
163.464 | 4.9324e-06
163.771 | 4.9288e-06
164.084 | 4.9363e-06
164.376 | 4.9382e-06
164.671 | 4.9409e-06
164.984 | 4.9349e-06
165.306 | 4.9434e-06
165.577 | 4.9353e-06
165.862 | 4.943e-06
166.144 | 4.9387e-06
166.481 | 4.9498e-06
166.793 | 4.9485e-06
167.055 | 4.95e-06
167.369 | 4.9626e-06
167.683 | 4.955e-06
167.972 | 4.9679e-06
168.275 | 4.9568e-06
168.566 | 4.9692e-06
168.895 | 4.9754e-06
169.168 | 4.9677e-06
169.472 | 4.9655e-06
169.748 | 4.974e-06
170.077 | 4.9768e-06
170.348 | 4.9659e-06
170.681 | 4.971e-06
170.972 | 4.9845e-06
171.247 | 4.9878e-06
171.568 | 4.9903e-06
171.898 | 4.9915e-06
172.163 | 4.9817e-06
172.485 | 4.9875e-06
172.769 | 4.9857e-06
173.052 | 4.9933e-06
173.37 | 4.9944e-06
173.686 | 4.9938e-06
173.97 | 4.993e-06
174.247 | 4.999e-06
174.573 | 4.9807e-06
174.887 | 4.9872e-06
175.165 | 4.9949e-06
175.477 | 4.9929e-06
175.79 | 5.0082e-06
176.07 | 5.0015e-06
176.361 | 4.9908e-06
176.687 | 4.9992e-06
176.963 | 4.9949e-06
177.273 | 4.9988e-06
177.541 | 5.0042e-06
177.89 | 5.0064e-06
178.187 | 5.0144e-06
178.467 | 5.0322e-06
178.764 | 5.023e-06
179.062 | 5.0251e-06
179.372 | 5.0112e-06
179.659 | 5.0161e-06
179.949 | 5.0225e-06
180.288 | 5.0176e-06
180.577 | 5.0193e-06
180.86 | 5.0176e-06
181.188 | 5.0424e-06
181.468 | 5.0374e-06
181.784 | 5.0424e-06
182.073 | 5.0456e-06
182.382 | 5.0478e-06
182.663 | 5.0478e-06
182.994 | 5.0526e-06
183.265 | 5.0506e-06
183.603 | 5.0569e-06
183.869 | 5.0469e-06
184.178 | 5.0514e-06
184.455 | 5.0606e-06
184.762 | 5.059e-06
185.091 | 5.0666e-06
185.378 | 5.0661e-06
185.657 | 5.0696e-06
185.964 | 5.0503e-06
186.29 | 5.0634e-06
186.585 | 5.0753e-06
186.85 | 5.0737e-06
187.14 | 5.0784e-06
187.456 | 5.0833e-06
187.783 | 5.0807e-06
188.067 | 5.0821e-06
188.383 | 5.0863e-06
188.671 | 5.0815e-06
188.963 | 5.0765e-06
189.272 | 5.081e-06
189.586 | 5.0894e-06
189.865 | 5.09e-06
190.197 | 5.0905e-06
190.465 | 5.0909e-06
190.787 | 5.0871e-06
191.1 | 5.1007e-06
191.38 | 5.099e-06
191.648 | 5.0972e-06
191.987 | 5.1029e-06
192.259 | 5.1087e-06
192.6 | 5.1086e-06
192.864 | 5.1107e-06
193.196 | 5.1162e-06
193.464 | 5.1148e-06
193.755 | 5.1297e-06
194.084 | 5.1187e-06
194.345 | 5.128e-06
194.683 | 5.1307e-06
194.958 | 5.1453e-06
195.24 | 5.1417e-06
195.589 | 5.1426e-06
195.871 | 5.145e-06
196.19 | 5.1455e-06
196.473 | 5.1575e-06
196.766 | 5.1505e-06
197.054 | 5.1578e-06
197.366 | 5.15e-06
197.649 | 5.155e-06
197.985 | 5.1532e-06
198.276 | 5.1474e-06
198.567 | 5.1682e-06
198.907 | 5.1686e-06
199.19 | 5.1564e-06
199.484 | 5.1624e-06
199.781 | 5.1827e-06
200.057 | 5.1785e-06
200.435 | 5.1805e-06
200.71 | 5.1816e-06
200.979 | 5.1715e-06
201.306 | 5.187e-06
201.548 | 5.1908e-06
201.896 | 5.1836e-06
202.159 | 5.1884e-06
202.461 | 5.1804e-06
202.785 | 5.1923e-06
203.063 | 5.1959e-06
203.363 | 5.1972e-06
203.677 | 5.1994e-06
203.989 | 5.2018e-06
204.242 | 5.2019e-06
204.558 | 5.2071e-06
204.881 | 5.2078e-06
205.163 | 5.1985e-06
205.498 | 5.2043e-06
205.778 | 5.1999e-06
206.06 | 5.2035e-06
206.383 | 5.2044e-06
206.668 | 5.201e-06
206.989 | 5.2023e-06
207.302 | 5.2111e-06
207.548 | 5.2072e-06
207.858 | 5.213e-06
208.141 | 5.2186e-06
208.476 | 5.2363e-06
208.79 | 5.2444e-06
209.058 | 5.2311e-06
209.368 | 5.2402e-06
209.693 | 5.2458e-06
209.963 | 5.2428e-06
210.276 | 5.2325e-06
210.55 | 5.2389e-06
210.884 | 5.2357e-06
211.163 | 5.2398e-06
211.445 | 5.2501e-06
211.789 | 5.2446e-06
212.078 | 5.2454e-06
212.371 | 5.248e-06
212.682 | 5.2622e-06
212.979 | 5.2643e-06
213.292 | 5.2574e-06
213.542 | 5.2726e-06
213.877 | 5.2764e-06
214.178 | 5.2723e-06
214.486 | 5.2712e-06
214.761 | 5.2634e-06
215.07 | 5.2832e-06
215.349 | 5.2873e-06
215.661 | 5.285e-06
215.992 | 5.2873e-06
216.256 | 5.2811e-06
216.586 | 5.2729e-06
216.852 | 5.2903e-06
217.187 | 5.2914e-06
217.469 | 5.2961e-06
217.785 | 5.2871e-06
218.07 | 5.2795e-06
218.405 | 5.2844e-06
218.671 | 5.2956e-06
218.988 | 5.2981e-06
219.273 | 5.2976e-06
219.54 | 5.3e-06
219.873 | 5.3043e-06
220.141 | 5.3052e-06
220.476 | 5.303e-06
220.744 | 5.3084e-06
221.063 | 5.3031e-06
221.348 | 5.3117e-06
221.685 | 5.3081e-06
221.955 | 5.3165e-06
222.273 | 5.3175e-06
222.558 | 5.3264e-06
222.894 | 5.3122e-06
223.161 | 5.3174e-06
223.496 | 5.3191e-06
223.765 | 5.326e-06
224.097 | 5.3301e-06
224.363 | 5.3287e-06
224.693 | 5.3284e-06
224.962 | 5.3291e-06
225.279 | 5.3207e-06
225.562 | 5.3308e-06
225.877 | 5.3378e-06
226.159 | 5.3442e-06
226.475 | 5.3406e-06
226.759 | 5.3288e-06
227.092 | 5.3335e-06
227.408 | 5.3493e-06
227.675 | 5.3494e-06
227.959 | 5.3482e-06
228.288 | 5.3552e-06
228.568 | 5.3472e-06
228.882 | 5.3556e-06
229.163 | 5.3414e-06
229.445 | 5.3546e-06
229.78 | 5.3557e-06
230.046 | 5.3461e-06
230.379 | 5.3477e-06
230.662 | 5.3477e-06
230.98 | 5.3439e-06
231.265 | 5.3265e-06
231.581 | 4.8875e-06
231.868 | 5.1649e-06
232.185 | 5.2226e-06
232.469 | 5.472e-08
232.769 | 4.3485e-08
233.053 | 5.5666e-08
233.387 | 5.3661e-06
233.687 | 5.3579e-06
233.954 | 5.3556e-06
234.24 | 5.3683e-06
234.556 | 5.3821e-06
234.889 | 5.3684e-06
235.155 | 1.7766e-06
235.472 | 5.3546e-06
235.754 | 5.4002e-06
236.055 | 5.4039e-06
236.388 | 5.3909e-06
236.655 | 5.402e-06
236.99 | 5.4139e-06
237.256 | 5.4081e-06
237.573 | 5.418e-06
237.857 | 5.4122e-06
238.191 | 5.4051e-06
238.473 | 5.4072e-06
238.74 | 5.4117e-06
239.075 | 5.4284e-06
239.34 | 5.4312e-06
239.673 | 5.4297e-06
239.99 | 5.4328e-06
240.257 | 5.4287e-06
240.587 | 5.4319e-06
240.858 | 5.4353e-06
241.14 | 5.4404e-06
241.473 | 5.4412e-06
241.773 | 5.443e-06
242.091 | 5.4432e-06
242.373 | 5.4355e-06
242.656 | 5.4509e-06
242.973 | 5.4463e-06
243.257 | 5.4563e-06
243.589 | 5.4442e-06
243.873 | 5.4424e-06
244.187 | 5.4559e-06
244.468 | 5.4617e-06
244.798 | 5.4641e-06
245.08 | 5.4539e-06
245.342 | 5.4741e-06
245.694 | 5.4671e-06
245.978 | 5.4679e-06
246.261 | 5.4628e-06
246.577 | 5.4819e-06
246.86 | 5.4785e-06
247.195 | 5.4791e-06
247.462 | 5.4848e-06
247.747 | 5.4769e-06
248.081 | 5.4894e-06
248.348 | 5.4883e-06
248.683 | 5.4933e-06
248.949 | 5.4882e-06
249.284 | 5.4904e-06
249.566 | 5.4948e-06
249.884 | 5.4863e-06
250.169 | 5.5006e-06
250.486 | 5.5042e-06
250.77 | 5.4983e-06
251.087 | 5.5065e-06
251.371 | 5.5021e-06
251.655 | 5.5141e-06
251.987 | 5.5004e-06
252.256 | 5.5109e-06
252.588 | 5.5041e-06
252.854 | 5.5176e-06
253.189 | 5.5219e-06
253.472 | 5.5231e-06
253.789 | 5.5263e-06
254.073 | 5.5316e-06
254.423 | 5.5326e-06
254.64 | 5.5267e-06
254.973 | 5.5415e-06
255.291 | 5.5223e-06
255.574 | 5.5296e-06
255.857 | 5.5373e-06
256.174 | 5.5364e-06
256.459 | 5.5413e-06
256.774 | 5.5372e-06
257.059 | 5.5498e-06
257.34 | 5.5561e-06
257.675 | 5.554e-06
257.94 | 5.5535e-06
258.256 | 5.5432e-06
258.59 | 5.558e-06
258.872 | 5.557e-06
259.19 | 5.5649e-06
259.472 | 5.5547e-06
259.756 | 5.5699e-06
260.089 | 5.5607e-06
260.358 | 5.5618e-06
260.688 | 5.5612e-06
260.99 | 5.5675e-06
261.254 | 5.5825e-06
261.568 | 5.5746e-06
261.848 | 5.5786e-06
262.177 | 5.5906e-06
262.446 | 5.5933e-06
262.78 | 5.5919e-06
263.046 | 5.6004e-06
263.378 | 5.5957e-06
263.663 | 5.5887e-06
263.979 | 5.603e-06
264.264 | 5.6104e-06
264.597 | 5.6092e-06
264.879 | 5.5942e-06
265.149 | 5.6063e-06
265.465 | 5.6129e-06
265.749 | 5.602e-06
266.083 | 5.6184e-06
266.351 | 5.6289e-06
266.685 | 5.6201e-06
266.968 | 5.629e-06
267.285 | 5.6271e-06
267.569 | 5.626e-06
267.853 | 5.6137e-06
268.186 | 5.6229e-06
268.47 | 5.6195e-06
268.804 | 5.6404e-06
269.072 | 5.6399e-06
269.354 | 5.6444e-06
269.688 | 5.6413e-06
269.971 | 5.6412e-06
270.288 | 5.6466e-06
270.573 | 5.6441e-06
270.855 | 5.6477e-06
271.189 | 5.6489e-06
271.456 | 5.654e-06
271.789 | 5.659e-06
272.072 | 5.6526e-06
272.357 | 5.6613e-06
272.641 | 5.6582e-06
272.973 | 5.6632e-06
273.289 | 5.6645e-06
273.573 | 5.6587e-06
273.856 | 5.6749e-06
274.189 | 5.6726e-06
274.473 | 5.6631e-06
274.74 | 5.6784e-06
275.073 | 5.6798e-06
275.356 | 5.6893e-06
275.673 | 5.6901e-06
275.955 | 5.6867e-06
276.273 | 5.6951e-06
276.556 | 5.6983e-06
276.84 | 5.7005e-06
277.173 | 5.6964e-06
277.44 | 5.6974e-06
277.773 | 5.6873e-06
278.057 | 5.6984e-06
278.354 | 5.6987e-06
278.69 | 5.7078e-06
278.956 | 5.7009e-06
279.287 | 5.7103e-06
279.568 | 5.7119e-06
279.882 | 5.7003e-06
280.163 | 5.713e-06
280.495 | 5.7157e-06
280.778 | 5.7169e-06
281.062 | 5.7223e-06
281.379 | 5.7232e-06
281.679 | 5.7223e-06
281.963 | 5.7286e-06
282.247 | 5.7304e-06
282.58 | 5.7349e-06
282.865 | 5.7368e-06
283.181 | 5.7356e-06
283.466 | 5.7334e-06
283.784 | 5.7491e-06
284.067 | 5.743e-06
284.383 | 5.7455e-06
284.67 | 5.7409e-06
285.002 | 5.7479e-06
285.269 | 5.7472e-06
285.552 | 5.757e-06
285.887 | 5.744e-06
286.171 | 5.7554e-06
286.504 | 5.7499e-06
286.788 | 5.7592e-06
287.053 | 5.7579e-06
287.388 | 5.7621e-06
287.672 | 5.7671e-06
287.989 | 5.7716e-06
288.272 | 5.763e-06
288.589 | 5.7705e-06
288.874 | 5.7802e-06
289.189 | 5.7747e-06
289.471 | 5.7815e-06
289.789 | 5.7761e-06
290.071 | 5.7675e-06
290.406 | 5.7803e-06
290.673 | 5.7743e-06
290.956 | 5.7967e-06
291.289 | 5.8016e-06
291.573 | 5.7836e-06
291.84 | 5.7924e-06
292.172 | 5.7996e-06
292.456 | 5.8006e-06
292.789 | 5.8075e-06
293.057 | 5.8113e-06
293.372 | 7.7385e-09
293.657 | 9.2313e-10
293.974 | 6.0211e-09
294.256 | 6.7037e-09
294.589 | 1.0549e-11
294.873 | 8.2252e-11
295.19 | 8.4677e-11
295.473 | 2.5265e-09
295.755 | -5.8522e-11
296.091 | -1.3039e-10
296.372 | 6.5421e-09
296.64 | -2.0035e-10
296.974 | -1.2759e-10
297.305 | -1.0247e-10
297.588 | -1.299e-10
297.856 | -2.0799e-10
298.188 | -2.0829e-10
298.473 | -1.1979e-10
298.787 | -2.0909e-10
299.067 | -2.0919e-10
299.382 | -2.103e-10
299.665 | -2.1004e-10
299.946 | -2.1043e-10
300.28 | -2.0946e-10
300.546 | -2.1121e-10
300.879 | -2.0975e-10
301.146 | -2.1016e-10
301.48 | -2.1019e-10
301.764 | -2.1023e-10
302.081 | -2.1178e-10
302.364 | -2.1044e-10
302.698 | -2.1056e-10
302.982 | -2.1039e-10
303.266 | -2.1052e-10
303.583 | -2.0924e-10
303.869 | -2.1056e-10
304.184 | -2.0963e-10
304.469 | -2.1019e-10
304.785 | -2.1e-10
305.068 | -2.1039e-10
305.353 | -2.1003e-10
305.686 | -2.1045e-10
305.971 | -2.097e-10
306.288 | -2.1254e-10
306.572 | 5.9322e-06
306.872 | -2.2527e-10
307.187 | -2.1336e-10
307.471 | -2.1219e-10
307.804 | -2.1289e-10
308.071 | -2.1274e-10
308.355 | -2.112e-10
308.655 | -2.103e-10
308.99 | -2.1149e-10
309.273 | -2.1245e-10
309.556 | -2.1227e-10
309.873 | -2.1221e-10
310.156 | -2.1253e-10
310.472 | -2.1196e-10
310.756 | -2.0986e-10
311.09 | -2.1033e-10
311.373 | -2.1056e-10
311.641 | -2.1258e-10
311.973 | -2.1142e-10
312.242 | -2.1117e-10
312.574 | -2.1077e-10
312.858 | -2.1194e-10
313.14 | -2.114e-10
313.474 | -2.1201e-10
313.757 | -2.1185e-10
314.092 | -2.0977e-10
314.359 | -2.1122e-10
314.641 | -2.1098e-10
314.975 | -2.1178e-10
315.256 | -2.1203e-10
315.591 | -2.1108e-10
315.858 | -2.1124e-10
316.142 | -2.1226e-10
316.472 | -2.1057e-10
316.757 | -2.1084e-10
317.074 | -2.1017e-10
317.358 | -2.113e-10
317.69 | -2.108e-10
317.973 | -2.1092e-10
318.258 | -2.1044e-10
318.574 | -2.1005e-10
318.857 | -2.1165e-10
319.191 | -2.1117e-10
319.457 | -2.1267e-10
319.74 | -2.1225e-10
320.074 | -2.1167e-10