## Settings
Sample Info | ReRAM ZrO2 zb1e run 09 after reset 4V
Comments | 0.1/-0.5/0.1
Additional Comments | reset 600 nA
Major Measurement Parameters
Starting Temperature | 275.845
Initial Temperature | 80.5
Final Temperature | 320
Preliminary Voltage | 0.1
Pulse Voltage | -0.5
Pulse Time | 30
Wait Time | 0
Measurement Voltage | 0.1
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 31.1.2024
Clock | 16:37:43

## Stabilization
Temperature | Current
0 | 6.5407e-07
0 | 6.5277e-07
0 | 6.5289e-07
0 | 6.5293e-07
0 | 6.5148e-07
0 | 6.5203e-07
0 | 6.514e-07
0 | 6.4875e-07
0 | 6.4846e-07
80.2036 | 6.4859e-07
0 | 6.49e-07
0 | 6.4796e-07
0 | 6.4759e-07
0 | 6.4726e-07
0 | 6.4675e-07
0 | 6.4577e-07
0 | 6.4501e-07
0 | 6.4777e-07
0 | 6.455e-07
0 | 6.4603e-07
0 | 6.441e-07
0 | 6.436e-07
0 | 6.4284e-07
0 | 6.4259e-07
0 | 6.4186e-07
0 | 4.139e-07
0 | 6.3685e-07
0 | 6.2741e-07
0 | 6.4002e-07
0 | 6.4053e-07
0 | 6.3878e-07
0 | 6.377e-07
0 | 6.3825e-07
0 | 6.3719e-07
0 | 6.3652e-07
0 | 6.3552e-07
0 | 6.363e-07
0 | 6.3579e-07
0 | 6.3441e-07
0 | 6.3549e-07
0 | 6.353e-07
0 | 6.328e-07
0 | 6.3309e-07
0 | 6.3242e-07
0 | 6.3052e-07
0 | 6.3203e-07
0 | 6.3e-07
0 | 6.2941e-07
0 | 6.3041e-07
0 | 6.2695e-07
0 | 6.2529e-07
0 | 6.2643e-07
0 | 6.2611e-07
0 | 6.2554e-07
0 | 6.2468e-07
0 | 6.2337e-07
0 | 6.2243e-07
0 | 6.2187e-07
0 | 6.2162e-07
0 | 6.2185e-07
0 | 6.227e-07
0 | 6.2104e-07
0 | 6.1904e-07
0 | 6.1922e-07
0 | 6.1836e-07
0 | 6.1715e-07
0 | 6.1681e-07
0 | 6.1595e-07
0 | 6.1521e-07
0 | 6.1585e-07
0 | 6.1394e-07
0 | 6.1391e-07
0 | 6.1422e-07
0 | 6.1231e-07
0 | 6.1146e-07
0 | 6.1079e-07
0 | 6.1038e-07
0 | 6.1003e-07
0 | 6.3979e-09
0 | 1.0499e-08
0 | 8.6325e-10
0 | 2.2185e-10
0 | 2.5978e-11
0 | 1.8383e-10
0 | 1.5598e-09
0 | -8.663e-11
0 | -8.8082e-11
0 | -1.0366e-10
0 | -1.1445e-10
0 | -1.3196e-10
0 | -1.3252e-10
0 | -1.3268e-10
0 | -1.3268e-10
0 | -2.1271e-10
0 | -2.1372e-10
0 | -2.1387e-10
0 | -2.1422e-10
0 | -2.1289e-10
0 | -2.1301e-10
0 | -2.1389e-10
0 | -2.1292e-10
0 | -2.1403e-10
0 | -2.1353e-10
0 | -2.1351e-10
0 | -2.1419e-10
0 | -2.1558e-10
0 | -2.132e-10
0 | -2.1265e-10
0 | -2.13e-10
0 | -2.1305e-10
0 | -2.1231e-10
0 | -2.1153e-10
0 | -2.1113e-10
0 | -2.1091e-10
0 | -2.1278e-10
0 | -2.1218e-10
0 | -2.1284e-10
0 | -2.1229e-10
0 | -2.122e-10
0 | -2.1162e-10
0 | -2.1173e-10
0 | -2.1039e-10
0 | -2.1193e-10
0 | -2.1224e-10
0 | -2.1224e-10
0 | -2.1298e-10
0 | -2.12e-10
0 | -2.1211e-10
0 | -2.1256e-10
0 | -2.1344e-10
0 | -2.1387e-10
0 | -2.1266e-10
0 | -2.1367e-10
0 | -2.125e-10
0 | -2.1284e-10
0 | -2.1255e-10
0 | -2.1288e-10
0 | -2.1266e-10
0 | -2.132e-10
0 | -2.1231e-10
0 | -2.1415e-10
0 | -2.1345e-10
0 | -2.1335e-10
0 | -2.146e-10
0 | -2.1133e-10
0 | -2.1333e-10
0 | -2.1308e-10
0 | -2.1306e-10
0 | -2.1295e-10
0 | -2.1251e-10
0 | -2.1199e-10
0 | -2.1191e-10
0 | -2.1272e-10
0 | -2.1296e-10
0 | -2.1298e-10
0 | -2.1375e-10
0 | -2.1294e-10
0 | -2.1265e-10
0 | -2.1126e-10
0 | -2.1175e-10
0 | -2.1163e-10
0 | -2.1223e-10
0 | -2.1263e-10
0 | -2.1204e-10
0 | -2.1207e-10
0 | -2.1245e-10
0 | -2.1038e-10
0 | -2.1212e-10
0 | -2.1164e-10
0 | -2.1173e-10
0 | -2.1191e-10
0 | -2.1276e-10
0 | -2.1287e-10
0 | -2.1327e-10
0 | -2.1177e-10
0 | -2.1133e-10
0 | -2.127e-10
0 | -2.1358e-10
0 | -2.1162e-10
0 | -2.1348e-10
0 | -2.1234e-10
0 | -2.13e-10
0 | -2.1199e-10
0 | -2.1185e-10
0 | -2.1288e-10
0 | -2.1288e-10
0 | -2.1191e-10
0 | -2.1117e-10
0 | -2.1321e-10
0 | -2.1225e-10
0 | -2.1276e-10
0 | -2.125e-10
0 | -2.1157e-10
0 | -2.1102e-10
0 | -2.1144e-10
0 | -2.1173e-10
0 | -2.1095e-10
0 | -2.1231e-10
0 | -2.129e-10
0 | -2.1301e-10
0 | -2.1339e-10
0 | -2.1317e-10
0 | -2.1385e-10
0 | -2.1258e-10
0 | -2.1398e-10
0 | -2.1331e-10
0 | -2.1304e-10
0 | -2.1225e-10
0 | -2.125e-10
0 | -2.1198e-10
0 | -2.1225e-10
0 | -2.1289e-10
0 | -2.125e-10
0 | -2.1367e-10
0 | -2.1339e-10
0 | -2.1358e-10
0 | -2.1324e-10
0 | -2.1458e-10
0 | -2.1386e-10
0 | 2.1195e-09
0 | 9.7433e-08
0 | 7.1009e-08
0 | -4.3065e-11
0 | -2.1608e-10
0 | -2.1442e-10
0 | -2.152e-10
0 | -2.1326e-10
0 | -2.1485e-10
0 | -2.123e-10
0 | -2.1536e-10
0 | 4.9526e-08
0 | 3.8748e-07
0 | 5.2883e-07
0 | 5.2792e-07
0 | 1.2101e-07
0 | 3.1948e-07
0 | 7.9494e-08
0 | 1.6585e-07
0 | 1.9376e-09
0 | 1.3712e-11
0 | -2.0647e-10
0 | -1.9308e-10
0 | -1.9887e-10
0 | -1.0442e-10
0 | 4.4546e-07
0 | 5.1804e-07
0 | 5.2058e-07
0 | 2.0077e-07
0 | 2.262e-07
0 | 2.5828e-07
0 | 1.226e-07
0 | 1.4476e-07
0 | 1.7108e-07
0 | 1.177e-07
0 | 1.1755e-07
0 | 1.194e-07
0 | 1.3101e-07
0 | 1.8616e-07
0 | 1.2048e-07
0 | 2.1957e-07
0 | 1.6036e-07
0 | 1.5903e-07
0 | 4.7291e-09
0 | 4.6729e-09
0 | 3.099e-09
0 | 2.6712e-09
0 | 2.4867e-09
0 | 2.3879e-09
0 | 4.9485e-09
0 | -2.165e-10
0 | -2.1764e-10
0 | -2.1532e-10
0 | -2.1822e-10
0 | 2.5206e-09
0 | 2.618e-09
0 | 1.5815e-09
0 | 1.6816e-09
0 | 5.1464e-07
0 | -2.2845e-10
0 | -2.1732e-10
0 | -2.1846e-10
0 | -2.1721e-10
0 | 5.7574e-09
0 | 2.0924e-09
0 | 5.121e-07
0 | 5.1549e-07
0 | 5.1231e-07
0 | 5.1119e-07
0 | 5.1172e-07
0 | 5.1315e-07
0 | 5.1161e-07
0 | 5.1086e-07
0 | 5.1273e-07
0 | 5.1215e-07
0 | 5.1094e-07
0 | 5.1112e-07
0 | 5.1274e-07
0 | 5.1168e-07
0 | 5.1141e-07
0 | 5.1142e-07
0 | 5.105e-07
0 | 5.0965e-07
0 | 5.101e-07
0 | 5.0904e-07
0 | 5.1061e-07
0 | 5.0918e-07
0 | 5.0811e-07
0 | 5.0874e-07
0 | 5.0865e-07
0 | 5.0783e-07
0 | 5.0733e-07
0 | 5.0999e-07
0 | 5.0662e-07
0 | 5.0662e-07
0 | 5.0689e-07
0 | 5.0662e-07
0 | 5.0636e-07
0 | 5.0651e-07
0 | 5.0572e-07
0 | 5.0524e-07
0 | 5.048e-07
0 | 5.0524e-07
0 | 5.0501e-07
0 | 5.038e-07
0 | 5.0454e-07
0 | 5.0473e-07
0 | 5.035e-07
0 | 5.036e-07
0 | 5.0304e-07
0 | 5.025e-07
0 | 5.0329e-07
0 | 5.0467e-07
0 | 5.0156e-07
0 | 5.0315e-07
0 | 5.0147e-07
0 | 4.9981e-07
0 | 5.0067e-07
0 | 5.0109e-07
0 | 4.9898e-07
0 | 4.9936e-07
0 | 4.9885e-07
0 | 4.9953e-07
0 | 4.9909e-07
0 | 4.9765e-07
0 | 2.3757e-07
0 | 4.9474e-07
0 | 4.9646e-07
0 | 4.9678e-07
0 | 4.9634e-07
0 | 4.9468e-07
0 | 4.9457e-07
0 | 4.9556e-07
0 | 1.0499e-08
0 | 3.3861e-08
0 | 4.4555e-07
0 | 4.9357e-07
0 | 3.6699e-08
0 | 3.9226e-08
0 | 1.0109e-07
0 | 2.9767e-08
0 | 4.9823e-08
0 | 1.9966e-07
0 | 7.1236e-08
0 | 6.8122e-08
0 | 1.504e-07
0 | 1.5268e-07
0 | 1.5304e-07
0 | 1.5567e-07
0 | 1.3819e-07
0 | 1.3554e-07
0 | 1.2618e-07
0 | 1.3075e-07
0 | 1.199e-07
0 | 1.2413e-07
0 | 1.1504e-07
0 | 1.1595e-07
0 | 1.0354e-07
0 | 1.1195e-07
0 | 4.4957e-08
0 | 4.4089e-08
0 | 4.584e-08
0 | 3.2543e-08
0 | 3.6364e-07
0 | 4.3807e-07
0 | 4.8584e-07
0 | -2.1837e-10
0 | -2.1807e-10
0 | -2.1636e-10
0 | -2.1688e-10
0 | -2.1654e-10
0 | 6.4561e-09
0 | 4.8603e-07
0 | 4.7278e-07
0 | 4.8492e-07
0 | 4.8438e-07
0 | -2.2779e-10
0 | -2.1637e-10
0 | -2.1503e-10
0 | -2.1531e-10
0 | -2.1573e-10
0 | -2.1573e-10
0 | -2.155e-10
0 | -2.1604e-10
0 | -2.1494e-10
0 | -2.1445e-10
0 | -2.1564e-10
0 | -2.1644e-10
0 | -2.1697e-10
0 | -2.1591e-10
0 | -2.16e-10
0 | -2.1466e-10
0 | -2.1508e-10
0 | -2.1477e-10
0 | -2.1479e-10
0 | -2.1419e-10
0 | -2.1469e-10
0 | -2.1366e-10
0 | 3.1682e-10
0 | -2.1309e-10
0 | 7.3086e-10
0 | -2.1403e-10
0 | 2.9049e-10
0 | -2.139e-10
0 | -2.1374e-10
0 | -2.1365e-10
0 | -2.1412e-10
0 | -2.1384e-10
0 | -2.1349e-10
0 | -2.1419e-10
0 | -2.1385e-10
0 | -2.1369e-10
0 | -2.1429e-10
0 | -2.1347e-10
0 | -2.1337e-10
0 | -2.1498e-10
0 | -2.1557e-10
0 | 1.05e-07
0 | 4.7225e-07
0 | 4.7378e-07
0 | 4.717e-07
0 | 4.7151e-07
0 | 4.7086e-07
0 | 4.7069e-07
0 | 4.7087e-07
0 | 4.6962e-07
0 | 4.689e-07
0 | 4.7004e-07
0 | 4.6947e-07
0 | 4.6962e-07
0 | 4.6812e-07
0 | 4.6858e-07
0 | 4.6875e-07
0 | 4.6941e-07
0 | 4.684e-07
0 | 4.6735e-07
0 | 4.6676e-07
0 | 4.6629e-07
0 | 4.684e-07
0 | 4.6544e-07
0 | 4.6651e-07
0 | 4.6511e-07
0 | 4.649e-07
0 | 4.6425e-07
0 | 2.1962e-07
0 | 4.5985e-07
0 | -1.0361e-10
0 | 1.6704e-08
0 | 1.046e-08
0 | -2.2566e-10
0 | 3.3331e-10
0 | -2.1337e-10
0 | -2.1361e-10
0 | -6.2068e-11
0 | -1.8939e-10
0 | -2.0387e-10
0 | 3.0582e-09
0 | 4.5736e-07
0 | 4.5977e-07
0 | 4.5816e-07
0 | 4.3968e-07
0 | 4.5883e-07
0 | 4.5853e-07
0 | 4.576e-07
0 | 4.5773e-07
0 | 4.5781e-07
0 | 4.5722e-07
0 | 4.5645e-07
0 | 4.566e-07
0 | 4.5654e-07
0 | 4.5611e-07
0 | 4.5572e-07
0 | 4.5527e-07
0 | 4.5127e-07
0 | 4.55e-07
0 | 4.5486e-07
0 | 4.539e-07
0 | 4.5387e-07
0 | 4.4919e-07
0 | 4.5491e-07
0 | 4.547e-07
0 | 4.5395e-07
0 | 4.5262e-07
0 | 4.5317e-07
0 | 4.5307e-07
0 | 4.5268e-07
0 | 4.5184e-07
0 | 4.5162e-07
0 | 4.515e-07
0 | 4.5112e-07
0 | 4.5081e-07
0 | 4.5203e-07
0 | 4.517e-07
0 | 4.5188e-07
0 | 4.5162e-07
0 | 4.5099e-07
0 | 4.5064e-07
0 | 4.5115e-07
0 | 4.5047e-07
0 | 4.5032e-07
0 | 4.502e-07
0 | 4.5047e-07
0 | 4.4964e-07
0 | 4.4968e-07
0 | 4.4901e-07
0 | 4.49e-07
0 | 4.4853e-07
0 | 4.4767e-07
0 | 4.4771e-07
0 | 4.5017e-07
0 | 4.4735e-07
0 | 4.4672e-07
0 | 4.47e-07
0 | 4.4617e-07
0 | 4.4659e-07
0 | 4.4676e-07
0 | 4.4649e-07
0 | 4.4578e-07
0 | 4.4553e-07
0 | 4.4577e-07
0 | 4.4506e-07
0 | 4.4396e-07
0 | 4.4417e-07
0 | 4.4306e-07
0 | 4.4291e-07
0 | 4.4276e-07
0 | 4.4261e-07
0 | 4.4347e-07
0 | 4.4296e-07
0 | 4.4294e-07
0 | 4.42e-07
0 | 4.4229e-07
0 | 4.4211e-07
0 | 4.4142e-07
0 | 4.4085e-07
0 | 4.4147e-07
0 | 4.401e-07
0 | 4.4005e-07
0 | 4.3954e-07
0 | 1.1374e-07
0 | -2.2409e-10
0 | -2.1183e-10
0 | -2.1283e-10
0 | 1.0491e-08
0 | -2.1342e-10
0 | -2.1317e-10
0 | -2.103e-10
0 | -2.1229e-10
0 | -2.1259e-10
0 | -2.1353e-10
80.1984 | -2.146e-10

## Measurements
Temperature | Current
80.2301 | 4.2883e-07
80.3439 | 4.287e-07
80.652 | 4.2675e-07
80.9531 | 4.2695e-07
81.2523 | 4.2564e-07
81.5555 | 4.2529e-07
81.8506 | 4.2426e-07
82.1625 | 4.2495e-07
82.4399 | 4.2393e-07
82.8379 | 4.2419e-07
83.1373 | 4.2461e-07
83.5114 | 4.237e-07
83.9583 | 4.2332e-07
85.2935 | 4.2385e-07
86.3357 | 4.2404e-07
86.8152 | 4.2349e-07
87.1265 | 4.2317e-07
87.4712 | 4.2292e-07
87.7727 | 4.2315e-07
88.0454 | 4.2244e-07
88.2091 | 4.2281e-07
88.45 | 4.2203e-07
88.6529 | 4.2127e-07
88.9885 | 4.2083e-07
89.2755 | 4.212e-07
89.6433 | 4.211e-07
89.8835 | 4.2062e-07
90.1788 | 4.2084e-07
90.4401 | 4.2023e-07
90.7919 | 4.2066e-07
91.0887 | 4.1957e-07
91.3782 | 4.2006e-07
91.6638 | 4.175e-07
91.9806 | 4.1811e-07
92.2953 | 4.1631e-07
92.5805 | 4.17e-07
92.8691 | 4.1688e-07
93.1787 | 4.1595e-07
93.448 | 4.1651e-07
93.7748 | 4.1627e-07
94.0515 | 4.1611e-07
94.3846 | 4.1546e-07
94.6639 | 4.1618e-07
94.9577 | 4.1541e-07
95.2583 | 4.1546e-07
95.6047 | 4.1513e-07
95.8582 | 4.1444e-07
96.1678 | 4.1514e-07
96.4515 | 4.1425e-07
96.7653 | 4.1451e-07
97.0469 | 4.1317e-07
97.367 | 4.1362e-07
97.6447 | 4.1307e-07
97.9862 | 4.1324e-07
98.2691 | 4.1325e-07
98.5692 | 4.1388e-07
98.8703 | 4.134e-07
99.1551 | 4.1347e-07
99.4371 | 4.1369e-07
99.7382 | 4.1229e-07
100.077 | 4.1247e-07
100.343 | 4.1241e-07
100.64 | 4.1132e-07
100.995 | 4.1093e-07
101.26 | 4.1135e-07
101.56 | 4.1133e-07
101.863 | 4.1059e-07
102.138 | 4.1087e-07
102.464 | 4.1063e-07
102.776 | 4.1064e-07
103.053 | 4.1117e-07
103.363 | 4.0987e-07
103.645 | 4.1043e-07
103.98 | 4.102e-07
104.269 | 4.0983e-07
104.558 | 4.0978e-07
104.88 | 4.0939e-07
105.168 | 4.0976e-07
105.459 | 4.0948e-07
105.753 | 4.095e-07
106.079 | 4.106e-07
106.369 | 4.087e-07
106.644 | 4.0983e-07
106.936 | 4.0935e-07
107.284 | 4.0939e-07
107.56 | 4.095e-07
107.852 | 4.1192e-07
108.139 | 4.0858e-07
108.496 | 4.091e-07
108.734 | 4.0971e-07
109.055 | 4.1071e-07
109.337 | 4.1021e-07
109.664 | 4.1015e-07
109.991 | 4.0946e-07
110.256 | 4.0981e-07
110.537 | 4.082e-07
110.873 | 4.079e-07
111.142 | 4.0767e-07
111.468 | 4.0763e-07
111.744 | 4.0808e-07
112.052 | 4.0787e-07
112.384 | 4.0856e-07
112.659 | 4.082e-07
112.963 | 4.0785e-07
113.278 | 4.0731e-07
113.535 | 4.0829e-07
113.859 | 4.0763e-07
114.187 | 4.0817e-07
114.448 | 4.0884e-07
114.772 | 4.0831e-07
115.051 | 4.0815e-07
115.364 | 4.082e-07
115.644 | 4.0819e-07
115.979 | 4.0888e-07
116.248 | 4.0905e-07
116.581 | 4.0911e-07
116.855 | 4.0893e-07
117.169 | 4.0959e-07
117.457 | 4.0973e-07
117.748 | 4.0943e-07
118.083 | 4.0974e-07
118.342 | 4.0934e-07
118.666 | 4.0959e-07
118.981 | 4.098e-07
119.27 | 4.1012e-07
119.572 | 4.1097e-07
119.873 | 4.1098e-07
120.17 | 4.1029e-07
120.47 | 4.1015e-07
120.755 | 4.101e-07
121.054 | 4.1044e-07
121.372 | 4.1097e-07
121.636 | 4.109e-07
122.081 | 4.1017e-07
122.264 | 4.1097e-07
122.58 | 4.1099e-07
122.873 | 4.1103e-07
123.165 | 4.1077e-07
123.451 | 4.1044e-07
123.77 | 4.1058e-07
124.058 | 4.1106e-07
124.38 | 4.1144e-07
124.646 | 4.1183e-07
124.973 | 4.1119e-07
125.269 | 4.1096e-07
125.554 | 4.1123e-07
125.893 | 4.1089e-07
126.165 | 4.1109e-07
126.448 | 4.1112e-07
126.762 | 4.1134e-07
127.06 | 4.1209e-07
127.384 | 4.1222e-07
127.666 | 4.1214e-07
127.962 | 4.1267e-07
128.292 | 4.1239e-07
128.579 | 4.128e-07
128.866 | 4.1306e-07
129.166 | 4.1265e-07
129.485 | 4.1299e-07
129.803 | 4.1265e-07
130.057 | 4.1266e-07
130.354 | 4.132e-07
130.702 | 4.1458e-07
130.936 | 4.1434e-07
131.246 | 4.14e-07
131.602 | 4.1364e-07
131.88 | 4.1455e-07
132.159 | 4.1476e-07
132.499 | 4.1473e-07
132.743 | 4.1505e-07
133.087 | 4.1528e-07
133.347 | 4.1508e-07
133.658 | 4.1486e-07
133.98 | 4.1574e-07
134.271 | 4.1542e-07
134.562 | 4.1492e-07
134.839 | 4.1537e-07
135.185 | 4.1527e-07
135.47 | 4.1613e-07
135.772 | 4.1528e-07
136.076 | 4.1582e-07
136.372 | 4.1593e-07
136.664 | 4.161e-07
136.95 | 4.1652e-07
137.267 | 4.1678e-07
137.569 | 4.1784e-07
137.852 | 4.1916e-07
138.138 | 4.1762e-07
138.468 | 4.1779e-07
138.752 | 4.1844e-07
139.09 | 4.1832e-07
139.354 | 4.1797e-07
139.656 | 4.1765e-07
139.966 | 4.1795e-07
140.267 | 4.1788e-07
140.548 | 4.188e-07
140.895 | 4.1877e-07
141.178 | 4.193e-07
141.473 | 4.1933e-07
141.757 | 4.197e-07
142.043 | 4.1907e-07
142.343 | 4.2015e-07
142.676 | 4.1967e-07
142.979 | 4.195e-07
143.237 | 4.2021e-07
143.576 | 4.2066e-07
143.878 | 4.1981e-07
144.178 | 4.2069e-07
144.475 | 4.2035e-07
144.746 | 4.2091e-07
145.06 | 4.2097e-07
145.363 | 4.2088e-07
145.678 | 4.2111e-07
145.968 | 4.2073e-07
146.255 | 4.213e-07
146.537 | 4.2111e-07
146.859 | 4.2101e-07
147.152 | 4.2114e-07
147.493 | 4.211e-07
147.771 | 4.2087e-07
148.089 | 4.2089e-07
148.36 | 4.2112e-07
148.683 | 4.2201e-07
149.008 | 4.2197e-07
149.259 | 4.2329e-07
149.58 | 4.2281e-07
149.88 | 4.2298e-07
150.151 | 4.2293e-07
150.482 | 4.2254e-07
150.785 | 4.2321e-07
151.079 | 4.2297e-07
151.381 | 4.2291e-07
151.65 | 4.2183e-07
151.976 | 4.2339e-07
152.249 | 4.2322e-07
152.544 | 4.2243e-07
152.838 | 4.2416e-07
153.176 | 4.2442e-07
153.461 | 4.2435e-07
153.797 | 4.2522e-07
154.085 | 4.2501e-07
154.353 | 4.2499e-07
154.636 | 4.2544e-07
154.961 | 4.2533e-07
155.293 | 4.2512e-07
155.561 | 4.2453e-07
155.868 | 4.263e-07
156.193 | 4.2628e-07
156.482 | 4.2718e-07
156.75 | 4.266e-07
157.038 | 4.2677e-07
157.358 | 4.2521e-07
157.662 | 4.2649e-07
157.96 | 4.2737e-07
158.272 | 4.2776e-07
158.556 | 4.2783e-07
158.848 | 4.2918e-07
159.178 | 4.2768e-07
159.441 | 4.2776e-07
159.742 | 4.2824e-07
160.064 | 4.2821e-07
160.363 | 4.2887e-07
160.675 | 4.2864e-07
160.966 | 4.2906e-07
161.257 | 4.2888e-07
161.547 | 4.2926e-07
161.859 | 4.2862e-07
162.159 | 4.3113e-07
162.455 | 4.3015e-07
162.798 | 4.2983e-07
163.046 | 4.3105e-07
163.369 | 4.2982e-07
163.646 | 4.3134e-07
163.952 | 4.3196e-07
164.276 | 4.318e-07
164.576 | 4.3216e-07
164.872 | 4.3162e-07
165.161 | 4.3286e-07
165.468 | 4.3292e-07
165.772 | 4.3324e-07
166.067 | 4.3274e-07
166.358 | 4.3376e-07
166.692 | 4.3284e-07
166.961 | 4.3356e-07
167.251 | 4.3361e-07
167.542 | 4.3344e-07
167.877 | 4.3415e-07
168.155 | 4.3335e-07
168.465 | 4.3633e-07
168.749 | 4.3605e-07
169.075 | 4.3628e-07
169.356 | 4.3729e-07
169.678 | 4.3734e-07
169.959 | 4.3774e-07
170.237 | 4.3791e-07
170.573 | 4.3788e-07
170.862 | 4.3835e-07
171.153 | 4.3878e-07
171.474 | 4.3864e-07
171.756 | 4.3915e-07
172.081 | 4.3886e-07
172.344 | 4.3972e-07
172.673 | 4.4004e-07
172.971 | 4.4037e-07
173.235 | 4.4079e-07
173.573 | 4.4086e-07
173.856 | 4.414e-07
174.138 | 4.4154e-07
174.465 | 4.4128e-07
174.747 | 4.4151e-07
175.086 | 4.4199e-07
175.361 | 4.4203e-07
175.677 | 4.4231e-07
175.939 | 4.4035e-07
176.273 | 4.4113e-07
176.565 | 4.4107e-07
176.86 | 4.4074e-07
177.133 | 4.4218e-07
177.456 | 4.4388e-07
177.78 | 4.4395e-07
178.065 | 4.4391e-07
178.353 | 4.4493e-07
178.701 | 4.4495e-07
178.984 | 4.4317e-07
179.267 | 4.425e-07
179.551 | 4.43e-07
179.876 | 4.4431e-07
180.161 | 4.4492e-07
180.476 | 4.4548e-07
180.755 | 4.4553e-07
181.088 | 4.4517e-07
181.374 | 4.4588e-07
181.663 | 4.476e-07
181.97 | 4.4642e-07
182.239 | 4.468e-07
182.573 | 4.4687e-07
182.857 | 4.4662e-07
183.148 | 4.4766e-07
183.441 | 4.4807e-07
183.762 | 4.4862e-07
184.069 | 4.4863e-07
184.35 | 4.4999e-07
184.693 | 4.5005e-07
184.985 | 4.4998e-07
185.254 | 4.5039e-07
185.538 | 4.496e-07
185.871 | 4.5049e-07
186.141 | 4.5073e-07
186.476 | 4.5073e-07
186.759 | 4.5118e-07
187.033 | 4.5361e-07
187.419 | 4.5443e-07
187.689 | 4.5386e-07
187.974 | 4.5174e-07
188.257 | 4.5198e-07
188.557 | 4.5265e-07
188.89 | 4.5283e-07
189.142 | 4.532e-07
189.442 | 4.5409e-07
189.781 | 4.5256e-07
190.047 | 4.5507e-07
190.354 | 4.5649e-07
190.651 | 4.5652e-07
190.974 | 4.5477e-07
191.261 | 4.5467e-07
191.586 | 4.5429e-07
191.867 | 4.5516e-07
192.16 | 4.5495e-07
192.465 | 4.5545e-07
192.751 | 4.5654e-07
193.077 | 4.5655e-07
193.378 | 4.5658e-07
193.673 | 4.5663e-07
193.953 | 4.5742e-07
194.263 | 4.5677e-07
194.557 | 4.5859e-07
194.87 | 4.582e-07
195.147 | 4.5847e-07
195.459 | 4.5917e-07
195.756 | 4.5947e-07
196.065 | 4.5866e-07
196.361 | 4.5879e-07
196.656 | 4.5996e-07
196.956 | 4.5934e-07
197.273 | 4.6021e-07
197.552 | 4.6228e-07
197.862 | 4.6192e-07
198.15 | 4.6208e-07
198.485 | 4.629e-07
198.765 | 4.6118e-07
199.062 | 4.6201e-07
199.349 | 4.621e-07
199.655 | 4.6197e-07
199.965 | 4.626e-07
200.281 | 4.6149e-07
200.552 | 4.6249e-07
200.873 | 4.6276e-07
201.18 | 4.6352e-07
201.457 | 4.6317e-07
201.768 | 4.6296e-07
202.065 | 4.641e-07
202.378 | 4.6375e-07
202.663 | 4.6431e-07
202.945 | 2.4764e-07
203.28 | 4.6285e-07
203.563 | 4.631e-07
203.882 | 4.6318e-07
204.201 | 4.6263e-07
204.435 | 4.6346e-07
204.771 | 4.0853e-07
205.056 | 4.6553e-07
205.51 | 4.6222e-07
205.661 | 4.5432e-07
205.946 | 4.6399e-07
206.28 | 4.5564e-07
206.567 | 4.6675e-07
206.849 | 4.6168e-07
207.184 | 4.62e-07
207.469 | 4.5673e-07
207.754 | 4.6679e-07
208.039 | 4.6479e-07
208.374 | 4.5591e-07
208.689 | 1.7347e-07
208.975 | 1.4262e-08
209.658 | 4.694e-07
210.858 | 4.7253e-07
211.858 | 4.6931e-07
212.191 | 3.9037e-07
212.475 | 2.2155e-07
212.774 | 4.6976e-07
213.042 | 4.7082e-07
213.336 | 4.7164e-07
213.667 | 4.7239e-07
213.949 | 4.7419e-07
214.279 | 4.7304e-07
214.56 | 4.7354e-07
214.894 | 4.7392e-07
215.158 | 4.7433e-07
215.46 | 4.7351e-07
215.776 | 4.7411e-07
216.058 | 4.7565e-07
216.391 | 4.756e-07
216.656 | 4.7547e-07
216.956 | 4.7642e-07
217.276 | 4.7581e-07
217.577 | 4.7537e-07
217.86 | 4.7592e-07
218.147 | 4.7861e-07
218.481 | 4.777e-07
218.766 | 4.7798e-07
219.05 | 4.7809e-07
219.37 | 4.7754e-07
219.655 | 4.7868e-07
219.939 | 4.7701e-07
220.275 | 4.7796e-07
220.557 | 3.4493e-07
220.892 | 4.7715e-07
221.175 | 4.5278e-07
221.458 | 3.3069e-07
221.742 | 2.8953e-07
222.075 | 4.7898e-07
222.359 | 4.7997e-07
222.691 | 4.7713e-07
222.975 | 4.8084e-07
223.257 | 4.8246e-07
223.591 | 4.8176e-07
223.873 | 4.8218e-07
224.156 | 4.821e-07
224.472 | 4.8301e-07
224.756 | 4.8318e-07
225.039 | 4.8419e-07
225.371 | 4.8522e-07
225.655 | 4.8525e-07
225.972 | 4.8516e-07
226.256 | 4.8421e-07
226.539 | 4.8432e-07
226.888 | 4.8533e-07
227.172 | 4.8525e-07
227.471 | 4.8471e-07
227.739 | 4.8518e-07
228.039 | 4.8615e-07
228.369 | 4.8881e-07
228.664 | 4.8744e-07
228.996 | 4.8676e-07
229.277 | 4.8762e-07
229.56 | 4.8782e-07
229.844 | 4.8829e-07
230.176 | 4.8811e-07
230.459 | 4.8798e-07
230.744 | 4.8861e-07
231.062 | 4.8899e-07
231.365 | 4.9052e-07
231.65 | 4.904e-07
231.969 | 4.9013e-07
232.253 | 4.9081e-07
232.537 | 4.9115e-07
232.87 | 4.9189e-07
233.155 | 4.9151e-07
233.487 | 4.915e-07
233.771 | 4.9211e-07
234.035 | 4.9235e-07
234.369 | 4.9249e-07
234.652 | 4.9286e-07
234.985 | 4.9315e-07
235.252 | 4.9353e-07
235.537 | 4.9371e-07
235.87 | 4.9429e-07
236.154 | 4.936e-07
236.489 | 4.9447e-07
236.753 | 4.9363e-07
237.038 | 4.9475e-07
237.371 | 4.9549e-07
237.638 | 4.9553e-07
237.973 | 4.9615e-07
238.254 | 4.9609e-07
238.538 | 4.9627e-07
238.872 | 4.9743e-07
239.155 | 4.978e-07
239.489 | 4.9833e-07
239.755 | 5.0042e-07
240.039 | 4.9914e-07
240.374 | 4.9962e-07
240.672 | 4.9964e-07
240.939 | 4.9982e-07
241.273 | 5.0015e-07
241.555 | 4.9986e-07
241.84 | 5.0035e-07
242.172 | 5.0203e-07
242.457 | 5.0117e-07
242.74 | 5.0172e-07
243.073 | 5.0264e-07
243.355 | 5.0334e-07
243.688 | 5.0328e-07
243.957 | 5.0322e-07
244.237 | 5.038e-07
244.549 | 5.0348e-07
244.864 | 5.0449e-07
245.146 | 5.049e-07
245.477 | 5.0574e-07
245.76 | 5.0577e-07
246.076 | 5.0614e-07
246.36 | 5.0586e-07
246.659 | 5.0551e-07
246.995 | 5.0655e-07
247.278 | 5.0723e-07
247.562 | 5.0798e-07
247.88 | 5.0821e-07
248.163 | 5.0898e-07
248.498 | 5.0854e-07
248.782 | 5.0926e-07
249.067 | 5.0912e-07
249.349 | 5.1053e-07
249.633 | 5.1031e-07
249.967 | 5.1041e-07
250.251 | 5.1123e-07
250.535 | 5.113e-07
250.871 | 5.1061e-07
251.153 | 5.1075e-07
251.437 | 5.1207e-07
251.77 | 5.1501e-07
252.054 | 5.127e-07
252.338 | 5.1307e-07
252.671 | 5.137e-07
252.971 | 5.1496e-07
253.238 | 5.1647e-07
253.588 | 5.1494e-07
253.873 | 5.1624e-07
254.154 | 5.1547e-07
254.472 | 5.1603e-07
254.754 | 5.1813e-07
255.039 | 5.1723e-07
255.372 | 5.1761e-07
255.655 | 5.1765e-07
255.955 | 5.1795e-07
256.239 | 5.1848e-07
256.573 | 5.1844e-07
256.856 | 5.1872e-07
257.156 | 5.1928e-07
257.438 | 5.2017e-07
257.772 | 5.208e-07
258.056 | 5.2152e-07
258.389 | 5.2151e-07
258.674 | 5.2182e-07
258.956 | 5.2251e-07
259.24 | 5.2201e-07
259.539 | 5.2391e-07
259.872 | 5.2411e-07
260.157 | 5.2333e-07
260.488 | 5.2528e-07
260.773 | 5.2442e-07
261.057 | 5.2458e-07
261.387 | 5.2456e-07
261.666 | 5.2463e-07
261.997 | 5.257e-07
262.279 | 5.263e-07
262.561 | 5.2651e-07
262.844 | 5.2655e-07
263.177 | 5.2717e-07
263.462 | 5.2757e-07
263.777 | 5.2944e-07
264.079 | 5.2863e-07
264.361 | 5.2889e-07
264.647 | 5.2888e-07
264.997 | 5.3024e-07
265.281 | 5.2986e-07
265.565 | 5.322e-07
265.848 | 5.3072e-07
266.133 | 5.3139e-07
266.467 | 5.3115e-07
266.751 | 5.3129e-07
267.085 | 5.3501e-07
267.368 | 5.3483e-07
267.651 | 5.3522e-07
267.969 | 5.351e-07
268.253 | 5.3528e-07
268.536 | 5.3657e-07
268.87 | 5.3578e-07
269.154 | 5.3601e-07
269.488 | 5.3608e-07
269.772 | 5.3778e-07
270.054 | 5.3671e-07
270.388 | 5.3706e-07
270.654 | 5.3728e-07
270.955 | 5.3907e-07
271.273 | 5.4083e-07
271.553 | 5.4104e-07
271.905 | 5.411e-07
272.153 | 5.4213e-07
272.487 | 5.4228e-07
272.77 | 5.4082e-07
273.038 | 5.398e-07
273.371 | 5.4301e-07
273.654 | 5.4124e-07
273.94 | 5.4127e-07
274.272 | 5.4175e-07
274.555 | 5.4465e-07
274.837 | 5.4446e-07
275.171 | 5.4681e-07
275.455 | 5.4586e-07
275.755 | 5.4625e-07
276.054 | 5.4604e-07
276.339 | 5.4222e-07
276.672 | 5.4351e-07
276.955 | 5.4345e-07
277.256 | 5.445e-07
277.539 | 5.438e-07
277.872 | 5.4514e-07
278.173 | 5.4521e-07
278.457 | 5.455e-07
278.789 | 5.4651e-07
279.07 | 5.4601e-07
279.353 | 5.4664e-07
279.684 | 5.481e-07
279.966 | 5.4741e-07
280.296 | 5.5064e-07
280.578 | 5.5154e-07
280.861 | 5.4916e-07
281.144 | 5.5002e-07
281.479 | 5.5027e-07
281.761 | 5.5031e-07
282.08 | 5.5241e-07
282.361 | 5.5105e-07
282.663 | 5.5311e-07
282.947 | 5.5364e-07
283.283 | 5.5442e-07
283.583 | 5.5364e-07
283.866 | 5.5406e-07
284.166 | 5.5498e-07
284.449 | 5.5506e-07
284.733 | 5.5619e-07
285.034 | 5.557e-07
285.368 | 5.5694e-07
285.652 | 5.571e-07
285.985 | 5.5579e-07
286.267 | 4.9988e-07
286.553 | 1.8906e-07
286.87 | 3.0925e-08
287.17 | -1.9137e-10
287.454 | -2.0935e-10
287.738 | -2.0904e-10
288.07 | -2.1054e-10
288.355 | -2.0742e-10
288.638 | -2.1014e-10
288.972 | -2.0978e-10
289.254 | -2.0993e-10
289.572 | -2.1098e-10
289.873 | -2.1042e-10
290.156 | 5.6238e-07
290.506 | 5.6313e-07
290.773 | 5.6316e-07
291.054 | 5.6448e-07
291.34 | 5.6387e-07
291.672 | 5.6468e-07
291.955 | 5.6556e-07
292.239 | 5.6612e-07
292.572 | 5.6843e-07
292.856 | 5.6731e-07
293.139 | 5.6736e-07
293.472 | 5.6841e-07
293.756 | 5.6836e-07
294.089 | 5.6915e-07
294.373 | 5.695e-07
294.654 | 5.7074e-07
294.939 | 5.7177e-07
295.272 | 5.716e-07
295.557 | 5.7181e-07
295.839 | 5.7215e-07
296.189 | 5.7346e-07
296.472 | 5.7203e-07
296.755 | 5.7379e-07
297.041 | 5.7539e-07
297.373 | 5.7381e-07
297.655 | 5.752e-07
297.939 | 5.7605e-07
298.272 | 5.7748e-07
298.555 | 5.7626e-07
298.835 | 5.7884e-07
299.166 | 5.7854e-07
299.464 | 5.7887e-07
299.78 | 5.8019e-07
300.08 | 5.8036e-07
300.362 | 5.8056e-07
300.679 | 5.8226e-07
300.979 | 5.8149e-07
301.263 | 5.8178e-07
301.546 | 5.827e-07
301.879 | 5.8338e-07
302.182 | 5.8405e-07
302.464 | 5.8416e-07
302.749 | 5.8304e-07
303.033 | 5.831e-07
303.366 | 5.8575e-07
303.649 | 5.8496e-07
303.984 | 5.8524e-07
304.269 | 5.8511e-07
304.551 | 5.8557e-07
304.87 | 5.8585e-07
305.151 | 5.8607e-07
305.436 | 5.8732e-07
305.786 | 5.9042e-07
306.069 | 5.9046e-07
306.354 | 5.9091e-07
306.638 | 5.9185e-07
306.97 | 5.9213e-07
307.271 | 5.9364e-07
307.555 | 5.9412e-07
307.837 | 5.9389e-07
308.188 | 5.9558e-07
308.471 | 5.9443e-07
308.772 | 5.9541e-07
309.055 | 5.9638e-07
309.339 | 5.9622e-07
309.688 | 5.9658e-07
309.989 | 5.9624e-07
310.272 | 5.9737e-07
310.572 | 6.0099e-07
310.853 | 5.9858e-07
311.172 | 5.9955e-07
311.474 | 6.0041e-07
311.756 | 6.025e-07
312.057 | 6.0072e-07
312.356 | 6.0225e-07
312.657 | 6.0289e-07
312.956 | 6.0302e-07
313.29 | 6.0285e-07
313.557 | 6.0373e-07
313.857 | 6.0437e-07
314.141 | 6.0564e-07
314.489 | 6.0499e-07
314.773 | 6.0589e-07
315.056 | 6.0807e-07
315.34 | 6.0887e-07
315.675 | 6.0767e-07
315.958 | 6.0775e-07
316.257 | 6.0819e-07
316.54 | 6.0757e-07
316.873 | 6.1012e-07
317.158 | 6.1073e-07
317.44 | 6.1246e-07
317.774 | 6.1279e-07
318.058 | 6.1415e-07
318.357 | 6.128e-07
318.691 | 6.1526e-07
318.974 | 6.1571e-07
319.258 | 6.1325e-07
319.541 | 6.1458e-07
319.873 | 6.1424e-07
320.156 | 6.168e-07