## Settings
Sample Info | zb2 run 01 after reset at 80K
Comments | 0/0/1
Major Measurement Parameters
Starting Temperature | 79.9845
Initial Temperature | 80.5
Final Temperature | 320
Preliminary Voltage | 0
Pulse Voltage | 0
Pulse Time | 1
Wait Time | 0
Measurement Voltage | 1
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 31.1.2024
Clock | 18:36:10

## Stabilization
Temperature | Current
79.9793 | -2.284e-10
80.0175 | -2.2812e-10
80.0423 | -2.283e-10
80.0567 | -2.2876e-10
80.0625 | -2.2707e-10
80.063 | -2.2742e-10
80.0342 | -2.2862e-10
80.0219 | -2.2876e-10
80.008 | -2.2807e-10
80.0295 | -2.274e-10
80.0639 | -2.2889e-10

## Measurements
Temperature | Current
80.107 | 2.2789e-09
80.2084 | 2.2821e-09
80.5095 | 2.2956e-09
80.8397 | 2.2596e-09
81.1366 | 2.3298e-09
81.4356 | 2.247e-09
81.7246 | 2.289e-09
82.0572 | 2.1986e-09
82.3323 | 2.2754e-09
82.6758 | 2.3016e-09
83.0751 | 2.2672e-09
84.7312 | 2.2124e-09
85.5943 | 2.3043e-09
85.9024 | 2.2077e-09
86.1833 | 2.2609e-09
86.4428 | 2.3125e-09
86.7233 | 2.1933e-09
87.0974 | 2.2561e-09
87.3533 | 2.2513e-09
87.6874 | 2.3204e-09
87.9681 | 2.2338e-09
88.2597 | 2.2243e-09
88.5326 | 2.1625e-09
88.8104 | 2.2173e-09
89.1697 | 2.1769e-09
89.4488 | 2.1938e-09
89.7516 | 2.2411e-09
90.0352 | 2.1561e-09
90.3494 | 2.1915e-09
90.6459 | 2.1859e-09
90.9319 | 2.2026e-09
91.209 | 2.2221e-09
91.528 | 2.2217e-09
91.8414 | 2.2533e-09
92.1149 | 2.1814e-09
92.429 | 2.225e-09
92.7401 | 2.2268e-09
93.0128 | 2.2354e-09
93.3317 | 2.2447e-09
93.6458 | 2.1883e-09
93.9214 | 2.2423e-09
94.2393 | 2.2193e-09
94.5372 | 2.2278e-09
94.8492 | 2.202e-09
95.152 | 2.2114e-09
95.442 | 2.241e-09
95.7331 | 2.2271e-09
96.0283 | 2.2208e-09
96.3253 | 2.2192e-09
96.6262 | 2.2047e-09
96.9306 | 2.3366e-09
97.2326 | 2.2942e-09
97.5384 | 2.2873e-09
97.8455 | 2.2321e-09
98.1696 | 2.2404e-09
98.4299 | 2.3057e-09
98.7382 | 2.2402e-09
99.0515 | 2.2438e-09
99.3277 | 2.2077e-09
99.6353 | 2.3383e-09
99.9522 | 2.308e-09
100.233 | 2.2663e-09
100.546 | 2.3192e-09
100.806 | 2.3469e-09
101.121 | 2.3682e-09
101.427 | 2.3456e-09
101.74 | 2.2883e-09
102.07 | 2.3761e-09
102.335 | 2.3003e-09
102.646 | 2.2763e-09
102.927 | 2.2881e-09
103.244 | 2.2651e-09
103.557 | 2.3532e-09
103.871 | 2.2956e-09
104.138 | 2.2853e-09
104.453 | 2.3105e-09
104.769 | 2.3242e-09
105.035 | 2.2936e-09
105.35 | 2.3359e-09
105.618 | 2.3847e-09
105.934 | 2.2949e-09
106.248 | 2.2834e-09
106.517 | 2.3157e-09
106.832 | 2.4066e-09
107.151 | 2.3624e-09
107.447 | 2.3203e-09
107.729 | 2.3258e-09
108.043 | 2.3613e-09
108.359 | 2.3936e-09
108.622 | 2.4572e-09
108.939 | 2.3908e-09
109.265 | 2.4621e-09
109.525 | 2.4042e-09
109.828 | 2.3819e-09
110.141 | 2.4828e-09
110.471 | 2.3983e-09
110.734 | 2.4016e-09
111.048 | 2.4488e-09
111.31 | 2.4385e-09
111.624 | 2.3592e-09
111.954 | 2.4194e-09
112.254 | 2.4256e-09
112.538 | 2.5005e-09
112.851 | 2.4256e-09
113.134 | 2.6333e-09
113.45 | 2.5144e-09
113.715 | 2.5499e-09
114.046 | 2.4902e-09
114.361 | 2.4604e-09
114.625 | 2.6062e-09
114.938 | 2.4592e-09
115.22 | 2.575e-09
115.526 | 2.5081e-09
115.832 | 2.4875e-09
116.143 | 2.6785e-09
116.471 | 2.6148e-09
116.734 | 2.5822e-09
117.047 | 2.6742e-09
117.311 | 2.6243e-09
117.645 | 2.5624e-09
117.946 | 2.6134e-09
118.227 | 2.6961e-09
118.539 | 2.5385e-09
118.852 | 2.6193e-09
119.12 | 2.6487e-09
119.436 | 2.5964e-09
119.755 | 2.456e-09
120.04 | 2.5931e-09
120.36 | 2.6336e-09
120.629 | 2.5353e-09
120.917 | 2.6048e-09
121.239 | 2.6494e-09
121.523 | 2.6907e-09
121.83 | 2.7512e-09
122.167 | 2.6668e-09
122.437 | 2.5525e-09
122.755 | 2.6721e-09
123.023 | 2.6673e-09
123.343 | 2.7185e-09
123.609 | 2.6227e-09
123.931 | 2.7493e-09
124.247 | 2.7944e-09
124.535 | 2.574e-09
124.851 | 2.7105e-09
125.117 | 2.6721e-09
125.433 | 2.7212e-09
125.75 | 2.5581e-09
126.033 | 2.6958e-09
126.348 | 2.6818e-09
126.661 | 2.7468e-09
126.93 | 2.6544e-09
127.248 | 2.7623e-09
127.53 | 2.6527e-09
127.838 | 2.7151e-09
128.146 | 2.6963e-09
128.45 | 2.6556e-09
128.725 | 2.7815e-09
129.034 | 2.6647e-09
129.343 | 2.6948e-09
129.607 | 2.6886e-09
129.918 | 2.6791e-09
130.234 | 2.6895e-09
130.57 | 2.7066e-09
130.839 | 2.7101e-09
131.112 | 2.6435e-09
131.435 | 2.699e-09
131.723 | 2.702e-09
132.049 | 2.7028e-09
132.323 | 2.6864e-09
132.649 | 2.69e-09
132.924 | 2.6813e-09
133.249 | 2.6607e-09
133.54 | 2.7188e-09
133.812 | 2.7866e-09
134.136 | 2.8499e-09
134.427 | 2.7422e-09
134.75 | 2.7684e-09
135.04 | 2.7856e-09
135.311 | 2.8014e-09
135.632 | 2.8451e-09
135.921 | 2.7061e-09
136.241 | 2.8212e-09
136.528 | 2.7593e-09
136.849 | 2.7692e-09
137.118 | 2.8457e-09
137.436 | 2.8111e-09
137.767 | 2.8216e-09
138.032 | 2.7842e-09
138.345 | 2.8332e-09
138.628 | 2.8803e-09
138.942 | 2.8651e-09
139.222 | 2.8794e-09
139.541 | 2.855e-09
139.806 | 2.8063e-09
140.14 | 2.7734e-09
140.457 | 2.8401e-09
140.723 | 2.8142e-09
141.042 | 2.8562e-09
141.327 | 2.8784e-09
141.644 | 2.8477e-09
141.911 | 2.8374e-09
142.248 | 2.9441e-09
142.515 | 2.9299e-09
142.832 | 2.863e-09
143.152 | 2.8247e-09
143.434 | 2.8723e-09
143.753 | 2.9034e-09
144.02 | 2.9128e-09
144.306 | 2.9315e-09
144.624 | 2.8783e-09
144.942 | 2.8935e-09
145.224 | 2.8905e-09
145.541 | 2.9082e-09
145.824 | 2.9725e-09
146.159 | 2.954e-09
146.425 | 2.9139e-09
146.743 | 2.866e-09
147.027 | 2.9428e-09
147.344 | 2.9298e-09
147.627 | 2.9104e-09
147.944 | 2.9491e-09
148.241 | 3.0222e-09
148.553 | 3.0114e-09
148.818 | 2.9874e-09
149.13 | 2.9564e-09
149.461 | 2.9871e-09
149.726 | 3.0461e-09
150.057 | 2.9699e-09
150.325 | 2.9454e-09
150.641 | 2.988e-09
150.925 | 3.0057e-09
151.241 | 3.0127e-09
151.51 | 3.0219e-09
151.845 | 2.9947e-09
152.112 | 3.0009e-09
152.43 | 3.0774e-09
152.715 | 2.9946e-09
153.033 | 3.0317e-09
153.368 | 3.0059e-09
153.635 | 3.1238e-09
153.953 | 3.1746e-09
154.222 | 3.035e-09
154.555 | 3.077e-09
154.824 | 3.0253e-09
155.141 | 3.1608e-09
155.41 | 3.1619e-09
155.744 | 3.2257e-09
156.011 | 3.1879e-09
156.344 | 3.1085e-09
156.614 | 3.1432e-09
156.945 | 3.131e-09
157.212 | 3.1749e-09
157.547 | 3.1485e-09
157.861 | 3.1707e-09
158.131 | 3.2809e-09
158.447 | 3.1852e-09
158.731 | 3.201e-09
159.048 | 3.2817e-09
159.331 | 3.2014e-09
159.644 | 3.2706e-09
159.926 | 3.3024e-09
160.237 | 3.24e-09
160.553 | 3.2907e-09
160.833 | 3.259e-09
161.15 | 3.3292e-09
161.415 | 3.2094e-09
161.733 | 3.3245e-09
162.049 | 3.2365e-09
162.317 | 3.2612e-09
162.633 | 3.2588e-09
162.966 | 3.3174e-09
163.235 | 3.2478e-09
163.551 | 3.2334e-09
163.837 | 3.3396e-09
164.155 | 3.2069e-09
164.422 | 3.2714e-09
164.756 | 3.277e-09
165.04 | 3.2255e-09
165.359 | 3.2639e-09
165.625 | 3.3054e-09
165.96 | 3.3854e-09
166.229 | 3.4164e-09
166.514 | 3.263e-09
166.829 | 3.4082e-09
167.147 | 3.3717e-09
167.431 | 3.3039e-09
167.748 | 3.3485e-09
168.032 | 3.328e-09
168.349 | 3.3592e-09
168.616 | 3.4452e-09
168.932 | 3.4185e-09
169.266 | 3.3794e-09
169.533 | 3.3944e-09
169.849 | 3.4454e-09
170.132 | 3.5226e-09
170.467 | 3.4041e-09
170.733 | 3.371e-09
171.051 | 3.353e-09
171.335 | 3.4129e-09
171.647 | 3.5066e-09
171.928 | 3.5491e-09
172.242 | 3.4854e-09
172.554 | 3.5878e-09
172.837 | 3.6179e-09
173.151 | 3.4537e-09
173.434 | 3.4997e-09
173.749 | 3.4604e-09
174.033 | 3.5503e-09
174.352 | 3.5761e-09
174.634 | 3.4487e-09
174.952 | 3.4555e-09
175.27 | 3.5273e-09
175.536 | 3.4883e-09
175.855 | 3.6116e-09
176.14 | 3.5506e-09
176.407 | 3.564e-09
176.743 | 3.5702e-09
177.059 | 3.5006e-09
177.326 | 3.5468e-09
177.663 | 3.5263e-09
177.928 | 3.5339e-09
178.263 | 3.63e-09
178.532 | 3.6466e-09
178.848 | 3.6119e-09
179.131 | 3.6359e-09
179.448 | 3.6449e-09
179.731 | 3.7273e-09
180.051 | 3.7078e-09
180.331 | 3.6368e-09
180.651 | 3.6126e-09
180.916 | 3.6354e-09
181.25 | 3.6354e-09
181.535 | 3.6454e-09
181.851 | 3.6367e-09
182.134 | 3.6823e-09
182.469 | 3.6964e-09
182.735 | 3.7545e-09
183.019 | 3.6754e-09
183.352 | 3.8406e-09
183.619 | 3.768e-09
183.951 | 3.7474e-09
184.234 | 3.7532e-09
184.55 | 3.7523e-09
184.829 | 3.726e-09
185.144 | 3.8182e-09
185.406 | 3.7784e-09
185.738 | 3.6885e-09
186.053 | 3.7641e-09
186.337 | 3.7625e-09
186.652 | 3.8705e-09
186.936 | 3.8234e-09
187.253 | 3.7488e-09
187.537 | 3.7781e-09
187.855 | 3.8678e-09
188.121 | 3.8376e-09
188.456 | 3.8183e-09
188.724 | 3.8602e-09
189.041 | 3.7761e-09
189.326 | 3.8301e-09
189.644 | 3.759e-09
189.911 | 3.8544e-09
190.244 | 3.8008e-09
190.514 | 3.8513e-09
190.827 | 3.8617e-09
191.164 | 3.7644e-09
191.432 | 3.9691e-09
191.767 | 3.8023e-09
192.033 | 4.0058e-09
192.351 | 3.7889e-09
192.634 | 4.1195e-09
192.95 | 3.8763e-09
193.235 | 3.8091e-09
193.552 | 4.1444e-09
193.819 | 4.259e-09
194.153 | 4.262e-09
194.418 | 4.541e-09
194.735 | 4.1179e-09
195.018 | 4.1505e-09
195.354 | 3.9689e-09
195.62 | 4.1996e-09
195.936 | 3.8354e-09
196.254 | 3.8379e-09
196.538 | 4.1025e-09
196.854 | 4.2715e-09
197.136 | 3.8376e-09
197.471 | 4.0111e-09
197.738 | 4.5919e-09
198.055 | 4.5996e-09
198.337 | 4.6452e-09
198.652 | 4.6784e-09
198.931 | 4.7305e-09
199.245 | 4.8205e-09
199.526 | 4.3907e-09
199.84 | 4.5506e-09
200.123 | 4.4689e-09
200.439 | 5.0102e-09
200.756 | 4.2059e-09
201.038 | 4.6786e-09
201.355 | 4.7096e-09
201.639 | 4.6678e-09
201.923 | 4.0444e-09
202.224 | 4.6738e-09
202.508 | 4.3616e-09
202.842 | 4.6268e-09
203.108 | 4.6827e-09
203.443 | 4.8419e-09
203.73 | 4.9608e-09
204.047 | 4.9552e-09
204.331 | 4.0634e-09
204.649 | 4.343e-09
204.932 | 4.2087e-09
205.249 | 4.5552e-09
205.534 | 4.5032e-09
205.85 | 4.5253e-09
206.136 | 4.9405e-09
206.452 | 4.5194e-09
206.736 | 4.3646e-09
207.019 | 5.0556e-09
207.336 | 4.2893e-09
207.62 | 4.908e-09
207.954 | 4.8462e-09
208.22 | 4.2458e-09
208.555 | 5.0223e-09
208.818 | 4.522e-09
209.155 | 4.367e-09
209.421 | 4.2919e-09
209.755 | 4.3079e-09
210.023 | 4.469e-09
210.357 | 4.8227e-09
210.639 | 4.4173e-09
210.906 | 4.9118e-09
211.238 | 4.5873e-09
211.522 | 5.1527e-09
211.839 | 4.454e-09
212.122 | 4.5318e-09
212.439 | 4.647e-09
212.77 | 4.992e-09
213.037 | 4.726e-09
213.351 | 4.6962e-09
213.631 | 4.8495e-09
213.944 | 4.6369e-09
214.209 | 4.6942e-09
214.542 | 5.0685e-09
214.825 | 4.618e-09
215.14 | 4.3866e-09
215.423 | 4.4753e-09
215.724 | 4.8863e-09
216.041 | 4.4202e-09
216.323 | 4.3087e-09
216.641 | 4.665e-09
216.923 | 4.7926e-09
217.243 | 5.3535e-09
217.526 | 5.0107e-09
217.844 | 4.6728e-09
218.128 | 4.7979e-09
218.446 | 4.8286e-09
218.714 | 4.8507e-09
219.048 | 4.6634e-09
219.332 | 5.119e-09
219.649 | 4.496e-09
219.934 | 4.5047e-09
220.25 | 4.9444e-09
220.533 | 5.1242e-09
220.848 | 5.086e-09
221.124 | 5.0181e-09
221.439 | 4.796e-09
221.735 | 5.3903e-09
222.011 | 5.2913e-09
222.351 | 4.8347e-09
222.637 | 4.8083e-09
222.949 | 5.3625e-09
223.234 | 5.1061e-09
223.564 | 4.87e-09
223.862 | 5.4741e-09
224.127 | 5.138e-09
224.409 | 4.971e-09
224.709 | 5.3829e-09
225.041 | 4.9528e-09
225.323 | 5.1512e-09
225.656 | 5.2071e-09
225.922 | 5.0865e-09
226.206 | 5.2873e-09
226.522 | 5.2805e-09
226.856 | 5.0285e-09
227.122 | 5.0737e-09
227.453 | 5.1965e-09
227.721 | 5.0067e-09
228.054 | 5.1584e-09
228.335 | 5.3247e-09
228.649 | 5.2004e-09
228.928 | 5.1223e-09
229.243 | 5.3028e-09
229.525 | 5.3308e-09
229.858 | 5.1661e-09
230.125 | 5.1446e-09
230.407 | 5.2282e-09
230.726 | 5.2327e-09
231.009 | 5.2206e-09
231.328 | 5.2438e-09
231.646 | 5.1957e-09
231.933 | 5.2445e-09
232.25 | 5.7876e-09
232.535 | 5.5147e-09
232.87 | 5.4089e-09
233.136 | 5.3615e-09
233.419 | 5.5665e-09
233.736 | 5.4511e-09
234.019 | 5.2158e-09
234.352 | 5.3892e-09
234.636 | 5.4303e-09
234.948 | 5.4653e-09
235.236 | 5.4519e-09
235.553 | 5.5671e-09
235.837 | 5.7327e-09
236.154 | 5.4223e-09
236.437 | 5.2567e-09
236.754 | 5.4707e-09
237.038 | 5.4561e-09
237.355 | 5.5187e-09