## Settings
Sample Info | zb2 run 02 after continued run 01
Comments | 0/0/1
Additional Comments | run 01 continued
Major Measurement Parameters
Starting Temperature | 243.13
Initial Temperature | 243
Final Temperature | 350
Preliminary Voltage | 0
Pulse Voltage | 0
Pulse Time | 1
Wait Time | 0
Measurement Voltage | 1
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 31.1.2024
Clock | 19:0:47

## Stabilization
Temperature | Current
243.128 | -2.3437e-10
243.127 | -2.3447e-10
243.126 | -2.3379e-10
243.123 | -2.3454e-10
243.123 | -2.3424e-10
243.122 | -2.3446e-10
243.121 | -2.3459e-10
243.118 | -2.357e-10
243.118 | -2.3511e-10
243.115 | -2.3402e-10

## Measurements
Temperature | Current
243.114 | 6.1446e-09
243.219 | 6.2166e-09
243.544 | 6.4263e-09
243.836 | 6.3388e-09
244.182 | 6.364e-09
244.419 | 6.3472e-09
244.783 | 6.2011e-09
245.089 | 6.3363e-09
245.373 | 6.2527e-09
245.688 | 6.356e-09
246.005 | 6.4465e-09
246.321 | 6.403e-09
246.52 | 6.2617e-09
246.828 | 6.3587e-09
247.213 | 6.4913e-09
247.483 | 6.3153e-09
247.774 | 6.4296e-09
248.06 | 6.438e-09
248.415 | 6.3137e-09
248.663 | 6.5645e-09
248.93 | 6.4983e-09
249.265 | 6.4581e-09
249.567 | 6.3619e-09
249.817 | 6.305e-09
250.198 | 6.3002e-09
250.417 | 6.5239e-09
250.781 | 6.4482e-09
251.054 | 6.6997e-09
251.342 | 6.592e-09
251.667 | 6.3075e-09
251.946 | 6.5008e-09
252.257 | 6.5372e-09
252.546 | 6.5106e-09
252.868 | 6.4486e-09
253.166 | 6.2429e-09
253.459 | 6.2428e-09
253.748 | 6.285e-09
254.035 | 6.1145e-09
254.335 | 6.2402e-09
254.668 | 6.4485e-09
254.945 | 6.3007e-09
255.219 | 6.4265e-09
255.559 | 6.5321e-09
255.879 | 6.2947e-09
256.148 | 6.4233e-09
256.416 | 6.3013e-09
256.731 | 6.2404e-09
257.045 | 6.5362e-09
257.358 | 6.4729e-09
257.637 | 6.3775e-09
257.932 | 6.4607e-09
258.259 | 6.4339e-09
258.571 | 6.3228e-09
258.832 | 6.5291e-09
259.142 | 6.4426e-09
259.453 | 6.3548e-09
259.716 | 6.4017e-09
260.027 | 6.5015e-09
260.336 | 6.527e-09
260.648 | 6.3408e-09
260.961 | 6.4825e-09
261.239 | 6.6464e-09
261.548 | 6.4303e-09
261.857 | 6.5931e-09
262.119 | 6.5897e-09
262.433 | 6.6023e-09
262.745 | 6.4958e-09
263.059 | 6.5563e-09
263.324 | 6.5052e-09
263.637 | 6.551e-09
263.972 | 6.3809e-09
264.236 | 6.5619e-09
264.554 | 6.4508e-09
264.82 | 6.4723e-09
265.15 | 6.6402e-09
265.471 | 6.6074e-09
265.738 | 6.5989e-09
266.037 | 6.4221e-09
266.353 | 6.6232e-09
266.62 | 6.4742e-09
266.955 | 6.5154e-09
267.221 | 6.4777e-09
267.539 | 6.6801e-09
267.857 | 6.5014e-09
268.141 | 6.6628e-09
268.458 | 6.6677e-09
268.724 | 6.6047e-09
269.044 | 6.6836e-09
269.36 | 6.7569e-09
269.644 | 6.6833e-09
269.962 | 6.6926e-09
270.228 | 6.8143e-09
270.545 | 6.8268e-09
270.864 | 6.742e-09
271.146 | 6.9622e-09
271.464 | 6.9057e-09
271.749 | 6.8767e-09
272.065 | 6.7686e-09
272.331 | 6.7248e-09
272.647 | 6.9451e-09
272.965 | 6.7981e-09
273.247 | 6.9094e-09
273.566 | 6.858e-09
273.831 | 6.9722e-09
274.149 | 6.8823e-09
274.466 | 6.8652e-09
274.732 | 6.8003e-09
275.047 | 6.7615e-09
275.316 | 7.0468e-09
275.647 | 6.9721e-09
275.965 | 7.0469e-09
276.233 | 6.9752e-09
276.55 | 7.0046e-09
276.815 | 7.127e-09
277.134 | 7.0603e-09
277.466 | 6.8988e-09
277.731 | 7.0982e-09
278.05 | 7.2415e-09
278.317 | 7.0255e-09
278.635 | 7.1476e-09
278.951 | 7.0901e-09
279.232 | 7.107e-09
279.579 | 7.4134e-09
279.844 | 7.1135e-09
280.16 | 7.207e-09
280.426 | 7.4397e-09
280.74 | 7.2663e-09
281.072 | 7.1027e-09
281.34 | 7.2416e-09
281.658 | 7.3041e-09
281.941 | 7.3783e-09
282.258 | 7.222e-09
282.543 | 7.4442e-09
282.86 | 7.5951e-09
283.126 | 7.5355e-09
283.444 | 7.4177e-09
283.762 | 7.4249e-09
284.046 | 7.4807e-09
284.362 | 7.3143e-09
284.647 | 7.4241e-09
284.963 | 7.3783e-09
285.231 | 7.4676e-09
285.548 | 7.4586e-09
285.815 | 7.373e-09
286.132 | 7.3805e-09
286.464 | 7.6769e-09
286.732 | 7.5232e-09
287.049 | 7.62e-09
287.333 | 7.6362e-09
287.651 | 7.7691e-09
287.965 | 7.6616e-09
288.235 | 7.7322e-09
288.551 | 7.9163e-09
288.835 | 8.078e-09
289.151 | 7.8971e-09
289.418 | 8.0927e-09
289.736 | 8.071e-09
290.053 | 8.0692e-09
290.334 | 8.1457e-09
290.653 | 7.9852e-09
290.935 | 8.0495e-09
291.237 | 8.0965e-09
291.52 | 8.1429e-09
291.853 | 8.3155e-09
292.17 | 8.1127e-09
292.436 | 8.2457e-09
292.753 | 8.1518e-09
293.037 | 8.3932e-09
293.352 | 8.2884e-09
293.618 | 8.3739e-09
293.936 | 8.4551e-09
294.253 | 8.1983e-09
294.519 | 8.4058e-09
294.854 | 8.5282e-09
295.118 | 8.5782e-09
295.434 | 8.3176e-09
295.753 | 8.278e-09
296.035 | 8.37e-09
296.353 | 8.5172e-09
296.62 | 8.1932e-09
296.952 | 8.3966e-09
297.27 | 8.3519e-09
297.536 | 8.5129e-09
297.852 | 8.5752e-09
298.135 | 8.6238e-09
298.452 | 8.391e-09
298.717 | 8.5623e-09
299.031 | 8.6188e-09
299.347 | 8.5848e-09
299.678 | 8.6471e-09
299.945 | 8.6068e-09
300.275 | 8.4994e-09
300.543 | 8.7463e-09
300.859 | 8.6793e-09
301.144 | 8.6896e-09
301.46 | 8.6719e-09
301.725 | 8.7199e-09
302.061 | 8.7866e-09
302.379 | 8.5658e-09
302.647 | 8.5945e-09
302.964 | 8.8142e-09
303.246 | 8.7189e-09
303.564 | 8.8829e-09
303.848 | 8.945e-09
304.131 | 9.0682e-09
304.449 | 8.8987e-09
304.766 | 8.9526e-09
305.031 | 8.9496e-09
305.35 | 8.8019e-09
305.633 | 8.5938e-09
305.951 | 8.6929e-09
306.217 | 8.6634e-09
306.535 | 8.7456e-09
306.835 | 8.7599e-09
307.168 | 8.8561e-09
307.435 | 8.8635e-09
307.751 | 8.7506e-09
308.035 | 8.8533e-09
308.353 | 8.8581e-09
308.62 | 8.8177e-09
308.936 | 8.7174e-09
309.252 | 9.0387e-09
309.537 | 8.9216e-09
309.854 | 8.929e-09
310.138 | 8.9921e-09
310.454 | 9.156e-09
310.721 | 9.1e-09
311.055 | 9.0573e-09
311.322 | 9.3848e-09
311.655 | 9.3958e-09
311.921 | 9.462e-09
312.252 | 9.4158e-09
312.521 | 9.3329e-09
312.837 | 9.297e-09
313.17 | 9.408e-09
313.438 | 9.4096e-09
313.772 | 9.4279e-09
314.039 | 9.5731e-09
314.355 | 9.5182e-09
314.638 | 9.476e-09
314.955 | 9.5896e-09
315.237 | 9.6091e-09
315.555 | 9.6402e-09
315.821 | 9.5605e-09
316.155 | 9.6603e-09
316.439 | 9.6628e-09
316.755 | 9.709e-09
317.022 | 9.6186e-09
317.338 | 9.6349e-09
317.673 | 9.6322e-09
317.939 | 9.548e-09
318.272 | 9.4694e-09
318.539 | 9.8439e-09
318.856 | 9.6483e-09
319.139 | 9.6918e-09
319.472 | 9.7416e-09
319.739 | 9.6561e-09
320.072 | 9.6876e-09
320.319 | 9.7403e-09
320.651 | 9.9652e-09
320.916 | 9.9538e-09
321.248 | 9.9871e-09
321.564 | 1.0103e-08
321.83 | 1.0091e-08
322.164 | 1.006e-08
322.43 | 9.9841e-09
322.763 | 1.02e-08
323.048 | 1.0198e-08
323.315 | 1.0153e-08
323.631 | 1.0416e-08
323.966 | 1.0193e-08
324.249 | 1.0261e-08
324.515 | 1.0416e-08
324.832 | 1.0323e-08
325.15 | 1.0364e-08
325.5 | 1.0296e-08
325.732 | 1.0421e-08
326.05 | 1.0427e-08
326.316 | 1.0492e-08
326.65 | 1.0523e-08
326.918 | 1.0499e-08
327.251 | 1.0475e-08
327.517 | 1.0629e-08
327.835 | 1.0621e-08
328.118 | 1.0714e-08
328.435 | 1.0124e-08
328.769 | 1.0095e-08
329.036 | 1.0496e-08
329.569 | 1.0193e-08
329.703 | 1.0126e-08
329.919 | 1.0116e-08
330.235 | 1.0167e-08
330.519 | 9.9958e-09
330.852 | 1.0101e-08
331.12 | 1.0253e-08
331.452 | 1.0073e-08
331.768 | 1.0043e-08
332.053 | 1.0068e-08
332.336 | 1.051e-08
332.67 | 1.0244e-08
332.952 | 1.0329e-08
333.219 | 1.0368e-08
333.551 | 1.0121e-08
333.853 | 1.0289e-08
334.136 | 1.0598e-08
334.452 | 1.0648e-08
334.718 | 1.0324e-08
335.053 | 1.0463e-08
335.319 | 1.0338e-08
335.652 | 1.0499e-08
335.968 | 1.0662e-08
336.302 | 1.0587e-08
336.569 | 1.032e-08
336.836 | 1.0876e-08
337.153 | 1.0185e-08
337.436 | 1.0608e-08
337.718 | 1.0065e-08
338.068 | 1.014e-08
338.336 | 1.0265e-08
338.652 | 1.0064e-08
338.918 | 1.054e-08
339.253 | 1.1093e-08
339.519 | 1.0897e-08
339.836 | 1.0811e-08
340.168 | 1.0859e-08
340.436 | 1.1066e-08
340.768 | 1.1342e-08
341.034 | 1.0932e-08
341.352 | 1.1215e-08
341.635 | 1.1266e-08
341.951 | 1.1652e-08
342.235 | 1.0711e-08
342.551 | 1.0593e-08
342.836 | 1.07e-08
343.153 | 1.0745e-08
343.419 | 1.0842e-08
343.753 | 1.0498e-08
344.019 | 1.0725e-08
344.337 | 1.0736e-08
344.618 | 1.065e-08
344.952 | 1.0303e-08
345.236 | 8.9819e-09
345.753 | 3.9297e-09
346.019 | 7.2745e-09
346.135 | 7.8995e-09
346.449 | 4.7478e-09
346.764 | 4.709e-09
347.048 | 3.3985e-09
347.329 | 2.1917e-09
347.645 | 2.3874e-09
347.962 | 7.6378e-09
348.246 | 8.7273e-10
348.561 | 9.6355e-10
348.844 | 1.1697e-09
349.162 | 1.3783e-09
349.446 | 8.128e-10
349.762 | 3.6287e-10
350.029 | 4.5784e-10