## Settings
Sample Info | zb2e run 03, after Set-Reset
Comments | 0/0/0.3
Additional Comments | after set-reset at 80K
Major Measurement Parameters
Starting Temperature | 79.4913
Initial Temperature | 80.5
Final Temperature | 450
Preliminary Voltage | 0
Pulse Voltage | 0
Pulse Time | 5
Wait Time | 0
Measurement Voltage | 0.3
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 7
Measurecount | 1
Time
Date | 1.2.2024
Clock | 15:28:19

## Stabilization
Temperature | Current
0 | -2.0963e-10
0 | -2.1086e-10
0 | -2.0983e-10
0 | -2.0963e-10
0 | -2.085e-10
0 | -2.0745e-10
0 | -2.0822e-10
0 | -2.0865e-10
0 | -2.0768e-10
80.6623 | -2.0849e-10
0 | -2.0906e-10
0 | -2.1031e-10
0 | -2.1009e-10
0 | -2.0945e-10
0 | -2.108e-10
0 | -2.0951e-10
0 | -2.104e-10
0 | -2.0864e-10
0 | -2.0958e-10
0 | -2.0989e-10
0 | -2.0968e-10
0 | -2.0952e-10
0 | -2.1066e-10
0 | -2.1203e-10
0 | -2.1178e-10
0 | -2.0989e-10
0 | -2.1038e-10
0 | -2.1023e-10
0 | -2.1028e-10
0 | -2.111e-10
0 | -2.1069e-10
0 | -2.1055e-10
0 | -2.114e-10
0 | -2.1096e-10
0 | -2.1052e-10
0 | -2.1051e-10
0 | -2.1152e-10
0 | -2.1162e-10
80.8206 | -2.1051e-10

## Measurements
Temperature | Current
80.6654 | 3.7388e-10
80.7569 | 3.676e-10
81.0705 | 3.7531e-10
81.3638 | 3.7185e-10
81.7209 | 3.8595e-10
82.0697 | 3.832e-10
82.4635 | 3.7249e-10
82.9187 | 3.8223e-10
84.1562 | 3.7315e-10
85.1938 | 3.5599e-10
85.4856 | 3.6678e-10
85.8161 | 3.6307e-10
86.1012 | 3.5913e-10
86.4233 | 3.7099e-10
86.6836 | 3.6447e-10
86.9656 | 3.5441e-10
87.3442 | 3.659e-10
87.6226 | 3.6921e-10
87.8663 | 3.7154e-10
88.1586 | 3.5923e-10
88.5217 | 3.6446e-10
88.7819 | 3.6382e-10
89.1546 | 3.5307e-10
89.4149 | 3.6754e-10
89.6923 | 3.6964e-10
89.9951 | 3.5962e-10
90.3012 | 3.632e-10
90.5823 | 3.5445e-10
90.8564 | 3.5757e-10
91.1842 | 3.5259e-10
91.4773 | 3.454e-10
91.815 | 3.5569e-10
92.1152 | 3.7285e-10
92.3717 | 3.7186e-10
92.7244 | 3.765e-10
93.0235 | 3.7232e-10
93.2815 | 3.6406e-10
93.6088 | 3.6494e-10
93.8989 | 3.6132e-10
94.1882 | 3.6888e-10
94.5363 | 3.7433e-10
94.799 | 3.6765e-10
95.0587 | 3.6669e-10
95.4195 | 3.6649e-10
95.7399 | 3.5708e-10
96.0502 | 3.6501e-10
96.335 | 3.6846e-10
96.5613 | 3.6552e-10
96.8999 | 3.6126e-10
97.2074 | 3.5589e-10
97.549 | 3.6472e-10
97.8135 | 3.7051e-10
98.0788 | 3.7008e-10
98.4441 | 3.697e-10
98.6854 | 4.0522e-10
98.9931 | 4.1202e-10
99.281 | 4.0533e-10
99.6183 | 3.9316e-10
99.8745 | 4.0122e-10
100.168 | 3.8804e-10
100.497 | 3.8822e-10
100.767 | 3.9055e-10
101.1 | 3.989e-10
101.403 | 3.9462e-10
101.681 | 3.9569e-10
102.02 | 4.0399e-10
102.275 | 4.0306e-10
102.603 | 4.1603e-10
102.877 | 4.0738e-10
103.156 | 4.1197e-10
103.487 | 4.0078e-10
103.797 | 4.3506e-10
104.069 | 4.3659e-10
104.379 | 4.2946e-10
104.686 | 3.9457e-10
104.989 | 3.8672e-10
105.306 | 3.8506e-10
105.559 | 3.8204e-10
105.887 | 3.8524e-10
106.212 | 3.915e-10
106.493 | 3.9599e-10
106.842 | 3.918e-10
107.103 | 3.9199e-10
107.402 | 3.8657e-10
107.684 | 3.9048e-10
107.999 | 3.9049e-10
108.28 | 3.9226e-10
108.603 | 3.8613e-10
108.871 | 3.9227e-10
109.208 | 3.9638e-10
109.509 | 3.9682e-10
109.803 | 3.8525e-10
110.117 | 3.8626e-10
110.396 | 3.8158e-10
110.7 | 3.8011e-10
110.989 | 3.7924e-10
111.28 | 3.7953e-10
111.586 | 3.8082e-10
111.894 | 3.8946e-10
112.18 | 3.8264e-10
112.469 | 3.921e-10
112.793 | 3.9342e-10
113.101 | 3.9263e-10
113.388 | 3.9792e-10
113.719 | 4.1489e-10
113.992 | 4.1831e-10
114.282 | 4.0963e-10
114.579 | 4.1265e-10
114.879 | 4.1564e-10
115.199 | 4.1931e-10
115.493 | 3.9889e-10
115.78 | 4.0736e-10
116.113 | 4.0321e-10
116.365 | 4.0576e-10
116.686 | 4.1026e-10
116.968 | 4.1578e-10
117.279 | 4.2058e-10
117.608 | 4.2325e-10
117.873 | 4.2928e-10
118.188 | 4.3142e-10
118.491 | 4.2698e-10
118.799 | 4.401e-10
119.086 | 4.3539e-10
119.381 | 4.289e-10
119.68 | 4.3582e-10
119.996 | 4.3471e-10
120.293 | 4.2543e-10
120.557 | 4.2334e-10
120.889 | 4.2868e-10
121.185 | 4.289e-10
121.479 | 4.2665e-10
121.778 | 4.2889e-10
122.09 | 4.3701e-10
122.416 | 4.3445e-10
122.689 | 4.3225e-10
122.965 | 4.3351e-10
123.285 | 4.2914e-10
123.557 | 4.3007e-10
123.896 | 4.3278e-10
124.203 | 4.3855e-10
124.467 | 4.3837e-10
124.778 | 4.2239e-10
125.092 | 4.4127e-10
125.4 | 4.5099e-10
125.707 | 4.2873e-10
126.002 | 4.3647e-10
126.304 | 4.3776e-10
126.575 | 4.442e-10
126.908 | 4.4104e-10
127.177 | 4.3481e-10
127.466 | 4.4391e-10
127.776 | 4.5465e-10
128.092 | 4.9139e-10
128.402 | 4.6706e-10
128.692 | 4.7401e-10
129.007 | 4.6901e-10
129.269 | 4.7789e-10
129.604 | 4.7399e-10
129.873 | 4.7238e-10
130.209 | 4.7496e-10
130.511 | 4.7002e-10
130.791 | 4.6922e-10
131.101 | 4.558e-10
131.386 | 4.6263e-10
131.714 | 4.6055e-10
132.021 | 4.7063e-10
132.258 | 4.6933e-10
132.592 | 4.736e-10
132.856 | 4.7171e-10
133.166 | 4.7014e-10
133.513 | 4.6706e-10
133.806 | 4.6483e-10
134.059 | 4.703e-10
134.364 | 4.8234e-10
134.671 | 4.7241e-10
134.994 | 4.8283e-10
135.292 | 4.7614e-10
135.582 | 4.9146e-10
135.862 | 4.892e-10
136.16 | 4.8096e-10
136.483 | 4.6701e-10
136.774 | 4.6821e-10
137.11 | 4.668e-10
137.403 | 4.8371e-10
137.657 | 4.7024e-10
137.996 | 4.6706e-10
138.303 | 4.6431e-10
138.589 | 4.6734e-10
138.899 | 4.6555e-10
139.195 | 4.652e-10
139.496 | 4.6626e-10
139.765 | 4.6341e-10
140.071 | 4.7014e-10
140.402 | 4.7463e-10
140.698 | 4.7297e-10
140.985 | 4.6687e-10
141.292 | 4.7636e-10
141.621 | 4.7128e-10
141.875 | 4.5473e-10
142.198 | 4.6446e-10
142.492 | 4.7305e-10
142.802 | 4.8365e-10
143.066 | 4.8397e-10
143.378 | 4.8622e-10
143.679 | 4.8925e-10
143.975 | 4.8161e-10
144.297 | 4.8116e-10
144.596 | 4.8255e-10
144.898 | 4.8757e-10
145.189 | 4.8995e-10
145.496 | 4.7831e-10
145.759 | 4.7823e-10
146.101 | 4.8693e-10
146.402 | 4.875e-10
146.686 | 4.8344e-10
146.959 | 4.9251e-10
147.305 | 4.9042e-10
147.561 | 4.7445e-10
147.876 | 4.7753e-10
148.187 | 4.7034e-10
148.489 | 4.8978e-10
148.782 | 4.7632e-10
149.074 | 4.9672e-10
149.394 | 4.9389e-10
149.707 | 4.9148e-10
149.991 | 4.8742e-10
150.314 | 4.9874e-10
150.581 | 4.9583e-10
150.902 | 5.0305e-10
151.162 | 4.8956e-10
151.475 | 4.9054e-10
151.791 | 4.9639e-10
152.091 | 5.1724e-10
152.358 | 5.1103e-10
152.658 | 5.0892e-10
152.982 | 5.0705e-10
153.27 | 5.0661e-10
153.6 | 5.0801e-10
153.903 | 5.106e-10
154.185 | 5.0642e-10
154.491 | 5.1668e-10
154.789 | 5.1898e-10
155.088 | 5.1565e-10
155.388 | 5.0409e-10
155.697 | 5.0476e-10
155.987 | 4.9836e-10
156.274 | 4.9731e-10
156.575 | 4.9637e-10
156.871 | 5.0068e-10
157.168 | 5.0411e-10
157.478 | 5.1559e-10
157.777 | 5.0629e-10
158.076 | 5.0399e-10
158.378 | 5.0693e-10
158.682 | 5.0831e-10
158.993 | 5.137e-10
159.317 | 5.1593e-10
159.599 | 5.0824e-10
159.894 | 5.0372e-10
160.19 | 5.0499e-10
160.493 | 5.0348e-10
160.794 | 5.3101e-10
161.09 | 5.1197e-10
161.389 | 5.1519e-10
161.692 | 5.2675e-10
161.996 | 5.0859e-10
162.309 | 5.0596e-10
162.602 | 5.369e-10
162.895 | 5.2704e-10
163.192 | 5.2276e-10
163.513 | 5.3088e-10
163.821 | 5.3164e-10
164.104 | 5.3283e-10
164.393 | 5.3873e-10
164.697 | 5.3535e-10
165.003 | 5.3933e-10
165.262 | 5.4125e-10
165.561 | 5.3587e-10
165.91 | 5.398e-10
166.158 | 5.4106e-10
166.458 | 5.2321e-10
166.759 | 5.4375e-10
167.086 | 5.3547e-10
167.392 | 5.3001e-10
167.677 | 5.6463e-10
168 | 5.6569e-10
168.307 | 5.6099e-10
168.567 | 5.4624e-10
168.879 | 5.8089e-10
169.175 | 5.8169e-10
169.467 | 5.9637e-10
169.769 | 5.9448e-10
170.075 | 6.04e-10
170.385 | 5.9646e-10
170.694 | 5.9878e-10
170.998 | 5.9255e-10
171.3 | 5.8631e-10
171.632 | 6.0497e-10
172.001 | 6.0292e-10
172.197 | 6.1065e-10
172.48 | 6.2404e-10
172.782 | 6.1462e-10
173.066 | 6.0924e-10
173.366 | 6.0877e-10
173.669 | 6.1545e-10
173.974 | 6.2801e-10
174.292 | 6.2475e-10
174.594 | 6.2645e-10
174.901 | 6.1397e-10
175.2 | 6.3114e-10
175.499 | 6.3086e-10
175.797 | 6.2466e-10
176.094 | 6.1823e-10
176.394 | 6.0722e-10
176.71 | 6.4617e-10
177.008 | 6.1707e-10
177.256 | 6.2251e-10
177.606 | 6.215e-10
177.873 | 6.2481e-10
178.174 | 6.1733e-10
178.473 | 6.317e-10
178.788 | 6.4028e-10
179.089 | 6.4993e-10
179.386 | 6.4548e-10
179.687 | 6.3582e-10
179.992 | 6.3158e-10
180.26 | 6.3567e-10
180.602 | 6.1512e-10
180.896 | 6.2543e-10
181.195 | 6.3626e-10
181.497 | 6.4461e-10
181.805 | 6.5244e-10
182.089 | 6.2353e-10
182.364 | 6.1555e-10
182.661 | 6.1969e-10
182.965 | 6.3374e-10
183.29 | 6.2382e-10
183.599 | 6.4821e-10
183.856 | 6.344e-10
184.179 | 6.3402e-10
184.473 | 6.2632e-10
184.79 | 6.3748e-10
185.092 | 6.5438e-10
185.399 | 6.3617e-10
185.691 | 6.4228e-10
186.003 | 6.2472e-10
186.281 | 6.2523e-10
186.568 | 6.3197e-10
186.872 | 6.3351e-10
187.195 | 6.1002e-10
187.457 | 6.1633e-10
187.789 | 6.2861e-10
188.076 | 6.2141e-10
188.382 | 6.1359e-10
188.696 | 6.1851e-10
188.957 | 6.2697e-10
189.283 | 6.2788e-10
189.582 | 6.2672e-10
189.885 | 6.2793e-10
190.205 | 6.2312e-10
190.51 | 6.3316e-10
190.766 | 6.3524e-10
191.083 | 6.3031e-10
191.4 | 6.2599e-10
191.698 | 6.2525e-10
192.021 | 6.4109e-10
192.279 | 6.4138e-10
192.611 | 6.5296e-10
192.873 | 6.4849e-10
193.201 | 6.3847e-10
193.456 | 6.4902e-10
193.787 | 6.543e-10
194.102 | 6.6665e-10
194.368 | 6.6769e-10
194.698 | 6.6266e-10
195.002 | 6.6406e-10
195.301 | 6.4652e-10
195.601 | 6.5422e-10
195.866 | 6.7879e-10
196.17 | 6.6867e-10
196.496 | 6.8329e-10
196.768 | 6.8966e-10
197.105 | 6.4896e-10
197.374 | 6.8949e-10
197.683 | 6.8178e-10
197.999 | 6.9295e-10
198.297 | 6.9594e-10
198.604 | 6.8465e-10
198.906 | 6.8171e-10
199.157 | 6.8553e-10
199.461 | 6.8452e-10
199.769 | 6.9638e-10
200.078 | 6.7869e-10
200.389 | 7.0206e-10
200.691 | 6.8709e-10
200.969 | 6.9121e-10
201.308 | 6.8589e-10
201.562 | 6.9361e-10
201.888 | 6.9866e-10
202.175 | 6.9282e-10
202.482 | 7.1515e-10
202.808 | 7.0231e-10
203.144 | 7.0636e-10
203.378 | 7.1547e-10
203.656 | 7.066e-10
204.043 | 7.035e-10
204.336 | 7.0303e-10
204.615 | 6.9705e-10
204.921 | 7.022e-10
205.22 | 7.1352e-10
205.493 | 7.139e-10
205.783 | 7.2539e-10
206.075 | 7.1956e-10
206.394 | 7.1408e-10
206.679 | 7.2214e-10
206.98 | 7.2481e-10
207.281 | 7.2491e-10
207.597 | 7.5753e-10
207.9 | 7.4548e-10
208.191 | 7.482e-10
208.474 | 7.4696e-10
208.794 | 7.7928e-10
209.07 | 7.4571e-10
209.386 | 7.469e-10
209.69 | 7.4991e-10
209.981 | 7.4782e-10
210.292 | 7.4484e-10
210.591 | 7.6379e-10
210.881 | 7.5539e-10
211.176 | 7.5011e-10
211.473 | 7.3027e-10
211.78 | 7.333e-10
212.09 | 7.2545e-10
212.374 | 7.4219e-10
212.694 | 7.7847e-10
213.001 | 7.8239e-10
213.294 | 7.8178e-10
213.573 | 7.701e-10
213.872 | 7.7307e-10
214.159 | 7.6153e-10
214.495 | 7.5272e-10
214.786 | 7.6533e-10
215.095 | 7.7695e-10
215.39 | 7.687e-10
215.687 | 7.7267e-10
215.983 | 7.7704e-10
216.297 | 7.8019e-10
216.595 | 7.6407e-10
216.893 | 7.7309e-10
217.191 | 7.6513e-10
217.506 | 7.655e-10
217.804 | 7.8798e-10
218.101 | 7.9242e-10
218.408 | 8.0242e-10
218.662 | 8.0729e-10
218.974 | 7.8701e-10
219.286 | 8.0319e-10
219.599 | 8.0922e-10
219.876 | 8.1195e-10
220.183 | 8.0392e-10
220.5 | 7.9916e-10
220.799 | 7.9634e-10
221.064 | 8.1083e-10
221.377 | 8.1342e-10
221.676 | 8.1271e-10
221.973 | 7.9322e-10
222.289 | 7.7723e-10
222.587 | 8.1888e-10
222.889 | 8.1965e-10
223.188 | 8.1701e-10
223.489 | 8.1122e-10
223.805 | 8.0317e-10
224.105 | 7.9998e-10
224.372 | 8.1248e-10
224.722 | 8.0726e-10
224.972 | 8.1779e-10
225.273 | 8.2485e-10
225.573 | 8.3273e-10
225.89 | 8.2691e-10
226.19 | 8.6904e-10
226.491 | 8.5877e-10
226.792 | 8.6632e-10
227.092 | 8.3443e-10
227.375 | 8.4296e-10
227.692 | 8.4647e-10
227.992 | 8.5581e-10
228.289 | 8.5651e-10
228.585 | 8.4329e-10
228.898 | 8.7465e-10
229.196 | 8.5557e-10
229.494 | 8.8097e-10
229.794 | 8.7337e-10
230.11 | 8.908e-10
230.36 | 8.8785e-10
230.66 | 8.729e-10
230.961 | 8.8591e-10
231.28 | 8.922e-10
231.583 | 8.9636e-10
231.886 | 8.874e-10
232.205 | 8.9594e-10
232.456 | 9.0108e-10
232.773 | 8.9232e-10
233.071 | 8.8128e-10
233.373 | 8.995e-10
233.673 | 8.6109e-10
233.973 | 8.9565e-10
234.29 | 9.0766e-10
234.585 | 9.0767e-10
234.856 | 8.9325e-10
235.156 | 9.2553e-10
235.472 | 9.1857e-10
235.769 | 9.1753e-10
236.073 | 9.206e-10
236.371 | 9.2401e-10
236.672 | 9.2679e-10
236.99 | 9.2485e-10
237.306 | 9.2946e-10
237.556 | 9.328e-10
237.856 | 9.3389e-10
238.173 | 9.4184e-10
238.523 | 9.3633e-10
238.774 | 9.6156e-10
239.091 | 9.5819e-10
239.391 | 9.5165e-10
239.691 | 9.5063e-10
239.959 | 9.7432e-10
240.258 | 9.7985e-10
240.576 | 9.8269e-10
240.909 | 9.8341e-10
241.159 | 9.8436e-10
241.461 | 9.9251e-10
241.775 | 9.9602e-10
242.076 | 9.9923e-10
242.375 | 9.878e-10
242.694 | 9.8614e-10
242.994 | 9.9241e-10
243.31 | 9.9609e-10
243.559 | 9.9416e-10
243.86 | 1.0001e-09
244.173 | 9.9956e-10
244.519 | 1.0143e-09
244.767 | 1.0037e-09
245.064 | 1.0193e-09
245.378 | 1.014e-09
245.677 | 1.0314e-09
245.979 | 1.036e-09
246.276 | 1.0298e-09
246.59 | 1.0375e-09
246.895 | 1.0329e-09
247.195 | 1.0271e-09
247.462 | 1.0278e-09
247.78 | 1.0196e-09
248.081 | 1.0259e-09
248.381 | 1.0395e-09
248.681 | 1.0423e-09
249 | 1.0418e-09
249.299 | 1.0472e-09
249.617 | 1.0367e-09
249.866 | 1.0452e-09
250.186 | 1.0448e-09
250.485 | 1.0373e-09
250.786 | 1.0304e-09
251.103 | 1.0268e-09
251.405 | 1.0147e-09
251.705 | 1.0258e-09
252.022 | 1.0204e-09
252.271 | 1.055e-09
252.59 | 1.0471e-09
252.906 | 1.0625e-09
253.205 | 1.0597e-09
253.457 | 1.058e-09
253.773 | 1.0581e-09
254.074 | 1.0522e-09
254.389 | 1.063e-09
254.692 | 1.0853e-09
255.006 | 1.0891e-09
255.307 | 1.0918e-09
255.558 | 1.0965e-09
255.872 | 1.0929e-09
256.174 | 1.094e-09
256.474 | 1.1028e-09
256.774 | 1.0968e-09
257.073 | 1.0827e-09
257.39 | 1.0692e-09
257.691 | 9.8187e-10
257.991 | 9.9585e-10
258.29 | 9.8325e-10
258.608 | 1.0369e-09
258.858 | 1.0233e-09
259.158 | 1.031e-09
259.475 | 1.0315e-09
259.774 | 1.0854e-09
260.076 | 1.0454e-09
260.391 | 1.0507e-09
260.69 | 1.0748e-09
260.989 | 1.0696e-09
261.289 | 1.0623e-09
261.602 | 1.0645e-09
261.898 | 1.1119e-09
262.197 | 1.0928e-09
262.463 | 1.0749e-09
262.763 | 1.073e-09
263.079 | 1.0878e-09
263.379 | 1.0807e-09
263.68 | 1.067e-09
263.98 | 1.0722e-09
264.296 | 1.0715e-09
264.596 | 1.0765e-09
264.915 | 1.0823e-09
265.166 | 1.0821e-09
265.467 | 1.1017e-09
265.784 | 1.1045e-09
266.084 | 1.1023e-09
266.385 | 1.0987e-09
266.701 | 1.1279e-09
267.002 | 1.1121e-09
267.303 | 1.117e-09
267.62 | 1.1241e-09
267.87 | 1.1278e-09
268.188 | 1.1083e-09
268.487 | 1.1209e-09
268.805 | 1.1327e-09
269.105 | 1.1695e-09
269.406 | 1.1195e-09
269.673 | 1.1141e-09
269.989 | 1.1144e-09
270.29 | 1.1315e-09
270.59 | 1.1268e-09
270.886 | 1.1375e-09
271.206 | 1.127e-09
271.473 | 1.1426e-09
271.773 | 1.1921e-09
272.072 | 1.1441e-09
272.389 | 1.18e-09
272.69 | 1.1552e-09
272.956 | 1.1566e-09
273.273 | 1.1589e-09
273.573 | 1.1802e-09
273.872 | 1.162e-09
274.189 | 1.1869e-09
274.488 | 1.1892e-09
274.757 | 1.1934e-09
275.074 | 1.1915e-09
275.374 | 1.1976e-09
275.673 | 1.2018e-09
275.99 | 1.1956e-09
276.291 | 1.232e-09
276.589 | 1.2231e-09
276.857 | 1.2041e-09
277.205 | 1.2161e-09
277.473 | 1.2166e-09
277.773 | 1.2256e-09
278.091 | 1.2379e-09
278.356 | 1.2317e-09
278.673 | 1.2202e-09
278.973 | 1.2044e-09
279.287 | 1.2185e-09
279.585 | 1.221e-09
279.884 | 1.2294e-09
280.182 | 1.25e-09
280.497 | 1.2786e-09
280.797 | 1.2752e-09
281.063 | 1.2659e-09
281.363 | 1.2382e-09
281.679 | 1.2585e-09
281.98 | 1.2427e-09
282.297 | 1.2505e-09
282.598 | 1.2633e-09
282.915 | 1.2826e-09
283.166 | 1.2616e-09
283.466 | 1.2589e-09
283.783 | 1.288e-09
284.082 | 1.2777e-09
284.402 | 1.2651e-09
284.699 | 1.2603e-09
285.001 | 1.2802e-09
285.3 | 1.304e-09
285.568 | 1.3058e-09
285.871 | 1.3162e-09
286.188 | 1.3348e-09
286.487 | 1.3433e-09
286.802 | 1.3495e-09
287.103 | 1.3172e-09
287.371 | 1.3083e-09
287.671 | 1.3329e-09
287.988 | 1.3298e-09
288.289 | 1.3401e-09
288.557 | 1.349e-09
288.905 | 1.3491e-09
289.173 | 1.3449e-09
289.489 | 1.3448e-09
289.789 | 1.3561e-09
290.088 | 1.346e-09
290.407 | 1.3499e-09
290.706 | 1.4177e-09
290.957 | 1.4019e-09
291.272 | 1.3974e-09
291.572 | 1.3664e-09
291.873 | 1.3729e-09
292.189 | 1.361e-09
292.489 | 1.4024e-09
292.789 | 1.4e-09
293.105 | 1.4587e-09
293.356 | 1.4122e-09
293.672 | 1.4333e-09
293.973 | 1.4495e-09
294.272 | 1.4526e-09
294.588 | 1.4559e-09
294.906 | 1.453e-09
295.206 | 1.448e-09
295.523 | 1.4252e-09
295.772 | 1.4444e-09
296.089 | 1.4648e-09
296.389 | 1.4623e-09
296.656 | 1.4503e-09
296.973 | 1.478e-09
297.272 | 1.4407e-09
297.589 | 1.4189e-09
297.889 | 1.4192e-09
298.205 | 1.4268e-09
298.505 | 1.4406e-09
298.82 | 1.4402e-09
299.067 | 1.4432e-09
299.366 | 1.4512e-09
299.681 | 1.463e-09
299.979 | 1.4479e-09
300.297 | 1.4922e-09
300.597 | 1.5395e-09
300.896 | 1.5901e-09
301.212 | 1.5935e-09
301.463 | 1.5669e-09
301.78 | 1.5745e-09
302.097 | 1.5786e-09
302.399 | 1.5732e-09
302.7 | 1.5965e-09
302.967 | 1.6093e-09
303.283 | 1.5934e-09
303.583 | 1.5555e-09
303.902 | 1.574e-09
304.201 | 1.5732e-09
304.501 | 1.5941e-09
304.767 | 1.5745e-09
305.086 | 1.5952e-09
305.386 | 1.5716e-09
305.704 | 1.5446e-09
306.02 | 1.6112e-09
306.27 | 1.6138e-09
306.572 | 1.5903e-09
306.938 | 1.6311e-09
307.187 | 1.7123e-09
307.505 | 1.7242e-09
307.806 | 1.734e-09
308.056 | 1.71e-09
308.371 | 1.7422e-09
308.687 | 1.6472e-09
308.989 | 1.6356e-09
309.256 | 1.6513e-09
309.57 | 1.6411e-09
309.89 | 1.6505e-09
310.189 | 1.6689e-09
310.488 | 1.6717e-09
310.808 | 1.6526e-09
311.056 | 1.6564e-09
311.373 | 1.6638e-09
311.671 | 1.6822e-09
311.989 | 1.6861e-09
312.29 | 1.719e-09
312.556 | 1.6735e-09
312.857 | 1.6599e-09
313.173 | 1.6633e-09
313.473 | 1.6847e-09
313.79 | 1.6864e-09
314.091 | 1.7223e-09
314.408 | 1.6968e-09
314.657 | 1.6928e-09
314.958 | 1.7088e-09
315.275 | 1.7161e-09
315.575 | 1.7158e-09
315.892 | 1.7126e-09
316.191 | 1.7166e-09
316.507 | 1.7327e-09
316.758 | 1.7517e-09
317.074 | 1.7475e-09
317.374 | 1.7519e-09
317.675 | 1.7293e-09
317.991 | 1.7334e-09
318.309 | 1.7416e-09
318.558 | 1.7987e-09
318.857 | 1.7781e-09
319.174 | 1.7949e-09
319.475 | 1.8191e-09
319.791 | 1.8224e-09
320.09 | 1.8144e-09
320.406 | 1.8172e-09
320.687 | 1.8045e-09
321.002 | 1.8097e-09
321.301 | 1.8264e-09
321.565 | 1.846e-09
321.884 | 1.8234e-09
322.216 | 1.8386e-09
322.467 | 1.8401e-09