## Settings
Sample Info | zb2e run 05, after Set-1mA Reset-14uA(2.7V)
Comments | -0.5/-0.5/0.3
Additional Comments | interrupted by raising current
Major Measurement Parameters
Starting Temperature | 80.0081
Initial Temperature | 80.5
Final Temperature | 320
Preliminary Voltage | -0.5
Pulse Voltage | -0.5
Pulse Time | 20
Wait Time | 0
Measurement Voltage | 0.3
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 7
Measurecount | 1
Time
Date | 1.2.2024
Clock | 17:56:40

## Stabilization
Temperature | Current
0 | -2.2603e-09
0 | -2.2768e-09
0 | -2.2986e-09
0 | -2.2959e-09
0 | -2.283e-09
0 | -2.2769e-09
0 | -2.2801e-09
0 | -2.2861e-09
0 | -2.2747e-09
80.7193 | -2.2843e-09
0 | -2.2583e-09
0 | -2.2685e-09
0 | -2.2805e-09
0 | -2.2795e-09
0 | -2.281e-09
0 | -2.3009e-09
0 | -2.2749e-09
0 | -2.2785e-09
0 | -2.2675e-09
0 | -2.264e-09
0 | -2.251e-09
0 | -2.294e-09
0 | -2.2719e-09
0 | -2.2949e-09
0 | -2.2771e-09
0 | -2.2808e-09
0 | -2.2895e-09
0 | -2.3048e-09
0 | -2.3085e-09
0 | -2.2946e-09
0 | -2.2979e-09
0 | -2.3096e-09
0 | -2.3275e-09
0 | -2.2886e-09
0 | -2.3064e-09
0 | -2.314e-09
80.7024 | -2.294e-09

## Measurements
Temperature | Current
80.6736 | 9.2168e-10
80.7886 | 9.3156e-10
81.0906 | 9.3663e-10
81.3892 | 9.322e-10
81.7149 | 9.3173e-10
81.9786 | 9.3992e-10
82.282 | 9.3201e-10
82.6055 | 9.0006e-10
83.0198 | 8.9014e-10
83.534 | 8.4759e-10
84.8983 | 8.6396e-10
85.894 | 9.4108e-10
86.4657 | 9.2906e-10
87.7046 | 9.3807e-10
88.731 | 9.1141e-10
89.0434 | 9.2186e-10
89.3058 | 9.1505e-10
89.6287 | 9.218e-10
89.9395 | 9.2633e-10
90.2136 | 9.254e-10
90.531 | 9.2593e-10
90.8347 | 9.1849e-10
91.0874 | 9.1408e-10
91.3832 | 8.8762e-10
91.693 | 8.8286e-10
91.9967 | 8.7113e-10
92.2875 | 8.6982e-10
92.5936 | 8.6983e-10
92.8972 | 8.7044e-10
93.2158 | 8.6332e-10
93.6247 | 8.5262e-10
94.0167 | 8.6473e-10
94.3277 | 8.5722e-10
94.6306 | 8.5724e-10
94.8791 | 8.6663e-10
95.1543 | 8.6858e-10
95.382 | 8.7239e-10
95.6251 | 8.5619e-10
95.9438 | 8.4379e-10
96.2954 | 8.4476e-10
96.718 | 8.3773e-10
97.0909 | 8.3589e-10
97.4866 | 8.3962e-10
98.7496 | 8.483e-10
99.7135 | 8.4045e-10
100.027 | 8.2888e-10
100.32 | 8.3775e-10
100.594 | 8.4535e-10
100.901 | 8.3281e-10
101.192 | 8.2663e-10
101.475 | 8.4497e-10
101.797 | 8.3185e-10
102.111 | 8.4511e-10
102.4 | 1.6493e-09
102.702 | 1.088e-09
103.005 | 1.4284e-07
103.364 | 1.4379e-07
103.584 | 1.4372e-07
103.924 | 1.4427e-07
104.211 | 1.4168e-07
104.517 | 1.444e-07
104.783 | 1.4253e-07
105.097 | 1.4482e-07
105.401 | 1.4403e-07
105.689 | 1.4487e-07
106.042 | 1.4487e-07
106.291 | 1.4521e-07
106.603 | 1.4334e-07
106.901 | 1.4414e-07
107.187 | 1.4512e-07
107.489 | 1.4436e-07
107.777 | 1.4513e-07
108.114 | 1.4365e-07
108.405 | 1.4172e-07
108.712 | 1.4296e-07
109.003 | 1.4107e-07
109.29 | 1.4338e-07
109.577 | 1.4489e-07
109.915 | 1.4069e-07
110.207 | 1.4327e-07
110.501 | 1.4362e-07
110.809 | 1.4134e-07
111.104 | 1.4281e-07
111.4 | 1.4571e-07
111.696 | 1.4288e-07
111.995 | 1.4517e-07
112.291 | 1.4494e-07
112.59 | 1.4317e-07
112.937 | 1.4418e-07
113.238 | 1.4294e-07
113.488 | 1.4407e-07
113.787 | 1.4434e-07
114.087 | 1.4436e-07
114.436 | 1.4536e-07
114.734 | 1.451e-07
114.982 | 1.4614e-07
115.279 | 1.4708e-07
115.592 | 1.4582e-07
115.928 | 1.4381e-07
116.218 | 1.4424e-07