## Settings
Sample Info | zb2e run 07, after Set 10mA Reset 10nA
Comments | -0.5/-0.5/1.5
Additional Comments | after set 10mA-reset 10nA
Major Measurement Parameters
Starting Temperature | 80.2186
Initial Temperature | 80.5
Final Temperature | 320
Preliminary Voltage | -0.5
Pulse Voltage | -0.5
Pulse Time | 20
Wait Time | 0
Measurement Voltage | 1.5
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 7
Measurecount | 1
Time
Date | 1.2.2024
Clock | 19:11:7

## Stabilization
Temperature | Current
0 | -2.8308e-10
0 | -2.8602e-10
0 | -2.8411e-10
0 | -2.8614e-10
0 | -2.8999e-10
0 | -2.7616e-10
0 | -2.8021e-10
0 | -2.8289e-10
0 | -2.8158e-10
80.8239 | -2.7808e-10
0 | -3.214e-10
0 | -2.7624e-10
0 | -2.7675e-10
0 | -2.8741e-10
0 | -2.7702e-10
0 | -2.8488e-10
0 | -2.8839e-10
0 | -2.7306e-10
0 | -2.7957e-10
0 | -2.8372e-10
0 | -2.758e-10
0 | -2.8298e-10
0 | -2.9143e-10
0 | -2.8184e-10
0 | -2.7885e-10
0 | -2.8395e-10
0 | -2.8279e-10
0 | -2.8168e-10
0 | -2.858e-10
0 | -2.7604e-10
0 | -2.7616e-10
80.8062 | -2.8392e-10

## Measurements
Temperature | Current
80.6722 | 2.5863e-11
80.7834 | 8.56e-11
81.0997 | 1.0212e-10
81.3761 | 1.0375e-10
81.6849 | 8.7492e-11
82.0373 | -2.5039e-11
82.3146 | 2.9695e-12
82.7272 | 6.3592e-11
83.1877 | 5.5727e-11
83.5677 | 2.9633e-11
83.8944 | 4.7389e-11
84.1384 | 1.0452e-10
84.3785 | 1.0035e-10
84.5875 | 1.1161e-10
84.769 | 1.161e-10
84.9959 | 1.0013e-10
85.3262 | 9.7536e-11
85.6807 | 9.5024e-11
85.9428 | 1.2062e-10
86.2281 | 1.3218e-10
86.4994 | 1.2806e-10
86.811 | 1.2629e-10
87.0805 | 1.1505e-10
87.3816 | 8.0184e-11
87.8207 | 1.0241e-10
88.0211 | 1.0012e-10
88.3217 | 9.7173e-11
88.6654 | 1.0793e-10
88.9374 | 1.2312e-10
89.4198 | 1.1729e-10
89.4997 | 9.9126e-11
90.1454 | 9.8201e-11
91.4954 | 1.2392e-10
92.4446 | 1.0984e-10
92.9037 | 1.2263e-10
93.3545 | 1.2425e-10
94.6776 | 1.2857e-10
95.5902 | 1.3577e-10
95.9004 | 1.4143e-10
96.1861 | 1.3494e-10
96.5014 | 1.2772e-10
96.8017 | 1.4154e-10
97.0809 | 1.616e-10
97.4304 | 1.4696e-10
97.7044 | 1.1538e-11
97.9822 | 8.4171e-11
98.2797 | 1.8323e-10
98.5861 | 1.4927e-10
98.8895 | 1.8222e-10
99.1842 | 1.8962e-10
99.4978 | 1.9338e-10
99.7971 | 1.8784e-10
100.123 | 2.2915e-10
100.388 | 2.3374e-10
100.708 | 2.2456e-10
100.989 | 2.4248e-10
101.318 | 2.2971e-10
101.595 | 2.3877e-10
101.884 | 2.4165e-10
102.21 | 2.4849e-10
102.476 | 2.4914e-10
102.806 | 2.5121e-10
103.116 | 2.555e-10
103.385 | 2.4746e-10
103.707 | 1.135e-10
104.044 | 1.4379e-10
104.299 | 2.4896e-10
104.609 | 2.6576e-10
104.964 | 2.5908e-10
105.205 | 2.5378e-10
105.548 | 2.5514e-10
105.842 | 2.6131e-10
106.149 | 2.6253e-10
106.44 | 2.57e-10
106.794 | 2.682e-10
107.006 | 2.6091e-10
107.285 | 2.6406e-10
107.632 | 2.6219e-10
107.9 | 2.6656e-10
108.18 | 2.6397e-10
108.498 | 2.6823e-10
108.801 | 2.6831e-10
109.085 | 2.6923e-10
109.421 | 2.6385e-10
109.694 | 2.7026e-10
109.984 | 2.7735e-10
110.308 | 2.7764e-10
110.626 | 2.7869e-10
110.939 | 2.8076e-10
111.197 | 2.7829e-10
111.507 | 2.7886e-10
111.815 | 2.7821e-10
112.074 | 2.8355e-10
112.381 | 2.8706e-10
112.686 | 2.7591e-10
112.988 | 2.7912e-10
113.287 | 2.8131e-10
113.58 | 2.8779e-10
113.88 | 2.8451e-10
114.217 | 2.8347e-10
114.494 | 2.8246e-10
114.81 | 2.8039e-10
115.1 | 2.8754e-10
115.387 | 2.8793e-10
115.716 | 2.8968e-10
115.996 | 2.895e-10
116.278 | 2.9387e-10
116.611 | 2.9219e-10
116.893 | 2.9314e-10
117.218 | 2.9075e-10
117.502 | 2.9196e-10
117.79 | 2.9401e-10
118.122 | 2.9386e-10
118.4 | 2.8973e-10
118.728 | 2.9281e-10
119.013 | 2.8883e-10
119.284 | 2.9219e-10
119.614 | 2.9494e-10
119.915 | 2.9153e-10
120.188 | 2.8884e-10
120.481 | 2.8886e-10
120.808 | 2.9345e-10
121.102 | 2.9403e-10
121.397 | 2.923e-10
121.689 | 2.9617e-10
122.01 | 2.9e-10
122.306 | 2.8941e-10
122.594 | 2.9556e-10
122.879 | 2.9912e-10
123.218 | 3.0194e-10
123.504 | 3.0135e-10
123.777 | 3.0353e-10
124.127 | 3.0411e-10
124.375 | 3.0012e-10
124.717 | 3.0848e-10
125.024 | 3.1272e-10
125.333 | 3.1398e-10
125.588 | 3.1824e-10
125.892 | 3.1994e-10
126.19 | 3.2329e-10
126.494 | 3.2092e-10
126.803 | 3.2507e-10
127.114 | 3.3067e-10
127.402 | 3.3168e-10
127.704 | 3.2759e-10
128.004 | 3.2756e-10
128.321 | 3.2418e-10
128.605 | 3.2848e-10
128.915 | 3.3302e-10
129.184 | 3.2965e-10
129.491 | 3.331e-10
129.82 | 3.3598e-10
130.12 | 3.3102e-10
130.441 | 3.3756e-10
130.717 | 3.3492e-10
131.009 | 3.3407e-10
131.288 | 3.3633e-10
131.594 | 3.3937e-10
131.941 | 3.37e-10
132.23 | 3.3898e-10
132.514 | 3.3689e-10
132.796 | 3.4331e-10
133.102 | 3.3936e-10
133.378 | 3.3795e-10
133.731 | 3.3606e-10
134.05 | 3.3756e-10
134.307 | 3.3878e-10
134.594 | 3.4643e-10
134.885 | 3.4319e-10
135.201 | 3.4284e-10
135.488 | 3.5137e-10
135.811 | 3.5021e-10
136.11 | 3.4767e-10
136.449 | 3.4706e-10
136.715 | 3.4776e-10
136.983 | 3.4027e-10
137.33 | 3.4979e-10
137.578 | 3.5799e-10
137.878 | 3.5472e-10
138.25 | 3.5993e-10
138.536 | 3.5818e-10
138.821 | 3.6348e-10
139.099 | 3.6055e-10
139.402 | 3.5442e-10
139.715 | 3.5373e-10
140.022 | 3.5645e-10
140.28 | 3.5495e-10
140.601 | 3.5592e-10
140.898 | 3.52e-10
141.209 | 3.6168e-10
141.496 | 3.6162e-10
141.789 | 3.6455e-10
142.133 | 3.7255e-10
142.428 | 3.6377e-10
142.693 | 3.7232e-10
143.011 | 3.6935e-10
143.293 | 3.6513e-10
143.615 | 3.6122e-10
143.921 | 3.6295e-10
144.22 | 3.6368e-10
144.506 | 3.6308e-10
144.835 | 3.5889e-10
145.078 | 3.6258e-10
145.377 | 3.6039e-10
145.684 | 3.665e-10
146.012 | 3.708e-10
146.327 | 3.713e-10
146.645 | 3.737e-10
146.91 | 3.7205e-10
147.216 | 3.8291e-10
147.517 | 3.813e-10
147.818 | 3.8237e-10
148.114 | 3.8508e-10
148.408 | 3.8205e-10
148.705 | 3.8061e-10
148.996 | 3.8806e-10
149.324 | 3.8787e-10
149.624 | 3.9262e-10
149.879 | 3.9131e-10
150.233 | 3.9242e-10
150.509 | 3.9491e-10
150.792 | 3.972e-10
151.092 | 3.9827e-10
151.399 | 3.9497e-10
151.707 | 3.9217e-10
151.974 | 3.981e-10
152.33 | 3.9365e-10
152.612 | 3.9853e-10
152.936 | 4.0456e-10
153.195 | 4.0546e-10
153.5 | 4.0653e-10
153.822 | 4.0371e-10
154.12 | 4.0567e-10
154.379 | 4.0615e-10
154.689 | 4.1658e-10
155.012 | 4.1538e-10
155.296 | 4.0866e-10
155.581 | 4.07e-10
155.892 | 4.1007e-10
156.225 | 4.0836e-10
156.511 | 4.0778e-10
156.815 | 4.0796e-10
157.135 | 4.0928e-10
157.393 | 4.1265e-10
157.708 | 4.1314e-10
157.997 | 4.1733e-10
158.277 | 4.1409e-10
158.601 | 4.1576e-10
158.91 | 4.1693e-10
159.226 | 4.1772e-10
159.512 | 4.2188e-10
159.822 | 4.3048e-10
160.123 | 4.3217e-10
160.382 | 4.3139e-10
160.696 | 4.3153e-10
161.005 | 4.293e-10
161.296 | 4.281e-10
161.602 | 4.4109e-10
161.912 | 4.3689e-10
162.224 | 4.3856e-10
162.502 | 4.413e-10
162.814 | 4.4486e-10
163.121 | 4.4324e-10
163.377 | 4.4467e-10
163.678 | 4.4358e-10
163.985 | 4.4271e-10
164.294 | 4.4378e-10
164.626 | 4.4933e-10
164.917 | 4.5191e-10
165.215 | 4.4465e-10
165.517 | 4.4373e-10
165.821 | 4.4473e-10
166.079 | 4.4844e-10
166.419 | 4.5001e-10
166.714 | 4.5167e-10
167.02 | 4.5014e-10
167.276 | 4.5443e-10
167.582 | 4.4782e-10
167.892 | 4.5408e-10
168.206 | 4.5767e-10
168.526 | 4.6083e-10
168.775 | 4.6206e-10
169.082 | 4.5805e-10
169.396 | 4.6843e-10
169.696 | 4.616e-10
169.99 | 4.6297e-10
170.293 | 4.6019e-10
170.618 | 4.6172e-10
170.928 | 4.6253e-10
171.239 | 4.623e-10
171.491 | 4.601e-10
171.826 | 4.5702e-10
172.122 | 4.599e-10
172.422 | 4.7236e-10
172.677 | 4.6813e-10
172.982 | 4.7959e-10
173.29 | 4.7316e-10
173.594 | 4.7642e-10
173.896 | 4.7758e-10
174.211 | 4.6904e-10
174.513 | 4.6637e-10
174.818 | 4.7072e-10
175.132 | 4.7089e-10
175.407 | 4.7142e-10
175.687 | 4.6408e-10
176.005 | 4.7198e-10
176.315 | 4.6595e-10
176.574 | 4.7011e-10
176.876 | 4.8304e-10
177.213 | 4.825e-10
177.515 | 4.9232e-10
177.82 | 4.9196e-10
178.093 | 4.8633e-10
178.405 | 4.9373e-10
178.695 | 4.8595e-10
179.028 | 4.9474e-10
179.333 | 4.9038e-10
179.592 | 4.8885e-10
179.903 | 4.9383e-10
180.209 | 4.9756e-10
180.502 | 4.9472e-10
180.818 | 4.925e-10
181.119 | 4.9859e-10
181.375 | 4.973e-10
181.68 | 4.9242e-10
181.979 | 4.8834e-10
182.274 | 4.9359e-10
182.62 | 4.8934e-10
182.941 | 4.9511e-10
183.195 | 4.9487e-10
183.499 | 4.8701e-10
183.781 | 4.9216e-10
184.122 | 4.9236e-10
184.422 | 4.9248e-10
184.739 | 4.9108e-10
184.991 | 4.8992e-10
185.298 | 4.8693e-10
185.603 | 4.8895e-10
185.912 | 4.9202e-10
186.211 | 4.9025e-10
186.534 | 4.9107e-10
186.79 | 4.9654e-10
187.104 | 4.9831e-10
187.407 | 4.995e-10
187.695 | -2.22e-10
188.024 | -2.267e-10
188.342 | -2.2806e-10
188.626 | -2.2738e-10
188.908 | -2.2697e-10
189.202 | -2.2726e-10
189.514 | -2.2739e-10
189.779 | -2.2677e-10
190.1 | -2.283e-10
190.383 | -2.279e-10
190.693 | -2.2766e-10
191.016 | -2.2785e-10
191.313 | 4.9721e-10
191.597 | 5.0815e-10
191.883 | 5.1053e-10
192.222 | 5.1168e-10
192.517 | 5.0789e-10
192.792 | 5.051e-10
193.119 | 5.0517e-10
193.405 | 5.0018e-10
193.674 | 5.113e-10
193.993 | 5.2223e-10
194.326 | 5.1591e-10
194.59 | 5.1616e-10
194.9 | 5.1959e-10
195.211 | 5.2972e-10
195.517 | 5.3224e-10
195.809 | 5.3677e-10
196.113 | 5.3805e-10
196.399 | 5.4234e-10
196.718 | 5.5492e-10
197.021 | 5.5135e-10
197.31 | 5.5133e-10
197.615 | 5.5643e-10
197.906 | 5.529e-10
198.185 | 5.579e-10
198.516 | 5.6146e-10
198.789 | 5.5436e-10
199.086 | 5.5836e-10
199.416 | 5.5532e-10
199.697 | 5.5482e-10
199.999 | 5.5455e-10
200.306 | 5.5726e-10
200.618 | 5.552e-10
200.913 | 5.63e-10
201.219 | 5.585e-10
201.494 | 5.6905e-10
201.829 | 5.7505e-10
202.1 | 5.7927e-10
202.417 | 5.7301e-10
202.69 | 5.7164e-10
203.01 | 5.7532e-10
203.29 | 5.7445e-10
203.623 | 5.7629e-10
203.881 | 5.75e-10
204.187 | 5.7974e-10
204.532 | 5.7787e-10
204.804 | 5.7495e-10
205.151 | 5.7966e-10
205.4 | 5.7963e-10
205.716 | 5.8368e-10
205.998 | 5.8829e-10
206.316 | 5.8292e-10
206.636 | 5.8425e-10
206.883 | 5.8475e-10
207.236 | 5.8541e-10
207.52 | 5.8207e-10
207.797 | 5.7955e-10
208.116 | 5.8766e-10
208.404 | 5.9143e-10
208.675 | 5.896e-10
208.989 | 5.8316e-10
209.301 | 5.8793e-10
209.616 | 5.909e-10
209.932 | 5.9638e-10
210.204 | 5.9615e-10
210.476 | 5.9658e-10
210.793 | 6.0634e-10
211.113 | 6.0977e-10
211.391 | 6.0624e-10
211.716 | 6.2211e-10
212.012 | 6.2649e-10
212.295 | 6.2559e-10
212.579 | 6.2781e-10
212.913 | 6.119e-10
213.198 | 6.1952e-10
213.5 | 6.1974e-10
213.789 | 6.2234e-10
214.08 | 6.2512e-10
214.419 | 6.3652e-10
214.714 | 6.3021e-10
215.024 | 6.4017e-10
215.322 | 6.4627e-10
215.636 | 6.3308e-10
215.899 | 6.2746e-10
216.196 | 6.2897e-10
216.494 | 6.3327e-10
216.81 | 6.3402e-10
217.112 | 6.3497e-10
217.412 | 6.1609e-10
217.711 | 6.0987e-10
218.027 | 6.0484e-10
218.279 | 6.1321e-10
218.582 | 6.1536e-10
218.902 | 6.2137e-10
219.207 | 6.1669e-10
219.513 | 6.2571e-10
219.836 | 6.1937e-10
220.09 | 6.229e-10
220.393 | 6.2385e-10
220.712 | 6.2211e-10
221.011 | 6.2354e-10
221.309 | 6.1817e-10
221.61 | 6.1907e-10
221.923 | 6.1969e-10
222.222 | 6.2192e-10
222.521 | 6.2662e-10
222.822 | 6.2026e-10
223.121 | 6.2668e-10
223.388 | 6.2451e-10
223.688 | 6.3531e-10
224.006 | 6.4488e-10
224.305 | 6.459e-10
224.606 | 6.4669e-10
224.922 | 6.5251e-10
225.223 | 6.5926e-10
225.522 | 6.5221e-10
225.84 | 6.4727e-10
226.14 | 6.5729e-10
226.391 | 6.4902e-10
226.69 | 6.536e-10
227.008 | 6.5689e-10
227.308 | 6.6266e-10
227.608 | 6.6001e-10
227.906 | 6.6398e-10
228.206 | 6.6367e-10
228.518 | 6.735e-10
228.815 | 6.6242e-10
229.114 | 6.5819e-10
229.411 | 6.611e-10
229.709 | 6.6771e-10
230.027 | 6.6255e-10
230.277 | 6.6109e-10
230.594 | 6.6111e-10
230.895 | 6.6409e-10
231.215 | 6.7102e-10
231.516 | 6.8026e-10
231.818 | 6.7499e-10
232.137 | 6.7353e-10
232.388 | 6.7917e-10
232.708 | 6.7684e-10
233.006 | 6.6184e-10
233.305 | 6.6961e-10
233.605 | 6.7857e-10
233.923 | 6.7408e-10
234.222 | 6.7896e-10
234.52 | 6.9767e-10
234.837 | 6.9468e-10
235.088 | 6.9925e-10
235.389 | 7.0105e-10
235.705 | 6.94e-10
236.005 | 7.0233e-10
236.304 | 6.9603e-10
236.605 | 7.0022e-10
236.923 | 6.9884e-10
237.222 | 7.0409e-10
237.521 | 7.0984e-10
237.838 | 7.1503e-10
238.088 | 7.0854e-10
238.405 | 7.1075e-10
238.705 | 7.0988e-10
239.005 | 7.0708e-10
239.322 | 7.0916e-10
239.622 | 7.1658e-10
239.874 | 7.1533e-10
240.223 | 7.1757e-10
240.54 | 7.1927e-10
240.789 | 7.1752e-10
241.107 | 7.2031e-10
241.407 | 7.258e-10
241.707 | 7.2699e-10
242.008 | 7.3209e-10
242.307 | 7.2634e-10
242.607 | 7.3622e-10
242.924 | 7.3712e-10
243.224 | 7.4435e-10
243.523 | 7.4367e-10
243.839 | 7.4949e-10
244.089 | 7.524e-10
244.385 | 7.5243e-10
244.699 | 7.5083e-10
244.996 | 7.6517e-10
245.295 | 7.5975e-10
245.612 | 7.6651e-10
245.91 | 7.6352e-10
246.225 | 7.6551e-10
246.477 | 7.7894e-10
246.777 | 7.7726e-10
247.094 | 7.7255e-10
247.395 | 7.8057e-10
247.696 | 7.8339e-10
247.998 | 7.8839e-10
248.317 | 7.9095e-10
248.614 | 8.0217e-10
248.917 | 7.8727e-10
249.234 | 7.9344e-10
249.483 | 7.9538e-10
249.801 | 8.1009e-10
250.102 | 7.9385e-10
250.402 | 7.9341e-10
250.703 | 8.0123e-10
251.02 | 8.0227e-10
251.319 | 8.084e-10
251.636 | 8.0874e-10
251.886 | 8.136e-10
252.204 | 8.1667e-10
252.504 | 8.0984e-10
252.822 | 8.1473e-10
253.122 | 8.1651e-10
253.421 | 8.3059e-10
253.723 | 8.3297e-10
253.99 | 8.3926e-10
254.306 | 8.3006e-10
254.608 | 8.2246e-10
254.922 | 8.2989e-10
255.222 | 8.3293e-10
255.523 | 8.3087e-10
255.823 | 8.1727e-10
256.141 | 8.138e-10
256.39 | 8.2048e-10
256.69 | 8.1349e-10
256.991 | 8.221e-10
257.306 | 8.2466e-10
257.605 | 8.3108e-10
257.907 | 8.3148e-10
258.206 | 8.3506e-10
258.524 | 8.1013e-10
258.774 | 8.1822e-10
259.091 | 8.1961e-10
259.391 | 8.1822e-10
259.69 | 8.4088e-10
260.008 | 8.3954e-10
260.306 | 8.4105e-10
260.606 | 8.4452e-10
260.875 | 8.3868e-10
261.174 | 8.487e-10
261.518 | 8.5399e-10
261.817 | 8.502e-10
262.131 | 8.5071e-10
262.379 | 8.4862e-10
262.696 | 8.5336e-10
262.995 | 8.5466e-10
263.295 | 8.5984e-10
263.596 | 8.7445e-10
263.895 | 8.8018e-10
264.214 | 8.8052e-10
264.514 | 8.7885e-10
264.814 | 8.7934e-10
265.132 | 8.7966e-10
265.381 | 8.8884e-10
265.699 | 8.8297e-10
266.001 | 8.7792e-10
266.302 | 8.9296e-10
266.601 | 8.8777e-10
266.919 | 8.987e-10
267.219 | 8.9931e-10
267.535 | 8.9661e-10
267.787 | 8.9531e-10
268.103 | 9.0355e-10
268.403 | 8.973e-10
268.705 | 8.7238e-10
269.005 | 8.8067e-10
269.288 | 8.8213e-10
269.605 | 9.1696e-10
269.905 | 9.1002e-10
270.206 | 9.1268e-10
270.523 | 9.2576e-10
270.823 | 9.1944e-10
271.138 | 9.1864e-10
271.39 | 9.2093e-10
271.703 | 9.0807e-10
272.005 | 9.0436e-10
272.322 | 9.6024e-10
272.624 | 9.628e-10
272.923 | 9.739e-10
273.223 | 9.7733e-10
273.489 | 9.555e-10
273.789 | 9.8451e-10
274.106 | 9.7955e-10
274.406 | 9.5535e-10
274.722 | 9.8384e-10
275.023 | 9.8567e-10
275.322 | 9.5781e-10
275.623 | 9.7084e-10
275.938 | 9.8919e-10
276.19 | 9.6083e-10
276.507 | 1.0029e-09
276.807 | 9.9403e-10
277.124 | 1.0055e-09
277.423 | 9.9177e-10
277.74 | 9.7141e-10
277.99 | 9.9798e-10
278.308 | 1.0114e-09
278.607 | 1.0181e-09
278.907 | 1.0099e-09
279.221 | 9.9806e-10
279.518 | 1.0302e-09
279.816 | 1.0208e-09
280.131 | 1.0204e-09
280.38 | 1.0291e-09
280.696 | 1.0224e-09
280.996 | 1.0027e-09
281.294 | 1.0416e-09
281.613 | 1.0331e-09
281.912 | 1.0328e-09
282.213 | 1.0459e-09
282.48 | 1.039e-09
282.782 | 1.0449e-09
283.098 | 1.0416e-09
283.4 | 1.054e-09
283.7 | 1.0302e-09
284.017 | 1.0061e-09
284.317 | 1.0651e-09
284.617 | 1.0236e-09
284.885 | 1.0486e-09
285.203 | 1.0501e-09
285.503 | 1.0772e-09
285.821 | 1.0668e-09
286.12 | 4.3175e-10
286.436 | -1.904e-10
286.686 | -2.2358e-10
287.003 | -2.2936e-10
287.305 | -2.3068e-10
287.604 | -2.2981e-10
287.922 | -2.2873e-10
288.221 | -2.2899e-10
288.522 | -2.2846e-10
288.789 | -2.2888e-10
289.106 | -2.2993e-10
289.406 | -2.2889e-10
289.706 | -2.2948e-10
290.022 | -2.2948e-10
290.323 | -2.3278e-10
290.622 | -2.3124e-10
290.89 | 9.8165e-10
291.189 | 1.1427e-09
291.487 | 1.1465e-09
291.805 | 1.1494e-09
292.106 | 1.1473e-09
292.423 | 1.1463e-09
292.722 | 1.158e-09
293.022 | 1.1601e-09
293.323 | 1.1544e-09
293.59 | 1.1719e-09
293.89 | 1.1756e-09
294.205 | 1.1956e-09
294.523 | 1.1932e-09
294.822 | 1.1944e-09
295.122 | 1.2364e-09
295.44 | 1.2468e-09
295.689 | 1.2387e-09
295.99 | 1.239e-09
296.306 | 1.2319e-09
296.605 | 1.2425e-09
296.905 | 1.2826e-09
297.206 | 1.2589e-09
297.521 | 1.2688e-09
297.822 | 1.2727e-09
298.122 | 1.2961e-09
298.421 | 1.2678e-09
298.687 | 1.2957e-09
299.002 | 1.2841e-09
299.299 | 1.2894e-09
299.598 | 1.3202e-09
299.913 | 1.3085e-09
300.212 | 1.313e-09
300.512 | 1.2978e-09
300.829 | 1.3138e-09
301.078 | 1.2922e-09
301.396 | 1.309e-09
301.696 | 1.3132e-09
302.015 | 1.3097e-09
302.313 | 1.3157e-09
302.63 | 1.3292e-09
302.881 | 1.3434e-09
303.198 | 1.3525e-09
303.516 | 1.325e-09
303.834 | 1.3272e-09
304.083 | 1.336e-09
304.401 | 1.325e-09
304.701 | 1.3337e-09
305.018 | 1.3331e-09
305.319 | 1.3359e-09
305.586 | 1.3677e-09
305.903 | 1.36e-09
306.201 | 1.384e-09
306.52 | 1.3783e-09
306.821 | 1.3822e-09
307.121 | 1.3915e-09
307.388 | 1.3944e-09
307.687 | 1.393e-09
308.004 | 1.3972e-09
308.305 | 1.4143e-09
308.621 | 1.4279e-09
308.922 | 1.4358e-09
309.188 | 1.4556e-09
309.489 | 1.4552e-09
309.805 | 1.4522e-09
310.105 | 1.4435e-09
310.421 | 1.4643e-09
310.722 | 1.4583e-09
310.989 | 1.4817e-09
311.305 | 1.4657e-09
311.606 | 1.4804e-09
311.923 | 1.4779e-09
312.223 | 1.4699e-09
312.522 | 1.4808e-09
312.789 | 1.4708e-09
313.106 | 1.4883e-09
313.405 | 1.4994e-09
313.707 | 1.5054e-09
314.023 | 1.4275e-09
314.323 | 1.4344e-09
314.59 | 1.4286e-09
314.891 | 1.4423e-09
315.207 | 1.4637e-09
315.507 | 1.4404e-09
315.805 | 1.4696e-09
316.124 | 1.4611e-09
316.423 | 1.4607e-09
316.69 | 1.4821e-09
316.99 | 1.4568e-09
317.307 | 1.4576e-09
317.606 | 1.4578e-09
317.906 | 1.458e-09
318.224 | 1.4633e-09
318.474 | 1.4704e-09
318.823 | 1.4815e-09
319.091 | 1.51e-09
319.407 | 1.5337e-09
319.708 | 1.5359e-09
319.974 | 1.4964e-09