## Settings
Sample Info | Zd1i-Run 04c
Comments | 0.25/0.25/0.25
Major Measurement Parameters
Starting Temperature | 421.632
Initial Temperature | 250
Final Temperature | 320
Preliminary Voltage | 0.25
Pulse Voltage | 0.25
Pulse Time | 5
Wait Time | 0
Measurement Voltage | 0.25
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 7
Measurecount | 1
Time
Date | 5.2.2024
Clock | 15:14:32

## Stabilization
Temperature | Current
421.543 | 3.8319e-09
421.434 | 3.9626e-09
421.306 | 4.0321e-09
421.171 | 4.0238e-09
421.04 | 4.1119e-09
420.901 | 4.1419e-09
420.761 | 4.1808e-09
420.624 | 4.1438e-09
420.48 | 4.1678e-09
420.352 | 4.1135e-09
420.22 | 4.2318e-09
420.088 | 4.1934e-09
419.956 | 4.2441e-09
419.826 | 4.25e-09
419.705 | 4.237e-09
419.577 | 4.2851e-09
419.447 | 4.347e-09
419.322 | 4.2655e-09
419.195 | 4.2826e-09
419.069 | 4.3053e-09
418.943 | 4.3456e-09
418.819 | 4.3027e-09
418.702 | 4.3698e-09
418.578 | 4.3754e-09
418.455 | 4.3601e-09
418.335 | 4.4078e-09
418.212 | 4.4418e-09
418.098 | 4.449e-09
417.976 | 4.482e-09
417.858 | 4.5196e-09
417.739 | 4.4619e-09
417.619 | 4.5137e-09
417.501 | 4.5669e-09
417.381 | 4.5943e-09
417.272 | 4.5832e-09
417.154 | 4.5088e-09
417.036 | 4.5875e-09
416.921 | 4.5128e-09
416.805 | 4.6098e-09
416.69 | 4.5631e-09
416.575 | 4.6121e-09
416.461 | 4.6001e-09
416.347 | 4.599e-09
416.24 | 4.5847e-09
416.127 | 4.6073e-09
416.014 | 4.6286e-09
415.903 | 4.5982e-09
415.796 | 4.6711e-09
415.686 | 4.634e-09
415.574 | 4.6263e-09
415.464 | 4.6362e-09
415.352 | 4.6311e-09
415.249 | 4.6285e-09
415.14 | 4.6078e-09
415.03 | 4.6855e-09
414.922 | 4.6277e-09
414.813 | 4.7593e-09
414.704 | 4.7598e-09
414.597 | 4.6402e-09
414.489 | 4.6686e-09
414.382 | 4.7117e-09
414.274 | 4.6056e-09
414.173 | 4.6589e-09
414.067 | 4.6176e-09
413.961 | 4.6091e-09
413.856 | 4.6095e-09
413.749 | 4.6226e-09
413.644 | 4.6281e-09
413.545 | 4.5984e-09
413.442 | 4.6327e-09
413.335 | 4.6303e-09
413.232 | 4.6241e-09
413.128 | 4.6517e-09
412.761 | 4.6618e-09
412.091 | 4.7278e-09
411.471 | 4.7359e-09
410.88 | 4.713e-09
410.284 | 4.7184e-09
409.702 | 4.6965e-09
409.122 | 4.6911e-09
408.583 | 4.6965e-09
408.021 | 4.728e-09
407.449 | 4.7071e-09
406.871 | 4.7377e-09
406.268 | 4.7074e-09
405.675 | 4.6608e-09
405.079 | 4.6835e-09
404.492 | 4.686e-09
403.903 | 4.7096e-09
403.343 | 4.6768e-09
402.758 | 4.6426e-09
402.165 | 4.6463e-09
401.575 | 4.6798e-09
400.991 | 4.7336e-09
400.397 | 4.6403e-09
399.81 | 4.6413e-09
399.228 | 4.6713e-09
398.646 | 4.661e-09
398.098 | 4.6134e-09
397.52 | 4.6344e-09
396.946 | 4.6642e-09
396.378 | 4.6485e-09
395.81 | 4.6191e-09
395.241 | 4.6177e-09
394.68 | 4.543e-09
394.146 | 4.5734e-09
393.544 | 4.6081e-09
393.015 | 4.603e-09
392.456 | 4.7035e-09
391.896 | 4.5639e-09
391.346 | 4.578e-09
390.795 | 4.5873e-09
390.244 | 4.5742e-09
389.731 | 4.6177e-09
389.197 | 4.6171e-09
388.64 | 4.5135e-09
388.097 | 4.6095e-09
387.561 | 4.5447e-09
387.025 | 4.5676e-09
386.515 | 4.5524e-09
385.98 | 4.5284e-09
385.455 | 4.5539e-09
384.928 | 4.5478e-09
384.401 | 4.4808e-09
383.884 | 4.4541e-09
383.361 | 4.4421e-09
382.838 | 4.5263e-09
382.32 | 4.5012e-09
381.814 | 4.4636e-09
381.308 | 4.3902e-09
380.811 | 4.3838e-09
380.31 | 4.3247e-09
379.823 | 4.3419e-09
379.318 | 4.3157e-09
378.813 | 4.3042e-09
378.352 | 4.2991e-09
377.875 | 4.2849e-09
377.38 | 4.2653e-09
376.882 | 4.278e-09
376.395 | 4.2221e-09
375.909 | 4.2472e-09
375.427 | 4.2417e-09
374.944 | 4.2048e-09
374.479 | 4.1477e-09
374.095 | 4.2086e-09
374.082 | 4.174e-09
374.061 | 4.156e-09
374.021 | 4.1138e-09
373.721 | 4.1025e-09
373.191 | 4.1001e-09
372.689 | 4.0633e-09
372.236 | 4.0136e-09
371.758 | 4.0048e-09
371.285 | 3.9548e-09
370.801 | 3.9988e-09
370.324 | 3.9866e-09
369.866 | 3.896e-09
369.422 | 3.8793e-09
368.979 | 3.8836e-09
368.526 | 3.8718e-09
368.051 | 3.8276e-09
367.612 | 3.8287e-09
367.16 | 3.9191e-09
366.711 | 3.8355e-09
366.247 | 3.8094e-09
365.81 | 3.7619e-09
365.37 | 3.7553e-09
364.942 | 3.7584e-09
364.487 | 3.7195e-09
364.046 | 3.6961e-09
363.61 | 3.6501e-09
363.173 | 3.6861e-09
362.741 | 3.7054e-09
362.306 | 3.68e-09
361.883 | 3.6543e-09
361.481 | 3.619e-09
361.042 | 3.5659e-09
360.614 | 3.5239e-09
360.187 | 3.5928e-09
359.771 | 3.5063e-09
359.334 | 3.5063e-09
358.913 | 3.4887e-09
358.485 | 3.4613e-09
358.07 | 3.4357e-09
357.656 | 3.3905e-09
357.236 | 3.4072e-09
356.802 | 3.4014e-09
356.39 | 3.4032e-09
356.004 | 3.4189e-09
355.562 | 3.381e-09
355.162 | 3.3901e-09
354.785 | 3.3573e-09
354.362 | 3.3694e-09
353.979 | 3.333e-09
353.579 | 3.3352e-09
353.181 | 3.2866e-09
352.759 | 3.2925e-09
352.371 | 3.2984e-09
351.976 | 3.2883e-09
351.549 | 3.2496e-09
351.141 | 3.2112e-09
350.75 | 3.2068e-09
350.354 | 3.1754e-09
349.935 | 3.2035e-09
349.53 | 3.1286e-09
349.147 | 3.1413e-09
348.735 | 3.1359e-09
348.348 | 3.1117e-09
347.965 | 3.0797e-09
347.585 | 3.0252e-09
347.165 | 3.0279e-09
346.759 | 2.9795e-09
346.386 | 3.0067e-09
345.996 | 2.9671e-09
345.623 | 2.9515e-09
345.246 | 3.0054e-09
344.846 | 2.9892e-09
344.431 | 2.9448e-09
344.061 | 2.9438e-09
343.687 | 2.9579e-09
343.313 | 2.9131e-09
342.911 | 2.8789e-09
342.537 | 2.9107e-09
342.166 | 2.8931e-09
341.804 | 2.8658e-09
341.442 | 2.8975e-09
341.082 | 2.8323e-09
340.718 | 2.8441e-09
340.301 | 2.794e-09
339.936 | 2.8052e-09
339.548 | 2.8014e-09
339.15 | 2.7708e-09
338.756 | 2.7764e-09
338.392 | 2.7848e-09
337.978 | 2.7176e-09
337.619 | 2.727e-09
337.266 | 2.7184e-09
336.914 | 2.6929e-09
336.535 | 2.6592e-09
336.136 | 2.6931e-09
335.74 | 2.6638e-09
335.395 | 2.5975e-09
335.017 | 2.6529e-09
334.643 | 2.5947e-09
334.248 | 2.5742e-09
333.884 | 2.5795e-09
333.518 | 2.5647e-09
333.175 | 2.5679e-09
332.814 | 2.5385e-09
332.444 | 2.5224e-09
332.089 | 2.5036e-09
331.75 | 2.4954e-09
331.413 | 2.5142e-09
331.073 | 2.4964e-09
330.704 | 2.5077e-09
330.37 | 2.4485e-09
329.987 | 2.4551e-09
329.628 | 2.4814e-09
329.296 | 2.4294e-09
328.986 | 2.4445e-09
328.635 | 2.435e-09
328.245 | 2.3734e-09
327.932 | 2.377e-09
327.555 | 2.3766e-09
327.22 | 2.343e-09
326.891 | 2.3223e-09
326.551 | 2.2772e-09
326.222 | 2.274e-09
325.875 | 2.2712e-09
325.523 | 2.2645e-09
325.183 | 2.265e-09
324.851 | 2.254e-09
324.524 | 2.2511e-09
324.195 | 2.2358e-09
323.864 | 2.2305e-09
323.526 | 2.2167e-09
323.17 | 2.2213e-09
322.848 | 2.2339e-09
322.51 | 2.2181e-09
322.13 | 2.1745e-09
321.743 | 2.1732e-09
321.425 | 2.1685e-09
321.06 | 2.2029e-09
320.72 | 2.1572e-09
320.374 | 2.1307e-09
320.01 | 2.1309e-09
319.635 | 2.1403e-09
319.214 | 2.1227e-09
318.902 | 2.1208e-09
318.568 | 2.1029e-09
318.187 | 2.0776e-09
317.868 | 2.0604e-09
317.539 | 2.0138e-09
317.231 | 1.9962e-09
316.918 | 2.0048e-09
316.541 | 2.004e-09
316.186 | 1.9553e-09
315.865 | 1.9677e-09
315.545 | 1.9658e-09
315.208 | 1.9332e-09
314.849 | 1.8705e-09
314.439 | 1.8707e-09
314.123 | 1.8757e-09
313.729 | 1.8573e-09
313.362 | 1.8565e-09
313.01 | 1.8498e-09
312.671 | 1.8473e-09
312.361 | 1.8417e-09
312.059 | 1.8453e-09
311.761 | 1.8165e-09
311.45 | 1.7886e-09
311.136 | 1.7946e-09
310.807 | 1.7753e-09
310.43 | 1.7798e-09
310.12 | 1.7716e-09
309.822 | 1.7705e-09
309.497 | 1.7438e-09
309.177 | 1.747e-09
308.87 | 1.7196e-09
308.455 | 1.7387e-09
308.106 | 1.7376e-09
307.738 | 1.705e-09
307.39 | 1.6843e-09
307.022 | 1.6787e-09
306.617 | 1.6457e-09
306.28 | 1.6439e-09
305.99 | 1.6408e-09
305.592 | 1.6364e-09
305.183 | 1.6177e-09
304.793 | 1.6106e-09
304.405 | 1.6133e-09
304.108 | 1.596e-09
303.73 | 1.591e-09
303.42 | 1.5804e-09
303.145 | 1.5825e-09
302.862 | 1.5648e-09
302.59 | 1.5833e-09
302.314 | 1.5619e-09
302.004 | 1.5538e-09
301.737 | 1.5587e-09
301.451 | 1.5322e-09
301.159 | 1.543e-09
300.873 | 1.5319e-09
300.614 | 1.5219e-09
300.343 | 1.4933e-09
300.061 | 1.4908e-09
299.799 | 1.4922e-09
299.545 | 1.4854e-09
299.284 | 1.4778e-09
299.031 | 1.467e-09
298.778 | 1.4504e-09
298.521 | 1.4512e-09
298.252 | 1.4506e-09
298.003 | 1.4299e-09
297.753 | 1.427e-09
297.504 | 1.4121e-09
297.255 | 1.3877e-09
297.006 | 1.418e-09
296.759 | 1.4072e-09
296.513 | 1.417e-09
296.269 | 1.3761e-09
296.025 | 1.3461e-09
295.779 | 1.3547e-09
295.516 | 1.3634e-09
295.268 | 1.343e-09
295.028 | 1.3341e-09
294.792 | 1.337e-09
294.553 | 1.341e-09
294.32 | 1.334e-09
294.082 | 1.3309e-09
293.848 | 1.2975e-09
293.615 | 1.298e-09
293.382 | 1.2806e-09
293.151 | 1.2813e-09
292.907 | 1.2949e-09
292.676 | 1.2851e-09
292.446 | 1.277e-09
292.22 | 1.2424e-09
291.979 | 1.2537e-09
291.752 | 1.2335e-09
291.527 | 1.25e-09
291.305 | 1.2167e-09
291.082 | 1.2148e-09
290.86 | 1.2145e-09
290.637 | 1.2332e-09
290.415 | 1.193e-09
290.196 | 1.1945e-09
289.975 | 1.1821e-09
289.756 | 1.1964e-09
289.525 | 1.1749e-09
289.304 | 1.1511e-09
289.087 | 1.1597e-09
288.871 | 1.1603e-09
288.655 | 1.1449e-09
288.438 | 1.1578e-09
288.221 | 1.154e-09
288.004 | 1.1417e-09
287.789 | 1.1294e-09
287.577 | 1.1473e-09
287.363 | 1.1354e-09
287.146 | 1.1337e-09
286.921 | 1.1195e-09
286.705 | 1.1341e-09
286.496 | 1.0914e-09
286.285 | 1.0886e-09
286.071 | 1.0783e-09
285.857 | 1.0848e-09
285.647 | 1.0764e-09
285.436 | 1.0852e-09
285.214 | 1.0575e-09
285.005 | 1.0531e-09
284.797 | 1.0621e-09
284.589 | 1.069e-09
284.379 | 1.0343e-09
284.168 | 1.0465e-09
283.958 | 1.0629e-09
283.75 | 1.0567e-09
283.543 | 1.0487e-09
283.336 | 1.0437e-09
283.132 | 1.058e-09
282.925 | 1.0618e-09
282.722 | 1.0596e-09
282.514 | 1.0367e-09
282.298 | 1.045e-09
282.093 | 1.0337e-09
281.889 | 1.025e-09
281.684 | 1.0069e-09
281.485 | 1.0126e-09
281.282 | 1.0126e-09
281.078 | 1.0075e-09
280.878 | 1.0036e-09
280.667 | 9.808e-10
280.469 | 9.8323e-10
280.266 | 9.9012e-10
280.049 | 9.6388e-10
279.789 | 9.4386e-10
279.592 | 9.5591e-10
279.384 | 9.218e-10
279.188 | 9.3174e-10
278.989 | 9.3024e-10
278.788 | 9.1958e-10
278.593 | 9.1405e-10
278.39 | 9.1323e-10
278.152 | 8.9917e-10
277.947 | 8.9763e-10
277.752 | 8.8609e-10
277.556 | 8.8475e-10
277.36 | 8.817e-10
277.164 | 8.9415e-10
276.968 | 8.8658e-10
276.774 | 8.8727e-10
276.579 | 8.8386e-10
276.363 | 8.8328e-10
276.167 | 8.7361e-10
275.974 | 8.734e-10
275.783 | 8.5611e-10
275.59 | 8.5681e-10
275.401 | 8.5034e-10
275.206 | 8.4751e-10
275.014 | 8.4447e-10
274.822 | 8.4494e-10
274.624 | 8.401e-10
274.439 | 8.3615e-10
274.249 | 8.2904e-10
274.063 | 8.3309e-10
273.876 | 8.3349e-10
273.669 | 8.2628e-10
273.484 | 8.1164e-10
273.299 | 8.1976e-10
273.073 | 8.0583e-10
272.83 | 8.0189e-10
272.653 | 7.9419e-10
272.474 | 7.8776e-10
272.281 | 7.9539e-10
272.101 | 7.9093e-10
271.921 | 7.8966e-10
271.741 | 7.7862e-10
271.547 | 7.835e-10
271.371 | 7.7562e-10
271.192 | 7.7324e-10
271.013 | 7.6911e-10
270.836 | 7.5909e-10
270.659 | 7.6659e-10
270.474 | 7.5652e-10
270.295 | 7.6026e-10
270.119 | 7.5448e-10
269.944 | 7.4303e-10
269.771 | 7.3964e-10
269.596 | 7.4846e-10
269.422 | 7.5221e-10
269.247 | 7.2223e-10
269.06 | 7.3305e-10
268.887 | 7.2569e-10
268.715 | 7.1471e-10
268.541 | 7.1569e-10
268.37 | 7.2456e-10
268.197 | 7.2279e-10
268.017 | 7.0842e-10
267.846 | 7.0463e-10
267.675 | 7.061e-10
267.504 | 7.1885e-10
267.334 | 7.0117e-10
267.165 | 6.8629e-10
266.993 | 6.8401e-10
266.815 | 6.9049e-10
266.646 | 7.0058e-10
266.48 | 6.8042e-10
266.311 | 6.7536e-10
266.133 | 6.6792e-10
265.965 | 6.7359e-10
265.798 | 6.6913e-10
265.632 | 6.6057e-10
265.464 | 6.7041e-10
265.298 | 6.6677e-10
265.132 | 6.572e-10
264.957 | 6.6148e-10
264.792 | 6.6699e-10
264.628 | 6.5036e-10
264.461 | 6.3992e-10
264.299 | 6.4234e-10
264.131 | 6.4606e-10
263.957 | 6.3666e-10
263.785 | 6.2769e-10
263.618 | 6.3656e-10
263.45 | 6.2829e-10
263.29 | 6.2311e-10
263.117 | 6.247e-10
262.958 | 6.2228e-10
262.796 | 6.2153e-10
262.635 | 6.2723e-10
262.463 | 6.251e-10
262.304 | 6.1469e-10
262.142 | 6.2037e-10
261.982 | 6.209e-10
261.822 | 6.1567e-10
261.655 | 6.0397e-10
261.493 | 6.0252e-10
261.336 | 6.0224e-10
261.177 | 6.0013e-10
261.017 | 6.0207e-10
260.847 | 5.9614e-10
260.687 | 5.9404e-10
260.527 | 5.9611e-10
260.356 | 5.9306e-10
260.19 | 5.8514e-10
260.031 | 5.8548e-10
259.873 | 5.7584e-10
259.716 | 5.7895e-10
259.556 | 5.6751e-10
259.387 | 5.8306e-10
259.229 | 5.7446e-10
259.068 | 5.7097e-10
258.907 | 5.6766e-10
258.742 | 5.6965e-10
258.585 | 5.6276e-10
258.427 | 5.6934e-10
258.266 | 5.5462e-10
258.109 | 5.641e-10
257.951 | 5.5431e-10
257.785 | 5.5523e-10
257.629 | 5.4689e-10
257.471 | 5.437e-10
257.314 | 5.5358e-10
257.158 | 5.4583e-10
256.993 | 5.503e-10
256.836 | 5.4251e-10
256.679 | 5.4871e-10
256.522 | 5.357e-10
256.357 | 5.3017e-10
256.203 | 5.3242e-10
256.045 | 5.2967e-10
255.887 | 5.2725e-10
255.725 | 5.2221e-10
255.569 | 5.2406e-10
255.413 | 5.1897e-10
255.26 | 5.1692e-10
255.106 | 5.1854e-10
254.942 | 5.1576e-10
254.787 | 5.0513e-10
254.632 | 5.1187e-10
254.477 | 5.0856e-10
254.314 | 5.0853e-10
254.161 | 5.1162e-10
254.007 | 5.0195e-10
253.854 | 4.9908e-10
253.692 | 4.9823e-10
253.535 | 5.0179e-10
253.379 | 4.9677e-10
253.225 | 4.9768e-10
253.073 | 4.8747e-10
252.919 | 4.8275e-10
252.755 | 4.8329e-10
252.602 | 4.8437e-10
252.451 | 4.8489e-10
252.291 | 4.938e-10
252.138 | 4.7912e-10
251.985 | 4.8796e-10
251.832 | 4.7861e-10
251.68 | 4.8143e-10
251.518 | 4.8078e-10
251.363 | 4.7203e-10
251.208 | 4.7248e-10
251.048 | 4.7633e-10
250.889 | 4.7638e-10
250.735 | 4.7096e-10
250.576 | 4.7074e-10
250.423 | 4.6063e-10
250.268 | 4.6331e-10
250.115 | 4.5907e-10
249.959 | 4.698e-10
249.807 | 4.6057e-10
249.645 | 4.5123e-10
249.494 | 4.4962e-10
249.341 | 4.5187e-10
249.181 | 4.4556e-10
249.031 | 4.4517e-10
248.886 | 4.4015e-10
248.743 | 4.3554e-10
248.6 | 4.3869e-10
248.475 | 4.3368e-10
248.364 | 4.4077e-10
248.269 | 4.4079e-10
248.193 | 4.352e-10
248.146 | 4.3568e-10
248.132 | 4.3803e-10
248.153 | 4.258e-10
248.203 | 4.3432e-10
248.287 | 4.2498e-10
248.386 | 4.2895e-10
248.498 | 4.2521e-10
248.629 | 4.1972e-10
248.755 | 4.1757e-10
248.883 | 4.1197e-10
249.008 | 4.0947e-10
249.136 | 4.1804e-10
249.248 | 4.1907e-10
249.35 | 4.1495e-10
249.443 | 4.244e-10
249.534 | 4.104e-10
249.612 | 4.0606e-10
249.683 | 4.1256e-10
249.751 | 4.1804e-10
249.803 | 4.1072e-10
249.854 | 4.13e-10
249.905 | 4.1273e-10
249.944 | 4.0737e-10
249.98 | 3.9948e-10
250.008 | 3.9537e-10

## Measurements
Temperature | Current
250.088 | 3.9804e-10
250.218 | 4.0159e-10
250.499 | 3.8777e-10
250.842 | 4.0067e-10
251.146 | 4.0812e-10
251.434 | 4.0023e-10
251.742 | 3.9512e-10
252.026 | 3.8943e-10
252.322 | 3.8936e-10
252.617 | 4.0106e-10
252.891 | 3.9779e-10
253.234 | 3.8955e-10
253.505 | 3.8737e-10
253.827 | 3.9314e-10
254.115 | 3.8203e-10
254.453 | 3.9589e-10
254.736 | 3.9394e-10
255.002 | 3.9149e-10
255.336 | 3.8756e-10
255.618 | 3.8399e-10
255.932 | 3.9587e-10
256.192 | 3.8723e-10
256.519 | 3.8712e-10
256.83 | 3.852e-10
257.104 | 3.8825e-10
257.414 | 3.8995e-10
257.738 | 3.8255e-10
257.993 | 3.8301e-10
258.314 | 3.8449e-10
258.617 | 3.8092e-10
258.938 | 3.8179e-10
259.19 | 3.9082e-10
259.491 | 3.8936e-10
259.794 | 3.8682e-10
260.109 | 3.8116e-10
260.41 | 3.9412e-10
260.726 | 3.9168e-10
261.029 | 3.8841e-10
261.323 | 3.8902e-10
261.634 | 3.9058e-10
261.934 | 3.9871e-10
262.249 | 3.9288e-10
262.496 | 3.966e-10
262.812 | 3.9608e-10
263.127 | 4.0372e-10
263.426 | 4.0491e-10
263.69 | 3.9442e-10
264.008 | 4.0286e-10
264.306 | 4.0318e-10
264.606 | 4.0338e-10
264.906 | 4.0318e-10
265.222 | 3.961e-10
265.52 | 3.9565e-10
265.837 | 4.0225e-10
266.137 | 4.0167e-10
266.402 | 4.0723e-10
266.721 | 4.0704e-10
267.02 | 4.1438e-10
267.321 | 4.1908e-10
267.637 | 4.1305e-10
267.953 | 4.2314e-10
268.253 | 4.2138e-10
268.505 | 4.1697e-10
268.804 | 4.191e-10
269.122 | 4.1408e-10
269.42 | 4.1676e-10
269.739 | 4.2526e-10
269.989 | 4.1947e-10
270.355 | 4.3178e-10
270.606 | 4.3057e-10
270.924 | 4.2859e-10
271.223 | 4.4021e-10
271.524 | 4.3718e-10
271.843 | 4.3987e-10
272.092 | 4.4038e-10
272.391 | 4.3877e-10
272.709 | 4.4777e-10
273.009 | 4.4765e-10
273.308 | 4.47e-10
273.627 | 4.5242e-10
273.926 | 4.4958e-10
274.228 | 4.5199e-10
274.494 | 4.566e-10
274.81 | 4.5819e-10
275.111 | 4.5256e-10
275.429 | 4.528e-10
275.728 | 4.5629e-10
276.028 | 4.6588e-10
276.295 | 4.6819e-10
276.594 | 4.6202e-10
276.911 | 4.6411e-10
277.212 | 4.7504e-10
277.529 | 4.6944e-10
277.828 | 4.8585e-10
278.127 | 4.7168e-10
278.43 | 4.7348e-10
278.695 | 4.7739e-10
278.996 | 4.9112e-10
279.308 | 4.834e-10
279.606 | 4.8649e-10
279.92 | 4.9035e-10
280.218 | 4.9813e-10
280.518 | 4.949e-10
280.817 | 4.9541e-10
281.133 | 5.0659e-10
281.433 | 5.0416e-10
281.748 | 5.0256e-10
282.001 | 5.0552e-10
282.318 | 5.0431e-10
282.618 | 5.0695e-10
282.936 | 5.1218e-10
283.237 | 5.2015e-10
283.504 | 5.1789e-10
283.805 | 5.1936e-10
284.123 | 5.2348e-10
284.44 | 5.2508e-10
284.741 | 5.5184e-10
285.008 | 5.4098e-10
285.308 | 5.4023e-10
285.625 | 5.2559e-10
285.926 | 5.4537e-10
286.195 | 5.4326e-10
286.494 | 5.564e-10
286.81 | 5.4802e-10
287.111 | 5.4981e-10
287.428 | 5.7048e-10
287.694 | 5.5463e-10
287.996 | 5.7171e-10
288.313 | 5.6592e-10
288.614 | 5.6564e-10
288.929 | 5.593e-10
289.23 | 5.7977e-10
289.544 | 5.8133e-10
289.797 | 5.8058e-10
290.113 | 5.7983e-10
290.414 | 5.8925e-10
290.698 | 6.0022e-10
291.014 | 5.967e-10
291.33 | 5.9815e-10
291.614 | 5.9631e-10
291.914 | 5.9914e-10
292.23 | 6.1035e-10
292.53 | 6.1079e-10
292.797 | 6.0503e-10
293.114 | 6.0419e-10
293.431 | 6.1969e-10
293.731 | 6.1364e-10
294.031 | 6.1806e-10
294.347 | 6.145e-10
294.615 | 6.3758e-10
294.915 | 6.3451e-10
295.215 | 6.5438e-10
295.532 | 6.498e-10
295.832 | 6.5432e-10
296.149 | 6.5179e-10
296.399 | 6.6383e-10
296.715 | 6.5965e-10
297.032 | 6.7562e-10
297.298 | 6.7319e-10
297.615 | 6.834e-10
297.916 | 6.7918e-10
298.233 | 7.0626e-10
298.532 | 6.8274e-10
298.827 | 6.8977e-10
299.143 | 6.9395e-10
299.39 | 6.9683e-10
299.707 | 7.005e-10
300.005 | 6.9421e-10
300.322 | 7.1653e-10
300.639 | 7.2409e-10
300.938 | 7.1019e-10
301.207 | 7.0741e-10
301.505 | 7.1407e-10
301.821 | 7.2083e-10
302.139 | 7.1444e-10
302.391 | 7.2722e-10
302.707 | 7.2258e-10
303.009 | 7.3453e-10
303.325 | 7.3966e-10
303.627 | 7.3441e-10
303.893 | 7.5372e-10
304.21 | 7.5016e-10
304.51 | 7.5363e-10
304.827 | 7.5563e-10
305.128 | 7.6799e-10
305.43 | 7.6652e-10
305.697 | 7.7626e-10
306.014 | 7.7265e-10
306.314 | 7.8229e-10
306.632 | 7.8897e-10
306.948 | 7.8e-10
307.197 | 8.027e-10
307.515 | 8.0021e-10
307.815 | 8e-10
308.133 | 8.0863e-10
308.433 | 8.0907e-10
308.75 | 8.078e-10
308.999 | 8.1467e-10
309.316 | 8.227e-10
309.616 | 8.1724e-10
309.932 | 8.1946e-10
310.233 | 8.3884e-10
310.533 | 8.4425e-10
310.833 | 8.4478e-10
311.1 | 8.5974e-10
311.401 | 8.4973e-10
311.717 | 8.5249e-10
312.017 | 8.6254e-10
312.333 | 8.8165e-10
312.65 | 8.5916e-10
312.899 | 8.7187e-10
313.216 | 8.7764e-10
313.516 | 8.7891e-10
313.816 | 8.9805e-10
314.134 | 8.9132e-10
314.435 | 9.0259e-10
314.7 | 9.0705e-10
315.017 | 8.962e-10
315.315 | 9.0085e-10
315.633 | 9.0554e-10
315.934 | 9.1881e-10
316.25 | 9.3207e-10
316.499 | 9.3146e-10
316.815 | 9.4556e-10
317.133 | 9.2784e-10
317.449 | 9.4228e-10
317.716 | 9.3674e-10
318.033 | 9.5686e-10
318.333 | 9.6345e-10
318.632 | 9.5943e-10
318.949 | 9.8071e-10
319.217 | 9.7396e-10
319.517 | 9.8264e-10
319.85 | 9.8283e-10
320.132 | 9.799e-10