## Settings
Sample Info | v16m20, irr, run 09
Sample Description | -10/+10/-5.5
Major Measurement Parameters
Starting Temperature | 346.713
Initial Temperature | 80.5
Final Temperature | 380
Preliminary Voltage | -10
Pulse Voltage | 10
Pulse Time | 20
Measurement Voltage | -5.5
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keysight EM Parameters
NPLC | 7
Measurecount | 1
Time
Date | 23.10.2023
clock | 20:51:11

## Stabilization
Temperature | Current
345.8 | -2.4552e-08
344.309 | -8.8188e-12
343.575 | -6.7838e-12
342.681 | -5.4603e-12
341.983 | -4.7336e-12
341.097 | -4.2079e-12
340.397 | -3.6604e-12
339.419 | -3.4633e-12
338.729 | -2.994e-12
337.77 | -2.8445e-12
337.088 | -2.6211e-12
336.187 | -2.4813e-12
335.451 | -2.2459e-12
334.562 | -2.0335e-12
333.833 | -2.0221e-12
332.924 | -1.8855e-12
332.2 | -1.7778e-12
331.312 | -1.796e-12
330.574 | -1.5338e-12
326.908 | -1.3315e-12
326.004 | -1.2764e-12
325.038 | -1.1925e-12
324.175 | -1.1704e-12
323.107 | -1.1208e-12
322.159 | -1.1032e-12
321.48 | -1.0433e-12
320.591 | -9.7025e-13
319.843 | -9.964e-13
318.955 | -9.5188e-13
318.119 | -9.4059e-13
317.265 | -8.7696e-13
316.466 | -8.7321e-13
315.686 | -8.7133e-13
314.905 | -7.8514e-13
314.26 | -8.1799e-13
313.402 | -8.4896e-13
312.677 | -8.2047e-13
311.727 | -8.1634e-13
310.785 | -8.0368e-13
310.108 | -7.7822e-13
309.343 | -7.6788e-13
308.581 | -7.4373e-13
307.731 | -7.6768e-13
306.94 | -7.2915e-13
306.168 | -7.1423e-13
305.401 | -7.0998e-13
304.588 | -7.4558e-13
303.891 | -7.3656e-13
303.175 | -7.8125e-13
302.268 | -7.2476e-13
301.592 | -7.5969e-13
300.697 | -7.3861e-13
300.043 | -7.854e-13
299.154 | -7.7375e-13
298.441 | -8.0982e-13
297.56 | -7.6833e-13
296.926 | -7.7739e-13
296.241 | -7.8392e-13
295.395 | -8.2117e-13
294.66 | -7.7093e-13
293.915 | -8.1525e-13
293.108 | -8.0813e-13
292.419 | -8.3464e-13
291.712 | -8.6107e-13
290.743 | -8.6827e-13
290.098 | -9.0054e-13
289.218 | -9.317e-13
288.581 | -8.9005e-13
287.846 | -8.8213e-13
287.043 | -9.2179e-13
286.281 | -9.1534e-13
285.571 | -9.248e-13
284.814 | -8.2727e-13
284.094 | -9.7984e-13
283.387 | -9.5661e-13
282.644 | -9.0419e-13
281.915 | -9.4865e-13
281.345 | -9.7571e-13
280.759 | -1.048e-12
279.973 | -9.9392e-13
279.388 | -1.0141e-12
278.824 | -1.0781e-12
278.017 | -1.0237e-12
277.361 | -9.8432e-13
276.744 | -9.9324e-13
275.935 | -1.048e-12
275.254 | -1.0456e-12
274.687 | -1.0269e-12
274.158 | -1.0488e-12
273.456 | -1.0161e-12
272.853 | -1.0056e-12
272.234 | -1.0311e-12
271.721 | -1.0461e-12
270.97 | -1.0397e-12
270.455 | -1.0597e-12
270.002 | -1.0429e-12
269.296 | -1.1038e-12
268.697 | -1.1014e-12
268.069 | -1.0871e-12
267.592 | -1.0159e-12
266.948 | -1.0634e-12
266.496 | -1.0967e-12
266.04 | -1.0295e-12
265.608 | -1.0634e-12
265.009 | -1.0514e-12
264.656 | -1.0637e-12
264.228 | -1.1302e-12
263.727 | -1.0613e-12
263.25 | -1.1241e-12
262.737 | -1.0334e-12
262.313 | -1.0299e-12
261.956 | -1.0509e-12
261.664 | -1.1171e-12
261.234 | -1.0795e-12
260.844 | -1.0158e-12
260.22 | -1.0115e-12
259.847 | -1.0071e-12
259.412 | -1.0086e-12
259.084 | -1.0178e-12
258.543 | -9.746e-13
258.213 | -9.7323e-13
257.932 | -9.1993e-13
257.689 | -9.5078e-13
257.33 | -9.6052e-13
256.887 | -9.8334e-13
256.643 | -9.3729e-13
256.33 | -1.0139e-12
256.103 | -8.7952e-13
255.813 | -9.2822e-13
255.625 | -9.7741e-13
255.368 | -8.7146e-13
255.226 | -8.5618e-13
255.102 | -8.9125e-13
254.965 | -8.7099e-13
254.742 | -9.0039e-13
254.389 | -8.908e-13
253.859 | -8.4936e-13
253.635 | -8.3869e-13
253.386 | -8.7398e-13
253.18 | -8.6941e-13
253 | -8.3403e-13
252.778 | -8.579e-13
252.622 | -8.762e-13
252.486 | -7.3941e-13
252.355 | -7.3657e-13
252.231 | -7.6313e-13
252.039 | -7.2049e-13
251.812 | -7.5822e-13
251.638 | -7.3385e-13
251.444 | -7.5106e-13
251.343 | -7.2706e-13
251.213 | -7.6191e-13
251.044 | -7.4334e-13
250.947 | -6.7304e-13
250.813 | -7.0007e-13
250.705 | -6.3928e-13
250.616 | -6.4486e-13
250.499 | -6.1392e-13
250.321 | -6.3677e-13
250.199 | -6.7008e-13
249.999 | -5.8494e-13
249.889 | -6.1293e-13
249.658 | -5.7449e-13
249.558 | -5.6979e-13
249.397 | -5.7912e-13
249.297 | -5.4905e-13
249.168 | -5.8407e-13
249.065 | -5.5873e-13
248.869 | -6.2104e-13
248.77 | -4.9267e-13
248.672 | -5.0316e-13
248.574 | -5.324e-13
248.473 | -5.3172e-13
248.383 | -5.2685e-13
248.289 | -4.6834e-13
248.192 | -4.3409e-13
248.104 | -4.605e-13
248.013 | -5.7554e-13
247.922 | -4.3035e-13
247.817 | -4.3112e-13
247.7 | -4.5395e-13
247.6 | -4.8137e-13
247.491 | -5.1175e-13
247.266 | -4.3999e-13
247.013 | -5.1678e-13
246.922 | -5.0136e-13
246.831 | -3.7714e-13
246.693 | -5.1486e-13
246.416 | -4.9614e-13
246.298 | -3.9542e-13
246.197 | -4.3226e-13
246.099 | -5.2459e-13
245.976 | -4.4388e-13
245.798 | -4.3642e-13
245.706 | -4.1752e-13
245.612 | -4.3073e-13
245.519 | -4.1933e-13
245.425 | -4.0321e-13
245.319 | -4.3672e-13
245.227 | -3.7854e-13
245.129 | -4.001e-13
245.002 | -4.3044e-13
244.894 | -3.7678e-13
244.795 | -4.0254e-13
244.694 | -4.0724e-13
244.558 | -3.4961e-13
244.464 | -3.8108e-13
244.339 | -3.6239e-13
244.171 | -3.9399e-13
244.078 | -3.1657e-13
243.974 | -3.2173e-13
243.854 | -3.5993e-13
243.754 | -3.4568e-13
243.618 | -3.6077e-13
243.404 | -3.3724e-13
243.312 | -4.1603e-13
243.217 | -3.2438e-13
243.101 | -3.3222e-13
243.002 | -3.4873e-13
242.902 | -3.6751e-13
242.804 | -3.9347e-13
242.698 | -3.6996e-13
242.598 | -3.5353e-13
242.475 | -3.3455e-13
242.365 | -3.046e-13
242.266 | -3.235e-13
242.168 | -3.2948e-13
242.067 | -3.2582e-13
241.96 | -3.5807e-13
241.861 | -2.8628e-13
241.758 | -3.5129e-13
241.651 | -3.2698e-13
241.553 | -2.1667e-13
241.441 | -2.527e-13
241.274 | -2.7647e-13
241.155 | -3.0388e-13
241.064 | -4.4262e-13
240.974 | -2.639e-13
240.873 | -2.8744e-13
240.707 | -4.0558e-13
240.393 | -3.4289e-13
240.239 | -2.4387e-13
240.125 | -3.0904e-13
239.99 | 2.3041e-13
239.594 | 2.8092e-12
238.881 | -5.3472e-13
238.734 | -5.0023e-13
238.578 | -4.2841e-13
238.476 | -4.0509e-13
238.368 | -3.8771e-13
238.236 | -3.7701e-13
238.124 | -3.6014e-13
238.009 | -3.4316e-13
237.895 | -3.4181e-13
237.775 | -3.9738e-13
237.663 | -2.7399e-13
237.551 | -3.1698e-13
237.435 | -3.1803e-13
237.287 | -3.1235e-13
237.042 | -2.9578e-13
236.925 | -2.5656e-13
236.802 | -4.4983e-13
236.649 | -1.2619e-12
236.499 | 1.5576e-13
236.393 | -2.4054e-13
236.271 | -4.5806e-13
236.167 | -4.5891e-13
236.061 | -3.9499e-13
235.946 | -3.0438e-13
235.757 | -2.9198e-13
235.621 | -2.8208e-13
235.438 | -2.7924e-13
235.022 | -3.3036e-13
234.744 | -3.1324e-13
234.577 | -3.7618e-13
234.389 | 4.6611e-13
234.238 | -2.3072e-13
233.964 | -6.4603e-13
233.277 | -4.4215e-13
233.153 | -4.4297e-13
233.009 | -4.1581e-13
232.84 | -3.9796e-13
232.683 | -4.1269e-13
232.53 | -8.5496e-13
232.376 | -1.2116e-12
232.206 | 5.5162e-13
232.042 | -5.1509e-13
231.793 | -5.4093e-13
231.395 | -1.0279e-13
231.195 | -2.891e-13
231.002 | -3.2548e-13
230.829 | -3.3681e-13
230.66 | -3.5604e-13
230.491 | -4.1998e-13
230.286 | -3.2531e-13
230.075 | -3.0989e-13
229.864 | -2.9036e-13
229.677 | -3.2414e-13
229.494 | -1.8879e-13
229.275 | -2.6106e-13
229.049 | -2.553e-13
228.875 | -2.8175e-13
228.688 | -3.1157e-13
228.505 | -3.5001e-13
228.311 | -3.398e-13
228.097 | -3.2279e-13
227.897 | -3.0102e-13
227.683 | -2.6587e-13
227.409 | -2.9856e-13
227.166 | -2.7893e-13
226.877 | -2.5578e-13
226.633 | -2.5894e-13
226.407 | -2.5754e-13
226.187 | -2.8489e-13
225.963 | -2.7387e-13
225.714 | -2.9278e-13
225.464 | -2.9117e-13
225.217 | -2.9218e-13
224.932 | -2.8046e-13
224.613 | -3.0386e-13
224.296 | -3.2292e-13
224.043 | -2.9351e-13
223.774 | -3.0703e-13
223.523 | -3.202e-13
223.254 | -3.0669e-13
223.002 | -2.8962e-13
222.726 | -3.0412e-13
222.41 | -3.118e-13
222.105 | -3.2564e-13
221.809 | -2.9009e-13
221.247 | -1.2125e-12
219.884 | -4.9438e-13
219.499 | -5.4139e-13
219.123 | -5.2879e-13
218.741 | -5.3067e-13
218.306 | -5.4887e-13
217.851 | -5.8059e-13
217.479 | -5.6245e-13
217.14 | -5.6552e-13
216.777 | -6.0809e-13
216.439 | -6.1307e-13
216.058 | -5.9748e-13
215.586 | -5.7816e-13
215.232 | -6.237e-13
214.852 | -6.2433e-13
214.486 | -6.1304e-13
214.08 | -5.6881e-13
213.669 | -6.3839e-13
213.258 | -6.1743e-13
212.896 | -6.5175e-13
212.492 | -6.3306e-13
212.008 | -6.1655e-13
211.558 | -6.3662e-13
211.135 | -6.507e-13
210.637 | -6.3771e-13
210.075 | -6.3991e-13
209.564 | -6.3374e-13
209.101 | -6.5151e-13
208.657 | -6.4189e-13
208.15 | -6.7663e-13
207.724 | -6.4108e-13
207.327 | -6.2073e-13
206.9 | -6.3782e-13
206.404 | -6.4612e-13
205.972 | -6.5748e-13
205.431 | -6.6099e-13
204.94 | -6.5539e-13
204.421 | -6.6407e-13
203.882 | -6.3898e-13
203.301 | -6.5533e-13
202.774 | -6.5984e-13
202.26 | -6.6758e-13
201.714 | -6.7043e-13
201.009 | -6.5443e-13
200.355 | -6.5207e-13
199.638 | -7.0179e-13
198.909 | -6.8183e-13
198.186 | -7.0515e-13
197.269 | -6.556e-13
196.467 | -7.8155e-13
195.54 | -6.3727e-13
194.589 | -6.9309e-13
193.724 | -8.1048e-13
192.837 | -7.5462e-13
191.889 | -7.377e-13
191.008 | -7.6334e-13
190.125 | -7.6002e-13
189.27 | -7.7043e-13
188.304 | -7.7618e-13
187.438 | -7.0942e-13
186.586 | -7.5539e-13
185.702 | -7.9593e-13
184.978 | -7.8685e-13
184.223 | -8.2254e-13
183.296 | -7.9003e-13
182.403 | -8.2026e-13
181.547 | -8.1633e-13
180.671 | -7.8954e-13
179.709 | -8.1603e-13
178.911 | -8.3189e-13
178.024 | -7.823e-13
177.166 | -8.4114e-13
176.436 | -8.5331e-13
175.731 | -8.4886e-13
175.006 | -8.9567e-13
174.267 | -8.4326e-13
173.536 | -8.4145e-13
172.824 | -9.8757e-13
172.217 | -9.2134e-13
171.505 | -9.0007e-13
170.687 | -8.9505e-13
169.892 | -7.588e-13
169.1 | -8.3855e-13
168.287 | -8.7509e-13
167.473 | -8.6039e-13
166.722 | -8.8796e-13
166.052 | -8.454e-13
165.502 | -8.5626e-13
164.994 | -8.3929e-13
164.486 | -8.6844e-13
164.027 | -8.3625e-13
163.568 | -8.7735e-13
163.046 | -8.5588e-13
162.523 | -8.4653e-13
162.055 | -8.5582e-13
161.624 | -8.6553e-13
161.177 | -8.5003e-13
160.745 | -8.3716e-13
160.311 | -8.4324e-13
159.848 | -8.1054e-13
159.288 | -8.3728e-13
158.664 | -1.0564e-12
157.237 | 1.3196e-11
156.425 | -1.365e-12
152.562 | -1.2722e-12
151.512 | -1.3126e-12
150.893 | -1.0812e-12
150.296 | -9.6699e-13
149.804 | -1.0881e-12
149.328 | -9.8691e-13
148.82 | -1.3986e-12
148.379 | -1.4098e-12
147.927 | 7.0137e-13
147.518 | -8.9147e-13
147.078 | -5.844e-13
146.116 | 2.818e-12
145.547 | -2.3631e-12
145.001 | -1.9706e-12
144.468 | -1.0093e-12
142.595 | -7.5982e-13
142.241 | -8.6078e-13
141.905 | -8.0969e-13
141.55 | -8.2959e-13
141.197 | -7.3269e-13
140.834 | -8.2137e-13
140.267 | -3.6823e-12
138.839 | 5.1793e-13
138.266 | -1.1003e-12
136.911 | -8.156e-13
136.601 | -7.7241e-13
136.302 | -7.7201e-13
135.973 | -7.5205e-13
135.628 | -7.7487e-13
135.318 | -7.8117e-13
135.026 | -7.602e-13
134.695 | -7.0951e-13
134.328 | -7.4381e-13
133.901 | -7.1194e-13
133.489 | -5.9789e-13
133.017 | -4.7646e-14
131.744 | -6.8184e-13
128.366 | 7.5272e-13
127.726 | -6.2893e-13
127.071 | -1.088e-12
126.53 | -1.254e-12
125.948 | -1.3167e-12
125.258 | -1.2497e-12
124.452 | -1.2134e-12
123.795 | -1.285e-12
123.243 | -1.2491e-12
122.736 | -1.0871e-12
122.342 | -1.0914e-12
121.937 | -9.3841e-13
121.429 | -9.967e-13
120.753 | -9.4715e-13
120.014 | -9.5771e-13
119.079 | -1.0332e-12
117.867 | -9.4066e-13
116.571 | -9.651e-13
115.277 | -9.0453e-13
114.162 | -9.5839e-13
113.095 | -9.4521e-13
112.246 | -8.8217e-13
111.562 | -9.7159e-13
110.503 | -4.1999e-12
109.985 | -1.7292e-12
108.216 | -1.0246e-12
107.802 | -8.4318e-13
107.451 | -8.6265e-13
107.158 | -7.9585e-13
106.513 | -7.2498e-13
105.673 | -6.7819e-13
104.806 | -6.1447e-13
104.14 | -7.7964e-13
103.611 | -6.2694e-13
102.978 | -2.8254e-13
102.372 | 1.649e-13
101.869 | -4.8865e-13
101.252 | -7.1896e-13
100.302 | -7.9233e-13
98.8662 | -7.8682e-13
97.4258 | -7.4819e-13
96.1183 | -6.1491e-13
94.3885 | -6.4591e-13
91.9358 | -6.7413e-13
88.5118 | -9.4097e-13
86.245 | -7.7266e-13
83.6091 | -6.7269e-13
82.2902 | -8.2511e-13
81.545 | -8.6913e-13
81.1869 | -9.4694e-13
80.941 | -8.3163e-13
80.6864 | -9.3683e-13
80.5157 | -1.023e-12
80.4017 | -1.0384e-12
80.3276 | -9.8094e-13
80.3036 | -8.9557e-13
80.3284 | -8.3856e-13
80.398 | -8.4555e-13
80.54 | -8.0378e-13
80.7175 | -7.4343e-13

## Measurements
Temperature | Current
81.8458 | -6.4721e-09
82.0403 | -1.6304e-11
82.3595 | -1.5394e-11
82.5916 | -1.3805e-11
82.8924 | -1.4073e-11
83.2162 | -1.0663e-11
83.4708 | -7.8091e-12
83.8023 | -7.8601e-12
84.1702 | -7.5057e-12
84.4493 | -6.7929e-12
84.6806 | -5.5103e-12
84.9921 | -5.9992e-12
85.2703 | -5.9282e-12
85.6431 | -5.3804e-12
85.9047 | -5.179e-12
86.1933 | -4.6852e-12
86.4808 | -4.6026e-12
86.785 | -4.2928e-12
87.0905 | -3.7734e-12
87.4302 | -3.4785e-12
87.7307 | -3.5817e-12
87.9703 | -3.5957e-12
88.334 | -3.3572e-12
88.6221 | -3.1599e-12
88.8892 | -2.969e-12
89.1727 | -3.1663e-12
89.5295 | -2.864e-12
89.7945 | -2.8153e-12
90.0762 | -2.5633e-12
90.4199 | -2.4405e-12
90.712 | -2.3203e-12
90.9918 | -2.0599e-12
91.32 | -2.2289e-12
91.5707 | -1.8992e-12
91.9035 | -1.8624e-12
92.433 | -1.8083e-12
92.557 | -2.062e-12
92.7993 | -1.7583e-12
93.0999 | -1.5052e-12
93.3787 | -1.7223e-12
93.7155 | -1.5994e-12
94.0164 | -1.3442e-12
96.5897 | -1.0313e-12
97.5803 | -7.5894e-13
97.8736 | -6.7303e-13
98.1759 | -6.892e-13
98.4775 | -7.2302e-13
98.8101 | -8.9395e-13
99.1144 | -7.8995e-13
99.3743 | -6.6388e-13
99.6829 | -7.1444e-13
100.008 | -8.0084e-13
100.305 | -7.2053e-13
100.598 | -7.3667e-13
100.913 | -6.6634e-13
101.172 | -7.1996e-13
101.526 | -6.3103e-13
101.802 | -5.8531e-13
102.144 | -6.0786e-13
102.41 | -5.0904e-13
102.712 | -4.4164e-13
102.974 | -2.9775e-13
103.292 | -2.6158e-13
103.59 | -2.6839e-13
103.876 | -2.5027e-13
104.178 | -3.531e-13
104.492 | -3.4296e-13
104.818 | -2.8173e-13
105.079 | -3.3739e-13
105.397 | -1.8574e-13
105.728 | -3.5446e-13
105.984 | -3.6835e-13
106.273 | -2.2966e-13
106.646 | -3.0528e-13
106.905 | -3.628e-13
107.231 | -3.745e-13
107.495 | -3.1911e-13
107.833 | -2.7262e-13
108.079 | -2.4929e-13
108.444 | -2.771e-13
108.736 | -2.9718e-13
109.011 | -3.1741e-13
109.313 | -7.1156e-13
109.623 | -5.258e-13
109.927 | -2.8425e-13
110.201 | -1.2996e-13
110.483 | 1.5728e-12
110.808 | 8.6139e-13
111.074 | 3.5581e-13
111.431 | -7.73e-16
111.673 | -1.27e-13
111.981 | -8.4857e-14
112.337 | -9.7171e-14
112.612 | -1.4318e-13
112.896 | -1.4537e-13
113.229 | -5.8173e-13
113.507 | -3.1883e-13
113.802 | 4.145e-15
114.073 | -2.1521e-13
114.379 | -1.8376e-13
114.715 | 3.3419e-14
115.006 | -3.8718e-14
115.291 | -1.3237e-13
115.603 | -1.4232e-13
115.976 | -1.9178e-13
116.208 | -1.9212e-13
116.495 | -2.3762e-13
116.787 | -2.3646e-13
117.096 | -1.5442e-13
117.387 | -1.146e-13
117.687 | -1.836e-13
117.977 | -1.6646e-13
118.276 | 1.9695e-13
118.575 | -1.0515e-13
118.876 | 2.5081e-13
119.233 | 1.4234e-13
119.515 | 5.1366e-14
119.787 | -7.0273e-14
120.116 | -1.0062e-13
120.426 | -1.4507e-13
120.747 | -1.7481e-13
120.988 | -1.3364e-13
121.318 | -9.6e-14
121.622 | -1.07e-13
121.874 | -7.8527e-14
122.221 | -1.3412e-14
122.528 | 5.9559e-14
122.807 | -3.7599e-14
123.12 | -4.4352e-13
123.421 | -1.6067e-13
123.715 | 4.4516e-14
124.019 | 8.5337e-14
124.306 | 1.0701e-13
124.59 | 9.5668e-14
124.888 | 5.3045e-14
125.211 | -4.6648e-14
125.496 | -4.3383e-14
125.81 | -6.4604e-14
126.096 | 5.864e-15
126.419 | 1.7373e-14
126.687 | -3.467e-14
127.016 | 2.0427e-13
127.333 | -2.1649e-13
127.602 | -9.7753e-14
127.918 | -5.4689e-14
128.186 | -3.4653e-14
128.488 | 6.367e-15
128.822 | 1.3063e-14
129.101 | 1.5041e-14
129.383 | 1.451e-13
129.716 | 2.665e-15
129.986 | -2.4934e-14
130.331 | -1.2347e-13
130.616 | -6.0444e-14
130.903 | -5.983e-15
131.188 | 1.365e-14
131.49 | 8.078e-15
131.814 | 3.538e-15
132.09 | 1.4359e-13
132.401 | 9.5773e-14
132.702 | 1.3604e-13
132.992 | -1.5038e-13
133.286 | -4.9243e-13
133.618 | -2.405e-13
136.175 | 1.393e-14
137.202 | 1.1026e-13
137.497 | 8.7418e-14
137.801 | -4.0893e-13
138.079 | -8.2069e-13
138.405 | 1.6241e-12
138.718 | 9.2877e-14
141.295 | 9.0588e-14
142.303 | 1.017e-13
142.605 | 1.3997e-13
142.889 | 1.3145e-13
143.242 | 1.2684e-13
143.491 | 8.6321e-14
143.834 | 1.8358e-13
144.121 | 1.9028e-13
144.425 | 1.8462e-13
144.715 | 1.6899e-13
145.005 | 3.1854e-13
145.293 | 2.6605e-14
145.591 | 9.3329e-14
145.875 | 1.5761e-13
146.21 | 1.5726e-13
146.497 | 1.58e-13
146.804 | 1.1569e-13
147.089 | 2.0329e-13
147.389 | 1.5426e-13
147.72 | 1.4829e-13
148 | 1.5394e-13
148.298 | 2.3485e-13
148.581 | 2.1814e-13
148.877 | 2.522e-13
149.206 | 2.1427e-13
149.503 | 1.3847e-13
149.788 | 2.373e-13
150.089 | 3.1592e-13
150.417 | 1.9317e-13
150.695 | 2.0559e-13
150.99 | 2.0614e-13
151.291 | 1.9325e-13
151.575 | 2.6904e-13
151.922 | 2.0899e-13
152.203 | 1.7271e-13
152.488 | 8.1242e-14
152.791 | 1.7905e-13
153.132 | 2.6758e-13
153.418 | 2.8753e-13
153.7 | 2.5699e-13
153.999 | 2.2831e-13
154.282 | 1.509e-13
154.623 | 2.4185e-13
154.925 | 3.0255e-13
155.205 | 2.9176e-13
155.5 | 1.9871e-13
155.781 | 1.9449e-13
156.115 | 1.5152e-14
156.422 | 3.3994e-13
156.722 | 3.4056e-13
156.991 | 1.0518e-13
157.315 | 2.118e-13
157.614 | 2.0095e-13
157.897 | 2.2021e-13
158.186 | 2.4558e-13
158.486 | 2.7831e-13
158.815 | 2.3389e-13
159.114 | 2.9934e-13
159.4 | 2.6493e-13
159.697 | 1.8726e-13
160.016 | 2.7292e-13
160.272 | 2.9315e-13
160.622 | 2.6058e-13
160.908 | 2.6122e-13
161.209 | 2.2776e-13
161.492 | 2.426e-13
161.779 | 2.3354e-13
162.132 | 3.0669e-13
162.414 | 2.5618e-13
162.696 | 2.2505e-13
162.998 | 2.187e-13
163.285 | 2.6032e-13
163.621 | 2.4181e-13
163.871 | 1.9342e-13
164.223 | 2.658e-13
164.508 | 2.9791e-13
164.792 | 3.1675e-13
165.093 | 2.4617e-13
165.397 | 2.2917e-13
165.732 | 2.9066e-13
166.01 | 2.7777e-13
166.29 | 2.6483e-13
166.587 | 2.7215e-13
166.919 | 1.0911e-13
167.174 | 2.8419e-13
167.509 | 2.964e-13
167.806 | 2.7739e-13
168.102 | 3.3871e-13
168.383 | 2.9088e-13
168.734 | 2.8978e-13
168.972 | 2.7085e-13
169.309 | 3.1776e-13
169.595 | 2.775e-13
169.891 | 2.7775e-13
170.226 | 3.0544e-13
170.512 | 3.2056e-13
170.803 | 3.3742e-13
171.088 | 3.7276e-13
171.438 | 3.3902e-13
171.713 | 3.1367e-13
172.006 | 2.247e-13
172.286 | 2.1931e-11
172.59 | 1.5131e-12
172.912 | -2.4864e-13
175.513 | 3.4631e-13
176.498 | -1.8242e-12
176.783 | 1.0553e-11
177.1 | 1.3293e-14
179.704 | 2.4361e-13
180.679 | 2.2874e-13
180.998 | 3.1985e-13
181.302 | 2.3449e-13
181.615 | 2.946e-13
181.911 | 3.1569e-13
182.186 | 2.3067e-13
182.505 | -5.942e-14
182.798 | 3.2348e-13
183.095 | 3.7652e-13
183.412 | 3.5976e-13
183.728 | 3.665e-13
183.995 | 2.8816e-13
184.296 | 3.8604e-13
184.599 | 3.8222e-13
184.903 | 3.9123e-13
185.192 | 3.8091e-13
185.5 | 4.1779e-13
185.78 | 3.8643e-13
186.13 | 3.3422e-13
186.411 | 3.8271e-13
186.719 | 4.0155e-13
187.008 | 3.962e-13
187.298 | 3.6767e-13
187.587 | 3.7802e-13
187.917 | 3.6334e-13
188.218 | 2.7513e-13
188.522 | 3.5075e-13
188.809 | 3.8874e-13
189.117 | 3.8292e-13
189.417 | 3.8137e-13
189.709 | 3.3223e-13
189.999 | 2.6568e-13
190.309 | 3.976e-13
190.605 | 4.5235e-13
190.901 | 3.6968e-13
191.209 | 3.5737e-13
191.509 | 3.0308e-13
191.8 | 3.3583e-13
192.111 | 1.0596e-13
192.403 | 4.0101e-13
192.71 | 3.6792e-13
193.005 | 2.9038e-13
193.295 | 3.2737e-13
193.603 | 3.992e-13
193.899 | 3.9484e-13
194.214 | 3.2256e-13
194.497 | 3.3387e-13
194.819 | 3.624e-13
195.097 | 3.6163e-13
195.398 | 3.5371e-13
195.687 | 2.8482e-13
195.995 | 3.5143e-13
196.287 | 3.3003e-13
196.588 | 3.5635e-13
196.918 | 3.3481e-13
197.184 | 3.3276e-13
197.474 | 3.3963e-13
197.84 | 3.2191e-13
198.111 | 3.2451e-13
198.415 | 3.0331e-13
198.712 | 2.8627e-13
199.015 | 3.0842e-13
199.322 | 3.2767e-13
199.618 | 3.2294e-13
199.924 | 2.9971e-13
200.204 | 2.9215e-13
200.486 | 2.7358e-13
200.787 | 2.7126e-13
201.089 | 2.8564e-13
201.379 | 2.702e-13
201.671 | 2.8949e-13
202 | 2.8138e-13
202.295 | 2.5491e-13
202.58 | 2.581e-13
202.89 | 2.6129e-13
203.197 | 2.5607e-13
203.481 | 2.5217e-13
203.781 | 2.5966e-13
204.116 | 2.3982e-13
204.373 | 2.533e-13
204.724 | 2.4466e-13
204.988 | 2.4396e-13
205.315 | 2.3189e-13
205.601 | 2.1265e-13
205.909 | 2.3367e-13
206.201 | 2.3271e-13
206.507 | 2.3826e-13
206.809 | 2.4654e-13
207.091 | 2.3945e-13
207.389 | 2.5317e-13
207.674 | 2.5836e-13
208.018 | 2.6051e-13
208.312 | 2.7042e-13
208.602 | 2.5436e-13
208.88 | 2.401e-13
209.179 | 2.299e-13
209.528 | 1.9941e-13
209.817 | 2.3748e-13
210.127 | 2.074e-13
210.385 | 2.5804e-13
210.731 | 2.6121e-13
210.988 | 2.6718e-13
211.304 | 1.5202e-13
211.594 | 2.6301e-13
211.909 | 2.6603e-13
212.192 | 9.341e-14
212.484 | 2.9746e-13
212.795 | 2.1434e-13
213.088 | 2.5501e-13
213.4 | 3.0097e-13
213.688 | 3.1569e-13
214.01 | 3.2979e-13
214.298 | 2.5406e-13
214.582 | 3.7816e-13
214.919 | 3.5485e-13
215.177 | 4.7783e-13
215.537 | 2.0268e-13
215.779 | 4.1148e-13
216.098 | 3.4662e-13
216.419 | 2.356e-13
216.707 | 5.9695e-13
217.014 | 5.1958e-13
217.31 | 4.4074e-13
217.619 | 3.9227e-13
217.916 | 4.2045e-13
218.214 | 4.3561e-13
218.513 | 4.1658e-13
218.798 | 4.4087e-13
219.103 | 4.0904e-13
219.393 | 3.9647e-13
219.701 | 4.7701e-13
219.994 | 5.0383e-13
220.302 | 4.5629e-13
220.586 | 1.9864e-11
220.918 | 6.3747e-12
221.171 | -1.2953e-13
223.814 | -8.9391e-13
224.811 | 4.3476e-13
225.077 | 5.3137e-13
225.407 | 5.2681e-13
225.688 | 5.3929e-13
226.012 | 5.4293e-13
226.271 | 5.5225e-13
226.59 | 5.7757e-13
226.904 | 5.7089e-13
227.203 | 5.5153e-13
227.502 | 5.6591e-13
227.814 | 5.7082e-13
228.079 | 5.6722e-13
228.383 | 5.5967e-13
228.688 | 5.5648e-13
229.013 | 5.6089e-13
229.288 | 5.5636e-13
229.585 | 5.5572e-13
229.924 | 5.3205e-13
230.176 | 5.6065e-13
230.519 | 5.4241e-13
230.789 | 5.5051e-13
231.104 | 5.3545e-13
231.395 | 5.9056e-13
231.727 | 6.1533e-13
232.021 | 6.0045e-13
232.315 | 6.0314e-13
232.613 | 6.1085e-13
232.886 | 6.0226e-13
233.212 | 6.2667e-13
233.514 | 5.959e-13
233.784 | 5.9318e-13
234.081 | 5.9491e-13
234.391 | 5.2898e-13
234.685 | 1.1513e-12
234.993 | 3.3547e-13
235.287 | 5.3875e-13
235.597 | 5.6683e-13
235.894 | 5.9639e-13
236.205 | 5.9171e-13
236.505 | 5.9153e-13
236.823 | 5.975e-13
237.083 | 5.9449e-13
237.404 | 5.9094e-13
237.712 | 5.9612e-13
237.994 | 5.7051e-13
238.292 | 5.8391e-13
238.607 | 5.7478e-13
238.894 | 5.7834e-13
239.214 | 8.0041e-13
239.505 | 4.4185e-13
239.795 | 5.4566e-13
240.122 | 5.7425e-13
240.414 | 5.4843e-13
240.691 | 5.8753e-13
240.989 | 5.6861e-13
241.318 | 5.9113e-13
241.616 | 5.6656e-13
241.913 | 5.767e-13
242.196 | 5.7198e-13
242.477 | 4.7712e-13
242.778 | 4.451e-13
243.077 | 5.9405e-13
243.41 | 6.6517e-13
243.71 | 5.9699e-13
244.01 | 6.3729e-13
244.291 | 5.8464e-13
244.589 | 5.8373e-13
244.921 | 7.2196e-13
245.22 | 7.6666e-13
245.504 | 5.9587e-13
245.804 | 5.7552e-13
246.104 | 5.2004e-13
246.389 | 4.9955e-13
246.687 | 5.6516e-13
246.99 | 5.8407e-13
247.275 | 6.0117e-13
247.61 | 6.9807e-13
247.911 | -1.4243e-12
248.212 | -1.762e-13
250.786 | 5.7293e-14
251.839 | 1.5163e-13
252.122 | 1.5818e-13
252.423 | 1.8645e-13
252.723 | 1.7879e-13
253.024 | 1.6819e-13
253.273 | 2.5002e-13
253.624 | 2.4412e-13
253.874 | 2.5281e-13
254.173 | 2.4662e-13
254.524 | 2.7162e-13
254.791 | 2.8197e-13
255.091 | 2.6939e-13
255.424 | 2.8331e-13
255.708 | 2.8617e-13
256.008 | 2.6227e-13
256.306 | 2.508e-13
256.591 | 2.4355e-13
256.89 | 2.7996e-13
257.173 | 2.9554e-13
257.507 | 3.1155e-13
257.807 | 3.1743e-13
258.106 | 3.0225e-13
258.39 | 3.208e-13
258.69 | 3.3785e-13
258.99 | 3.348e-13
259.322 | 3.5035e-13
259.608 | 3.4731e-13
259.907 | 3.4093e-13
260.205 | 3.4217e-13
260.505 | 3.553e-13
260.788 | 3.58e-13
261.089 | 3.6066e-13
261.419 | 3.6081e-13
261.715 | 3.5426e-13
261.997 | 3.6696e-13
262.296 | 3.7752e-13
262.578 | 3.5853e-13
262.913 | 3.5645e-13
263.212 | 3.7979e-13
263.511 | 3.6666e-13
263.796 | 3.8047e-13
264.095 | 3.7855e-13
264.38 | 3.6674e-13
264.715 | 3.7345e-13
265.014 | 3.5933e-13
265.315 | 3.7554e-13
265.599 | 3.5494e-13
265.901 | 3.6257e-13
266.2 | 3.4208e-13
266.484 | 3.4874e-13
266.784 | 3.4575e-13
267.118 | 3.4734e-13
267.418 | 3.5931e-13
267.719 | 3.5583e-13
268.019 | 3.4948e-13
268.319 | 3.5247e-13
268.602 | 3.4941e-13
268.902 | 3.3934e-13
269.204 | 3.4783e-13
269.505 | 3.5593e-13
269.786 | 3.4817e-13
270.088 | 3.4717e-13
270.421 | 3.4972e-13
270.672 | 3.4162e-13
270.971 | 3.6126e-13
271.321 | 3.5592e-13
271.604 | 3.5171e-13
271.904 | 3.5636e-13
272.204 | 3.6162e-13
272.502 | 3.6042e-13
272.787 | 3.4101e-13
273.089 | 3.4253e-13
273.389 | 3.5321e-13
273.672 | 3.5099e-13
273.972 | 3.6824e-13
274.323 | 3.6454e-13
274.605 | 3.582e-13
274.905 | 3.4067e-13
275.204 | 3.6303e-13
275.505 | 3.8772e-13
275.789 | 3.6473e-13
276.088 | 3.5322e-13
276.388 | 3.5395e-13
276.672 | 3.5852e-13
276.971 | 4.0385e-13
277.323 | 4.1974e-13
277.605 | 4.0716e-13
277.905 | 4.5408e-13
278.206 | 3.9743e-13
278.505 | 3.8608e-13
278.838 | 3.796e-13
279.084 | 3.5641e-13
279.435 | 3.386e-13
279.715 | 3.0129e-13
279.997 | 3.273e-13
280.296 | 3.398e-13
280.594 | 3.5954e-13
280.893 | 3.2034e-13
281.176 | 2.322e-13
281.527 | 2.8885e-13
281.794 | 3.2723e-13
282.095 | 3.331e-13
282.394 | 3.3937e-13
282.678 | 3.3096e-13
283.029 | 3.4251e-13
283.329 | 3.415e-13
283.614 | 3.2622e-13
283.915 | 3.3398e-13
284.213 | 3.2462e-13
284.498 | 3.3081e-13
284.799 | 3.3171e-13
285.1 | 3.2585e-13
285.401 | 3.1279e-13
285.685 | 3.2004e-13
286.034 | 3.1136e-13
286.285 | 3.0927e-13
286.636 | 3.0223e-13
286.888 | 3.0558e-13
287.235 | 3.0956e-13
287.471 | 3.0853e-13
287.821 | 3.0896e-13
288.071 | 3.0247e-13
288.421 | 2.9708e-13
288.721 | 2.9922e-13
289.005 | 3.0704e-13
289.305 | 2.9716e-13
289.606 | 2.8376e-13
289.889 | 2.9106e-13
290.188 | 2.9172e-13
290.489 | 3.0533e-13
290.772 | 2.9236e-13
291.072 | 2.738e-13
291.372 | 2.9894e-13
291.672 | 2.7975e-13
292.005 | 2.7507e-13
292.306 | 2.8945e-13
292.59 | 2.8569e-13
292.89 | 2.8244e-13
293.172 | 2.8314e-13
293.472 | 2.8445e-13
293.822 | 2.8418e-13
294.105 | 2.8695e-13
294.405 | 2.8433e-13
294.705 | 2.6865e-13
294.988 | 2.8547e-13
295.288 | 2.6701e-13
295.589 | 2.6993e-13
295.873 | 2.6853e-13
296.188 | 2.7838e-13
296.474 | 2.7429e-13
296.821 | 2.6562e-13
297.121 | 2.6034e-13
297.402 | 2.5759e-13
297.706 | 2.5979e-13
298.005 | 2.7219e-13
298.305 | 2.5528e-13
298.587 | 2.5589e-13
298.884 | 2.5856e-13
299.215 | 2.4619e-13
299.514 | 2.5294e-13
299.813 | 2.4636e-13
300.113 | 2.5424e-13
300.412 | 2.4662e-13
300.695 | 2.5758e-13
300.995 | 2.4819e-13
301.296 | 2.3864e-13
301.579 | 2.5594e-13
301.88 | 2.3692e-13
302.181 | 2.4536e-13
302.53 | 2.3105e-13
302.83 | 2.3931e-13
303.116 | 2.2947e-13
303.415 | 2.1919e-13
303.699 | 2.3257e-13
304 | 2.3108e-13
304.3 | 2.2815e-13
304.601 | 2.2117e-13
304.901 | 2.3197e-13
305.201 | 2.06e-13
305.485 | 2.1604e-13
305.786 | 2.1125e-13
306.102 | 2.0841e-13
306.387 | 2.0249e-13
306.719 | 1.956e-13
306.971 | 2.0666e-13
307.32 | 2.0312e-13
307.603 | 1.8309e-13
307.921 | 1.8228e-13
308.202 | 1.9136e-13
308.503 | 1.7798e-13
308.804 | 1.7454e-13
309.104 | 1.7452e-13
309.388 | 1.7143e-13
309.688 | 1.6708e-13
309.971 | 1.6203e-13
310.32 | 1.7192e-13
310.602 | 1.5762e-13
310.904 | 1.4593e-13
311.205 | 1.4111e-13
311.505 | 1.378e-13
311.787 | 1.3201e-13
312.087 | 1.3886e-13
312.387 | 1.4785e-13
312.721 | 1.2852e-13
313.02 | 1.3294e-13
313.304 | 1.4196e-13
313.605 | 1.2469e-13
313.905 | 1.2516e-13
314.186 | 1.2267e-13
314.488 | 1.2882e-13
314.788 | 1.1673e-13
315.121 | 1.1366e-13
315.389 | 1.1724e-13
315.686 | 9.6384e-14
316.037 | 9.8562e-14
316.287 | 9.0671e-14
316.571 | 9.5991e-14
316.923 | 8.6024e-14
317.206 | 8.8763e-14
317.505 | 9.407e-14
317.805 | 7.9437e-14
318.104 | 8.3278e-14
318.404 | 7.7865e-14
318.704 | 7.5331e-14
319.003 | 5.204e-14
319.288 | -4.2059e-14
321.879 | 6.2515e-14
322.881 | 5.798e-14
323.214 | 3.9846e-14
323.514 | 3.4736e-14
323.815 | 5.8349e-14
324.115 | 3.4049e-14
324.416 | 3.8481e-14
324.716 | 3.1409e-14
324.998 | 4.7413e-14
325.3 | 3.6839e-14
325.582 | 3.6869e-14
325.934 | 3.1676e-14
326.217 | 2.6064e-14
326.519 | 2.5786e-14
326.819 | 4.1794e-14
327.118 | 1.7513e-14
327.402 | 1.4517e-14
327.704 | 2.6161e-14
328.002 | 1.5599e-14
328.302 | 1.5825e-14
328.585 | 1.7637e-14
328.937 | 1.0691e-14
329.22 | 1.0458e-14
329.471 | 6.651e-15
329.804 | 1.5035e-14
330.103 | 2.696e-15
330.403 | -8.607e-15
330.704 | 2.511e-15
330.987 | 1.944e-15
331.288 | 6.807e-15
331.619 | -4.846e-15
331.922 | -9.266e-15
332.22 | -5.88e-16
332.521 | -7.9e-15
332.804 | -6.85e-15
333.103 | -2.1945e-14
333.404 | -2.2197e-14
333.704 | -9.207e-15
334.004 | 2.99e-16
334.304 | 5.283e-15
334.605 | -1.5835e-14
334.888 | -2.0679e-14
335.188 | -1.7014e-14
335.487 | -1.4912e-14
335.788 | -2.0078e-14
336.088 | -2.2945e-14
336.422 | -1.9476e-14
336.671 | -1.7081e-14
336.971 | -2.904e-14
337.272 | -2.8977e-14
337.571 | -3.3558e-14
337.871 | -3.8557e-14
338.205 | -3.444e-14
338.505 | -2.9915e-14
338.805 | -3.3364e-14
339.089 | -3.5722e-14
339.405 | -4.254e-14
339.688 | -4.8345e-14
339.989 | -3.6307e-14
340.288 | -3.5239e-14
340.587 | -4.9989e-14
340.888 | -4.829e-14
341.172 | -4.6926e-14
341.505 | -4.0562e-14
341.806 | -4.177e-14
342.106 | -4.9158e-14
342.405 | -6.2684e-14
342.706 | -4.839e-14
343.006 | -5.0777e-14
343.307 | -4.6966e-14
343.606 | -5.478e-14
343.891 | -5.7766e-14
344.191 | -6.4681e-14
344.49 | -6.0478e-14
344.79 | -6.5639e-14
345.073 | -6.7906e-14
345.375 | -7.2861e-14
345.672 | -6.6514e-14
346.022 | -7.1359e-14
346.303 | -6.8952e-14
346.601 | -7.9484e-14
346.901 | -6.9427e-14
347.199 | -7.2424e-14
347.481 | -6.8316e-14
347.782 | -7.3715e-14
348.114 | -7.5383e-14
348.414 | -7.9634e-14
348.714 | -8.9037e-14
349.014 | -7.8767e-14
349.314 | -8.6349e-14
349.598 | -9.1122e-14
349.899 | -8.5031e-14
350.199 | -9.3249e-14
350.481 | -9.2708e-14
350.78 | 7.4132e-13
351.082 | 9.7992e-13
351.434 | 4.5051e-14
351.717 | -9.8538e-14
352.017 | -1.4339e-13
352.317 | -1.3131e-13
352.617 | -1.3966e-13
352.916 | -1.4637e-13
353.218 | -6.7306e-14
353.519 | -6.2233e-14
353.803 | -6.4869e-13
354.102 | -2.8659e-13
356.718 | 3.2924e-14
357.718 | -1.3955e-13
358.019 | -2.6303e-13
358.303 | -2.1064e-13
358.603 | -1.7176e-13
358.901 | -1.5613e-13
359.185 | -1.5218e-13
359.486 | -1.4023e-13
359.835 | -1.3854e-13
360.118 | -1.4612e-13
360.419 | -1.4932e-13
360.719 | -1.3835e-13
361.019 | -1.5207e-13
361.318 | -1.4681e-13
361.618 | -1.5988e-13
361.92 | -1.4352e-13
362.219 | -1.5435e-13
362.501 | -1.5517e-13
362.817 | -1.516e-13
363.101 | -1.4944e-13
363.401 | -1.6252e-13
363.701 | -1.5617e-13
363.984 | -1.5462e-13
364.284 | -1.5214e-13
364.634 | -1.4853e-13
364.917 | -1.6636e-13
365.219 | -1.5737e-13
365.518 | -1.5365e-13
365.817 | -1.5233e-13
366.118 | -1.7219e-13
366.402 | -1.7364e-13
366.702 | -2.2007e-13
367.004 | -1.8917e-13
367.303 | -1.6726e-13
367.603 | -1.6545e-13
367.886 | -1.7185e-13
368.186 | -1.6846e-13
368.485 | -1.6862e-13
368.786 | -1.6996e-13
369.135 | -1.7401e-13
369.42 | -1.708e-13
369.717 | -1.693e-13
370.019 | -1.7632e-13
370.302 | -1.832e-13
370.601 | -1.7757e-13
370.902 | -1.7091e-13
371.203 | -1.7879e-13
371.501 | -1.7897e-13
371.803 | -1.8059e-13
372.102 | -1.9289e-13
372.402 | -1.8816e-13
372.703 | -1.848e-13
372.987 | -1.8053e-13
373.287 | -1.8914e-13
373.635 | -1.8926e-13
373.919 | -1.9129e-13
374.218 | -1.9347e-13
374.534 | -1.983e-13
374.818 | -1.9541e-13
375.117 | -2.0288e-13
375.417 | -1.9601e-13
375.717 | -1.9138e-13
376.001 | -1.8727e-13
376.299 | -2.0766e-13
376.602 | -2.1004e-13
376.901 | -2.0584e-13
377.201 | -2.0645e-13
377.485 | -1.98e-13
377.786 | -2.0609e-13
378.118 | -1.9637e-13
378.419 | -2.1e-13
378.719 | -2.0396e-13
379.018 | -2.0397e-13
379.32 | -2.0295e-13
379.617 | -2.0468e-13
379.917 | -2.0721e-13
380.216 | -1.8805e-13