## Settings
Sample Info | v16m20, irr., run 16
Sample Description | -10/-10/+1
Major Measurement Parameters
Starting Temperature | 333.552
Initial Temperature | 80.5
Final Temperature | 380
Preliminary Voltage | -10
Pulse Voltage | -10
Pulse Time | 20
Measurement Voltage | 1
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keysight EM Parameters
NPLC | 7
Measurecount | 1
Time
Date | 24.10.2023
clock | 17:34:8

## Stabilization
Temperature | Current
332.669 | -3.49e-08
330.476 | -4.8948e-12
329.283 | -3.7149e-12
328.2 | -3.0746e-12
327.088 | -2.5835e-12
325.951 | -2.1952e-12
324.876 | -1.984e-12
323.708 | -1.8471e-12
322.652 | -1.8355e-12
321.458 | -1.5827e-12
320.409 | -1.5638e-12
319.225 | -1.5096e-12
318.206 | -1.4469e-12
317.009 | -1.2498e-12
316.085 | -1.0811e-12
314.802 | -1.1658e-12
313.82 | -1.1459e-12
312.734 | -9.9462e-13
311.75 | -1.147e-12
310.617 | -1.2396e-12
309.566 | -9.8089e-13
308.417 | -9.4831e-13
307.386 | -7.1163e-13
306.355 | -8.1215e-13
305.236 | -1.0735e-12
304.258 | -1.0348e-12
303.091 | -1.2103e-12
302.142 | -1.1265e-12
300.978 | -1.5515e-12
299.841 | -2.2859e-11
298.794 | -2.3157e-12
297.736 | -1.0675e-12
296.78 | -7.6136e-12
295.614 | -2.2004e-12
294.671 | -1.111e-12
293.574 | -9.1527e-13
292.653 | -8.8808e-13
291.577 | -1.3112e-12
290.653 | -1.0108e-12
289.593 | -1.0204e-12
288.716 | -1.0499e-12
287.685 | -1.3028e-12
286.703 | -1.2655e-12
285.711 | -6.3076e-13
284.816 | -1.3511e-12
283.962 | -1.3534e-12
282.932 | -1.4792e-12
281.978 | -1.1448e-12
281.123 | -1.092e-12
280.211 | -1.4489e-12
279.34 | -1.2994e-12
278.516 | -1.4439e-12
277.596 | -1.4585e-12
276.817 | -1.7437e-12
275.914 | -1.167e-12
275.107 | -1.3865e-12
273.567 | -1.1969e-12
272.696 | -1.4042e-12
271.866 | -1.6443e-12
271.059 | -1.6521e-12
270.202 | -1.325e-12
269.526 | -1.9659e-12
268.625 | -1.6313e-12
267.954 | -1.3701e-12
267.053 | -1.5409e-12
266.458 | -1.2844e-12
265.547 | -1.2691e-12
264.925 | -1.5091e-12
264.044 | -1.3103e-12
263.357 | -2.0592e-12
262.558 | -1.539e-12
261.773 | -1.7884e-12
261.011 | -1.4081e-12
260.128 | -1.6012e-12
259.549 | -2.0983e-12
258.652 | -1.4748e-12
258.148 | -1.1906e-12
257.419 | -1.6782e-12
256.774 | -1.5295e-12
256.186 | -1.3125e-12
255.4 | -1.7029e-12
254.943 | -1.5578e-12
254.145 | -1.4817e-12
253.573 | -1.9216e-12
252.913 | -1.4619e-12
252.246 | -1.42e-12
251.811 | -1.2899e-12
251.094 | -1.5184e-12
250.662 | -1.2787e-12
249.972 | -1.9047e-12
249.393 | -1.4978e-12
249.003 | -1.6921e-12
248.345 | -1.5263e-12
247.942 | -1.4878e-12
247.356 | -1.4276e-12
246.808 | -8.16e-13
246.417 | -1.2034e-12
245.712 | -1.3224e-12
245.282 | -1.5549e-12
244.77 | -1.5255e-12
244.158 | -1.462e-12
243.83 | -1.2428e-12
243.311 | -1.3246e-12
242.816 | -1.4328e-12
242.452 | -1.352e-12
241.899 | -1.2135e-12
241.587 | -1.2233e-12
241.328 | -1.1973e-12
241.04 | -1.1131e-12
240.747 | -1.1912e-12
240.52 | -1.2197e-12
240.278 | -1.3853e-12
239.812 | -1.3281e-12
239.403 | -6.6908e-13
239.159 | -1.2275e-12
238.904 | -1.1011e-12
238.585 | -1.2773e-12
238.197 | -8.5072e-13
237.784 | -9.9608e-13
237.283 | -9.8166e-13
236.839 | -1.1263e-12
236.555 | -1.1744e-12
236.317 | -9.1258e-13
236.073 | -8.693e-13
235.821 | -9.7877e-13
235.564 | -1.0854e-12
235.163 | -8.7904e-13
234.816 | -9.2824e-13
234.56 | -7.5316e-13
234.331 | -1.1787e-12
234.101 | -1.8663e-12
233.879 | -7.5996e-13
233.66 | -6.8184e-13
233.419 | -9.7006e-13
233.183 | -1.0081e-12
232.949 | -7.8665e-13
232.698 | -8.115e-13
232.421 | -8.1573e-13
232.169 | -7.9882e-13
231.92 | -1.1051e-12
231.681 | -9.0051e-13
231.43 | -9.0903e-13
230.214 | -8.7072e-13
229.924 | -8.2204e-13
229.648 | -8.2861e-13
229.316 | -8.4137e-13
228.995 | -8.4081e-13
228.709 | -8.2434e-13
228.428 | -7.9136e-13
228.122 | -8.1471e-13
227.833 | -8.094e-13
227.541 | -7.847e-13
227.176 | -9.3923e-13
226.88 | -7.6808e-13
226.587 | -7.7299e-13
226.28 | -7.7635e-13
226.014 | -7.801e-13
225.719 | -8.0366e-13
225.416 | -8.1493e-13
225.131 | -7.7563e-13
224.836 | -8.289e-13
224.531 | -8.1027e-13
224.181 | -7.5502e-13
223.875 | -8.7196e-13
223.54 | -8.4428e-13
223.184 | -8.612e-13
222.852 | -8.1354e-13
222.561 | -6.928e-13
222.227 | -7.205e-13
221.927 | -7.623e-13
221.623 | -7.8464e-13
221.323 | -9.1337e-13
221.021 | -8.3415e-13
220.721 | -7.0835e-13
220.415 | -7.5978e-13
220.106 | -7.48e-13
219.685 | -7.4591e-13
219.332 | -7.9936e-13
219.024 | -7.5886e-13
218.721 | -7.8396e-13
218.41 | -7.7551e-13
218.106 | -7.762e-13
217.77 | -7.794e-13
217.463 | -7.2424e-13
217.158 | -7.5274e-13
216.848 | -7.7114e-13
216.544 | -7.7762e-13
216.237 | -7.433e-13
215.898 | -7.4494e-13
215.549 | -7.7538e-13
215.252 | -7.8048e-13
214.912 | -7.7588e-13
214.602 | -7.7645e-13
214.288 | -7.6843e-13
213.982 | -8.2182e-13
213.667 | -7.4658e-13
213.354 | -7.9318e-13
213.02 | -7.8997e-13
212.709 | -7.1325e-13
212.392 | -7.5072e-13
212.068 | -9.2019e-13
211.751 | -6.5144e-13
211.435 | -6.8346e-13
211.125 | -7.6054e-13
210.812 | -7.5256e-13
210.463 | -7.9086e-13
210.143 | -7.7036e-13
209.828 | -7.4887e-13
209.513 | -7.5934e-13
209.203 | -7.3754e-13
208.897 | -7.9061e-13
208.571 | -7.4473e-13
208.266 | -7.6546e-13
207.965 | -7.8552e-13
207.656 | -6.9405e-13
207.352 | -7.66e-13
207.046 | -7.25e-13
206.736 | -7.2922e-13
206.43 | -7.4525e-13
206.121 | -7.2244e-13
205.81 | -7.3958e-13
205.507 | -7.5186e-13
205.204 | -7.3817e-13
204.903 | -7.3425e-13
204.601 | -7.4363e-13
204.301 | -7.1408e-13
203.977 | -7.2701e-13
203.669 | -7.1694e-13
203.371 | -7.0259e-13
203.063 | -7.7408e-13
202.73 | -7.3771e-13
202.414 | -7.1373e-13
202.083 | -6.8188e-13
201.765 | -7.4159e-13
201.453 | -7.3222e-13
201.126 | -6.8613e-13
200.788 | -7.1719e-13
200.473 | -7.0559e-13
200.076 | -8.8405e-13
199.666 | -7.5275e-13
199.354 | -7.1102e-13
199.052 | -6.1413e-13
198.731 | -6.1835e-13
198.391 | -6.6265e-13
198.065 | -6.7064e-13
197.714 | -6.9059e-13
197.359 | -6.93e-13
197.004 | -6.6837e-13
196.697 | -7.09e-13
196.389 | -6.7715e-13
196.085 | -6.3453e-13
195.775 | -6.6902e-13
195.467 | -7.0583e-13
195.167 | -6.5235e-13
194.838 | -6.6488e-13
194.46 | -6.8207e-13
194.129 | -6.0243e-13
193.828 | -6.6156e-13
193.488 | -6.746e-13
193.167 | -6.7301e-13
192.869 | -6.4534e-13
192.557 | -6.6392e-13
192.23 | -6.9988e-13
191.924 | -6.4199e-13
191.625 | -6.1818e-13
191.3 | -6.1218e-13
190.967 | -6.3208e-13
190.667 | -6.2329e-13
190.352 | -6.0495e-13
190.015 | -6.3035e-13
189.705 | -5.9877e-13
189.402 | -6.1349e-13
189.107 | -6.2115e-13
188.815 | -6.3534e-13
188.505 | -6.1417e-13
188.194 | -6.1005e-13
187.901 | -5.8776e-13
187.613 | -6.2955e-13
187.308 | -6.0903e-13
187.006 | -6.1141e-13
186.714 | -6.0121e-13
186.403 | -6.2332e-13
186.113 | -6.3228e-13
185.83 | -5.9666e-13
185.544 | -5.2274e-13
185.256 | -5.2789e-13
184.969 | -6.2017e-13
184.686 | -6.1576e-13
184.397 | -5.7077e-13
184.113 | -5.7081e-13
183.816 | -5.79e-13
183.528 | -5.6642e-13
183.24 | -5.7286e-13
182.944 | -5.6554e-13
182.656 | -5.6514e-13
182.377 | -5.9515e-13
182.085 | -5.3649e-13
181.804 | -5.7678e-13
181.513 | -5.65e-13
181.201 | -5.797e-13
180.836 | -5.4003e-13
180.506 | -5.2952e-13
180.205 | -5.3545e-13
179.917 | -5.0086e-13
179.622 | -5.1988e-13
179.291 | -5.532e-13
178.955 | -5.4486e-13
178.637 | -5.0531e-13
178.265 | -5.6752e-13
177.909 | -5.7355e-13
177.549 | -5.1778e-13
177.2 | -5.358e-13
176.809 | -5.8277e-13
176.465 | -5.5435e-13
176.155 | -5.1027e-13
175.838 | -5.7376e-13
175.534 | -5.6688e-13
175.203 | -5.2281e-13
174.884 | -5.3098e-13
174.559 | -5.6603e-13
174.248 | -5.4718e-13
173.928 | -5.9463e-13
173.596 | -5.2784e-13
173.262 | -5.0655e-13
172.842 | -5.0596e-13
172.439 | -5.3154e-13
171.992 | -5.5815e-13
171.557 | -4.9619e-13
171.129 | -5.4232e-13
170.706 | -5.1793e-13
170.274 | -5.6523e-13
169.878 | -5.3323e-13
169.482 | -5.3091e-13
169.117 | -6.1674e-13
168.785 | -5.2588e-13
168.417 | -4.9732e-13
168.056 | -5.4704e-13
167.725 | -5.1645e-13
167.417 | -4.9901e-13
167.108 | -5.1119e-13
166.839 | -5.2986e-13
166.583 | -5.1641e-13
166.333 | -5.6535e-13
166.093 | -4.924e-13
165.859 | -4.999e-13
165.627 | -4.4101e-13
165.397 | -4.6309e-13
165.162 | -4.6257e-13
164.919 | -4.8847e-13
164.679 | -4.8292e-13
164.427 | -5.141e-13
164.168 | -4.8455e-13
163.871 | -4.5809e-13
163.567 | -4.3787e-13
163.264 | -4.3741e-13
162.962 | -4.8683e-13
162.674 | -4.5047e-13
162.408 | -4.0101e-13
162.151 | -4.6187e-13
161.9 | -4.4776e-13
161.651 | -4.4767e-13
161.405 | -4.1971e-13
161.031 | -4.3736e-13
160.751 | -4.0905e-13
160.514 | -4.4293e-13
160.283 | -4.0045e-13
160.049 | -4.4821e-13
159.812 | -4.5757e-13
159.567 | -4.3832e-13
159.317 | -4.2175e-13
159.048 | -3.9616e-13
158.752 | -4.4137e-13
158.49 | -3.959e-13
158.224 | -4.3136e-13
157.959 | -3.8907e-13
157.707 | -3.9141e-13
157.454 | -4.1308e-13
157.158 | -4.4331e-13
156.882 | -4.1436e-13
156.582 | -3.534e-13
156.295 | -3.418e-13
155.995 | -4.4089e-13
155.737 | -4.1295e-13
155.483 | -3.7321e-13
155.215 | -3.771e-13
154.973 | -3.6836e-13
154.732 | -3.3334e-13
154.491 | -3.8145e-13
154.258 | -4.1527e-13
154.032 | -3.4372e-13
153.812 | -3.8355e-13
153.599 | -3.4529e-13
153.389 | -3.4106e-13
153.187 | -3.7775e-13
152.988 | -4.4674e-13
152.787 | -4.5171e-13
152.573 | -3.6929e-13
152.38 | -4.0408e-13
152.186 | -4.1111e-13
151.998 | -3.5861e-13
151.813 | -3.4297e-13
151.632 | -4.353e-13
151.443 | -3.4872e-13
151.269 | -3.7253e-13
151.089 | -3.7711e-13
150.908 | -3.6251e-13
150.723 | -3.9383e-13
150.542 | -3.9386e-13
150.35 | -2.9338e-13
150.154 | -3.2138e-13
149.941 | -3.1929e-13
149.726 | -3.0807e-13
149.476 | -3.7403e-13
149.258 | -3.6931e-13
149.03 | -3.4637e-13
148.811 | -3.2138e-13
148.598 | -2.5675e-13
148.388 | -2.9501e-13
148.179 | -2.4151e-13
147.958 | -2.9838e-13
147.712 | -2.9749e-13
147.495 | -3.89e-13
147.249 | -2.9471e-13
146.983 | -4.267e-13
146.556 | -2.9e-13
146.108 | -3.108e-13
145.765 | -2.769e-13
145.472 | -3.1773e-13
145.206 | -3.3142e-13
144.957 | -3.2508e-13
144.723 | -3.3886e-13
144.502 | -3.9594e-13
144.298 | -3.1205e-13
144.101 | -2.6064e-13
143.894 | -2.8878e-13
143.707 | -3.26e-13
143.528 | -4.0204e-13
143.349 | -3.0253e-13
143.176 | -3.0039e-13
142.978 | -3.4508e-13
142.779 | -3.0182e-13
142.551 | -3.6491e-13
142.354 | -2.9258e-13
142.154 | -2.5789e-13
141.935 | -3.3906e-13
141.658 | -2.9255e-13
141.335 | -2.7281e-13
140.973 | -2.8686e-13
140.567 | -2.6508e-13
140.174 | -3.2829e-13
139.821 | -3.3472e-13
139.506 | -3.5674e-13
139.247 | -3.4794e-13
139.009 | -2.902e-13
138.78 | -2.9606e-13
138.529 | -2.69e-13
138.197 | -3.1941e-13
137.812 | -4.103e-13
137.382 | -4.7478e-13
136.957 | -5.3996e-13
136.568 | -5.055e-13
136.228 | -6.6271e-13
135.926 | -4.6079e-13
135.621 | -6.2267e-14
135.28 | -5.024e-13
134.978 | -3.2933e-13
134.646 | -3.7642e-13
134.314 | -2.8418e-13
133.943 | -3.3441e-13
133.592 | -3.5901e-13
133.167 | -3.3356e-13
132.746 | -2.8795e-13
132.338 | -2.824e-13
131.916 | -3.4715e-13
131.496 | -2.3121e-13
131.066 | -2.4802e-13
130.667 | -3.5851e-13
130.309 | -2.8399e-13
129.977 | -3.4748e-13
129.554 | -3.4847e-13
129.127 | -4.3379e-13
128.709 | -3.9144e-13
128.34 | -4.0213e-13
127.982 | -2.8232e-13
127.608 | -3.9273e-13
127.154 | -3.559e-13
126.287 | -3.335e-13
125.776 | -4.4674e-13
125.321 | -4.8293e-13
124.852 | -6.0516e-13
124.401 | -3.7101e-13
123.927 | -4.5001e-13
123.465 | -2.298e-13
122.949 | -2.1519e-13
122.015 | -4.8054e-13
121.482 | -7.6703e-12
120.989 | -9.4579e-12
120.492 | -3.479e-13
119.985 | -1.1088e-12
119.557 | 2.1032e-12
119.119 | -3.4634e-12
118.769 | 3.2417e-12
118.377 | -4.0763e-13
115.916 | -9.9153e-14
115.332 | -7.3663e-14
114.685 | -6.6734e-14
114.036 | -5.7524e-14
113.256 | -5.5233e-14
112.493 | -6.1269e-14
111.692 | -5.7031e-14
110.95 | -5.5733e-14
110.274 | -5.3853e-14
109.787 | -5.8244e-14
109.423 | -5.2398e-14
109.129 | -4.7773e-14
108.865 | -4.5214e-14
108.642 | -4.6751e-14
108.349 | -4.5157e-14
107.991 | -4.1612e-14
107.597 | -4.1327e-14
107.186 | -4.7201e-14
106.729 | -4.4853e-14
106.336 | -4.5426e-14
105.929 | -3.3684e-14
105.564 | -3.6814e-14
105.225 | -3.4014e-14
104.837 | -4.4285e-14
104.471 | -3.8252e-14
104.068 | -4.7791e-13
103.518 | -1.7822e-14
102.863 | 2.4867e-13
102.352 | -2.2805e-13
101.991 | -1.8108e-13
101.738 | -7.0664e-14
101.478 | -1.36e-13
101.07 | -3.3346e-14
100.617 | -2.1226e-14
100.26 | 9.5061e-14
99.9442 | 3.1361e-14
99.6228 | -3.9e-16
99.0927 | -3.4659e-14
98.4213 | 6.4035e-14
97.6409 | 2.2713e-13
97.1869 | -1.2258e-13
96.7128 | 2.5846e-13
96.2683 | -5.2476e-13
95.7941 | -3.5031e-13
95.4794 | -1.4724e-13
95.0353 | -4.2109e-14
94.3928 | -1.5928e-14
93.7482 | -4.576e-15
93.173 | 4.6e-16
92.2606 | 2.998e-15
91.7013 | -9.3435e-14
91.2938 | -5.912e-13
91.0299 | 2.2451e-13
90.5421 | -6.1762e-14
89.0447 | -2.2246e-13
87.9543 | 1.0943e-12
87.0044 | 4.7041e-13
86.9646 | 2.016e-13
86.7316 | 8.8384e-14
86.7701 | 3.9707e-14
86.8166 | 1.7762e-14
86.7554 | 1.0339e-14
85.6525 | 6.054e-15
85.0339 | 5.309e-15
84.1007 | 4.377e-15
82.995 | 3.546e-15
82.1886 | 2.539e-15
81.8769 | 2.493e-15
81.8498 | 2.205e-15
81.9441 | 2.122e-15
82.0691 | 2.368e-15
81.8957 | 2.93e-15
81.5354 | 3.744e-15
81.1104 | 4.254e-15
80.7517 | 4.52e-15
80.4896 | 4.388e-15
80.3291 | 3.138e-15
80.2171 | 2.719e-15
80.1368 | 2.175e-15
80.1042 | 1.98e-15
80.0876 | 1.86e-15
80.074 | 2.011e-15
80.0565 | 2.703e-15
80.0459 | 3.063e-15

## Measurements
Temperature | Current
80.0565 | 6.6073e-13
80.2992 | 9.3426e-13
80.5525 | 3.702e-12
80.788 | 3.3725e-12
81.0906 | 2.6722e-12
81.4286 | 3.499e-12
81.7039 | 3.3351e-12
82.0086 | 3.2866e-12
82.2737 | 3.2598e-12
82.5861 | 4.5016e-12
82.8944 | 2.3462e-12
83.1622 | -4.5216e-14
85.7593 | 2.821e-15
86.7639 | 3.956e-15
87.0824 | 3.333e-15
87.3763 | 3.026e-15
87.6885 | 3.224e-15
87.9732 | 2.628e-15
88.2964 | 3.273e-15
88.6687 | 2.313e-15
89.1398 | 2.543e-15
89.5946 | 2.605e-15
91.9244 | 1.172e-15
92.918 | 1.2e-15
93.2195 | 1.702e-15
93.4919 | 1.514e-15
93.711 | 2.351e-15
94.0383 | 2.789e-15
94.3762 | 4.447e-15
94.6925 | 4.353e-15
94.8991 | 4.763e-15
95.1882 | 4.762e-15
95.5295 | 4.898e-15
95.8017 | 3.957e-15
96.0729 | 3.419e-15
96.4124 | 3.597e-15
96.7052 | 4.09e-15
96.99 | 3.071e-15
97.3232 | 3.203e-15
97.5947 | 3.94e-15
97.8628 | 3.743e-15
98.2195 | 3.54e-15
98.5304 | 3.564e-15
98.7686 | 3.563e-15
99.0883 | 4.899e-15
99.4191 | 4.836e-15
99.6907 | 3.855e-15
100.027 | 2.873e-15
100.316 | 2.431e-15
100.579 | 2.581e-15
100.879 | 3.167e-15
101.22 | 3.821e-15
101.462 | 3.673e-15
101.79 | 2.873e-15
102.073 | 3.611e-15
102.376 | 3.322e-15
102.664 | 4.373e-15
103.012 | 5.517e-15
103.268 | 3.729e-15
103.597 | 3.328e-15
103.896 | 4.631e-15
104.191 | 3.958e-15
104.503 | 4.04e-15
104.8 | 4.924e-15
105.105 | 3.67e-15
105.404 | 3.316e-15
105.685 | 3.177e-15
105.992 | 3.345e-15
106.286 | 3.168e-15
106.563 | 3.29e-15
106.878 | 3.204e-15
107.216 | 2.993e-15
107.48 | 2.963e-15
107.777 | 6.308e-15
108.074 | 8.278e-15
108.389 | 4.819e-15
108.677 | 3.3e-15
108.968 | 2.974e-15
109.3 | 3.8e-15
109.584 | 3.27e-15
109.882 | 3.635e-15
110.202 | 3.978e-15
110.488 | 3.475e-15
110.799 | 3.391e-15
111.087 | 3.895e-15
111.362 | 7.856e-15
111.703 | 4.13e-15
111.995 | 3.435e-15
112.312 | 3.48e-15
112.569 | 3.893e-15
112.9 | 3.521e-15
113.223 | 2.823e-15
113.501 | 2.579e-15
113.868 | 2.487e-15
114.085 | 3.51e-15
114.377 | 3.969e-15
114.702 | 3.162e-15
115.025 | 3.065e-15
115.299 | 2.971e-15
115.636 | 2.661e-15
115.933 | 2.948e-15
116.257 | 2.614e-15
116.475 | 2.843e-15
116.786 | 2.934e-15
117.071 | 1.494e-15
117.421 | 4.666e-15
117.741 | 3.594e-15
117.983 | 2.153e-15
118.273 | 4.195e-15
118.603 | 3.57e-15
118.896 | 4.888e-15
119.167 | 2.1255e-14
119.465 | -1.5202e-14
119.793 | 2.105e-15
120.13 | 2.485e-15
120.408 | 3.174e-15
120.721 | 4.409e-15
121.028 | 7.264e-15
121.268 | 1.501e-15
121.595 | 2.174e-15
121.912 | 2.155e-15
122.194 | 1.827e-15
122.501 | 2.222e-15
122.834 | 2.253e-15
123.145 | 2.138e-15
123.427 | 2.158e-15
123.755 | 1.893e-15
124.004 | 1.614e-15
124.361 | 3.909e-15
124.586 | -5.34e-15
124.893 | -7.03e-16
125.226 | 1.509e-15
125.466 | 2.654e-15
125.793 | 3.688e-15
126.107 | 3.175e-15
126.375 | 2.499e-15
126.695 | 2.587e-15
126.981 | 2.766e-15
127.296 | 1.779e-15
127.582 | 2.505e-15
127.869 | 2.567e-15
128.212 | 2.409e-15
128.486 | 2.532e-15
128.779 | 2.76e-15
129.061 | 2.541e-15
129.381 | 2.128e-15
129.689 | 2.061e-15
129.971 | 3.86e-15
130.261 | 2.722e-15
130.609 | 1.862e-15
130.879 | 4.729e-15
131.166 | 5.887e-15
131.503 | 5.971e-15
131.789 | -2.689e-15
132.111 | 4.17e-15
132.366 | 3.553e-15
132.662 | 2.371e-15
132.988 | 2.556e-15
133.299 | 2.251e-15
133.58 | 2.077e-15
133.906 | 1.042e-15
134.21 | 4.282e-15
134.473 | 4.159e-15
134.861 | 2.98e-15
135.085 | 1.762e-15
135.395 | 1.579e-15
135.671 | 2.527e-15
135.999 | 2.427e-15
136.295 | 2.363e-15
136.578 | 1.822e-15
136.901 | 2.497e-15
137.184 | 2.618e-15
137.504 | 2.501e-15
137.792 | 2.74e-15
138.065 | 2.545e-15
138.401 | 2.599e-15
138.706 | 2.498e-15
138.983 | 2.797e-15
139.317 | 2.874e-15
139.577 | 3.131e-15
139.881 | 3.481e-15
140.221 | 3.218e-15
140.483 | 2.672e-15
140.804 | 2.802e-15
141.118 | 2.77e-15
141.425 | 2.892e-15
141.704 | 2.944e-15
142.013 | 2.608e-15
142.291 | 2.724e-15
142.578 | 3.151e-15
142.906 | 3.215e-15
143.166 | 2.701e-15
143.467 | 3.057e-15
143.774 | 2.891e-15
144.072 | 3.338e-15
144.394 | 2.934e-15
144.7 | 3.173e-15
144.988 | 2.25e-15
145.293 | 2.816e-15
145.567 | 2.207e-15
145.899 | 4.421e-15
146.189 | 5.393e-15
146.481 | 5.864e-15
146.772 | 4.529e-15
147.07 | 3.878e-15
147.409 | 4.649e-15
147.686 | 3.709e-14
147.973 | -4.4537e-14
150.6 | 1.419e-15
151.596 | 3.255e-15
151.894 | 3.084e-15
152.179 | 4.179e-15
152.485 | 3.574e-15
152.799 | 3.603e-15
153.109 | 8.358e-15
153.382 | 4.1096e-14
153.672 | -3.2831e-14
153.999 | -8.092e-15
154.275 | -5.05e-16
154.597 | -4.8e-16
154.911 | 2.176e-15
155.21 | 2.019e-15
155.508 | 2.462e-15
155.777 | 3.349e-15
156.123 | 2.878e-15
156.418 | 1.986e-15
156.69 | 3.501e-15
157.008 | 3.635e-15
157.291 | 2.877e-15
157.572 | 2.682e-15
157.902 | 2.838e-15
158.16 | -2.374e-15
158.481 | -9.205e-15
158.78 | 1.113e-14
159.092 | 1.3681e-14
159.402 | 5.395e-15
159.707 | 3.32e-15
159.994 | 3.443e-15
160.28 | 5.452e-15
160.565 | 4.109e-15
160.883 | 3.508e-15
161.215 | 3.079e-15
161.495 | 3.363e-15
161.792 | 3.07e-15
162.121 | 2.943e-15
162.398 | 2.938e-15
162.691 | 2.592e-15
162.982 | 2.714e-15
163.259 | 2.489e-15
163.618 | 2.622e-15
163.893 | 2.989e-15
164.168 | 2.91e-15
164.508 | 2.459e-15
164.783 | 2.604e-15
165.122 | 2.674e-15
165.398 | 2.679e-15
165.689 | 3.055e-15
165.967 | 2.972e-15
166.287 | 3.037e-15
166.595 | 2.821e-15
166.876 | 2.736e-15
167.199 | 3.058e-15
167.493 | 2.897e-15
167.775 | 3.203e-15
168.105 | 2.604e-15
168.407 | 2.512e-15
168.688 | 2.965e-15
168.972 | 2.672e-15
169.315 | 2.805e-15
169.595 | 2.473e-15
169.876 | 2.793e-15
170.22 | 2.743e-15
170.499 | 2.436e-15
170.789 | 2.083e-15
171.064 | 2.208e-15
171.386 | 2.606e-15
171.681 | 2.77e-15
171.977 | 2.299e-15
172.306 | 2.178e-15
172.603 | 2.172e-15
172.882 | 2.43e-15
173.179 | 2.337e-15
173.462 | 2.343e-15
173.812 | 1.914e-15
174.095 | 2.155e-15
174.375 | 1.508e-15
174.708 | 1.982e-15
175.005 | 2.291e-15
175.29 | 2.089e-15
175.588 | 1.835e-15
175.887 | 1.782e-15
176.17 | 2.518e-15
176.468 | 2.207e-15
176.848 | 1.783e-15
177.065 | 1.855e-15
177.397 | 1.817e-15
177.679 | 2.132e-15
177.976 | 2.194e-15
178.279 | 2.098e-15
178.607 | 1.772e-15
178.891 | 1.761e-15
179.196 | 2.183e-15
179.477 | 1.988e-15
179.778 | 2.133e-15
180.059 | 2.259e-15
180.408 | 2.686e-15
180.699 | 2.596e-15
181.003 | 2.383e-15
181.28 | 2.439e-15
181.577 | 2.353e-15
181.862 | 2.269e-15
182.164 | 2.402e-15
182.497 | 2.244e-15
182.797 | 1.971e-15
183.096 | 2.616e-15
183.381 | 2.532e-15
183.682 | 2.378e-15
183.979 | 2.902e-15
184.261 | 2.507e-15
184.61 | 2.514e-15
184.889 | 2.882e-15
185.184 | 3.236e-15
185.479 | 2.521e-15
185.764 | 3.037e-15
186.094 | 2.892e-15
186.391 | 2.75e-15
186.691 | 2.634e-15
186.973 | 2.717e-15
187.259 | 2.6473e-11
187.602 | 1.2045e-10
187.905 | 3.6613e-10
188.203 | 5.3983e-11
188.488 | 1.3253e-11
188.786 | 5.9052e-11
189.084 | 1.5766e-10
189.384 | 2.1752e-10
189.67 | 4.047e-10
189.976 | 9.8332e-10
190.401 | 3.9211e-10
190.604 | 1.4683e-10
190.901 | 2.2816e-11
191.187 | 2.6745e-11
191.487 | 1.4892e-11
191.798 | 3.7325e-12
192.094 | 3.2671e-12
192.404 | 2.3174e-12
192.708 | 3.7063e-12
193.013 | 2.7384e-12
195.59 | 3.7273e-12
196.578 | 5.3518e-12
196.876 | 6.5375e-11
197.189 | 1.5028e-10
197.487 | 3.8027e-12
197.781 | 7.8591e-11
198.08 | 9.3839e-12
198.363 | 9.6659e-12
198.708 | 2.6506e-13
201.285 | 4.6424e-14
202.285 | 7.65e-15
202.567 | 4.082e-15
202.866 | 3.074e-15
203.197 | 1.957e-15
203.503 | 2.315e-15
203.787 | 2.005e-15
204.104 | 1.987e-15
204.421 | 1.741e-15
204.703 | 1.943e-15
204.999 | 2.057e-15
205.297 | 2.089e-15
205.597 | 2.284e-15
205.898 | 2.176e-15
206.197 | 2.161e-15
206.48 | 1.876e-15
206.799 | 2.334e-15
207.1 | 2.138e-15
207.402 | 2.288e-15
207.698 | 2.317e-15
207.997 | 2.233e-15
208.315 | 2.422e-15
208.564 | 2.043e-15
208.898 | 3.144e-15
209.181 | 3.961e-15
209.48 | 4.63e-15
209.782 | 4.248e-14
210.068 | -4.5404e-14
212.686 | 3.372e-15
213.664 | 4.145e-15
213.991 | 4.373e-15
214.29 | 5.558e-15
214.587 | 5.043e-15
214.872 | 4.208e-15
215.179 | 4.895e-15
215.483 | 6.2502e-14
215.76 | 1.0266e-12
216.081 | 4.8413e-13
216.388 | 1.5468e-13
219.008 | 2.3024e-13
219.964 | 2.0854e-13
220.281 | 2.1958e-13
220.573 | 2.2123e-13
220.875 | 2.2587e-13
221.205 | 2.2143e-13
221.5 | 2.2162e-13
221.794 | 2.1605e-13
222.069 | 2.2601e-13
222.408 | 2.1709e-13
222.682 | 2.2397e-13
223.021 | 2.1309e-13
223.294 | 2.0391e-13
223.585 | 2.5412e-13
223.86 | 2.2979e-13
224.198 | 2.2219e-13
224.489 | 2.2653e-13
224.765 | 2.6242e-13
225.09 | 2.0387e-13
225.383 | 1.3607e-13
225.676 | 1.7948e-13
226.003 | 1.8951e-13
226.297 | 2.0182e-13
226.592 | 2.0703e-13
226.888 | 2.0845e-13
227.167 | 1.9116e-13
227.499 | 2.0808e-13
227.795 | 3.263e-13
228.091 | 2.2514e-13
228.369 | 1.486e-13
228.698 | 1.8978e-13
228.993 | 2.2442e-13
229.291 | 2.1307e-13
229.572 | 2.2094e-13
229.872 | 2.3826e-13
230.22 | 1.9503e-13
230.52 | 1.6599e-13
230.804 | 2.0103e-13
231.105 | 8.4376e-14
231.491 | 1.2476e-13
231.71 | 9.8124e-14
232.013 | 2.1814e-13
232.3 | 2.1198e-13
232.6 | 1.5001e-13
232.883 | 2.6841e-13
233.186 | 1.8344e-13
233.469 | 5.034e-14
233.818 | 6.2874e-14
234.1 | 8.9379e-14
234.399 | 3.0887e-13
234.7 | 2.9035e-13
234.983 | 1.8481e-13
235.283 | 1.7757e-13
235.585 | 2.4546e-13
235.883 | 1.6391e-13
236.169 | 1.1218e-13
236.467 | 3.5861e-13
236.768 | 2.4635e-13
237.069 | 2.1391e-13
237.368 | 3.7586e-13
237.719 | 1.6252e-13
238.002 | 2.7901e-13
238.304 | 2.2447e-13
238.588 | 1.8252e-13
238.888 | 1.9506e-13
239.171 | 1.8258e-13
239.52 | 1.8533e-13
239.819 | 2.0441e-13
240.104 | 1.9451e-13
240.404 | 2.0391e-13
240.705 | 2.0906e-13
241.004 | 2.0322e-13
241.287 | 1.8755e-13
241.589 | 2.2391e-13
241.889 | 1.7823e-13
242.171 | 1.8386e-13
242.505 | 2.0761e-13
242.805 | 2.073e-13
243.089 | 2.0226e-13
243.388 | 2.1587e-13
243.672 | 2.127e-13
243.972 | 2.1576e-13
244.301 | 2.0601e-13
244.598 | 2.0468e-13
244.896 | 2.1051e-13
245.193 | 2.0288e-13
245.51 | 2.2455e-13
245.792 | 2.2353e-13
246.092 | 2.0783e-13
246.376 | 2.2334e-13
246.675 | 2.0123e-13
246.975 | 2.1793e-13
247.276 | 2.2022e-13
247.576 | 2.2238e-13
247.878 | 2.214e-13
248.162 | 2.1292e-13
248.513 | 2.1156e-13
248.796 | 2.1416e-13
249.099 | 2.1988e-13
249.397 | 2.1471e-13
249.699 | 2.2109e-13
250 | 2.127e-13
250.283 | 2.2401e-13
250.585 | 2.2688e-13
250.884 | 2.3213e-13
251.185 | 2.2198e-13
251.485 | 2.1977e-13
251.769 | 3.19e-13
252.119 | 1.7423e-13
252.403 | 2.3444e-13
252.703 | 2.6381e-13
252.987 | 2.299e-13
253.288 | 2.5453e-13
253.57 | 1.2586e-13
253.903 | 1.2803e-13
254.206 | 9.8738e-14
254.505 | 2.0892e-13
254.788 | 3.0035e-13
255.087 | 2.4752e-13
255.388 | 2.3831e-13
255.722 | 2.1224e-13
256.005 | 2.1814e-13
256.304 | 2.5791e-13
256.587 | 2.0185e-13
256.873 | 2.3587e-13
257.22 | 2.3129e-13
257.506 | 2.2636e-13
257.806 | 2.5726e-13
258.089 | 2.3569e-13
258.389 | 2.3541e-13
258.689 | 2.3951e-13
259.039 | 2.3262e-13
259.272 | 2.0091e-13
259.606 | 2.1808e-13
259.906 | 2.5194e-13
260.204 | 2.293e-13
260.49 | 2.1947e-13
260.79 | 2.3056e-13
261.089 | 2.3383e-13
261.368 | 2.1838e-13
261.716 | 2.4265e-13
261.963 | 2.3302e-13
262.312 | 2.442e-13
262.595 | 2.3039e-13
262.894 | 2.3735e-13
263.177 | 2.3224e-13
263.477 | 2.3421e-13
263.779 | 2.2913e-13
264.061 | 2.5428e-13
264.362 | 2.5026e-13
264.697 | 2.4574e-13
264.996 | 2.386e-13
265.28 | 2.3721e-13
265.581 | 2.45e-13
265.866 | 2.3313e-13
266.215 | 2.4524e-13
266.516 | 2.2359e-13
266.799 | 2.4657e-13
267.1 | 2.5097e-13
267.385 | 2.4949e-13
267.684 | 2.4581e-13
267.968 | 2.3851e-13
268.269 | 2.3493e-13
268.602 | 2.3536e-13
268.903 | 2.1736e-13
269.203 | 2.4393e-13
269.486 | 2.4308e-13
269.786 | 2.4304e-13
270.07 | 2.3389e-13
270.405 | 2.4729e-13
270.703 | 2.3544e-13
271.003 | 2.2826e-13
271.305 | 2.4241e-13
271.586 | 2.3548e-13
271.888 | 2.5497e-13
272.187 | 2.4435e-13
272.638 | 2.5945e-13
272.788 | 2.5028e-13
273.088 | 2.4002e-13
273.371 | 2.4636e-13
273.703 | 2.5834e-13
274.004 | 2.4023e-13
274.288 | 2.4723e-13
274.587 | 2.5438e-13
274.87 | 2.4187e-13
275.171 | 2.4536e-13
275.521 | 2.5343e-13
275.803 | 2.5565e-13
276.105 | 2.5502e-13
276.402 | 2.5144e-13
276.687 | 2.3911e-13
276.988 | 2.4186e-13
277.271 | 2.4728e-13
277.623 | 2.3095e-13
277.905 | 2.2648e-13
278.188 | 2.3174e-13
278.488 | 2.2885e-13
278.788 | 2.3017e-13
279.07 | 2.5645e-13
279.419 | 2.3607e-13
279.699 | 2.3867e-13
279.997 | 2.3161e-13
280.28 | 2.479e-13
280.578 | 2.2434e-13
280.86 | 1.7879e-13
281.211 | 2.1902e-13
281.494 | 2.2307e-13
281.794 | 2.8532e-13
282.094 | 2.6402e-13
282.396 | 2.3439e-13
282.679 | 2.2419e-13
282.964 | 2.2465e-13
283.265 | -2.729e-13
283.598 | -7.1799e-14
283.898 | -2.1827e-14
284.182 | -6.16e-15
284.482 | -8.3e-16
284.783 | 8.98e-16
285.067 | 1.501e-15
285.4 | 1.577e-15
285.701 | 3.712e-15
285.986 | 1.892e-15
286.268 | 2.102e-15
286.585 | 1.416e-15
286.87 | 1.513e-15
287.219 | 1.729e-15
287.503 | 1.5e-15
287.804 | 2.022e-15
288.086 | 1.25e-15
288.388 | 1.4e-15
288.688 | 1.212e-15
289.021 | 1.482e-15
289.305 | 7.81e-16
289.604 | 1.068e-15
289.89 | 1.154e-15
290.188 | 1.666e-15
290.488 | 1.236e-15
290.788 | 1.079e-15
291.072 | 1.18e-15
291.405 | 1.264e-15
291.706 | 1.188e-15
292.005 | 4.864e-15
292.289 | 6.366e-15
292.588 | 6.545e-15
292.888 | 5.429e-15
293.172 | 2.324e-15
293.472 | 1.558e-15
293.805 | 1.057e-15
294.104 | 1.304e-15
294.405 | 1.153e-15
294.706 | 1.289e-15
295.004 | 1.087e-15
295.289 | 1.375e-15
295.588 | 7.77e-16
295.888 | 1.601e-15
296.171 | 1.491e-15
296.522 | 9.85e-16
296.822 | 1.111e-15
297.105 | 1.318e-15
297.405 | 1.852e-13
297.704 | -4.5352e-14
300.294 | 8.2e-16
301.295 | 1.185e-15
301.596 | 1.246e-15
301.88 | 1.548e-15
302.181 | 1.163e-15
302.48 | -1.8165e-12
302.798 | -9.8838e-14
305.419 | 9.5635e-13
306.42 | 5.0498e-14
306.703 | 1.7056e-14
307.004 | 6.191e-15
307.287 | 2.549e-15
307.587 | 1.524e-15
307.871 | 1.712e-15
308.171 | 1.375e-15
308.521 | 1e-15
308.803 | 1.285e-15
309.104 | 1.464e-15
309.404 | 1.422e-15
309.689 | 1.37e-15
309.988 | 2.7474e-13
310.305 | -4.0848e-14
312.871 | 1.178e-15
313.871 | 1.6057e-13
314.223 | 4.179e-14
314.506 | 1.4488e-14
314.804 | 1.1831e-14
315.088 | 4.698e-15
315.388 | 2.386e-15
315.688 | 1.488e-15
315.97 | 1.535e-15
316.271 | 1.377e-15
316.603 | 1.594e-15
316.905 | 1.596e-15
317.187 | 1.671e-15
317.488 | 1.815e-15
317.788 | 1.541e-15
318.088 | 1.71e-15
318.371 | 2.074e-15
318.671 | 1.846e-15
319.021 | 3.45e-14
319.304 | 1.2152e-14
319.603 | 4.92e-15
319.904 | 2.668e-15
320.185 | 2.021e-15
320.483 | 1.553e-15
320.783 | 1.283e-15
321.082 | 1.708e-15
321.364 | 1.573e-15
321.713 | 1.895e-15
322.012 | 1.716e-15
322.296 | 1.724e-15
322.597 | 1.66e-15
322.897 | 2.245e-15
323.18 | 1.521e-15
323.482 | 1.585e-15
323.782 | 1.501e-15
324.065 | 1.782e-15
324.365 | -5.8081e-13
324.682 | 7.1148e-14
327.519 | 1.968e-15
328.268 | 1.435e-15
328.619 | 1.335e-15
328.902 | 1.621e-15
329.203 | 1.648e-15
329.503 | 2.008e-15
329.785 | 1.725e-15
330.087 | 1.783e-15
330.386 | 2.024e-15
330.686 | 1.438e-15
330.987 | 1.317e-15
331.27 | 1.559e-15
331.62 | 1.303e-15
331.92 | 1.467e-15
332.204 | 2.224e-15
332.503 | 1.834e-15
332.787 | 2.11e-15
333.088 | 1.799e-15
333.387 | 1.658e-15
333.687 | 1.183e-15
333.97 | 1.506e-15
334.321 | 1.446e-15
334.604 | 1.601e-15
334.904 | 1.915e-15
335.204 | 2.011e-15
335.503 | 1.592e-15
335.788 | 1.647e-15
336.087 | 1.403e-15
336.37 | 1.602e-15
336.671 | 1.325e-15
336.971 | 1.368e-15
337.32 | 1.168e-15
337.603 | 1.632e-15
337.903 | 1.449e-15
338.205 | 1.172e-15
338.505 | 1.302e-15
338.787 | 1.588e-15
339.088 | 1.441e-15
339.388 | 2.133e-15
339.687 | 1.463e-15
339.988 | 1.515e-15
340.27 | 2.039e-15
340.62 | 1.888e-15
340.972 | 1.546e-15
341.237 | 5.192e-14
341.537 | -4.7695e-14
344.089 | 1.425e-15
345.089 | 1.475e-15
345.388 | 1.486e-15
345.689 | 1.37e-15
345.989 | 1.695e-15
346.271 | 1.942e-15
346.618 | 1.687e-15
346.9 | 1.717e-15
347.2 | 1.662e-15
347.482 | 2.067e-15
347.782 | 2.5874e-13
348.066 | 1.4727e-13
348.415 | 3.9738e-14
348.699 | 1.081e-12
349 | 9.5652e-13
349.283 | 3.0705e-13
349.583 | 2.8542e-13
349.866 | 4.6285e-13
350.218 | -1.2287e-13
350.5 | -3.8491e-14
350.801 | -1.0616e-14
351.102 | -2.269e-15
351.402 | 1.84e-16
351.685 | 1.152e-15
351.987 | 1.84e-15
352.285 | 1.343e-15
352.569 | 1.481e-15
352.92 | 1.515e-15
353.202 | 2.0551e-14
353.502 | 1.184e-12
353.803 | 8.9967e-13
354.103 | -7.6535e-13
354.386 | 2.1179e-13
354.687 | 7.3235e-14
354.987 | 2.7262e-13
355.287 | -3.9746e-14
355.588 | 2.1097e-13
355.921 | 3.2772e-13
356.187 | 1.2705e-13
356.487 | 9.2711e-14
356.786 | 1.4742e-13
357.086 | 7.1271e-14
357.386 | 7.4204e-14
357.686 | -8.9754e-14
357.969 | 8.0977e-13
358.318 | -1.0615e-14
360.886 | 3.6982e-13
361.885 | 1.5049e-13
362.185 | 1.6813e-13
362.486 | 2.8994e-13
362.785 | 1.8492e-13
363.069 | 1.594e-13
363.418 | 1.641e-13
363.702 | 1.6233e-13
364.001 | 1.9239e-13
364.301 | 6.1249e-13
364.617 | 1.2035e-13
367.201 | 2.3856e-13
368.202 | 1.1794e-13
368.503 | 4.9745e-14
368.802 | 7.351e-15
369.084 | 3.175e-13
369.419 | 6.1791e-14
369.7 | -3.685e-15
370.003 | -8.466e-15
370.302 | 8.246e-15
370.584 | 3.14e-16
370.885 | 5.818e-15
371.185 | -8.297e-15
371.484 | -1.468e-15
371.768 | 1.5935e-14
372.103 | 3.2383e-13
372.403 | 7.5253e-13
372.701 | 2.5972e-13
373.002 | 2.0149e-13
373.287 | 1.1518e-13
373.585 | 3.244e-14
373.885 | 1.9153e-14
374.186 | 2.4477e-13
374.468 | 1.2081e-13
374.769 | 3.0375e-14
375.118 | 5.2316e-13
375.419 | 3.5724e-13
375.718 | 1.5621e-13
376.001 | 6.436e-14
376.302 | 1.5128e-13
376.601 | 5.6761e-14
376.901 | 1.8247e-13
377.202 | 8.989e-14
377.503 | 1.3686e-13
377.803 | 1.5567e-13
378.103 | 1.3645e-13
378.385 | 1.4643e-13
378.685 | 5.358e-15
378.985 | 1.6254e-13
379.286 | 1.7598e-13
379.585 | 2.2219e-13
379.868 | 9.1562e-14
380.168 | 9.4491e-14