## Settings
Sample Info | vr2, dot b1, e-irrad 1500mkC, run 01
Comments | +9.5/+9.5/-3 V
Additional Comments | No additional comments
Major Measurement Parameters
Starting Temperature | 296.728
Initial Temperature | 80.5
Final Temperature | 320
Preliminary Voltage | 9.5
Pulse Voltage | 9.5
Pulse Time | 20
Wait Time | 0
Measurement Voltage | -3
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 7
Measurecount | 1
Time
Date | 28.3.2024
Clock | 12:39:27

## Stabilization
Temperature | Current | Temp Rate
296.728 | -2.0324e-10 | 0
296.728 | -2.0489e-10 | 0
296.677 | -2.0648e-10 | -0.70593
296.637 | -2.0669e-10 | -0.90101
296.63 | -2.0639e-10 | -0.75276
296.628 | -2.0576e-10 | -0.62734
296.627 | -2.0733e-10 | -0.53679
296.624 | -2.063e-10 | -0.47887
296.621 | -2.0695e-10 | -0.43621
296.617 | -2.073e-10 | -0.40479
296.612 | -2.0723e-10 | -0.44527
296.611 | -2.0778e-10 | -0.50682
296.605 | -2.073e-10 | -0.71252
296.601 | -2.0678e-10 | -1.4625
296.596 | -2.0738e-10 | -2.2678
296.533 | -2.0774e-10 | -0.39855
296.374 | -2.0771e-10 | -0.68336
296.108 | -2.069e-10 | -1.1334
295.707 | -2.0602e-10 | -35.1785
295.245 | -2.0709e-10 | -2.4503
294.84 | -2.0651e-10 | -2.9778
294.473 | -2.0816e-10 | -3.4021
294.107 | -2.0637e-10 | -3.7921
293.732 | -2.069e-10 | -4.1576
293.363 | -2.0809e-10 | -4.4903
293.145 | -2.071e-10 | -4.6046
292.926 | -2.0693e-10 | -4.7092
292.747 | -2.0689e-10 | -4.7601
292.503 | -2.0632e-10 | -4.8847
292.223 | -2.0684e-10 | -5.0388
291.982 | -2.0685e-10 | -5.1423
291.73 | -2.0611e-10 | -5.2525
291.512 | -2.0582e-10 | -5.319
291.349 | -2.061e-10 | -5.3273
291.027 | -2.0645e-10 | -5.4897
290.705 | -2.0627e-10 | -5.6414
290.409 | -2.0607e-10 | -5.7623
290.102 | -2.0634e-10 | -5.888
289.752 | -2.0586e-10 | -6.0405
289.386 | -2.0661e-10 | -6.2025
288.98 | -2.0724e-10 | -6.3896
288.633 | -2.0668e-10 | -6.5198
288.305 | -2.0699e-10 | -6.6307
288.049 | -2.0691e-10 | -6.6788
287.619 | -2.0764e-10 | -6.8568
287.224 | -2.0564e-10 | -7.0011
286.878 | -2.065e-10 | -7.1022
286.642 | -2.0569e-10 | -7.1202
286.421 | -2.084e-10 | -7.132
286.22 | -2.0675e-10 | -7.1279
286.14 | -2.0623e-10 | -7.0447
285.871 | -2.0623e-10 | -7.0892
285.579 | -2.0672e-10 | -7.143
285.282 | -2.0707e-10 | -7.1995
284.973 | -2.0618e-10 | -7.2629
284.693 | -2.0664e-10 | -7.3004
284.294 | -2.0721e-10 | -7.4114
283.804 | -2.0661e-10 | -7.5735
283.377 | -2.072e-10 | -7.6931
283.021 | -2.0647e-10 | -7.7671
282.589 | -2.0711e-10 | -7.8849
282.278 | -2.0674e-10 | -7.9277
282.13 | -2.0634e-10 | -7.8827
281.835 | -2.0603e-10 | -7.9178
281.689 | -2.1201e-10 | -7.8734
281.489 | -2.1275e-10 | -7.8591
281.307 | -2.0646e-10 | -7.8342
281.046 | -2.0262e-10 | -7.8521
280.938 | -2.0465e-10 | -7.7951
280.651 | -1.9771e-10 | -7.8246
280.367 | -2.0828e-10 | -7.8495
280.103 | -2.0043e-10 | -7.8673
279.762 | -2.0546e-10 | -7.918
279.532 | -2.075e-10 | -7.919
279.326 | -2.0471e-10 | -7.9073
279.072 | -2.0378e-10 | -7.9174
278.825 | -2.0449e-10 | -7.9246
278.57 | -2.0674e-10 | -7.9367
278.15 | -2.0704e-10 | -8.0176
277.804 | -2.0728e-10 | -8.0662
277.523 | -2.0611e-10 | -8.0866
277.19 | -2.0988e-10 | -8.1251
276.805 | -2.0726e-10 | -8.1855
276.501 | -2.0556e-10 | -8.2126
276.326 | -2.0649e-10 | -8.1867
276.042 | -1.9355e-10 | -8.2052
275.744 | -2.0781e-10 | -8.2277
275.391 | -2.0706e-10 | -8.2714
274.991 | -2.0678e-10 | -8.3334
274.572 | -2.0727e-10 | -8.3991
274.195 | -2.0682e-10 | -8.4499
273.876 | -2.0681e-10 | -8.4755
273.543 | -2.067e-10 | -8.5067
273.189 | -2.0705e-10 | -8.5455
272.839 | -2.0626e-10 | -8.5823
272.583 | -2.0609e-10 | -8.5824
272.346 | -2.0695e-10 | -8.5793
272.117 | -2.0687e-10 | -8.572
271.796 | -2.0767e-10 | -8.5953
271.492 | -2.0712e-10 | -8.6135
271.15 | -2.0815e-10 | -8.6442
270.821 | -2.0739e-10 | -8.6682
270.448 | -2.0624e-10 | -8.708
270.038 | -2.0854e-10 | -8.7598
269.591 | -2.0661e-10 | -8.8224
269.248 | -2.0773e-10 | -8.8498
268.943 | -2.0682e-10 | -8.8638
268.618 | -2.0718e-10 | -8.8837
268.304 | -2.0634e-10 | -8.8996
267.96 | -2.0723e-10 | -8.9256
267.624 | -2.0666e-10 | -8.9489
267.385 | -2.065e-10 | -8.9417
267.041 | -2.0469e-10 | -8.9654
266.679 | -2.0617e-10 | -8.9951
266.261 | -2.0543e-10 | -9.0395
265.936 | -2.0575e-10 | -9.0579
265.652 | -2.0678e-10 | -9.0644
265.279 | -2.07e-10 | -9.0937
264.854 | -2.0526e-10 | -9.138
264.411 | -2.0561e-10 | -9.1888
264.03 | -2.0625e-10 | -9.2186
263.685 | -2.0713e-10 | -9.2392
263.317 | -2.0676e-10 | -9.2665
262.829 | -2.0598e-10 | -9.3244
262.395 | -2.0714e-10 | -9.3666
262.049 | -2.0727e-10 | -9.3856
261.678 | -2.0726e-10 | -9.4117
261.348 | -2.0739e-10 | -9.4264
260.912 | -2.0715e-10 | -9.4689
260.533 | -2.0717e-10 | -9.4956
260.183 | -2.0673e-10 | -9.5137
259.828 | -2.0774e-10 | -9.5325
259.472 | -2.0808e-10 | -9.5516
259.038 | -2.0758e-10 | -9.591
258.674 | -2.0728e-10 | -9.6121
258.384 | -2.0753e-10 | -9.6137
258.082 | -2.0788e-10 | -9.6181
257.714 | -2.0706e-10 | -9.6398
257.337 | -2.0738e-10 | -9.6624
256.95 | -2.0613e-10 | -9.6881
256.638 | -2.0569e-10 | -9.695
256.28 | -2.0678e-10 | -9.7129
255.905 | -2.0662e-10 | -9.733
255.537 | -2.065e-10 | -9.7527
255.213 | -2.0814e-10 | -9.7605
254.915 | -2.0825e-10 | -9.7634
254.531 | -2.0758e-10 | -9.7868
254.092 | -2.0773e-10 | -9.8209
253.711 | -2.0847e-10 | -9.842
253.405 | -2.0808e-10 | -9.845
253 | -2.0897e-10 | -9.8708
252.593 | -2.093e-10 | -9.8969
252.354 | -2.0829e-10 | -9.8859
252.084 | -2.0797e-10 | -9.881
251.781 | -2.0718e-10 | -9.884
251.36 | -2.0791e-10 | -9.9134
250.976 | -2.0809e-10 | -9.9341
250.685 | -2.0746e-10 | -9.9345
250.386 | -2.0955e-10 | -9.9362
249.983 | -2.0887e-10 | -9.9595
249.573 | -2.0796e-10 | -9.9848
249.262 | -2.0808e-10 | -9.9891
248.924 | -2.0798e-10 | -9.9986
248.558 | -2.0873e-10 | -10.0138
248.122 | -2.081e-10 | -10.0411
247.774 | -2.0783e-10 | -10.0517
247.46 | -2.0746e-10 | -10.0552
247.128 | -2.0883e-10 | -10.0623
246.824 | -2.0803e-10 | -10.0644
246.411 | -2.0812e-10 | -10.0875
246.033 | -2.0742e-10 | -10.1032
245.77 | -2.0772e-10 | -10.097
245.392 | -2.0774e-10 | -10.1129
244.953 | -2.0792e-10 | -10.141
244.614 | -2.0943e-10 | -10.1494
244.287 | -2.0931e-10 | -10.155
243.902 | -2.0892e-10 | -10.1711
243.495 | -2.0936e-10 | -10.1924
243.057 | -2.0782e-10 | -10.2186
242.749 | -2.0796e-10 | -10.2204
242.444 | -2.09e-10 | -10.2215
242.065 | -2.0874e-10 | -10.2357
241.783 | -2.0779e-10 | -10.2309
241.405 | -2.0907e-10 | -10.246
241.111 | -2.0896e-10 | -10.2451
240.757 | -2.0938e-10 | -10.2546
240.318 | -2.0866e-10 | -10.2802
240.013 | -2.076e-10 | -10.2806
239.671 | -2.0783e-10 | -10.2872
239.365 | -2.0822e-10 | -10.2867
239.006 | -2.0785e-10 | -10.2971
238.564 | -2.0904e-10 | -10.3216
238.161 | -2.0861e-10 | -10.338
237.835 | -2.085e-10 | -10.3414
237.532 | -2.0837e-10 | -10.3414
237.173 | -2.0848e-10 | -10.3512
236.741 | -2.0867e-10 | -10.3727
236.405 | -2.0879e-10 | -10.3773
236.114 | -2.0838e-10 | -10.3741
235.7 | -2.0855e-10 | -10.3917
235.325 | -2.0988e-10 | -10.403
234.926 | -2.079e-10 | -10.4185
234.568 | -2.0812e-10 | -10.4265
234.251 | -2.0838e-10 | -10.4285
233.861 | -2.1053e-10 | -10.4422
233.465 | -2.0951e-10 | -10.457
233.248 | -2.0915e-10 | -10.4425
233.014 | -2.0937e-10 | -10.4304
232.712 | -2.0858e-10 | -10.4294
232.297 | -2.0802e-10 | -10.4474
231.908 | -2.0941e-10 | -10.4609
231.6 | -2.1024e-10 | -10.4603
231.305 | -2.0926e-10 | -10.4586
230.924 | -2.0841e-10 | -10.4697
230.545 | -2.0874e-10 | -10.4809
230.212 | -2.0799e-10 | -10.4852
229.908 | -2.0793e-10 | -10.4843
229.591 | -2.0708e-10 | -10.4853
229.237 | -2.0694e-10 | -10.4923
228.816 | -2.0684e-10 | -10.51
228.394 | -2.0673e-10 | -10.5273
228.054 | -2.0785e-10 | -10.5322
227.659 | -2.083e-10 | -10.5455
227.177 | -2.075e-10 | -10.5717
226.746 | -2.0727e-10 | -10.5898
226.384 | -2.0782e-10 | -10.5973
225.988 | -2.0794e-10 | -10.6101
225.551 | -2.0784e-10 | -10.6286
225.152 | -2.0823e-10 | -10.6415
224.831 | -2.0747e-10 | -10.6423
224.517 | -2.0751e-10 | -10.6417
224.098 | -2.0772e-10 | -10.6562
223.7 | -2.0797e-10 | -10.6675
223.408 | -2.076e-10 | -10.6647
223.098 | -2.078e-10 | -10.6644
222.747 | -2.0648e-10 | -10.6696
222.333 | -2.0615e-10 | -10.6837
221.985 | -2.0612e-10 | -10.6878
221.694 | -2.0623e-10 | -10.6846
221.429 | -2.0656e-10 | -10.6775
221.019 | -2.0664e-10 | -10.6913
220.629 | -2.0737e-10 | -10.7008
220.265 | -2.0949e-10 | -10.7075
219.949 | -2.0804e-10 | -10.7075
219.484 | -2.0764e-10 | -10.7287
219.023 | -2.0696e-10 | -10.7486
218.689 | -2.0834e-10 | -10.7514
218.327 | -2.073e-10 | -10.7575
217.917 | -2.0825e-10 | -10.77
217.541 | -2.0759e-10 | -10.7779
217.223 | -2.0725e-10 | -10.7779
216.918 | -2.0646e-10 | -10.7751
216.531 | -2.0768e-10 | -10.7846
216.162 | -2.0797e-10 | -10.7905
215.849 | -2.081e-10 | -10.7899
215.623 | -2.0802e-10 | -10.7776
215.237 | -2.082e-10 | -10.7866
214.776 | -2.0874e-10 | -10.8053
214.426 | -2.089e-10 | -10.8088
214.07 | -2.0909e-10 | -10.813
213.715 | -2.0852e-10 | -10.8172
213.272 | -2.0821e-10 | -10.8327
212.867 | -2.0901e-10 | -10.8428
212.557 | -2.0934e-10 | -10.8411
212.203 | -2.085e-10 | -10.8456
211.752 | -2.0818e-10 | -10.8622
211.349 | -2.0812e-10 | -10.8727
211.036 | -2.0713e-10 | -10.8716
210.749 | -2.0826e-10 | -10.8673
210.391 | -2.0689e-10 | -10.872
209.944 | -2.0709e-10 | -10.8869
209.59 | -2.0793e-10 | -10.8907
209.276 | -2.0803e-10 | -10.8895
209.022 | -2.0763e-10 | -10.8811
208.603 | -2.0814e-10 | -10.8936
208.218 | -2.0841e-10 | -10.9011
207.924 | -2.0818e-10 | -10.8977
207.555 | -2.0865e-10 | -10.9033
207.053 | -2.0851e-10 | -10.925
206.637 | -2.0861e-10 | -10.9362
206.271 | -2.0833e-10 | -10.9413
205.93 | -2.0832e-10 | -10.9435
205.48 | -2.0813e-10 | -10.9589
205.022 | -2.0857e-10 | -10.9746
204.636 | -2.0816e-10 | -10.9816
204.318 | -2.0951e-10 | -10.981
203.92 | -2.0897e-10 | -10.9894
203.495 | -2.0854e-10 | -11.0012
203.13 | -2.0925e-10 | -11.006
202.831 | -2.0841e-10 | -11.0029
202.386 | -2.0792e-10 | -11.0167
201.973 | -2.0842e-10 | -11.0269
201.603 | -2.0844e-10 | -11.0316
201.267 | -2.0864e-10 | -11.0326
200.895 | -2.0858e-10 | -11.0373
200.453 | -2.0773e-10 | -11.0509
200.117 | -2.0727e-10 | -11.0514
199.823 | -2.077e-10 | -11.0474
199.516 | -2.0717e-10 | -11.0451
199.077 | -2.0831e-10 | -11.0576
198.639 | -2.0798e-10 | -11.0698
198.399 | -2.0844e-10 | -11.0596
198.128 | -2.0906e-10 | -11.0519
197.848 | -2.0836e-10 | -11.0464
197.444 | -2.0773e-10 | -11.0544
197.017 | -2.0765e-10 | -11.0654
196.664 | -2.081e-10 | -11.0672
196.309 | -2.0791e-10 | -11.0701
195.86 | -2.0809e-10 | -11.0837
195.476 | -2.0805e-10 | -11.0893
195.095 | -2.0763e-10 | -11.0951
194.766 | -2.0863e-10 | -11.0947
194.332 | -2.0714e-10 | -11.1061
193.815 | -2.0753e-10 | -11.1253
193.362 | -2.0749e-10 | -11.1382
192.97 | -2.0687e-10 | -11.1443
192.504 | -2.0719e-10 | -11.1589
192.006 | -2.0798e-10 | -11.1766
191.53 | -2.0742e-10 | -11.1921
191.187 | -2.083e-10 | -11.1934
190.768 | -2.0821e-10 | -11.2021
190.352 | -2.0813e-10 | -11.2102
189.902 | -2.0838e-10 | -11.2215
189.564 | -2.0807e-10 | -11.2218
189.219 | -2.0812e-10 | -11.223
188.813 | -2.0695e-10 | -11.2305
188.384 | -2.0805e-10 | -11.2404
188.039 | -2.0603e-10 | -11.2409
187.697 | -2.0605e-10 | -11.2419
187.231 | -2.0584e-10 | -11.2556
186.76 | -2.0609e-10 | -11.2697
186.412 | -2.0792e-10 | -11.2705
186.048 | -2.0778e-10 | -11.2734
185.63 | -2.0714e-10 | -11.282
185.229 | -2.0734e-10 | -11.2889
184.924 | -2.0533e-10 | -11.2858
184.566 | -2.067e-10 | -11.2881
184.101 | -2.0687e-10 | -11.3009
183.698 | -2.0708e-10 | -11.3073
183.403 | -2.0814e-10 | -11.3029
183.118 | -2.0837e-10 | -11.2976
182.715 | -2.0741e-10 | -11.3041
182.344 | -2.0711e-10 | -11.3073
182.105 | -2.0816e-10 | -11.2977
181.776 | -2.0783e-10 | -11.2972
181.351 | -2.083e-10 | -11.3058
180.948 | -2.0822e-10 | -11.3125
180.652 | -2.0811e-10 | -11.3085
180.307 | -2.0946e-10 | -11.3093
179.861 | -2.0893e-10 | -11.3193
179.444 | -2.0817e-10 | -11.3268
179.115 | -2.0852e-10 | -11.3257
178.718 | -2.0909e-10 | -11.3312
178.2 | -2.0921e-10 | -11.3477
177.767 | -2.0769e-10 | -11.3568
177.414 | -2.0844e-10 | -11.3577
176.959 | -2.0898e-10 | -11.3687
176.467 | -2.0859e-10 | -11.3835
176.089 | -2.0979e-10 | -11.387
175.744 | -2.0942e-10 | -11.3877
175.286 | -2.0869e-10 | -11.3988
174.892 | -2.0849e-10 | -11.4041
174.532 | -2.09e-10 | -11.4061
174.194 | -2.084e-10 | -11.4057
173.761 | -2.0795e-10 | -11.4143
173.345 | -2.0778e-10 | -11.4211
173.028 | -2.0857e-10 | -11.419
172.75 | -2.0855e-10 | -11.4132
172.369 | -2.0878e-10 | -11.417
171.971 | -2.0893e-10 | -11.422
171.679 | -2.0948e-10 | -11.4175
171.375 | -2.0847e-10 | -11.414
170.862 | -2.086e-10 | -11.43
170.459 | -2.1004e-10 | -11.4357
170.119 | -2.101e-10 | -11.4359
169.661 | -2.0945e-10 | -11.4462
169.194 | -2.0827e-10 | -11.4568
168.784 | -2.0808e-10 | -11.463
168.468 | -2.0934e-10 | -11.4605
168.079 | -2.0835e-10 | -11.4646
167.682 | -2.0889e-10 | -11.4692
167.318 | -2.0732e-10 | -11.471
167.074 | -2.0742e-10 | -11.4623
166.868 | -2.0761e-10 | -11.4497
166.441 | -2.0795e-10 | -11.4572
166.031 | -2.0746e-10 | -11.4633
165.707 | -2.0814e-10 | -11.4613
165.294 | -2.0769e-10 | -11.4674
164.793 | -2.0813e-10 | -11.4811
164.382 | -2.0858e-10 | -11.4869
164.063 | -2.0819e-10 | -11.4845
163.681 | -2.0789e-10 | -11.4876
163.324 | -2.081e-10 | -11.4886
162.976 | -2.0821e-10 | -11.4882
162.721 | -2.0741e-10 | -11.481
162.412 | -2.0872e-10 | -11.4779
161.948 | -2.086e-10 | -11.4885
161.557 | -2.0805e-10 | -11.4917
161.219 | -2.0767e-10 | -11.4907
160.929 | -2.0788e-10 | -11.4858
160.484 | -2.0776e-10 | -11.4941
160.05 | -2.0807e-10 | -11.5017
159.742 | -2.0808e-10 | -11.4989
159.396 | -2.0906e-10 | -11.4992
158.917 | -2.0949e-10 | -11.5106
158.533 | -2.1025e-10 | -11.5141
158.239 | -2.1077e-10 | -11.5099
157.863 | -2.0816e-10 | -11.5121
157.414 | -2.0811e-10 | -11.5202
157.042 | -2.0804e-10 | -11.5222
156.767 | -2.0859e-10 | -11.5163
156.44 | -2.0712e-10 | -11.5149
155.992 | -2.0866e-10 | -11.5233
155.65 | -2.0812e-10 | -11.5231
155.366 | -2.0798e-10 | -11.5181
155.129 | -2.0818e-10 | -11.5092
154.841 | -2.0779e-10 | -11.5047
154.53 | -2.076e-10 | -11.5019
154.332 | -2.0696e-10 | -11.4901
154.229 | -2.0729e-10 | -11.4708
154.045 | -2.0701e-10 | -11.4578
153.896 | -2.07e-10 | -11.4422
153.777 | -2.0782e-10 | -11.4243
153.767 | -2.0828e-10 | -11.3977
153.571 | -2.0906e-10 | -11.3861
153.409 | -2.0981e-10 | -11.3721
153.306 | -2.0889e-10 | -11.353
153.265 | -2.0944e-10 | -11.3295
153.009 | -2.0791e-10 | -11.3224
152.773 | -2.0769e-10 | -11.3143
152.682 | -2.0816e-10 | -11.2948
152.603 | -2.0898e-10 | -11.2742
152.339 | -2.0968e-10 | -11.2685
152.161 | -2.0867e-10 | -11.2561
152.115 | -2.0783e-10 | -11.2333
152.029 | -2.0705e-10 | -11.2142
151.796 | -2.0727e-10 | -11.2058
151.642 | -2.0754e-10 | -11.1912
151.606 | -2.0748e-10 | -11.1681
151.57 | -2.0833e-10 | -11.1455
151.577 | -2.0888e-10 | -11.1194
151.685 | -2.0846e-10 | -11.0856
151.855 | -2.0784e-10 | -11.0465
152.036 | -2.0771e-10 | -11.0075
152.078 | -2.0794e-10 | -10.9792
152.198 | -2.0879e-10 | -10.945
152.382 | -2.0743e-10 | -10.9064
152.446 | -2.0756e-10 | -10.8772
152.482 | -2.0851e-10 | -10.8501
152.692 | -2.0751e-10 | -10.8095
152.734 | -2.0815e-10 | -10.7819
152.869 | -2.0702e-10 | -10.7469
153.142 | -2.0811e-10 | -10.7025
153.299 | -2.0836e-10 | -10.6671
153.566 | -2.0748e-10 | -10.6234
153.881 | -2.0636e-10 | -10.5765
154.221 | -2.0708e-10 | -10.5279
154.597 | -2.0764e-10 | -10.4766
154.589 | -2.08e-10 | -10.4542
154.657 | -2.074e-10 | -10.4258
154.655 | -2.0779e-10 | -10.4029
154.595 | -2.0954e-10 | -10.3843
154.76 | -2.0989e-10 | -10.3495
154.889 | -2.0862e-10 | -10.3176
155.068 | -2.0943e-10 | -10.2822
155.365 | -2.0861e-10 | -10.2381
155.576 | -2.0803e-10 | -10.2006
155.755 | -2.0872e-10 | -10.1655
156.077 | -2.0679e-10 | -10.12
156.329 | -2.0751e-10 | -10.0801
156.521 | -2.0728e-10 | -10.0446
156.814 | -2.0798e-10 | -10.0018
157.102 | -2.0721e-10 | -9.9598
157.456 | -2.0786e-10 | -9.9134
157.786 | -2.0715e-10 | -9.8682
158.079 | -2.0647e-10 | -9.8256
158.409 | -2.0689e-10 | -9.7812
158.756 | -2.0593e-10 | -9.7359
159.065 | -2.0717e-10 | -9.6935
159.213 | -2.0699e-10 | -9.6624
159.446 | -2.0682e-10 | -9.6257
159.615 | -2.0755e-10 | -9.5937
159.702 | -2.0742e-10 | -9.5675
159.987 | -2.0748e-10 | -9.5272
160.056 | -2.0807e-10 | -9.5018
160.218 | -2.0713e-10 | -9.4704
160.425 | -2.0634e-10 | -9.4361
160.393 | -2.0625e-10 | -9.4185
160.666 | -2.0758e-10 | -9.3803
160.66 | -2.0703e-10 | -9.3611
160.883 | -2.072e-10 | -9.3259
161.056 | -2.0801e-10 | -9.2948
161.204 | -2.0752e-10 | -9.2654
161.491 | -2.0803e-10 | -9.2266
161.519 | -2.084e-10 | -9.2059
161.692 | -2.0917e-10 | -9.1752
161.855 | -2.0816e-10 | -9.1454
162.067 | -2.0902e-10 | -9.1119
162.358 | -2.0816e-10 | -9.0734
162.613 | -2.0938e-10 | -9.0374
162.885 | -2.0878e-10 | -9.0006
162.901 | -2.0837e-10 | -8.9811
163.161 | -2.0868e-10 | -8.9456
163.287 | -2.0869e-10 | -8.9189
163.354 | -2.0699e-10 | -8.8959
163.378 | -2.0786e-10 | -8.8764
163.43 | -2.0793e-10 | -8.855
163.45 | -2.0794e-10 | -8.836
163.575 | -2.093e-10 | -8.81
163.683 | -2.0843e-10 | -8.7851
163.653 | -2.0928e-10 | -8.7696
163.828 | -2.0809e-10 | -8.7404
164.034 | -2.0876e-10 | -8.7096
164.24 | -2.1053e-10 | -8.679
164.446 | -2.1043e-10 | -8.6482
164.65 | -2.0939e-10 | -8.6177
164.819 | -2.0788e-10 | -8.5896
164.899 | -2.0743e-10 | -8.5675
164.955 | -2.0832e-10 | -8.5469
164.618 | -2.0744e-10 | -8.5516
164.673 | -2.0706e-10 | -8.531
164.668 | -2.0845e-10 | -8.5144
164.757 | -2.086e-10 | -8.4921
164.876 | -2.0815e-10 | -8.468
164.997 | -2.0849e-10 | -8.4441
165.116 | -2.0808e-10 | -8.4201
165.204 | -2.0867e-10 | -8.3982
165.321 | -2.0886e-10 | -8.3745
165.449 | -2.0789e-10 | -8.3502
165.568 | -2.0764e-10 | -8.3266
165.685 | -2.0814e-10 | -8.3032
165.798 | -2.0795e-10 | -8.2801
165.889 | -2.0698e-10 | -8.2586
165.993 | -2.0754e-10 | -8.2362
165.93 | -2.0654e-10 | -8.2244
165.956 | -2.0611e-10 | -8.2074
166.034 | -2.058e-10 | -8.1867
166.109 | -2.0754e-10 | -8.1663
166.177 | -2.0742e-10 | -8.1466
166.238 | -2.0727e-10 | -8.1274
166.299 | -2.0758e-10 | -8.1085
166.349 | -2.071e-10 | -8.09
166.356 | -2.0695e-10 | -8.0741
166.39 | -2.0722e-10 | -8.0567
166.27 | -2.0735e-10 | -8.0486
166.238 | -2.0774e-10 | -8.0355
166.246 | -2.0753e-10 | -8.0202
166.251 | -2.075e-10 | -8.0051
166.255 | -2.0707e-10 | -7.99
166.257 | -2.0773e-10 | -7.9746
166.259 | -2.0711e-10 | -7.9594
166.251 | -2.0771e-10 | -7.9452
166.222 | -2.0848e-10 | -7.9324
166.172 | -2.1036e-10 | -7.9208
166.107 | -2.0875e-10 | -7.9102
166.069 | -2.0873e-10 | -7.8979
166.035 | -2.0937e-10 | -7.8855
165.998 | -2.0859e-10 | -7.8731
165.942 | -2.0915e-10 | -7.8622
165.872 | -2.093e-10 | -7.8522
165.808 | -2.0865e-10 | -7.8415
165.755 | -2.087e-10 | -7.8305
165.703 | -2.0825e-10 | -7.8195
165.651 | -2.0867e-10 | -7.8083
165.602 | -2.0833e-10 | -7.7968
165.553 | -2.081e-10 | -7.7856
165.497 | -2.0813e-10 | -7.775
165.425 | -2.084e-10 | -7.7653
165.357 | -2.0798e-10 | -7.7555
165.288 | -2.065e-10 | -7.7457
165.196 | -2.0611e-10 | -7.7371
165.098 | -2.0685e-10 | -7.7287
165.006 | -2.0858e-10 | -7.7203
164.929 | -2.0775e-10 | -7.7111
164.857 | -2.0864e-10 | -7.7016
164.781 | -2.0742e-10 | -7.6921
164.706 | -2.0909e-10 | -7.6829
164.621 | -2.0941e-10 | -7.6743
164.516 | -2.1027e-10 | -7.667
164.419 | -2.097e-10 | -7.6588
164.338 | -2.0955e-10 | -7.65
164.244 | -2.0884e-10 | -7.6418
164.147 | -2.089e-10 | -7.634
164.05 | -2.0885e-10 | -7.6259
163.955 | -2.0927e-10 | -7.618
163.842 | -2.0993e-10 | -7.6108
163.734 | -2.099e-10 | -7.6037
163.617 | -2.0982e-10 | -7.5971
163.474 | -2.0975e-10 | -7.5922
163.309 | -2.0911e-10 | -7.5884
163.155 | -2.0894e-10 | -7.584
163.023 | -2.0864e-10 | -7.5782
162.864 | -2.0889e-10 | -7.5742
162.701 | -2.0837e-10 | -7.5703
162.534 | -2.092e-10 | -7.5666
162.391 | -2.0829e-10 | -7.5616
162.237 | -2.0864e-10 | -7.5575
162.076 | -2.0831e-10 | -7.5536
161.922 | -2.0859e-10 | -7.5495
161.756 | -2.0739e-10 | -7.5459
161.591 | -2.0751e-10 | -7.5422
161.423 | -2.0794e-10 | -7.5388
161.239 | -2.0722e-10 | -7.5361
160.984 | -2.0782e-10 | -7.537
160.724 | -2.0601e-10 | -7.5387
160.519 | -2.0759e-10 | -7.5374
160.335 | -2.0832e-10 | -7.535
160.143 | -2.0844e-10 | -7.5326
159.954 | -2.0932e-10 | -7.5303
159.77 | -2.0747e-10 | -7.5279
159.573 | -2.0754e-10 | -7.5261
159.347 | -2.0766e-10 | -7.5257
159.073 | -2.0862e-10 | -7.5281
158.858 | -2.0846e-10 | -7.5272
158.573 | -2.0829e-10 | -7.5302
158.26 | -2.0728e-10 | -7.5345
157.969 | -2.0707e-10 | -7.5374
157.709 | -2.0683e-10 | -7.5389
157.406 | -2.0704e-10 | -7.5428
157.151 | -2.0705e-10 | -7.5442
156.901 | -2.076e-10 | -7.5454
156.567 | -2.0845e-10 | -7.5508
156.26 | -2.0745e-10 | -7.555
155.885 | -2.067e-10 | -7.5625
155.55 | -2.0682e-10 | -7.5681
155.178 | -2.0848e-10 | -7.5754
154.818 | -2.0713e-10 | -7.5825
154.5 | -2.066e-10 | -7.5871
154.166 | -2.0754e-10 | -7.5927
153.865 | -2.0774e-10 | -7.5963
153.568 | -2.0719e-10 | -7.5998
153.258 | -2.0571e-10 | -7.604
152.908 | -2.0655e-10 | -7.6101
152.523 | -2.0645e-10 | -7.6179
152.137 | -2.0643e-10 | -7.626
151.712 | -2.062e-10 | -7.6358
151.316 | -2.0665e-10 | -7.6446
150.924 | -2.0752e-10 | -7.6524
150.511 | -2.0724e-10 | -7.6617
150.09 | -2.0764e-10 | -7.6715
149.578 | -2.0807e-10 | -7.686
149.129 | -2.0708e-10 | -7.6972
148.725 | -2.0726e-10 | -7.706
148.369 | -2.0802e-10 | -7.7122
148.078 | -2.0689e-10 | -7.715
147.706 | -2.0671e-10 | -7.7218
147.344 | -2.0666e-10 | -7.7283
146.98 | -2.0784e-10 | -7.7347
146.585 | -2.0811e-10 | -7.7427
146.221 | -2.0813e-10 | -7.7493
145.884 | -2.0784e-10 | -7.7545
145.521 | -2.0744e-10 | -7.7611
145.195 | -2.0749e-10 | -7.7654
144.918 | -2.071e-10 | -7.7673
144.632 | -2.082e-10 | -7.7698
144.34 | -2.0659e-10 | -7.7724
144.008 | -2.0742e-10 | -7.7771
143.704 | -2.0806e-10 | -7.7805
143.37 | -2.0761e-10 | -7.7853
143.063 | -2.0755e-10 | -7.7888
142.774 | -2.0742e-10 | -7.7911
142.498 | -2.0665e-10 | -7.793
142.211 | -2.0718e-10 | -7.7954
141.879 | -2.0617e-10 | -7.8002
141.477 | -2.0709e-10 | -7.8085
141.102 | -2.0746e-10 | -7.8152
140.652 | -2.0751e-10 | -7.8257
140.257 | -2.0823e-10 | -7.8335
139.822 | -2.0732e-10 | -7.8432
139.454 | -2.0742e-10 | -7.8495
139.038 | -2.0884e-10 | -7.8579
138.658 | -2.0828e-10 | -7.8648
138.17 | -2.0796e-10 | -7.877
137.708 | -2.084e-10 | -7.8877
137.362 | -2.0726e-10 | -7.8926
136.941 | -2.0737e-10 | -7.9014
136.544 | -2.0677e-10 | -7.9089
136.14 | -2.0753e-10 | -7.9166
135.752 | -2.0734e-10 | -7.9235
135.402 | -2.0656e-10 | -7.9288
135.094 | -2.0861e-10 | -7.9318
134.804 | -2.0785e-10 | -7.9337
134.533 | -2.0748e-10 | -7.9351
134.292 | -2.0594e-10 | -7.9349
134.067 | -2.0653e-10 | -7.934
133.842 | -2.0686e-10 | -7.933
133.632 | -2.0582e-10 | -7.9314
133.421 | -2.0675e-10 | -7.9294
133.225 | -2.0644e-10 | -7.9271
133.049 | -2.063e-10 | -7.9238
132.876 | -2.0647e-10 | -7.9203
132.722 | -2.0644e-10 | -7.9161
132.57 | -2.0637e-10 | -7.9116
132.432 | -2.0629e-10 | -7.9065
132.296 | -2.057e-10 | -7.9014
132.171 | -2.065e-10 | -7.8957
132.031 | -2.0712e-10 | -7.8908
131.89 | -2.0748e-10 | -7.8858
131.727 | -2.076e-10 | -7.8821
131.543 | -2.065e-10 | -7.8793
131.377 | -2.0668e-10 | -7.8755
131.222 | -2.0739e-10 | -7.8713
131.048 | -2.0792e-10 | -7.8677
130.871 | -2.0725e-10 | -7.8644
130.674 | -2.0723e-10 | -7.8621
130.501 | -2.0798e-10 | -7.8588
130.32 | -2.0732e-10 | -7.8559
130.139 | -2.0733e-10 | -7.8531
129.949 | -2.0768e-10 | -7.8507
129.735 | -2.0802e-10 | -7.8494
129.538 | -2.0725e-10 | -7.8474
129.256 | -2.0648e-10 | -7.8492
129.032 | -2.0758e-10 | -7.848
128.823 | -2.0651e-10 | -7.8466
128.617 | -2.0796e-10 | -7.845
128.432 | -2.0841e-10 | -7.8423
128.241 | -2.0732e-10 | -7.8395
128.036 | -2.0745e-10 | -7.8378
127.835 | -2.0834e-10 | -7.8361
127.593 | -2.0668e-10 | -7.8361
127.336 | -2.066e-10 | -7.8367
127.101 | -2.0723e-10 | -7.8362
126.861 | -2.0746e-10 | -7.8361
126.633 | -2.0795e-10 | -7.8356
126.379 | -2.0751e-10 | -7.8363
126.158 | -2.0699e-10 | -7.8351
125.912 | -2.0716e-10 | -7.8354
125.696 | -2.0724e-10 | -7.8341
125.499 | -2.0764e-10 | -7.8317
125.313 | -2.0823e-10 | -7.8293
125.143 | -2.0819e-10 | -7.826
124.983 | -2.0934e-10 | -7.822
124.833 | -2.0785e-10 | -7.8179
124.7 | -2.0808e-10 | -7.8128
124.569 | -2.0853e-10 | -7.8076
124.447 | -2.093e-10 | -7.8023
124.331 | -2.0829e-10 | -7.7967
124.214 | -2.0896e-10 | -7.7912
124.103 | -2.0902e-10 | -7.7852
123.986 | -2.0831e-10 | -7.7796
123.885 | -2.0849e-10 | -7.7735
123.782 | -2.0867e-10 | -7.7672
123.691 | -2.0834e-10 | -7.7605
123.611 | -2.083e-10 | -7.7534
123.531 | -2.0766e-10 | -7.7462
123.448 | -2.0744e-10 | -7.739
123.368 | -2.0726e-10 | -7.732
123.295 | -2.0758e-10 | -7.7246
123.226 | -2.0745e-10 | -7.7172
123.16 | -2.0624e-10 | -7.7095
123.099 | -2.0681e-10 | -7.7017
123.047 | -2.0634e-10 | -7.6935
122.995 | -2.0665e-10 | -7.6852
122.944 | -2.0752e-10 | -7.6768
122.886 | -2.0849e-10 | -7.669
122.826 | -2.0747e-10 | -7.6612
122.773 | -2.0755e-10 | -7.6527
122.722 | -2.0774e-10 | -7.6446
122.666 | -2.0805e-10 | -7.6367
122.609 | -2.0752e-10 | -7.629
122.555 | -2.0818e-10 | -7.621
122.508 | -2.0758e-10 | -7.6128
122.462 | -2.0714e-10 | -7.6042
122.416 | -2.0685e-10 | -7.5959
122.366 | -2.0619e-10 | -7.5879
122.322 | -2.0599e-10 | -7.5797
122.281 | -2.0528e-10 | -7.571
122.239 | -2.0675e-10 | -7.5626
122.205 | -2.0736e-10 | -7.5539
122.166 | -2.069e-10 | -7.5456
122.105 | -2.0736e-10 | -7.538
122.039 | -2.0578e-10 | -7.5309
121.972 | -2.0851e-10 | -7.5238
121.907 | -2.0768e-10 | -7.5166
121.845 | -2.0766e-10 | -7.5093
121.779 | -2.0787e-10 | -7.5021
121.695 | -2.0831e-10 | -7.4956
121.618 | -2.0719e-10 | -7.4889
121.555 | -2.0668e-10 | -7.4816
121.494 | -2.0704e-10 | -7.4744
121.426 | -2.0639e-10 | -7.4675
121.357 | -2.0801e-10 | -7.4607
121.289 | -2.0798e-10 | -7.4536
121.231 | -2.0864e-10 | -7.4462
121.164 | -2.0782e-10 | -7.4392
121.095 | -2.0727e-10 | -7.4321
121.018 | -2.067e-10 | -7.4255
120.95 | -2.0693e-10 | -7.4186
120.885 | -2.0668e-10 | -7.4116
120.795 | -2.06e-10 | -7.4053
120.723 | -2.0748e-10 | -7.3988
120.65 | -2.0692e-10 | -7.3923
120.575 | -2.0703e-10 | -7.3857
120.499 | -2.0639e-10 | -7.3791
120.423 | -2.0715e-10 | -7.3728
120.335 | -2.0752e-10 | -7.367
120.221 | -2.0723e-10 | -7.3624
120.123 | -2.0767e-10 | -7.3568
120.039 | -2.0702e-10 | -7.3507
119.925 | -2.0689e-10 | -7.3459
119.787 | -2.0651e-10 | -7.3421
119.689 | -2.0693e-10 | -7.3365
119.59 | -2.0665e-10 | -7.3311
119.479 | -2.079e-10 | -7.326
119.386 | -2.0706e-10 | -7.3205
119.283 | -2.0528e-10 | -7.3154
119.182 | -2.0647e-10 | -7.3101
118.934 | -2.0712e-10 | -7.311
118.636 | -2.0646e-10 | -7.3137
118.466 | -2.0724e-10 | -7.3113
118.318 | -2.066e-10 | -7.3082
117.923 | -2.0586e-10 | -7.315
117.361 | -2.0726e-10 | -7.3288
116.881 | -2.079e-10 | -7.3389
116.595 | -2.0806e-10 | -7.341
116.332 | -2.0735e-10 | -7.3423
116.05 | -2.0681e-10 | -7.3443
115.851 | -2.0615e-10 | -7.3431
115.703 | -2.0567e-10 | -7.3397
115.391 | -2.0527e-10 | -7.3431
115.097 | -2.0654e-10 | -7.3456
114.896 | -2.0669e-10 | -7.3444
114.581 | -2.0846e-10 | -7.348
113.388 | -2.0693e-10 | -7.3867
111.222 | -2.0706e-10 | -7.4644
108.257 | -2.0747e-10 | -7.5742
104.872 | -2.0781e-10 | -7.7007
101.692 | -2.0674e-10 | -7.8185
98.5906 | -2.0672e-10 | -7.9329
96.1536 | -2.0664e-10 | -8.0204
94.6978 | -2.063e-10 | -8.0685
93.9762 | -2.0586e-10 | -8.087
93.6937 | -2.0616e-10 | -8.0881
93.6213 | -2.0695e-10 | -8.0809
93.6461 | -2.0768e-10 | -8.0699
93.7226 | -2.077e-10 | -8.0569
93.829 | -2.0753e-10 | -8.0427
93.7427 | -2.0795e-10 | -8.0362
93.7122 | -2.0704e-10 | -8.0276
93.7481 | -2.071e-10 | -8.0163
93.8233 | -2.069e-10 | -8.0032
93.7421 | -2.0663e-10 | -7.9966
93.5081 | -2.0665e-10 | -7.9958
93.3317 | -2.0693e-10 | -7.993
93.2765 | -2.0584e-10 | -7.9855
93.2414 | -2.056e-10 | -7.9771
93.0067 | -2.0658e-10 | -7.9764
92.4602 | -2.0626e-10 | -7.988
92.1486 | -2.0628e-10 | -7.9906
92.0136 | -2.0639e-10 | -7.9862
91.9897 | -2.072e-10 | -7.9773
91.9393 | -2.0562e-10 | -7.9694
91.9436 | -2.0562e-10 | -7.9597
91.9274 | -2.0602e-10 | -7.9506
91.9085 | -2.0665e-10 | -7.9417
91.9274 | -2.0598e-10 | -7.9313
91.8934 | -2.0656e-10 | -7.923
91.9067 | -2.0768e-10 | -7.913
91.9449 | -2.0706e-10 | -7.902
92.0177 | -2.0685e-10 | -7.8896
92.0403 | -2.0538e-10 | -7.8794
92.0459 | -2.064e-10 | -7.8697
92.0652 | -2.0708e-10 | -7.8594
92.0975 | -2.0709e-10 | -7.8487
92.1579 | -2.0589e-10 | -7.837
92.1739 | -2.0649e-10 | -7.8269
92.1464 | -2.064e-10 | -7.8187
92.0758 | -2.069e-10 | -7.8121
92.0229 | -2.063e-10 | -7.8048
92.0355 | -2.0795e-10 | -7.7948
91.7785 | -2.0602e-10 | -7.7953
91.309 | -2.0646e-10 | -7.8039
90.8812 | -2.0728e-10 | -7.8109
90.6669 | -2.0686e-10 | -7.8098
90.5935 | -2.0675e-10 | -7.8033
90.5295 | -2.0576e-10 | -7.7966
90.4893 | -2.0675e-10 | -7.7888
90.4245 | -2.0637e-10 | -7.782
90.4351 | -2.0671e-10 | -7.7724
90.4415 | -2.0507e-10 | -7.763
90.4185 | -2.0572e-10 | -7.7547
90.4001 | -2.0632e-10 | -7.7464
90.4071 | -2.0598e-10 | -7.7371
90.422 | -2.0676e-10 | -7.7276
89.6308 | -2.0622e-10 | -7.748
89.1068 | -2.0709e-10 | -7.7587
89.0079 | -2.0563e-10 | -7.7534
88.9636 | -2.0559e-10 | -7.746
88.9898 | -2.0587e-10 | -7.736
89.0096 | -2.0486e-10 | -7.7263
89.0204 | -2.046e-10 | -7.717
89.0865 | -2.047e-10 | -7.7056
89.1723 | -2.0487e-10 | -7.6935
89.1672 | -2.0428e-10 | -7.6848
88.8146 | -2.0426e-10 | -7.6889
88.6332 | -2.0571e-10 | -7.6868
88.6254 | -2.0591e-10 | -7.6782
88.6694 | -2.0547e-10 | -7.6676
88.6819 | -2.0556e-10 | -7.6581
88.7226 | -2.0574e-10 | -7.6477
88.7943 | -2.0579e-10 | -7.6364
88.8553 | -2.0753e-10 | -7.6254
88.9405 | -2.063e-10 | -7.6133
88.9967 | -2.0638e-10 | -7.6025
89.0138 | -2.0675e-10 | -7.5933
89.0807 | -2.0571e-10 | -7.5822
89.1207 | -2.0549e-10 | -7.5721
89.1995 | -2.0539e-10 | -7.5607
89.24 | -2.0577e-10 | -7.5505
89.2663 | -2.0631e-10 | -7.541
89.3042 | -2.0632e-10 | -7.531
89.3414 | -2.0549e-10 | -7.521
89.4166 | -2.0487e-10 | -7.5096
89.3862 | -2.0562e-10 | -7.5022
88.8664 | -2.0659e-10 | -7.5126
88.3493 | -2.0629e-10 | -7.5228
88.277 | -2.0617e-10 | -7.517
88.2906 | -2.0571e-10 | -7.5081
88.3237 | -2.0531e-10 | -7.4985
88.3515 | -2.0493e-10 | -7.4891
88.3974 | -2.0541e-10 | -7.479
88.4626 | -2.056e-10 | -7.468
88.5127 | -2.0513e-10 | -7.4578
88.5498 | -2.0547e-10 | -7.4481
88.3759 | -2.0574e-10 | -7.446
88.3104 | -2.0597e-10 | -7.4399
88.3068 | -2.0543e-10 | -7.4317
88.3496 | -2.0563e-10 | -7.4218
88.4133 | -2.0594e-10 | -7.4113
88.3666 | -2.0619e-10 | -7.4046
87.3292 | -2.0619e-10 | -7.4331
87.3547 | -2.0512e-10 | -7.424
87.3163 | -2.0577e-10 | -7.417
87.3042 | -2.0561e-10 | -7.4089
87.2035 | -2.0569e-10 | -7.404
86.5203 | -2.0625e-10 | -7.4199
86.5307 | -2.0618e-10 | -7.4112
86.5753 | -2.0558e-10 | -7.4013
86.6224 | -2.0532e-10 | -7.3915
85.2497 | -2.0529e-10 | -7.4316
85.275 | -2.0556e-10 | -7.4224
85.1841 | -2.0637e-10 | -7.4175
85.1703 | -2.0722e-10 | -7.4098
85.2192 | -2.0577e-10 | -7.3999
85.2168 | -2.0504e-10 | -7.392
84.9757 | -2.0544e-10 | -7.3923
84.9226 | -2.0584e-10 | -7.3861
84.9348 | -2.0471e-10 | -7.3775
84.939 | -2.0541e-10 | -7.3693
84.7755 | -2.0512e-10 | -7.367
84.5775 | -2.0513e-10 | -7.3659
84.5851 | -2.0488e-10 | -7.3575
84.6261 | -2.0385e-10 | -7.3481
84.5244 | -2.0542e-10 | -7.3437
84.2928 | -2.0511e-10 | -7.3437
84.2886 | -2.0546e-10 | -7.3359
84.3521 | -2.0519e-10 | -7.3258
84.4535 | -2.0626e-10 | -7.3143
84.5659 | -2.0603e-10 | -7.3025
84.5874 | -2.0447e-10 | -7.2937
83.9188 | -2.0556e-10 | -7.3086
83.7294 | -2.0565e-10 | -7.3072
83.6885 | -2.0605e-10 | -7.3007
83.7369 | -2.0409e-10 | -7.2912
83.6538 | -2.0403e-10 | -7.2862
83.5979 | -2.0401e-10 | -7.2794
83.5979 | -2.038e-10 | -7.2715
83.6157 | -2.0415e-10 | -7.2631
83.5071 | -2.0541e-10 | -7.2591
83.3854 | -2.0343e-10 | -7.2555
83.3708 | -2.0338e-10 | -7.2482
83.4231 | -2.0478e-10 | -7.2386
83.4789 | -2.0474e-10 | -7.229
83.5663 | -2.0531e-10 | -7.2183
83.6716 | -2.0367e-10 | -7.2071
83.798 | -2.054e-10 | -7.1951
83.9103 | -2.0538e-10 | -7.1837
83.9066 | -2.0463e-10 | -7.1762
83.6603 | -2.0518e-10 | -7.1769
83.5874 | -2.0442e-10 | -7.1716
83.5837 | -2.0391e-10 | -7.1641
83.6331 | -2.0405e-10 | -7.1548
83.666 | -2.0411e-10 | -7.1462
83.7585 | -2.0352e-10 | -7.1355
83.8737 | -2.0499e-10 | -7.1242
83.9353 | -2.0602e-10 | -7.1146
82.9421 | -2.0616e-10 | -7.1402
82.1405 | -2.0657e-10 | -7.1593
82.0056 | -2.0451e-10 | -7.1563
81.9604 | -2.0428e-10 | -7.1502
82.022 | -2.0468e-10 | -7.1407
81.8181 | -2.0402e-10 | -7.14
81.881 | -2.0456e-10 | -7.1304
81.9633 | -2.0529e-10 | -7.1202
82.0403 | -2.0427e-10 | -7.1101
82.1419 | -2.039e-10 | -7.0993
82.1334 | -2.0441e-10 | -7.0922
82.1753 | -2.0432e-10 | -7.0835
82.2641 | -2.0458e-10 | -7.0729
82.3524 | -2.0413e-10 | -7.0626
82.4721 | -2.0472e-10 | -7.0512
82.5887 | -2.0502e-10 | -7.0399
82.6876 | -2.036e-10 | -7.0294
82.7435 | -2.0455e-10 | -7.0202
82.6856 | -2.0388e-10 | -7.0148
82.7147 | -2.0348e-10 | -7.0065
82.7946 | -2.0455e-10 | -6.9966
82.8881 | -2.0399e-10 | -6.9862
82.9906 | -2.0438e-10 | -6.9754
83.0635 | -2.0578e-10 | -6.9659
83.0911 | -2.0419e-10 | -6.9577
83.148 | -2.0568e-10 | -6.9486
83.2148 | -2.0509e-10 | -6.9393
83.3111 | -2.0454e-10 | -6.9291
83.3544 | -2.0595e-10 | -6.9205
83.3745 | -2.0461e-10 | -6.9128
83.3726 | -2.0562e-10 | -6.9059
83.4282 | -2.0385e-10 | -6.8968
83.4219 | -2.0384e-10 | -6.8898
83.4682 | -2.0509e-10 | -6.8813
83.5513 | -2.0524e-10 | -6.8714
83.6052 | -2.0447e-10 | -6.8627
83.5743 | -2.0361e-10 | -6.8567
83.3684 | -2.0362e-10 | -6.8563
83.2779 | -2.0442e-10 | -6.8523
83.2917 | -2.0435e-10 | -6.8449
83.3674 | -2.0434e-10 | -6.8355
83.407 | -2.0421e-10 | -6.8273
82.6597 | -2.0488e-10 | -6.8443
82.3439 | -2.0539e-10 | -6.8475
82.2914 | -2.0633e-10 | -6.842
82.3086 | -2.058e-10 | -6.8345
82.3581 | -2.0701e-10 | -6.8259
82.4569 | -2.0568e-10 | -6.8159
82.5596 | -2.0555e-10 | -6.8057
82.6532 | -2.0703e-10 | -6.796
82.7636 | -2.0562e-10 | -6.7858
82.8144 | -2.0538e-10 | -6.7772
82.8737 | -2.0625e-10 | -6.7684
82.9361 | -2.0624e-10 | -6.7597
83.0451 | -2.0488e-10 | -6.7495
83.1646 | -2.0499e-10 | -6.7388
83.2906 | -2.0477e-10 | -6.7282
83.4004 | -2.0399e-10 | -6.7179
83.5406 | -2.043e-10 | -6.7066
83.5677 | -2.0494e-10 | -6.6991
82.6716 | -2.0611e-10 | -6.7205
82.6603 | -2.0428e-10 | -6.7142
82.6325 | -2.0547e-10 | -6.7083
82.6823 | -2.0586e-10 | -6.7001
82.4309 | -2.0529e-10 | -6.7014
82.3839 | -2.046e-10 | -6.6961
82.3947 | -2.0483e-10 | -6.6892
82.4707 | -2.0569e-10 | -6.6801
82.5428 | -2.0533e-10 | -6.6713
82.6109 | -2.0459e-10 | -6.6624
82.624 | -2.0434e-10 | -6.6554
82.6785 | -2.0517e-10 | -6.6471
82.7048 | -2.0389e-10 | -6.6396
82.7917 | -2.0502e-10 | -6.6304
82.9117 | -2.0498e-10 | -6.6202
83.039 | -2.0443e-10 | -6.6097
83.1217 | -2.036e-10 | -6.6007
82.6373 | -2.0432e-10 | -6.6093
82.3365 | -2.048e-10 | -6.6119
82.3097 | -2.0441e-10 | -6.6063
82.3382 | -2.0433e-10 | -6.599
82.3465 | -2.0499e-10 | -6.5923
81.983 | -2.0441e-10 | -6.5971
81.9915 | -2.0552e-10 | -6.5904
82.0544 | -2.0534e-10 | -6.582
82.1168 | -2.0439e-10 | -6.5737
82.181 | -2.0547e-10 | -6.5653
82.244 | -2.0454e-10 | -6.5571
82.343 | -2.0519e-10 | -6.5477
82.3765 | -2.0509e-10 | -6.5404
82.2965 | -2.0403e-10 | -6.5365
82.3303 | -2.0477e-10 | -6.5291
82.4176 | -2.0478e-10 | -6.5202
82.4806 | -2.0523e-10 | -6.5118
81.8313 | -2.0401e-10 | -6.5252
81.5553 | -2.0371e-10 | -6.5272
81.4364 | -2.0424e-10 | -6.5244
81.3848 | -2.0515e-10 | -6.5198
81.3224 | -2.0541e-10 | -6.5154
81.0056 | -2.0481e-10 | -6.5188
80.7937 | -2.0522e-10 | -6.5189
80.698 | -2.0486e-10 | -6.5156
80.6736 | -2.0555e-10 | -6.5102
80.6433 | -2.0592e-10 | -6.5048
80.4937 | -2.0456e-10 | -6.503
80.4396 | -2.0391e-10 | -6.4986
80.4246 | -2.0506e-10 | -6.4926
80.4749 | -2.0516e-10 | -6.4849
80.5208 | -2.0217e-10 | -6.4773
80.5994 | -2.0464e-10 | -6.4688

## Pulse
Temperature | Current | Time
80.6653 | -2.0432e-10 | 1.084
80.8257 | -2.0376e-10 | 3.0002
80.9794 | -2.0568e-10 | 4.8735
81.1418 | -2.0474e-10 | 6.8089
81.2235 | -2.0377e-10 | 8.6922
81.3311 | -2.0448e-10 | 10.601
81.4718 | -2.0427e-10 | 12.4756
81.5901 | -2.0494e-10 | 14.3556
81.6495 | -2.0534e-10 | 16.2318
81.7771 | -2.0489e-10 | 18.1136
81.897 | -2.0541e-10 | 19.9926

## Measurements
Temperature | Current | Temp Rate
81.9977 | -1.0491e-08 | 0
82.1753 | -2.4445e-10 | 0.4401
82.4605 | -2.4369e-10 | 1.2622
82.782 | -2.4306e-10 | 2.0321
83.1081 | -2.4301e-10 | 2.6708
83.4061 | -2.4185e-10 | 3.3163
83.7063 | -2.4165e-10 | 3.8079
83.9789 | -2.4118e-10 | 4.2765
84.305 | -2.4087e-10 | 4.7799
84.6204 | -2.4024e-10 | 5.169
84.8473 | -2.3969e-10 | 16.3042
85.1224 | -2.3905e-10 | 20.1695
85.4338 | -2.3868e-10 | 29.3215
85.7063 | -2.3707e-10 | 63.8415
86.0673 | -2.3766e-10 | 92.8582
86.3423 | -2.3766e-10 | 6.5849
86.6459 | -2.3745e-10 | 6.7866
86.9226 | -2.3659e-10 | 6.98
87.2685 | -2.3487e-10 | 215.774
87.5241 | -2.3504e-10 | 7.3475
87.803 | -2.3534e-10 | 7.506
88.1523 | -2.3476e-10 | 7.6734
88.4473 | -2.3399e-10 | 7.7323
88.7257 | -2.3294e-10 | 7.8199
89.0134 | -2.3306e-10 | 7.9268
89.3259 | -2.3365e-10 | 8.0081
89.6493 | -2.3224e-10 | 8.1256
89.9125 | -2.3259e-10 | 8.1785
90.2504 | -2.3293e-10 | 8.2481
90.5148 | -2.3281e-10 | 8.3084
90.8231 | -2.32e-10 | 8.3717
91.1435 | -2.3231e-10 | 8.4296
91.4546 | -2.3227e-10 | 8.4577
91.7609 | -2.3199e-10 | 8.4882
92.0517 | -2.3182e-10 | 8.5177
92.3209 | -2.324e-10 | 8.5675
92.6428 | -2.3112e-10 | 8.6095
92.9427 | -2.3097e-10 | 8.6233
93.3056 | -2.2957e-10 | 8.6047
93.5634 | -2.2997e-10 | 8.6768
93.8065 | -2.2977e-10 | 8.712
94.1306 | -2.2832e-10 | 8.7234
94.4145 | -2.2983e-10 | 8.7494
94.7477 | -2.2658e-10 | 8.7814
95.0287 | -2.2561e-10 | 8.8121
95.3206 | -2.2372e-10 | 8.8428
95.6634 | -2.2111e-10 | 8.8399
95.9363 | -2.1926e-10 | 8.8272
96.2406 | -2.169e-10 | 8.852
96.4999 | -2.1537e-10 | 8.8742
96.8258 | -2.1226e-10 | 8.9025
97.1229 | -2.0988e-10 | 8.9378
97.4357 | -2.0851e-10 | 8.9606
97.7227 | -2.0729e-10 | 8.9582
98.0595 | -2.0464e-10 | 8.9674
98.3072 | -2.0424e-10 | 8.993
98.619 | -2.0502e-10 | 9.0091
98.9649 | -2.0348e-10 | 9.0269
99.2519 | -2.0466e-10 | 9.0336
99.561 | -2.0493e-10 | 9.0467
99.8475 | -2.0523e-10 | 9.0673
100.109 | -2.0526e-10 | 9.0856
100.446 | -2.0416e-10 | 9.102
100.727 | -2.0492e-10 | 9.1258
101.052 | -2.0546e-10 | 9.1246
101.341 | -2.045e-10 | 9.1433
101.653 | -2.0545e-10 | 9.158
101.904 | -2.0625e-10 | 9.1561
102.205 | -2.0628e-10 | 9.1545
102.519 | -2.0348e-10 | 9.1485
102.814 | -2.052e-10 | 9.16
103.17 | -2.0561e-10 | 9.1668
103.428 | -2.0527e-10 | 9.1816
103.725 | -2.0615e-10 | 9.199
104.07 | -2.045e-10 | 9.2237
104.341 | -2.0395e-10 | 9.2413
104.603 | -2.0594e-10 | 9.2614
104.902 | -2.0443e-10 | 9.2834
105.221 | -2.0461e-10 | 9.2999
105.555 | -2.0421e-10 | 9.3209
105.828 | -2.0354e-10 | 9.3342
106.147 | -2.0446e-10 | 9.3464
106.41 | -2.0406e-10 | 9.358
106.73 | -2.0421e-10 | 9.3721
107.048 | -2.041e-10 | 9.3876
107.358 | -2.0462e-10 | 9.396
107.603 | -2.0475e-10 | 9.3878
107.915 | -2.051e-10 | 9.3838
108.262 | -2.0566e-10 | 9.3849
108.519 | -2.0567e-10 | 9.3941
108.818 | -2.0549e-10 | 9.4084
109.126 | -2.0547e-10 | 9.4133
109.414 | -2.0541e-10 | 9.4243
109.724 | -2.0544e-10 | 9.4344
110.002 | -2.0578e-10 | 9.4436
110.362 | -2.0506e-10 | 9.4483
110.65 | -2.0494e-10 | 9.4586
110.92 | -2.0623e-10 | 9.4618
111.226 | -2.0561e-10 | 9.472
111.533 | -2.0525e-10 | 9.4757
111.837 | -2.0653e-10 | 9.4826
112.138 | -2.0516e-10 | 9.4873
112.412 | -2.0572e-10 | 9.492
112.736 | -2.0632e-10 | 9.4905
113.035 | -2.0592e-10 | 9.4944
113.341 | -2.049e-10 | 9.5018
113.63 | -2.0568e-10 | 9.4994
113.906 | -2.0598e-10 | 9.5024
114.233 | -2.0718e-10 | 9.4992
114.508 | -2.0628e-10 | 9.505
114.807 | -2.0671e-10 | 9.5079
115.108 | -2.0618e-10 | 9.5139
115.419 | -2.0678e-10 | 9.5184
115.709 | -2.074e-10 | 9.5268
116.049 | -2.0763e-10 | 9.5317
116.306 | -2.0759e-10 | 9.5369
116.66 | -2.073e-10 | 9.5407
116.956 | -2.0749e-10 | 9.5426
117.207 | -2.0764e-10 | 9.5497
117.56 | -2.0739e-10 | 9.5526
117.849 | -2.0659e-10 | 9.5591
118.148 | -2.0739e-10 | 9.5607
118.425 | -2.0656e-10 | 9.5628
118.706 | -2.0639e-10 | 9.5617
119 | -2.0751e-10 | 9.5638
119.352 | -2.0757e-10 | 9.5661
119.639 | -2.0719e-10 | 9.5728
119.924 | -2.0678e-10 | 9.5752
120.227 | -2.0781e-10 | 9.5806
120.529 | -2.0802e-10 | 9.5805
120.818 | -2.0719e-10 | 9.5876
121.119 | -2.0776e-10 | 9.5874
121.417 | -2.0812e-10 | 9.594
121.763 | -2.0875e-10 | 9.5951
122.048 | -2.0841e-10 | 9.5982
122.317 | -2.0786e-10 | 9.6002
122.603 | -2.0844e-10 | 9.6046
122.905 | -2.0736e-10 | 9.6089
123.24 | -2.0773e-10 | 9.6121
123.541 | -2.0705e-10 | 9.6124
123.842 | -2.0796e-10 | 9.6151
124.127 | -2.0792e-10 | 9.62
124.425 | -2.0714e-10 | 9.6193
124.759 | -2.085e-10 | 9.6246
125.043 | -2.0824e-10 | 9.6282
125.345 | -2.0657e-10 | 9.6303
125.663 | -2.0854e-10 | 9.631
125.912 | -2.0808e-10 | 9.6358
126.21 | -2.0672e-10 | 9.6384
126.511 | -2.0683e-10 | 9.64
126.806 | -2.0636e-10 | 9.642
127.111 | -2.075e-10 | 9.6454
127.411 | -2.0724e-10 | 9.6459
127.74 | -2.089e-10 | 9.6481
128.006 | -2.0793e-10 | 9.6483
128.338 | -2.0681e-10 | 9.6508
128.659 | -2.0777e-10 | 9.6498
128.908 | -2.0807e-10 | 9.6524
129.239 | -2.0701e-10 | 9.6551
129.545 | -2.0737e-10 | 9.6591
129.85 | -2.0705e-10 | 9.6622
130.101 | -2.0782e-10 | 9.6636
130.404 | -2.0666e-10 | 9.6674
130.739 | -2.0749e-10 | 9.6688
131.044 | -2.064e-10 | 9.6712
131.358 | -2.0666e-10 | 9.673
131.657 | -2.0728e-10 | 9.6747
131.955 | -2.0779e-10 | 9.6766
132.239 | -2.0767e-10 | 9.6784
132.538 | -2.0722e-10 | 9.6806
132.845 | -2.0738e-10 | 9.6842
133.144 | -2.068e-10 | 9.6843
133.404 | -2.0584e-10 | 9.6858
133.718 | -2.0592e-10 | 9.6848
134.017 | -2.0583e-10 | 9.6867
134.3 | -2.0742e-10 | 9.6895
134.621 | -2.0679e-10 | 9.6906
134.925 | -2.0806e-10 | 9.6948
135.231 | -2.0656e-10 | 9.6986
135.532 | -2.0631e-10 | 9.6973
135.831 | -2.0649e-10 | 9.7015
136.132 | -2.078e-10 | 9.701
136.434 | -2.079e-10 | 9.7058
136.738 | -2.0759e-10 | 9.7052
137.036 | -2.061e-10 | 9.7074
137.343 | -2.0662e-10 | 9.7077
137.62 | -2.0724e-10 | 9.708
137.913 | -2.0685e-10 | 9.7093
138.207 | -2.0689e-10 | 9.7087
138.505 | -2.0702e-10 | 9.71
138.827 | -2.0679e-10 | 9.711
139.126 | -2.0704e-10 | 9.7124
139.4 | -2.0748e-10 | 9.7137
139.749 | -2.0811e-10 | 9.7152
140.051 | -2.0713e-10 | 9.717
140.304 | -2.0655e-10 | 9.7191
140.609 | -2.0805e-10 | 9.7219
140.915 | -2.0741e-10 | 9.7231
141.208 | -2.0666e-10 | 9.7236
141.561 | -2.0723e-10 | 9.7249
141.834 | -2.0759e-10 | 9.7279
142.145 | -2.0821e-10 | 9.7288
142.45 | -2.0694e-10 | 9.7339
142.748 | -2.0734e-10 | 9.7346
143.049 | -2.0594e-10 | 9.7358
143.349 | -2.0683e-10 | 9.7357
143.65 | -2.0675e-10 | 9.7373
143.933 | -2.0564e-10 | 9.7393
144.236 | -2.0556e-10 | 9.7415
144.533 | -2.0632e-10 | 9.7413
144.818 | -2.0584e-10 | 9.7412
145.12 | -2.0588e-10 | 9.7427
145.424 | -2.0527e-10 | 9.7444
145.73 | -2.0532e-10 | 9.7464
146.02 | -2.0429e-10 | 9.7454
146.319 | -2.0588e-10 | 9.7451
146.622 | -2.0559e-10 | 9.7477
146.929 | -2.0531e-10 | 9.7493
147.218 | -2.0388e-10 | 9.752
147.532 | -2.0448e-10 | 9.752
147.833 | -2.0441e-10 | 9.7549
148.132 | -2.0501e-10 | 9.7546
148.413 | -2.0506e-10 | 9.7557
148.712 | -2.0448e-10 | 9.7573
149.016 | -2.0517e-10 | 9.7591
149.318 | -2.0562e-10 | 9.7584
149.649 | -2.0552e-10 | 9.7603
149.9 | -2.0651e-10 | 9.7613
150.203 | -2.063e-10 | 9.7636
150.557 | -2.055e-10 | 9.7636
150.834 | -2.0596e-10 | 9.7648
151.134 | -2.0581e-10 | 9.7657
151.437 | -2.0452e-10 | 9.7677
151.743 | -2.0547e-10 | 9.7693
152.044 | -2.0492e-10 | 9.7705
152.354 | -2.0694e-10 | 9.7691
152.652 | -2.0692e-10 | 9.7701
152.9 | -2.0744e-10 | 9.7722
153.2 | -2.0584e-10 | 9.7723
153.502 | -2.0581e-10 | 9.7737
153.804 | -2.059e-10 | 9.7753
154.11 | -2.0461e-10 | 9.777
154.456 | -2.0564e-10 | 9.7764
154.755 | -2.0514e-10 | 9.7768
155.058 | -2.0539e-10 | 9.7775
155.312 | -2.0631e-10 | 9.7808
155.6 | -2.066e-10 | 9.7825
155.93 | -2.0737e-10 | 9.7815
156.217 | -2.0612e-10 | 9.7783
156.544 | -2.0577e-10 | 9.7791
156.845 | -2.0664e-10 | 9.7808
157.149 | -2.0568e-10 | 9.7803
157.453 | -2.0667e-10 | 9.7821
157.74 | -2.0788e-10 | 9.7816
158.037 | -2.0542e-10 | 9.7834
158.341 | -2.0605e-10 | 9.7828
158.647 | -2.0545e-10 | 9.7845
158.937 | -2.0666e-10 | 9.787
159.24 | -2.0661e-10 | 9.7885
159.525 | -2.0674e-10 | 9.7877
159.819 | -2.0651e-10 | 9.7875
160.118 | -2.0435e-10 | 9.7878
160.419 | -2.0446e-10 | 9.789
160.722 | -2.0517e-10 | 9.7906
161.028 | -2.0496e-10 | 9.7903
161.329 | -2.0574e-10 | 9.7931
161.635 | -2.0495e-10 | 9.7872
161.924 | -2.0555e-10 | 9.7871
162.213 | -2.0656e-10 | 9.7889
162.523 | -2.0546e-10 | 9.7911
162.837 | -2.0665e-10 | 9.7938
163.129 | -2.0546e-10 | 9.7938
163.434 | -2.0601e-10 | 9.7936
163.741 | -2.0668e-10 | 9.7958
164.031 | -2.0675e-10 | 9.7979
164.339 | -2.0591e-10 | 9.7978
164.644 | -2.0572e-10 | 9.8007
164.901 | -2.0592e-10 | 9.8021
165.211 | -2.05e-10 | 9.8044
165.511 | -2.0494e-10 | 9.805
165.85 | -2.0556e-10 | 9.8025
166.149 | -2.0581e-10 | 9.8036
166.403 | -2.0442e-10 | 9.8057
166.76 | -2.0598e-10 | 9.8064
167.014 | -2.0509e-10 | 9.8084
167.322 | -2.0584e-10 | 9.8104
167.632 | -2.0642e-10 | 9.8121
167.929 | -2.0708e-10 | 9.8109
168.226 | -2.0744e-10 | 9.8112
168.526 | -2.066e-10 | 9.8128
168.827 | -2.0649e-10 | 9.8136
169.115 | -2.0667e-10 | 9.8151
169.417 | -2.0711e-10 | 9.8161
169.722 | -2.0688e-10 | 9.8153
170.014 | -2.0601e-10 | 9.8168
170.314 | -2.0686e-10 | 9.8175
170.618 | -2.0645e-10 | 9.8186
170.922 | -2.0645e-10 | 9.8193
171.229 | -2.0497e-10 | 9.8206
171.523 | -2.0481e-10 | 9.8207
171.846 | -2.0533e-10 | 9.8182
172.138 | -2.0599e-10 | 9.8183
172.436 | -2.0392e-10 | 9.8169
172.74 | -2.0455e-10 | 9.8191
173.047 | -2.0367e-10 | 9.8203
173.333 | -2.045e-10 | 9.8196
173.613 | -2.0368e-10 | 9.8176
173.914 | -2.0458e-10 | 9.8187
174.221 | -2.0526e-10 | 9.8203
174.531 | -2.0368e-10 | 9.8206
174.836 | -2.0333e-10 | 9.8233
175.102 | -2.0404e-10 | 9.8201
175.441 | -2.042e-10 | 9.8182
175.75 | -2.0444e-10 | 9.8197
176.012 | -2.0421e-10 | 9.8226
176.328 | -2.0431e-10 | 9.8235
176.636 | -2.0453e-10 | 9.8263
176.937 | -2.0436e-10 | 9.8262
177.259 | -2.0442e-10 | 9.8274
177.549 | -2.049e-10 | 9.8285
177.821 | -2.043e-10 | 9.8306
178.131 | -2.0436e-10 | 9.8321
178.43 | -2.0506e-10 | 9.8319
178.745 | -2.0613e-10 | 9.832
179.047 | -2.0507e-10 | 9.8326
179.348 | -2.0599e-10 | 9.8328
179.6 | -2.0523e-10 | 9.8347
179.904 | -2.0505e-10 | 9.8351
180.222 | -2.0516e-10 | 9.8355
180.538 | -2.0479e-10 | 9.8298
180.812 | -2.0492e-10 | 9.8275
181.119 | -2.054e-10 | 9.8289
181.457 | -2.058e-10 | 9.831
181.724 | -2.0568e-10 | 9.833
182.02 | -2.0494e-10 | 9.8333
182.354 | -2.0515e-10 | 9.8342
182.679 | -2.0498e-10 | 9.8345
182.902 | -2.0519e-10 | 9.837
183.21 | -2.0664e-10 | 9.8382
183.519 | -2.05e-10 | 9.8396
183.827 | -2.0483e-10 | 9.8409
184.137 | -2.0635e-10 | 9.8407
184.431 | -2.0509e-10 | 9.8416
184.724 | -2.0522e-10 | 9.8415
185.026 | -2.0504e-10 | 9.8423
185.344 | -2.0455e-10 | 9.8421
185.645 | -2.0511e-10 | 9.8427
185.949 | -2.0542e-10 | 9.8444
186.22 | -2.059e-10 | 9.8444
186.565 | -2.0403e-10 | 9.8443
186.865 | -2.0391e-10 | 9.8449
187.164 | -2.0463e-10 | 9.8448
187.411 | -2.0599e-10 | 9.8458
187.718 | -2.0598e-10 | 9.8472
188.02 | -2.0571e-10 | 9.848
188.361 | -2.0481e-10 | 9.8466
188.644 | -2.0323e-10 | 9.8452
188.946 | -2.0386e-10 | 9.8467
189.2 | -2.0506e-10 | 9.8471
189.509 | -2.0468e-10 | 9.8488
189.841 | -2.0552e-10 | 9.8475
190.13 | -2.0431e-10 | 9.847
190.453 | -2.0613e-10 | 9.847
190.711 | -2.0548e-10 | 9.849
191.019 | -2.0354e-10 | 9.8501
191.347 | -2.0412e-10 | 9.8505
191.647 | -2.0548e-10 | 9.8511
191.946 | -2.0391e-10 | 9.8525
192.247 | -2.0435e-10 | 9.8527
192.549 | -2.0447e-10 | 9.853
192.801 | -2.0385e-10 | 9.8536
193.104 | -2.0482e-10 | 9.8542
193.438 | -2.0454e-10 | 9.8539
193.73 | -2.0529e-10 | 9.8534
194.033 | -2.0541e-10 | 9.8542
194.34 | -2.0559e-10 | 9.8552
194.646 | -2.0482e-10 | 9.8549
194.951 | -2.0462e-10 | 9.8559
195.255 | -2.0565e-10 | 9.8567
195.502 | -2.0545e-10 | 9.8575
195.8 | -2.0516e-10 | 9.8573
196.149 | -2.0535e-10 | 9.8581
196.432 | -2.0462e-10 | 9.8574
196.733 | -2.0514e-10 | 9.859
197.04 | -2.0572e-10 | 9.8595
197.334 | -2.0555e-10 | 9.8591
197.63 | -2.0501e-10 | 9.8589
197.931 | -2.0543e-10 | 9.8594
198.2 | -2.0437e-10 | 9.8606
198.502 | -2.0637e-10 | 9.861
198.852 | -2.0607e-10 | 9.8613
199.164 | -2.0611e-10 | 9.8607
199.417 | -2.057e-10 | 9.8622
199.713 | -2.0581e-10 | 9.862
200.046 | -2.0627e-10 | 9.8611
200.346 | -2.055e-10 | 9.8604
200.647 | -2.0756e-10 | 9.8618
200.918 | -2.0685e-10 | 9.8615
201.221 | -2.0629e-10 | 9.8625
201.528 | -2.0642e-10 | 9.8636
201.847 | -2.0622e-10 | 9.864
202.163 | -2.0721e-10 | 9.8637
202.46 | -2.0693e-10 | 9.8638
202.708 | -2.074e-10 | 9.8646
203.006 | -2.0532e-10 | 9.8647
203.324 | -2.0684e-10 | 9.8654
203.642 | -2.0578e-10 | 9.8649
203.962 | -2.0749e-10 | 9.8659
204.25 | -2.0588e-10 | 9.8669
204.534 | -2.0693e-10 | 9.8643
204.855 | -2.0586e-10 | 9.8623
205.163 | -2.0642e-10 | 9.8633
205.426 | -2.064e-10 | 9.865
205.726 | -2.0558e-10 | 9.8665
206.028 | -2.0589e-10 | 9.8669
206.343 | -2.059e-10 | 9.8642
206.646 | -2.0516e-10 | 9.8656
206.918 | -2.0506e-10 | 9.8662
207.245 | -2.0463e-10 | 9.8666
207.555 | -2.0542e-10 | 9.868
207.881 | -2.0598e-10 | 9.8687
208.122 | -2.0541e-10 | 9.8706
208.449 | -2.0587e-10 | 9.8706
208.707 | -2.0508e-10 | 9.8723
209.06 | -2.0449e-10 | 9.8712
209.301 | -2.0526e-10 | 9.8713
209.602 | -2.0518e-10 | 9.8715
209.923 | -2.0579e-10 | 9.8713
210.246 | -2.0545e-10 | 9.8728
210.517 | -2.0718e-10 | 9.8731
210.825 | -2.0498e-10 | 9.8746
211.144 | -2.061e-10 | 9.8753
211.444 | -2.0615e-10 | 9.8754
211.761 | -2.0633e-10 | 9.875
212.009 | -2.0559e-10 | 9.8759
212.358 | -2.0492e-10 | 9.8751
212.625 | -2.0563e-10 | 9.8758
212.925 | -2.0528e-10 | 9.8756
213.225 | -2.0513e-10 | 9.8767
213.519 | -2.0569e-10 | 9.8764
213.805 | -2.0613e-10 | 9.8757
214.118 | -2.0632e-10 | 9.8748
214.413 | -2.0802e-10 | 9.8756
214.729 | -2.083e-10 | 9.8756
215.034 | -2.0709e-10 | 9.8768
215.339 | -2.0703e-10 | 9.8774
215.644 | -2.0621e-10 | 9.8773
215.967 | -2.063e-10 | 9.8779
216.216 | -2.0641e-10 | 9.8789
216.511 | -2.0696e-10 | 9.8787
216.808 | -2.0731e-10 | 9.8786
217.126 | -2.0641e-10 | 9.8784
217.427 | -2.0619e-10 | 9.8786
217.746 | -2.0728e-10 | 9.8792
218.048 | -2.0581e-10 | 9.8804
218.316 | -2.0631e-10 | 9.8802
218.62 | -2.0654e-10 | 9.8805
218.921 | -2.0674e-10 | 9.8814
219.202 | -2.0679e-10 | 9.8801
219.546 | -2.0725e-10 | 9.88
219.869 | -2.0743e-10 | 9.8803
220.12 | -2.0641e-10 | 9.8806
220.425 | -2.0824e-10 | 9.8821
220.729 | -2.0749e-10 | 9.8826
221.033 | -2.0696e-10 | 9.8828
221.353 | -2.0596e-10 | 9.8828
221.649 | -2.0671e-10 | 9.8822
221.946 | -2.0707e-10 | 9.8834
222.248 | -2.0772e-10 | 9.8837
222.566 | -2.0851e-10 | 9.8837
222.818 | -2.0638e-10 | 9.8846
223.12 | -2.0763e-10 | 9.8847
223.424 | -2.071e-10 | 9.8852
223.71 | -2.0679e-10 | 9.8861
224.013 | -2.056e-10 | 9.8863
224.312 | -2.0622e-10 | 9.8865
224.61 | -2.0603e-10 | 9.8863
224.923 | -2.0614e-10 | 9.8861
225.221 | -2.0759e-10 | 9.886
225.519 | -2.0641e-10 | 9.8868
225.823 | -2.0698e-10 | 9.8868
226.134 | -2.0737e-10 | 9.8868
226.43 | -2.0705e-10 | 9.8872
226.728 | -2.068e-10 | 9.8869
227.043 | -2.0671e-10 | 9.8867
227.342 | -2.0748e-10 | 9.8874
227.641 | -2.0681e-10 | 9.8873
227.943 | -2.0596e-10 | 9.8876
228.26 | -2.0626e-10 | 9.8874
228.51 | -2.076e-10 | 9.8882
228.829 | -2.0619e-10 | 9.8881
229.12 | -2.079e-10 | 9.8881
229.415 | -2.0788e-10 | 9.888
229.735 | -2.0712e-10 | 9.8879
230.002 | -2.0826e-10 | 9.8886
230.321 | -2.0736e-10 | 9.8894
230.622 | -2.071e-10 | 9.8893
230.943 | -2.0674e-10 | 9.8898
231.246 | -2.0711e-10 | 9.8901
231.55 | -2.081e-10 | 9.891
231.806 | -2.0759e-10 | 9.8911
232.126 | -2.0679e-10 | 9.8911
232.445 | -2.0721e-10 | 9.8919
232.743 | -2.0769e-10 | 9.8921
233.039 | -2.0714e-10 | 9.8921
233.335 | -2.0715e-10 | 9.8917
233.632 | -2.0784e-10 | 9.8922
233.927 | -2.0761e-10 | 9.8922
234.245 | -2.063e-10 | 9.8918
234.545 | -2.0671e-10 | 9.8918
234.815 | -2.0705e-10 | 9.8933
235.122 | -2.0724e-10 | 9.8937
235.428 | -2.0723e-10 | 9.8935
235.717 | -2.0775e-10 | 9.8925
236.017 | -2.0679e-10 | 9.8926
236.34 | -2.064e-10 | 9.8936
236.611 | -2.0743e-10 | 9.8941
236.932 | -2.0758e-10 | 9.8941
237.236 | -2.076e-10 | 9.8952
237.523 | -2.0678e-10 | 9.8957
237.809 | -2.072e-10 | 9.895
238.107 | -2.0633e-10 | 9.8951
238.41 | -2.0623e-10 | 9.895
238.729 | -2.0694e-10 | 9.8958
239.034 | -2.0696e-10 | 9.896
239.303 | -2.0671e-10 | 9.8966
239.606 | -2.0689e-10 | 9.8968
239.926 | -2.0752e-10 | 9.8968
240.228 | -2.0783e-10 | 9.897
240.524 | -2.0747e-10 | 9.8968
240.821 | -2.0694e-10 | 9.8975
241.135 | -2.0684e-10 | 9.8972
241.432 | -2.0753e-10 | 9.897
241.731 | -2.0706e-10 | 9.8976
242.048 | -2.0693e-10 | 9.8974
242.349 | -2.0683e-10 | 9.8983
242.665 | -2.0659e-10 | 9.8979
242.917 | -2.0708e-10 | 9.8987
243.239 | -2.0675e-10 | 9.8987
243.542 | -2.0714e-10 | 9.8997
243.842 | -2.0742e-10 | 9.8995
244.155 | -2.0834e-10 | 9.8991
244.4 | -2.0721e-10 | 9.8994
244.711 | -2.085e-10 | 9.8993
245.023 | -2.0751e-10 | 9.8988
245.321 | -2.0829e-10 | 9.8986
245.62 | -2.0753e-10 | 9.8996
245.935 | -2.08e-10 | 9.8993
246.236 | -2.0831e-10 | 9.8998
246.554 | -2.0663e-10 | 9.8995
246.827 | -2.0685e-10 | 9.9002
247.131 | -2.062e-10 | 9.9011
247.434 | -2.0719e-10 | 9.9011
247.701 | -2.0752e-10 | 9.9018
248.049 | -2.0762e-10 | 9.9017
248.348 | -2.0687e-10 | 9.9016
248.661 | -2.0675e-10 | 9.9013
248.959 | -2.0727e-10 | 9.9011
249.205 | -2.0777e-10 | 9.9015
249.522 | -2.0955e-10 | 9.902
249.821 | -2.0768e-10 | 9.9019
250.138 | -2.078e-10 | 9.9018
250.441 | -2.085e-10 | 9.9026
250.762 | -2.0767e-10 | 9.9024
251.052 | -2.0769e-10 | 9.9037
251.305 | -2.079e-10 | 9.9038
251.622 | -2.0809e-10 | 9.9035
251.922 | -2.0642e-10 | 9.9041
252.219 | -2.0667e-10 | 9.9038
252.534 | -2.0635e-10 | 9.9035
252.832 | -2.0693e-10 | 9.9041
253.13 | -2.0715e-10 | 9.9042
253.446 | -2.0807e-10 | 9.9046
253.746 | -2.0764e-10 | 9.9046
254.012 | -2.0711e-10 | 9.9048
254.314 | -2.0707e-10 | 9.9048
254.635 | -2.0797e-10 | 9.9055
254.929 | -2.0728e-10 | 9.905
255.234 | -2.0835e-10 | 9.9046
255.503 | -2.0718e-10 | 9.9052
255.807 | -2.0687e-10 | 9.9055
256.127 | -2.0627e-10 | 9.9052
256.432 | -2.0752e-10 | 9.9063
256.736 | -2.0613e-10 | 9.9066
257.048 | -2.0741e-10 | 9.906
257.349 | -2.0677e-10 | 9.9092
257.665 | -2.066e-10 | 9.9153
257.984 | -2.0735e-10 | 9.9212
258.3 | -2.074e-10 | 9.9269
258.614 | -2.0709e-10 | 9.9313
258.9 | -2.0762e-10 | 9.9369
259.197 | -2.0841e-10 | 9.9415
259.499 | -2.0866e-10 | 9.9451
259.756 | -2.0834e-10 | 9.949
260.045 | -2.0874e-10 | 9.9522
260.33 | -2.0921e-10 | 9.956
260.635 | -2.0842e-10 | 9.9599
260.947 | -2.0799e-10 | 9.9629
261.243 | -2.0771e-10 | 9.9638
261.506 | -2.0764e-10 | 9.9652
261.802 | -2.0752e-10 | 9.965
262.146 | -2.0739e-10 | 9.9631
262.42 | -2.0675e-10 | 9.9622
262.7 | -2.0602e-10 | 9.9605
263.004 | -2.0674e-10 | 9.958
263.302 | -2.0663e-10 | 9.9552
263.606 | -2.0689e-10 | 9.9521
263.951 | -2.06e-10 | 9.9478
264.24 | -2.0579e-10 | 9.9448
264.502 | -2.0522e-10 | 9.9418
264.835 | -2.0441e-10 | 9.9384
265.141 | -2.0594e-10 | 9.935
265.422 | -2.0681e-10 | 9.9323
265.721 | -2.0667e-10 | 9.93
266.023 | -2.0715e-10 | 9.9274
266.345 | -2.0658e-10 | 9.925
266.656 | -2.0597e-10 | 9.9226
266.926 | -2.056e-10 | 9.9217
267.259 | -2.0673e-10 | 9.9196
267.534 | -2.0507e-10 | 9.9189
267.813 | -2.0599e-10 | 9.9177
268.158 | -2.0572e-10 | 9.9164
268.442 | -2.0708e-10 | 9.9162
268.729 | -2.0732e-10 | 9.9154
269.035 | -2.0625e-10 | 9.9145
269.324 | -2.0551e-10 | 9.9148
269.633 | -2.059e-10 | 9.9139
269.926 | -2.0595e-10 | 9.9144
270.221 | -2.059e-10 | 9.9139
270.532 | -2.0642e-10 | 9.9139
270.846 | -2.0648e-10 | 9.9136
271.143 | -2.052e-10 | 9.9134
271.441 | -2.0663e-10 | 9.9139
271.706 | -2.0631e-10 | 9.914
272.005 | -2.0483e-10 | 9.9138
272.323 | -2.0728e-10 | 9.9141
272.64 | -2.0607e-10 | 9.9139
272.94 | -2.0591e-10 | 9.9144
273.258 | -2.0595e-10 | 9.9143
273.507 | -2.0659e-10 | 9.9149
273.81 | -2.0523e-10 | 9.9148
274.128 | -2.064e-10 | 9.9147
274.429 | -2.0585e-10 | 9.9152
274.745 | -2.0548e-10 | 9.9151
275.047 | -2.0698e-10 | 9.9159
275.348 | -2.0706e-10 | 9.9158
275.616 | -2.0546e-10 | 9.9164
275.917 | -2.0589e-10 | 9.9164
276.234 | -2.0574e-10 | 9.916
276.536 | -2.0598e-10 | 9.9167
276.819 | -2.0601e-10 | 9.9167
277.137 | -2.054e-10 | 9.9165
277.438 | -2.0583e-10 | 9.917
277.705 | -2.0499e-10 | 9.9176
278.022 | -2.0558e-10 | 9.9171
278.323 | -2.0564e-10 | 9.9178
278.607 | -2.0635e-10 | 9.918
278.906 | -2.049e-10 | 9.9179
279.221 | -2.0581e-10 | 9.9174
279.518 | -2.0626e-10 | 9.9179
279.818 | -2.059e-10 | 9.918
280.116 | -2.0602e-10 | 9.9179
280.432 | -2.076e-10 | 9.9177
280.747 | -2.0871e-10 | 9.9176
281.048 | -2.0794e-10 | 9.9183
281.314 | -2.0717e-10 | 9.9187
281.614 | -2.0742e-10 | 9.9186
281.931 | -2.0712e-10 | 9.9183
282.232 | -2.0611e-10 | 9.9184
282.548 | -2.0716e-10 | 9.9186
282.85 | -2.067e-10 | 9.9192
283.117 | -2.0631e-10 | 9.9194
283.433 | -2.0767e-10 | 9.9187
283.733 | -2.0762e-10 | 9.9194
284.051 | -2.0777e-10 | 9.9191
284.318 | -2.073e-10 | 9.9196
284.617 | -2.0741e-10 | 9.9199
284.936 | -2.0669e-10 | 9.9196
285.237 | -2.0601e-10 | 9.9202
285.504 | -2.0567e-10 | 9.9204
285.819 | -2.065e-10 | 9.9206
286.122 | -2.0533e-10 | 9.9205
286.438 | -2.0675e-10 | 9.9205
286.738 | -2.0655e-10 | 9.9207
287.005 | -2.0726e-10 | 9.9209
287.321 | -2.0743e-10 | 9.9206
287.639 | -2.0741e-10 | 9.9215
287.939 | -2.0738e-10 | 9.9214
288.257 | -2.0781e-10 | 9.9213
288.507 | -2.0688e-10 | 9.9217
288.823 | -2.0796e-10 | 9.9215
289.123 | -2.0805e-10 | 9.9218
289.439 | -2.079e-10 | 9.9214
289.739 | -2.0768e-10 | 9.922
290.007 | -2.0686e-10 | 9.9223
290.324 | -2.0732e-10 | 9.9219
290.623 | -2.0752e-10 | 9.9225
290.941 | -2.0645e-10 | 9.9221
291.24 | -2.0617e-10 | 9.9228
291.555 | -2.0647e-10 | 9.9226
291.823 | -2.0681e-10 | 9.9225
292.174 | -2.0636e-10 | 9.9227
292.423 | -2.0693e-10 | 9.9225
292.74 | -2.0762e-10 | 9.9229
293.039 | -2.0694e-10 | 9.9233
293.34 | -2.0651e-10 | 9.9232
293.606 | -2.057e-10 | 9.9234
293.924 | -2.0662e-10 | 9.9238
294.239 | -2.0671e-10 | 9.9231
294.505 | -2.0596e-10 | 9.9239
294.805 | -2.0561e-10 | 9.9236
295.122 | -2.0662e-10 | 9.924
295.44 | -2.0689e-10 | 9.9236
295.756 | -2.0509e-10 | 9.9237
296.022 | -2.0608e-10 | 9.9244
296.322 | -2.0714e-10 | 9.9243
296.638 | -2.0637e-10 | 9.9246
296.955 | -2.0584e-10 | 9.9244
297.204 | -2.0657e-10 | 9.9246
297.523 | -2.0603e-10 | 9.9248
297.84 | -2.0527e-10 | 9.9249
298.157 | -2.051e-10 | 9.9248
298.405 | -2.0627e-10 | 9.925
298.721 | -2.0624e-10 | 9.9251
299.033 | -2.0564e-10 | 9.9248
299.349 | -2.0676e-10 | 9.9246
299.647 | -2.0539e-10 | 9.925
299.911 | -2.0588e-10 | 9.925
300.228 | -2.0525e-10 | 9.9253
300.544 | -2.0662e-10 | 9.9254
300.846 | -2.0651e-10 | 9.9254
301.112 | -2.0515e-10 | 9.9255
301.429 | -2.0556e-10 | 9.9258
301.747 | -2.0502e-10 | 9.9254
302.063 | -2.0475e-10 | 9.9255
302.331 | -2.0589e-10 | 9.9257
302.631 | -2.0569e-10 | 9.9256
302.949 | -2.0552e-10 | 9.9257
303.214 | -2.0663e-10 | 9.9263
303.566 | -2.044e-10 | 9.9262
303.833 | -2.0499e-10 | 9.9262
304.133 | -2.0612e-10 | 9.9267
304.418 | -2.0662e-10 | 9.9265
304.717 | -2.0682e-10 | 9.9271
305.018 | -2.0648e-10 | 9.9271
305.334 | -2.059e-10 | 9.9269
305.635 | -2.0548e-10 | 9.9272
305.901 | -2.0563e-10 | 9.9275
306.22 | -2.0684e-10 | 9.9276
306.535 | -2.0572e-10 | 9.9276
306.803 | -2.0599e-10 | 9.9277
307.12 | -2.0617e-10 | 9.9274
307.42 | -2.0744e-10 | 9.9278
307.754 | -2.0694e-10 | 9.9278
308.02 | -2.0655e-10 | 9.9278
308.321 | -2.0776e-10 | 9.9283
308.637 | -2.0781e-10 | 9.9285
308.954 | -2.0798e-10 | 9.9283
309.203 | -2.0789e-10 | 9.9285
309.521 | -2.0687e-10 | 9.9282
309.82 | -2.0726e-10 | 9.9284
310.137 | -2.0715e-10 | 9.9287
310.421 | -2.0728e-10 | 9.9288
310.722 | -2.0715e-10 | 9.9291
311.038 | -2.0692e-10 | 9.9292
311.303 | -2.0668e-10 | 9.9291
311.62 | -2.0836e-10 | 9.9288
311.938 | -2.0701e-10 | 9.9288
312.237 | -2.0779e-10 | 9.9295
312.503 | -2.0692e-10 | 9.9293
312.821 | -2.0662e-10 | 9.9297
313.139 | -2.0668e-10 | 9.9295
313.439 | -2.0764e-10 | 9.93
313.705 | -2.0648e-10 | 9.93
314.004 | -2.0692e-10 | 9.9298
314.321 | -2.0707e-10 | 9.9296
314.621 | -2.0713e-10 | 9.9301
314.937 | -2.0708e-10 | 9.9302
315.204 | -2.0618e-10 | 9.9305
315.521 | -2.0688e-10 | 9.93
315.822 | -2.0698e-10 | 9.9304
316.154 | -2.0683e-10 | 9.9305
316.421 | -2.0661e-10 | 9.9304
316.737 | -2.0687e-10 | 9.9305
317.053 | -2.0749e-10 | 9.9307
317.303 | -2.0829e-10 | 9.9309
317.621 | -2.0647e-10 | 9.9307
317.92 | -2.0571e-10 | 9.9312
318.237 | -2.0631e-10 | 9.9307
318.554 | -2.0658e-10 | 9.9311
318.82 | -2.0657e-10 | 9.931
319.138 | -2.0747e-10 | 9.9315
319.404 | -2.074e-10 | 9.9316
319.737 | -2.0625e-10 | 9.9317
320.004 | -2.0653e-10 | 9.9318