## Settings
Sample Info | vr2, dot b1, e-irrad 1500mkC, run 02
Comments | +9.5/+9.5/-6 V
Additional Comments | No additional comments
Major Measurement Parameters
Starting Temperature | 308.148
Initial Temperature | 80.5
Final Temperature | 320
Preliminary Voltage | 9.5
Pulse Voltage | 9.5
Pulse Time | 20
Wait Time | 0
Measurement Voltage | -6
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 7
Measurecount | 1
Time
Date | 28.3.2024
Clock | 13:45:10

## Stabilization
Temperature | Current | Temp Rate
307.29 | -2.0217e-10 | 0
306.492 | -2.0482e-10 | -19.6817
305.992 | -2.059e-10 | -18.7712
305.311 | -2.0633e-10 | -20.2203
304.622 | -2.0492e-10 | -21.0664
304.054 | -2.0601e-10 | -20.8532
303.46 | -2.062e-10 | -20.7904
302.863 | -2.0602e-10 | -20.7402
302.126 | -2.0649e-10 | -21.3311
301.475 | -2.0588e-10 | -21.4316
300.819 | -2.0586e-10 | -24.9263
300.221 | -2.0514e-10 | -30.6402
299.505 | -2.0602e-10 | -44.9679
298.893 | -2.0696e-10 | -97.623
298.297 | -2.0711e-10 | -156.1998
297.582 | -2.0733e-10 | -20.0849
296.874 | -2.0724e-10 | -20.3357
296.282 | -2.0851e-10 | -20.3453
295.688 | -2.0769e-10 | -403.4586
295.051 | -2.0759e-10 | -20.4389
294.308 | -2.0809e-10 | -20.6692
293.685 | -2.0839e-10 | -20.7151
293.089 | -2.0876e-10 | -20.7222
292.379 | -2.0858e-10 | -20.8663
291.844 | -2.0854e-10 | -20.7841
291.26 | -2.0829e-10 | -20.7744
290.689 | -2.0746e-10 | -20.7434
290.187 | -2.0782e-10 | -20.6252
289.671 | -2.0762e-10 | -20.5356
289.105 | -2.0862e-10 | -20.4912
288.506 | -2.0816e-10 | -20.4791
287.899 | -2.076e-10 | -20.4972
287.388 | -2.0781e-10 | -20.4055
286.898 | -2.0798e-10 | -20.3119
286.256 | -2.0811e-10 | -20.3677
285.662 | -2.0846e-10 | -20.3687
285.175 | -2.0904e-10 | -20.2778
284.674 | -2.0887e-10 | -20.2038
284.095 | -2.0855e-10 | -20.1958
283.38 | -2.0723e-10 | -20.3127
282.88 | -2.0923e-10 | -20.2445
282.353 | -2.0775e-10 | -20.1956
281.757 | -2.071e-10 | -20.2025
281.082 | -2.0827e-10 | -20.2721
280.435 | -2.0957e-10 | -20.319
279.884 | -2.0802e-10 | -20.2914
279.37 | -2.0768e-10 | -20.2418
278.834 | -2.0742e-10 | -20.2042
278.339 | -2.0724e-10 | -20.1307
277.701 | -2.0669e-10 | -20.1736
277.116 | -2.0864e-10 | -20.1763
276.647 | -2.0783e-10 | -20.0991
276.135 | -2.0856e-10 | -20.0583
275.456 | -2.0778e-10 | -20.1234
274.97 | -2.0764e-10 | -20.0639
274.398 | -2.08e-10 | -20.0651
273.833 | -2.077e-10 | -20.053
273.219 | -2.0822e-10 | -20.0732
272.578 | -2.0743e-10 | -20.1111
272.036 | -2.0923e-10 | -20.0885
271.367 | -2.0925e-10 | -20.1373
270.793 | -2.0835e-10 | -20.1326
270.122 | -2.0762e-10 | -20.1779
269.596 | -2.0823e-10 | -20.1471
269.051 | -2.0804e-10 | -20.1271
268.32 | -2.0779e-10 | -20.2031
267.765 | -2.0821e-10 | -20.1878
267.158 | -2.0765e-10 | -20.1998
266.586 | -2.0829e-10 | -20.1902
266.04 | -2.0769e-10 | -20.1754
265.63 | -2.0775e-10 | -20.089
265.047 | -2.0693e-10 | -20.0924
264.565 | -2.0776e-10 | -20.0449
264.057 | -2.081e-10 | -20.0086
263.6 | -2.0767e-10 | -19.9543
263.057 | -2.0788e-10 | -19.9408
262.635 | -2.0748e-10 | -19.8727
262.098 | -2.0754e-10 | -19.8565
261.666 | -2.0775e-10 | -19.7965
261.16 | -2.0804e-10 | -19.7665
260.582 | -2.0776e-10 | -19.7681
259.884 | -2.073e-10 | -19.824
259.287 | -2.0746e-10 | -19.8304
258.635 | -2.0819e-10 | -19.8638
257.811 | -2.082e-10 | -19.9615
257.165 | -2.0864e-10 | -19.987
256.597 | -2.0922e-10 | -19.9836
255.924 | -2.0876e-10 | -20.0179
255.353 | -2.0915e-10 | -20.0155
254.576 | -2.0902e-10 | -20.0924
254.04 | -2.0785e-10 | -20.0746
253.455 | -2.0931e-10 | -20.0736
252.931 | -2.0907e-10 | -20.0535
252.213 | -2.0858e-10 | -20.1042
251.73 | -2.0829e-10 | -20.0695
251.241 | -2.0985e-10 | -20.0365
250.762 | -2.1032e-10 | -20.0012
250.202 | -2.0964e-10 | -19.996
249.647 | -2.0856e-10 | -19.9882
249.13 | -2.079e-10 | -19.9669
248.704 | -2.094e-10 | -19.9168
248.315 | -2.0915e-10 | -19.8544
247.994 | -2.0863e-10 | -19.7692
247.673 | -2.0923e-10 | -19.6855
247.381 | -2.0865e-10 | -19.5934
247.022 | -2.078e-10 | -19.524
246.488 | -2.0888e-10 | -19.5098
246.132 | -2.0888e-10 | -19.4402
245.799 | -2.0872e-10 | -19.365
245.468 | -2.0925e-10 | -19.291
245.148 | -2.0859e-10 | -19.2148
244.867 | -2.0819e-10 | -19.1281
244.49 | -2.0835e-10 | -19.0755
243.948 | -2.0872e-10 | -19.0703
243.626 | -2.086e-10 | -18.9982
243.329 | -2.0763e-10 | -18.9219
243.065 | -2.0832e-10 | -18.8307
242.844 | -2.0898e-10 | -18.7351
242.657 | -2.0894e-10 | -18.6292
242.516 | -2.0868e-10 | -18.5123
242.279 | -2.0887e-10 | -18.4266
241.768 | -2.0971e-10 | -18.4196
241.31 | -2.0955e-10 | -18.3966
240.615 | -2.091e-10 | -18.4412
240.001 | -2.094e-10 | -18.4625
239.522 | -2.0914e-10 | -18.4456
238.888 | -2.0848e-10 | -18.4708
238.277 | -2.0918e-10 | -18.4896
237.66 | -2.0893e-10 | -18.5087
237.069 | -2.0765e-10 | -18.5218
236.609 | -2.0933e-10 | -18.5008
236.033 | -2.0952e-10 | -18.5096
235.42 | -2.0931e-10 | -18.5272
234.844 | -2.0819e-10 | -18.5354
234.455 | -2.0944e-10 | -18.4952
234.088 | -2.0949e-10 | -18.4513
233.768 | -2.0948e-10 | -18.3959
233.32 | -2.0908e-10 | -18.3728
232.999 | -2.0854e-10 | -18.3188
232.447 | -2.0901e-10 | -18.3225
232.113 | -2.0894e-10 | -18.2742
231.826 | -2.0916e-10 | -18.2143
231.55 | -2.0986e-10 | -18.1512
231.305 | -2.0872e-10 | -18.0821
231.109 | -2.091e-10 | -18.0021
230.947 | -2.087e-10 | -17.9172
230.819 | -2.0912e-10 | -17.8258
230.725 | -2.0832e-10 | -17.7269
230.316 | -2.0962e-10 | -17.7005
229.972 | -2.0963e-10 | -17.6577
229.494 | -2.091e-10 | -17.6456
229.18 | -2.1022e-10 | -17.6001
228.656 | -2.0999e-10 | -17.6027
228.328 | -2.1092e-10 | -17.5598
227.951 | -2.0924e-10 | -17.5291
227.448 | -2.0955e-10 | -17.5242
227.186 | -2.1007e-10 | -17.4688
226.806 | -2.1008e-10 | -17.4404
226.524 | -2.1152e-10 | -17.3905
226.203 | -2.1106e-10 | -17.3496
225.831 | -2.109e-10 | -17.319
225.495 | -2.1068e-10 | -17.2821
225.094 | -2.107e-10 | -17.2582
224.851 | -2.0943e-10 | -17.2041
224.26 | -2.1094e-10 | -17.2224
223.949 | -2.1033e-10 | -17.1823
223.689 | -2.0888e-10 | -17.1318
223.445 | -2.0993e-10 | -17.0773
223.241 | -2.0957e-10 | -17.0149
223.083 | -2.0886e-10 | -16.9466
222.963 | -2.1046e-10 | -16.872
222.864 | -2.0948e-10 | -16.7939
222.788 | -2.0866e-10 | -16.7104
222.72 | -2.1028e-10 | -16.6247
222.668 | -2.0863e-10 | -16.5405
222.62 | -2.0953e-10 | -16.4552
222.578 | -2.0913e-10 | -16.3698
222.537 | -2.1011e-10 | -16.2845
222.499 | -2.0992e-10 | -16.1991
222.463 | -2.1075e-10 | -16.1164
222.424 | -2.1079e-10 | -16.0341
222.388 | -2.1051e-10 | -15.9517
222.353 | -2.1071e-10 | -15.8703
222.317 | -2.1095e-10 | -15.791
222.281 | -2.12e-10 | -15.7119
222.245 | -2.1082e-10 | -15.6344
222.209 | -2.1105e-10 | -15.5577
222.168 | -2.1047e-10 | -15.4796
222.033 | -2.1031e-10 | -15.4213
221.511 | -2.1162e-10 | -15.4322
221.027 | -2.1035e-10 | -15.4362
220.327 | -2.1062e-10 | -15.4802
219.926 | -2.0994e-10 | -15.4715
219.352 | -2.1022e-10 | -15.493
218.843 | -2.0993e-10 | -15.5015
218.203 | -2.0931e-10 | -15.5329
217.755 | -2.1106e-10 | -15.53
217.352 | -2.1117e-10 | -15.5203
217.008 | -2.0916e-10 | -15.4995
216.738 | -2.1079e-10 | -15.4682
216.544 | -2.1022e-10 | -15.4243
216.391 | -2.1112e-10 | -15.3728
216.276 | -2.1045e-10 | -15.3146
216.188 | -2.1004e-10 | -15.2542
216.123 | -2.1015e-10 | -15.1908
216.069 | -2.1105e-10 | -15.1261
216.023 | -2.1117e-10 | -15.0597
215.985 | -2.1117e-10 | -14.994
215.891 | -2.105e-10 | -14.9366
215.58 | -2.104e-10 | -14.914
215.284 | -2.1041e-10 | -14.8907
214.889 | -2.0964e-10 | -14.8831
214.482 | -2.1087e-10 | -14.8775
214.025 | -2.0959e-10 | -14.88
213.718 | -2.1043e-10 | -14.8586
213.342 | -2.0934e-10 | -14.85
213.133 | -2.0916e-10 | -14.8134
212.794 | -2.0953e-10 | -14.7986
212.622 | -2.095e-10 | -14.7569
212.306 | -2.094e-10 | -14.7373
212.168 | -2.0953e-10 | -14.6915
212.032 | -2.0826e-10 | -14.646
211.962 | -2.0964e-10 | -14.5905
211.749 | -2.1036e-10 | -14.5559
211.669 | -2.104e-10 | -14.5023
211.458 | -2.1206e-10 | -14.469
211.384 | -2.1e-10 | -14.4156
211.225 | -2.0926e-10 | -14.3762
211.123 | -2.169e-10 | -14.3267
211.058 | -2.1498e-10 | -14.2735
210.983 | -2.0778e-10 | -14.2221
210.88 | -2.1155e-10 | -14.1746
210.651 | -2.0938e-10 | -14.1474
210.176 | -2.0936e-10 | -14.1557
209.942 | -2.0889e-10 | -14.1279
209.477 | -2.0939e-10 | -14.1346
209.265 | -2.0995e-10 | -14.1061
209.096 | -2.0893e-10 | -14.0705
208.936 | -2.0944e-10 | -14.0344
208.809 | -2.0879e-10 | -13.994
208.691 | -2.0908e-10 | -13.9514
208.589 | -2.0858e-10 | -13.9076
208.482 | -2.0913e-10 | -13.8643
208.374 | -2.0933e-10 | -13.8213
208.264 | -2.0973e-10 | -13.7794
207.939 | -2.1007e-10 | -13.7673
207.781 | -2.0881e-10 | -13.7318
207.315 | -2.1001e-10 | -13.7403
206.912 | -2.0991e-10 | -13.7391
206.674 | -2.0992e-10 | -13.7156
206.474 | -2.0895e-10 | -13.6869
206.303 | -2.0983e-10 | -13.6556
206.137 | -2.0921e-10 | -13.6238
205.985 | -2.09e-10 | -13.5905
205.849 | -2.0827e-10 | -13.555
205.714 | -2.0899e-10 | -13.5198
205.584 | -2.0927e-10 | -13.4834
205.457 | -2.0854e-10 | -13.4474
205.325 | -2.0849e-10 | -13.4124
205.201 | -2.0897e-10 | -13.3764
205.073 | -2.0871e-10 | -13.3413
204.946 | -2.0857e-10 | -13.3065
204.818 | -2.0938e-10 | -13.2721
204.693 | -2.0852e-10 | -13.2377
204.551 | -2.0886e-10 | -13.2042
204.415 | -2.0785e-10 | -13.1693
204.281 | -2.0944e-10 | -13.1367
204.145 | -2.0897e-10 | -13.1048
204.007 | -2.0904e-10 | -13.0725
203.872 | -2.0969e-10 | -13.0411
203.72 | -2.1058e-10 | -13.0115
203.573 | -2.0897e-10 | -12.9816
203.426 | -2.1029e-10 | -12.9522
203.29 | -2.0868e-10 | -12.9212
203.142 | -2.0912e-10 | -12.8926
202.985 | -2.0889e-10 | -12.8638
202.825 | -2.0847e-10 | -12.837
202.67 | -2.0907e-10 | -12.8098
202.509 | -2.1001e-10 | -12.7825
202.336 | -2.0774e-10 | -12.7567
202.161 | -2.097e-10 | -12.732
201.976 | -2.1035e-10 | -12.7085
201.798 | -2.0974e-10 | -12.6809
201.629 | -2.1055e-10 | -12.6558
201.455 | -2.1015e-10 | -12.6321
201.253 | -2.0956e-10 | -12.6116
201.056 | -2.0988e-10 | -12.5903
200.767 | -2.0996e-10 | -12.5807
200.575 | -2.1004e-10 | -12.5597
200.349 | -2.0977e-10 | -12.5422
199.988 | -2.0971e-10 | -12.5406
199.731 | -2.1047e-10 | -12.5272
199.515 | -2.0972e-10 | -12.5095
199.274 | -2.1081e-10 | -12.4939
199.024 | -2.1066e-10 | -12.4795
198.767 | -2.1184e-10 | -12.4661
198.513 | -2.1045e-10 | -12.4529
198.256 | -2.0962e-10 | -12.4396
197.999 | -2.0947e-10 | -12.4256
197.73 | -2.0945e-10 | -12.4135
197.436 | -2.0966e-10 | -12.404
197.143 | -2.11e-10 | -12.3945
196.829 | -2.0907e-10 | -12.3884
196.398 | -2.0965e-10 | -12.3942
195.88 | -2.0997e-10 | -12.4102
195.386 | -2.0932e-10 | -12.4243
194.795 | -2.1017e-10 | -12.4486
194.193 | -2.1058e-10 | -12.4729
193.585 | -2.0984e-10 | -12.4983
193.053 | -2.093e-10 | -12.5151
192.596 | -2.0835e-10 | -12.5243
192.118 | -2.0945e-10 | -12.5362
191.532 | -2.1003e-10 | -12.5591
190.968 | -2.1049e-10 | -12.5784
190.559 | -2.0996e-10 | -12.5824
190.138 | -2.1086e-10 | -12.5874
189.698 | -2.1115e-10 | -12.5947
189.17 | -2.1025e-10 | -12.6107
188.62 | -2.107e-10 | -12.6288
188.118 | -2.0952e-10 | -12.6417
187.58 | -2.0983e-10 | -12.659
187.01 | -2.0866e-10 | -12.6788
186.464 | -2.0828e-10 | -12.6963
186.011 | -2.0902e-10 | -12.7043
185.542 | -2.0945e-10 | -12.7132
184.955 | -2.1007e-10 | -12.7343
184.32 | -2.1061e-10 | -12.7609
183.72 | -2.1044e-10 | -12.7832
183.076 | -2.1002e-10 | -12.81
182.208 | -2.0949e-10 | -12.86
181.148 | -2.0968e-10 | -12.9284
179.944 | -2.0893e-10 | -13.0114
178.617 | -2.0991e-10 | -13.1064
177.554 | -2.1043e-10 | -13.175
176.572 | -2.1009e-10 | -13.2342
175.634 | -2.1082e-10 | -13.288
174.892 | -2.1028e-10 | -13.3232
174.229 | -2.0953e-10 | -13.3479
173.642 | -2.0948e-10 | -13.3655
173.142 | -2.0923e-10 | -13.3757
172.641 | -2.0931e-10 | -13.3857
172.105 | -2.0888e-10 | -13.3984
171.61 | -2.0943e-10 | -13.4078
171.111 | -2.0847e-10 | -13.4168
170.598 | -2.0964e-10 | -13.4274
170.122 | -2.0964e-10 | -13.4349
169.531 | -2.0902e-10 | -13.4535
168.891 | -2.0997e-10 | -13.4769
168.211 | -2.0966e-10 | -13.5041
167.427 | -2.087e-10 | -13.5411
166.678 | -2.0893e-10 | -13.5745
165.991 | -2.1048e-10 | -13.6015
165.364 | -2.0872e-10 | -13.6228
164.816 | -2.0933e-10 | -13.6365
164.305 | -2.1023e-10 | -13.6456
163.813 | -2.0997e-10 | -13.6535
163.339 | -2.0985e-10 | -13.6597
162.876 | -2.0923e-10 | -13.6653
162.421 | -2.1016e-10 | -13.6695
161.967 | -2.0961e-10 | -13.6736
161.504 | -2.0883e-10 | -13.6792
161.047 | -2.0881e-10 | -13.6829
160.598 | -2.093e-10 | -13.6869
160.157 | -2.0958e-10 | -13.6895
159.725 | -2.0932e-10 | -13.6914
159.291 | -2.0972e-10 | -13.6939
158.856 | -2.0919e-10 | -13.696
158.424 | -2.0911e-10 | -13.6981
157.991 | -2.0983e-10 | -13.6999
157.554 | -2.0963e-10 | -13.7016
157.1 | -2.099e-10 | -13.7051
156.605 | -2.1024e-10 | -13.7128
156.108 | -2.1137e-10 | -13.7206
155.641 | -2.1007e-10 | -13.7255
155.169 | -2.1002e-10 | -13.7312
154.658 | -2.1112e-10 | -13.739
154.225 | -2.1024e-10 | -13.7411
153.757 | -2.0922e-10 | -13.7461
153.257 | -2.1066e-10 | -13.7538
152.821 | -2.0962e-10 | -13.7562
152.353 | -2.1072e-10 | -13.761
151.865 | -2.0899e-10 | -13.7671
151.317 | -2.0997e-10 | -13.7784
150.789 | -2.1024e-10 | -13.7873
150.317 | -2.1071e-10 | -13.7925
149.825 | -2.1064e-10 | -13.7996
149.257 | -2.1007e-10 | -13.8132
148.769 | -2.0972e-10 | -13.8197
148.271 | -2.1041e-10 | -13.8266
147.704 | -2.1144e-10 | -13.839
147.176 | -2.1138e-10 | -13.8486
146.71 | -2.1149e-10 | -13.8529
146.167 | -2.1082e-10 | -13.8631
145.408 | -2.0983e-10 | -13.8926
144.476 | -2.098e-10 | -13.9361
143.664 | -2.1034e-10 | -13.9699
142.707 | -2.1068e-10 | -14.0157
141.504 | -2.1062e-10 | -14.0822
140.243 | -2.0987e-10 | -14.152
139.155 | -2.0915e-10 | -14.2084
137.906 | -2.1033e-10 | -14.2778
136.214 | -2.1134e-10 | -14.3825
134.469 | -2.1104e-10 | -14.4926
132.941 | -2.0982e-10 | -14.5835
131.628 | -2.1057e-10 | -14.6566
130.536 | -2.111e-10 | -14.7107
129.705 | -2.1065e-10 | -14.7427
128.825 | -2.1007e-10 | -14.7781
127.782 | -2.1087e-10 | -14.8274
126.578 | -2.1017e-10 | -14.8895
125.509 | -2.1083e-10 | -14.9405
124.518 | -2.1069e-10 | -14.985
122.827 | -2.1222e-10 | -15.0855
120.623 | -2.1085e-10 | -15.2278
118.299 | -2.1057e-10 | -15.3798
116.236 | -2.1153e-10 | -15.5095
114.742 | -2.107e-10 | -15.5921
112.802 | -2.0994e-10 | -15.7104
110.222 | -2.098e-10 | -15.8797
107.008 | -2.1025e-10 | -16.0997
103.401 | -2.0991e-10 | -16.3502
99.314 | -2.1007e-10 | -16.638
95.0709 | -2.1025e-10 | -16.9362
92.221 | -2.1071e-10 | -17.1226
91.1231 | -2.1107e-10 | -17.1683
90.7333 | -2.1063e-10 | -17.157
90.6278 | -2.1073e-10 | -17.1248
90.6419 | -2.1168e-10 | -17.0827
87.281 | -2.1147e-10 | -17.307
83.9775 | -2.1082e-10 | -17.524
82.6795 | -2.1001e-10 | -17.584
81.9657 | -2.1048e-10 | -17.5982
81.6949 | -2.1104e-10 | -17.578
81.3566 | -2.1069e-10 | -17.5628
81.311 | -2.1102e-10 | -17.525
81.2758 | -2.1059e-10 | -17.487
81.2255 | -2.1039e-10 | -17.4503
81.1798 | -2.1063e-10 | -17.4127
81.1018 | -2.1034e-10 | -17.3774
81.0651 | -2.1064e-10 | -17.3391
81.0975 | -2.1104e-10 | -17.2956
81.0934 | -2.1057e-10 | -17.2565
81.0714 | -2.0944e-10 | -17.2187
81.0464 | -2.1006e-10 | -17.1812
81.0183 | -2.1024e-10 | -17.1437
80.9883 | -2.102e-10 | -17.1066
80.9712 | -2.1019e-10 | -17.0695
80.9157 | -2.1071e-10 | -17.0351
80.9342 | -2.1018e-10 | -16.9955
80.9481 | -2.1037e-10 | -16.9561
80.9297 | -2.0964e-10 | -16.9192
80.8994 | -2.0943e-10 | -16.8837
80.867 | -2.0939e-10 | -16.8471
80.8196 | -2.107e-10 | -16.8131
80.8037 | -2.1038e-10 | -16.7768

## Pulse
Temperature | Current | Time
80.8357 | -2.1047e-10 | 1.0916
80.8241 | -2.1071e-10 | 2.8814
80.7773 | -2.1011e-10 | 4.6626
80.7161 | -2.1026e-10 | 6.4617
80.6433 | -2.1168e-10 | 8.2533
80.5711 | -2.1183e-10 | 10.0203
80.5176 | -2.1156e-10 | 11.7979
80.5121 | -2.1065e-10 | 13.5849
80.4966 | -2.0981e-10 | 15.3686
80.4927 | -2.1094e-10 | 17.1486
80.4665 | -2.1089e-10 | 18.9411

## Measurements
Temperature | Current | Temp Rate
80.4104 | -1.0495e-08 | 0
80.517 | -2.879e-10 | 0.64342
80.8181 | -2.7043e-10 | 1.7144
81.1329 | -2.624e-10 | 2.5413
81.4167 | -2.5814e-10 | 3.1209
81.7757 | -2.5353e-10 | 3.7518
82.0324 | -2.5257e-10 | 4.1835
82.349 | -2.5098e-10 | 4.5775
82.6607 | -2.4972e-10 | 4.8578
82.9173 | -2.4792e-10 | 4.9431
83.2712 | -2.4683e-10 | 7.6124
83.8819 | -2.4654e-10 | 12.6208
85.2754 | -2.456e-10 | 23.5252
86.1246 | -2.4039e-10 | 26.3719
87.928 | -2.4013e-10 | 37.0585
88.7963 | -2.3947e-10 | 9.8416
89.0843 | -2.3954e-10 | 10.0449
89.3019 | -2.3856e-10 | 9.9864
89.7502 | -2.377e-10 | 341.3516
90.2788 | -2.3785e-10 | 10.4379
91.5846 | -2.3578e-10 | 11.2148
92.5497 | -2.3575e-10 | 11.4675
92.8156 | -2.3544e-10 | 11.4629
93.1696 | -2.3457e-10 | 10.4885
93.5013 | -2.3173e-10 | 9.6813
93.9509 | -2.3275e-10 | 9.9148
94.394 | -2.3195e-10 | 10.1072
95.649 | -2.3133e-10 | 9.9916
96.6689 | -2.3006e-10 | 10.05
96.9138 | -2.3165e-10 | 10.0731
97.2446 | -2.3092e-10 | 10.0806
97.5475 | -2.2891e-10 | 9.5076
97.9056 | -2.3021e-10 | 9.6291
98.2854 | -2.2909e-10 | 9.7406
98.4865 | -2.2996e-10 | 9.7532
98.7847 | -2.2886e-10 | 9.3986
99.1745 | -2.2869e-10 | 9.5021
99.3443 | -2.2953e-10 | 9.5013
99.7136 | -2.2975e-10 | 9.3189
100.165 | -2.2886e-10 | 9.4558
101.681 | -2.2824e-10 | 9.9328
102.553 | -2.2797e-10 | 10.227
103.031 | -2.2781e-10 | 10.3612
103.435 | -2.2781e-10 | 10.4588
103.784 | -2.2722e-10 | 10.5169
104.093 | -2.2743e-10 | 10.5732
104.35 | -2.2777e-10 | 10.6125
104.614 | -2.2766e-10 | 10.6451
104.857 | -2.2802e-10 | 10.6684
105.085 | -2.2795e-10 | 10.6751
105.294 | -2.2759e-10 | 10.6844
105.516 | -2.2687e-10 | 10.6833
105.82 | -2.2668e-10 | 10.6154
106.128 | -2.2553e-10 | 10.4239
106.421 | -2.2591e-10 | 10.3085
106.732 | -2.2731e-10 | 10.1611
107.077 | -2.2431e-10 | 9.715
107.349 | -2.2456e-10 | 9.7427
107.643 | -2.226e-10 | 9.7573
107.934 | -2.2293e-10 | 9.7134
108.242 | -2.2185e-10 | 9.7245
108.527 | -2.2149e-10 | 9.7614
108.854 | -2.2097e-10 | 9.812
109.229 | -2.2151e-10 | 9.8661
109.554 | -2.2096e-10 | 9.9204
109.809 | -2.1925e-10 | 9.9413
110.015 | -2.1856e-10 | 9.8852
110.378 | -2.1819e-10 | 9.8257
110.628 | -2.169e-10 | 9.8562
110.973 | -2.1765e-10 | 9.8995
111.266 | -2.1643e-10 | 9.9474
111.588 | -2.1586e-10 | 9.9926
111.897 | -2.1504e-10 | 10.0315
112.186 | -2.1499e-10 | 10.0646
112.445 | -2.1463e-10 | 10.0737
112.739 | -2.1317e-10 | 9.9506
113.066 | -2.1311e-10 | 9.9462
113.361 | -2.1259e-10 | 9.9736
113.665 | -2.1252e-10 | 9.9967
113.968 | -2.1223e-10 | 10.0116
114.223 | -2.1232e-10 | 10.0273
114.546 | -2.1212e-10 | 10.0143
114.86 | -2.1176e-10 | 10.0131
115.143 | -2.1179e-10 | 10.0284
115.471 | -2.1185e-10 | 10.0384
115.726 | -2.1139e-10 | 10.0207
116.046 | -2.117e-10 | 9.9938
116.367 | -2.1207e-10 | 9.9928
116.624 | -2.1223e-10 | 10.0063
116.948 | -2.1258e-10 | 9.8156
117.254 | -2.1399e-10 | 9.838
117.567 | -2.1281e-10 | 9.8678
117.855 | -2.1174e-10 | 9.8778
118.146 | -2.1227e-10 | 9.8696
118.455 | -2.138e-10 | 9.8901
118.724 | -2.1258e-10 | 9.9201
119.034 | -2.124e-10 | 9.953
119.347 | -2.1153e-10 | 9.9872
119.659 | -2.1281e-10 | 10.02
119.958 | -2.1327e-10 | 10.0499
120.244 | -2.1178e-10 | 10.07
120.588 | -2.1264e-10 | 10.0987
120.822 | -2.1308e-10 | 10.1183
121.131 | -2.1195e-10 | 10.138
121.458 | -2.1313e-10 | 10.1502
121.72 | -2.1291e-10 | 10.1584
122.077 | -2.1374e-10 | 10.1599
122.346 | -2.132e-10 | 10.1617
122.636 | -2.1287e-10 | 10.1493
122.945 | -2.1263e-10 | 10.121
123.249 | -2.1146e-10 | 10.1052
123.534 | -2.1225e-10 | 10.0975
123.836 | -2.1148e-10 | 10.091
124.134 | -2.1271e-10 | 10.0793
124.411 | -2.1208e-10 | 10.0684
124.731 | -2.1249e-10 | 10.0407
125.062 | -2.1117e-10 | 10.0282
125.343 | -2.1218e-10 | 10.0215
125.643 | -2.1308e-10 | 10.013
125.941 | -2.12e-10 | 10.006
126.254 | -2.1103e-10 | 10.0014
126.531 | -2.1181e-10 | 9.9962
126.842 | -2.1275e-10 | 9.985
127.155 | -2.1271e-10 | 9.9756
127.458 | -2.1227e-10 | 9.972
127.733 | -2.1198e-10 | 9.9729
128.043 | -2.1112e-10 | 9.9686
128.34 | -2.1139e-10 | 9.9535
128.658 | -2.1196e-10 | 9.9479
128.917 | -2.112e-10 | 9.9486
129.251 | -2.1192e-10 | 9.947
129.538 | -2.1183e-10 | 9.9508
129.832 | -2.1173e-10 | 9.9498
130.126 | -2.1196e-10 | 9.9566
130.433 | -2.1154e-10 | 9.9533
130.714 | -2.1152e-10 | 9.9537
131.035 | -2.1239e-10 | 9.9498
131.357 | -2.1135e-10 | 9.9522
131.628 | -2.1171e-10 | 9.9514
131.978 | -2.1205e-10 | 9.9561
132.26 | -2.119e-10 | 9.9617
132.553 | -2.1241e-10 | 9.9613
132.814 | -2.1271e-10 | 9.9614
133.15 | -2.1283e-10 | 9.9607
133.449 | -2.1277e-10 | 9.9639
133.732 | -2.126e-10 | 9.9688
134.064 | -2.1237e-10 | 9.9672
134.313 | -2.131e-10 | 9.965
134.656 | -2.1203e-10 | 9.9649
134.937 | -2.1175e-10 | 9.9624
135.228 | -2.1263e-10 | 9.9632
135.527 | -2.1301e-10 | 9.967
135.84 | -2.1322e-10 | 9.9711
136.119 | -2.1178e-10 | 9.9741
136.451 | -2.1296e-10 | 9.9717
136.749 | -2.1402e-10 | 9.9705
137.018 | -2.136e-10 | 9.9681
137.356 | -2.1418e-10 | 9.9695
137.652 | -2.1477e-10 | 9.971
137.971 | -2.1315e-10 | 9.9738
138.268 | -2.1266e-10 | 9.9742
138.534 | -2.1243e-10 | 9.9568
138.839 | -2.133e-10 | 9.9322
139.125 | -2.1371e-10 | 9.9335
139.443 | -2.1163e-10 | 9.9393
139.715 | -2.1238e-10 | 9.9467
140.048 | -2.1382e-10 | 9.956
140.387 | -2.1389e-10 | 9.9633
140.636 | -2.1278e-10 | 9.9703
140.956 | -2.1277e-10 | 9.9762
141.229 | -2.1341e-10 | 9.9746
141.565 | -2.1435e-10 | 9.9661
141.846 | -2.1306e-10 | 9.9656
142.132 | -2.1254e-10 | 9.966
142.421 | -2.1297e-10 | 9.971
142.753 | -2.1263e-10 | 9.977
143.012 | -2.1321e-10 | 9.9812
143.328 | -2.1478e-10 | 9.9859
143.649 | -2.1353e-10 | 9.9875
143.935 | -2.1333e-10 | 9.9886
144.257 | -2.1317e-10 | 9.9905
144.549 | -2.1289e-10 | 9.9917
144.842 | -2.1247e-10 | 9.9939
145.129 | -2.1348e-10 | 9.9941
145.45 | -2.1393e-10 | 9.9924
145.748 | -2.1355e-10 | 9.9889
146.014 | -2.1427e-10 | 9.9877
146.325 | -2.1328e-10 | 9.9858
146.663 | -2.1374e-10 | 9.9788
146.937 | -2.1439e-10 | 9.9643
147.238 | -2.1395e-10 | 9.9485
147.562 | -2.1461e-10 | 9.9461
147.864 | -2.147e-10 | 9.9511
148.133 | -2.1478e-10 | 9.9542
148.463 | -2.1416e-10 | 9.9648
148.762 | -2.1427e-10 | 9.9752
149.059 | -2.1356e-10 | 9.9822
149.349 | -2.1401e-10 | 9.9905
149.642 | -2.1369e-10 | 9.9995
149.916 | -2.1376e-10 | 10.0089
150.26 | -2.143e-10 | 10.0189
150.575 | -2.1466e-10 | 10.0207
150.841 | -2.139e-10 | 10.0261
151.145 | -2.1378e-10 | 10.0325
151.464 | -2.1472e-10 | 10.0355
151.743 | -2.1462e-10 | 10.0387
152.031 | -2.1463e-10 | 10.038
152.344 | -2.139e-10 | 10.0387
152.645 | -2.1407e-10 | 10.0334
152.941 | -2.1368e-10 | 10.0306
153.257 | -2.1548e-10 | 10.0273
153.572 | -2.149e-10 | 10.0251
153.839 | -2.1602e-10 | 10.0238
154.172 | -2.1441e-10 | 10.0199
154.438 | -2.1548e-10 | 10.0175
154.748 | -2.1476e-10 | 10.0146
155.043 | -2.1506e-10 | 10.0118
155.372 | -2.155e-10 | 10.009
155.621 | -2.1487e-10 | 10.0068
155.933 | -2.1568e-10 | 10.0048
156.233 | -2.1424e-10 | 10.0018
156.552 | -2.1512e-10 | 9.9989
156.851 | -2.1427e-10 | 9.9977
157.12 | -2.1504e-10 | 9.9964
157.438 | -2.1506e-10 | 9.9934
157.745 | -2.1525e-10 | 9.9923
158.02 | -2.1459e-10 | 9.9915
158.345 | -2.1514e-10 | 9.9909
158.666 | -2.1576e-10 | 9.9879
158.939 | -2.1481e-10 | 9.9871
159.247 | -2.1555e-10 | 9.9854
159.554 | -2.1464e-10 | 9.9859
159.835 | -2.1536e-10 | 9.986
160.169 | -2.1449e-10 | 9.9844
160.443 | -2.1453e-10 | 9.9835
160.756 | -2.1596e-10 | 9.9808
161.035 | -2.155e-10 | 9.9802
161.353 | -2.153e-10 | 9.9818
161.644 | -2.1536e-10 | 9.9832
161.926 | -2.1397e-10 | 9.982
162.245 | -2.1416e-10 | 9.983
162.529 | -2.1387e-10 | 9.9835
162.816 | -2.1413e-10 | 9.9839
163.158 | -2.1448e-10 | 9.9838
163.428 | -2.1343e-10 | 9.9851
163.712 | -2.1313e-10 | 9.9857
164.037 | -2.1371e-10 | 9.9832
164.376 | -2.1444e-10 | 9.9845
164.646 | -2.138e-10 | 9.9853
164.932 | -2.14e-10 | 9.9862
165.262 | -2.1429e-10 | 9.9853
165.527 | -2.1395e-10 | 9.9853
165.812 | -2.1405e-10 | 9.9858
166.14 | -2.1316e-10 | 9.9838
166.459 | -2.1506e-10 | 9.9827
166.73 | -2.1422e-10 | 9.9814
167.051 | -2.1362e-10 | 9.9827
167.346 | -2.1292e-10 | 9.9825
167.632 | -2.1335e-10 | 9.9832
167.961 | -2.1214e-10 | 9.9835
168.229 | -2.1299e-10 | 9.9841
168.519 | -2.1334e-10 | 9.9851
168.863 | -2.1392e-10 | 9.9851
169.15 | -2.1364e-10 | 9.9865
169.425 | -2.1426e-10 | 9.9861
169.754 | -2.136e-10 | 9.9849
170.022 | -2.1429e-10 | 9.9852
170.361 | -2.1297e-10 | 9.9868
170.651 | -2.1309e-10 | 9.9856
170.939 | -2.1371e-10 | 9.9869
171.213 | -2.1475e-10 | 9.9867
171.528 | -2.1516e-10 | 9.9839
171.842 | -2.1453e-10 | 9.9843
172.134 | -2.1422e-10 | 9.9858
172.426 | -2.1457e-10 | 9.9867
172.731 | -2.1451e-10 | 9.986
173.06 | -2.1382e-10 | 9.9854
173.331 | -2.1424e-10 | 9.9848
173.674 | -2.1396e-10 | 9.9853
173.948 | -2.1321e-10 | 9.9869
174.24 | -2.1421e-10 | 9.9878
174.53 | -2.1249e-10 | 9.9889
174.818 | -2.1116e-10 | 9.9895
175.155 | -2.1321e-10 | 9.99
175.433 | -2.1306e-10 | 9.9886
175.745 | -2.123e-10 | 9.989
176.023 | -2.1257e-10 | 9.988
176.355 | -2.1297e-10 | 9.9872
176.643 | -2.129e-10 | 9.9883
176.931 | -2.1322e-10 | 9.9887
177.243 | -2.1327e-10 | 9.9877
177.529 | -2.1322e-10 | 9.9879
177.816 | -2.1369e-10 | 9.9898
178.16 | -2.1426e-10 | 9.9894
178.43 | -2.1511e-10 | 9.989
178.712 | -2.1444e-10 | 9.9894
179.061 | -2.1453e-10 | 9.988
179.349 | -2.1486e-10 | 9.9899
179.638 | -2.1361e-10 | 9.9905
179.971 | -2.1437e-10 | 9.9897
180.237 | -2.1474e-10 | 9.9899
180.519 | -2.1352e-10 | 9.9905
180.835 | -2.132e-10 | 9.9897
181.122 | -2.1405e-10 | 9.9906
181.411 | -2.1434e-10 | 9.9911
181.747 | -2.138e-10 | 9.9915
182.034 | -2.1304e-10 | 9.9916
182.32 | -2.1275e-10 | 9.9912
182.617 | -2.1402e-10 | 9.9917
182.953 | -2.1498e-10 | 9.9912
183.247 | -2.139e-10 | 9.9915
183.532 | -2.1399e-10 | 9.9906
183.848 | -2.1408e-10 | 9.9916
184.128 | -2.1473e-10 | 9.9916
184.459 | -2.1452e-10 | 9.9899
184.741 | -2.1477e-10 | 9.9898
185.073 | -2.127e-10 | 9.99
185.356 | -2.1221e-10 | 9.9904
185.623 | -2.1324e-10 | 9.9909
185.958 | -2.1347e-10 | 9.9901
186.276 | -2.1424e-10 | 9.9906
186.56 | -2.135e-10 | 9.9906
186.823 | -2.1437e-10 | 9.9909
187.156 | -2.1395e-10 | 9.9904
187.442 | -2.1458e-10 | 9.9912
187.727 | -2.1305e-10 | 9.9914
188.012 | -2.1398e-10 | 9.9915
188.344 | -2.1366e-10 | 9.9905
188.628 | -2.1461e-10 | 9.9907
188.968 | -2.1488e-10 | 9.9913
189.254 | -2.146e-10 | 9.9915
189.522 | -2.1352e-10 | 9.9922
189.856 | -2.1436e-10 | 9.9925
190.138 | -2.1495e-10 | 9.9927
190.421 | -2.1433e-10 | 9.9928
190.74 | -2.1504e-10 | 9.9922
191.043 | -2.1268e-10 | 9.9921
191.328 | -2.1439e-10 | 9.9936
191.611 | -2.1399e-10 | 9.9933
191.943 | -2.1408e-10 | 9.9924
192.259 | -2.1542e-10 | 9.993
192.561 | -2.1446e-10 | 9.9928
192.83 | -2.152e-10 | 9.9935
193.166 | -2.1305e-10 | 9.9928
193.448 | -2.1209e-10 | 9.9932
193.716 | -2.1406e-10 | 9.9934
194.048 | -2.1282e-10 | 9.9937
194.327 | -2.1385e-10 | 9.9933
194.658 | -2.133e-10 | 9.993
194.955 | -2.1315e-10 | 9.9929
195.24 | -2.1319e-10 | 9.9919
195.514 | -2.1231e-10 | 9.9924
195.832 | -2.1213e-10 | 9.991
196.119 | -2.1242e-10 | 9.9917
196.462 | -2.1302e-10 | 9.9912
196.753 | -2.1218e-10 | 9.9919
197.044 | -2.1176e-10 | 9.9937
197.328 | -2.1187e-10 | 9.9935
197.662 | -2.1174e-10 | 9.9928
197.944 | -2.1228e-10 | 9.9928
198.226 | -2.1241e-10 | 9.9936
198.555 | -2.1268e-10 | 9.9933
198.834 | -2.1295e-10 | 9.9914
199.159 | -2.1261e-10 | 9.9922
199.436 | -2.1166e-10 | 9.9915
199.754 | -2.1226e-10 | 9.9905
200.042 | -2.1221e-10 | 9.9911
200.329 | -2.1227e-10 | 9.9926
200.667 | -2.1426e-10 | 9.9918
200.952 | -2.1296e-10 | 9.9925
201.238 | -2.1209e-10 | 9.9923
201.574 | -2.135e-10 | 9.9928
201.855 | -2.1103e-10 | 9.9923
202.137 | -2.1256e-10 | 9.9925
202.47 | -2.1301e-10 | 9.9921
202.753 | -2.1195e-10 | 9.992
203.039 | -2.1139e-10 | 9.9934
203.375 | -2.124e-10 | 9.9931
203.641 | -2.126e-10 | 9.9935
203.941 | -2.1327e-10 | 9.993
204.271 | -2.1312e-10 | 9.9926
204.553 | -2.128e-10 | 9.992
204.835 | -2.121e-10 | 9.9921
205.117 | -2.1146e-10 | 9.9927
205.454 | -2.1142e-10 | 9.9936
205.735 | -2.1063e-10 | 9.9924
206.017 | -2.1174e-10 | 9.9931
206.35 | -2.1246e-10 | 9.9931
206.633 | -2.1227e-10 | 9.9934
206.921 | -2.1242e-10 | 9.9935
207.254 | -2.1148e-10 | 9.9928
207.534 | -2.1167e-10 | 9.9923
207.817 | -2.1214e-10 | 9.9932
208.152 | -2.1029e-10 | 9.9931
208.442 | -2.1245e-10 | 9.9936
208.734 | -2.1175e-10 | 9.9946
209.021 | -2.1287e-10 | 9.9948
209.353 | -2.1053e-10 | 9.9948
209.636 | -2.1106e-10 | 9.9943
209.92 | -2.1112e-10 | 9.9942
210.219 | -2.1077e-10 | 9.9949
210.55 | -2.1222e-10 | 9.994
210.833 | -2.1174e-10 | 9.9939
211.164 | -2.1141e-10 | 9.9939
211.449 | -2.1092e-10 | 9.9935
211.731 | -2.1092e-10 | 9.9944
212.011 | -2.1104e-10 | 9.9943
212.346 | -2.1167e-10 | 9.9934
212.676 | -2.1141e-10 | 9.9934
212.951 | -2.1084e-10 | 9.9907
213.23 | -2.12e-10 | 9.9914
213.545 | -2.1065e-10 | 9.9908
213.843 | -2.1222e-10 | 9.9913
214.152 | -2.1083e-10 | 9.9879
214.47 | -2.1226e-10 | 9.9869
214.763 | -2.1131e-10 | 9.9924
215.068 | -2.1132e-10 | 10.0031
215.382 | -2.1087e-10 | 10.0105
215.671 | -2.1085e-10 | 10.0198
215.95 | -2.1145e-10 | 10.0264
216.249 | -2.122e-10 | 10.0326
216.511 | -2.1132e-10 | 10.0397
216.819 | -2.1163e-10 | 10.0452
217.16 | -2.1026e-10 | 10.0493
217.424 | -2.1233e-10 | 10.0512
217.731 | -2.1214e-10 | 10.0529
218.048 | -2.1292e-10 | 10.0537
218.365 | -2.1129e-10 | 10.056
218.652 | -2.1103e-10 | 10.0604
218.988 | -2.1099e-10 | 10.0657
219.292 | -2.1213e-10 | 10.0705
219.519 | -2.1165e-10 | 10.0747
219.845 | -2.1178e-10 | 10.0776
220.141 | -2.1167e-10 | 10.0784
220.418 | -2.1204e-10 | 10.0777
220.731 | -2.1274e-10 | 10.0761
221.025 | -2.1296e-10 | 10.0731
221.353 | -2.1255e-10 | 10.0685
221.627 | -2.1206e-10 | 10.064
221.937 | -2.1212e-10 | 10.0586
222.243 | -2.1292e-10 | 10.0533
222.546 | -2.1329e-10 | 10.0477
222.852 | -2.1236e-10 | 10.0417
223.156 | -2.1205e-10 | 10.0359
223.425 | -2.118e-10 | 10.0311
223.737 | -2.1114e-10 | 10.0264
224.042 | -2.1129e-10 | 10.0224
224.32 | -2.1098e-10 | 10.0183
224.647 | -2.118e-10 | 10.0144
224.936 | -2.1097e-10 | 10.0112
225.231 | -2.1186e-10 | 10.0084
225.531 | -2.1205e-10 | 10.0062
225.833 | -2.1275e-10 | 10.004
226.14 | -2.1392e-10 | 10.0024
226.451 | -2.1348e-10 | 10.0011
226.767 | -2.1289e-10 | 9.9994
227.054 | -2.1254e-10 | 9.9986
227.326 | -2.1294e-10 | 9.9978
227.649 | -2.1279e-10 | 9.9971
227.941 | -2.1314e-10 | 9.9961
228.267 | -2.1338e-10 | 9.9957
228.539 | -2.1232e-10 | 9.9949
228.822 | -2.1232e-10 | 9.9956
229.151 | -2.1307e-10 | 9.9943
229.431 | -2.1302e-10 | 9.9942
229.714 | -2.1245e-10 | 9.9947
230.045 | -2.1209e-10 | 9.9945
230.346 | -2.1186e-10 | 9.9942
230.647 | -2.1227e-10 | 9.9943
230.931 | -2.1374e-10 | 9.9948
231.234 | -2.1265e-10 | 9.9946
231.572 | -2.1222e-10 | 9.9949
231.874 | -2.1222e-10 | 9.995
232.161 | -2.1329e-10 | 9.9961
232.447 | -2.1322e-10 | 9.9956
232.748 | -2.127e-10 | 9.9955
233.034 | -2.1283e-10 | 9.9962
233.317 | -2.1267e-10 | 9.9963
233.651 | -2.1159e-10 | 9.9958
233.936 | -2.1362e-10 | 9.9965
234.22 | -2.1257e-10 | 9.9967
234.553 | -2.1209e-10 | 9.9957
234.838 | -2.1238e-10 | 9.9968
235.12 | -2.1367e-10 | 9.9963
235.453 | -2.1263e-10 | 9.9965
235.755 | -2.1106e-10 | 9.9961
236.039 | -2.1169e-10 | 9.9969
236.323 | -2.1242e-10 | 9.9968
236.656 | -2.1191e-10 | 9.9969
236.94 | -2.1071e-10 | 9.9969
237.223 | -2.1212e-10 | 9.9963
237.573 | -2.13e-10 | 9.9963
237.858 | -2.1309e-10 | 9.9961
238.141 | -2.1279e-10 | 9.997
238.475 | -2.1203e-10 | 9.9965
238.759 | -2.1236e-10 | 9.9961
239.043 | -2.1423e-10 | 9.9962
239.377 | -2.144e-10 | 9.9964
239.658 | -2.1409e-10 | 9.9963
239.942 | -2.1431e-10 | 9.9971
240.225 | -2.1351e-10 | 9.9968
240.543 | -2.1351e-10 | 9.9964
240.825 | -2.1444e-10 | 9.9968
241.157 | -2.1479e-10 | 9.9968
241.44 | -2.1401e-10 | 9.9967
241.725 | -2.1282e-10 | 9.9969
242.059 | -2.1292e-10 | 9.9967
242.358 | -2.1311e-10 | 9.9963
242.641 | -2.1336e-10 | 9.9966
242.937 | -2.1325e-10 | 9.9966
243.225 | -2.121e-10 | 9.9967
243.559 | -2.1438e-10 | 9.9968
243.857 | -2.1455e-10 | 9.9962
244.14 | -2.1541e-10 | 9.9971
244.419 | -2.142e-10 | 9.9964
244.75 | -2.1431e-10 | 9.9963
245.047 | -2.1476e-10 | 9.9958
245.329 | -2.1361e-10 | 9.9956
245.611 | -2.1398e-10 | 9.996
245.944 | -2.1321e-10 | 9.9961
246.227 | -2.1186e-10 | 9.9962
246.56 | -2.124e-10 | 9.9959
246.862 | -2.1326e-10 | 9.9957
247.145 | -2.1406e-10 | 9.9964
247.429 | -2.1402e-10 | 9.9964
247.728 | -2.1324e-10 | 9.9958
248.048 | -2.1309e-10 | 9.9962
248.331 | -2.1435e-10 | 9.9961
248.616 | -2.1401e-10 | 9.9961
248.967 | -2.1461e-10 | 9.996
249.25 | -2.1402e-10 | 9.9958
249.533 | -2.1255e-10 | 9.9965
249.818 | -2.1364e-10 | 9.9966
250.152 | -2.1384e-10 | 9.9968
250.435 | -2.1251e-10 | 9.9966
250.736 | -2.1225e-10 | 9.9961
251.07 | -2.1232e-10 | 9.9961
251.353 | -2.1357e-10 | 9.9959
251.654 | -2.1296e-10 | 9.9965
251.937 | -2.1289e-10 | 9.9963
252.271 | -2.1275e-10 | 9.9964
252.556 | -2.1126e-10 | 9.9971
252.838 | -2.1222e-10 | 9.9965
253.139 | -2.1239e-10 | 9.9964
253.455 | -2.1402e-10 | 9.9965
253.756 | -2.1333e-10 | 9.996
254.071 | -2.1279e-10 | 9.9962
254.357 | -2.1274e-10 | 9.9967
254.656 | -2.1317e-10 | 9.9965
254.939 | -2.1365e-10 | 9.9963
255.223 | -2.1425e-10 | 9.9972
255.556 | -2.1296e-10 | 9.9971
255.839 | -2.1283e-10 | 9.997
256.122 | -2.1234e-10 | 9.9969
256.457 | -2.1308e-10 | 9.9971
256.74 | -2.1299e-10 | 9.9969
257.04 | -2.1357e-10 | 9.9967
257.357 | -2.1301e-10 | 9.9969
257.659 | -2.1304e-10 | 9.9966
257.939 | -2.1432e-10 | 9.9971
258.223 | -2.1383e-10 | 9.9969
258.556 | -2.1375e-10 | 9.9967
258.856 | -2.1407e-10 | 9.9971
259.156 | -2.1473e-10 | 9.9968
259.44 | -2.1543e-10 | 9.9964
259.722 | -2.1343e-10 | 9.9971
260.057 | -2.141e-10 | 9.9972
260.341 | -2.1561e-10 | 9.9971
260.638 | -2.1283e-10 | 9.9963
260.921 | -2.1383e-10 | 9.9971
261.252 | -2.1418e-10 | 9.9961
261.534 | -2.1285e-10 | 9.9967
261.831 | -2.1394e-10 | 9.9962
262.162 | -2.1424e-10 | 9.9962
262.444 | -2.128e-10 | 9.9959
262.727 | -2.124e-10 | 9.9958
263.06 | -2.127e-10 | 9.9966
263.343 | -2.1345e-10 | 9.9961
263.646 | -2.1374e-10 | 9.9956
263.928 | -2.1274e-10 | 9.9961
264.227 | -2.1314e-10 | 9.9963
264.529 | -2.1276e-10 | 9.9958
264.812 | -2.1353e-10 | 9.9963
265.164 | -2.1236e-10 | 9.996
265.449 | -2.1204e-10 | 9.9968
265.747 | -2.1268e-10 | 9.9963
266.031 | -2.1574e-10 | 9.9962
266.318 | -2.1588e-10 | 9.997
266.669 | -2.1469e-10 | 9.9965
266.951 | -2.1504e-10 | 9.9969
267.235 | -2.1471e-10 | 9.9968
267.569 | -2.1466e-10 | 9.9964
267.869 | -2.1538e-10 | 9.9966
268.153 | -2.1484e-10 | 9.9964
268.437 | -2.1579e-10 | 9.9971
268.737 | -2.1513e-10 | 9.9966
269.071 | -2.1434e-10 | 9.9966
269.354 | -2.1487e-10 | 9.9972
269.655 | -2.151e-10 | 9.9965
269.937 | -2.1483e-10 | 9.9972
270.237 | -2.1433e-10 | 9.9966
270.52 | -2.1429e-10 | 9.9969
270.872 | -2.1481e-10 | 9.9967
271.154 | -2.1529e-10 | 9.9971
271.439 | -2.1468e-10 | 9.9969
271.738 | -2.1534e-10 | 9.9966
272.022 | -2.1664e-10 | 9.9971
272.372 | -2.1576e-10 | 9.9967
272.655 | -2.1527e-10 | 9.9964
272.938 | -2.1551e-10 | 9.9971
273.237 | -2.1505e-10 | 9.9966
273.522 | -2.1596e-10 | 9.997
273.874 | -2.157e-10 | 9.9968
274.155 | -2.1468e-10 | 9.9966
274.438 | -2.1468e-10 | 9.9971
274.739 | -2.1535e-10 | 9.9967
275.023 | -2.1573e-10 | 9.9973
275.356 | -2.1482e-10 | 9.9971
275.655 | -2.1514e-10 | 9.9965
275.937 | -2.1659e-10 | 9.997
276.238 | -2.1518e-10 | 9.9963
276.538 | -2.1535e-10 | 9.9966
276.823 | -2.147e-10 | 9.9973
277.156 | -2.1407e-10 | 9.9974
277.439 | -2.1412e-10 | 9.9972
277.739 | -2.143e-10 | 9.9967
278.022 | -2.1416e-10 | 9.9969
278.322 | -2.144e-10 | 9.9973
278.655 | -2.1301e-10 | 9.9973
278.955 | -2.1274e-10 | 9.9969
279.236 | -2.1447e-10 | 9.9971
279.534 | -2.1359e-10 | 9.9963
279.815 | -2.1429e-10 | 9.9968
280.163 | -2.1303e-10 | 9.9963
280.445 | -2.1267e-10 | 9.9965
280.744 | -2.1394e-10 | 9.9965
281.075 | -2.1481e-10 | 9.9966
281.36 | -2.1471e-10 | 9.9963
281.66 | -2.141e-10 | 9.9967
281.911 | -2.1381e-10 | 9.9966
282.244 | -2.128e-10 | 9.9964
282.545 | -2.1303e-10 | 9.9968
282.843 | -2.1317e-10 | 9.9962
283.13 | -2.1306e-10 | 9.9968
283.43 | -2.145e-10 | 9.9964
283.715 | -2.1473e-10 | 9.997
284.065 | -2.142e-10 | 9.9965
284.365 | -2.1379e-10 | 9.9966
284.651 | -2.1407e-10 | 9.9969
284.934 | -2.1424e-10 | 9.9966
285.234 | -2.1374e-10 | 9.9969
285.535 | -2.1254e-10 | 9.9965
285.818 | -2.1207e-10 | 9.9969
286.152 | -2.1253e-10 | 9.9968
286.452 | -2.1419e-10 | 9.997
286.753 | -2.1364e-10 | 9.9969
287.037 | -2.1374e-10 | 9.9973
287.32 | -2.15e-10 | 9.9969
287.669 | -2.1378e-10 | 9.9967
287.953 | -2.1345e-10 | 9.9971
288.255 | -2.1255e-10 | 9.9967
288.537 | -2.1178e-10 | 9.9971
288.838 | -2.1301e-10 | 9.9973
289.121 | -2.1305e-10 | 9.9971
289.471 | -2.1265e-10 | 9.9967
289.77 | -2.1353e-10 | 9.9968
290.054 | -2.1359e-10 | 9.9972
290.354 | -2.1331e-10 | 9.9966
290.638 | -2.1295e-10 | 9.9971
290.939 | -2.1332e-10 | 9.9974
291.238 | -2.1423e-10 | 9.9969
291.522 | -2.1312e-10 | 9.9974
291.855 | -2.1313e-10 | 9.9971
292.156 | -2.1425e-10 | 9.9968
292.438 | -2.1404e-10 | 9.9973
292.738 | -2.1388e-10 | 9.9974
293.022 | -2.1402e-10 | 9.9971
293.371 | -2.1384e-10 | 9.997
293.656 | -2.1163e-10 | 9.9973
293.954 | -2.1323e-10 | 9.9966
294.253 | -2.133e-10 | 9.9969
294.57 | -2.1317e-10 | 9.9966
294.855 | -2.1228e-10 | 9.9971
295.155 | -2.1305e-10 | 9.9967
295.454 | -2.1397e-10 | 9.9975
295.738 | -2.1374e-10 | 9.9971
296.038 | -2.1378e-10 | 9.9972
296.337 | -2.1433e-10 | 9.9973
296.638 | -2.1337e-10 | 9.9969
296.971 | -2.1364e-10 | 9.9969
297.254 | -2.1315e-10 | 9.9974
297.555 | -2.1388e-10 | 9.997
297.838 | -2.1295e-10 | 9.9967
298.137 | -2.1487e-10 | 9.9968
298.421 | -2.1309e-10 | 9.9974
298.719 | -2.1364e-10 | 9.9973
299.067 | -2.1309e-10 | 9.9967
299.348 | -2.1445e-10 | 9.997
299.646 | -2.1391e-10 | 9.9964
299.928 | -2.1438e-10 | 9.9969
300.211 | -2.1395e-10 | 9.9968
300.56 | -2.1463e-10 | 9.9963
300.845 | -2.1504e-10 | 9.997
301.144 | -2.1527e-10 | 9.9963
301.444 | -2.1507e-10 | 9.9963
301.728 | -2.1426e-10 | 9.9967
302.029 | -2.1403e-10 | 9.997
302.329 | -2.1563e-10 | 9.9966
302.612 | -2.1463e-10 | 9.9969
302.946 | -2.1536e-10 | 9.9969
303.247 | -2.155e-10 | 9.9969
303.549 | -2.1574e-10 | 9.9972
303.849 | -2.1534e-10 | 9.9969
304.15 | -2.1523e-10 | 9.9968
304.434 | -2.1565e-10 | 9.997
304.734 | -2.1435e-10 | 9.9972
305.034 | -2.1564e-10 | 9.9969
305.318 | -2.1579e-10 | 9.9972
305.669 | -2.1582e-10 | 9.997
305.952 | -2.142e-10 | 9.9973
306.252 | -2.1515e-10 | 9.9969
306.536 | -2.1548e-10 | 9.9973
306.836 | -2.1495e-10 | 9.9967
307.12 | -2.1574e-10 | 9.9972
307.419 | -2.1541e-10 | 9.997
307.72 | -2.1399e-10 | 9.9973
308.037 | -2.1447e-10 | 9.9972
308.336 | -2.1525e-10 | 9.9967
308.637 | -2.1478e-10 | 9.997
308.92 | -2.1536e-10 | 9.9972
309.27 | -2.1361e-10 | 9.997
309.553 | -2.1458e-10 | 9.9974
309.853 | -2.1536e-10 | 9.997
310.136 | -2.1403e-10 | 9.9975
310.419 | -2.1312e-10 | 9.9971
310.72 | -2.1491e-10 | 9.9973
311.069 | -2.1367e-10 | 9.9971
311.354 | -2.1456e-10 | 9.9973
311.654 | -2.1632e-10 | 9.9974
311.954 | -2.1511e-10 | 9.9974
312.254 | -2.1415e-10 | 9.9974
312.553 | -2.1457e-10 | 9.9967
312.854 | -2.1484e-10 | 9.9974
313.154 | -2.1412e-10 | 9.997
313.438 | -2.1481e-10 | 9.9974
313.738 | -2.155e-10 | 9.997
314.037 | -2.1485e-10 | 9.9975
314.338 | -2.1335e-10 | 9.9971
314.62 | -2.159e-10 | 9.9974
314.971 | -2.1572e-10 | 9.9969
315.254 | -2.1595e-10 | 9.9974
315.554 | -2.1445e-10 | 9.9972
315.854 | -2.1491e-10 | 9.997
316.155 | -2.1421e-10 | 9.9976
316.455 | -2.1426e-10 | 9.9976
316.754 | -2.1362e-10 | 9.9971
317.037 | -2.1339e-10 | 9.9974
317.338 | -2.1417e-10 | 9.9975
317.639 | -2.1432e-10 | 9.997
317.939 | -2.1456e-10 | 9.997
318.241 | -2.1362e-10 | 9.997
318.54 | -2.1484e-10 | 9.9972
318.824 | -2.1469e-10 | 9.9974
319.173 | -2.1418e-10 | 9.9963
319.474 | -2.1403e-10 | 9.9974
319.741 | -2.1429e-10 | 9.9976
320.041 | -2.1353e-10 | 9.9974