## Settings
Sample Info | vr2, dot b1, e-irrad 1500mkC, run 03
Comments | +1/+1/-6 V
Additional Comments | similar peaks to S3
Major Measurement Parameters
Starting Temperature | 307.451
Initial Temperature | 80.5
Final Temperature | 320
Preliminary Voltage | 1
Pulse Voltage | 1
Pulse Time | 20
Wait Time | 3
Measurement Voltage | -6
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 28.3.2024
Clock | 14:28:5

## Stabilization
Temperature | Current | Temp Rate
306.436 | -6.1945e-11 | 0
305.742 | -2.1e-10 | -26.8093
304.796 | -2.1114e-10 | -31.6528
304.036 | -2.1075e-10 | -30.9177
303.056 | -2.1064e-10 | -32.6259
302.217 | -2.0997e-10 | -32.6247
301.27 | -2.1103e-10 | -33.239
300.291 | -2.1119e-10 | -33.8777
299.44 | -2.1085e-10 | -33.7576
298.454 | -2.1113e-10 | -34.2789
297.628 | -2.1178e-10 | -37.7437
296.609 | -2.111e-10 | -47.3557
295.754 | -2.1186e-10 | -66.5529
294.673 | -2.0975e-10 | -142.4308
293.668 | -2.1013e-10 | -246.9231
292.821 | -2.1095e-10 | -33.7076
291.848 | -2.118e-10 | -33.942
290.95 | -2.1167e-10 | -33.9669
290.044 | -2.1194e-10 | -627.5227
289.033 | -2.1149e-10 | -34.2639
288.163 | -2.1116e-10 | -34.2232
287.24 | -2.1408e-10 | -34.2776
286.45 | -2.1459e-10 | -34.096
285.45 | -2.1008e-10 | -34.2976
284.641 | -1.9104e-10 | -34.1345
283.814 | -2.0317e-10 | -34.0329
282.892 | -2.1175e-10 | -34.0914
282.058 | -2.1581e-10 | -34.0192
281.154 | -2.044e-10 | -34.0445
280.322 | -2.1546e-10 | -33.9468
279.496 | -2.042e-10 | -33.8731
278.501 | -2.1342e-10 | -34.0066
277.732 | -2.1451e-10 | -33.8625
276.844 | -2.1434e-10 | -33.8793
275.89 | -2.1404e-10 | -33.9539
275.127 | -2.1362e-10 | -33.8015
274.19 | -2.1314e-10 | -33.854
273.367 | -2.1232e-10 | -33.7909
272.494 | -2.134e-10 | -33.7898
271.596 | -2.1441e-10 | -33.8098
270.824 | -2.1325e-10 | -33.7208
269.839 | -2.1357e-10 | -33.8181
269.01 | -2.1295e-10 | -33.7673
268.088 | -2.1251e-10 | -33.7958
267.243 | -2.1377e-10 | -33.7699
266.404 | -2.13e-10 | -33.7418
265.475 | -2.1235e-10 | -33.7871
264.649 | -2.1219e-10 | -33.7484
264.035 | -2.1259e-10 | -33.5414
263.201 | -2.1181e-10 | -33.5192
262.492 | -2.1244e-10 | -33.3938
261.638 | -2.1227e-10 | -33.375
260.963 | -2.1144e-10 | -33.2319
260.309 | -2.1305e-10 | -33.0808
259.371 | -2.1312e-10 | -33.1345
258.689 | -2.1253e-10 | -33.0138
258.054 | -2.1234e-10 | -32.8598
257.172 | -2.1075e-10 | -32.8772
256.506 | -2.1181e-10 | -32.752
255.757 | -2.1109e-10 | -32.687
254.995 | -2.1258e-10 | -32.6293
254.261 | -2.1234e-10 | -32.556
253.587 | -2.1127e-10 | -32.4438
252.933 | -2.1262e-10 | -32.321
252.063 | -2.116e-10 | -32.3328
251.447 | -2.1164e-10 | -32.1832
250.89 | -2.1316e-10 | -32.0208
250.35 | -2.1259e-10 | -31.8454
249.502 | -2.1255e-10 | -31.8481
248.817 | -2.1188e-10 | -31.7645
248.155 | -2.122e-10 | -31.6734
247.635 | -2.114e-10 | -31.5138
246.8 | -2.1194e-10 | -31.5168
246.218 | -2.1359e-10 | -31.3908
245.727 | -2.1335e-10 | -31.2239
245.253 | -2.1139e-10 | -31.0491
244.726 | -2.1187e-10 | -30.8978
243.985 | -2.1186e-10 | -30.8661
243.519 | -2.1226e-10 | -30.7007
243.072 | -2.1169e-10 | -30.5336
242.681 | -2.1237e-10 | -30.3433
242.039 | -2.1211e-10 | -30.2771
241.557 | -2.1128e-10 | -30.1326
240.903 | -2.1218e-10 | -30.053
240.482 | -2.1326e-10 | -29.8844
240.066 | -2.129e-10 | -29.7205
239.726 | -2.114e-10 | -29.5235
239.326 | -2.1228e-10 | -29.3621
238.963 | -2.1522e-10 | -29.1797
238.318 | -2.119e-10 | -29.1208
237.937 | -2.1169e-10 | -28.9585
237.546 | -2.1284e-10 | -28.8072
237.246 | -2.1093e-10 | -28.6213
236.96 | -2.1116e-10 | -28.4273
236.685 | -2.1038e-10 | -28.2307
236.359 | -2.1086e-10 | -28.0576
236.073 | -2.1061e-10 | -27.8783
235.562 | -2.1139e-10 | -27.7933
235.324 | -2.1029e-10 | -27.6011
234.873 | -2.1085e-10 | -27.4978
234.585 | -2.1066e-10 | -27.3325
234.169 | -2.1162e-10 | -27.2151
233.921 | -2.1303e-10 | -27.0376
233.556 | -2.1176e-10 | -26.9081
233.269 | -2.1187e-10 | -26.7542
233 | -2.1128e-10 | -26.5983
232.654 | -2.113e-10 | -26.4712
232.383 | -2.1223e-10 | -26.3166
232.09 | -2.1272e-10 | -26.1719
231.891 | -2.1213e-10 | -26.0004
231.749 | -2.1181e-10 | -25.8102
231.506 | -2.1196e-10 | -25.655
231.374 | -2.1168e-10 | -25.4682
231.184 | -2.1181e-10 | -25.3007
230.984 | -2.1205e-10 | -25.143
230.873 | -2.1259e-10 | -24.959
230.691 | -2.124e-10 | -24.8032
230.432 | -2.1139e-10 | -24.672
230.316 | -2.1117e-10 | -24.4956
230.198 | -2.1121e-10 | -24.3237
230.085 | -2.1014e-10 | -24.1525
229.808 | -2.1037e-10 | -24.0401
229.604 | -2.1146e-10 | -23.9049
229.474 | -2.1053e-10 | -23.7508
229.306 | -2.1027e-10 | -23.6106
229.181 | -2.1037e-10 | -23.4585
228.769 | -2.1101e-10 | -23.3947
228.585 | -2.1216e-10 | -23.2651
228.408 | -2.1118e-10 | -23.1313
228.269 | -2.1166e-10 | -22.9919
228.127 | -2.1037e-10 | -22.8568
228 | -2.1094e-10 | -22.7185
227.882 | -2.1162e-10 | -22.5789
227.763 | -2.1048e-10 | -22.4413
227.643 | -2.0987e-10 | -22.3085
227.504 | -2.2229e-10 | -22.1807
227.385 | -2.1077e-10 | -22.0499
227.242 | -2.0999e-10 | -21.9262
227.077 | -2.1063e-10 | -21.8122
226.959 | -2.1188e-10 | -21.6866
226.58 | -2.1035e-10 | -21.6295
226.387 | -2.0896e-10 | -21.5265
226.255 | -2.1959e-10 | -21.4075
226.126 | -2.1194e-10 | -21.2886
225.983 | -2.1161e-10 | -21.1759
225.833 | -2.1117e-10 | -21.0687
225.624 | -2.1113e-10 | -20.9794
225.444 | -2.1035e-10 | -20.8824
225.293 | -2.1088e-10 | -20.7783
225.114 | -2.0989e-10 | -20.6834
224.992 | -2.0989e-10 | -20.5752
224.858 | -2.1005e-10 | -20.4697
224.729 | -2.0987e-10 | -20.3659
224.607 | -2.0935e-10 | -20.2626
224.483 | -2.0936e-10 | -20.1591
224.358 | -2.0857e-10 | -20.0575
224.231 | -2.0994e-10 | -19.9582
224.101 | -2.0995e-10 | -19.8612
223.922 | -2.0953e-10 | -19.7784
223.757 | -2.0933e-10 | -19.6927
223.633 | -2.0914e-10 | -19.5974
223.506 | -2.0976e-10 | -19.5045
223.38 | -2.0986e-10 | -19.4103
223.253 | -2.1025e-10 | -19.3173
223.122 | -2.1044e-10 | -19.229
222.992 | -2.0926e-10 | -19.1439
222.861 | -2.094e-10 | -19.0561
222.73 | -2.0984e-10 | -18.9708
222.594 | -2.0975e-10 | -18.8867
222.414 | -2.112e-10 | -18.8121
222.264 | -2.1024e-10 | -18.7349
222.12 | -2.108e-10 | -18.6554
221.833 | -2.0986e-10 | -18.6092
221.643 | -2.1075e-10 | -18.5431
221.49 | -2.1148e-10 | -18.4676
221.252 | -2.103e-10 | -18.4126
221.076 | -2.0982e-10 | -18.3446
220.942 | -2.1081e-10 | -18.2701
220.8 | -2.0965e-10 | -18.1979
220.655 | -2.1021e-10 | -18.1255
220.449 | -2.1081e-10 | -18.0645
220.155 | -2.1059e-10 | -18.0255
219.979 | -2.1055e-10 | -17.9617
219.814 | -2.0879e-10 | -17.8964
219.645 | -2.1056e-10 | -17.8317
219.465 | -2.1045e-10 | -17.7689
219.264 | -2.1132e-10 | -17.7108
219.066 | -2.104e-10 | -17.6555
218.887 | -2.117e-10 | -17.5958
218.714 | -2.1159e-10 | -17.5371
218.54 | -2.1137e-10 | -17.4795
218.361 | -2.111e-10 | -17.4229
218.179 | -2.0985e-10 | -17.3667
217.993 | -2.1085e-10 | -17.312
217.779 | -2.1013e-10 | -17.2628
217.59 | -2.1097e-10 | -17.2093
217.4 | -2.0946e-10 | -17.158
217.206 | -2.1044e-10 | -17.1081
217.023 | -2.1071e-10 | -17.0537
216.836 | -2.1035e-10 | -17.0031
216.656 | -2.1191e-10 | -16.9513
216.466 | -2.1155e-10 | -16.8998
216.28 | -2.1109e-10 | -16.8498
216.05 | -2.1169e-10 | -16.8087
215.81 | -1.7505e-10 | -16.7694
215.61 | -2.1221e-10 | -16.7243
215.422 | -2.0872e-10 | -16.6762
215.237 | -2.1111e-10 | -16.6287
215.041 | -2.1045e-10 | -16.583
214.855 | -2.1048e-10 | -16.5364
214.657 | -2.1014e-10 | -16.4927
214.466 | -2.1045e-10 | -16.4481
214.276 | -1.975e-10 | -16.4036
214.073 | -2.1139e-10 | -16.3607
213.883 | -1.9406e-10 | -16.3157
213.7 | -2.0952e-10 | -16.27
213.52 | -2.1153e-10 | -16.226
213.343 | -2.1147e-10 | -16.1814
213.166 | -2.0932e-10 | -16.1382
212.976 | -2.1203e-10 | -16.095
212.75 | -2.1175e-10 | -16.0589
212.544 | -2.1082e-10 | -16.0209
212.356 | -2.108e-10 | -15.9801
212.169 | -2.1067e-10 | -15.939
211.984 | -2.1122e-10 | -15.898
211.8 | -2.103e-10 | -15.8579
211.617 | -2.103e-10 | -15.8181
211.411 | -2.1062e-10 | -15.781
211.221 | -2.0998e-10 | -15.7427
211.042 | -2.103e-10 | -15.7027
210.855 | -2.1146e-10 | -15.6645
210.68 | -2.106e-10 | -15.6246
210.505 | -2.1082e-10 | -15.5847
210.312 | -2.0996e-10 | -15.5485
210.13 | -2.1117e-10 | -15.5101
209.949 | -2.1021e-10 | -15.4728
209.773 | -2.1073e-10 | -15.4339
209.595 | -2.1155e-10 | -15.3966
209.427 | -2.1183e-10 | -15.3584
209.249 | -2.103e-10 | -15.3209
209.083 | -2.114e-10 | -15.2818
208.918 | -2.1144e-10 | -15.2438
208.73 | -2.1098e-10 | -15.2099
208.535 | -2.1067e-10 | -15.1774
208.318 | -2.1088e-10 | -15.1473
208.081 | -2.1073e-10 | -15.1213
207.896 | -2.1119e-10 | -15.0877
207.721 | -2.1131e-10 | -15.053
207.533 | -2.1115e-10 | -15.0181
207.355 | -2.1073e-10 | -14.9836
207.179 | -2.108e-10 | -14.9482
206.99 | -2.1114e-10 | -14.9152
206.813 | -2.1095e-10 | -14.8816
206.634 | -2.1114e-10 | -14.8488
206.457 | -2.1185e-10 | -14.8161
206.269 | -2.1166e-10 | -14.784
206.093 | -2.1084e-10 | -14.75
205.917 | -2.1115e-10 | -14.7176
205.746 | -2.1141e-10 | -14.6853
205.577 | -2.1131e-10 | -14.6526
205.402 | -2.1181e-10 | -14.6202
205.236 | -2.1172e-10 | -14.5877
205.075 | -2.1227e-10 | -14.5548
204.916 | -2.1174e-10 | -14.5212
204.746 | -2.1152e-10 | -14.4882
204.586 | -2.1144e-10 | -14.4564
204.411 | -2.1129e-10 | -14.4262
204.152 | -2.1112e-10 | -14.4085
203.941 | -2.108e-10 | -14.3832
203.757 | -2.1198e-10 | -14.3553
203.576 | -2.1202e-10 | -14.3262
203.406 | -2.1107e-10 | -14.2969
203.225 | -2.1253e-10 | -14.268
203.061 | -2.1289e-10 | -14.2381
202.9 | -2.1226e-10 | -14.2079
202.739 | -2.1116e-10 | -14.178
202.578 | -2.1267e-10 | -14.1479
202.386 | -2.121e-10 | -14.1218
202.203 | -2.1277e-10 | -14.0954
201.989 | -2.1163e-10 | -14.0733
201.786 | -2.1082e-10 | -14.0499
201.6 | -2.124e-10 | -14.0242
201.424 | -2.1194e-10 | -13.9975
201.225 | -2.1158e-10 | -13.974
201.047 | -2.1093e-10 | -13.9477
200.869 | -2.1133e-10 | -13.9215
200.651 | -2.1212e-10 | -13.8997
200.468 | -2.1187e-10 | -13.8744
200.294 | -2.1215e-10 | -13.8479
200.113 | -2.1365e-10 | -13.8215
199.945 | -2.1302e-10 | -13.795
199.761 | -2.1308e-10 | -13.7692
199.589 | -2.1298e-10 | -13.7422
199.411 | -2.1269e-10 | -13.7176
199.229 | -2.128e-10 | -13.6933
199.058 | -2.1283e-10 | -13.6678
198.895 | -2.1418e-10 | -13.6419
198.734 | -2.1361e-10 | -13.6158
198.566 | -2.1232e-10 | -13.5906
198.407 | -2.1284e-10 | -13.565
198.251 | -2.1221e-10 | -13.5384
198.094 | -2.1226e-10 | -13.5127
197.938 | -2.1257e-10 | -13.4872
197.754 | -2.1203e-10 | -13.4645
197.534 | -2.1246e-10 | -13.4469
197.36 | -2.1267e-10 | -13.4234
197.173 | -2.1108e-10 | -13.4018
196.983 | -2.1144e-10 | -13.3803
196.803 | -2.119e-10 | -13.3577
196.639 | -2.1144e-10 | -13.3343
196.478 | -2.117e-10 | -13.3102
196.315 | -2.1191e-10 | -13.2866
196.138 | -2.1185e-10 | -13.2649
195.941 | -2.1264e-10 | -13.2454
195.778 | -2.1284e-10 | -13.2216
195.599 | -2.1322e-10 | -13.2008
195.427 | -2.1307e-10 | -13.1794
195.25 | -2.1197e-10 | -13.1576
195.085 | -2.1281e-10 | -13.1354
194.923 | -2.1281e-10 | -13.113
194.764 | -2.1349e-10 | -13.0898
194.608 | -2.1167e-10 | -13.0665
194.429 | -2.1181e-10 | -13.0461
194.245 | -2.1162e-10 | -13.0263
194.085 | -2.1124e-10 | -13.0037
193.922 | -2.1208e-10 | -12.9819
193.751 | -2.1195e-10 | -12.9605
193.593 | -2.1113e-10 | -12.9388
193.429 | -2.1131e-10 | -12.9173
193.232 | -2.1182e-10 | -12.9
193.064 | -2.1142e-10 | -12.8792
192.899 | -2.1078e-10 | -12.858
192.725 | -2.121e-10 | -12.8377
192.56 | -2.1139e-10 | -12.8173
192.396 | -2.1091e-10 | -12.7966
192.225 | -2.1077e-10 | -12.7767
192.062 | -2.1187e-10 | -12.7563
191.894 | -2.1144e-10 | -12.7368
191.731 | -2.1132e-10 | -12.7168
191.547 | -2.1111e-10 | -12.698
191.384 | -2.1211e-10 | -12.6783
191.215 | -2.1078e-10 | -12.6592
191.041 | -2.1097e-10 | -12.6405
190.868 | -2.116e-10 | -12.6213
190.7 | -2.1097e-10 | -12.6022
190.532 | -2.1236e-10 | -12.5828
190.356 | -2.1239e-10 | -12.5643
190.192 | -2.118e-10 | -12.5455
190.026 | -2.1199e-10 | -12.5261
189.853 | -2.116e-10 | -12.5076
189.689 | -2.1209e-10 | -12.4889
189.53 | -2.1376e-10 | -12.4697
189.361 | -2.1207e-10 | -12.4519
189.176 | -2.1261e-10 | -12.4361
189.01 | -2.1232e-10 | -12.4172
188.835 | -2.1243e-10 | -12.4
188.67 | -2.1279e-10 | -12.3818
188.505 | -2.1219e-10 | -12.3635
188.33 | -2.1353e-10 | -12.3465
188.166 | -2.1287e-10 | -12.329
188.003 | -2.1189e-10 | -12.3116
187.839 | -2.1168e-10 | -12.2936
187.665 | -2.1094e-10 | -12.2769
187.488 | -2.1226e-10 | -12.2607
187.316 | -2.1107e-10 | -12.244
187.157 | -2.1178e-10 | -12.2264
186.986 | -2.106e-10 | -12.2088
186.823 | -2.1179e-10 | -12.1917
186.645 | -2.1196e-10 | -12.176
186.471 | -2.1161e-10 | -12.16
186.304 | -2.1251e-10 | -12.1434
186.142 | -2.1208e-10 | -12.1263
185.967 | -2.1132e-10 | -12.1109
185.801 | -2.1214e-10 | -12.0944
185.637 | -2.1186e-10 | -12.0778
185.466 | -2.1145e-10 | -12.0615
185.298 | -2.1192e-10 | -12.0454
185.126 | -2.111e-10 | -12.0294
184.965 | -2.1181e-10 | -12.0131
184.794 | -2.1242e-10 | -11.9978
184.62 | -2.1273e-10 | -11.9821
184.446 | -2.1168e-10 | -11.967
184.264 | -2.1189e-10 | -11.9529
184.099 | -2.1074e-10 | -11.9368
183.912 | -2.1109e-10 | -11.9235
183.741 | -2.1243e-10 | -11.9084
183.557 | -2.1157e-10 | -11.8946
183.387 | -2.1146e-10 | -11.8789
183.212 | -2.13e-10 | -11.8645
183.042 | -2.2765e-10 | -11.8494
182.855 | -2.1776e-10 | -11.8356
182.669 | -2.0765e-10 | -11.8215
182.495 | -2.1434e-10 | -11.8075
182.31 | -1.824e-10 | -11.7947
182.13 | -2.1146e-10 | -11.7797
181.961 | -2.1139e-10 | -11.7646
181.784 | -2.1255e-10 | -11.7515
181.618 | -2.1211e-10 | -11.7361
181.448 | -2.1132e-10 | -11.7223
181.283 | -2.1118e-10 | -11.7079
181.107 | -2.125e-10 | -11.694
180.946 | -2.113e-10 | -11.6796
180.776 | -2.1321e-10 | -11.6658
180.611 | -2.1177e-10 | -11.6519
180.438 | -2.1194e-10 | -11.6382
180.254 | -2.1226e-10 | -11.6255
180.083 | -2.126e-10 | -11.6114
179.91 | -2.1242e-10 | -11.5982
179.745 | -2.1176e-10 | -11.5845
179.582 | -2.1284e-10 | -11.5703
179.411 | -2.1147e-10 | -11.5571
179.249 | -2.1315e-10 | -11.5432
179.078 | -2.1284e-10 | -11.5302
178.92 | -2.1095e-10 | -11.516
178.761 | -2.1074e-10 | -11.5018
178.594 | -2.1229e-10 | -11.4886
178.435 | -2.1128e-10 | -11.4746
178.272 | -2.1032e-10 | -11.4611
178.12 | -2.1068e-10 | -11.4467
177.963 | -2.1101e-10 | -11.4327
177.815 | -2.1077e-10 | -11.4186
177.671 | -2.1131e-10 | -11.4031
177.512 | -2.1096e-10 | -11.3891
177.36 | -2.1191e-10 | -11.3751
177.206 | -2.1121e-10 | -11.3601
177.05 | -2.1148e-10 | -11.346
176.895 | -2.1005e-10 | -11.3317
176.742 | -2.0974e-10 | -11.3175
176.598 | -2.1033e-10 | -11.3031
176.446 | -2.0985e-10 | -11.2894
176.304 | -2.1029e-10 | -11.2749
176.153 | -2.0962e-10 | -11.2612
176.013 | -2.1111e-10 | -11.2466
175.864 | -2.1079e-10 | -11.2326
175.714 | -2.1034e-10 | -11.219
175.567 | -2.117e-10 | -11.2052
175.429 | -2.1012e-10 | -11.1909
175.283 | -2.1191e-10 | -11.1771
175.138 | -2.116e-10 | -11.1635
174.997 | -2.1111e-10 | -11.1494
174.845 | -2.1149e-10 | -11.1361
174.691 | -2.113e-10 | -11.1232
174.551 | -2.1107e-10 | -11.1093
174.406 | -2.1089e-10 | -11.0958
174.27 | -2.1148e-10 | -11.0814
174.129 | -2.122e-10 | -11.0671
173.984 | -2.1039e-10 | -11.0538
173.847 | -2.1057e-10 | -11.04
173.705 | -2.1121e-10 | -11.0265
173.571 | -2.1073e-10 | -11.0122
173.429 | -2.12e-10 | -10.9992
173.298 | -2.1161e-10 | -10.9851
173.165 | -2.1244e-10 | -10.9711
173.039 | -2.1196e-10 | -10.9562
172.91 | -2.1192e-10 | -10.9422
172.776 | -2.1117e-10 | -10.9281
172.651 | -2.1255e-10 | -10.9137
172.515 | -2.1276e-10 | -10.9005
172.389 | -2.1143e-10 | -10.8864
172.257 | -2.1197e-10 | -10.8731
172.123 | -2.1273e-10 | -10.8597
171.995 | -2.1138e-10 | -10.846
171.862 | -2.1198e-10 | -10.8322
171.729 | -2.1203e-10 | -10.819
171.607 | -2.1117e-10 | -10.8049
171.474 | -2.1184e-10 | -10.7919
171.354 | -2.1255e-10 | -10.7775
171.228 | -2.1245e-10 | -10.7641
171.114 | -2.1364e-10 | -10.7495
170.995 | -2.1305e-10 | -10.7352
170.88 | -2.1258e-10 | -10.7208
170.773 | -2.1283e-10 | -10.7061
170.662 | -2.1197e-10 | -10.6915
170.552 | -2.1127e-10 | -10.6758
170.445 | -2.1249e-10 | -10.6611
170.341 | -2.1181e-10 | -10.6463
170.219 | -2.1148e-10 | -10.6329
170.07 | -2.1193e-10 | -10.6212
169.928 | -2.1156e-10 | -10.6089
169.797 | -2.11e-10 | -10.5964
169.661 | -2.1189e-10 | -10.584
169.537 | -2.1089e-10 | -10.5707
169.411 | -2.115e-10 | -10.5579
169.248 | -2.1159e-10 | -10.5481
169.113 | -2.1165e-10 | -10.5364
168.969 | -2.1104e-10 | -10.5252
168.838 | -2.1111e-10 | -10.5129
168.694 | -2.1145e-10 | -10.5019
168.551 | -2.1147e-10 | -10.4899
168.37 | -2.1158e-10 | -10.4817
168.105 | -2.1077e-10 | -10.4798
167.792 | -2.1096e-10 | -10.4812
167.497 | -2.104e-10 | -10.4813
167.224 | -2.1068e-10 | -10.4804
166.96 | -2.1138e-10 | -10.4786
166.674 | -2.1156e-10 | -10.4783
166.448 | -2.1167e-10 | -10.4737
166.175 | -2.1067e-10 | -10.4716
165.956 | -2.1e-10 | -10.4664
165.702 | -2.1131e-10 | -10.464
165.463 | -2.1086e-10 | -10.46
165.22 | -2.1161e-10 | -10.4561
164.975 | -2.1125e-10 | -10.4526
164.729 | -2.1179e-10 | -10.449
164.475 | -2.1085e-10 | -10.4463
164.219 | -2.1038e-10 | -10.4439
163.946 | -2.1088e-10 | -10.4426
163.68 | -2.1137e-10 | -10.4409
163.419 | -2.1134e-10 | -10.4385
163.18 | -2.1119e-10 | -10.4348
162.923 | -2.1107e-10 | -10.4324
162.665 | -2.1192e-10 | -10.4302
162.378 | -2.1179e-10 | -10.4296
162.09 | -2.1206e-10 | -10.4289
161.768 | -2.1124e-10 | -10.4315
161.416 | -2.1225e-10 | -10.4361
161.121 | -2.1325e-10 | -10.4367
160.82 | -2.1305e-10 | -10.4375
160.543 | -2.1254e-10 | -10.4365
160.243 | -2.1192e-10 | -10.4371
159.903 | -2.1238e-10 | -10.4398
159.593 | -2.1269e-10 | -10.4412
159.297 | -2.1215e-10 | -10.4413
158.996 | -2.1269e-10 | -10.4419
158.711 | -2.1386e-10 | -10.4415
158.446 | -2.1235e-10 | -10.4398
158.168 | -2.1351e-10 | -10.4385
157.87 | -2.1173e-10 | -10.438
157.586 | -2.1277e-10 | -10.4373
157.305 | -2.1114e-10 | -10.4371
157.011 | -2.1197e-10 | -10.4373
156.734 | -2.1275e-10 | -10.4366
156.414 | -2.1359e-10 | -10.4391
156.118 | -2.1233e-10 | -10.4395
155.803 | -2.1285e-10 | -10.441
155.465 | -2.1162e-10 | -10.4444
155.104 | -2.1092e-10 | -10.449
154.705 | -2.1275e-10 | -10.4566
154.298 | -2.1247e-10 | -10.4646
153.893 | -2.1235e-10 | -10.472
153.46 | -2.1311e-10 | -10.4818
152.978 | -2.1434e-10 | -10.495
152.477 | -2.12e-10 | -10.5091
152.065 | -2.1285e-10 | -10.5172
151.723 | -2.1283e-10 | -10.5207
151.39 | -2.1369e-10 | -10.5231
151.053 | -2.1225e-10 | -10.5254
150.747 | -2.1279e-10 | -10.5266
150.442 | -2.1309e-10 | -10.5272
150.144 | -2.1247e-10 | -10.5276
149.862 | -2.1406e-10 | -10.5267
149.566 | -2.1247e-10 | -10.5267
149.27 | -2.1262e-10 | -10.527
148.961 | -2.1204e-10 | -10.5285
148.628 | -2.1249e-10 | -10.5312
148.326 | -2.1212e-10 | -10.5315
148.029 | -2.1261e-10 | -10.5318
147.702 | -2.1367e-10 | -10.534
147.395 | -2.1214e-10 | -10.5352
147.099 | -2.1207e-10 | -10.5356
146.762 | -2.124e-10 | -10.5386
146.45 | -2.1239e-10 | -10.5399
146.131 | -2.1201e-10 | -10.5414
145.81 | -2.1216e-10 | -10.543
145.487 | -2.1249e-10 | -10.5447
145.151 | -2.129e-10 | -10.5473
144.834 | -2.119e-10 | -10.5487
144.533 | -2.1184e-10 | -10.5494
144.204 | -2.1249e-10 | -10.5512
143.871 | -2.129e-10 | -10.5536
143.526 | -2.1196e-10 | -10.5569
143.213 | -2.1037e-10 | -10.5584
142.881 | -2.112e-10 | -10.5608
142.557 | -2.1159e-10 | -10.5628
142.239 | -2.1184e-10 | -10.5642
141.913 | -2.1252e-10 | -10.5657
141.582 | -2.1072e-10 | -10.5679
141.135 | -2.1249e-10 | -10.5774
140.54 | -2.1322e-10 | -10.5966
139.845 | -2.1203e-10 | -10.6222
139.3 | -2.1167e-10 | -10.638
138.797 | -2.1168e-10 | -10.6507
138.307 | -2.1088e-10 | -10.6626
137.912 | -2.1233e-10 | -10.6688
137.51 | -2.1236e-10 | -10.6754
137.019 | -2.1137e-10 | -10.6877
136.404 | -2.1318e-10 | -10.7076
135.759 | -2.1292e-10 | -10.7295
135.182 | -2.1254e-10 | -10.7469
134.64 | -2.1313e-10 | -10.7609
134.098 | -2.125e-10 | -10.7755
133.537 | -2.1204e-10 | -10.7915
133.025 | -2.1296e-10 | -10.8045
132.566 | -2.1278e-10 | -10.8144
131.706 | -2.1285e-10 | -10.849
130.298 | -2.1278e-10 | -10.9174
128.465 | -2.1468e-10 | -11.0113
126.506 | -2.1319e-10 | -11.1134
124.727 | -2.1363e-10 | -11.2036
123.354 | -2.1358e-10 | -11.2688
122.331 | -2.1231e-10 | -11.3123
121.549 | -2.1331e-10 | -11.3409
120.557 | -2.1388e-10 | -11.3823
119.233 | -2.1282e-10 | -11.4435
117.879 | -2.1261e-10 | -11.5061
116.779 | -2.1234e-10 | -11.5534
115.597 | -2.1125e-10 | -11.6048
113.92 | -2.1143e-10 | -11.6872
111.506 | -2.1207e-10 | -11.8133
108.642 | -2.1222e-10 | -11.966
105.999 | -2.123e-10 | -12.1052
103.725 | -2.1196e-10 | -12.2217
102.249 | -2.1225e-10 | -12.2899
101.309 | -2.1344e-10 | -12.3261
100.78 | -2.137e-10 | -12.3369
100.47 | -2.1305e-10 | -12.3351
100.287 | -2.1202e-10 | -12.3249
99.745 | -2.1101e-10 | -12.337
98.3184 | -2.1235e-10 | -12.4015
95.7228 | -2.1255e-10 | -12.5354
93.1378 | -2.1216e-10 | -12.6681
90.9065 | -2.1116e-10 | -12.7795
90.1461 | -2.122e-10 | -12.8035
89.8682 | -2.1287e-10 | -12.799
89.6759 | -2.1196e-10 | -12.7884
88.4243 | -2.1192e-10 | -12.8411
87.7768 | -2.1224e-10 | -12.8576
87.9036 | -2.1068e-10 | -12.8293
87.2522 | -2.1128e-10 | -12.8465
84.0474 | -2.1208e-10 | -13.0125
82.6743 | -2.1236e-10 | -13.0711
81.8012 | -2.1334e-10 | -13.1009
81.3603 | -2.1304e-10 | -13.1047
81.1484 | -2.1251e-10 | -13.0959
80.9949 | -2.1267e-10 | -13.0835
80.7856 | -2.1355e-10 | -13.0745
80.7232 | -2.1429e-10 | -13.057
80.6718 | -2.1393e-10 | -13.039
80.6142 | -2.1381e-10 | -13.0209
80.6185 | -2.1373e-10 | -12.9992
80.6214 | -2.1278e-10 | -12.9779
80.6177 | -2.141e-10 | -12.9568
80.6017 | -2.1377e-10 | -12.9367
80.6037 | -2.2355e-10 | -12.9159

## Pulse
Temperature | Current | Time
80.6037 | -2.147e-10 | 0.93471
80.5917 | -2.1373e-10 | 2.5772
80.5601 | -2.1403e-10 | 4.223
80.522 | -2.1371e-10 | 5.8785
80.4735 | -2.14e-10 | 7.5329
80.4194 | -2.1365e-10 | 9.1858
80.3586 | -2.1541e-10 | 10.8366
80.306 | -2.1336e-10 | 12.5042
80.2596 | -2.1316e-10 | 14.1637
80.2186 | -2.1356e-10 | 15.8157
80.1763 | -2.1216e-10 | 17.4544
80.1574 | -2.1381e-10 | 19.1128

## Measurements
Temperature | Current | Temp Rate
80.075 | -3.6397e-10 | 0
80.1778 | -2.9965e-10 | 1.7873
80.5133 | -2.749e-10 | 3.5216
80.7879 | -2.6879e-10 | 4.6221
81.1001 | -2.5618e-10 | 4.1891
81.4159 | -2.5594e-10 | 5.0287
81.6935 | -2.5421e-10 | 5.8686
82.0329 | -2.5386e-10 | 6.6083
82.3153 | -2.1738e-10 | 7.0856
82.6537 | -2.5185e-10 | 7.7501
82.9333 | -2.508e-10 | 9.7277
83.2125 | -2.4989e-10 | 14.5044
83.4916 | -2.4897e-10 | 29.9162
83.8055 | -2.483e-10 | 59.5844
84.1209 | -2.4716e-10 | 98.3535
84.4381 | -2.463e-10 | 9.2248
84.7633 | -2.4562e-10 | 9.453
84.9935 | -2.5542e-10 | 9.517
85.3126 | -2.1492e-10 | 206.6613
85.6444 | -2.1604e-10 | 9.7323
85.9405 | -2.1524e-10 | 9.8197
86.23 | -2.1554e-10 | 9.8849
86.5123 | -2.1521e-10 | 9.9497
86.8032 | -2.1911e-10 | 10.0267
87.0915 | -2.2868e-10 | 10.0781
87.4292 | -2.1508e-10 | 9.5761
87.7422 | -2.169e-10 | 9.6319
87.9981 | -2.1526e-10 | 9.7101
88.3086 | -2.1505e-10 | 9.7901
88.634 | -2.1572e-10 | 9.8856
88.8875 | -2.1556e-10 | 9.9458
89.2059 | -2.1543e-10 | 10.021
89.5087 | -2.5078e-10 | 10.0601
89.8401 | -2.1549e-10 | 9.155
90.2 | -2.155e-10 | 9.3948
90.4661 | -2.5524e-10 | 9.5003
90.7226 | -2.4855e-10 | 9.599
91.0227 | -2.5026e-10 | 9.6099
91.3385 | -2.1426e-10 | 9.6862
91.6878 | -2.1566e-10 | 9.8045
91.9149 | -2.0611e-10 | 9.3708
92.2243 | -2.394e-10 | 9.5216
92.6076 | -2.3597e-10 | 9.6704
92.9483 | -2.3501e-10 | 9.8417
93.2685 | -2.3453e-10 | 9.9445
93.4843 | -2.3479e-10 | 10.0107
93.6919 | -2.3495e-10 | 9.9431
94.0646 | -2.3476e-10 | 9.9859
94.3068 | -2.335e-10 | 10.0603
94.6086 | -2.3272e-10 | 10.1376
94.9675 | -2.3257e-10 | 9.6794
95.2904 | -2.3216e-10 | 9.787
95.6018 | -2.3198e-10 | 9.9098
95.8617 | -2.3309e-10 | 9.9582
96.0859 | -2.3673e-10 | 10.0141
96.4349 | -2.317e-10 | 10.0721
96.7001 | -1.8728e-10 | 10.0911
97.0342 | -2.1279e-10 | 10.1362
97.3501 | -2.1348e-10 | 10.2148
97.5996 | -2.3825e-10 | 10.2693
97.9576 | -2.3297e-10 | 10.3405
98.2664 | -2.3306e-10 | 10.398
98.4827 | -2.3045e-10 | 10.4432
98.8344 | -2.3339e-10 | 10.4925
99.1333 | -2.1295e-10 | 10.5253
99.4519 | -2.111e-10 | 10.5559
99.7077 | -2.1237e-10 | 10.5854
100.02 | -2.1194e-10 | 10.5972
100.304 | -2.3488e-10 | 10.5909
100.597 | -2.1304e-10 | 10.5793
100.914 | -2.1451e-10 | 10.5523
101.201 | -2.138e-10 | 10.5293
101.479 | -2.1414e-10 | 10.4942
101.817 | -2.2024e-10 | 10.4262
102.108 | -2.2791e-10 | 10.3525
102.385 | -2.6242e-10 | 10.2923
102.71 | -2.1233e-10 | 10.2487
103.006 | -2.2849e-10 | 10.2013
103.29 | -2.2837e-10 | 9.8537
103.632 | -2.5162e-10 | 9.8643
103.894 | -2.0821e-10 | 9.899
104.194 | -2.2647e-10 | 9.9192
104.503 | -2.2441e-10 | 9.9227
104.82 | -2.2298e-10 | 9.9406
105.08 | -2.2461e-10 | 9.9713
105.416 | -2.2256e-10 | 9.9862
105.696 | -2.2314e-10 | 9.9384
106.014 | -2.2219e-10 | 9.9155
106.278 | -2.201e-10 | 9.938
106.674 | -2.1996e-10 | 9.9837
106.884 | -2.1972e-10 | 10.0106
107.221 | -2.1265e-10 | 9.9871
107.502 | -2.1257e-10 | 9.9311
107.795 | -2.1443e-10 | 9.9475
108.112 | -2.0712e-10 | 9.9782
108.419 | -2.0885e-10 | 10.0231
108.72 | -2.0338e-10 | 10.0572
109.031 | -2.3442e-10 | 10.0902
109.314 | -2.2449e-10 | 10.1091
109.633 | -2.1681e-10 | 10.1311
109.908 | -1.6646e-10 | 10.1392
110.188 | -2.1183e-10 | 10.1351
110.498 | -2.1289e-10 | 10.1153
110.806 | -2.1247e-10 | 10.1223
111.09 | -1.9576e-10 | 10.1307
111.378 | -2.1161e-10 | 10.1257
111.704 | -2.207e-10 | 10.1173
111.989 | -2.6402e-10 | 10.0961
112.319 | -2.0869e-10 | 10.0842
112.591 | -2.1519e-10 | 10.0934
112.893 | -2.1276e-10 | 10.0785
113.222 | -2.1457e-10 | 10.0378
113.525 | -2.1589e-10 | 10.0448
113.779 | -1.7133e-10 | 10.0575
114.087 | -2.1209e-10 | 10.0738
114.421 | -2.1309e-10 | 10.0899
114.728 | -2.1306e-10 | 10.104
115.01 | -2.1379e-10 | 10.1178
115.285 | -2.1396e-10 | 10.0699
115.611 | -2.1154e-10 | 9.9528
115.887 | -2.1315e-10 | 9.963
116.237 | -2.1204e-10 | 9.9891
116.482 | -2.1223e-10 | 10.0122
116.895 | -2.1148e-10 | 10.0478
117.12 | -2.1103e-10 | 10.0595
117.402 | -2.1202e-10 | 10.0717
117.718 | -2.1216e-10 | 10.0713
118.044 | -2.1144e-10 | 10.0782
118.322 | -2.1146e-10 | 10.0845
118.577 | -2.1159e-10 | 10.0893
118.935 | -2.1172e-10 | 10.0616
119.192 | -2.1202e-10 | 10.0655
119.536 | -2.1342e-10 | 10.0719
119.831 | -2.1077e-10 | 10.0858
120.092 | -2.1114e-10 | 10.0714
120.39 | -2.1186e-10 | 10.0502
120.683 | -2.1307e-10 | 10.0484
121.011 | -2.122e-10 | 10.0506
121.292 | -2.1159e-10 | 10.0501
121.598 | -2.1071e-10 | 10.039
121.903 | -2.1188e-10 | 10.0394
122.202 | -2.113e-10 | 10.0446
122.502 | -2.1215e-10 | 10.0541
122.807 | -2.1129e-10 | 10.0712
123.131 | -2.1264e-10 | 10.0815
123.42 | -2.118e-10 | 10.0894
123.697 | -2.121e-10 | 10.0868
123.98 | -2.1321e-10 | 10.0275
124.287 | -2.121e-10 | 9.9643
124.627 | -2.125e-10 | 9.9826
124.92 | -2.1258e-10 | 10.0023
125.247 | -2.1183e-10 | 10.0226
125.541 | -2.127e-10 | 10.0472
125.831 | -2.1271e-10 | 10.0599
126.088 | -2.1219e-10 | 9.9633
126.431 | -2.1185e-10 | 9.9486
126.74 | -2.1136e-10 | 9.9671
127.085 | -2.1045e-10 | 9.9954
127.331 | -2.1152e-10 | 10.0179
127.591 | -2.1164e-10 | 10.0392
127.898 | -2.1214e-10 | 10.0552
128.209 | -2.1208e-10 | 10.0574
128.508 | -2.1259e-10 | 10.0206
128.799 | -2.1432e-10 | 10.0187
129.12 | -2.1424e-10 | 10.027
129.423 | -2.1313e-10 | 10.0396
129.689 | -2.1312e-10 | 10.0301
130.003 | -2.1289e-10 | 10.026
130.315 | -2.1288e-10 | 10.0319
130.597 | -2.1204e-10 | 10.0422
130.925 | -2.1227e-10 | 10.0423
131.183 | -2.1134e-10 | 10.0144
131.532 | -2.1136e-10 | 10.005
131.804 | -2.1315e-10 | 10.0124
132.091 | -2.128e-10 | 10.0319
132.415 | -2.1173e-10 | 10.0491
132.71 | -2.1261e-10 | 10.0707
133.005 | -2.1298e-10 | 10.0827
133.311 | -2.1289e-10 | 10.0956
133.587 | -2.1198e-10 | 10.0798
133.944 | -2.1263e-10 | 10.0674
134.218 | -2.1276e-10 | 10.0714
134.517 | -2.1401e-10 | 10.0816
134.827 | -2.1271e-10 | 10.0897
135.105 | -2.1258e-10 | 10.0942
135.379 | -2.1175e-10 | 10.0979
135.703 | -2.1183e-10 | 10.1015
135.998 | -2.124e-10 | 10.1044
136.318 | -2.1193e-10 | 10.0993
136.601 | -2.1166e-10 | 10.0732
136.923 | -2.1144e-10 | 10.0477
137.192 | -2.1213e-10 | 10.0522
137.52 | -2.117e-10 | 10.0639
137.813 | -2.1197e-10 | 10.071
138.116 | -2.1113e-10 | 10.08
138.421 | -2.1078e-10 | 10.0885
138.68 | -2.1176e-10 | 10.0956
138.981 | -2.1161e-10 | 10.1018
139.306 | -2.1176e-10 | 10.1045
139.626 | -2.1197e-10 | 10.104
139.925 | -2.1294e-10 | 10.1028
140.225 | -2.1243e-10 | 10.102
140.523 | -2.114e-10 | 10.1024
140.814 | -2.1152e-10 | 10.1001
141.112 | -2.1069e-10 | 10.0953
141.436 | -2.124e-10 | 10.0909
141.721 | -2.1171e-10 | 10.0898
142.023 | -2.112e-10 | 10.0855
142.306 | -2.1033e-10 | 10.0816
142.577 | -2.1073e-10 | 10.0785
142.911 | -2.1057e-10 | 10.0672
143.211 | -2.0981e-10 | 10.0641
143.508 | -2.111e-10 | 10.054
143.815 | -2.1159e-10 | 10.04
144.12 | -2.1049e-10 | 10.0316
144.377 | -2.1091e-10 | 10.0344
144.691 | -2.1139e-10 | 10.0355
145.024 | -2.1233e-10 | 10.0364
145.311 | -2.1138e-10 | 10.0327
145.625 | -2.1146e-10 | 10.0346
145.934 | -2.1088e-10 | 10.0372
146.182 | -2.1208e-10 | 10.0359
146.505 | -2.1345e-10 | 10.036
146.818 | -2.1201e-10 | 10.0391
147.096 | -2.1218e-10 | 10.0372
147.383 | -2.1146e-10 | 10.0355
147.689 | -2.12e-10 | 10.0369
148.013 | -2.1159e-10 | 10.0379
148.311 | -2.1191e-10 | 10.0364
148.583 | -2.1135e-10 | 10.0305
148.909 | -2.1286e-10 | 10.0234
149.213 | -2.1291e-10 | 10.0232
149.478 | -2.1219e-10 | 10.0263
149.805 | -2.1207e-10 | 10.0286
150.098 | -2.1197e-10 | 10.0273
150.418 | -2.1207e-10 | 10.0261
150.68 | -2.1209e-10 | 10.0288
151.004 | -2.1234e-10 | 10.029
151.299 | -2.1201e-10 | 10.0292
151.603 | -2.1259e-10 | 10.0294
151.924 | -2.1201e-10 | 10.0321
152.197 | -2.127e-10 | 10.0309
152.513 | -2.1325e-10 | 10.0326
152.812 | -2.1318e-10 | 10.0304
153.104 | -2.1364e-10 | 10.0279
153.425 | -2.1311e-10 | 10.0288
153.696 | -2.1397e-10 | 10.03
154.026 | -2.1323e-10 | 10.0296
154.296 | -2.1322e-10 | 10.0308
154.612 | -2.1301e-10 | 10.0323
154.94 | -2.1387e-10 | 10.0345
155.183 | -2.1384e-10 | 10.0338
155.508 | -2.1309e-10 | 10.0178
155.781 | -2.1344e-10 | 10.0066
156.096 | -2.13e-10 | 10.0063
156.406 | -2.1255e-10 | 10.0086
156.683 | -2.1267e-10 | 10.0114
157.027 | -2.1395e-10 | 10.0169
157.283 | -2.1364e-10 | 10.0222
157.596 | -2.1359e-10 | 10.0248
157.929 | -2.1361e-10 | 10.0286
158.201 | -2.1253e-10 | 10.033
158.546 | -2.1314e-10 | 10.0352
158.805 | -2.1299e-10 | 10.0377
159.127 | -2.138e-10 | 10.0373
159.413 | -2.1316e-10 | 10.0365
159.718 | -2.1266e-10 | 10.0366
159.986 | -2.1215e-10 | 10.0371
160.317 | -2.1273e-10 | 10.0327
160.615 | -2.1291e-10 | 10.0341
160.923 | -2.1403e-10 | 10.0342
161.205 | -2.1302e-10 | 10.0366
161.499 | -2.1369e-10 | 10.0353
161.808 | -2.1342e-10 | 10.0335
162.109 | -2.1363e-10 | 10.0334
162.423 | -2.1282e-10 | 10.0361
162.727 | -2.1352e-10 | 10.0335
162.979 | -2.1298e-10 | 10.0349
163.284 | -2.145e-10 | 10.0348
163.618 | -2.1435e-10 | 10.0354
163.917 | -2.1379e-10 | 10.0365
164.206 | -2.132e-10 | 10.0348
164.527 | -2.1188e-10 | 10.0342
164.805 | -2.138e-10 | 10.0359
165.116 | -2.1289e-10 | 10.0378
165.433 | -2.123e-10 | 10.0373
165.734 | -2.1243e-10 | 10.0367
165.993 | -2.1248e-10 | 10.0388
166.314 | -2.1168e-10 | 10.0382
166.597 | -2.1084e-10 | 10.0362
166.923 | -2.1245e-10 | 10.033
167.226 | -2.1203e-10 | 10.0346
167.496 | -2.1138e-10 | 10.0333
167.806 | -2.1155e-10 | 10.036
168.094 | -2.1165e-10 | 10.0338
168.413 | -2.1085e-10 | 10.0345
168.716 | -2.1129e-10 | 10.034
169.027 | -2.1172e-10 | 10.0312
169.302 | -2.122e-10 | 10.0274
169.603 | -2.12e-10 | 10.0239
169.913 | -2.1151e-10 | 10.0261
170.184 | -2.1101e-10 | 10.0267
170.517 | -2.1058e-10 | 10.0273
170.821 | -2.1133e-10 | 10.0291
171.095 | -2.1107e-10 | 10.0283
171.396 | -2.106e-10 | 10.0315
171.713 | -2.1141e-10 | 10.0315
171.988 | -2.115e-10 | 10.0281
172.316 | -2.1024e-10 | 10.0255
172.579 | -2.11e-10 | 10.0254
172.896 | -2.109e-10 | 10.0264
173.217 | -2.1135e-10 | 10.0272
173.492 | -2.1216e-10 | 10.0282
173.794 | -2.1091e-10 | 10.0278
174.114 | -2.1184e-10 | 10.0278
174.377 | -2.1078e-10 | 10.03
174.708 | -2.1013e-10 | 10.0305
175.019 | -2.1128e-10 | 10.0325
175.339 | -2.114e-10 | 10.0323
175.625 | -2.1056e-10 | 10.03
175.916 | -2.1063e-10 | 10.03
176.182 | -2.0979e-10 | 10.0301
176.503 | -2.111e-10 | 10.0294
176.78 | -2.1269e-10 | 10.0277
177.089 | -2.1226e-10 | 10.0273
177.392 | -2.121e-10 | 10.0229
177.731 | -2.1215e-10 | 10.02
177.997 | -2.1172e-10 | 10.0175
178.305 | -2.1251e-10 | 10.0178
178.586 | -2.1206e-10 | 10.0193
178.928 | -2.1212e-10 | 10.0223
179.214 | -2.1201e-10 | 10.023
179.488 | -2.128e-10 | 10.0262
179.832 | -2.1374e-10 | 10.0277
180.115 | -2.1224e-10 | 10.0296
180.384 | -2.1151e-10 | 10.0307
180.697 | -2.1182e-10 | 10.0303
181.024 | -2.1189e-10 | 10.0301
181.325 | -2.1174e-10 | 10.031
181.599 | -2.1128e-10 | 10.0316
181.909 | -2.1367e-10 | 10.0311
182.179 | -2.1169e-10 | 10.0312
182.503 | -2.1282e-10 | 10.0311
182.815 | -2.1124e-10 | 10.031
183.09 | -2.1336e-10 | 10.0314
183.434 | -2.1212e-10 | 10.0322
183.709 | -2.1413e-10 | 10.0324
184.01 | -2.1265e-10 | 10.0335
184.313 | -2.1303e-10 | 10.0311
184.618 | -2.1413e-10 | 10.0313
184.896 | -2.1335e-10 | 10.0298
185.219 | -2.1322e-10 | 10.0298
185.486 | -2.129e-10 | 10.0309
185.82 | -2.1309e-10 | 10.0287
186.124 | -2.1325e-10 | 10.0281
186.438 | -2.1337e-10 | 10.0268
186.695 | -2.139e-10 | 10.028
187.015 | -2.1184e-10 | 10.0278
187.316 | -2.1249e-10 | 10.0282
187.579 | -2.1407e-10 | 10.028
187.899 | -2.1347e-10 | 10.0277
188.206 | -2.1318e-10 | 10.029
188.521 | -2.1263e-10 | 10.0273
188.802 | -2.1365e-10 | 10.0267
189.1 | -2.1324e-10 | 10.0174
189.396 | -2.1397e-10 | 10.014
189.709 | -2.1317e-10 | 10.012
189.987 | -2.1389e-10 | 10.0123
190.277 | -2.1339e-10 | 10.0122
190.641 | -2.1341e-10 | 10.0131
190.937 | -2.1379e-10 | 10.0139
191.178 | -2.1305e-10 | 10.0157
191.49 | -2.1298e-10 | 10.0181
191.846 | -2.1293e-10 | 10.0264
192.128 | -2.1219e-10 | 10.0383
192.385 | -2.127e-10 | 10.0465
192.714 | -2.1393e-10 | 10.0566
193.037 | -2.1293e-10 | 10.0662
193.302 | -2.1354e-10 | 10.0721
193.579 | -2.1294e-10 | 10.0799
193.933 | -2.1341e-10 | 10.0863
194.181 | -2.1295e-10 | 10.0913
194.494 | -2.1235e-10 | 10.0954
194.845 | -2.1395e-10 | 10.0972
195.114 | -2.1397e-10 | 10.0997
195.393 | -2.1393e-10 | 10.1003
195.735 | -2.1371e-10 | 10.1015
196.033 | -2.1355e-10 | 10.1063
196.32 | -2.1407e-10 | 10.1125
196.615 | -2.145e-10 | 10.119
196.95 | -2.1448e-10 | 10.1234
197.201 | -2.1338e-10 | 10.1262
197.515 | -2.1494e-10 | 10.1278
197.784 | -2.132e-10 | 10.1279
198.092 | -2.1281e-10 | 10.1263
198.413 | -2.1325e-10 | 10.1241
198.711 | -2.1359e-10 | 10.1191
199.012 | -2.1282e-10 | 10.1128
199.281 | -2.1276e-10 | 10.1073
199.61 | -2.1481e-10 | 10.0993
199.921 | -2.1413e-10 | 10.0913
200.196 | -2.1363e-10 | 10.0854
200.511 | -2.1381e-10 | 10.0775
200.788 | -2.1395e-10 | 10.0714
201.122 | -2.1425e-10 | 10.0641
201.393 | -2.14e-10 | 10.0589
201.697 | -2.1395e-10 | 10.0533
201.992 | -2.1429e-10 | 10.0481
202.291 | -2.1496e-10 | 10.0449
202.597 | -2.1532e-10 | 10.0405
202.878 | -2.1422e-10 | 10.038
203.194 | -2.1477e-10 | 10.0347
203.533 | -2.1503e-10 | 10.0321
203.81 | -2.1445e-10 | 10.0308
204.108 | -2.1468e-10 | 10.0283
204.392 | -2.1384e-10 | 10.0276
204.697 | -2.1397e-10 | 10.0269
205.002 | -2.1341e-10 | 10.0251
205.296 | -2.1279e-10 | 10.0249
205.606 | -2.1502e-10 | 10.0235
205.917 | -2.1397e-10 | 10.0233
206.214 | -2.1395e-10 | 10.0238
206.48 | -2.147e-10 | 10.0235
206.794 | -2.1454e-10 | 10.0235
207.112 | -2.1435e-10 | 10.0225
207.43 | -2.1588e-10 | 10.0226
207.697 | -2.1555e-10 | 10.0231
207.999 | -2.1449e-10 | 10.0233
208.317 | -2.1412e-10 | 10.0228
208.62 | -2.1461e-10 | 10.0237
208.939 | -2.143e-10 | 10.0233
209.191 | -2.1445e-10 | 10.0235
209.509 | -2.1442e-10 | 10.0239
209.777 | -2.1474e-10 | 10.0241
210.098 | -2.1339e-10 | 10.0235
210.399 | -2.1388e-10 | 10.0242
210.717 | -2.1337e-10 | 10.0246
210.988 | -2.1389e-10 | 10.0246
211.306 | -2.1471e-10 | 10.0248
211.675 | -2.1439e-10 | 10.0245
211.892 | -2.141e-10 | 10.0245
212.21 | -2.152e-10 | 10.0251
212.53 | -2.1418e-10 | 10.0245
212.78 | -2.135e-10 | 10.0248
213.094 | -2.1338e-10 | 10.0251
213.409 | -2.1551e-10 | 10.0238
213.706 | -2.1469e-10 | 10.024
214.021 | -2.1518e-10 | 10.0243
214.321 | -2.1485e-10 | 10.0235
214.603 | -2.1399e-10 | 10.0234
214.903 | -2.1486e-10 | 10.0235
215.22 | -2.142e-10 | 10.0235
215.487 | -2.149e-10 | 10.0239
215.802 | -2.1547e-10 | 10.0229
216.103 | -2.1435e-10 | 10.0232
216.42 | -2.1358e-10 | 10.0236
216.686 | -2.1299e-10 | 10.0236
217.004 | -2.1245e-10 | 10.0237
217.322 | -2.1313e-10 | 10.0238
217.637 | -2.1342e-10 | 10.0232
217.893 | -2.1347e-10 | 10.0239
218.209 | -2.1338e-10 | 10.0228
218.527 | -2.1413e-10 | 10.0233
218.795 | -2.1347e-10 | 10.023
219.111 | -2.132e-10 | 10.0231
219.411 | -2.1267e-10 | 10.0234
219.695 | -2.1356e-10 | 10.0232
219.994 | -2.1505e-10 | 10.0227
220.311 | -2.1466e-10 | 10.023
220.63 | -2.1443e-10 | 10.0228
220.895 | -2.1474e-10 | 10.0226
221.194 | -2.1435e-10 | 10.023
221.51 | -2.1428e-10 | 10.0229
221.778 | -2.139e-10 | 10.0234
222.094 | -2.1503e-10 | 10.0232
222.412 | -2.1438e-10 | 10.0225
222.712 | -2.1544e-10 | 10.023
222.978 | -2.1561e-10 | 10.0232
223.295 | -2.1588e-10 | 10.0232
223.61 | -2.1473e-10 | 10.0222
223.927 | -2.1525e-10 | 10.0225
224.178 | -2.1446e-10 | 10.0228
224.496 | -2.1417e-10 | 10.0228
224.81 | -2.1336e-10 | 10.022
225.127 | -2.1379e-10 | 10.022
225.426 | -2.1463e-10 | 10.022
225.725 | -2.1427e-10 | 10.0223
225.991 | -2.1354e-10 | 10.0221
226.306 | -2.1294e-10 | 10.0212
226.623 | -2.1315e-10 | 10.0215
226.924 | -2.1426e-10 | 10.0219
227.19 | -2.1387e-10 | 10.0219
227.504 | -2.1383e-10 | 10.0212
227.822 | -2.1406e-10 | 10.0212
228.088 | -2.1378e-10 | 10.0219
228.4 | -2.1367e-10 | 10.0207
228.697 | -2.1323e-10 | 10.0207
229.012 | -2.1471e-10 | 10.0209
229.277 | -2.1429e-10 | 10.021
229.592 | -2.1358e-10 | 10.02
229.892 | -2.125e-10 | 10.0203
230.209 | -2.1372e-10 | 10.0206
230.477 | -2.1429e-10 | 10.0206
230.793 | -2.1407e-10 | 10.0202
231.094 | -2.1316e-10 | 10.0204
231.412 | -2.1271e-10 | 10.0206
231.68 | -2.1524e-10 | 10.0206
232 | -2.1265e-10 | 10.0201
232.302 | -2.128e-10 | 10.021
232.619 | -2.1277e-10 | 10.0211
232.936 | -2.1319e-10 | 10.0204
233.186 | -2.1274e-10 | 10.0207
233.503 | -2.139e-10 | 10.0211
233.818 | -2.1342e-10 | 10.0202
234.119 | -2.1322e-10 | 10.0206
234.386 | -2.1353e-10 | 10.0208
234.702 | -2.1363e-10 | 10.0208
235.018 | -2.1241e-10 | 10.0201
235.316 | -2.1256e-10 | 10.02
235.587 | -2.1217e-10 | 10.0205
235.903 | -2.1334e-10 | 10.0206
236.219 | -2.1262e-10 | 10.0199
236.536 | -2.1306e-10 | 10.02
236.787 | -2.133e-10 | 10.0201
237.122 | -2.1229e-10 | 10.0198
237.389 | -2.1397e-10 | 10.0206
237.704 | -2.1399e-10 | 10.0198
238.005 | -2.1344e-10 | 10.0202
238.321 | -2.1281e-10 | 10.0202
238.588 | -2.1184e-10 | 10.0204
238.938 | -2.118e-10 | 10.0199
239.204 | -2.1224e-10 | 10.0197
239.505 | -2.1262e-10 | 10.0201
239.822 | -2.1304e-10 | 10.0203
240.105 | -2.132e-10 | 10.0195
240.406 | -2.133e-10 | 10.0199
240.723 | -2.145e-10 | 10.0202
241.039 | -2.1459e-10 | 10.0194
241.305 | -2.1398e-10 | 10.0196
241.606 | -2.146e-10 | 10.0199
241.921 | -2.1436e-10 | 10.0197
242.188 | -2.1431e-10 | 10.0197
242.505 | -2.1474e-10 | 10.0192
242.805 | -2.1456e-10 | 10.0195
243.122 | -2.1426e-10 | 10.0198
243.39 | -2.1449e-10 | 10.0199
243.706 | -2.1407e-10 | 10.0196
244.022 | -2.1528e-10 | 10.0188
244.334 | -2.1449e-10 | 10.0189
244.599 | -2.1377e-10 | 10.0187
244.896 | -2.1442e-10 | 10.0187
245.211 | -2.1429e-10 | 10.0187
245.477 | -2.1295e-10 | 10.0186
245.791 | -2.1438e-10 | 10.0184
246.108 | -2.1438e-10 | 10.0178
246.425 | -2.14e-10 | 10.0181
246.725 | -2.1537e-10 | 10.0182
247.01 | -2.1494e-10 | 10.018
247.31 | -2.1349e-10 | 10.0186
247.611 | -2.1508e-10 | 10.0182
247.896 | -2.1521e-10 | 10.0179
248.196 | -2.1408e-10 | 10.0184
248.513 | -2.1332e-10 | 10.0187
248.78 | -2.1333e-10 | 10.0184
249.098 | -2.1429e-10 | 10.0183
249.415 | -2.1442e-10 | 10.0184
249.683 | -2.1447e-10 | 10.0182
250.017 | -2.131e-10 | 10.0185
250.301 | -2.1399e-10 | 10.0182
250.603 | -2.1447e-10 | 10.0184
250.936 | -2.1387e-10 | 10.0181
251.219 | -2.1369e-10 | 10.0185
251.486 | -2.1386e-10 | 10.0182
251.802 | -2.1397e-10 | 10.0185
252.137 | -2.1439e-10 | 10.0182
252.42 | -2.1482e-10 | 10.0182
252.705 | -2.1529e-10 | 10.0179
253.022 | -2.1489e-10 | 10.0179
253.288 | -2.1433e-10 | 10.0186
253.604 | -2.1514e-10 | 10.0183
253.921 | -2.1622e-10 | 10.0184
254.189 | -2.1523e-10 | 10.0183
254.506 | -2.1424e-10 | 10.0182
254.821 | -2.1489e-10 | 10.0182
255.09 | -2.1468e-10 | 10.0181
255.405 | -2.1422e-10 | 10.0184
255.722 | -2.1601e-10 | 10.0176
255.989 | -2.1591e-10 | 10.0183
256.304 | -2.1584e-10 | 10.0175
256.622 | -2.1651e-10 | 10.0176
256.923 | -2.1581e-10 | 10.0177
257.205 | -2.1468e-10 | 10.0176
257.521 | -2.1527e-10 | 10.0174
257.823 | -2.1349e-10 | 10.0178
258.089 | -2.1667e-10 | 10.018
258.407 | -2.1579e-10 | 10.0175
258.721 | -2.1542e-10 | 10.0179
259.039 | -2.1548e-10 | 10.0174
259.307 | -2.1547e-10 | 10.0172
259.623 | -2.156e-10 | 10.0173
259.922 | -2.1453e-10 | 10.0175
260.206 | -2.1477e-10 | 10.0172
260.508 | -2.1446e-10 | 10.0176
260.825 | -2.1664e-10 | 10.0176
261.105 | -2.1444e-10 | 10.0169
261.418 | -2.1563e-10 | 10.017
261.683 | -2.1456e-10 | 10.0174
261.996 | -2.1487e-10 | 10.017
262.313 | -2.1557e-10 | 10.017
262.594 | -2.1455e-10 | 10.0166
262.894 | -2.1357e-10 | 10.0168
263.21 | -2.1394e-10 | 10.0169
263.477 | -2.1368e-10 | 10.0167
263.795 | -2.1268e-10 | 10.0166
264.111 | -2.145e-10 | 10.0162
264.378 | -2.1402e-10 | 10.0167
264.696 | -2.135e-10 | 10.0166
265.013 | -2.1346e-10 | 10.0167
265.28 | -2.1473e-10 | 10.0165
265.598 | -2.1357e-10 | 10.0167
265.898 | -2.14e-10 | 10.0169
266.218 | -2.1428e-10 | 10.0169
266.483 | -2.1331e-10 | 10.0168
266.8 | -2.1376e-10 | 10.0161
267.119 | -2.1492e-10 | 10.0167
267.385 | -2.1483e-10 | 10.0166
267.703 | -2.1373e-10 | 10.0167
268.036 | -2.1324e-10 | 10.0164
268.302 | -2.1353e-10 | 10.0164
268.62 | -2.1386e-10 | 10.0163
268.937 | -2.1281e-10 | 10.0161
269.204 | -2.1265e-10 | 10.0169
269.521 | -2.1384e-10 | 10.0165
269.788 | -2.1447e-10 | 10.0166
270.121 | -2.1425e-10 | 10.0163
270.437 | -2.14e-10 | 10.0163
270.687 | -2.1282e-10 | 10.0164
271.02 | -2.1315e-10 | 10.0161
271.338 | -2.1372e-10 | 10.0161
271.606 | -2.1304e-10 | 10.0167
271.923 | -2.1382e-10 | 10.0166
272.206 | -2.1284e-10 | 10.0165
272.521 | -2.1205e-10 | 10.0165
272.804 | -2.1347e-10 | 10.0158
273.122 | -2.1242e-10 | 10.0164
273.389 | -2.1366e-10 | 10.0165
273.705 | -2.1404e-10 | 10.0158
274.021 | -2.1258e-10 | 10.0162
274.304 | -2.1354e-10 | 10.016
274.605 | -2.1384e-10 | 10.0162
274.921 | -2.1326e-10 | 10.0164
275.188 | -2.1404e-10 | 10.0162
275.505 | -2.1418e-10 | 10.0162
275.823 | -2.1431e-10 | 10.0164
276.089 | -2.1425e-10 | 10.0163
276.406 | -2.1377e-10 | 10.0162
276.723 | -2.1293e-10 | 10.016
277.006 | -2.1414e-10 | 10.0157
277.323 | -2.1448e-10 | 10.0157
277.639 | -2.1373e-10 | 10.0157
277.906 | -2.1477e-10 | 10.0162
278.24 | -2.1358e-10 | 10.0158
278.489 | -2.1311e-10 | 10.0158
278.822 | -2.1426e-10 | 10.0156
279.137 | -2.1406e-10 | 10.0155
279.418 | -2.1318e-10 | 10.0155
279.697 | -2.1396e-10 | 10.0153
280.012 | -2.1378e-10 | 10.0151
280.313 | -2.1408e-10 | 10.0153
280.577 | -2.1333e-10 | 10.0152
280.894 | -2.1281e-10 | 10.0154
281.21 | -2.1239e-10 | 10.0152
281.527 | -2.1292e-10 | 10.0153
281.794 | -2.1322e-10 | 10.015
282.111 | -2.1316e-10 | 10.0152
282.396 | -2.1312e-10 | 10.0148
282.711 | -2.1315e-10 | 10.0147
283.029 | -2.1455e-10 | 10.0148
283.297 | -2.1393e-10 | 10.0152
283.613 | -2.15e-10 | 10.0149
283.898 | -2.1321e-10 | 10.0152
284.216 | -2.1346e-10 | 10.0153
284.483 | -2.1406e-10 | 10.0152
284.816 | -2.1292e-10 | 10.015
285.135 | -2.1393e-10 | 10.015
285.384 | -2.132e-10 | 10.015
285.718 | -2.142e-10 | 10.015
285.986 | -2.1365e-10 | 10.0154
286.302 | -2.1456e-10 | 10.0146
286.62 | -2.1372e-10 | 10.0154
286.885 | -2.1516e-10 | 10.0153
287.204 | -2.155e-10 | 10.0146
287.519 | -2.1474e-10 | 10.0148
287.837 | -2.158e-10 | 10.0148
288.104 | -2.1419e-10 | 10.0152
288.42 | -2.1467e-10 | 10.0149
288.704 | -2.1495e-10 | 10.0151
289.022 | -2.1481e-10 | 10.0152
289.287 | -2.1435e-10 | 10.0151
289.604 | -2.1462e-10 | 10.0149
289.888 | -2.1536e-10 | 10.0152
290.205 | -2.1463e-10 | 10.0149
290.521 | -2.1479e-10 | 10.0147
290.804 | -2.145e-10 | 10.0151
291.119 | -2.1433e-10 | 10.0148
291.387 | -2.1431e-10 | 10.0145
291.703 | -2.1439e-10 | 10.0146
292.022 | -2.1484e-10 | 10.0149
292.287 | -2.1578e-10 | 10.0148
292.622 | -2.1493e-10 | 10.0146
292.904 | -2.1472e-10 | 10.0147
293.221 | -2.1475e-10 | 10.0148
293.488 | -2.1417e-10 | 10.0145
293.821 | -2.1539e-10 | 10.0145
294.139 | -2.1459e-10 | 10.0144
294.405 | -2.1561e-10 | 10.0146
294.721 | -2.1397e-10 | 10.0145
295.005 | -2.1436e-10 | 10.0141
295.321 | -2.1578e-10 | 10.0145
295.604 | -2.145e-10 | 10.0142
295.922 | -2.1503e-10 | 10.0147
296.237 | -2.1496e-10 | 10.0142
296.504 | -2.1488e-10 | 10.0146
296.821 | -2.1532e-10 | 10.0145
297.087 | -2.1571e-10 | 10.0145
297.406 | -2.1549e-10 | 10.0146
297.721 | -2.1546e-10 | 10.0142
298.004 | -2.1517e-10 | 10.014
298.321 | -2.1612e-10 | 10.0139
298.588 | -2.1652e-10 | 10.0143
298.918 | -2.1628e-10 | 10.0139
299.232 | -2.1612e-10 | 10.0137
299.497 | -2.1457e-10 | 10.0135
299.812 | -2.1607e-10 | 10.0135
300.078 | -2.1645e-10 | 10.0137
300.412 | -2.1566e-10 | 10.0135
300.709 | -2.1652e-10 | 10.0134
300.994 | -2.1664e-10 | 10.0139
301.312 | -2.1599e-10 | 10.0138
301.595 | -2.16e-10 | 10.0135
301.895 | -2.1543e-10 | 10.0137
302.23 | -2.1503e-10 | 10.0135
302.497 | -2.1513e-10 | 10.0139
302.814 | -2.153e-10 | 10.0137
303.081 | -2.1517e-10 | 10.0136
303.415 | -2.1616e-10 | 10.0133
303.682 | -2.1537e-10 | 10.0139
303.999 | -2.1606e-10 | 10.0138
304.317 | -2.1546e-10 | 10.0137
304.601 | -2.1571e-10 | 10.0135
304.901 | -2.153e-10 | 10.0137
305.218 | -2.1423e-10 | 10.0137
305.5 | -2.1423e-10 | 10.0133
305.819 | -2.1509e-10 | 10.0134
306.104 | -2.148e-10 | 10.0135
306.404 | -2.1513e-10 | 10.0133
306.719 | -2.1528e-10 | 10.0135
307.003 | -2.1387e-10 | 10.0133
307.319 | -2.144e-10 | 10.0133
307.586 | -2.1564e-10 | 10.0137
307.903 | -2.1615e-10 | 10.0138
308.22 | -2.1519e-10 | 10.0138
308.487 | -2.1496e-10 | 10.0136
308.82 | -2.151e-10 | 10.0136
309.087 | -2.165e-10 | 10.0134
309.404 | -2.1563e-10 | 10.0136
309.721 | -2.1568e-10 | 10.0135
310.005 | -2.157e-10 | 10.0132
310.321 | -2.1514e-10 | 10.0131
310.59 | -2.1726e-10 | 10.0136
310.904 | -2.1552e-10 | 10.0137
311.221 | -2.1543e-10 | 10.0136
311.489 | -2.1545e-10 | 10.0135
311.807 | -2.2576e-10 | 10.0134
312.123 | -2.2265e-10 | 10.0134
312.407 | -2.2028e-10 | 10.0131
312.723 | -2.1398e-10 | 10.0137
313.006 | -2.1791e-10 | 10.0133
313.323 | -2.0918e-10 | 10.0135
313.589 | -2.1519e-10 | 10.0133
313.923 | -2.1431e-10 | 10.0135
314.19 | -2.1367e-10 | 10.0134
314.506 | -2.1546e-10 | 10.0133
314.789 | -2.1595e-10 | 10.0133
315.122 | -2.0547e-10 | 10.0129
315.389 | -2.1987e-10 | 10.0134
315.706 | -2.2596e-10 | 10.0131
315.989 | -2.1367e-10 | 10.0133
316.305 | -2.1511e-10 | 10.0132
316.639 | -2.1435e-10 | 10.013
316.906 | -2.1507e-10 | 10.0132
317.224 | -2.1554e-10 | 10.0132
317.507 | -2.1423e-10 | 10.0127
317.824 | -2.1476e-10 | 10.0127
318.106 | -2.1542e-10 | 10.0128
318.423 | -2.1456e-10 | 10.0127
318.739 | -2.1467e-10 | 10.0128
319.007 | -2.1371e-10 | 10.0133
319.323 | -2.1347e-10 | 10.0132
319.589 | -2.1365e-10 | 10.013
319.906 | -2.1353e-10 | 10.0128
320.221 | -2.1199e-10 | 10.0126