## Settings
Sample Info | vr2, dot b1, e-irrad 1500mkC, run 05
Comments | -10.5/-10.5/+1 V
Additional Comments | for holes
Major Measurement Parameters
Starting Temperature | 305.017
Initial Temperature | 80.5
Final Temperature | 320
Preliminary Voltage | -10.5
Pulse Voltage | -10.5
Pulse Time | 20
Wait Time | 3
Measurement Voltage | 1
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 28.3.2024
Clock | 16:0:21

## Stabilization
Temperature | Current | Temp Rate
303.094 | -2.3248e-10 | 0
301.914 | -2.2548e-10 | -33.7889
301.136 | -2.2299e-10 | -32.3074
300.212 | -2.2344e-10 | -32.2771
299.206 | -2.2256e-10 | -33.5689
298.3 | -2.1982e-10 | -33.6583
297.411 | -2.2013e-10 | -33.5574
296.442 | -2.2012e-10 | -34.0837
295.5 | -2.2035e-10 | -34.2496
294.628 | -2.2199e-10 | -34.1759
293.831 | -2.2199e-10 | -38.7467
292.779 | -2.2017e-10 | -49.0459
291.978 | -2.2241e-10 | -70.996
291.029 | -2.1918e-10 | -154.9413
290.035 | -2.2067e-10 | -251.5662
289.186 | -2.2179e-10 | -32.0183
288.217 | -2.1665e-10 | -32.3375
287.307 | -2.198e-10 | -32.4926
286.385 | -2.2025e-10 | -641.0301
285.369 | -2.201e-10 | -32.9576
284.448 | -2.19e-10 | -33.0315
283.377 | -2.1894e-10 | -33.3852
282.456 | -2.2026e-10 | -33.4747
281.505 | -2.1001e-10 | -33.6076
280.424 | -2.2526e-10 | -33.9052
279.544 | -2.0609e-10 | -33.9025
278.602 | -2.247e-10 | -33.9765
277.528 | -2.1516e-10 | -34.2056
276.685 | -2.2008e-10 | -34.1495
275.617 | -2.2135e-10 | -34.36
274.669 | -2.208e-10 | -34.4264
273.762 | -2.2126e-10 | -34.4234
272.699 | -2.2241e-10 | -34.5817
271.81 | -2.2284e-10 | -34.5786
270.912 | -2.1961e-10 | -34.5765
269.834 | -2.2168e-10 | -34.7626
268.979 | -2.2283e-10 | -34.71
267.951 | -2.2161e-10 | -34.8363
267.181 | -2.1934e-10 | -34.7073
266.314 | -2.2108e-10 | -34.6653
265.339 | -2.2055e-10 | -34.7341
264.452 | -2.2119e-10 | -34.7213
263.606 | -2.1971e-10 | -34.6722
262.624 | -2.2097e-10 | -34.7442
261.734 | -2.2275e-10 | -34.7376
260.895 | -2.1984e-10 | -34.6845
259.913 | -2.2115e-10 | -34.7401
259.005 | -2.2206e-10 | -34.7494
258.067 | -2.2103e-10 | -34.7724
257.222 | -2.1961e-10 | -34.7228
256.302 | -2.1986e-10 | -34.7354
255.394 | -2.1882e-10 | -34.7346
254.518 | -2.206e-10 | -34.7082
253.609 | -2.21e-10 | -34.7149
252.783 | -2.1971e-10 | -34.6634
252.003 | -2.1885e-10 | -34.5679
251.125 | -2.2014e-10 | -34.5498
250.31 | -2.1835e-10 | -34.4952
249.576 | -2.1859e-10 | -34.3863
248.818 | -2.1977e-10 | -34.3042
248.131 | -2.2147e-10 | -34.1722
247.32 | -2.2032e-10 | -34.1186
246.575 | -2.2121e-10 | -34.0325
245.892 | -2.2228e-10 | -33.9099
245.036 | -2.2196e-10 | -33.8778
244.374 | -2.2017e-10 | -33.7518
243.689 | -2.1991e-10 | -33.6453
242.888 | -2.22e-10 | -33.593
242.166 | -2.2024e-10 | -33.5015
241.475 | -2.1988e-10 | -33.349
240.684 | -2.191e-10 | -33.3069
240.091 | -2.1946e-10 | -33.1522
239.393 | -2.2069e-10 | -33.0589
238.784 | -2.2254e-10 | -32.9343
238.143 | -2.2251e-10 | -32.8183
237.484 | -2.2205e-10 | -32.7222
236.931 | -2.1987e-10 | -32.4459
236.079 | -2.1826e-10 | -32.4164
235.447 | -2.2288e-10 | -32.3096
234.955 | -2.2173e-10 | -32.1433
234.269 | -2.236e-10 | -32.057
233.838 | -2.2265e-10 | -31.8703
233.157 | -2.2006e-10 | -31.805
232.703 | -2.2059e-10 | -31.6328
232.033 | -2.1993e-10 | -31.5649
231.581 | -2.2337e-10 | -31.4039
230.94 | -2.2286e-10 | -31.3245
230.505 | -2.2253e-10 | -31.1593
229.884 | -2.221e-10 | -31.0781
229.451 | -2.2299e-10 | -30.9171
228.933 | -2.2189e-10 | -30.7986
228.499 | -2.2067e-10 | -30.6455
227.973 | -2.2166e-10 | -30.5338
227.546 | -2.2222e-10 | -30.3756
227.101 | -2.2058e-10 | -30.2393
226.745 | -2.2018e-10 | -30.0683
226.293 | -2.2093e-10 | -29.9374
225.991 | -2.1989e-10 | -29.7534
225.566 | -2.2094e-10 | -29.6197
225.318 | -2.2025e-10 | -29.42
225.104 | -2.2267e-10 | -29.2123
224.793 | -2.1994e-10 | -29.0416
224.437 | -2.1937e-10 | -28.8914
224.217 | -2.1992e-10 | -28.694
223.985 | -2.1976e-10 | -28.5039
223.853 | -2.1954e-10 | -28.2845
223.625 | -2.1926e-10 | -28.097
223.414 | -2.1981e-10 | -27.9101
223.201 | -2.2053e-10 | -27.7246
223.016 | -2.204e-10 | -27.535
222.899 | -2.2015e-10 | -27.323
222.779 | -2.1984e-10 | -27.12
222.657 | -2.2067e-10 | -26.9235
222.539 | -2.203e-10 | -26.7253
222.405 | -2.198e-10 | -26.532
222.266 | -2.2008e-10 | -26.3479
221.961 | -2.2104e-10 | -26.2216
221.821 | -2.1957e-10 | -26.0419
221.656 | -2.2115e-10 | -25.8772
221.521 | -2.1985e-10 | -25.7026
221.229 | -2.1715e-10 | -25.5823
221.09 | -2.2855e-10 | -25.4143
220.963 | -2.1764e-10 | -25.244
220.822 | -2.0534e-10 | -25.0789
220.705 | -2.205e-10 | -24.9101
220.586 | -2.0638e-10 | -24.7494
220.453 | -2.0589e-10 | -24.5926
220.169 | -2.1753e-10 | -24.4823
220.034 | -2.0253e-10 | -24.3344
219.841 | -2.2119e-10 | -24.2025
219.713 | -2.1738e-10 | -24.0531
219.573 | -2.2243e-10 | -23.9118
219.38 | -2.1881e-10 | -23.7845
219.256 | -2.2186e-10 | -23.6404
219.117 | -2.2e-10 | -23.5046
218.914 | -2.2445e-10 | -23.3883
218.786 | -2.1573e-10 | -23.2488
218.662 | -2.0708e-10 | -23.1144
218.478 | -2.1788e-10 | -22.998
218.35 | -2.3232e-10 | -22.8642
218.207 | -2.2044e-10 | -22.736
218.024 | -2.1869e-10 | -22.6224
217.89 | -2.2133e-10 | -22.4981
217.698 | -2.1799e-10 | -22.3927
217.442 | -2.1841e-10 | -22.3057
217.315 | -2.1874e-10 | -22.1837
217.175 | -2.1922e-10 | -22.0667
217.037 | -2.1831e-10 | -21.9525
216.899 | -2.1861e-10 | -21.8403
216.764 | -2.1899e-10 | -21.7307
216.629 | -2.2046e-10 | -21.62
216.492 | -2.201e-10 | -21.508
216.351 | -2.1908e-10 | -21.4035
216.209 | -2.1721e-10 | -21.2991
216.074 | -2.1731e-10 | -21.1935
215.919 | -2.1768e-10 | -21.0939
215.698 | -2.1914e-10 | -21.0098
215.548 | -2.1852e-10 | -20.9103
215.394 | -2.1912e-10 | -20.8092
215.212 | -2.1956e-10 | -20.722
214.985 | -2.1799e-10 | -20.6462
214.841 | -2.1959e-10 | -20.5528
214.674 | -2.1922e-10 | -20.4655
214.514 | -2.1798e-10 | -20.3764
214.358 | -2.365e-10 | -20.2877
214.194 | -2.1861e-10 | -20.2022
214.045 | -2.1694e-10 | -20.115
213.891 | -2.1916e-10 | -20.0299
213.73 | -2.2002e-10 | -19.9462
213.555 | -2.2372e-10 | -19.8654
213.394 | -2.2023e-10 | -19.7852
213.234 | -2.1992e-10 | -19.7034
213.079 | -1.9751e-10 | -19.6224
212.92 | -2.1921e-10 | -19.5444
212.752 | -2.1455e-10 | -19.4671
212.561 | -2.1678e-10 | -19.3979
212.354 | -2.1971e-10 | -19.3295
212.18 | -2.0863e-10 | -19.2569
212.001 | -2.1829e-10 | -19.1875
211.829 | -2.1898e-10 | -19.1171
211.664 | -2.1851e-10 | -19.0452
211.485 | -2.3371e-10 | -18.9774
211.301 | -2.159e-10 | -18.9108
211.127 | -2.3623e-10 | -18.8425
210.958 | -2.2132e-10 | -18.7741
210.766 | -2.185e-10 | -18.7109
210.534 | -2.1772e-10 | -18.6568
210.311 | -2.186e-10 | -18.6021
210.112 | -2.1693e-10 | -18.5429
209.925 | -2.1938e-10 | -18.4804
209.725 | -2.1664e-10 | -18.4226
209.536 | -2.1756e-10 | -18.363
209.347 | -2.1886e-10 | -18.3042
209.155 | -2.2062e-10 | -18.2468
208.963 | -2.1862e-10 | -18.1894
208.766 | -2.2052e-10 | -18.1338
208.576 | -2.1675e-10 | -18.0776
208.38 | -2.226e-10 | -18.0234
208.184 | -2.1931e-10 | -17.9695
207.99 | -2.2258e-10 | -17.9158
207.798 | -2.1873e-10 | -17.8625
207.611 | -2.1739e-10 | -17.8093
207.42 | -2.185e-10 | -17.7567
207.225 | -2.1946e-10 | -17.7054
207.018 | -2.1901e-10 | -17.6568
206.821 | -2.1852e-10 | -17.6073
206.624 | -2.1728e-10 | -17.5564
206.416 | -2.1839e-10 | -17.5091
206.219 | -2.1625e-10 | -17.4594
206.021 | -2.1469e-10 | -17.4113
205.809 | -2.183e-10 | -17.3665
205.608 | -2.2095e-10 | -17.3201
205.398 | -2.1951e-10 | -17.2744
205.196 | -2.1785e-10 | -17.2287
204.999 | -2.1687e-10 | -17.1822
204.801 | -2.1869e-10 | -17.1367
204.602 | -2.1973e-10 | -17.0921
204.405 | -2.1914e-10 | -17.0468
204.205 | -2.0497e-10 | -17.0028
204.008 | -2.1718e-10 | -16.956
203.8 | -2.186e-10 | -16.9138
203.603 | -2.2234e-10 | -16.8702
203.407 | -2.172e-10 | -16.8262
203.2 | -2.1685e-10 | -16.7852
202.985 | -2.1646e-10 | -16.7461
202.78 | -2.1881e-10 | -16.7048
202.565 | -2.1796e-10 | -16.6626
202.363 | -2.1592e-10 | -16.6209
202.163 | -2.1894e-10 | -16.581
201.959 | -2.1875e-10 | -16.5417
201.745 | -2.1771e-10 | -16.5023
201.526 | -2.1421e-10 | -16.4633
201.325 | -2.1777e-10 | -16.4238
201.117 | -2.1852e-10 | -16.386
200.909 | -2.1739e-10 | -16.3482
200.704 | -2.1459e-10 | -16.3115
200.5 | -2.1784e-10 | -16.275
200.283 | -2.179e-10 | -16.2403
200.082 | -2.1702e-10 | -16.2023
199.877 | -2.149e-10 | -16.1666
199.677 | -2.1972e-10 | -16.1304
199.466 | -2.1788e-10 | -16.0946
199.264 | -2.1442e-10 | -16.0595
199.063 | -2.1672e-10 | -16.025
198.848 | -2.1627e-10 | -15.9902
198.632 | -2.1658e-10 | -15.9579
198.433 | -2.1693e-10 | -15.9229
198.235 | -2.1834e-10 | -15.888
198.042 | -2.1758e-10 | -15.8515
197.83 | -2.1839e-10 | -15.819
197.622 | -2.1751e-10 | -15.787
197.424 | -2.1733e-10 | -15.752
197.229 | -2.1522e-10 | -15.7181
197.041 | -2.1735e-10 | -15.6832
196.843 | -2.1888e-10 | -15.6506
196.661 | -2.1659e-10 | -15.6147
196.477 | -2.1643e-10 | -15.5783
196.263 | -2.1728e-10 | -15.5488
196.064 | -2.1744e-10 | -15.5174
195.872 | -2.1811e-10 | -15.4843
195.674 | -2.1648e-10 | -15.4523
195.472 | -2.1617e-10 | -15.4207
195.291 | -2.1738e-10 | -15.3865
195.112 | -2.1606e-10 | -15.3523
194.922 | -2.1747e-10 | -15.3202
194.729 | -2.1664e-10 | -15.2887
194.526 | -2.155e-10 | -15.2596
194.312 | -2.173e-10 | -15.232
194.074 | -2.1682e-10 | -15.2079
193.837 | -2.1688e-10 | -15.1834
193.616 | -2.1734e-10 | -15.1568
193.394 | -2.1634e-10 | -15.1313
193.174 | -2.1858e-10 | -15.1051
192.952 | -2.2067e-10 | -15.0801
192.713 | -2.1874e-10 | -15.0572
192.488 | -2.1601e-10 | -15.0304
192.239 | -2.1776e-10 | -15.0089
191.998 | -2.1964e-10 | -14.9873
191.76 | -2.1843e-10 | -14.9641
191.521 | -2.0993e-10 | -14.9419
191.262 | -2.1503e-10 | -14.9227
191.014 | -2.1342e-10 | -14.9011
190.761 | -2.1313e-10 | -14.8822
190.502 | -2.144e-10 | -14.863
190.232 | -2.173e-10 | -14.8453
189.964 | -2.2356e-10 | -14.8277
189.697 | -2.1643e-10 | -14.8089
189.406 | -2.1675e-10 | -14.7946
189.123 | -2.1774e-10 | -14.78
188.844 | -2.1444e-10 | -14.7649
188.566 | -2.2058e-10 | -14.749
188.29 | -2.1957e-10 | -14.7335
188.004 | -2.193e-10 | -14.7195
187.71 | -2.1744e-10 | -14.706
187.428 | -2.1917e-10 | -14.6913
187.145 | -2.1719e-10 | -14.6769
186.858 | -2.1685e-10 | -14.6632
186.551 | -2.1754e-10 | -14.6511
186.256 | -2.1523e-10 | -14.6378
185.941 | -2.1848e-10 | -14.6269
185.62 | -2.1627e-10 | -14.6157
185.324 | -2.1725e-10 | -14.6036
185.034 | -2.158e-10 | -14.5901
184.731 | -2.1897e-10 | -14.5776
184.449 | -2.1994e-10 | -14.5626
184.151 | -2.2032e-10 | -14.5487
183.859 | -2.1558e-10 | -14.5365
183.551 | -2.1598e-10 | -14.5264
183.251 | -2.1538e-10 | -14.5149
182.956 | -2.1598e-10 | -14.502
182.635 | -2.2004e-10 | -14.494
182.336 | -2.1772e-10 | -14.483
182.04 | -2.1773e-10 | -14.4718
181.752 | -2.18e-10 | -14.4599
181.468 | -2.1878e-10 | -14.4466
181.158 | -2.2002e-10 | -14.4371
180.855 | -2.1939e-10 | -14.4268
180.548 | -2.1906e-10 | -14.4166
180.222 | -2.1891e-10 | -14.4089
179.92 | -2.1688e-10 | -14.399
179.62 | -2.1958e-10 | -14.3879
179.325 | -2.1711e-10 | -14.3766
179.013 | -2.1801e-10 | -14.368
178.723 | -2.208e-10 | -14.3566
178.412 | -2.188e-10 | -14.3464
178.109 | -2.1856e-10 | -14.3356
177.792 | -2.2162e-10 | -14.3271
177.421 | -2.1889e-10 | -14.3252
177.074 | -2.1926e-10 | -14.3205
176.717 | -2.2054e-10 | -14.3168
176.366 | -2.1992e-10 | -14.3126
176.054 | -2.1844e-10 | -14.3041
175.751 | -2.1603e-10 | -14.295
175.45 | -2.1678e-10 | -14.2849
175.123 | -2.1769e-10 | -14.2776
174.778 | -2.1977e-10 | -14.2733
174.377 | -2.1622e-10 | -14.2747
173.876 | -2.1551e-10 | -14.2872
173.383 | -2.1741e-10 | -14.2983
172.856 | -2.1529e-10 | -14.3139
172.255 | -2.1807e-10 | -14.3369
171.624 | -2.1623e-10 | -14.363
170.879 | -2.1856e-10 | -14.4008
170.164 | -2.1875e-10 | -14.4358
169.435 | -2.1492e-10 | -14.4717
168.639 | -2.1547e-10 | -14.5148
167.9 | -2.1804e-10 | -14.5519
167.021 | -2.1789e-10 | -14.6036
166.153 | -2.1522e-10 | -14.6543
165.2 | -2.1714e-10 | -14.7122
164.272 | -2.1435e-10 | -14.7688
163.307 | -2.1862e-10 | -14.8286
162.333 | -2.1745e-10 | -14.889
161.268 | -2.1821e-10 | -14.9578
160.148 | -2.1868e-10 | -15.0308
159.014 | -2.1823e-10 | -15.1057
157.934 | -2.1696e-10 | -15.1757
156.866 | -2.1779e-10 | -15.2443
155.728 | -2.1841e-10 | -15.3196
154.639 | -2.1835e-10 | -15.3891
153.599 | -2.2065e-10 | -15.4535
152.506 | -2.189e-10 | -15.5218
151.433 | -2.1696e-10 | -15.5891
150.311 | -2.1907e-10 | -15.6598
149.188 | -2.1782e-10 | -15.7299
148.206 | -2.2009e-10 | -15.7865
147.136 | -2.1875e-10 | -15.8503
146.196 | -2.1996e-10 | -15.9016
145.353 | -2.1709e-10 | -15.9425
144.72 | -2.1756e-10 | -15.963
144.142 | -2.139e-10 | -15.9773
143.651 | -2.1666e-10 | -15.9832
143.174 | -2.1458e-10 | -15.9878
142.683 | -2.1803e-10 | -15.9929
142.107 | -2.1566e-10 | -16.0075
141.425 | -2.1902e-10 | -16.0316
140.716 | -2.1822e-10 | -16.0588
139.934 | -2.1792e-10 | -16.0933
139.045 | -2.159e-10 | -16.1377
138.073 | -2.1762e-10 | -16.19
137.075 | -2.1596e-10 | -16.2445
136.086 | -2.1526e-10 | -16.2978
135.168 | -2.1799e-10 | -16.3432
134.407 | -2.1918e-10 | -16.3731
133.581 | -2.1767e-10 | -16.4099
132.877 | -2.1687e-10 | -16.4346
132.029 | -2.2157e-10 | -16.4732
131.074 | -2.1786e-10 | -16.5217
130.075 | -2.1854e-10 | -16.5749
128.952 | -2.1721e-10 | -16.6378
127.773 | -2.1597e-10 | -16.7076
126.461 | -2.1767e-10 | -16.789
124.936 | -2.1665e-10 | -16.886
123.637 | -2.1844e-10 | -16.9647
122.459 | -2.18e-10 | -17.0294
121.349 | -2.1679e-10 | -17.0891
120.199 | -2.1798e-10 | -17.1537
118.952 | -2.1637e-10 | -17.2265
117.694 | -2.1573e-10 | -17.2982
116.434 | -2.1825e-10 | -17.3718
115.165 | -2.1852e-10 | -17.4448
114.161 | -2.179e-10 | -17.4927
113.371 | -2.1637e-10 | -17.5213
112.867 | -2.1733e-10 | -17.5235
112.422 | -2.1654e-10 | -17.5202
111.853 | -2.1725e-10 | -17.5286
111.006 | -2.1865e-10 | -17.5622
109.932 | -2.1607e-10 | -17.6159
108.826 | -2.1747e-10 | -17.6728
107.685 | -2.1732e-10 | -17.7322
106.664 | -2.1844e-10 | -17.7807
105.394 | -2.1643e-10 | -17.8518
104.109 | -2.1869e-10 | -17.9234
102.573 | -2.1752e-10 | -18.0172
100.994 | -2.1716e-10 | -18.1139
99.4217 | -2.1593e-10 | -18.2108
97.8346 | -2.1651e-10 | -18.308
96.5585 | -2.1775e-10 | -18.3763
95.3715 | -2.1605e-10 | -18.4365
93.8055 | -2.1937e-10 | -18.5296
92.5864 | -2.1849e-10 | -18.5921
89.9254 | -2.1789e-10 | -18.7818
87.3869 | -2.1797e-10 | -18.9599
85.6208 | -2.1905e-10 | -19.0695
85.0028 | -2.1831e-10 | -19.0775
83.7713 | -2.1953e-10 | -19.1393
82.7998 | -2.1813e-10 | -19.1785
82.1784 | -2.1884e-10 | -19.1873
81.5757 | -2.1764e-10 | -19.1941
81.2462 | -2.1858e-10 | -19.1769
81.0803 | -2.1854e-10 | -19.1462
80.9736 | -2.1734e-10 | -19.1098
80.9099 | -2.1868e-10 | -19.0706
80.9046 | -2.1621e-10 | -19.0267
80.9256 | -2.1864e-10 | -18.9796
80.7534 | -2.1823e-10 | -18.949
80.6171 | -2.1566e-10 | -18.9165
80.5717 | -2.174e-10 | -18.8765
80.5644 | -2.1695e-10 | -18.8328
80.5942 | -2.1601e-10 | -18.7867
80.6295 | -2.1912e-10 | -18.7406

## Pulse
Temperature | Current | Time
80.5869 | -2.168e-10 | 0.91759
80.4835 | -2.1917e-10 | 2.5316
80.498 | -2.1793e-10 | 4.1479
80.5387 | -2.1604e-10 | 5.7566
80.5372 | -2.1713e-10 | 7.3917
80.5387 | -2.1529e-10 | 9.0066
80.5682 | -2.153e-10 | 10.6281
80.5128 | -2.1453e-10 | 12.2347
80.5593 | -2.1572e-10 | 13.8615
80.6277 | -2.1448e-10 | 15.462
80.7387 | -2.1619e-10 | 17.0635
80.8505 | -2.1684e-10 | 18.6871
81.0064 | -2.1504e-10 | 20.3315

## Measurements
Temperature | Current | Temp Rate
81.5399 | -2.1427e-10 | 0
81.7824 | -2.1556e-10 | 16.3529
81.9722 | -2.1689e-10 | 9.5306
82.2631 | -2.1693e-10 | 8.159
82.5616 | -2.169e-10 | 7.4523
82.8782 | -2.1726e-10 | 3.621
83.1969 | -2.1709e-10 | 4.0934
83.469 | -2.1595e-10 | 4.4834
83.7786 | -2.1599e-10 | 4.8099
84.2163 | -2.1519e-10 | 4.1546
84.6048 | -2.1545e-10 | 4.7564
85.0302 | -2.1527e-10 | 6.0445
86.3017 | -2.1578e-10 | 14.8081
87.3191 | -2.1613e-10 | 51.4298
87.6809 | -2.1643e-10 | 112.3117
88.0201 | -2.1609e-10 | 7.9681
88.3404 | -2.1579e-10 | 8.2077
88.6418 | -2.1667e-10 | 8.4148
88.9281 | -2.1665e-10 | 493.4063
89.199 | -2.1709e-10 | 8.765
89.4599 | -2.1684e-10 | 8.9147
89.7111 | -2.1641e-10 | 9.0433
89.9512 | -2.1739e-10 | 9.1583
90.2534 | -2.1564e-10 | 9.2851
90.5799 | -2.1666e-10 | 9.3861
90.8642 | -2.1558e-10 | 9.4481
91.1743 | -2.1677e-10 | 9.5036
91.4657 | -2.167e-10 | 9.559
91.7446 | -2.1672e-10 | 9.5357
92.0663 | -2.1594e-10 | 9.5615
92.3523 | -2.1645e-10 | 9.5407
92.6852 | -2.1578e-10 | 9.4394
92.9636 | -2.1635e-10 | 9.3905
93.24 | -2.1605e-10 | 9.3299
93.5706 | -2.1633e-10 | 9.273
93.8703 | -2.1597e-10 | 9.1639
94.1527 | -2.1675e-10 | 9.126
94.4646 | -2.1733e-10 | 9.1227
94.7422 | -2.1682e-10 | 9.0997
95.0608 | -2.1644e-10 | 9.0677
95.3741 | -2.1558e-10 | 9.0787
95.6703 | -2.1656e-10 | 9.0175
95.9997 | -2.1523e-10 | 8.9652
96.2701 | -2.1567e-10 | 8.9816
96.5965 | -2.1484e-10 | 9.0081
96.8676 | -2.166e-10 | 9.0479
97.16 | -2.1527e-10 | 9.0857
97.4627 | -2.1591e-10 | 9.1325
97.7721 | -2.1603e-10 | 9.1753
98.0904 | -2.1583e-10 | 9.2259
98.3425 | -2.154e-10 | 9.2645
98.6603 | -2.1544e-10 | 9.3115
98.9744 | -2.1583e-10 | 9.3449
99.2835 | -2.1592e-10 | 9.3898
99.5692 | -2.1632e-10 | 9.4308
99.8713 | -2.1554e-10 | 9.4566
100.149 | -2.1571e-10 | 9.492
100.494 | -1.4043e-10 | 9.5234
100.773 | -2.1607e-10 | 9.5439
101.096 | -2.1582e-10 | 9.5579
101.364 | -2.163e-10 | 9.5706
101.661 | -2.1612e-10 | 9.5854
101.97 | -2.1728e-10 | 9.5976
102.268 | -2.1872e-10 | 9.5979
102.548 | -2.1706e-10 | 9.6046
102.844 | -2.1498e-10 | 9.6075
103.186 | -2.1507e-10 | 9.6112
103.481 | -2.1409e-10 | 9.6131
103.775 | -2.1557e-10 | 9.6157
104.061 | -2.1617e-10 | 9.6158
104.358 | -2.149e-10 | 9.6076
104.683 | -2.1438e-10 | 9.6076
104.954 | -2.1491e-10 | 9.595
105.241 | -2.1535e-10 | 9.5897
105.574 | -2.1575e-10 | 9.5822
105.873 | -2.1549e-10 | 9.5762
106.159 | -2.1529e-10 | 9.5684
106.449 | -2.1572e-10 | 9.5666
106.787 | -2.1484e-10 | 9.5568
107.062 | -2.1615e-10 | 9.5572
107.428 | -2.1627e-10 | 9.5346
107.669 | -2.1589e-10 | 9.5457
107.971 | -2.1484e-10 | 9.5403
108.265 | -2.1472e-10 | 9.5182
108.555 | -2.1588e-10 | 9.5048
108.877 | -2.1566e-10 | 9.4985
109.179 | -2.1402e-10 | 9.5027
109.495 | -2.1476e-10 | 9.4728
109.781 | -2.1536e-10 | 9.4656
110.084 | -2.1478e-10 | 9.4378
110.386 | -2.151e-10 | 9.4505
110.673 | -2.1579e-10 | 9.4665
110.961 | -2.1884e-10 | 9.4848
111.305 | -2.1567e-10 | 9.497
111.593 | -2.1602e-10 | 9.5194
111.846 | -2.1599e-10 | 9.5234
112.168 | -2.1478e-10 | 9.5295
112.484 | -2.1575e-10 | 9.5258
112.76 | -2.1617e-10 | 9.5374
113.077 | -2.1647e-10 | 9.5535
113.351 | -2.1574e-10 | 9.5611
113.684 | -2.1527e-10 | 9.5709
113.957 | -2.1586e-10 | 9.5313
114.317 | -2.1591e-10 | 9.384
114.553 | -2.1489e-10 | 9.4037
114.846 | -2.1517e-10 | 9.4321
115.196 | -2.1583e-10 | 9.4695
115.47 | -2.1618e-10 | 9.4987
115.773 | -2.1667e-10 | 9.5303
116.093 | -2.1709e-10 | 9.5423
116.382 | -2.17e-10 | 9.5578
116.677 | -2.181e-10 | 9.5734
117.006 | -2.1848e-10 | 9.5927
117.265 | -2.1823e-10 | 9.5999
117.569 | -2.1816e-10 | 9.6197
117.898 | -2.1959e-10 | 9.6331
118.186 | -2.1925e-10 | 9.6451
118.511 | -2.1875e-10 | 9.6612
118.822 | -2.1902e-10 | 9.6791
119.065 | -2.1941e-10 | 9.6908
119.372 | -2.1908e-10 | 9.7077
119.673 | -2.189e-10 | 9.7229
119.968 | -2.1898e-10 | 9.7374
120.295 | -2.1783e-10 | 9.7515
120.541 | -2.1894e-10 | 9.7615
120.879 | -2.1816e-10 | 9.7699
121.16 | -2.1909e-10 | 9.7785
121.49 | -2.1916e-10 | 9.7877
121.761 | -2.1791e-10 | 9.7947
122.069 | -2.1855e-10 | 9.804
122.389 | -2.1778e-10 | 9.8069
122.651 | -2.186e-10 | 9.8148
122.961 | -2.1798e-10 | 9.816
123.254 | -2.1876e-10 | 9.8209
123.549 | -2.1856e-10 | 9.8218
123.842 | -2.1925e-10 | 9.8214
124.181 | -2.1834e-10 | 9.8172
124.473 | -2.1908e-10 | 9.8175
124.761 | -2.1928e-10 | 9.8156
125.08 | -2.1868e-10 | 9.804
125.393 | -2.188e-10 | 9.7934
125.657 | -2.1862e-10 | 9.7868
125.949 | -2.176e-10 | 9.7797
126.279 | -2.1824e-10 | 9.7735
126.584 | -2.18e-10 | 9.7686
126.879 | -2.1879e-10 | 9.7661
127.163 | -2.1924e-10 | 9.7632
127.486 | -2.2019e-10 | 9.7575
127.787 | -2.206e-10 | 9.7513
128.055 | -2.2054e-10 | 9.7461
128.364 | -2.2024e-10 | 9.7421
128.642 | -2.1911e-10 | 9.7396
128.979 | -2.2034e-10 | 9.7396
129.275 | -2.2063e-10 | 9.7399
129.576 | -2.2077e-10 | 9.7421
129.884 | -2.2011e-10 | 9.7429
130.143 | -2.2043e-10 | 9.7488
130.458 | -2.1946e-10 | 9.7508
130.774 | -2.2e-10 | 9.7579
131.04 | -2.192e-10 | 9.7625
131.412 | -2.1962e-10 | 9.7667
131.678 | -2.198e-10 | 9.7697
132 | -2.2012e-10 | 9.7761
132.268 | -2.2015e-10 | 9.7801
132.584 | -2.2045e-10 | 9.787
132.851 | -2.2054e-10 | 9.7904
133.167 | -2.2099e-10 | 9.7922
133.481 | -2.1984e-10 | 9.7973
133.793 | -2.1992e-10 | 9.801
134.097 | -2.2044e-10 | 9.8028
134.358 | -2.2044e-10 | 9.8004
134.669 | -2.2186e-10 | 9.8003
134.964 | -2.2062e-10 | 9.8016
135.261 | -2.2068e-10 | 9.8022
135.598 | -2.2169e-10 | 9.7991
135.888 | -2.2113e-10 | 9.7985
136.154 | -2.2079e-10 | 9.7979
136.479 | -2.1992e-10 | 9.7932
136.752 | -2.1974e-10 | 9.7905
137.077 | -2.1996e-10 | 9.7883
137.359 | -2.1967e-10 | 9.7844
137.672 | -2.211e-10 | 9.7835
137.955 | -2.2062e-10 | 9.7823
138.29 | -2.1964e-10 | 9.7793
138.582 | -2.2115e-10 | 9.7791
138.859 | -2.2152e-10 | 9.7801
139.157 | -2.2141e-10 | 9.7808
139.45 | -2.2048e-10 | 9.7806
139.8 | -2.2008e-10 | 9.7798
140.101 | -2.207e-10 | 9.782
140.388 | -2.2046e-10 | 9.7843
140.686 | -2.1989e-10 | 9.7855
140.987 | -2.2116e-10 | 9.7872
141.24 | -2.1995e-10 | 9.7886
141.597 | -2.2011e-10 | 9.7889
141.852 | -2.1965e-10 | 9.7921
142.157 | -2.2038e-10 | 9.7938
142.465 | -2.1936e-10 | 9.7963
142.769 | -2.2024e-10 | 9.798
143.072 | -2.2071e-10 | 9.7994
143.379 | -2.2219e-10 | 9.8013
143.66 | -2.2073e-10 | 9.8034
143.98 | -2.2166e-10 | 9.8074
144.305 | -2.2106e-10 | 9.8119
144.571 | -2.2093e-10 | 9.815
144.873 | -2.2169e-10 | 9.82
145.156 | -2.2198e-10 | 9.8239
145.476 | -2.2112e-10 | 9.8255
145.795 | -2.2101e-10 | 9.8298
146.059 | -2.2116e-10 | 9.832
146.374 | -2.2281e-10 | 9.8355
146.687 | -2.2345e-10 | 9.8379
146.944 | -2.2227e-10 | 9.8416
147.247 | -2.2199e-10 | 9.8427
147.545 | -2.231e-10 | 9.8429
147.894 | -2.2199e-10 | 9.8416
148.17 | -2.2184e-10 | 9.8424
148.46 | -2.2176e-10 | 9.8423
148.756 | -2.225e-10 | 9.8426
149.052 | -2.2138e-10 | 9.8429
149.352 | -2.2095e-10 | 9.8438
149.652 | -2.2111e-10 | 9.8442
149.95 | -2.2149e-10 | 9.8444
150.297 | -2.2216e-10 | 9.844
150.594 | -2.2192e-10 | 9.844
150.841 | -2.2136e-10 | 9.8454
151.186 | -2.2243e-10 | 9.8433
151.481 | -2.2173e-10 | 9.8439
151.778 | -2.2159e-10 | 9.844
152.074 | -2.2147e-10 | 9.8438
152.369 | -2.2134e-10 | 9.8435
152.665 | -2.2275e-10 | 9.8455
152.96 | -2.2134e-10 | 9.8457
153.258 | -2.2146e-10 | 9.8461
153.605 | -2.2288e-10 | 9.8448
153.854 | -2.2311e-10 | 9.8464
154.152 | -2.2164e-10 | 9.847
154.449 | -2.2237e-10 | 9.8469
154.746 | -2.2093e-10 | 9.8474
155.094 | -2.2165e-10 | 9.8463
155.375 | -2.2073e-10 | 9.8472
155.643 | -2.211e-10 | 9.849
155.989 | -2.2113e-10 | 9.8479
156.272 | -2.2051e-10 | 9.8491
156.57 | -2.217e-10 | 9.8497
156.869 | -2.2276e-10 | 9.85
157.167 | -2.2236e-10 | 9.8504
157.467 | -2.229e-10 | 9.8492
157.761 | -2.2194e-10 | 9.8512
158.063 | -2.2202e-10 | 9.8498
158.36 | -2.2305e-10 | 9.8521
158.657 | -2.2231e-10 | 9.8499
158.956 | -2.2254e-10 | 9.8521
159.271 | -2.2248e-10 | 9.8514
159.55 | -2.2323e-10 | 9.8522
159.845 | -2.2105e-10 | 9.8522
160.141 | -2.2139e-10 | 9.8525
160.443 | -2.2043e-10 | 9.8538
160.8 | -2.2152e-10 | 9.8542
161.058 | -2.2123e-10 | 9.8567
161.368 | -2.2228e-10 | 9.8583
161.679 | -2.2152e-10 | 9.859
161.975 | -2.2207e-10 | 9.8612
162.284 | -2.2177e-10 | 9.8629
162.588 | -2.2174e-10 | 9.8644
162.89 | -2.2184e-10 | 9.8654
163.187 | -2.2009e-10 | 9.8659
163.483 | -2.212e-10 | 9.8639
163.781 | -2.2083e-10 | 9.864
164.075 | -2.2085e-10 | 9.864
164.37 | -2.21e-10 | 9.8642
164.646 | -2.1999e-10 | 9.8644
164.943 | -2.2056e-10 | 9.8649
165.286 | -2.2122e-10 | 9.8637
165.583 | -2.213e-10 | 9.8639
165.878 | -2.2047e-10 | 9.8642
166.16 | -2.2021e-10 | 9.8651
166.455 | -2.2118e-10 | 9.865
166.75 | -2.2047e-10 | 9.8646
167.064 | -2.2107e-10 | 9.8637
167.36 | -2.2154e-10 | 9.8644
167.642 | -2.1917e-10 | 9.8651
167.99 | -2.1972e-10 | 9.8659
168.286 | -2.2042e-10 | 9.8641
168.585 | -2.2106e-10 | 9.865
168.88 | -2.2098e-10 | 9.8651
169.16 | -2.2029e-10 | 9.8654
169.458 | -2.2073e-10 | 9.8656
169.775 | -2.2112e-10 | 9.8658
170.057 | -2.2104e-10 | 9.8664
170.371 | -2.2124e-10 | 9.8654
170.684 | -2.2174e-10 | 9.8662
170.986 | -2.2062e-10 | 9.8663
171.284 | -2.2054e-10 | 9.8668
171.582 | -2.2206e-10 | 9.8669
171.879 | -2.2231e-10 | 9.8673
172.174 | -2.2181e-10 | 9.8682
172.471 | -2.2162e-10 | 9.8682
172.769 | -2.2082e-10 | 9.868
173.085 | -2.2136e-10 | 9.8682
173.369 | -2.2083e-10 | 9.8693
173.67 | -2.2108e-10 | 9.8702
173.971 | -2.2123e-10 | 9.8706
174.271 | -2.227e-10 | 9.871
174.587 | -2.2226e-10 | 9.8705
174.888 | -2.2271e-10 | 9.8715
175.172 | -2.2127e-10 | 9.8715
175.473 | -2.2103e-10 | 9.8718
175.773 | -2.2218e-10 | 9.8734
176.072 | -2.2128e-10 | 9.8735
176.372 | -2.2182e-10 | 9.8725
176.673 | -2.2223e-10 | 9.8744
176.974 | -2.2166e-10 | 9.8733
177.274 | -2.2074e-10 | 9.8751
177.592 | -2.2155e-10 | 9.875
177.892 | -2.2144e-10 | 9.8754
178.192 | -2.2181e-10 | 9.8756
178.44 | -2.2056e-10 | 9.8766
178.79 | -2.2085e-10 | 9.8773
179.041 | -2.1999e-10 | 9.8769
179.36 | -2.2086e-10 | 9.8765
179.674 | -2.2041e-10 | 9.8773
179.974 | -2.2158e-10 | 9.8776
180.276 | -2.2073e-10 | 9.8792
180.573 | -2.2276e-10 | 9.8792
180.872 | -2.2278e-10 | 9.8783
181.173 | -2.2054e-10 | 9.8784
181.47 | -2.213e-10 | 9.879
181.752 | -2.2096e-10 | 9.8796
182.067 | -2.2135e-10 | 9.879
182.368 | -2.2087e-10 | 9.8807
182.669 | -2.2169e-10 | 9.8812
182.966 | -2.2128e-10 | 9.8813
183.264 | -2.2208e-10 | 9.8811
183.564 | -2.2292e-10 | 9.8814
183.863 | -2.2169e-10 | 9.8817
184.181 | -2.2047e-10 | 9.882
184.475 | -2.209e-10 | 9.8815
184.763 | -2.2001e-10 | 9.8804
185.06 | -2.1877e-10 | 9.8816
185.359 | -2.2087e-10 | 9.8813
185.645 | -2.2017e-10 | 9.8839
185.948 | -2.2054e-10 | 9.8886
186.28 | -2.2113e-10 | 9.8943
186.583 | -2.2189e-10 | 9.8998
186.877 | -2.206e-10 | 9.9038
187.164 | -2.2038e-10 | 9.9084
187.459 | -2.2068e-10 | 9.9118
187.803 | -2.2076e-10 | 9.9137
188.068 | -2.2104e-10 | 9.9163
188.376 | -2.202e-10 | 9.9168
188.695 | -2.1939e-10 | 9.9171
188.978 | -2.1933e-10 | 9.917
189.26 | -2.1911e-10 | 9.9176
189.556 | -2.2008e-10 | 9.9175
189.856 | -2.1967e-10 | 9.9174
190.169 | -2.1992e-10 | 9.9186
190.464 | -2.2088e-10 | 9.9221
190.757 | -2.2046e-10 | 9.9256
191.057 | -2.2091e-10 | 9.9295
191.384 | -2.2076e-10 | 9.9315
191.668 | -2.2205e-10 | 9.933
191.98 | -2.2208e-10 | 9.9351
192.283 | -2.2158e-10 | 9.9355
192.58 | -2.2138e-10 | 9.9351
192.87 | -2.2158e-10 | 9.9339
193.171 | -2.2151e-10 | 9.9336
193.45 | -2.2207e-10 | 9.9318
193.775 | -2.2109e-10 | 9.9294
194.067 | -2.2023e-10 | 9.9269
194.371 | -2.2103e-10 | 9.9249
194.662 | -2.2103e-10 | 9.9231
194.996 | -2.2249e-10 | 9.9204
195.271 | -2.2132e-10 | 9.9181
195.593 | -2.2097e-10 | 9.9159
195.872 | -2.2134e-10 | 9.914
196.196 | -2.2136e-10 | 9.9123
196.476 | -2.2328e-10 | 9.9105
196.757 | -2.2227e-10 | 9.9101
197.102 | -2.2188e-10 | 9.908
197.387 | -2.2196e-10 | 9.9064
197.674 | -2.2186e-10 | 9.9066
197.976 | -2.2109e-10 | 9.9046
198.266 | -2.2108e-10 | 9.905
198.555 | -2.2125e-10 | 9.904
198.845 | -2.2245e-10 | 9.9034
199.182 | -2.2122e-10 | 9.9026
199.475 | -2.2116e-10 | 9.9021
199.784 | -2.2175e-10 | 9.9009
200.08 | -2.2175e-10 | 9.9009
200.375 | -2.2145e-10 | 9.9017
200.674 | -2.2185e-10 | 9.9017
200.989 | -2.2094e-10 | 9.9012
201.288 | -2.2109e-10 | 9.9016
201.587 | -2.2126e-10 | 9.9024
201.903 | -2.2202e-10 | 9.9023
202.154 | -2.2067e-10 | 9.903
202.456 | -2.2245e-10 | 9.9027
202.757 | -2.2119e-10 | 9.9025
203.059 | -2.2139e-10 | 9.9039
203.377 | -2.2156e-10 | 9.9033
203.679 | -2.2188e-10 | 9.9046
203.98 | -2.2156e-10 | 9.9052
204.299 | -2.2102e-10 | 9.9051
204.584 | -2.2023e-10 | 9.9055
204.903 | -2.2085e-10 | 9.9056
205.205 | -2.2118e-10 | 9.9057
205.457 | -2.2214e-10 | 9.907
205.758 | -2.2002e-10 | 9.907
206.076 | -2.2351e-10 | 9.907
206.378 | -2.2255e-10 | 9.907
206.679 | -2.2109e-10 | 9.9082
206.981 | -2.3451e-10 | 9.9087
207.282 | -2.2143e-10 | 9.9084
207.549 | -2.2124e-10 | 9.9089
207.868 | -2.2161e-10 | 9.9089
208.169 | -2.2063e-10 | 9.9089
208.468 | -2.2146e-10 | 9.9092
208.77 | -2.206e-10 | 9.9105
209.07 | -2.2261e-10 | 9.9108
209.37 | -2.2187e-10 | 9.9106
209.669 | -2.211e-10 | 9.9108
209.986 | -2.2086e-10 | 9.9106
210.286 | -2.2176e-10 | 9.9109
210.586 | -2.2263e-10 | 9.9109
210.887 | -2.2103e-10 | 9.912
211.186 | -2.206e-10 | 9.9117
211.503 | -2.217e-10 | 9.9114
211.753 | -2.2147e-10 | 9.9125
212.054 | -2.2118e-10 | 9.9123
212.37 | -2.2043e-10 | 9.9118
212.672 | -2.2073e-10 | 9.9128
212.971 | -2.2158e-10 | 9.9129
213.284 | -2.2312e-10 | 9.9125
213.579 | -2.226e-10 | 9.9119
213.877 | -2.2417e-10 | 9.9131
214.175 | -2.2103e-10 | 9.9128
214.44 | -2.2147e-10 | 9.9134
214.741 | -2.1945e-10 | 9.9134
215.089 | -2.2052e-10 | 9.9131
215.407 | -2.2072e-10 | 9.913
215.655 | -2.2054e-10 | 9.9135
215.989 | -2.1935e-10 | 9.9142
216.305 | -2.2034e-10 | 9.9137
216.554 | -2.195e-10 | 9.9143
216.87 | -2.1982e-10 | 9.914
217.171 | -2.193e-10 | 9.9137
217.471 | -2.1996e-10 | 9.9139
217.773 | -2.1883e-10 | 9.9153
218.072 | -2.193e-10 | 9.9147
218.391 | -2.2024e-10 | 9.9158
218.642 | -2.2015e-10 | 9.9158
218.945 | -2.2056e-10 | 9.916
219.265 | -2.1985e-10 | 9.916
219.568 | -2.1941e-10 | 9.917
219.887 | -2.2019e-10 | 9.917
220.191 | -2.1967e-10 | 9.918
220.459 | -2.1998e-10 | 9.9183
220.76 | -2.2009e-10 | 9.9182
221.076 | -2.2001e-10 | 9.9176
221.375 | -2.1956e-10 | 9.9184
221.689 | -2.2019e-10 | 9.9178
221.99 | -2.2001e-10 | 9.9185
222.305 | -2.2008e-10 | 9.9182
222.554 | -2.21e-10 | 9.9191
222.853 | -2.1981e-10 | 9.9191
223.153 | -2.1871e-10 | 9.9191
223.47 | -2.1903e-10 | 9.9185
223.768 | -2.1893e-10 | 9.9192
224.086 | -2.1866e-10 | 9.9188
224.386 | -2.1857e-10 | 9.9201
224.704 | -2.2015e-10 | 9.9197
225.003 | -2.1963e-10 | 9.9196
225.253 | -2.2023e-10 | 9.9201
225.569 | -2.1983e-10 | 9.9194
225.887 | -2.1938e-10 | 9.9202
226.187 | -2.1934e-10 | 9.9202
226.486 | -2.2e-10 | 9.9212
226.786 | -2.2051e-10 | 9.9209
227.103 | -2.2011e-10 | 9.921
227.353 | -2.2028e-10 | 9.9218
227.653 | -2.199e-10 | 9.9217
227.953 | -2.2041e-10 | 9.9218
228.266 | -2.2022e-10 | 9.9212
228.564 | -2.2018e-10 | 9.9217
228.861 | -2.2152e-10 | 9.9214
229.175 | -2.2042e-10 | 9.921
229.459 | -2.2029e-10 | 9.9221
229.774 | -2.2141e-10 | 9.9212
230.073 | -2.2022e-10 | 9.9212
230.373 | -2.201e-10 | 9.9224
230.674 | -2.1963e-10 | 9.9222
230.976 | -2.2098e-10 | 9.9225
231.243 | -2.2064e-10 | 9.923
231.547 | -2.2069e-10 | 9.9233
231.866 | -2.2066e-10 | 9.9232
232.167 | -2.1987e-10 | 9.9239
232.47 | -2.2083e-10 | 9.9238
232.787 | -2.212e-10 | 9.9245
233.087 | -2.2185e-10 | 9.9243
233.403 | -2.2131e-10 | 9.9241
233.653 | -2.2102e-10 | 9.9248
233.97 | -2.2143e-10 | 9.9243
234.269 | -2.2228e-10 | 9.9247
234.585 | -2.2151e-10 | 9.9252
234.884 | -2.2213e-10 | 9.925
235.152 | -2.2272e-10 | 9.9254
235.468 | -2.2089e-10 | 9.9248
235.784 | -2.217e-10 | 9.9252
236.086 | -2.2256e-10 | 9.9259
236.386 | -2.2202e-10 | 9.9258
236.686 | -2.2284e-10 | 9.9259
237.003 | -2.2208e-10 | 9.9259
237.254 | -2.2202e-10 | 9.9267
237.554 | -2.2156e-10 | 9.9267
237.852 | -2.219e-10 | 9.9264
238.169 | -2.2267e-10 | 9.9262
238.469 | -2.2303e-10 | 9.9266
238.785 | -2.2264e-10 | 9.9263
239.086 | -2.2249e-10 | 9.927
239.387 | -2.2188e-10 | 9.9271
239.654 | -2.2269e-10 | 9.9277
239.953 | -2.2253e-10 | 9.9274
240.27 | -2.2094e-10 | 9.9272
240.569 | -2.2196e-10 | 9.9278
240.87 | -2.2073e-10 | 9.9278
241.188 | -2.2013e-10 | 9.9275
241.488 | -2.2058e-10 | 9.9283
241.755 | -2.203e-10 | 9.9287
242.054 | -2.2024e-10 | 9.9287
242.355 | -2.2038e-10 | 9.9288
242.652 | -2.1907e-10 | 9.9286
242.953 | -2.205e-10 | 9.9288
243.271 | -2.2104e-10 | 9.9284
243.57 | -2.2083e-10 | 9.9293
243.871 | -2.2158e-10 | 9.9292
244.187 | -2.2057e-10 | 9.9287
244.482 | -2.2051e-10 | 9.9291
244.747 | -2.1896e-10 | 9.9291
245.06 | -2.1999e-10 | 9.9293
245.376 | -2.1919e-10 | 9.9289
245.674 | -2.1899e-10 | 9.9296
245.974 | -2.1916e-10 | 9.9295
246.24 | -2.1994e-10 | 9.9298
246.54 | -2.1878e-10 | 9.9295
246.858 | -2.2083e-10 | 9.9294
247.157 | -2.2037e-10 | 9.9301
247.476 | -2.2008e-10 | 9.9299
247.776 | -2.1931e-10 | 9.9303
248.044 | -2.201e-10 | 9.9307
248.346 | -2.2058e-10 | 9.9308
248.662 | -2.2001e-10 | 9.9303
248.963 | -2.1995e-10 | 9.9311
249.281 | -2.198e-10 | 9.9305
249.582 | -2.1943e-10 | 9.9314
249.898 | -2.1988e-10 | 9.9311
250.199 | -2.1953e-10 | 9.9312
250.466 | -2.19e-10 | 9.9311
250.768 | -2.1897e-10 | 9.9321
251.082 | -2.1891e-10 | 9.9315
251.385 | -2.1837e-10 | 9.9322
251.668 | -2.1853e-10 | 9.9322
251.971 | -2.1957e-10 | 9.9319
252.269 | -2.2041e-10 | 9.9324
252.586 | -2.1964e-10 | 9.9328
252.853 | -2.1888e-10 | 9.9331
253.153 | -2.1906e-10 | 9.933
253.453 | -2.1809e-10 | 9.9329
253.77 | -2.1746e-10 | 9.9328
254.07 | -2.1869e-10 | 9.9335
254.387 | -2.1822e-10 | 9.933
254.688 | -2.1926e-10 | 9.9337
254.987 | -2.1871e-10 | 9.9336
255.255 | -2.1885e-10 | 9.9339
255.571 | -2.1927e-10 | 9.9334
255.872 | -2.1752e-10 | 9.9343
256.188 | -2.1719e-10 | 9.9339
256.471 | -2.1838e-10 | 9.9342
256.772 | -2.1884e-10 | 9.9346
257.072 | -2.1766e-10 | 9.9344
257.388 | -2.1801e-10 | 9.9348
257.655 | -2.1843e-10 | 9.9349
257.955 | -2.1865e-10 | 9.9349
258.271 | -2.1758e-10 | 9.9346
258.573 | -2.1799e-10 | 9.9352
258.889 | -2.1874e-10 | 9.9347
259.188 | -2.1919e-10 | 9.9354
259.455 | -2.1908e-10 | 9.9355
259.772 | -2.191e-10 | 9.9348
260.071 | -2.1767e-10 | 9.9355
260.391 | -2.1781e-10 | 9.9356
260.689 | -2.1864e-10 | 9.9361
260.987 | -2.1805e-10 | 9.9358
261.251 | -2.1863e-10 | 9.9358
261.567 | -2.1765e-10 | 9.9353
261.865 | -2.1882e-10 | 9.9359
262.178 | -2.1892e-10 | 9.936
262.476 | -2.1973e-10 | 9.9357
262.793 | -2.1932e-10 | 9.9356
263.043 | -2.1993e-10 | 9.9359
263.361 | -2.1965e-10 | 9.9363
263.677 | -2.1765e-10 | 9.9357
263.994 | -2.189e-10 | 9.9362
264.245 | -2.1935e-10 | 9.9367
264.543 | -2.1899e-10 | 9.9365
264.863 | -2.1848e-10 | 9.9362
265.164 | -2.1992e-10 | 9.937
265.481 | -2.1959e-10 | 9.9373
265.798 | -2.1902e-10 | 9.9369
266.065 | -2.1845e-10 | 9.937
266.383 | -2.1832e-10 | 9.9372
266.683 | -2.1866e-10 | 9.9378
266.983 | -2.1939e-10 | 9.9377
267.248 | -2.199e-10 | 9.9377
267.567 | -2.1841e-10 | 9.938
267.868 | -2.1869e-10 | 9.938
268.186 | -2.1796e-10 | 9.9385
268.501 | -2.1882e-10 | 9.9381
268.752 | -2.2056e-10 | 9.9384
269.07 | -2.187e-10 | 9.9381
269.369 | -2.1875e-10 | 9.9385
269.686 | -2.1889e-10 | 9.939
269.988 | -2.1962e-10 | 9.9389
270.305 | -2.193e-10 | 9.9386
270.553 | -2.1934e-10 | 9.939
270.871 | -2.1963e-10 | 9.9387
271.187 | -2.188e-10 | 9.939
271.504 | -2.1925e-10 | 9.9389
271.771 | -2.1932e-10 | 9.9389
272.07 | -2.1818e-10 | 9.9394
272.388 | -2.1899e-10 | 9.9393
272.688 | -2.1835e-10 | 9.9397
272.953 | -2.2059e-10 | 9.9398
273.27 | -2.1915e-10 | 9.9395
273.57 | -2.1933e-10 | 9.94
273.888 | -2.2001e-10 | 9.9397
274.203 | -2.2018e-10 | 9.9399
274.454 | -2.211e-10 | 9.9402
274.77 | -2.1967e-10 | 9.9401
275.07 | -2.205e-10 | 9.9397
275.386 | -2.1973e-10 | 9.9401
275.687 | -2.2089e-10 | 9.9406
276.004 | -2.1953e-10 | 9.9405
276.254 | -2.1984e-10 | 9.9408
276.57 | -2.1964e-10 | 9.9406
276.871 | -2.1832e-10 | 9.9409
277.187 | -2.1975e-10 | 9.9406
277.488 | -2.187e-10 | 9.9407
277.755 | -2.1871e-10 | 9.9415
278.071 | -2.1891e-10 | 9.941
278.37 | -2.1889e-10 | 9.9415
278.687 | -2.19e-10 | 9.9411
278.987 | -2.183e-10 | 9.9416
279.252 | -2.1849e-10 | 9.9418
279.565 | -2.2e-10 | 9.9412
279.879 | -2.1961e-10 | 9.9411
280.176 | -2.1941e-10 | 9.9413
280.442 | -2.194e-10 | 9.9416
280.741 | -2.1955e-10 | 9.9414
281.058 | -2.211e-10 | 9.941
281.374 | -2.2011e-10 | 9.9418
281.641 | -2.2072e-10 | 9.942
281.958 | -2.212e-10 | 9.9417
282.259 | -2.2076e-10 | 9.9422
282.577 | -2.2063e-10 | 9.9418
282.878 | -2.2034e-10 | 9.9423
283.145 | -2.1977e-10 | 9.9425
283.48 | -2.1978e-10 | 9.9425
283.797 | -2.2067e-10 | 9.9424
284.046 | -2.2009e-10 | 9.9428
284.365 | -2.2156e-10 | 9.9424
284.683 | -2.2081e-10 | 9.9423
284.95 | -2.2119e-10 | 9.9432
285.268 | -2.212e-10 | 9.9434
285.568 | -2.2173e-10 | 9.9431
285.886 | -2.2094e-10 | 9.9436
286.152 | -2.211e-10 | 9.9436
286.454 | -2.2195e-10 | 9.9437
286.769 | -2.2147e-10 | 9.9437
287.087 | -2.2065e-10 | 9.9434
287.387 | -2.2045e-10 | 9.9437
287.671 | -2.2011e-10 | 9.9438
287.971 | -2.2172e-10 | 9.9441
288.287 | -2.2065e-10 | 9.9442
288.555 | -2.214e-10 | 9.9444
288.872 | -2.2058e-10 | 9.9438
289.189 | -2.2127e-10 | 9.9441
289.489 | -2.2147e-10 | 9.9445
289.755 | -2.2184e-10 | 9.9448
290.072 | -2.2164e-10 | 9.9442
290.389 | -2.2123e-10 | 9.9443
290.688 | -2.2194e-10 | 9.9448
290.956 | -2.224e-10 | 9.945
291.271 | -2.2111e-10 | 9.9445
291.589 | -2.217e-10 | 9.9446
291.906 | -2.215e-10 | 9.9449
292.171 | -2.2241e-10 | 9.9451
292.47 | -2.2235e-10 | 9.9447
292.788 | -2.2236e-10 | 9.945
293.055 | -2.2196e-10 | 9.9452
293.355 | -2.2174e-10 | 9.9457
293.671 | -2.2164e-10 | 9.9454
293.971 | -2.2034e-10 | 9.9458
294.288 | -2.206e-10 | 9.9455
294.587 | -2.2116e-10 | 9.9459
294.855 | -2.2135e-10 | 9.9461
295.171 | -2.2155e-10 | 9.9456
295.488 | -2.2207e-10 | 9.9459
295.787 | -2.2163e-10 | 9.9463
296.105 | -2.215e-10 | 9.9458
296.371 | -2.2222e-10 | 9.9458
296.672 | -2.2094e-10 | 9.9463
296.971 | -2.2129e-10 | 9.9461
297.271 | -2.2075e-10 | 9.9467
297.589 | -2.2121e-10 | 9.9463
297.905 | -2.212e-10 | 9.9464
298.155 | -2.212e-10 | 9.9468
298.471 | -2.2208e-10 | 9.9463
298.785 | -2.2086e-10 | 9.9469
299.099 | -2.1976e-10 | 9.9465
299.348 | -2.2135e-10 | 9.9467
299.663 | -2.2129e-10 | 9.9467
299.979 | -2.2174e-10 | 9.9468
300.244 | -2.2222e-10 | 9.9469
300.562 | -2.21e-10 | 9.9465
300.877 | -2.2214e-10 | 9.9464
301.195 | -2.2038e-10 | 9.9468
301.446 | -2.1996e-10 | 9.9471
301.762 | -2.2106e-10 | 9.9474
302.064 | -2.2143e-10 | 9.9472
302.381 | -2.2037e-10 | 9.9476
302.697 | -2.1879e-10 | 9.9471
302.948 | -2.1988e-10 | 9.9475
303.266 | -2.2032e-10 | 9.9478
303.582 | -2.1973e-10 | 9.9473
303.884 | -2.2081e-10 | 9.9478
304.167 | -2.203e-10 | 9.9476
304.484 | -2.1986e-10 | 9.9478
304.784 | -2.1974e-10 | 9.9482
305.051 | -2.2038e-10 | 9.9482
305.368 | -2.19e-10 | 9.9483
305.685 | -2.1945e-10 | 9.9479
306.002 | -2.1901e-10 | 9.9482
306.269 | -2.1932e-10 | 9.9487
306.586 | -2.1696e-10 | 9.9483
306.903 | -2.1792e-10 | 9.9484
307.153 | -2.1832e-10 | 9.9486
307.47 | -2.1849e-10 | 9.949
307.787 | -2.1894e-10 | 9.9484
308.055 | -2.1846e-10 | 9.9491
308.37 | -2.1876e-10 | 9.9486
308.687 | -2.1847e-10 | 9.9489
309.004 | -2.1845e-10 | 9.949
309.254 | -2.179e-10 | 9.9491
309.571 | -2.1954e-10 | 9.9493
309.887 | -2.1995e-10 | 9.949
310.187 | -2.1933e-10 | 9.9493
310.488 | -2.1885e-10 | 9.949
310.804 | -2.2053e-10 | 9.9493
311.071 | -2.1956e-10 | 9.9495
311.371 | -2.1981e-10 | 9.9497
311.689 | -2.188e-10 | 9.9495
311.987 | -2.2001e-10 | 9.9497
312.271 | -2.1891e-10 | 9.9497
312.588 | -2.1966e-10 | 9.9496
312.855 | -2.1913e-10 | 9.9502
313.17 | -2.195e-10 | 9.9498
313.471 | -2.1977e-10 | 9.9501
313.804 | -2.1992e-10 | 9.95
314.071 | -2.1889e-10 | 9.95
314.386 | -2.2051e-10 | 9.9499
314.688 | -2.1959e-10 | 9.9503
314.971 | -2.2008e-10 | 9.9502
315.271 | -2.2026e-10 | 9.9504
315.588 | -2.1902e-10 | 9.9508
315.853 | -2.1961e-10 | 9.9507
316.171 | -2.2002e-10 | 9.9503
316.487 | -2.1951e-10 | 9.9504
316.787 | -2.1924e-10 | 9.9508
317.053 | -2.1874e-10 | 9.951
317.371 | -2.1788e-10 | 9.9505
317.671 | -2.1903e-10 | 9.951
317.987 | -2.1946e-10 | 9.9511
318.255 | -2.1905e-10 | 9.9513
318.572 | -2.2115e-10 | 9.9514
318.889 | -2.197e-10 | 9.9508
319.154 | -2.203e-10 | 9.9512
319.472 | -2.1959e-10 | 9.9516
319.788 | -2.2047e-10 | 9.9511
320.054 | -2.2048e-10 | 9.9516