## Settings
Sample Info | vr2, dot b1, e-irrad 1500mkC, run 10, 20 K/min
Comments | -6/+9.5/-6 V
Additional Comments | only pulse
Major Measurement Parameters
Starting Temperature | 294.73
Initial Temperature | 80.5
Final Temperature | 320
Preliminary Voltage | -6
Pulse Voltage | 9.5
Pulse Time | 60
Wait Time | 0
Measurement Voltage | -6
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 20
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 28.3.2024
Clock | 19:11:21

## Stabilization
Temperature | Current | Temp Rate
293.079 | -2.3505e-10 | 0
292.007 | -2.3154e-10 | -30.8745
291.027 | -2.2941e-10 | -33.984
290.26 | -2.2928e-10 | -32.5608
289.233 | -2.2831e-10 | -34.1866
288.448 | -2.2974e-10 | -33.456
287.471 | -2.2939e-10 | -34.1111
286.653 | -2.3013e-10 | -33.8297
285.812 | -2.2896e-10 | -33.6834
284.842 | -2.2897e-10 | -34.0101
283.981 | -2.291e-10 | -38.9494
283.145 | -2.286e-10 | -47.8551
282.238 | -2.2894e-10 | -69.6999
281.425 | -2.3041e-10 | -149.6896
280.631 | -2.3002e-10 | -238.6407
279.755 | -2.2943e-10 | -31.0712
279.024 | -2.3094e-10 | -30.9328
278.12 | -2.2955e-10 | -31.153
277.318 | -2.3007e-10 | -611.1003
276.51 | -2.2973e-10 | -31.1345
275.662 | -2.292e-10 | -31.2154
274.889 | -2.2939e-10 | -31.1638
274.068 | -2.2997e-10 | -31.2118
273.27 | -2.2952e-10 | -31.2112
272.509 | -2.2891e-10 | -31.1291
271.565 | -2.2983e-10 | -31.3255
270.841 | -2.305e-10 | -31.1982
270.002 | -2.3042e-10 | -31.2522
269.216 | -2.3044e-10 | -31.2253
268.488 | -2.2999e-10 | -31.1278
267.648 | -2.2991e-10 | -31.1626
266.912 | -2.2863e-10 | -31.0773
266.239 | -2.3018e-10 | -30.9202
265.389 | -2.2906e-10 | -30.9763
264.672 | -2.2965e-10 | -30.8767
263.906 | -2.2924e-10 | -30.8419
263.164 | -2.3063e-10 | -30.7811
262.464 | -2.3082e-10 | -30.6766
261.665 | -2.2996e-10 | -30.6655
260.994 | -2.3107e-10 | -30.5319
260.215 | -2.3143e-10 | -30.5208
259.559 | -2.3145e-10 | -30.3973
258.85 | -2.3108e-10 | -30.3243
258.096 | -2.3094e-10 | -30.2872
257.542 | -2.3091e-10 | -30.0854
256.782 | -2.3089e-10 | -30.0697
256.253 | -2.3056e-10 | -29.8569
255.715 | -2.3142e-10 | -29.6597
255.068 | -2.3109e-10 | -29.5623
254.521 | -2.3097e-10 | -29.3898
253.842 | -2.3236e-10 | -29.3252
253.31 | -2.319e-10 | -29.1535
252.581 | -2.3166e-10 | -29.1331
252.088 | -2.3255e-10 | -28.945
251.408 | -2.3227e-10 | -28.8951
250.868 | -2.3064e-10 | -28.7521
250.248 | -2.3001e-10 | -28.6652
249.644 | -2.3113e-10 | -28.5729
249.138 | -2.308e-10 | -28.4155
248.495 | -2.3169e-10 | -28.3539
247.989 | -2.3103e-10 | -28.2045
247.324 | -2.3129e-10 | -28.1556
246.882 | -2.3111e-10 | -27.9801
246.24 | -2.3126e-10 | -27.9316
245.808 | -2.3157e-10 | -27.7537
245.171 | -2.3226e-10 | -27.7038
244.727 | -2.3021e-10 | -27.5418
244.082 | -2.3068e-10 | -27.499
243.679 | -2.3143e-10 | -27.3252
243.068 | -2.3129e-10 | -27.2701
242.661 | -2.3155e-10 | -27.1077
242.092 | -2.3068e-10 | -27.0326
241.625 | -2.3093e-10 | -26.8998
241.143 | -2.3052e-10 | -26.7857
240.717 | -2.3084e-10 | -26.6432
240.272 | -2.3145e-10 | -26.5183
239.787 | -2.3024e-10 | -26.4161
239.387 | -2.293e-10 | -26.276
238.936 | -2.2971e-10 | -26.1611
238.606 | -2.3016e-10 | -25.9924
238.121 | -2.2984e-10 | -25.9025
237.876 | -2.3096e-10 | -25.7016
237.363 | -2.3037e-10 | -25.633
237.115 | -2.303e-10 | -25.4408
236.702 | -2.2951e-10 | -25.3272
236.447 | -2.3033e-10 | -25.1487
236.123 | -2.3119e-10 | -24.9992
235.918 | -2.32e-10 | -24.8042
235.744 | -2.3054e-10 | -24.5985
235.552 | -2.3149e-10 | -24.4072
235.154 | -2.2984e-10 | -24.305
234.932 | -2.3102e-10 | -24.1344
234.531 | -2.3075e-10 | -24.0428
234.265 | -2.293e-10 | -23.8956
233.976 | -2.2987e-10 | -23.7591
233.687 | -2.287e-10 | -23.6282
233.521 | -2.2914e-10 | -23.4513
233.336 | -2.3035e-10 | -23.2861
233.147 | -2.2919e-10 | -23.1179
232.816 | -2.3031e-10 | -23.0147
232.624 | -2.3068e-10 | -22.8608
232.352 | -2.297e-10 | -22.7337
231.906 | -2.3038e-10 | -22.6768
231.667 | -2.3071e-10 | -22.545
231.188 | -2.302e-10 | -22.5011
230.938 | -2.3039e-10 | -22.3797
230.702 | -2.3003e-10 | -22.2561
230.473 | -2.2922e-10 | -22.1283
230.196 | -2.2871e-10 | -22.0206
229.893 | -2.2939e-10 | -21.9262
229.716 | -2.2918e-10 | -21.7909
229.532 | -2.2937e-10 | -21.6589
229.344 | -2.2986e-10 | -21.5275
229.137 | -2.302e-10 | -21.4063
228.924 | -2.3083e-10 | -21.2893
228.721 | -2.3043e-10 | -21.1716
228.33 | -2.3015e-10 | -21.1158
228.053 | -2.2991e-10 | -21.0243
227.822 | -2.3088e-10 | -20.9211
227.545 | -2.3023e-10 | -20.8353
227.347 | -2.3035e-10 | -20.7262
227.148 | -2.3156e-10 | -20.6179
226.95 | -2.3039e-10 | -20.5088
226.742 | -2.2993e-10 | -20.4083
226.535 | -2.2973e-10 | -20.3082
226.268 | -2.3064e-10 | -20.2219
226.045 | -2.2931e-10 | -20.1273
225.822 | -2.2974e-10 | -20.0358
225.601 | -2.3006e-10 | -19.9464
225.391 | -2.3057e-10 | -19.8544
225.183 | -2.3016e-10 | -19.7637
224.991 | -2.302e-10 | -19.6691
224.787 | -2.3065e-10 | -19.58
224.58 | -2.3079e-10 | -19.4912
224.36 | -2.307e-10 | -19.4091
224.119 | -2.3027e-10 | -19.3356
223.862 | -2.3174e-10 | -19.2604
223.562 | -2.3138e-10 | -19.2042
223.169 | -2.3057e-10 | -19.1755
222.884 | -2.2988e-10 | -19.1153
222.623 | -2.3025e-10 | -19.0488
222.391 | -2.2896e-10 | -18.9772
222.146 | -2.3031e-10 | -18.9085
221.906 | -2.2864e-10 | -18.8411
221.652 | -2.2829e-10 | -18.7776
221.411 | -2.2852e-10 | -18.7129
221.165 | -2.2886e-10 | -18.6507
220.915 | -2.2918e-10 | -18.5886
220.667 | -2.2882e-10 | -18.5277
220.408 | -2.2912e-10 | -18.4693
220.15 | -2.2897e-10 | -18.4115
219.9 | -2.2908e-10 | -18.352
219.654 | -2.2818e-10 | -18.2934
219.427 | -2.2756e-10 | -18.2318
219.184 | -2.2929e-10 | -18.1718
218.94 | -2.2926e-10 | -18.1133
218.695 | -2.2911e-10 | -18.0573
218.447 | -2.2822e-10 | -18.0027
218.204 | -2.2863e-10 | -17.944
217.956 | -2.2861e-10 | -17.8856
217.71 | -2.2847e-10 | -17.8318
217.468 | -2.2953e-10 | -17.7769
217.229 | -2.293e-10 | -17.7217
216.977 | -2.2902e-10 | -17.6686
216.754 | -2.2906e-10 | -17.6137
216.498 | -2.2833e-10 | -17.5657
216.244 | -2.2853e-10 | -17.5183
215.986 | -2.2915e-10 | -17.4703
215.668 | -2.2939e-10 | -17.4357
215.399 | -2.2895e-10 | -17.3936
215.139 | -2.2886e-10 | -17.3486
214.878 | -2.2828e-10 | -17.3043
214.611 | -2.2796e-10 | -17.263
214.359 | -2.2747e-10 | -17.2186
214.081 | -2.2913e-10 | -17.1802
213.797 | -2.2879e-10 | -17.1438
213.481 | -2.2863e-10 | -17.115
213.156 | -2.2786e-10 | -17.0848
212.851 | -2.3044e-10 | -17.0535
212.548 | -2.2978e-10 | -17.0222
212.246 | -2.2949e-10 | -16.9892
211.945 | -2.2909e-10 | -16.9579
211.642 | -2.278e-10 | -16.9282
211.324 | -2.2985e-10 | -16.9002
211.004 | -2.2974e-10 | -16.8699
210.688 | -2.2895e-10 | -16.8443
210.364 | -2.3086e-10 | -16.8197
210.026 | -2.4217e-10 | -16.7964
209.691 | -2.2611e-10 | -16.7748
209.356 | -2.2921e-10 | -16.7536
209.021 | -2.2264e-10 | -16.7313
208.717 | -2.2747e-10 | -16.7052
208.394 | -2.2807e-10 | -16.6827
208.079 | -2.3059e-10 | -16.6578
207.767 | -2.2913e-10 | -16.6336
207.479 | -2.3011e-10 | -16.6047
207.117 | -2.3014e-10 | -16.5877
206.775 | -2.2946e-10 | -16.5692
206.465 | -2.303e-10 | -16.5458
206.129 | -2.3042e-10 | -16.5265
205.786 | -2.2917e-10 | -16.5082
205.446 | -2.2983e-10 | -16.4892
205.11 | -2.2906e-10 | -16.4718
204.774 | -2.2905e-10 | -16.4521
204.43 | -2.2941e-10 | -16.4353
204.108 | -2.3084e-10 | -16.4145
203.767 | -2.3e-10 | -16.3973
203.414 | -2.3029e-10 | -16.382
203.039 | -2.288e-10 | -16.3699
202.643 | -2.2998e-10 | -16.3609
202.215 | -2.2963e-10 | -16.3593
201.813 | -2.2902e-10 | -16.3537
201.423 | -2.2928e-10 | -16.3466
201.032 | -2.2904e-10 | -16.3384
200.667 | -2.2865e-10 | -16.3261
200.317 | -2.2718e-10 | -16.3111
199.972 | -2.2713e-10 | -16.2941
199.632 | -2.286e-10 | -16.2775
199.295 | -2.2793e-10 | -16.2578
198.947 | -2.4546e-10 | -16.2437
198.553 | -2.2719e-10 | -16.2374
198.158 | -2.255e-10 | -16.2312
197.73 | -2.2932e-10 | -16.2308
197.281 | -2.2855e-10 | -16.2328
196.884 | -2.2865e-10 | -16.2273
196.48 | -2.2907e-10 | -16.2224
196.098 | -2.2896e-10 | -16.2139
195.738 | -2.3e-10 | -16.2014
195.375 | -2.3034e-10 | -16.1896
194.996 | -2.3012e-10 | -16.1805
194.629 | -2.3098e-10 | -16.1697
194.238 | -2.2938e-10 | -16.1628
193.873 | -2.2914e-10 | -16.1517
193.524 | -2.3063e-10 | -16.1396
193.117 | -2.298e-10 | -16.1355
192.698 | -2.3055e-10 | -16.1338
192.229 | -2.3052e-10 | -16.1406
191.77 | -2.2854e-10 | -16.1443
191.287 | -2.3006e-10 | -16.1515
190.799 | -2.2988e-10 | -16.1609
190.323 | -2.3049e-10 | -16.1679
189.838 | -2.307e-10 | -16.1762
189.37 | -2.3024e-10 | -16.1818
188.959 | -2.2992e-10 | -16.1791
188.478 | -2.315e-10 | -16.185
187.97 | -2.3065e-10 | -16.1972
187.43 | -2.2979e-10 | -16.2128
186.881 | -2.2995e-10 | -16.23
186.314 | -2.2978e-10 | -16.2502
185.711 | -2.3056e-10 | -16.2738
185.134 | -2.2982e-10 | -16.2956
184.547 | -2.2977e-10 | -16.3191
183.978 | -2.3061e-10 | -16.34
183.336 | -2.3086e-10 | -16.3708
182.637 | -2.3014e-10 | -16.4099
181.967 | -2.2992e-10 | -16.4448
181.298 | -2.306e-10 | -16.4787
180.643 | -2.3183e-10 | -16.5104
179.905 | -2.3074e-10 | -16.5526
179.169 | -2.307e-10 | -16.5955
178.454 | -2.3059e-10 | -16.6358
177.588 | -2.2952e-10 | -16.6962
176.836 | -2.306e-10 | -16.7381
176.13 | -2.285e-10 | -16.7749
175.526 | -2.2751e-10 | -16.7966
174.988 | -2.303e-10 | -16.8095
174.337 | -2.3001e-10 | -16.8377
173.664 | -2.1391e-10 | -16.8683
172.951 | -2.4075e-10 | -16.9042
172.233 | -2.294e-10 | -16.9411
171.528 | -2.3582e-10 | -16.9763
170.819 | -2.2827e-10 | -17.0123
170.133 | -2.298e-10 | -17.0445
169.488 | -2.304e-10 | -17.0701
168.928 | -2.3158e-10 | -17.0854
168.415 | -2.397e-10 | -17.0922
167.878 | -2.2977e-10 | -17.1018
167.338 | -2.306e-10 | -17.113
166.719 | -2.3017e-10 | -17.1351
166.116 | -2.2835e-10 | -17.1545
165.531 | -2.3108e-10 | -17.1719
164.931 | -2.2897e-10 | -17.1899
164.286 | -2.2897e-10 | -17.2155
163.654 | -2.2868e-10 | -17.2387
162.973 | -2.3044e-10 | -17.2682
162.273 | -2.2995e-10 | -17.2995
161.55 | -2.2974e-10 | -17.3337
160.858 | -2.3059e-10 | -17.3626
160.126 | -2.3067e-10 | -17.3981
159.346 | -2.3015e-10 | -17.4395
158.514 | -2.7291e-10 | -17.4862
157.697 | -2.3276e-10 | -17.5317
156.896 | -2.309e-10 | -17.5737
156.159 | -2.3052e-10 | -17.6088
155.437 | -2.3053e-10 | -17.6409
154.747 | -2.2984e-10 | -17.6693
154.086 | -2.3062e-10 | -17.6934
153.423 | -2.2927e-10 | -17.7178
152.665 | -2.3003e-10 | -17.7533
151.948 | -2.3099e-10 | -17.7847
151.111 | -2.3034e-10 | -17.8286
150.313 | -2.2977e-10 | -17.8694
149.555 | -2.3018e-10 | -17.9046
148.895 | -2.3075e-10 | -17.9269
148.199 | -2.2954e-10 | -17.9541
147.444 | -2.3069e-10 | -17.9877
146.607 | -2.2948e-10 | -18.0322
145.692 | -2.296e-10 | -18.0856
144.727 | -2.2942e-10 | -18.1445
143.815 | -2.2955e-10 | -18.1971
142.955 | -2.2945e-10 | -18.2428
142.089 | -2.308e-10 | -18.2882
141.309 | -2.3034e-10 | -18.3224
140.562 | -2.2888e-10 | -18.3537
139.796 | -2.2887e-10 | -18.3867
139.008 | -2.2999e-10 | -18.4226
138.249 | -2.2961e-10 | -18.4545
137.535 | -2.3038e-10 | -18.4812
136.762 | -2.3049e-10 | -18.5138
135.882 | -2.3077e-10 | -18.5592
134.915 | -2.3013e-10 | -18.6151
133.92 | -2.2951e-10 | -18.6737
132.904 | -2.3048e-10 | -18.7348
131.857 | -2.3039e-10 | -18.7984
130.885 | -2.2972e-10 | -18.8529
129.899 | -2.3075e-10 | -18.9081
128.739 | -2.3006e-10 | -18.9839
127.461 | -2.3283e-10 | -19.0725
126.259 | -2.3194e-10 | -19.1502
125.387 | -2.3158e-10 | -19.1914
124.497 | -2.3066e-10 | -19.2333
123.494 | -2.3032e-10 | -19.2884
122.449 | -2.2925e-10 | -19.3493
121.367 | -2.308e-10 | -19.4121
120.093 | -2.3171e-10 | -19.4971
118.836 | -2.3063e-10 | -19.5785
117.645 | -2.3148e-10 | -19.6538
116.374 | -2.307e-10 | -19.7371
115.069 | -2.3025e-10 | -19.8231
113.747 | -2.2963e-10 | -19.9098
112.346 | -2.3169e-10 | -20.0048
111.061 | -2.3221e-10 | -20.0874
109.871 | -2.3087e-10 | -20.1591
108.506 | -2.2993e-10 | -20.2494
107.162 | -2.2997e-10 | -20.3361
105.863 | -2.2952e-10 | -20.4182
104.629 | -2.2933e-10 | -20.4931
103.341 | -2.2932e-10 | -20.5725
102.002 | -2.283e-10 | -20.6581
100.735 | -2.2921e-10 | -20.7344
99.6318 | -2.3e-10 | -20.7926
98.2225 | -2.3034e-10 | -20.8838
96.5805 | -2.3154e-10 | -20.9997
95.1021 | -2.2967e-10 | -21.0972
92.9511 | -2.2962e-10 | -21.265
90.0388 | -2.2939e-10 | -21.512
87.2929 | -2.2962e-10 | -21.7412
86.9871 | -2.3122e-10 | -21.7111
86.0531 | -2.3046e-10 | -21.7476
83.8831 | -2.3048e-10 | -21.912
82.9051 | -2.2971e-10 | -21.9484
82.7368 | -2.2977e-10 | -21.9043
82.8782 | -2.3083e-10 | -21.8284
82.7284 | -2.2977e-10 | -21.7831
82.0621 | -2.3066e-10 | -21.7916
81.5936 | -2.3048e-10 | -21.778
81.391 | -2.3053e-10 | -21.7373
81.2612 | -2.2954e-10 | -21.6903
81.2105 | -2.2933e-10 | -21.6357
81.1606 | -2.2951e-10 | -21.5816
81.1145 | -2.2961e-10 | -21.5257
81.0629 | -2.2901e-10 | -21.4711
80.9933 | -2.2827e-10 | -21.4192
80.9358 | -2.2936e-10 | -21.3667
80.9009 | -2.2917e-10 | -21.3128
80.8659 | -2.2899e-10 | -21.2594
80.8074 | -2.2864e-10 | -21.2074
80.7511 | -2.275e-10 | -21.1557
80.7146 | -2.2789e-10 | -21.103
80.6731 | -2.282e-10 | -21.0507
80.6229 | -2.285e-10 | -20.9997
80.5898 | -2.2889e-10 | -20.9477

## Pulse
Temperature | Current | Time
80.5667 | -2.2526e-10 | 2.6425
80.4874 | -2.2584e-10 | 4.8041
80.437 | -2.2591e-10 | 6.4062
80.4069 | -2.2599e-10 | 8.0112
80.3741 | -2.2741e-10 | 9.5973
80.3318 | -2.2635e-10 | 11.1921
80.2842 | -2.2623e-10 | 12.7842
80.2467 | -2.2662e-10 | 14.3934
80.2683 | -2.2631e-10 | 15.9742
80.1663 | -2.2675e-10 | 17.5642
80.1012 | -2.2596e-10 | 19.1805
80.0573 | -2.2666e-10 | 20.7772
80.0392 | -2.2577e-10 | 22.3641
80.0635 | -2.2648e-10 | 23.9601
80.1018 | -2.2635e-10 | 25.5243
80.2099 | -2.2579e-10 | 27.1206
80.3457 | -2.2642e-10 | 28.7253
80.4969 | -2.2581e-10 | 30.3041
80.6222 | -2.2657e-10 | 31.8857
80.8 | -2.2637e-10 | 33.471
81.0216 | -2.258e-10 | 35.0532
81.2683 | -2.2657e-10 | 36.6374
81.5099 | -2.2656e-10 | 38.2262
81.7692 | -2.2605e-10 | 39.8014
82.0333 | -2.2559e-10 | 41.3891
82.2979 | -2.2502e-10 | 42.9751
82.5616 | -2.247e-10 | 44.579
82.798 | -2.2542e-10 | 46.1841
83.0344 | -2.2475e-10 | 47.7834
83.1279 | -2.2502e-10 | 49.3712
83.4239 | -2.2668e-10 | 50.9845
83.5255 | -2.2635e-10 | 52.5772
83.8309 | -2.2572e-10 | 54.1721
84.0818 | -2.2684e-10 | 55.7562
84.3295 | -2.271e-10 | 57.3672
84.3616 | -2.2422e-10 | 58.9788

## Measurements
Temperature | Current | Temp Rate
84.05 | -6.6408e-10 | 0
84.406 | -4.1406e-10 | 15.1137
84.4741 | -3.6786e-10 | 11.1296
84.7648 | -3.1004e-10 | 8.3068
85.0574 | -2.8713e-10 | 7.0461
85.3672 | -2.7783e-10 | 6.6877
85.6547 | -2.663e-10 | 5.0243
85.9653 | -2.6447e-10 | 5.4548
86.2915 | -2.6309e-10 | 5.9113
86.6054 | -2.6201e-10 | 6.3957
86.9241 | -2.5999e-10 | 7.2026
87.1638 | -2.608e-10 | 8.9707
87.5261 | -2.6006e-10 | 25.9009
87.8626 | -2.5958e-10 | 81.9566
88.1823 | -2.5935e-10 | 136.1202
88.5625 | -2.5822e-10 | 8.2057
89.0428 | -2.593e-10 | 8.7178
90.3567 | -2.5842e-10 | 10.314
91.3103 | -2.5679e-10 | 210.9844
91.6717 | -2.5683e-10 | 11.5405
92.073 | -2.5748e-10 | 11.8868
92.4759 | -2.5718e-10 | 12.1536
92.8295 | -2.5579e-10 | 12.4738
94.1971 | -2.5614e-10 | 13.3704
95.1478 | -2.5457e-10 | 13.9638
95.5159 | -2.55e-10 | 14.1111
95.8802 | -2.5462e-10 | 14.306
96.2004 | -2.546e-10 | 14.484
96.5585 | -2.5503e-10 | 14.6614
96.9132 | -2.5545e-10 | 14.7744
97.2646 | -2.5399e-10 | 14.9282
98.4995 | -2.5356e-10 | 15.3987
99.476 | -2.5367e-10 | 15.7382
99.8114 | -2.5386e-10 | 15.8025
100.144 | -2.5236e-10 | 15.8948
100.473 | -2.5313e-10 | 16.0256
100.793 | -2.5367e-10 | 16.0763
101.076 | -2.5346e-10 | 16.1597
101.396 | -2.5295e-10 | 16.2345
101.707 | -2.5187e-10 | 16.2952
102.029 | -2.5256e-10 | 16.3698
102.346 | -2.5245e-10 | 16.4356
102.66 | -2.5264e-10 | 16.4647
102.97 | -2.5199e-10 | 16.5491
103.289 | -2.5217e-10 | 16.6107
103.602 | -2.5127e-10 | 16.638
103.915 | -2.5166e-10 | 16.6928
104.227 | -2.5116e-10 | 16.7483
104.537 | -2.512e-10 | 16.7984
104.814 | -2.5127e-10 | 16.8457
105.158 | -2.509e-10 | 16.8934
105.464 | -2.5044e-10 | 16.9326
105.772 | -2.5047e-10 | 16.9774
106.044 | -2.501e-10 | 17.0202
106.353 | -2.5024e-10 | 17.0623
106.692 | -2.5097e-10 | 17.0987
106.965 | -2.5048e-10 | 17.1365
107.268 | -2.5159e-10 | 17.1716
107.575 | -2.5137e-10 | 17.2061
107.876 | -2.512e-10 | 17.2404
108.18 | -2.5099e-10 | 17.2754
108.484 | -2.5073e-10 | 17.3082
108.785 | -2.5165e-10 | 17.3368
109.087 | -2.5074e-10 | 17.364
109.382 | -2.5036e-10 | 17.3871
109.68 | -2.5078e-10 | 17.41
109.975 | -2.4996e-10 | 17.4336
110.271 | -2.501e-10 | 17.4546
110.568 | -2.5038e-10 | 17.478
110.866 | -2.5057e-10 | 17.5027
111.165 | -2.4945e-10 | 17.5308
111.463 | -2.4984e-10 | 17.5546
111.763 | -2.5004e-10 | 17.5572
112.063 | -2.5001e-10 | 17.5995
112.361 | -2.5053e-10 | 17.6212
112.661 | -2.5034e-10 | 17.6425
112.962 | -2.5108e-10 | 17.6644
113.261 | -2.5023e-10 | 17.685
113.563 | -2.4942e-10 | 17.6896
113.865 | -2.5066e-10 | 17.712
114.162 | -2.4994e-10 | 17.7322
114.464 | -2.4934e-10 | 17.7527
114.765 | -2.5009e-10 | 17.7777
115.031 | -2.5031e-10 | 17.7945
115.366 | -2.5005e-10 | 17.8138
115.667 | -2.4939e-10 | 17.8315
115.967 | -2.5001e-10 | 17.8481
116.268 | -2.4944e-10 | 17.8689
116.568 | -2.4779e-10 | 17.8812
116.867 | -2.4802e-10 | 17.9156
117.17 | -2.4848e-10 | 17.9354
117.469 | -2.482e-10 | 17.9514
117.769 | -2.4755e-10 | 17.9501
118.068 | -2.4722e-10 | 17.967
118.363 | -2.487e-10 | 17.9836
118.657 | -2.4772e-10 | 17.9972
118.952 | -2.4662e-10 | 18.0067
119.249 | -2.4611e-10 | 18.0312
119.546 | -2.4754e-10 | 18.0437
119.845 | -2.4689e-10 | 18.0578
120.143 | -2.4719e-10 | 18.0712
120.441 | -2.4659e-10 | 18.0871
120.74 | -2.4639e-10 | 18.1006
121.039 | -2.4699e-10 | 18.1114
121.339 | -2.4685e-10 | 18.1279
121.64 | -2.4635e-10 | 18.1381
121.972 | -2.468e-10 | 18.1507
122.273 | -2.4634e-10 | 18.1648
122.54 | -2.4597e-10 | 18.1792
122.875 | -2.4688e-10 | 18.1912
123.142 | -2.4653e-10 | 18.204
123.443 | -2.4608e-10 | 18.2202
123.743 | -2.4596e-10 | 18.2297
124.044 | -2.4636e-10 | 18.2421
124.379 | -2.4633e-10 | 18.2524
124.68 | -2.4518e-10 | 18.2644
124.98 | -2.4526e-10 | 18.277
125.282 | -2.4492e-10 | 18.289
125.584 | -2.4542e-10 | 18.3001
125.886 | -2.4559e-10 | 18.3172
126.219 | -2.4501e-10 | 18.3254
126.52 | -2.4594e-10 | 18.3343
126.821 | -2.4567e-10 | 18.344
127.121 | -2.4632e-10 | 18.3575
127.424 | -2.4614e-10 | 18.3668
127.72 | -2.4546e-10 | 18.3766
128.015 | -2.4531e-10 | 18.3831
128.312 | -2.4666e-10 | 18.3923
128.607 | -2.4635e-10 | 18.3974
128.906 | -2.4616e-10 | 18.4196
129.204 | -2.4558e-10 | 18.4286
129.503 | -2.4613e-10 | 18.4362
130.834 | -2.4499e-10 | 18.4791
131.804 | -2.4357e-10 | 18.5049
132.1 | -2.436e-10 | 18.5121
132.406 | -2.4362e-10 | 18.5216
132.741 | -2.4323e-10 | 18.5287
133.008 | -2.4285e-10 | 18.5406
133.311 | -2.435e-10 | 18.549
133.645 | -2.4267e-10 | 18.5567
133.946 | -2.4328e-10 | 18.5628
134.247 | -2.4229e-10 | 18.5697
134.549 | -2.4278e-10 | 18.5783
134.85 | -2.4208e-10 | 18.5865
135.15 | -2.4278e-10 | 18.5934
135.452 | -2.4397e-10 | 18.6034
135.754 | -2.417e-10 | 18.6098
136.054 | -2.4138e-10 | 18.6152
136.356 | -2.4205e-10 | 18.635
136.658 | -2.4023e-10 | 18.6407
136.961 | -2.4038e-10 | 18.6466
137.292 | -2.3944e-10 | 18.6515
137.594 | -2.412e-10 | 18.6583
137.891 | -2.4065e-10 | 18.6636
138.186 | -2.4085e-10 | 18.6674
138.484 | -2.4055e-10 | 18.673
138.781 | -2.4115e-10 | 18.6897
139.078 | -2.4041e-10 | 18.6889
139.411 | -2.3926e-10 | 18.6948
139.71 | -2.3985e-10 | 18.6996
140.008 | -2.391e-10 | 18.705
140.31 | -2.3806e-10 | 18.7218
140.61 | -2.3684e-10 | 18.7267
140.911 | -2.3686e-10 | 18.7312
141.244 | -2.3594e-10 | 18.7325
141.545 | -2.3646e-10 | 18.747
141.846 | -2.3602e-10 | 18.7528
142.182 | -2.3609e-10 | 18.754
142.48 | -2.3561e-10 | 18.7574
142.779 | -2.348e-10 | 18.7717
143.084 | -2.3478e-10 | 18.7788
143.385 | -2.3588e-10 | 18.784
143.687 | -2.3483e-10 | 18.789
144.022 | -2.34e-10 | 18.7922
144.322 | -2.3382e-10 | 18.7972
144.624 | -2.326e-10 | 18.8023
144.926 | -2.3177e-10 | 18.808
145.227 | -2.3266e-10 | 18.823
145.528 | -2.3039e-10 | 18.826
145.829 | -2.3044e-10 | 18.8308
146.13 | -2.2925e-10 | 18.836
146.465 | -2.2908e-10 | 18.8403
146.733 | -2.286e-10 | 18.8472
147.033 | -2.2743e-10 | 18.8527
147.368 | -2.2679e-10 | 18.8553
147.67 | -2.2853e-10 | 18.8608
147.97 | -2.2621e-10 | 18.8638
148.268 | -2.2689e-10 | 18.8753
148.565 | -2.2572e-10 | 18.8769
148.895 | -2.2631e-10 | 18.879
149.192 | -2.2544e-10 | 18.8825
149.491 | -2.2543e-10 | 18.8857
149.789 | -2.2582e-10 | 18.8972
150.12 | -2.2545e-10 | 18.895
150.452 | -2.2624e-10 | 18.9005
151.688 | -2.2536e-10 | 18.9258
152.69 | -2.256e-10 | 18.937
152.992 | -2.2589e-10 | 18.9386
153.326 | -2.2546e-10 | 18.9494
153.596 | -2.2571e-10 | 18.9536
153.896 | -2.2601e-10 | 18.959
154.195 | -2.2674e-10 | 18.9624
154.53 | -2.2705e-10 | 18.9658
154.833 | -2.2626e-10 | 18.9702
155.134 | -2.27e-10 | 18.9744
155.434 | -2.2678e-10 | 18.9786
155.734 | -2.2632e-10 | 18.9805
156.07 | -2.2723e-10 | 18.9868
156.405 | -2.2677e-10 | 18.9927
156.706 | -2.2649e-10 | 18.9972
157.074 | -2.2596e-10 | 19.0052
157.405 | -2.2554e-10 | 19.0066
157.71 | -2.2666e-10 | 19.0095
158.012 | -2.2634e-10 | 19.0175
158.346 | -2.2577e-10 | 19.02
158.646 | -2.2591e-10 | 19.0219
158.948 | -2.2617e-10 | 19.0316
159.248 | -2.2643e-10 | 19.0342
159.55 | -2.2728e-10 | 19.0384
159.879 | -2.2674e-10 | 19.0396
160.175 | -2.257e-10 | 19.0408
160.472 | -2.2614e-10 | 19.0408
160.771 | -2.2618e-10 | 19.051
161.102 | -2.2664e-10 | 19.0502
161.401 | -2.2612e-10 | 19.0553
161.698 | -2.2626e-10 | 19.0539
162.001 | -2.2544e-10 | 19.0623
162.333 | -2.2614e-10 | 19.0649
162.634 | -2.2648e-10 | 19.0652
162.934 | -2.2623e-10 | 19.0722
163.267 | -2.2591e-10 | 19.0722
164.539 | -2.2749e-10 | 19.0899
165.508 | -2.2562e-10 | 19.1035
165.843 | -2.2767e-10 | 19.1035
166.144 | -2.2581e-10 | 19.106
166.445 | -2.2591e-10 | 19.1084
166.748 | -2.2547e-10 | 19.1156
167.08 | -2.2555e-10 | 19.1183
167.382 | -2.2496e-10 | 19.1213
167.682 | -2.2619e-10 | 19.1288
167.984 | -2.2588e-10 | 19.1306
168.317 | -2.2732e-10 | 19.1323
168.619 | -2.2664e-10 | 19.1337
168.919 | -2.2688e-10 | 19.1429
169.216 | -2.2784e-10 | 19.1431
169.52 | -2.2586e-10 | 19.1453
169.856 | -2.2658e-10 | 19.1444
170.155 | -2.2492e-10 | 19.1545
170.457 | -2.2541e-10 | 19.1564
170.757 | -2.2437e-10 | 19.1598
171.09 | -2.2475e-10 | 19.1608
171.392 | -2.2599e-10 | 19.1629
171.69 | -2.257e-10 | 19.1636
171.985 | -2.2606e-10 | 19.1633
172.315 | -2.2568e-10 | 19.1632
172.645 | -2.2583e-10 | 19.1672
172.975 | -2.2566e-10 | 19.1738
173.274 | -2.2634e-10 | 19.1746
173.573 | -2.2702e-10 | 19.1739
173.874 | -2.2708e-10 | 19.1827
174.206 | -2.2709e-10 | 19.1815
174.506 | -2.2603e-10 | 19.1891
174.806 | -2.2634e-10 | 19.1906
175.14 | -2.2678e-10 | 19.1919
175.439 | -2.2632e-10 | 19.1981
175.742 | -2.2612e-10 | 19.2002
176.076 | -2.2579e-10 | 19.1995
177.313 | -2.2719e-10 | 19.2131
178.316 | -2.2585e-10 | 19.2216
178.652 | -2.2656e-10 | 19.223
178.952 | -2.2612e-10 | 19.224
179.253 | -2.2603e-10 | 19.2305
179.588 | -2.2613e-10 | 19.2302
179.888 | -2.2625e-10 | 19.2313
180.189 | -2.2665e-10 | 19.2395
180.49 | -2.2648e-10 | 19.2401
180.823 | -2.2633e-10 | 19.2407
181.126 | -2.2705e-10 | 19.2446
181.461 | -2.2622e-10 | 19.2461
181.762 | -2.2567e-10 | 19.2474
182.063 | -2.2549e-10 | 19.2477
182.364 | -2.2493e-10 | 19.2533
182.698 | -2.2432e-10 | 19.2541
183 | -2.2496e-10 | 19.2596
183.333 | -2.258e-10 | 19.2595
183.634 | -2.259e-10 | 19.2663
183.933 | -2.2714e-10 | 19.2682
184.301 | -2.2852e-10 | 19.2676
184.599 | -2.2694e-10 | 19.2666
184.894 | -2.2704e-10 | 19.2712
185.226 | -2.253e-10 | 19.2713
185.521 | -2.256e-10 | 19.2726
185.82 | -2.2426e-10 | 19.2794
186.116 | -2.2508e-10 | 19.2772
186.449 | -2.2515e-10 | 19.2774
187.715 | -2.2552e-10 | 19.2882
188.682 | -2.2588e-10 | 19.2954
189.016 | -2.2602e-10 | 19.2956
189.317 | -2.266e-10 | 19.3018
189.617 | -2.2608e-10 | 19.3019
189.952 | -2.2543e-10 | 19.3027
190.253 | -2.261e-10 | 19.304
190.554 | -2.2609e-10 | 19.305
190.853 | -2.2725e-10 | 19.3113
191.154 | -2.267e-10 | 19.3123
191.488 | -2.2699e-10 | 19.3114
191.789 | -2.2575e-10 | 19.3177
192.088 | -2.2606e-10 | 19.3188
192.424 | -2.2613e-10 | 19.3189
192.725 | -2.2624e-10 | 19.3239
193.059 | -2.2571e-10 | 19.3232
193.36 | -2.2611e-10 | 19.3283
193.661 | -2.2536e-10 | 19.3281
193.995 | -2.2585e-10 | 19.3284
194.297 | -2.2547e-10 | 19.3297
194.598 | -2.2655e-10 | 19.3347
194.932 | -2.2671e-10 | 19.3355
195.234 | -2.2639e-10 | 19.335
195.535 | -2.2656e-10 | 19.3414
195.869 | -2.2744e-10 | 19.34
196.169 | -2.2741e-10 | 19.345
196.503 | -2.2715e-10 | 19.3452
196.805 | -2.2672e-10 | 19.3457
197.14 | -2.2584e-10 | 19.3488
197.439 | -2.2595e-10 | 19.3533
197.74 | -2.2534e-10 | 19.3534
198.074 | -2.2591e-10 | 19.3536
198.372 | -2.2583e-10 | 19.3541
199.633 | -2.2621e-10 | 19.3607
200.639 | -2.2665e-10 | 19.3752
200.983 | -2.2582e-10 | 19.3759
201.289 | -2.2689e-10 | 19.3816
201.631 | -2.2624e-10 | 19.3819
201.934 | -2.2522e-10 | 19.3873
202.238 | -2.2532e-10 | 19.3882
202.573 | -2.2724e-10 | 19.3885
202.872 | -2.2678e-10 | 19.3878
203.174 | -2.2598e-10 | 19.3934
203.505 | -2.2659e-10 | 19.391
203.806 | -2.2553e-10 | 19.395
204.141 | -2.2549e-10 | 19.3991
204.45 | -2.2652e-10 | 19.4013
204.792 | -2.2666e-10 | 19.4022
205.1 | -2.2657e-10 | 19.403
205.403 | -2.2533e-10 | 19.4088
205.74 | -2.2728e-10 | 19.4094
206.042 | -2.2552e-10 | 19.4095
206.341 | -2.265e-10 | 19.4144
206.674 | -2.2744e-10 | 19.4134
207.902 | -2.2532e-10 | 19.4196
208.894 | -2.2618e-10 | 19.4238
209.225 | -2.2679e-10 | 19.421
209.523 | -2.2649e-10 | 19.4256
209.855 | -2.2632e-10 | 19.4253
210.152 | -2.2661e-10 | 19.4243
210.45 | -2.2587e-10 | 19.4271
210.781 | -2.2704e-10 | 19.4262
211.08 | -2.2592e-10 | 19.4302
211.476 | -2.2551e-10 | 19.4317
211.807 | -2.2613e-10 | 19.4307
212.103 | -2.261e-10 | 19.4349
212.403 | -2.2586e-10 | 19.4345
212.735 | -2.2586e-10 | 19.4327
213.032 | -2.2565e-10 | 19.4364
213.359 | -2.269e-10 | 19.4347
213.656 | -2.2751e-10 | 19.439
213.982 | -2.2637e-10 | 19.4369
214.278 | -2.2589e-10 | 19.4393
214.609 | -2.2588e-10 | 19.4384
214.904 | -2.2486e-10 | 19.4417
215.237 | -2.2559e-10 | 19.4395
215.533 | -2.2477e-10 | 19.4426
215.862 | -2.261e-10 | 19.4413
217.089 | -2.245e-10 | 19.4473
218.117 | -2.2675e-10 | 19.4501
218.415 | -2.2585e-10 | 19.4528
218.749 | -2.2594e-10 | 19.451
219.049 | -2.2554e-10 | 19.454
219.382 | -2.2541e-10 | 19.4535
219.683 | -2.2516e-10 | 19.454
219.983 | -2.2471e-10 | 19.458
220.318 | -2.2509e-10 | 19.4565
220.621 | -2.2491e-10 | 19.4608
220.959 | -2.2552e-10 | 19.4642
221.296 | -2.245e-10 | 19.4631
221.599 | -2.2418e-10 | 19.4624
221.937 | -2.2645e-10 | 19.4669
222.24 | -2.2557e-10 | 19.4715
222.577 | -2.2489e-10 | 19.4693
222.911 | -2.2456e-10 | 19.4726
223.211 | -2.2499e-10 | 19.4717
223.513 | -2.251e-10 | 19.4744
224.809 | -2.254e-10 | 19.4808
225.805 | -2.2437e-10 | 19.4833
226.136 | -2.2454e-10 | 19.4802
226.436 | -2.2537e-10 | 19.4842
226.769 | -2.2474e-10 | 19.4815
227.101 | -2.2582e-10 | 19.4842
227.4 | -2.2531e-10 | 19.4873
227.733 | -2.2689e-10 | 19.4895
228.067 | -2.2678e-10 | 19.4911
228.429 | -2.2622e-10 | 19.486
228.759 | -2.2585e-10 | 19.4894
229.088 | -2.2592e-10 | 19.4909
229.386 | -2.2544e-10 | 19.4928
229.717 | -2.257e-10 | 19.4911
230.012 | -2.2513e-10 | 19.4935
230.349 | -2.2564e-10 | 19.4935
231.591 | -2.2485e-10 | 19.4987
232.557 | -2.2547e-10 | 19.5045
232.891 | -2.2506e-10 | 19.5061
233.225 | -2.2435e-10 | 19.5037
233.558 | -2.2463e-10 | 19.5057
233.924 | -2.2486e-10 | 19.5056
234.225 | -2.2531e-10 | 19.5059
234.559 | -2.25e-10 | 19.5083
234.858 | -2.2565e-10 | 19.5118
235.189 | -2.2572e-10 | 19.5102
235.526 | -2.2549e-10 | 19.51
235.892 | -2.2604e-10 | 19.5153
236.227 | -2.265e-10 | 19.5144
236.529 | -2.2547e-10 | 19.5161
237.797 | -2.2592e-10 | 19.5203
238.831 | -2.2665e-10 | 19.5251
239.165 | -2.2656e-10 | 19.5243
239.499 | -2.2669e-10 | 19.5259
239.801 | -2.2723e-10 | 19.5236
240.134 | -2.2646e-10 | 19.5261
240.435 | -2.2539e-10 | 19.5292
240.767 | -2.2729e-10 | 19.5276
241.102 | -2.275e-10 | 19.5303
241.401 | -2.2674e-10 | 19.5291
241.736 | -2.277e-10 | 19.5322
242.036 | -2.2695e-10 | 19.5353
242.369 | -2.2782e-10 | 19.5361
242.736 | -2.2708e-10 | 19.5279
243.971 | -2.2704e-10 | 19.5409
244.994 | -2.2747e-10 | 19.5391
245.293 | -2.2669e-10 | 19.5406
245.655 | -2.2679e-10 | 19.5405
245.954 | -2.269e-10 | 19.5422
246.288 | -2.2706e-10 | 19.5444
246.619 | -2.2698e-10 | 19.543
246.921 | -2.2695e-10 | 19.545
247.254 | -2.2617e-10 | 19.5464
247.62 | -2.2726e-10 | 19.5488
247.987 | -2.2676e-10 | 19.5472
248.288 | -2.2632e-10 | 19.5497
248.622 | -2.2625e-10 | 19.5515
248.957 | -2.2673e-10 | 19.5492
250.258 | -2.272e-10 | 19.5526
251.193 | -2.2694e-10 | 19.5582
251.561 | -2.2975e-10 | 19.5588
251.896 | -2.2935e-10 | 19.5585
252.263 | -2.2923e-10 | 19.5596
252.564 | -2.2773e-10 | 19.5624
252.897 | -2.2919e-10 | 19.5603
253.231 | -2.2841e-10 | 19.5618
253.53 | -2.2878e-10 | 19.5644
253.866 | -2.2939e-10 | 19.5629
254.2 | -2.2666e-10 | 19.5647
254.501 | -2.2854e-10 | 19.5674
254.833 | -2.2702e-10 | 19.5655
255.166 | -2.2726e-10 | 19.5678
256.403 | -2.2686e-10 | 19.5728
257.404 | -2.2745e-10 | 19.5745
257.738 | -2.2685e-10 | 19.5738
258.071 | -2.2811e-10 | 19.5753
258.371 | -2.2811e-10 | 19.5778
258.705 | -2.2678e-10 | 19.5768
259.006 | -2.2651e-10 | 19.5793
259.339 | -2.2615e-10 | 19.5775
259.64 | -2.2569e-10 | 19.5798
259.973 | -2.2639e-10 | 19.5806
260.305 | -2.2614e-10 | 19.5822
260.64 | -2.2685e-10 | 19.5806
260.941 | -2.2668e-10 | 19.583
261.269 | -2.2681e-10 | 19.5843
261.601 | -2.2672e-10 | 19.582
261.899 | -2.2665e-10 | 19.5829
262.228 | -2.2609e-10 | 19.585
262.562 | -2.2721e-10 | 19.583
263.859 | -2.2723e-10 | 19.5859
264.792 | -2.2667e-10 | 19.5885
265.092 | -2.2597e-10 | 19.5908
265.425 | -2.2632e-10 | 19.5892
265.894 | -2.264e-10 | 19.5912
266.193 | -2.273e-10 | 19.5938
266.527 | -2.266e-10 | 19.5953
266.862 | -2.2624e-10 | 19.5946
267.229 | -2.2823e-10 | 19.5946
267.497 | -2.2634e-10 | 19.596
267.831 | -2.264e-10 | 19.5983
268.165 | -2.2603e-10 | 19.5963
269.466 | -2.2727e-10 | 19.5989
270.435 | -2.2627e-10 | 19.6019
270.732 | -2.2682e-10 | 19.6039
271.068 | -2.2757e-10 | 19.6048
271.401 | -2.2808e-10 | 19.6016
271.735 | -2.2669e-10 | 19.6058
272.071 | -2.2736e-10 | 19.6066
272.403 | -2.2833e-10 | 19.608
272.736 | -2.2782e-10 | 19.6063
273.072 | -2.2636e-10 | 19.6074
273.372 | -2.2647e-10 | 19.6092
273.706 | -2.2605e-10 | 19.6112
274.038 | -2.2586e-10 | 19.6099
274.339 | -2.2547e-10 | 19.6117
274.672 | -2.2504e-10 | 19.6105
275.973 | -2.2543e-10 | 19.613
276.908 | -2.276e-10 | 19.6154
277.341 | -2.2723e-10 | 19.6172
277.674 | -2.2766e-10 | 19.6186
277.975 | -2.2731e-10 | 19.6172
278.309 | -2.2813e-10 | 19.6191
278.608 | -2.2714e-10 | 19.6208
278.942 | -2.2671e-10 | 19.6194
279.239 | -2.2705e-10 | 19.6202
279.571 | -2.2726e-10 | 19.6208
279.9 | -2.2731e-10 | 19.6216
280.232 | -2.2681e-10 | 19.6233
280.562 | -2.2601e-10 | 19.6215
281.792 | -2.2818e-10 | 19.6241
282.859 | -2.2648e-10 | 19.6246
283.193 | -2.2802e-10 | 19.6246
283.527 | -2.2834e-10 | 19.626
283.862 | -2.2758e-10 | 19.6278
284.161 | -2.2779e-10 | 19.6297
284.495 | -2.2607e-10 | 19.6305
284.863 | -2.2671e-10 | 19.6301
285.163 | -2.2582e-10 | 19.6314
285.498 | -2.2636e-10 | 19.6299
285.831 | -2.2642e-10 | 19.631
286.13 | -2.2581e-10 | 19.6328
287.433 | -2.2785e-10 | 19.6335
288.368 | -2.2665e-10 | 19.638
288.701 | -2.2761e-10 | 19.6362
289.001 | -2.2684e-10 | 19.6378
289.335 | -2.2698e-10 | 19.6399
289.668 | -2.2753e-10 | 19.6385
290.07 | -2.2634e-10 | 19.6396
290.37 | -2.2595e-10 | 19.6417
290.705 | -2.2561e-10 | 19.64
291.037 | -2.2705e-10 | 19.6413
291.372 | -2.2679e-10 | 19.6417
291.704 | -2.2647e-10 | 19.6412
292.038 | -2.257e-10 | 19.6418
292.372 | -2.2622e-10 | 19.643
293.606 | -2.2718e-10 | 19.6474
294.606 | -2.2733e-10 | 19.648
294.939 | -2.2825e-10 | 19.6492
295.273 | -2.2645e-10 | 19.6479
295.607 | -2.2631e-10 | 19.6493
295.906 | -2.2637e-10 | 19.6506
296.241 | -2.2776e-10 | 19.6517
296.576 | -2.276e-10 | 19.6502
296.875 | -2.2795e-10 | 19.6518
297.209 | -2.2678e-10 | 19.6531
297.541 | -2.2688e-10 | 19.6513
297.876 | -2.2748e-10 | 19.6527
298.174 | -2.2822e-10 | 19.6545
298.51 | -2.2714e-10 | 19.653
298.806 | -2.2653e-10 | 19.6543
299.171 | -2.2604e-10 | 19.6546
300.397 | -2.2554e-10 | 19.6563
301.429 | -2.2591e-10 | 19.6574
301.729 | -2.2608e-10 | 19.6587
302.063 | -2.2587e-10 | 19.6596
302.396 | -2.2619e-10 | 19.6579
302.696 | -2.2568e-10 | 19.6597
303.029 | -2.2603e-10 | 19.6604
303.365 | -2.2628e-10 | 19.661
303.698 | -2.2803e-10 | 19.6605
304.031 | -2.2769e-10 | 19.6618
304.365 | -2.2551e-10 | 19.6631
304.7 | -2.2534e-10 | 19.6617
305.033 | -2.2591e-10 | 19.6623
305.368 | -2.2587e-10 | 19.6626
306.636 | -2.2644e-10 | 19.6667
307.638 | -2.2735e-10 | 19.6688
307.971 | -2.2567e-10 | 19.6667
308.271 | -2.2534e-10 | 19.6687
308.606 | -2.2523e-10 | 19.6702
308.937 | -2.2533e-10 | 19.6682
309.239 | -2.2591e-10 | 19.67
309.572 | -2.2603e-10 | 19.6714
309.906 | -2.2636e-10 | 19.6693
310.241 | -2.2586e-10 | 19.6704
310.573 | -2.2571e-10 | 19.6718
310.909 | -2.2611e-10 | 19.6724
311.208 | -2.2671e-10 | 19.6736
311.541 | -2.2636e-10 | 19.6724
311.873 | -2.2493e-10 | 19.6731
313.143 | -2.2529e-10 | 19.6771
314.177 | -2.258e-10 | 19.6769
314.511 | -2.2585e-10 | 19.6771
314.81 | -2.2558e-10 | 19.6786
315.143 | -2.2533e-10 | 19.6797
315.478 | -2.2557e-10 | 19.6779
315.809 | -2.2636e-10 | 19.6791
316.145 | -2.2551e-10 | 19.6793
316.445 | -2.2526e-10 | 19.6801
316.778 | -2.2492e-10 | 19.6804
317.144 | -2.249e-10 | 19.6808
318.412 | -2.2491e-10 | 19.6826
319.414 | -2.2603e-10 | 19.6855
319.779 | -2.2615e-10 | 19.6851
320.113 | -2.2534e-10 | 19.6866
320.44 | -2.2558e-10 | 19.6847