## Settings
Sample Info | vr2, dot b1, e-irrad 1500mkC, run 11, 20 K/min, no pulse
Comments | -6/-6/-6 V
Additional Comments | no pulse, calibration
Major Measurement Parameters
Starting Temperature | 285.548
Initial Temperature | 80.5
Final Temperature | 320
Preliminary Voltage | -6
Pulse Voltage | -6
Pulse Time | 20
Wait Time | 0
Measurement Voltage | -6
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 20
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 28.3.2024
Clock | 19:41:20

## Stabilization
Temperature | Current | Temp Rate
283.979 | -2.3332e-10 | 0
283.036 | -2.3092e-10 | -27.2042
282.373 | -2.3039e-10 | -26.5147
281.517 | -2.3016e-10 | -28.4798
280.88 | -2.2945e-10 | -27.6928
280.13 | -2.2852e-10 | -27.9518
279.366 | -2.282e-10 | -28.0367
278.609 | -2.2775e-10 | -28.2157
277.834 | -2.281e-10 | -28.4389
277.112 | -2.2819e-10 | -28.3798
276.257 | -2.2833e-10 | -33.0726
275.541 | -2.2842e-10 | -40.6292
274.76 | -2.2831e-10 | -59.2701
273.972 | -2.2916e-10 | -129.3318
273.242 | -2.2818e-10 | -208.5114
272.527 | -2.2847e-10 | -26.7186
271.691 | -2.2914e-10 | -27.0396
271.014 | -2.2768e-10 | -26.9685
270.207 | -2.2643e-10 | -538.6411
269.526 | -2.2785e-10 | -27.1487
268.675 | -2.2724e-10 | -27.4275
267.989 | -2.2667e-10 | -27.3779
267.208 | -2.2802e-10 | -27.4711
266.457 | -2.2748e-10 | -27.5246
265.771 | -2.2669e-10 | -27.4703
264.989 | -2.2774e-10 | -27.5735
264.297 | -2.2618e-10 | -27.5209
263.566 | -2.2816e-10 | -27.5428
262.819 | -2.2761e-10 | -27.5885
262.157 | -2.261e-10 | -27.5167
261.453 | -2.2849e-10 | -27.5069
260.732 | -2.2847e-10 | -27.5133
260.037 | -2.2878e-10 | -27.4911
259.465 | -2.284e-10 | -27.3366
258.734 | -2.2868e-10 | -27.358
258.139 | -2.2883e-10 | -27.2426
257.446 | -2.2725e-10 | -27.2213
256.831 | -2.2676e-10 | -27.1251
256.302 | -2.2724e-10 | -26.9537
255.585 | -2.2685e-10 | -26.9667
255.001 | -2.273e-10 | -26.8514
254.393 | -2.2769e-10 | -26.7593
253.829 | -2.2688e-10 | -26.643
253.197 | -2.2721e-10 | -26.6008
252.508 | -2.2574e-10 | -26.5972
251.841 | -2.264e-10 | -26.5728
251.376 | -2.2598e-10 | -26.3891
250.861 | -2.2699e-10 | -26.2557
250.443 | -2.2697e-10 | -26.0505
250 | -2.2633e-10 | -25.873
249.693 | -2.2521e-10 | -25.6027
249.42 | -2.2498e-10 | -25.3081
249.179 | -2.2459e-10 | -24.9956
248.875 | -2.2584e-10 | -24.7528
248.515 | -2.2559e-10 | -24.5554
248.103 | -2.2668e-10 | -24.4008
247.693 | -2.2676e-10 | -24.2527
247.422 | -2.2659e-10 | -24.0199
246.913 | -2.2655e-10 | -23.9425
246.637 | -2.2608e-10 | -23.7237
246.343 | -2.2619e-10 | -23.5222
246.082 | -2.2636e-10 | -23.3058
245.807 | -2.2578e-10 | -23.1077
245.533 | -2.2534e-10 | -22.9103
245.145 | -2.2548e-10 | -22.7832
244.814 | -2.2509e-10 | -22.6292
244.262 | -2.2527e-10 | -22.609
243.906 | -2.2483e-10 | -22.4767
243.548 | -2.2557e-10 | -22.3518
242.951 | -2.2642e-10 | -22.3512
242.586 | -2.2549e-10 | -22.2339
242.138 | -2.2556e-10 | -22.1626
241.563 | -2.2516e-10 | -22.1622
241.132 | -2.2419e-10 | -22.0842
240.581 | -2.2482e-10 | -22.0713
240.22 | -2.2401e-10 | -21.9601
239.722 | -2.265e-10 | -21.9237
239.378 | -2.2742e-10 | -21.8121
238.972 | -2.2562e-10 | -21.7311
238.687 | -2.2458e-10 | -21.5965
238.418 | -2.2475e-10 | -21.4502
238.093 | -2.2634e-10 | -21.3424
237.891 | -2.2722e-10 | -21.1749
237.647 | -2.2734e-10 | -21.0344
237.497 | -2.2549e-10 | -20.8545
237.029 | -2.2666e-10 | -20.8222
236.735 | -2.2615e-10 | -20.7109
236.25 | -2.2801e-10 | -20.6878
235.954 | -2.2721e-10 | -20.5827
235.449 | -2.27e-10 | -20.5657
235.218 | -2.2642e-10 | -20.438
234.777 | -2.2699e-10 | -20.4005
234.553 | -2.279e-10 | -20.2706
234.214 | -2.2699e-10 | -20.1915
234.053 | -2.2687e-10 | -20.0449
233.873 | -2.2724e-10 | -19.9093
233.75 | -2.2757e-10 | -19.7542
233.634 | -2.279e-10 | -19.5959
233.523 | -2.2693e-10 | -19.4412
233.315 | -2.2658e-10 | -19.3275
233.143 | -2.2795e-10 | -19.2026
232.668 | -2.2615e-10 | -19.1912
232.442 | -2.2674e-10 | -19.0874
231.983 | -2.2651e-10 | -19.0725
231.791 | -2.2758e-10 | -18.9617
231.481 | -2.2712e-10 | -18.8955
231.308 | -2.2621e-10 | -18.7828
231.088 | -2.2684e-10 | -18.6871
230.965 | -2.2743e-10 | -18.5594
230.837 | -2.2614e-10 | -18.4371
230.729 | -2.2656e-10 | -18.3103
230.627 | -2.2617e-10 | -18.1824
230.504 | -2.2606e-10 | -18.0637
230.406 | -2.264e-10 | -17.939
230.306 | -2.2453e-10 | -17.8155
230.219 | -2.2519e-10 | -17.6909
230.072 | -2.2643e-10 | -17.5873
229.727 | -2.2659e-10 | -17.5519
229.595 | -2.27e-10 | -17.4469
229.27 | -2.2655e-10 | -17.4052
229.123 | -2.2661e-10 | -17.3079
228.829 | -2.2686e-10 | -17.2585
228.708 | -2.2742e-10 | -17.1546
228.576 | -2.2722e-10 | -17.057
228.459 | -2.2629e-10 | -16.9554
228.292 | -2.2817e-10 | -16.8725
228.168 | -2.2639e-10 | -16.7771
228.022 | -2.2746e-10 | -16.689
227.926 | -2.274e-10 | -16.5874
227.815 | -2.2777e-10 | -16.4909
227.558 | -2.2752e-10 | -16.4405
227.407 | -2.287e-10 | -16.36
227.291 | -2.2836e-10 | -16.2713
227.172 | -2.2868e-10 | -16.1831
227.056 | -2.2779e-10 | -16.0945
226.863 | -2.2684e-10 | -16.0313
226.734 | -2.2679e-10 | -15.9499
226.435 | -2.274e-10 | -15.9177
226.297 | -2.2675e-10 | -15.8412
226.122 | -2.2637e-10 | -15.775
225.944 | -2.2603e-10 | -15.7124
225.809 | -2.2667e-10 | -15.6374
225.668 | -2.276e-10 | -15.5653
225.539 | -2.2799e-10 | -15.4909
225.389 | -2.2697e-10 | -15.4206
225.257 | -2.2845e-10 | -15.3501
225.128 | -2.2819e-10 | -15.2793
224.979 | -2.2792e-10 | -15.2152
224.678 | -2.2817e-10 | -15.1901
224.51 | -2.2759e-10 | -15.1319
224.345 | -2.2737e-10 | -15.0727
224.185 | -2.2759e-10 | -15.0125
224.053 | -2.2889e-10 | -14.9471
223.908 | -2.2842e-10 | -14.8843
223.739 | -2.2797e-10 | -14.8295
223.347 | -2.2913e-10 | -14.8308
223.168 | -2.2816e-10 | -14.7801
222.948 | -2.289e-10 | -14.7398
222.749 | -2.2798e-10 | -14.6955
222.582 | -2.2816e-10 | -14.6431
222.406 | -2.2714e-10 | -14.5936
222.243 | -2.2811e-10 | -14.5421
222.077 | -2.2775e-10 | -14.492
221.908 | -2.2757e-10 | -14.4424
221.751 | -2.2894e-10 | -14.3901
221.569 | -2.2876e-10 | -14.3433
221.396 | -2.2824e-10 | -14.2951
221.217 | -2.2887e-10 | -14.2494
221.049 | -2.2892e-10 | -14.2029
220.856 | -2.2871e-10 | -14.1631
220.546 | -2.2895e-10 | -14.1498
220.345 | -2.2857e-10 | -14.1109
220.158 | -2.2856e-10 | -14.07
219.949 | -2.2845e-10 | -14.0348
219.755 | -2.2791e-10 | -13.9966
219.556 | -2.2876e-10 | -13.9612
219.353 | -2.2914e-10 | -13.925
219.13 | -2.281e-10 | -13.8923
218.934 | -2.2828e-10 | -13.8555
218.723 | -2.2788e-10 | -13.8224
218.491 | -2.2738e-10 | -13.7931
218.271 | -2.2866e-10 | -13.7628
218.057 | -2.2856e-10 | -13.7324
217.841 | -2.2818e-10 | -13.7018
217.621 | -2.2895e-10 | -13.6724
217.406 | -2.2856e-10 | -13.6423
217.185 | -2.2877e-10 | -13.6141
216.944 | -2.2847e-10 | -13.5891
216.711 | -2.2857e-10 | -13.564
216.47 | -2.291e-10 | -13.5411
216.238 | -2.2989e-10 | -13.5156
216.002 | -2.2838e-10 | -13.4919
215.759 | -2.2838e-10 | -13.4699
215.518 | -2.2773e-10 | -13.4467
215.289 | -2.279e-10 | -13.4221
215.04 | -2.2835e-10 | -13.4016
214.781 | -2.2919e-10 | -13.3821
214.517 | -2.2858e-10 | -13.365
214.255 | -2.2866e-10 | -13.3481
213.99 | -2.3023e-10 | -13.3307
213.732 | -2.2926e-10 | -13.3128
213.468 | -2.2847e-10 | -13.2959
213.188 | -2.282e-10 | -13.2824
212.901 | -2.2912e-10 | -13.2704
212.572 | -2.29e-10 | -13.2643
212.277 | -2.2848e-10 | -13.2538
211.985 | -2.2803e-10 | -13.2429
211.686 | -2.2872e-10 | -13.2323
211.391 | -2.2915e-10 | -13.2222
211.08 | -2.2826e-10 | -13.2147
210.773 | -2.2833e-10 | -13.2067
210.459 | -2.2801e-10 | -13.2
210.164 | -2.2919e-10 | -13.1903
209.837 | -2.2834e-10 | -13.1855
209.516 | -2.2884e-10 | -13.181
209.189 | -2.2944e-10 | -13.1772
208.864 | -2.2827e-10 | -13.1732
208.536 | -2.2934e-10 | -13.17
208.204 | -2.2882e-10 | -13.1662
207.874 | -2.2922e-10 | -13.1625
207.543 | -2.2831e-10 | -13.16
207.208 | -2.2907e-10 | -13.1565
206.877 | -2.2898e-10 | -13.1533
206.542 | -2.2847e-10 | -13.1514
206.195 | -2.2752e-10 | -13.1509
205.844 | -2.2885e-10 | -13.1511
205.514 | -2.2786e-10 | -13.1481
205.157 | -2.2898e-10 | -13.1494
204.809 | -2.2931e-10 | -13.149
204.465 | -2.2921e-10 | -13.1484
204.117 | -2.2849e-10 | -13.1487
203.755 | -2.2832e-10 | -13.151
203.394 | -2.2916e-10 | -13.1534
203.026 | -2.2886e-10 | -13.1566
202.651 | -2.2896e-10 | -13.1605
202.292 | -2.2789e-10 | -13.1618
201.96 | -2.291e-10 | -13.1593
201.61 | -2.2893e-10 | -13.1595
201.264 | -2.2931e-10 | -13.1594
200.919 | -2.299e-10 | -13.1585
200.566 | -2.3034e-10 | -13.1584
200.209 | -2.2981e-10 | -13.1599
199.853 | -2.2941e-10 | -13.1607
199.48 | -2.2948e-10 | -13.1642
199.075 | -2.3002e-10 | -13.173
198.635 | -2.2874e-10 | -13.187
198.153 | -2.2803e-10 | -13.2076
197.705 | -2.2829e-10 | -13.2225
197.274 | -2.3013e-10 | -13.2346
196.824 | -2.2916e-10 | -13.2488
196.411 | -2.294e-10 | -13.2561
195.995 | -2.2863e-10 | -13.2657
195.547 | -2.2967e-10 | -13.2801
195.013 | -2.2945e-10 | -13.3072
194.487 | -2.2899e-10 | -13.3329
193.956 | -2.2959e-10 | -13.3594
193.427 | -2.2974e-10 | -13.385
192.877 | -2.2866e-10 | -13.4137
192.3 | -2.2792e-10 | -13.4459
191.753 | -2.2884e-10 | -13.474
191.266 | -2.2744e-10 | -13.4928
190.698 | -2.2828e-10 | -13.5235
190.103 | -2.2858e-10 | -13.5577
189.505 | -2.2875e-10 | -13.5918
188.914 | -2.28e-10 | -13.6245
188.346 | -2.2747e-10 | -13.6533
187.779 | -2.279e-10 | -13.6822
187.229 | -2.2861e-10 | -13.708
186.636 | -2.2924e-10 | -13.7404
186.08 | -2.2868e-10 | -13.767
185.588 | -2.2789e-10 | -13.7843
185.093 | -2.287e-10 | -13.8025
184.623 | -2.2881e-10 | -13.8162
184.178 | -2.3e-10 | -13.8272
183.738 | -2.3017e-10 | -13.8372
183.262 | -2.2916e-10 | -13.8503
182.78 | -2.3026e-10 | -13.8656
182.262 | -2.2897e-10 | -13.8865
181.822 | -2.2928e-10 | -13.8966
181.336 | -2.28e-10 | -13.9122
180.892 | -2.2877e-10 | -13.9226
180.466 | -2.2961e-10 | -13.9298
180.056 | -2.3053e-10 | -13.935
179.657 | -2.3003e-10 | -13.9389
179.264 | -2.305e-10 | -13.9414
178.835 | -2.3023e-10 | -13.9485
178.446 | -2.3002e-10 | -13.9506
177.996 | -2.2982e-10 | -13.9609
177.495 | -2.2938e-10 | -13.9781
177.002 | -2.2939e-10 | -13.9937
176.537 | -2.2915e-10 | -14.006
175.978 | -2.2941e-10 | -14.0305
175.359 | -2.2833e-10 | -14.0627
174.743 | -2.2911e-10 | -14.0936
174.161 | -2.2912e-10 | -14.1207
173.472 | -2.2824e-10 | -14.1606
172.715 | -2.2818e-10 | -14.2088
171.941 | -2.2907e-10 | -14.2593
171.133 | -2.3063e-10 | -14.3126
170.323 | -2.3099e-10 | -14.3668
169.525 | -2.3045e-10 | -14.419
168.763 | -2.2948e-10 | -14.4664
168.089 | -2.2925e-10 | -14.503
167.458 | -2.3028e-10 | -14.5336
166.889 | -2.292e-10 | -14.5565
166.411 | -2.2983e-10 | -14.5671
165.988 | -2.2969e-10 | -14.572
165.554 | -2.2912e-10 | -14.5774
165.147 | -2.304e-10 | -14.5792
164.764 | -2.3031e-10 | -14.5784
164.337 | -2.2865e-10 | -14.5827
163.937 | -2.296e-10 | -14.5834
163.545 | -2.3032e-10 | -14.5833
163.191 | -2.2972e-10 | -14.5795
162.854 | -2.3072e-10 | -14.5734
162.482 | -2.29e-10 | -14.5714
162.053 | -2.2861e-10 | -14.5755
161.643 | -2.3002e-10 | -14.5782
161.217 | -2.2946e-10 | -14.5828
160.74 | -2.3108e-10 | -14.5932
160.285 | -2.3039e-10 | -14.6015
159.782 | -2.2912e-10 | -14.615
159.274 | -2.3111e-10 | -14.6286
158.831 | -2.2907e-10 | -14.6349
158.408 | -2.2856e-10 | -14.638
158.05 | -2.2875e-10 | -14.6341
157.713 | -2.2922e-10 | -14.6267
157.378 | -2.2898e-10 | -14.6209
157.018 | -2.2863e-10 | -14.6175
156.598 | -2.2927e-10 | -14.6195
156.184 | -2.2839e-10 | -14.6222
155.71 | -2.2823e-10 | -14.6315
155.298 | -2.2938e-10 | -14.6337
154.843 | -2.3006e-10 | -14.6404
154.35 | -2.2933e-10 | -14.6523
153.865 | -2.2943e-10 | -14.6626
153.329 | -2.298e-10 | -14.6792
152.728 | -2.2976e-10 | -14.7027
152.083 | -2.2936e-10 | -14.7305
151.5 | -2.2951e-10 | -14.7519
150.987 | -2.3007e-10 | -14.7655
150.429 | -2.3015e-10 | -14.7836
149.859 | -2.2936e-10 | -14.803
149.301 | -2.2974e-10 | -14.8209
148.783 | -2.2923e-10 | -14.8339
148.246 | -2.2835e-10 | -14.8495
147.74 | -2.2971e-10 | -14.8617
147.267 | -2.2942e-10 | -14.8696
146.846 | -2.2928e-10 | -14.8711
146.454 | -2.3064e-10 | -14.8707
146.068 | -2.3037e-10 | -14.8694
145.624 | -2.3105e-10 | -14.8742
145.199 | -2.3045e-10 | -14.8773
144.72 | -2.2962e-10 | -14.8861
144.175 | -2.2988e-10 | -14.9014
143.565 | -2.2878e-10 | -14.9241
142.882 | -2.2954e-10 | -14.9544
142.201 | -2.2855e-10 | -14.9842
141.611 | -2.3023e-10 | -15.0037
141.085 | -2.2828e-10 | -15.0167
140.61 | -2.2952e-10 | -15.0246
140.118 | -2.2881e-10 | -15.0339
139.642 | -2.2911e-10 | -15.0417
139.172 | -2.2947e-10 | -15.048
138.661 | -2.2927e-10 | -15.0592
138.108 | -2.2934e-10 | -15.0745
137.545 | -2.2786e-10 | -15.091
136.99 | -2.2888e-10 | -15.1056
136.414 | -2.2904e-10 | -15.1228
135.793 | -2.2808e-10 | -15.1448
135.084 | -2.2769e-10 | -15.1752
134.406 | -2.285e-10 | -15.203
133.667 | -2.2756e-10 | -15.2362
132.757 | -2.2818e-10 | -15.2868
131.782 | -2.2914e-10 | -15.3437
130.915 | -2.2828e-10 | -15.389
130.021 | -2.2811e-10 | -15.4365
129.176 | -2.2858e-10 | -15.4792
128.337 | -2.2888e-10 | -15.5216
127.52 | -2.2667e-10 | -15.5608
126.695 | -2.2875e-10 | -15.6009
126.034 | -2.2824e-10 | -15.6248
125.445 | -2.2858e-10 | -15.6402
124.878 | -2.2822e-10 | -15.6538
124.426 | -2.2797e-10 | -15.6568
124.055 | -2.2824e-10 | -15.652
123.691 | -2.2704e-10 | -15.6471
123.222 | -2.2847e-10 | -15.6515
122.723 | -2.2807e-10 | -15.659
122.184 | -2.2777e-10 | -15.6705
121.668 | -2.2765e-10 | -15.6792
121.22 | -2.2859e-10 | -15.6819
120.732 | -2.2715e-10 | -15.6884
120.189 | -2.2725e-10 | -15.6999
119.568 | -2.2724e-10 | -15.7194
118.865 | -2.2813e-10 | -15.7451
118.093 | -2.2826e-10 | -15.7782
117.446 | -2.2784e-10 | -15.7998
116.827 | -2.2777e-10 | -15.8178
116.177 | -2.2866e-10 | -15.8387
115.443 | -2.2868e-10 | -15.867
114.735 | -2.288e-10 | -15.893
114.036 | -2.2987e-10 | -15.9182
113.259 | -2.2923e-10 | -15.9507
112.448 | -2.29e-10 | -15.9863
111.623 | -2.2851e-10 | -16.0218
110.98 | -2.2879e-10 | -16.0414
110.443 | -2.2974e-10 | -16.0511
109.908 | -2.2888e-10 | -16.0603
109.322 | -2.3007e-10 | -16.0745
108.6 | -2.2882e-10 | -16.1012
107.815 | -2.2991e-10 | -16.1331
107.003 | -2.2989e-10 | -16.1675
106.088 | -2.298e-10 | -16.211
105.338 | -2.3049e-10 | -16.2396
104.581 | -2.3019e-10 | -16.2688
103.901 | -2.2941e-10 | -16.2905
103.387 | -2.3035e-10 | -16.2972
103.033 | -2.2953e-10 | -16.2897
102.676 | -2.2927e-10 | -16.2815
102.127 | -2.3028e-10 | -16.291
101.322 | -2.2973e-10 | -16.3242
100.485 | -2.2891e-10 | -16.3596
99.7739 | -2.2843e-10 | -16.3832
98.7639 | -2.287e-10 | -16.4325
97.7648 | -2.2834e-10 | -16.4818
96.2812 | -2.2838e-10 | -16.5733
95.0966 | -2.2908e-10 | -16.6381
93.9631 | -2.2893e-10 | -16.6977
92.2154 | -2.2952e-10 | -16.8091
90.0983 | -2.2881e-10 | -16.9544
87.4864 | -2.3e-10 | -17.1424
86.0687 | -2.3138e-10 | -17.225
85.5293 | -2.3056e-10 | -17.2303
84.2192 | -2.3018e-10 | -17.3026
83.3811 | -2.3047e-10 | -17.3348
82.7998 | -2.3005e-10 | -17.3446
82.3171 | -2.3146e-10 | -17.3458
81.7791 | -2.3013e-10 | -17.3509
81.4145 | -2.2989e-10 | -17.3422
81.2908 | -2.2996e-10 | -17.3128
81.2683 | -2.3021e-10 | -17.2747
81.3379 | -2.3096e-10 | -17.2284
81.454 | -2.3103e-10 | -17.1788
81.6217 | -2.2994e-10 | -17.125
81.4083 | -2.3036e-10 | -17.1032
81.2113 | -2.3008e-10 | -17.08
80.8505 | -2.2956e-10 | -17.0717
80.7338 | -2.3054e-10 | -17.0426
80.5942 | -2.2875e-10 | -17.0153
80.4912 | -2.2792e-10 | -16.9842
80.4054 | -2.3048e-10 | -16.9526
80.4133 | -2.3061e-10 | -16.9138
80.3907 | -2.2884e-10 | -16.8775
80.3128 | -2.2951e-10 | -16.8457
80.2989 | -2.2928e-10 | -16.8086
80.3247 | -2.2984e-10 | -16.7687

## Pulse
Temperature | Current | Time
80.3075 | -2.2723e-10 | 0.93078
80.2735 | -2.2851e-10 | 2.5403
80.2698 | -2.2729e-10 | 4.152
80.2583 | -2.2787e-10 | 5.7651
80.2633 | -2.2747e-10 | 7.3647
80.2669 | -2.2937e-10 | 8.95
80.2922 | -2.285e-10 | 10.554
80.3815 | -2.2904e-10 | 12.1683
80.4601 | -2.2794e-10 | 13.7841
80.5774 | -2.2723e-10 | 15.4069
80.707 | -2.2784e-10 | 17.0222
80.8045 | -2.2717e-10 | 18.6223
80.9745 | -2.2779e-10 | 20.2241

## Measurements
Temperature | Current | Temp Rate
81.195 | -2.277e-10 | 0
81.4037 | -2.2759e-10 | 14.4907
81.5981 | -2.2772e-10 | 10.3925
81.9003 | -2.2767e-10 | 9.1203
82.1838 | -2.2767e-10 | 8.9125
82.5023 | -2.2777e-10 | 8.9236
82.8016 | -2.275e-10 | 9.2369
83.1296 | -2.2668e-10 | 9.5204
83.4132 | -2.277e-10 | 9.84
83.7478 | -2.2723e-10 | 10.3144
84.068 | -2.2643e-10 | 11.2621
84.32 | -2.2792e-10 | 15.1658
84.6524 | -2.2669e-10 | 27.1749
84.9432 | -2.2687e-10 | 76.7537
85.2483 | -2.2705e-10 | 138.1159
85.5599 | -2.2754e-10 | 11.7723
85.8817 | -2.2644e-10 | 12.2389
86.2187 | -2.2611e-10 | 12.6288
86.5632 | -2.2725e-10 | 364.5278
86.9165 | -2.2747e-10 | 13.2845
87.2712 | -2.2622e-10 | 13.7219
87.6302 | -2.2659e-10 | 14.0637
87.9953 | -2.2777e-10 | 14.3069
89.2769 | -2.2696e-10 | 15.3995
90.2788 | -2.2537e-10 | 16.0833
90.6633 | -2.2639e-10 | 16.3381
91.037 | -2.2664e-10 | 16.4959
91.4028 | -2.2599e-10 | 16.7049
91.7255 | -2.2612e-10 | 16.8924
93.1239 | -2.2612e-10 | 17.4721
94.0143 | -2.2634e-10 | 17.8207
94.3542 | -2.2688e-10 | 17.8734
94.6892 | -2.2753e-10 | 17.9519
95.0287 | -2.2718e-10 | 18.0921
95.3647 | -2.2655e-10 | 18.1317
95.6968 | -2.2729e-10 | 18.2161
96.0295 | -2.2773e-10 | 18.2981
96.3596 | -2.2688e-10 | 18.3533
96.6869 | -2.2664e-10 | 18.4244
97.0139 | -2.2755e-10 | 18.4837
97.3351 | -2.272e-10 | 18.5332
97.6594 | -2.26e-10 | 18.5795
97.9799 | -2.2651e-10 | 18.6246
98.2995 | -2.252e-10 | 18.6671
99.4963 | -2.2567e-10 | 18.8326
100.536 | -2.2537e-10 | 18.9419
100.841 | -2.2591e-10 | 18.953
101.143 | -2.267e-10 | 18.9651
101.444 | -2.2739e-10 | 18.986
101.747 | -2.2663e-10 | 19.0126
102.049 | -2.2659e-10 | 18.9926
102.345 | -2.2752e-10 | 19.0119
102.653 | -2.2808e-10 | 19.0335
102.954 | -2.2697e-10 | 19.0476
103.254 | -2.2702e-10 | 19.0603
103.557 | -2.272e-10 | 19.0768
103.861 | -2.2596e-10 | 19.084
104.161 | -2.2553e-10 | 19.0973
104.466 | -2.2606e-10 | 19.1114
104.767 | -2.259e-10 | 19.1208
105.07 | -2.2572e-10 | 19.1361
105.372 | -2.2605e-10 | 19.1434
105.674 | -2.2569e-10 | 19.1588
105.979 | -2.2612e-10 | 19.1725
106.282 | -2.278e-10 | 19.2053
106.583 | -2.2749e-10 | 19.2139
106.921 | -2.2681e-10 | 19.2247
107.186 | -2.2709e-10 | 19.2339
107.487 | -2.2584e-10 | 19.2418
107.787 | -2.2731e-10 | 19.2513
108.091 | -2.2736e-10 | 19.2598
108.392 | -2.2749e-10 | 19.266
108.73 | -2.2753e-10 | 19.2733
109.031 | -2.2652e-10 | 19.282
109.293 | -2.2797e-10 | 19.2875
109.588 | -2.272e-10 | 19.2957
109.878 | -2.283e-10 | 19.2921
110.18 | -2.2831e-10 | 19.3049
110.478 | -2.2739e-10 | 19.3111
110.777 | -2.276e-10 | 19.3181
111.107 | -2.2687e-10 | 19.3212
111.374 | -2.2554e-10 | 19.327
111.67 | -2.2619e-10 | 19.3317
111.97 | -2.2597e-10 | 19.3387
112.271 | -2.275e-10 | 19.346
112.572 | -2.2741e-10 | 19.3524
112.873 | -2.2738e-10 | 19.3594
113.174 | -2.2742e-10 | 19.366
113.475 | -2.2609e-10 | 19.3719
113.779 | -2.261e-10 | 19.3829
114.081 | -2.2507e-10 | 19.3887
114.384 | -2.2498e-10 | 19.3917
114.687 | -2.2646e-10 | 19.3909
115.021 | -2.2628e-10 | 19.3969
115.323 | -2.2712e-10 | 19.4019
115.627 | -2.2733e-10 | 19.406
115.916 | -2.2777e-10 | 19.4048
116.214 | -2.2611e-10 | 19.4083
116.515 | -2.263e-10 | 19.411
116.816 | -2.2662e-10 | 19.4159
117.121 | -2.2691e-10 | 19.4407
117.425 | -2.2704e-10 | 19.449
117.728 | -2.2733e-10 | 19.4537
118.034 | -2.2695e-10 | 19.4603
118.332 | -2.2763e-10 | 19.4593
118.628 | -2.2644e-10 | 19.4599
118.926 | -2.2771e-10 | 19.4645
119.252 | -2.2731e-10 | 19.4609
119.553 | -2.2797e-10 | 19.4586
119.855 | -2.272e-10 | 19.4759
120.155 | -2.2766e-10 | 19.4812
120.457 | -2.2718e-10 | 19.4836
120.795 | -2.2807e-10 | 19.4867
121.094 | -2.2711e-10 | 19.4877
121.397 | -2.2752e-10 | 19.4921
121.699 | -2.2689e-10 | 19.4945
122.002 | -2.2569e-10 | 19.5122
122.305 | -2.2683e-10 | 19.5133
122.642 | -2.2733e-10 | 19.5146
122.947 | -2.276e-10 | 19.5191
123.245 | -2.2734e-10 | 19.5191
123.546 | -2.2592e-10 | 19.5214
123.848 | -2.2601e-10 | 19.5382
124.149 | -2.2605e-10 | 19.5403
124.452 | -2.2669e-10 | 19.5428
124.752 | -2.2601e-10 | 19.5449
125.089 | -2.2662e-10 | 19.5452
125.394 | -2.2597e-10 | 19.5505
125.696 | -2.2524e-10 | 19.551
125.996 | -2.2666e-10 | 19.5548
126.299 | -2.2533e-10 | 19.5695
126.603 | -2.2556e-10 | 19.5764
126.904 | -2.2572e-10 | 19.5767
127.206 | -2.2472e-10 | 19.5791
127.508 | -2.2582e-10 | 19.5813
127.902 | -2.2626e-10 | 19.5772
129.123 | -2.2665e-10 | 19.5893
130.12 | -2.2647e-10 | 19.5886
130.419 | -2.2597e-10 | 19.6006
130.719 | -2.2737e-10 | 19.5993
131.054 | -2.2641e-10 | 19.5999
131.356 | -2.2737e-10 | 19.5998
131.656 | -2.2777e-10 | 19.5973
131.957 | -2.2655e-10 | 19.6129
132.255 | -2.2586e-10 | 19.6113
132.592 | -2.2591e-10 | 19.6115
132.893 | -2.2568e-10 | 19.6202
133.195 | -2.257e-10 | 19.6226
133.496 | -2.2635e-10 | 19.6222
133.83 | -2.2492e-10 | 19.6231
134.133 | -2.2533e-10 | 19.6213
134.434 | -2.256e-10 | 19.6344
134.735 | -2.2481e-10 | 19.6382
135.038 | -2.2422e-10 | 19.6403
135.34 | -2.254e-10 | 19.6416
135.642 | -2.2472e-10 | 19.6448
135.943 | -2.2569e-10 | 19.6438
136.275 | -2.2521e-10 | 19.6452
136.58 | -2.2511e-10 | 19.6461
136.88 | -2.2552e-10 | 19.6446
137.18 | -2.2617e-10 | 19.6538
137.513 | -2.25e-10 | 19.6542
137.813 | -2.2443e-10 | 19.6522
138.108 | -2.2574e-10 | 19.6612
138.44 | -2.2426e-10 | 19.6594
138.738 | -2.2484e-10 | 19.6585
139.034 | -2.2455e-10 | 19.66
139.333 | -2.2406e-10 | 19.6596
139.632 | -2.2511e-10 | 19.6574
139.932 | -2.2442e-10 | 19.6668
140.232 | -2.2464e-10 | 19.6661
140.561 | -2.2415e-10 | 19.666
140.864 | -2.2474e-10 | 19.6658
141.166 | -2.2544e-10 | 19.676
141.467 | -2.235e-10 | 19.6762
141.801 | -2.249e-10 | 19.6728
142.103 | -2.25e-10 | 19.6751
142.404 | -2.2525e-10 | 19.6737
142.706 | -2.2625e-10 | 19.6844
143.007 | -2.2532e-10 | 19.6814
143.342 | -2.245e-10 | 19.6801
143.643 | -2.2581e-10 | 19.6811
143.944 | -2.2543e-10 | 19.6925
144.279 | -2.2562e-10 | 19.6906
144.581 | -2.2521e-10 | 19.6902
144.881 | -2.2517e-10 | 19.691
146.122 | -2.2479e-10 | 19.7005
147.159 | -2.262e-10 | 19.7055
147.459 | -2.2572e-10 | 19.7118
147.761 | -2.2471e-10 | 19.7116
148.094 | -2.2453e-10 | 19.7129
148.424 | -2.2429e-10 | 19.7073
148.72 | -2.2457e-10 | 19.708
149.049 | -2.2476e-10 | 19.7118
149.347 | -2.2562e-10 | 19.7107
149.646 | -2.2485e-10 | 19.7092
149.943 | -2.2505e-10 | 19.7173
150.277 | -2.2425e-10 | 19.713
150.575 | -2.2481e-10 | 19.7206
150.875 | -2.2476e-10 | 19.7198
151.208 | -2.259e-10 | 19.7158
151.509 | -2.2409e-10 | 19.7218
151.843 | -2.2451e-10 | 19.7216
152.145 | -2.2525e-10 | 19.7208
152.447 | -2.2445e-10 | 19.73
152.78 | -2.236e-10 | 19.7274
153.082 | -2.2454e-10 | 19.7269
153.383 | -2.239e-10 | 19.7258
153.683 | -2.2316e-10 | 19.7343
153.986 | -2.2417e-10 | 19.7319
154.32 | -2.2422e-10 | 19.7311
154.621 | -2.2274e-10 | 19.7375
154.956 | -2.2405e-10 | 19.7349
156.263 | -2.241e-10 | 19.7416
157.235 | -2.2473e-10 | 19.7492
157.569 | -2.2437e-10 | 19.7456
157.87 | -2.2449e-10 | 19.7523
158.205 | -2.231e-10 | 19.7485
158.506 | -2.2273e-10 | 19.7558
158.807 | -2.2166e-10 | 19.7562
159.141 | -2.2196e-10 | 19.7564
159.443 | -2.2213e-10 | 19.7553
159.742 | -2.2292e-10 | 19.7539
160.036 | -2.2384e-10 | 19.7609
160.367 | -2.2324e-10 | 19.7567
160.665 | -2.2335e-10 | 19.7564
160.963 | -2.224e-10 | 19.7546
161.261 | -2.2397e-10 | 19.7608
161.594 | -2.2369e-10 | 19.7578
161.893 | -2.2348e-10 | 19.7621
162.228 | -2.2289e-10 | 19.7606
162.528 | -2.2226e-10 | 19.7598
162.829 | -2.2229e-10 | 19.767
163.128 | -2.2252e-10 | 19.7661
163.463 | -2.2323e-10 | 19.7651
163.764 | -2.2392e-10 | 19.7641
164.065 | -2.2406e-10 | 19.7616
164.4 | -2.2233e-10 | 19.7657
164.7 | -2.2348e-10 | 19.773
165 | -2.2385e-10 | 19.7704
165.335 | -2.2426e-10 | 19.77
165.637 | -2.2388e-10 | 19.7686
165.939 | -2.2315e-10 | 19.7768
166.24 | -2.2278e-10 | 19.777
166.574 | -2.2249e-10 | 19.7766
166.875 | -2.2312e-10 | 19.7752
167.176 | -2.2363e-10 | 19.7816
167.512 | -2.2329e-10 | 19.7775
168.781 | -2.2371e-10 | 19.7803
169.686 | -2.2349e-10 | 19.7901
169.985 | -2.2431e-10 | 19.7886
170.321 | -2.2422e-10 | 19.7874
170.62 | -2.2424e-10 | 19.7865
170.922 | -2.2471e-10 | 19.7918
171.257 | -2.2478e-10 | 19.7911
171.556 | -2.2436e-10 | 19.7892
171.852 | -2.2381e-10 | 19.7928
172.182 | -2.2561e-10 | 19.7903
172.48 | -2.2448e-10 | 19.7897
172.778 | -2.2415e-10 | 19.796
173.075 | -2.2355e-10 | 19.7933
173.407 | -2.2385e-10 | 19.7899
173.705 | -2.2341e-10 | 19.7933
174.038 | -2.239e-10 | 19.7904
174.338 | -2.2388e-10 | 19.797
174.638 | -2.2324e-10 | 19.7964
174.972 | -2.2269e-10 | 19.7941
175.273 | -2.2327e-10 | 19.7993
175.607 | -2.2433e-10 | 19.7965
175.907 | -2.2415e-10 | 19.8007
176.209 | -2.2319e-10 | 19.8003
176.543 | -2.2409e-10 | 19.7989
176.844 | -2.2548e-10 | 19.8036
177.179 | -2.2578e-10 | 19.7984
177.48 | -2.2564e-10 | 19.8033
177.814 | -2.2509e-10 | 19.8021
178.117 | -2.2515e-10 | 19.8009
178.417 | -2.2415e-10 | 19.8048
178.752 | -2.2356e-10 | 19.8058
179.085 | -2.2318e-10 | 19.8035
180.356 | -2.2417e-10 | 19.8101
181.325 | -2.2347e-10 | 19.8126
181.66 | -2.2277e-10 | 19.8121
181.962 | -2.2336e-10 | 19.8108
182.33 | -2.235e-10 | 19.8168
182.665 | -2.2377e-10 | 19.8155
182.965 | -2.2337e-10 | 19.8139
183.267 | -2.2369e-10 | 19.8204
183.6 | -2.2314e-10 | 19.8177
183.902 | -2.238e-10 | 19.816
184.201 | -2.223e-10 | 19.8207
184.504 | -2.2353e-10 | 19.8205
184.833 | -2.2291e-10 | 19.8166
185.128 | -2.2356e-10 | 19.8197
185.46 | -2.2438e-10 | 19.8225
185.759 | -2.2457e-10 | 19.8207
186.094 | -2.2455e-10 | 19.8175
186.433 | -2.247e-10 | 19.8209
186.733 | -2.2413e-10 | 19.8205
187.037 | -2.2325e-10 | 19.8259
187.372 | -2.2269e-10 | 19.8244
187.672 | -2.2361e-10 | 19.8234
187.972 | -2.2331e-10 | 19.828
188.308 | -2.2439e-10 | 19.8273
188.608 | -2.2407e-10 | 19.8252
189.843 | -2.2291e-10 | 19.8309
190.845 | -2.2448e-10 | 19.8322
191.177 | -2.2357e-10 | 19.8301
191.478 | -2.2437e-10 | 19.8345
191.812 | -2.2511e-10 | 19.8322
192.114 | -2.2364e-10 | 19.8303
192.413 | -2.2384e-10 | 19.8349
192.747 | -2.2384e-10 | 19.8316
193.08 | -2.2457e-10 | 19.8357
193.381 | -2.2559e-10 | 19.8334
193.683 | -2.2397e-10 | 19.8374
194.017 | -2.2512e-10 | 19.8354
194.316 | -2.2477e-10 | 19.8389
194.617 | -2.2553e-10 | 19.8378
194.951 | -2.245e-10 | 19.836
195.252 | -2.233e-10 | 19.8405
195.585 | -2.2358e-10 | 19.8393
195.886 | -2.2356e-10 | 19.8383
196.187 | -2.2385e-10 | 19.8422
196.52 | -2.2461e-10 | 19.8398
196.822 | -2.2419e-10 | 19.843
197.156 | -2.2441e-10 | 19.8392
197.488 | -2.2395e-10 | 19.8422
198.722 | -2.2376e-10 | 19.8463
199.711 | -2.2424e-10 | 19.8449
200.043 | -2.2443e-10 | 19.8419
200.342 | -2.2539e-10 | 19.846
200.674 | -2.2525e-10 | 19.8433
200.971 | -2.2471e-10 | 19.845
201.306 | -2.2519e-10 | 19.8425
201.641 | -2.2539e-10 | 19.8455
201.941 | -2.2477e-10 | 19.8434
202.274 | -2.241e-10 | 19.8455
202.574 | -2.2437e-10 | 19.8474
202.908 | -2.2422e-10 | 19.846
203.209 | -2.2463e-10 | 19.8491
203.545 | -2.2402e-10 | 19.8451
203.879 | -2.2423e-10 | 19.8487
204.179 | -2.2486e-10 | 19.852
204.514 | -2.2389e-10 | 19.85
204.814 | -2.2458e-10 | 19.8524
205.147 | -2.2517e-10 | 19.8503
205.449 | -2.2543e-10 | 19.8535
205.781 | -2.2372e-10 | 19.8511
207.051 | -2.2433e-10 | 19.8531
208.054 | -2.2317e-10 | 19.8543
208.356 | -2.2297e-10 | 19.8581
208.689 | -2.2406e-10 | 19.8557
208.99 | -2.2399e-10 | 19.8548
209.324 | -2.2333e-10 | 19.8571
209.692 | -2.2319e-10 | 19.857
210.024 | -2.2406e-10 | 19.8599
210.327 | -2.2298e-10 | 19.8583
210.625 | -2.2233e-10 | 19.8607
210.961 | -2.2348e-10 | 19.8577
211.26 | -2.2395e-10 | 19.8603
211.595 | -2.2442e-10 | 19.8592
211.896 | -2.2436e-10 | 19.8617
212.23 | -2.2468e-10 | 19.8595
212.529 | -2.2467e-10 | 19.8625
212.864 | -2.2424e-10 | 19.8609
213.162 | -2.2521e-10 | 19.863
213.492 | -2.2524e-10 | 19.8609
214.747 | -2.2492e-10 | 19.8606
215.742 | -2.2531e-10 | 19.8641
216.075 | -2.2484e-10 | 19.8621
216.374 | -2.2527e-10 | 19.8646
216.708 | -2.2511e-10 | 19.8617
217.007 | -2.2567e-10 | 19.8639
217.34 | -2.259e-10 | 19.8614
217.639 | -2.2489e-10 | 19.8642
217.974 | -2.2427e-10 | 19.8658
218.273 | -2.2475e-10 | 19.8638
218.607 | -2.2573e-10 | 19.8663
218.939 | -2.2582e-10 | 19.8629
219.241 | -2.2446e-10 | 19.8661
219.576 | -2.2509e-10 | 19.8679
219.879 | -2.2406e-10 | 19.8665
220.217 | -2.2503e-10 | 19.8693
220.553 | -2.2504e-10 | 19.867
220.857 | -2.2455e-10 | 19.87
222.173 | -2.2481e-10 | 19.8707
223.177 | -2.2431e-10 | 19.8723
223.478 | -2.2482e-10 | 19.8744
223.811 | -2.2594e-10 | 19.8756
224.144 | -2.256e-10 | 19.8732
224.441 | -2.2541e-10 | 19.8756
224.775 | -2.2624e-10 | 19.8768
225.107 | -2.2635e-10 | 19.8741
225.405 | -2.2622e-10 | 19.8761
225.738 | -2.2533e-10 | 19.8747
226.036 | -2.2556e-10 | 19.876
226.369 | -2.2547e-10 | 19.874
226.669 | -2.257e-10 | 19.8763
227.001 | -2.2589e-10 | 19.8736
227.334 | -2.2656e-10 | 19.8757
227.634 | -2.2493e-10 | 19.8776
227.967 | -2.2653e-10 | 19.8774
228.298 | -2.2703e-10 | 19.8737
229.551 | -2.2629e-10 | 19.8776
230.552 | -2.2614e-10 | 19.8753
230.853 | -2.2685e-10 | 19.878
231.19 | -2.2701e-10 | 19.8762
231.491 | -2.259e-10 | 19.8794
231.826 | -2.2604e-10 | 19.8776
232.127 | -2.2661e-10 | 19.8792
232.461 | -2.2707e-10 | 19.8772
232.76 | -2.266e-10 | 19.8791
233.092 | -2.2651e-10 | 19.8819
233.425 | -2.2623e-10 | 19.8791
233.726 | -2.2667e-10 | 19.8816
234.06 | -2.2665e-10 | 19.8792
234.358 | -2.274e-10 | 19.8812
234.692 | -2.2694e-10 | 19.8788
234.993 | -2.2762e-10 | 19.8814
235.327 | -2.2798e-10 | 19.8795
235.624 | -2.2742e-10 | 19.8816
235.961 | -2.2722e-10 | 19.8798
236.295 | -2.2605e-10 | 19.8822
237.529 | -2.278e-10 | 19.8852
238.531 | -2.2812e-10 | 19.8865
238.865 | -2.2774e-10 | 19.8843
239.165 | -2.2731e-10 | 19.8859
239.499 | -2.2728e-10 | 19.8836
239.799 | -2.2847e-10 | 19.8864
240.134 | -2.2716e-10 | 19.8853
240.435 | -2.2729e-10 | 19.8876
240.769 | -2.2717e-10 | 19.8854
241.069 | -2.2742e-10 | 19.8874
241.403 | -2.2677e-10 | 19.8848
241.736 | -2.2726e-10 | 19.8868
242.036 | -2.2728e-10 | 19.8882
242.37 | -2.2615e-10 | 19.886
242.67 | -2.2662e-10 | 19.8885
243.003 | -2.2752e-10 | 19.89
243.337 | -2.2882e-10 | 19.8874
243.638 | -2.2764e-10 | 19.8891
243.972 | -2.283e-10 | 19.8909
244.301 | -2.2798e-10 | 19.8879
245.557 | -2.2853e-10 | 19.8879
246.555 | -2.2717e-10 | 19.8898
246.889 | -2.2743e-10 | 19.8872
247.187 | -2.2806e-10 | 19.8888
247.52 | -2.2801e-10 | 19.8871
247.855 | -2.276e-10 | 19.8883
248.188 | -2.2927e-10 | 19.8901
248.49 | -2.2768e-10 | 19.8875
248.824 | -2.2825e-10 | 19.8895
249.123 | -2.2798e-10 | 19.891
249.457 | -2.2737e-10 | 19.8922
249.792 | -2.2796e-10 | 19.8902
250.094 | -2.2626e-10 | 19.8915
250.426 | -2.269e-10 | 19.892
250.762 | -2.2626e-10 | 19.8901
251.094 | -2.273e-10 | 19.892
252.33 | -2.2616e-10 | 19.8944
253.365 | -2.2696e-10 | 19.8942
253.666 | -2.2646e-10 | 19.8957
254 | -2.2552e-10 | 19.8928
254.333 | -2.2577e-10 | 19.8941
254.633 | -2.2697e-10 | 19.8957
254.967 | -2.2567e-10 | 19.8936
255.268 | -2.2482e-10 | 19.8964
255.601 | -2.258e-10 | 19.8937
255.935 | -2.2632e-10 | 19.8956
256.236 | -2.2697e-10 | 19.8973
256.569 | -2.2651e-10 | 19.8967
256.904 | -2.2584e-10 | 19.8971
257.237 | -2.2563e-10 | 19.8984
257.572 | -2.259e-10 | 19.8964
257.871 | -2.2536e-10 | 19.8976
259.139 | -2.269e-10 | 19.8998
260.14 | -2.2692e-10 | 19.9008
260.472 | -2.2569e-10 | 19.9003
260.805 | -2.2539e-10 | 19.8979
261.137 | -2.2598e-10 | 19.8978
261.438 | -2.2512e-10 | 19.8998
261.767 | -2.2572e-10 | 19.8976
262.098 | -2.2658e-10 | 19.8983
262.396 | -2.2779e-10 | 19.8996
262.729 | -2.2724e-10 | 19.8974
263.059 | -2.2674e-10 | 19.8981
263.359 | -2.2691e-10 | 19.9002
263.792 | -2.2608e-10 | 19.8979
265.058 | -2.2652e-10 | 19.8992
266.06 | -2.2533e-10 | 19.8996
266.395 | -2.258e-10 | 19.901
266.695 | -2.2603e-10 | 19.9027
267.029 | -2.2541e-10 | 19.9026
267.363 | -2.2538e-10 | 19.9013
267.664 | -2.2645e-10 | 19.9033
267.996 | -2.2624e-10 | 19.9008
268.297 | -2.2584e-10 | 19.9023
268.632 | -2.2635e-10 | 19.9035
268.965 | -2.2662e-10 | 19.9005
269.299 | -2.2709e-10 | 19.9
269.667 | -2.2633e-10 | 19.9043
270.968 | -2.2706e-10 | 19.9028
271.968 | -2.2708e-10 | 19.906
272.303 | -2.2662e-10 | 19.9032
272.605 | -2.2632e-10 | 19.9054
272.938 | -2.2539e-10 | 19.9064
273.272 | -2.2667e-10 | 19.905
273.638 | -2.2628e-10 | 19.9048
273.94 | -2.2638e-10 | 19.9061
274.272 | -2.2709e-10 | 19.9075
274.605 | -2.2675e-10 | 19.9056
274.906 | -2.2625e-10 | 19.9068
275.24 | -2.2769e-10 | 19.9049
275.574 | -2.272e-10 | 19.9061
275.874 | -2.2608e-10 | 19.9072
277.14 | -2.2645e-10 | 19.9077
278.174 | -2.2461e-10 | 19.9097
278.508 | -2.2513e-10 | 19.9077
278.809 | -2.2536e-10 | 19.9089
279.14 | -2.2702e-10 | 19.9095
279.471 | -2.2622e-10 | 19.9069
279.8 | -2.2657e-10 | 19.9077
280.099 | -2.2705e-10 | 19.9084
280.43 | -2.261e-10 | 19.9092
280.763 | -2.2553e-10 | 19.9093
281.094 | -2.2609e-10 | 19.9071
281.393 | -2.2577e-10 | 19.9083
281.726 | -2.2451e-10 | 19.9064
282.059 | -2.2547e-10 | 19.9061
283.327 | -2.2497e-10 | 19.91
284.329 | -2.2378e-10 | 19.9105
284.664 | -2.2348e-10 | 19.9113
284.997 | -2.2348e-10 | 19.9091
285.298 | -2.234e-10 | 19.9107
285.631 | -2.2464e-10 | 19.9109
285.963 | -2.2392e-10 | 19.9116
286.298 | -2.2319e-10 | 19.9096
286.632 | -2.2502e-10 | 19.91
286.966 | -2.2486e-10 | 19.9104
287.266 | -2.25e-10 | 19.9109
287.599 | -2.244e-10 | 19.9116
287.935 | -2.2442e-10 | 19.9117
288.268 | -2.2518e-10 | 19.9129
288.602 | -2.2386e-10 | 19.9105
289.869 | -2.2406e-10 | 19.9144
291.004 | -2.2554e-10 | 19.9128
291.304 | -2.2499e-10 | 19.9137
291.638 | -2.252e-10 | 19.9143
291.971 | -2.2586e-10 | 19.9119
292.305 | -2.2474e-10 | 19.9127
292.639 | -2.2606e-10 | 19.9132
292.973 | -2.2573e-10 | 19.9135
293.305 | -2.262e-10 | 19.9142
294.573 | -2.2673e-10 | 19.9146
295.575 | -2.2675e-10 | 19.9144
295.874 | -2.2548e-10 | 19.9156
296.208 | -2.2465e-10 | 19.9162
296.542 | -2.2509e-10 | 19.914
296.875 | -2.2546e-10 | 19.9144
297.209 | -2.2573e-10 | 19.9149
297.544 | -2.2595e-10 | 19.9155
297.875 | -2.2536e-10 | 19.9154
298.209 | -2.2549e-10 | 19.9166
298.51 | -2.2507e-10 | 19.9169
298.84 | -2.2453e-10 | 19.9174
299.171 | -2.2449e-10 | 19.9154
299.501 | -2.2638e-10 | 19.9158
300.763 | -2.2659e-10 | 19.9151
301.761 | -2.2582e-10 | 19.9174
302.095 | -2.271e-10 | 19.918
302.43 | -2.2608e-10 | 19.9156
302.763 | -2.2798e-10 | 19.9167
303.064 | -2.2735e-10 | 19.9166
303.398 | -2.2751e-10 | 19.9168
303.731 | -2.2596e-10 | 19.9175
304.065 | -2.2664e-10 | 19.9182
304.433 | -2.2675e-10 | 19.9176
304.733 | -2.2596e-10 | 19.9183
305.066 | -2.2653e-10 | 19.9192
306.335 | -2.2567e-10 | 19.9196
307.369 | -2.2672e-10 | 19.9208
307.703 | -2.2605e-10 | 19.9188
308.038 | -2.2729e-10 | 19.9189
308.371 | -2.2664e-10 | 19.9197
308.706 | -2.2597e-10 | 19.9199
309.005 | -2.2575e-10 | 19.9213
309.339 | -2.2671e-10 | 19.9193
309.672 | -2.2606e-10 | 19.9189
310.007 | -2.266e-10 | 19.9214
310.341 | -2.2627e-10 | 19.9213
310.674 | -2.2792e-10 | 19.9212
311.974 | -2.269e-10 | 19.921
312.974 | -2.2644e-10 | 19.9219
313.309 | -2.2529e-10 | 19.9222
313.642 | -2.2499e-10 | 19.9224
313.977 | -2.264e-10 | 19.9211
314.31 | -2.2644e-10 | 19.9218
314.645 | -2.2615e-10 | 19.9215
314.978 | -2.2757e-10 | 19.9217
315.311 | -2.2592e-10 | 19.9225
315.611 | -2.2647e-10 | 19.9231
315.944 | -2.2599e-10 | 19.924
316.278 | -2.2779e-10 | 19.9217
316.61 | -2.2649e-10 | 19.9217
317.877 | -2.2737e-10 | 19.9244
318.914 | -2.2697e-10 | 19.9238
319.247 | -2.2679e-10 | 19.9237
319.58 | -2.2732e-10 | 19.9241
319.879 | -2.284e-10 | 19.9246
320.245 | -2.271e-10 | 19.9238