## Settings
Sample Info | vr2, dot b1, e-irrad 1500mkC, run 12, holes, -20V
Comments | +1/-20/+1 V
Additional Comments | current raise !!
Major Measurement Parameters
Starting Temperature | 296.854
Initial Temperature | 80.5
Final Temperature | 320
Preliminary Voltage | 1
Pulse Voltage | -20
Pulse Time | 60
Wait Time | 0
Measurement Voltage | 1
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 20
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 28.3.2024
Clock | 20:11:45

## Stabilization
Temperature | Current | Temp Rate
295.926 | -1.0388e-10 | 0
295.208 | -2.2755e-10 | -28.0545
294.45 | -2.2793e-10 | -28.7296
293.632 | -2.2678e-10 | -29.7391
292.899 | -2.2675e-10 | -29.3948
292.084 | -2.2657e-10 | -29.892
291.368 | -2.2656e-10 | -29.5198
290.727 | -2.2692e-10 | -28.8764
289.859 | -2.2909e-10 | -29.4629
289.185 | -2.2772e-10 | -29.1154
288.34 | -2.2642e-10 | -32.6989
287.591 | -2.2815e-10 | -40.4279
286.839 | -2.2786e-10 | -58.7217
286.035 | -2.2873e-10 | -128.5008
285.365 | -2.2891e-10 | -207.551
284.593 | -2.2899e-10 | -28.6364
283.808 | -2.2817e-10 | -28.7343
283.049 | -2.2758e-10 | -28.7762
282.266 | -2.2779e-10 | -527.0649
281.539 | -2.2774e-10 | -28.8162
280.789 | -2.2839e-10 | -28.8186
279.986 | -2.2772e-10 | -28.9061
279.284 | -2.2919e-10 | -28.811
278.487 | -2.2911e-10 | -28.9019
277.772 | -2.2764e-10 | -28.8512
277.144 | -2.2783e-10 | -28.6798
276.311 | -2.2808e-10 | -28.8377
275.624 | -2.2891e-10 | -28.762
274.959 | -2.2913e-10 | -28.6504
274.193 | -2.2834e-10 | -28.6875
273.585 | -2.2843e-10 | -28.4996
272.726 | -2.2851e-10 | -28.6465
272.114 | -2.3004e-10 | -28.495
271.472 | -2.2744e-10 | -28.3929
270.68 | -2.2871e-10 | -28.4589
269.968 | -2.2866e-10 | -28.4277
269.412 | -2.2759e-10 | -28.2287
268.835 | -2.2811e-10 | -28.0816
268.098 | -2.2815e-10 | -28.0952
267.441 | -2.2908e-10 | -28.0182
266.865 | -2.2801e-10 | -27.8601
266.14 | -2.2853e-10 | -27.8581
265.51 | -2.2908e-10 | -27.7761
264.827 | -2.2819e-10 | -27.7398
264.23 | -2.2844e-10 | -27.6366
263.436 | -2.2803e-10 | -27.7022
262.779 | -2.2836e-10 | -27.6476
261.98 | -2.2854e-10 | -27.7172
261.239 | -2.2768e-10 | -27.7399
260.546 | -2.2816e-10 | -27.7183
259.789 | -2.2785e-10 | -27.7374
259.087 | -2.2838e-10 | -27.7257
258.456 | -2.2882e-10 | -27.6643
257.756 | -2.2888e-10 | -27.6497
257.06 | -2.2895e-10 | -27.6285
256.427 | -2.2811e-10 | -27.5677
255.73 | -2.2804e-10 | -27.5555
255.096 | -2.2834e-10 | -27.4945
254.399 | -2.2798e-10 | -27.4824
253.7 | -2.2918e-10 | -27.4704
253.109 | -2.2841e-10 | -27.3905
252.428 | -2.2779e-10 | -27.3591
251.83 | -2.2866e-10 | -27.296
251.319 | -2.2841e-10 | -27.1664
250.621 | -2.2808e-10 | -27.1584
250.098 | -2.2813e-10 | -27.0447
249.594 | -2.2826e-10 | -26.9184
248.913 | -2.2889e-10 | -26.8843
248.367 | -2.287e-10 | -26.7869
247.943 | -2.2856e-10 | -26.6329
247.552 | -2.2884e-10 | -26.4648
247.214 | -2.2797e-10 | -26.2775
246.758 | -2.2844e-10 | -26.1541
246.348 | -2.2891e-10 | -26.0126
245.85 | -2.2879e-10 | -25.9135
245.322 | -2.2843e-10 | -25.8417
244.826 | -2.2852e-10 | -25.7497
244.255 | -2.2851e-10 | -25.6973
243.808 | -2.286e-10 | -25.5897
243.284 | -2.2851e-10 | -25.5233
242.8 | -2.2912e-10 | -25.4393
242.314 | -2.2906e-10 | -25.351
241.81 | -2.2989e-10 | -25.2782
241.474 | -2.2882e-10 | -25.1317
240.925 | -2.2781e-10 | -25.0821
240.549 | -2.2783e-10 | -24.9578
240.062 | -2.2923e-10 | -24.8848
239.612 | -2.2867e-10 | -24.7966
239.259 | -2.2944e-10 | -24.67
238.823 | -2.3065e-10 | -24.5789
238.579 | -2.299e-10 | -24.4109
238.145 | -2.2989e-10 | -24.3258
237.878 | -2.3027e-10 | -24.1727
237.462 | -2.2867e-10 | -24.0858
237.191 | -2.2914e-10 | -23.9393
236.848 | -2.3086e-10 | -23.8175
236.495 | -2.3193e-10 | -23.7126
236.261 | -2.3111e-10 | -23.5614
235.85 | -2.3125e-10 | -23.4817
235.667 | -2.3101e-10 | -23.3165
235.293 | -2.3218e-10 | -23.2252
235.111 | -2.3063e-10 | -23.0644
234.744 | -2.3146e-10 | -22.9773
234.596 | -2.3006e-10 | -22.8089
234.327 | -2.3132e-10 | -22.6906
234.098 | -2.3191e-10 | -22.5584
233.864 | -2.3171e-10 | -22.4282
233.598 | -2.3037e-10 | -22.3148
233.432 | -2.3045e-10 | -22.1683
233.103 | -2.2995e-10 | -22.0817
232.946 | -2.3042e-10 | -21.9366
232.611 | -2.3076e-10 | -21.8523
232.449 | -2.3017e-10 | -21.7109
232.078 | -2.3038e-10 | -21.6441
231.921 | -2.3079e-10 | -21.5053
231.495 | -2.2868e-10 | -21.4565
231.329 | -2.2956e-10 | -21.3252
231.06 | -2.2868e-10 | -21.2317
230.918 | -2.2957e-10 | -21.0959
230.807 | -2.2873e-10 | -20.9533
230.703 | -2.2944e-10 | -20.8136
230.567 | -2.2914e-10 | -20.6824
230.47 | -2.302e-10 | -20.5443
230.349 | -2.3032e-10 | -20.4133
230.223 | -2.2888e-10 | -20.2856
230.07 | -2.2914e-10 | -20.1677
229.969 | -2.2895e-10 | -20.0369
229.85 | -2.2984e-10 | -19.9163
229.734 | -2.288e-10 | -19.7953
229.646 | -2.2844e-10 | -19.6648
229.419 | -2.2874e-10 | -19.5791
228.975 | -2.3004e-10 | -19.559
228.786 | -2.3098e-10 | -19.4655
228.289 | -2.3062e-10 | -19.4625
228.08 | -2.2931e-10 | -19.3764
227.747 | -2.2912e-10 | -19.3277
227.545 | -2.2959e-10 | -19.243
227.266 | -2.2925e-10 | -19.1807
227.13 | -2.2875e-10 | -19.0769
227.023 | -2.2918e-10 | -18.9688
226.895 | -2.3018e-10 | -18.8657
226.528 | -2.2777e-10 | -18.8307
226.362 | -2.2831e-10 | -18.7422
226.052 | -2.2868e-10 | -18.6945
225.867 | -2.2787e-10 | -18.6138
225.686 | -2.2773e-10 | -18.5331
225.555 | -2.2904e-10 | -18.4411
225.396 | -2.3026e-10 | -18.3549
224.871 | -2.2866e-10 | -18.3661
224.607 | -2.2879e-10 | -18.3084
224.304 | -2.2803e-10 | -18.264
224.052 | -2.2823e-10 | -18.2076
223.885 | -2.2904e-10 | -18.1299
223.728 | -2.2787e-10 | -18.0507
223.591 | -2.2877e-10 | -17.9676
223.373 | -2.2744e-10 | -17.9034
222.962 | -2.2774e-10 | -17.8853
222.796 | -2.2726e-10 | -17.8127
222.509 | -2.2826e-10 | -17.769
222.351 | -2.2921e-10 | -17.6922
222.212 | -2.2827e-10 | -17.6139
222.09 | -2.2863e-10 | -17.5345
221.956 | -2.2938e-10 | -17.454
221.83 | -2.2918e-10 | -17.3768
221.692 | -2.2859e-10 | -17.3028
221.57 | -2.2818e-10 | -17.2268
221.46 | -2.2759e-10 | -17.1484
221.339 | -2.2843e-10 | -17.0737
221.213 | -2.2824e-10 | -17.0001
221.092 | -2.2832e-10 | -16.9267
220.955 | -2.2778e-10 | -16.8575
220.826 | -2.2798e-10 | -16.7876
220.697 | -2.2779e-10 | -16.7182
220.574 | -2.2767e-10 | -16.6489
220.446 | -2.2821e-10 | -16.581
220.314 | -2.2827e-10 | -16.515
220.195 | -2.2849e-10 | -16.4479
220.062 | -2.2815e-10 | -16.383
219.923 | -2.2705e-10 | -16.3199
219.784 | -2.2891e-10 | -16.2569
219.653 | -2.2804e-10 | -16.1935
219.519 | -2.2694e-10 | -16.132
219.388 | -2.278e-10 | -16.0715
219.231 | -2.2816e-10 | -16.017
219.076 | -2.2794e-10 | -15.962
218.947 | -2.2722e-10 | -15.9027
218.81 | -2.2779e-10 | -15.8421
218.671 | -2.2829e-10 | -15.7854
218.517 | -2.2817e-10 | -15.7336
218.296 | -2.276e-10 | -15.6938
218.132 | -2.2749e-10 | -15.6432
217.987 | -2.2825e-10 | -15.5911
217.784 | -2.2804e-10 | -15.5504
217.628 | -2.2808e-10 | -15.5003
217.479 | -2.2779e-10 | -15.4495
217.301 | -2.2773e-10 | -15.4044
217.135 | -2.274e-10 | -15.3578
216.96 | -2.2769e-10 | -15.3136
216.804 | -2.2782e-10 | -15.2666
216.647 | -2.2766e-10 | -15.2195
216.493 | -2.2771e-10 | -15.1717
216.333 | -2.2711e-10 | -15.1255
216.166 | -2.2782e-10 | -15.081
215.975 | -2.2713e-10 | -15.0413
215.742 | -2.2706e-10 | -15.0117
215.568 | -2.2822e-10 | -14.9704
215.329 | -2.2759e-10 | -14.9414
215.094 | -2.2746e-10 | -14.9109
214.92 | -2.2733e-10 | -14.8705
214.748 | -2.2785e-10 | -14.8307
214.559 | -2.2746e-10 | -14.7934
214.374 | -2.2709e-10 | -14.7564
214.186 | -2.2759e-10 | -14.7197
214.01 | -2.2678e-10 | -14.6825
213.821 | -2.2728e-10 | -14.6483
213.628 | -2.2728e-10 | -14.614
213.424 | -2.2634e-10 | -14.5824
213.236 | -2.2655e-10 | -14.5478
213.051 | -2.2807e-10 | -14.5115
212.864 | -2.2767e-10 | -14.4771
212.669 | -2.2703e-10 | -14.4441
212.471 | -2.2675e-10 | -14.4115
212.275 | -2.2663e-10 | -14.3795
212.072 | -2.2746e-10 | -14.3494
211.875 | -2.2612e-10 | -14.3184
211.681 | -2.2621e-10 | -14.2868
211.483 | -2.2805e-10 | -14.2557
211.265 | -2.2691e-10 | -14.2273
210.996 | -2.2724e-10 | -14.2083
210.757 | -2.2679e-10 | -14.1837
210.542 | -2.2681e-10 | -14.1561
210.32 | -2.2665e-10 | -14.1294
210.099 | -2.2594e-10 | -14.1038
209.876 | -2.2718e-10 | -14.078
209.651 | -2.2637e-10 | -14.054
209.43 | -2.2626e-10 | -14.0298
209.205 | -2.2696e-10 | -14.0055
208.979 | -2.2626e-10 | -13.9822
208.755 | -2.2789e-10 | -13.958
208.532 | -2.2721e-10 | -13.9316
208.284 | -2.2554e-10 | -13.9111
208.045 | -2.2613e-10 | -13.8907
207.81 | -2.2625e-10 | -13.8693
207.574 | -2.2647e-10 | -13.8479
207.333 | -2.2752e-10 | -13.8283
207.093 | -2.2757e-10 | -13.8083
206.855 | -2.2894e-10 | -13.7883
206.611 | -2.2754e-10 | -13.7688
206.369 | -2.2778e-10 | -13.7498
206.144 | -2.2959e-10 | -13.7292
205.904 | -2.3e-10 | -13.71
205.66 | -2.2923e-10 | -13.6916
205.42 | -2.3017e-10 | -13.673
205.183 | -2.3029e-10 | -13.6538
204.939 | -2.2902e-10 | -13.6358
204.683 | -2.3038e-10 | -13.6185
204.389 | -2.2921e-10 | -13.6075
204.106 | -2.2901e-10 | -13.5955
203.84 | -2.2851e-10 | -13.5817
203.583 | -2.2904e-10 | -13.5666
203.329 | -2.2761e-10 | -13.5509
203.072 | -2.277e-10 | -13.5357
202.814 | -2.2864e-10 | -13.5208
202.548 | -2.2914e-10 | -13.5075
202.299 | -2.2883e-10 | -13.4914
202.017 | -2.287e-10 | -13.48
201.754 | -2.3006e-10 | -13.466
201.492 | -2.2798e-10 | -13.4522
201.219 | -2.2676e-10 | -13.4404
200.92 | -2.2726e-10 | -13.432
200.612 | -2.2895e-10 | -13.4249
200.32 | -2.2806e-10 | -13.4153
200.036 | -2.2933e-10 | -13.4049
199.774 | -2.292e-10 | -13.3923
199.493 | -2.2842e-10 | -13.3818
199.208 | -2.2819e-10 | -13.3719
198.906 | -2.2606e-10 | -13.3639
198.586 | -2.2771e-10 | -13.3588
198.285 | -2.2811e-10 | -13.3514
198.009 | -2.2734e-10 | -13.3408
197.718 | -2.2833e-10 | -13.3326
197.426 | -2.2888e-10 | -13.324
197.127 | -2.2875e-10 | -13.3158
196.807 | -2.2852e-10 | -13.3096
196.508 | -2.2859e-10 | -13.3012
196.216 | -2.2794e-10 | -13.293
195.925 | -2.2822e-10 | -13.2846
195.633 | -2.2753e-10 | -13.2762
195.331 | -2.2809e-10 | -13.269
194.997 | -2.2841e-10 | -13.265
194.677 | -2.2761e-10 | -13.2609
194.353 | -2.2875e-10 | -13.2567
194.037 | -2.2825e-10 | -13.2511
193.726 | -2.282e-10 | -13.2449
193.414 | -2.2796e-10 | -13.2393
193.09 | -2.2821e-10 | -13.2356
192.77 | -2.2891e-10 | -13.2312
192.452 | -2.2853e-10 | -13.2267
192.11 | -2.2866e-10 | -13.2251
191.778 | -2.2863e-10 | -13.2221
191.461 | -2.2836e-10 | -13.2182
191.121 | -2.2888e-10 | -13.2169
190.792 | -2.2873e-10 | -13.214
190.465 | -2.2859e-10 | -13.2105
190.145 | -2.2919e-10 | -13.2067
189.797 | -2.2902e-10 | -13.2061
189.465 | -2.2832e-10 | -13.2036
189.13 | -2.2774e-10 | -13.2014
188.786 | -2.2868e-10 | -13.2007
188.396 | -2.2766e-10 | -13.2049
187.978 | -2.279e-10 | -13.2133
187.587 | -2.2877e-10 | -13.218
187.21 | -2.2932e-10 | -13.2214
186.816 | -2.2969e-10 | -13.226
186.354 | -2.2998e-10 | -13.2394
185.927 | -2.2814e-10 | -13.2482
185.538 | -2.2903e-10 | -13.2526
185.094 | -2.2858e-10 | -13.2635
184.592 | -2.2812e-10 | -13.2806
184.117 | -2.2939e-10 | -13.2951
183.651 | -2.2828e-10 | -13.3071
183.249 | -2.2918e-10 | -13.3124
182.77 | -2.2814e-10 | -13.3262
182.29 | -2.291e-10 | -13.3406
181.68 | -2.2873e-10 | -13.3698
181.128 | -2.2839e-10 | -13.3925
180.554 | -2.2789e-10 | -13.4176
179.981 | -2.2886e-10 | -13.4422
179.474 | -2.2958e-10 | -13.4597
179.014 | -2.2791e-10 | -13.4719
178.54 | -2.2891e-10 | -13.4851
178.1 | -2.2819e-10 | -13.494
177.73 | -2.2896e-10 | -13.4955
177.309 | -2.2921e-10 | -13.5019
176.909 | -2.2774e-10 | -13.5068
176.493 | -2.2803e-10 | -13.5131
176.08 | -2.2873e-10 | -13.519
175.626 | -2.2836e-10 | -13.5291
175.109 | -2.2829e-10 | -13.5461
174.528 | -2.292e-10 | -13.5699
173.921 | -2.3029e-10 | -13.5973
173.295 | -2.2791e-10 | -13.626
172.589 | -2.2801e-10 | -13.6637
171.872 | -2.2852e-10 | -13.7026
171.118 | -2.2756e-10 | -13.7451
170.329 | -2.2859e-10 | -13.7911
169.584 | -2.2899e-10 | -13.8321
168.776 | -2.2753e-10 | -13.8801
167.954 | -2.2787e-10 | -13.9292
167.133 | -2.294e-10 | -13.9776
166.262 | -2.2873e-10 | -14.0306
165.373 | -2.2831e-10 | -14.0857
164.522 | -2.2968e-10 | -14.1359
163.629 | -2.29e-10 | -14.1907
162.671 | -2.2931e-10 | -14.2518
161.765 | -2.2812e-10 | -14.3076
160.886 | -2.3088e-10 | -14.3603
160.031 | -2.2923e-10 | -14.4103
159.197 | -2.2867e-10 | -14.4578
158.363 | -2.3012e-10 | -14.5044
157.551 | -2.2855e-10 | -14.5491
156.732 | -2.2914e-10 | -14.5939
155.918 | -2.2909e-10 | -14.6383
155.061 | -2.2942e-10 | -14.6862
154.156 | -2.3017e-10 | -14.7399
153.271 | -2.2954e-10 | -14.7907
152.413 | -2.2957e-10 | -14.8375
151.688 | -2.3128e-10 | -14.871
151.023 | -2.2987e-10 | -14.8983
150.395 | -2.2964e-10 | -14.9222
149.816 | -2.3006e-10 | -14.9403
149.18 | -2.3152e-10 | -14.9638
148.486 | -2.3022e-10 | -14.9932
147.8 | -2.3e-10 | -15.0211
147.131 | -2.2976e-10 | -15.0477
146.479 | -2.2942e-10 | -15.0727
145.864 | -2.3011e-10 | -15.0927
145.195 | -2.3063e-10 | -15.119
144.499 | -2.2973e-10 | -15.1474
143.919 | -2.2911e-10 | -15.1644
143.338 | -2.299e-10 | -15.1801
142.795 | -2.291e-10 | -15.1938
142.164 | -2.2897e-10 | -15.2161
141.51 | -2.2802e-10 | -15.2403
140.818 | -2.2892e-10 | -15.2676
140.071 | -2.2978e-10 | -15.3006
139.328 | -2.2936e-10 | -15.3331
138.487 | -2.2942e-10 | -15.3742
137.585 | -2.2961e-10 | -15.4219
136.579 | -2.2915e-10 | -15.479
135.601 | -2.2929e-10 | -15.5334
134.656 | -2.2872e-10 | -15.5844
133.657 | -2.2991e-10 | -15.6399
132.709 | -2.2919e-10 | -15.691
131.751 | -2.2853e-10 | -15.7422
130.814 | -2.3081e-10 | -15.7909
129.869 | -2.3027e-10 | -15.8406
128.786 | -2.2987e-10 | -15.9029
127.512 | -2.291e-10 | -15.9829
126.193 | -2.2898e-10 | -16.066
124.769 | -2.3044e-10 | -16.1587
123.539 | -2.2946e-10 | -16.2337
122.33 | -2.2992e-10 | -16.3046
121.225 | -2.2996e-10 | -16.3669
120.104 | -2.293e-10 | -16.4306
119.049 | -2.3024e-10 | -16.4875
117.868 | -2.296e-10 | -16.5556
116.651 | -2.2978e-10 | -16.6272
115.455 | -2.288e-10 | -16.6971
114.118 | -2.3032e-10 | -16.7776
112.462 | -2.3002e-10 | -16.8876
110.779 | -2.3002e-10 | -17.0004
109.249 | -2.299e-10 | -17.0982
108.04 | -2.2952e-10 | -17.1661
107.039 | -2.2874e-10 | -17.215
106.047 | -2.2855e-10 | -17.2613
105.179 | -2.2779e-10 | -17.2972
104.132 | -2.2767e-10 | -17.3494
102.93 | -2.2916e-10 | -17.4155
101.793 | -2.2953e-10 | -17.4744
100.631 | -2.2974e-10 | -17.5359
99.5534 | -2.2836e-10 | -17.59
98.1568 | -2.292e-10 | -17.6726
96.4765 | -2.2942e-10 | -17.7799
94.3126 | -2.2979e-10 | -17.9294
92.0628 | -2.2913e-10 | -18.086
90.0194 | -2.287e-10 | -18.2219
86.9885 | -2.2929e-10 | -18.4459
84.6148 | -2.2929e-10 | -18.6108
83.4911 | -2.2851e-10 | -18.6635
82.9463 | -2.2956e-10 | -18.667
82.3858 | -2.3025e-10 | -18.671
81.9446 | -2.3001e-10 | -18.6647
81.7451 | -2.2927e-10 | -18.6376
81.6183 | -2.2983e-10 | -18.604
81.517 | -2.3023e-10 | -18.5681
81.4304 | -2.2872e-10 | -18.5315
81.4162 | -2.2939e-10 | -18.4882
81.404 | -2.2999e-10 | -18.4461
81.399 | -2.2869e-10 | -18.4035
81.389 | -2.2961e-10 | -18.3613
81.3829 | -2.2919e-10 | -18.3191
81.3232 | -2.2988e-10 | -18.2822
81.2914 | -2.2962e-10 | -18.2432
81.2434 | -2.2904e-10 | -18.2054
81.2063 | -2.2997e-10 | -18.1664
81.1451 | -2.2874e-10 | -18.1294
81.1081 | -2.2896e-10 | -18.0908
81.0864 | -2.2831e-10 | -18.0514
81.0675 | -2.2843e-10 | -18.0114
81.0388 | -2.2853e-10 | -17.9723
80.992 | -2.2901e-10 | -17.9342
80.9481 | -2.2913e-10 | -17.8962
80.908 | -2.3044e-10 | -17.8582
80.8817 | -2.2925e-10 | -17.8203
80.8612 | -2.2875e-10 | -17.7815
80.8295 | -2.2925e-10 | -17.7428
80.7884 | -2.3008e-10 | -17.7065
80.7598 | -2.2862e-10 | -17.6693
80.7075 | -2.2872e-10 | -17.6331
80.7059 | -2.2952e-10 | -17.5932

## Pulse
Temperature | Current | Time
80.7113 | -6.3126e-06 | 3.5611
80.7416 | -1.7641e-05 | 6.4428
80.7186 | -1.1694e-05 | 8.0667
80.7142 | -5.4336e-05 | 9.7049
80.7153 | -4.8051e-05 | 11.3163
80.719 | -5.0322e-05 | 12.9121
80.7367 | -5.0943e-05 | 14.5361
80.7252 | -4.9113e-05 | 16.1442
80.7223 | -5.2215e-05 | 17.7502
80.72 | -5.4771e-05 | 19.3604
80.7175 | -5.4643e-05 | 20.9941
80.7146 | -5.3572e-05 | 22.6092
80.7014 | -4.4336e-05 | 24.2383
80.7046 | -5.3983e-05 | 25.8384
80.707 | -4.3797e-05 | 27.4691
80.7031 | -3.8941e-05 | 29.0805
80.7002 | -3.4102e-05 | 30.6961
80.7002 | -3.2368e-05 | 32.3031
80.7002 | -3.0767e-05 | 33.9305
80.6878 | -3.3543e-05 | 35.5452
80.6583 | -2.4593e-05 | 37.1442
80.6237 | -2.5145e-05 | 38.7626
80.5165 | -3.1326e-05 | 40.3687
80.4621 | -2.5903e-05 | 41.9854
80.437 | -2.4214e-05 | 43.6091
80.4233 | -3.0928e-05 | 45.2201
80.4271 | -2.3029e-05 | 46.8442
80.3626 | -2.7658e-05 | 48.4363
80.4205 | -2.6275e-05 | 50.0502
80.5052 | -2.5366e-05 | 51.6767
80.5544 | -2.1465e-05 | 53.3082
80.5478 | -2.2128e-05 | 54.9334
80.5788 | -1.6268e-05 | 56.5472
80.5047 | -2.1644e-05 | 58.1455
80.5644 | -2.5201e-05 | 59.7783

## Measurements
Temperature | Current | Temp Rate
80.6444 | -2.331e-10 | 0
80.7846 | -2.3494e-10 | 8.7384
81.0563 | -2.3801e-10 | 6.1153
81.375 | -2.3997e-10 | 6.2108
81.6991 | -2.4017e-10 | 7.065
81.9679 | -2.3991e-10 | 7.8313
82.2602 | -2.3899e-10 | 8.5394
82.6123 | -2.3982e-10 | 9.4083
82.8966 | -2.4023e-10 | 10.0471
83.1992 | -2.3992e-10 | 10.5423
83.5201 | -2.3899e-10 | 11.8891
83.8582 | -2.3776e-10 | 20.9312
84.2124 | -2.3852e-10 | 37.2265
84.5766 | -2.3837e-10 | 87.0278
84.9526 | -2.3939e-10 | 141.6098
85.3385 | -2.401e-10 | 13.04
86.6067 | -2.3798e-10 | 14.5109
87.651 | -2.3718e-10 | 15.5634
88.0354 | -2.3687e-10 | 493.1429
88.4192 | -2.3631e-10 | 16.1969
88.7589 | -2.3702e-10 | 16.4829
89.1386 | -2.3796e-10 | 16.736
90.3467 | -2.3612e-10 | 17.4775
91.4482 | -2.3664e-10 | 17.9488
91.8063 | -2.3619e-10 | 18.1023
92.1628 | -2.3626e-10 | 18.2241
92.5174 | -2.3561e-10 | 18.3522
92.8686 | -2.3567e-10 | 18.5192
93.217 | -2.3639e-10 | 18.6239
93.5597 | -2.362e-10 | 18.6737
94.8192 | -2.3571e-10 | 18.9685
95.7996 | -2.3567e-10 | 19.1327
96.1229 | -2.3587e-10 | 19.1699
96.4814 | -2.3654e-10 | 19.2103
96.8037 | -2.3566e-10 | 19.2451
97.121 | -2.3692e-10 | 19.2922
97.4032 | -2.3581e-10 | 19.3222
97.7584 | -2.3668e-10 | 19.3524
98.0726 | -2.3583e-10 | 19.3788
98.3877 | -2.3632e-10 | 19.406
98.7014 | -2.3554e-10 | 19.429
99.0137 | -2.3583e-10 | 19.4499
99.3249 | -2.3542e-10 | 19.4637
99.6353 | -2.3545e-10 | 19.4813
99.946 | -2.352e-10 | 19.5022
100.254 | -2.3535e-10 | 19.5159
100.562 | -2.3533e-10 | 19.5267
100.861 | -2.3501e-10 | 19.5358
101.164 | -2.3558e-10 | 19.5456
101.467 | -2.3629e-10 | 19.5784
101.765 | -2.3572e-10 | 19.5602
102.065 | -2.3569e-10 | 19.5882
102.364 | -2.3628e-10 | 19.592
102.666 | -2.3668e-10 | 19.5985
102.962 | -2.3503e-10 | 19.5962
103.263 | -2.3587e-10 | 19.6022
103.561 | -2.3571e-10 | 19.599
103.897 | -2.3503e-10 | 19.5965
104.197 | -2.357e-10 | 19.6072
104.499 | -2.3521e-10 | 19.6114
104.8 | -2.3574e-10 | 19.6139
105.102 | -2.3492e-10 | 19.6462
105.398 | -2.3484e-10 | 19.6277
105.703 | -2.3525e-10 | 19.6371
106.006 | -2.3541e-10 | 19.6427
106.308 | -2.3568e-10 | 19.647
106.608 | -2.3503e-10 | 19.6695
106.907 | -2.3533e-10 | 19.6636
107.206 | -2.3514e-10 | 19.664
107.538 | -2.3503e-10 | 19.6631
107.839 | -2.3451e-10 | 19.6598
109.137 | -2.362e-10 | 19.6815
110.088 | -2.3485e-10 | 19.693
110.416 | -2.3452e-10 | 19.6902
110.713 | -2.3491e-10 | 19.6831
111.01 | -2.3341e-10 | 19.6829
111.31 | -2.333e-10 | 19.676
111.607 | -2.3398e-10 | 19.6939
111.907 | -2.3401e-10 | 19.6978
112.24 | -2.3268e-10 | 19.696
112.504 | -2.3351e-10 | 19.6969
112.843 | -2.3294e-10 | 19.696
113.144 | -2.3325e-10 | 19.6942
113.44 | -2.3285e-10 | 19.7103
113.739 | -2.332e-10 | 19.71
114.041 | -2.329e-10 | 19.7128
114.345 | -2.3185e-10 | 19.7218
114.644 | -2.3277e-10 | 19.7229
114.947 | -2.323e-10 | 19.7261
115.28 | -2.3285e-10 | 19.7243
115.546 | -2.3234e-10 | 19.7259
115.881 | -2.3224e-10 | 19.7287
116.151 | -2.327e-10 | 19.7317
116.488 | -2.3315e-10 | 19.7325
116.787 | -2.3345e-10 | 19.7462
117.09 | -2.3308e-10 | 19.7487
117.389 | -2.3294e-10 | 19.7489
117.69 | -2.3232e-10 | 19.75
117.989 | -2.3275e-10 | 19.7523
118.319 | -2.3347e-10 | 19.7482
118.617 | -2.3234e-10 | 19.7433
118.915 | -2.3364e-10 | 19.7559
119.214 | -2.3291e-10 | 19.7556
119.499 | -2.3225e-10 | 19.7482
119.827 | -2.3376e-10 | 19.7429
120.126 | -2.3258e-10 | 19.7423
120.424 | -2.3146e-10 | 19.7374
120.758 | -2.3134e-10 | 19.7519
121.026 | -2.3139e-10 | 19.7546
121.364 | -2.314e-10 | 19.756
121.667 | -2.3227e-10 | 19.7557
121.968 | -2.3255e-10 | 19.7563
122.271 | -2.3169e-10 | 19.7729
122.576 | -2.3277e-10 | 19.7758
122.879 | -2.3303e-10 | 19.7764
123.18 | -2.3229e-10 | 19.7773
123.515 | -2.3063e-10 | 19.7773
123.819 | -2.3269e-10 | 19.7801
124.122 | -2.3167e-10 | 19.7795
124.459 | -2.3121e-10 | 19.7804
124.728 | -2.3095e-10 | 19.7827
125.03 | -2.319e-10 | 19.8003
125.332 | -2.3253e-10 | 19.8011
125.636 | -2.3205e-10 | 19.7867
125.937 | -2.3306e-10 | 19.7993
126.274 | -2.3227e-10 | 19.8014
126.576 | -2.307e-10 | 19.8012
126.876 | -2.3241e-10 | 19.8007
127.178 | -2.3066e-10 | 19.8122
127.516 | -2.3102e-10 | 19.8111
127.811 | -2.3156e-10 | 19.8067
128.106 | -2.3138e-10 | 19.8036
128.404 | -2.3036e-10 | 19.7996
128.736 | -2.3029e-10 | 19.8103
129.033 | -2.3023e-10 | 19.8067
129.329 | -2.3077e-10 | 19.8063
129.631 | -2.2996e-10 | 19.8063
129.963 | -2.287e-10 | 19.8146
130.262 | -2.2958e-10 | 19.8113
131.499 | -2.3078e-10 | 19.8203
132.537 | -2.31e-10 | 19.8164
132.837 | -2.3146e-10 | 19.8291
133.172 | -2.3179e-10 | 19.8244
133.473 | -2.3e-10 | 19.8299
133.807 | -2.3026e-10 | 19.8247
134.109 | -2.305e-10 | 19.8353
134.409 | -2.3005e-10 | 19.8369
134.712 | -2.3045e-10 | 19.8399
135.013 | -2.3117e-10 | 19.8413
135.348 | -2.3016e-10 | 19.8376
135.683 | -2.296e-10 | 19.8385
135.983 | -2.2941e-10 | 19.8343
136.285 | -2.2982e-10 | 19.8454
136.586 | -2.2827e-10 | 19.8456
136.922 | -2.2725e-10 | 19.8407
137.222 | -2.2772e-10 | 19.8505
137.523 | -2.2741e-10 | 19.8484
137.851 | -2.2729e-10 | 19.8426
138.149 | -2.269e-10 | 19.8367
138.478 | -2.281e-10 | 19.8385
138.81 | -2.2785e-10 | 19.8446
139.107 | -2.2826e-10 | 19.8427
139.407 | -2.2769e-10 | 19.8406
139.706 | -2.2914e-10 | 19.8501
140.038 | -2.2665e-10 | 19.8448
140.338 | -2.2804e-10 | 19.841
140.638 | -2.2689e-10 | 19.8488
140.973 | -2.2641e-10 | 19.847
141.273 | -2.2669e-10 | 19.8444
142.546 | -2.2628e-10 | 19.8567
143.481 | -2.2742e-10 | 19.8493
143.852 | -2.2766e-10 | 19.8583
144.185 | -2.2756e-10 | 19.8592
144.488 | -2.2653e-10 | 19.8673
144.787 | -2.2674e-10 | 19.8571
145.089 | -2.2714e-10 | 19.8668
145.422 | -2.2744e-10 | 19.8636
145.725 | -2.2782e-10 | 19.8627
146.028 | -2.2726e-10 | 19.8606
146.362 | -2.2632e-10 | 19.8666
146.662 | -2.2666e-10 | 19.8648
146.964 | -2.2667e-10 | 19.8737
147.265 | -2.2784e-10 | 19.8717
147.601 | -2.264e-10 | 19.8687
147.901 | -2.2728e-10 | 19.8748
148.231 | -2.2697e-10 | 19.8729
148.528 | -2.2732e-10 | 19.8711
148.823 | -2.2673e-10 | 19.8701
149.122 | -2.2509e-10 | 19.8665
149.42 | -2.2651e-10 | 19.8727
149.751 | -2.2569e-10 | 19.8709
150.05 | -2.2649e-10 | 19.8666
150.382 | -2.2644e-10 | 19.8718
150.681 | -2.2463e-10 | 19.8692
150.983 | -2.2455e-10 | 19.875
151.281 | -2.2453e-10 | 19.8736
151.614 | -2.2526e-10 | 19.8717
151.916 | -2.2462e-10 | 19.8699
152.218 | -2.2417e-10 | 19.8757
152.552 | -2.2418e-10 | 19.8735
153.79 | -2.2346e-10 | 19.8821
154.828 | -2.2402e-10 | 19.8817
155.13 | -2.2426e-10 | 19.8817
155.431 | -2.232e-10 | 19.8819
155.732 | -2.2296e-10 | 19.8879
156.034 | -2.2374e-10 | 19.8847
156.369 | -2.2392e-10 | 19.8832
156.672 | -2.2332e-10 | 19.8906
157.005 | -2.2288e-10 | 19.8859
157.308 | -2.2208e-10 | 19.8857
157.642 | -2.2265e-10 | 19.8902
157.942 | -2.2292e-10 | 19.888
158.245 | -2.2315e-10 | 19.8887
158.544 | -2.2295e-10 | 19.894
158.879 | -2.2354e-10 | 19.8924
159.18 | -2.2261e-10 | 19.8904
159.483 | -2.2329e-10 | 19.8985
159.779 | -2.2174e-10 | 19.8935
160.11 | -2.233e-10 | 19.8907
160.406 | -2.2213e-10 | 19.8962
160.703 | -2.2162e-10 | 19.8936
161.036 | -2.2238e-10 | 19.8881
161.368 | -2.2097e-10 | 19.8911
161.666 | -2.2226e-10 | 19.8967
161.966 | -2.2118e-10 | 19.8949
162.3 | -2.2211e-10 | 19.8938
163.669 | -2.2127e-10 | 19.8955
164.673 | -2.2185e-10 | 19.8976
164.974 | -2.2051e-10 | 19.9017
165.307 | -2.2195e-10 | 19.8973
165.61 | -2.2161e-10 | 19.9032
165.944 | -2.2099e-10 | 19.9001
166.245 | -2.2073e-10 | 19.8995
166.546 | -2.208e-10 | 19.9049
166.88 | -2.2066e-10 | 19.9014
167.182 | -2.2026e-10 | 19.9074
167.482 | -2.2057e-10 | 19.9052
167.819 | -2.2035e-10 | 19.9019
168.119 | -2.2099e-10 | 19.9079
168.454 | -2.1893e-10 | 19.9059
168.756 | -2.2108e-10 | 19.9052
169.056 | -2.1968e-10 | 19.9041
169.357 | -2.2007e-10 | 19.9094
169.691 | -2.2025e-10 | 19.9084
169.991 | -2.1889e-10 | 19.9049
170.291 | -2.1861e-10 | 19.909
170.624 | -2.1939e-10 | 19.906
170.925 | -2.1866e-10 | 19.9118
171.258 | -2.194e-10 | 19.9092
171.557 | -2.1862e-10 | 19.9075
172.745 | -2.1906e-10 | 19.9044
173.752 | -2.1853e-10 | 19.9077
174.057 | -2.1773e-10 | 19.9062
174.396 | -2.1772e-10 | 19.9049
174.7 | -2.1743e-10 | 19.9055
175.006 | -2.1627e-10 | 19.9118
175.343 | -2.1614e-10 | 19.9105
175.642 | -2.1629e-10 | 19.9078
175.948 | -2.1528e-10 | 19.9147
176.251 | -2.156e-10 | 19.9135
176.586 | -2.1643e-10 | 19.9117
176.888 | -2.1552e-10 | 19.9165
177.19 | -2.1452e-10 | 19.9147
177.525 | -2.1506e-10 | 19.9139
177.828 | -2.1491e-10 | 19.92
178.162 | -2.1522e-10 | 19.9154
178.464 | -2.16e-10 | 19.9206
178.766 | -2.162e-10 | 19.9198
179.066 | -2.1547e-10 | 19.9184
179.401 | -2.1427e-10 | 19.9157
179.735 | -2.151e-10 | 19.9176
180.037 | -2.1423e-10 | 19.9167
180.339 | -2.1378e-10 | 19.9207
180.672 | -2.1295e-10 | 19.9187
180.974 | -2.1425e-10 | 19.9246
181.276 | -2.1327e-10 | 19.9233
181.609 | -2.1414e-10 | 19.9192
181.91 | -2.1376e-10 | 19.9236
182.247 | -2.1448e-10 | 19.9218
183.517 | -2.1348e-10 | 19.9254
184.527 | -2.1277e-10 | 19.9283
184.825 | -2.1266e-10 | 19.9244
185.123 | -2.1263e-10 | 19.9286
185.453 | -2.124e-10 | 19.9243
185.752 | -2.1292e-10 | 19.9289
186.082 | -2.1133e-10 | 19.9263
186.38 | -2.1092e-10 | 19.9281
186.712 | -2.1144e-10 | 19.9261
187.012 | -2.1175e-10 | 19.9242
187.312 | -2.1151e-10 | 19.928
187.643 | -2.1279e-10 | 19.9253
187.942 | -2.0973e-10 | 19.9284
188.275 | -2.1071e-10 | 19.9249
188.574 | -2.0985e-10 | 19.929
188.908 | -2.1025e-10 | 19.9268
189.207 | -2.0997e-10 | 19.9293
189.642 | -2.0943e-10 | 19.927
189.875 | -2.0836e-10 | 19.927
190.174 | -2.0858e-10 | 19.93
190.509 | -2.0908e-10 | 19.9284
190.811 | -2.0935e-10 | 19.9258
191.11 | -2.0834e-10 | 19.9301
191.444 | -2.0761e-10 | 19.9257
192.713 | -2.0736e-10 | 19.9335
193.715 | -2.0574e-10 | 19.9322
194.049 | -2.0695e-10 | 19.9301
194.349 | -2.0551e-10 | 19.9336
194.683 | -2.0587e-10 | 19.9298
195.017 | -2.0468e-10 | 19.9318
195.316 | -2.0487e-10 | 19.9334
195.651 | -2.0515e-10 | 19.9299
195.984 | -2.0485e-10 | 19.9332
196.286 | -2.0512e-10 | 19.9357
196.621 | -2.0395e-10 | 19.9342
196.922 | -2.0401e-10 | 19.9332
197.255 | -2.0355e-10 | 19.9342
197.554 | -2.039e-10 | 19.9369
197.89 | -2.031e-10 | 19.9349
198.222 | -2.0519e-10 | 19.9336
198.557 | -2.0439e-10 | 19.9358
198.854 | -2.0404e-10 | 19.9328
200.077 | -2.0214e-10 | 19.9365
201.109 | -2.0232e-10 | 19.9341
201.409 | -2.0171e-10 | 19.9374
201.74 | -2.0031e-10 | 19.9338
202.04 | -1.9981e-10 | 19.9325
202.343 | -2.0031e-10 | 19.9346
202.676 | -2.0041e-10 | 19.9371
203.01 | -2.0004e-10 | 19.9329
203.344 | -2.001e-10 | 19.9363
203.646 | -1.9989e-10 | 19.9389
203.979 | -1.9864e-10 | 19.9395
204.312 | -1.9925e-10 | 19.9361
204.615 | -1.9797e-10 | 19.9396
204.947 | -1.9638e-10 | 19.9375
205.248 | -1.9659e-10 | 19.9397
205.582 | -1.9666e-10 | 19.9377
205.883 | -1.9595e-10 | 19.9407
206.218 | -1.9646e-10 | 19.9373
206.519 | -1.9584e-10 | 19.9407
206.851 | -1.9584e-10 | 19.9375
208.123 | -1.9449e-10 | 19.9417
209.158 | -1.9434e-10 | 19.9403
209.457 | -1.9298e-10 | 19.9429
209.793 | -1.952e-10 | 19.9403
210.092 | -1.947e-10 | 19.9422
210.428 | -1.938e-10 | 19.9395
210.761 | -1.9387e-10 | 19.9415
211.062 | -1.9274e-10 | 19.9438
211.396 | -1.9268e-10 | 19.9413
211.697 | -1.9177e-10 | 19.9441
212.031 | -1.9118e-10 | 19.9425
212.33 | -1.9021e-10 | 19.9437
212.663 | -1.9195e-10 | 19.9399
212.998 | -1.9008e-10 | 19.9429
213.295 | -1.8962e-10 | 19.9452
213.622 | -1.8919e-10 | 19.9421
213.922 | -1.8987e-10 | 19.9446
214.253 | -1.8874e-10 | 19.9416
214.55 | -1.8703e-10 | 19.9397
215.809 | -1.8688e-10 | 19.9439
216.841 | -1.8611e-10 | 19.9414
217.141 | -1.8583e-10 | 19.9424
217.476 | -1.8491e-10 | 19.9388
217.808 | -1.8556e-10 | 19.9441
218.142 | -1.8487e-10 | 19.9415
218.441 | -1.8594e-10 | 19.9436
218.776 | -1.8672e-10 | 19.9412
219.075 | -1.8546e-10 | 19.9437
219.41 | -1.8447e-10 | 19.9452
219.746 | -1.8506e-10 | 19.9427
220.047 | -1.8361e-10 | 19.9461
220.384 | -1.8505e-10 | 19.9424
220.721 | -1.8368e-10 | 19.9462
222.002 | -1.7969e-10 | 19.948
223.044 | -1.7991e-10 | 19.9502
223.379 | -1.7919e-10 | 19.9493
223.711 | -1.7946e-10 | 19.9495
224.076 | -1.7814e-10 | 19.9493
224.376 | -1.7877e-10 | 19.9514
224.709 | -1.7753e-10 | 19.9492
225.009 | -1.7811e-10 | 19.951
225.34 | -1.7678e-10 | 19.948
225.673 | -1.755e-10 | 19.9487
225.972 | -1.7574e-10 | 19.9509
226.303 | -1.7521e-10 | 19.949
226.603 | -1.7502e-10 | 19.9516
226.936 | -1.7508e-10 | 19.9477
227.234 | -1.7264e-10 | 19.9496
228.496 | -1.7189e-10 | 19.95
229.487 | -1.6979e-10 | 19.9487
229.818 | -1.6792e-10 | 19.9484
230.151 | -1.6846e-10 | 19.9466
230.485 | -1.6799e-10 | 19.9478
230.786 | -1.6826e-10 | 19.9494
231.122 | -1.6726e-10 | 19.9499
231.459 | -1.676e-10 | 19.9483
231.793 | -1.6591e-10 | 19.9495
232.093 | -1.6611e-10 | 19.9477
232.426 | -1.6494e-10 | 19.9497
232.726 | -1.6703e-10 | 19.9508
233.06 | -1.6582e-10 | 19.9525
233.359 | -1.6557e-10 | 19.9497
233.726 | -1.6325e-10 | 19.9489
234.059 | -1.625e-10 | 19.9484
235.328 | -1.619e-10 | 19.9495
236.328 | -1.594e-10 | 19.9536
236.628 | -1.5881e-10 | 19.9513
236.962 | -1.5796e-10 | 19.9518
237.296 | -1.5803e-10 | 19.9537
237.63 | -1.5729e-10 | 19.9513
237.964 | -1.5614e-10 | 19.9509
238.298 | -1.5738e-10 | 19.9527
238.597 | -1.5616e-10 | 19.9531
238.932 | -1.5385e-10 | 19.951
239.266 | -1.5349e-10 | 19.9521
239.567 | -1.5392e-10 | 19.9535
239.902 | -1.5056e-10 | 19.955
240.235 | -1.5221e-10 | 19.9523
240.534 | -1.4955e-10 | 19.9535
240.867 | -1.5045e-10 | 19.9517
242.136 | -1.4616e-10 | 19.9533
243.138 | -1.47e-10 | 19.9558
243.471 | -1.464e-10 | 19.9535
243.839 | -1.4396e-10 | 19.9567
244.137 | -1.4201e-10 | 19.9552
244.466 | -1.426e-10 | 19.9559
244.795 | -1.4267e-10 | 19.9526
245.094 | -1.4034e-10 | 19.9542
245.425 | -1.4084e-10 | 19.9553
245.756 | -1.3722e-10 | 19.9527
246.088 | -1.379e-10 | 19.9539
246.387 | -1.3651e-10 | 19.9546
246.72 | -1.3639e-10 | 19.9516
247.053 | -1.3713e-10 | 19.9531
248.322 | -1.3279e-10 | 19.9533
249.324 | -1.2752e-10 | 19.9566
249.659 | -1.2839e-10 | 19.9529
249.993 | -1.2866e-10 | 19.9535
250.327 | -1.277e-10 | 19.954
250.628 | -1.2466e-10 | 19.9552
250.961 | -1.2375e-10 | 19.9569
251.296 | -1.229e-10 | 19.9539
251.629 | -1.2181e-10 | 19.9547
251.929 | -1.2179e-10 | 19.9558
252.263 | -1.203e-10 | 19.9568
252.596 | -1.1985e-10 | 19.9544
252.931 | -1.1939e-10 | 19.9579
253.265 | -1.1727e-10 | 19.9543
254.533 | -1.1302e-10 | 19.9587
255.535 | -1.117e-10 | 19.9576
255.869 | -1.0925e-10 | 19.9592
256.203 | -1.0861e-10 | 19.9553
256.535 | -1.052e-10 | 19.9558
256.869 | -1.0528e-10 | 19.9556
257.203 | -1.0497e-10 | 19.9563
257.537 | -1.0498e-10 | 19.9574
257.838 | -1.0222e-10 | 19.9585
258.172 | -1.022e-10 | 19.9581
258.538 | -9.9579e-11 | 19.9576
258.872 | -9.9715e-11 | 19.9581
260.139 | -9.4004e-11 | 19.9577
261.14 | -9.3396e-11 | 19.9604
261.469 | -9.208e-11 | 19.9607
261.799 | -9.8784e-11 | 19.9581
262.098 | -9.8149e-11 | 19.9596
262.429 | -9.411e-11 | 19.958
262.727 | -9.1743e-11 | 19.9583
263.059 | -9.2026e-11 | 19.9587
263.393 | -9.0667e-11 | 19.9597
263.724 | -8.8762e-11 | 19.9595
264.058 | -8.786e-11 | 19.9576
264.359 | -8.7314e-11 | 19.959
264.692 | -7.7767e-11 | 19.9594
265.024 | -7.8778e-11 | 19.9598
265.36 | -7.5209e-11 | 19.9573
266.629 | -7.1196e-11 | 19.9576
267.63 | -6.5263e-11 | 19.9611
267.964 | -7.1087e-11 | 19.959
268.265 | -7.0991e-11 | 19.9605
268.597 | -7.0605e-11 | 19.9611
268.932 | -6.9006e-11 | 19.9579
269.266 | -6.8093e-11 | 19.9593
269.566 | -6.7668e-11 | 19.9604
269.9 | -6.5266e-11 | 19.9609
270.234 | -6.2924e-11 | 19.9585
270.57 | -6.2348e-11 | 19.9582
270.935 | -6.0555e-11 | 19.9587
272.237 | -5.5028e-11 | 19.9604
273.237 | -3.8197e-11 | 19.9602
273.572 | -3.8035e-11 | 19.9597
273.904 | -3.1712e-11 | 19.9614
274.205 | -3.3593e-11 | 19.9619
274.538 | -3.1817e-11 | 19.9629
274.873 | -1.7928e-11 | 19.9605
275.208 | -1.27e-11 | 19.9611
275.541 | -1.7121e-11 | 19.9613
275.841 | -1.2637e-11 | 19.9626
276.175 | -2.4946e-11 | 19.9627
276.509 | -3.7558e-11 | 19.9638
276.84 | -3.4048e-11 | 19.9637
277.173 | -3.2884e-11 | 19.9614
278.441 | -2.2588e-11 | 19.9618
279.437 | -2.4536e-12 | 19.9625
279.767 | 2.6226e-12 | 19.9625
280.099 | 1.5267e-12 | 19.9638
280.43 | -1.2537e-11 | 19.9614
280.729 | -6.7694e-12 | 19.9625
281.06 | -4.4944e-12 | 19.9632
281.393 | 6.7687e-12 | 19.9634
281.726 | 1.5564e-11 | 19.9599
282.059 | 1.3124e-12 | 19.9595
282.392 | 6.403e-12 | 19.9596
282.727 | 4.5629e-12 | 19.9624
283.996 | 1.0963e-11 | 19.9631
285.03 | 2.4038e-11 | 19.9616
285.364 | 2.0106e-11 | 19.9625
285.665 | 1.9852e-11 | 19.963
285.998 | 2.8472e-11 | 19.9638
286.332 | 2.4203e-11 | 19.9614
286.665 | 2.7602e-11 | 19.9618
287 | 5.373e-11 | 19.9622
287.335 | 5.0204e-11 | 19.9649
287.667 | 5.037e-11 | 19.9651
288.001 | 3.7247e-11 | 19.9637
288.301 | 6.0417e-11 | 19.9639
288.635 | 3.0092e-11 | 19.9638
289.903 | 4.0488e-11 | 19.9654
290.937 | 5.7307e-11 | 19.9638
291.305 | 4.9166e-11 | 19.9639
291.64 | 5.6571e-11 | 19.9648
291.937 | 7.8697e-11 | 19.9654
292.273 | 6.5811e-11 | 19.965
292.606 | 8.6e-11 | 19.9662
292.939 | 8.8945e-11 | 19.9642
293.274 | 6.6923e-11 | 19.9645
293.607 | 8.75e-11 | 19.9649
293.907 | 6.5749e-11 | 19.9651
294.242 | 9.6274e-11 | 19.9659
295.507 | 1.1013e-10 | 19.9661
296.543 | 9.7838e-11 | 19.9666
296.876 | 1.245e-10 | 19.9662
297.208 | 1.3489e-10 | 19.967
297.542 | 1.3015e-10 | 19.9651
297.876 | 1.0107e-10 | 19.9657
298.242 | 1.0532e-10 | 19.9642
298.575 | 1.0903e-10 | 19.9645
298.906 | 1.1406e-10 | 19.9641
299.236 | 1.4631e-10 | 19.9653
299.568 | 1.1619e-10 | 19.964
300.829 | 1.5757e-10 | 19.9649
301.828 | 1.6822e-10 | 19.9668
302.163 | 1.5508e-10 | 19.9641
302.497 | 1.8504e-10 | 19.9644
302.798 | 1.8534e-10 | 19.9657
303.165 | 1.703e-10 | 19.9656
303.464 | 1.7544e-10 | 19.966
303.798 | 1.7191e-10 | 19.9666
304.133 | 2.0166e-10 | 19.9674
304.464 | 1.8777e-10 | 19.9648
304.799 | 1.6006e-10 | 19.9659
305.134 | 1.7297e-10 | 19.9655
305.467 | 1.8246e-10 | 19.9656
306.736 | 1.8061e-10 | 19.9663
307.736 | 2.0301e-10 | 19.9672
308.071 | 2.1342e-10 | 19.968
308.405 | 2.2624e-10 | 19.9657
308.738 | 2.0522e-10 | 19.9659
309.072 | 2.2302e-10 | 19.9664
309.405 | 2.2005e-10 | 19.9662
309.739 | 2.3915e-10 | 19.9667
310.074 | 2.1008e-10 | 19.9669
310.406 | 2.4296e-10 | 19.9672
310.707 | 2.4854e-10 | 19.9676
311.041 | 2.1807e-10 | 19.968
312.306 | 2.2913e-10 | 19.969
313.345 | 2.3471e-10 | 19.9674
313.677 | 2.5241e-10 | 19.967
314.01 | 2.689e-10 | 19.9689
314.343 | 2.9476e-10 | 19.969
314.676 | 2.7233e-10 | 19.9686
315.01 | 2.7739e-10 | 19.9695
315.345 | 3.0496e-10 | 19.9697
315.678 | 2.4977e-10 | 19.9674
316.011 | 2.4479e-10 | 19.97
316.345 | 2.769e-10 | 19.968
317.644 | 2.9152e-10 | 19.9684
318.58 | 2.7718e-10 | 19.9689
318.913 | 2.8615e-10 | 19.9676
319.247 | 3.2595e-10 | 19.9677
319.581 | 3.1399e-10 | 19.9704
319.913 | 3.2122e-10 | 19.9704
320.245 | 3.0558e-10 | 19.9681