## Settings
Sample Info | vr2, dot b1r, irrad., run 13, Keysight
Comments | -6/9.5/-6
Additional Comments | keysight
Major Measurement Parameters
Starting Temperature | 292.558
Initial Temperature | 80.5
Final Temperature | 320
Preliminary Voltage | -6
Pulse Voltage | 9.5
Pulse Time | 60
Wait Time | 0
Measurement Voltage | -6
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 20
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 29.3.2024
Clock | 14:48:49

## Stabilization
Temperature | Current | Temp Rate
292.169 | -3.66e-09 | 0
291.791 | -2.5734e-09 | -17.2459
291.345 | -2.374e-09 | -19.0077
290.959 | -2.3396e-09 | -18.714
290.581 | -2.1211e-09 | -18.4645
290.151 | -2.1057e-09 | -18.776
289.829 | -2.024e-09 | -18.2142
289.435 | -2.0422e-09 | -18.2175
289.019 | -2.0372e-09 | -18.3568
288.534 | -2.4138e-09 | -18.856
288.106 | -1.5329e-09 | -21.0604
287.575 | -1.6062e-09 | -26.7898
287.175 | -1.3243e-09 | -38.196
286.813 | -1.4458e-09 | -81.3161
286.319 | -1.3219e-09 | -137.3741
285.937 | -1.2129e-09 | -18.9809
285.367 | -1.2116e-09 | -19.4539
284.953 | -1.0186e-09 | -19.4579
284.526 | -1.3895e-09 | -360.9228
284.034 | -1.3628e-09 | -19.6512
283.612 | -1.3421e-09 | -19.6667
283.113 | -1.3074e-09 | -19.8514
282.656 | -1.3537e-09 | -19.915
282.242 | -1.0885e-09 | -19.8888
281.824 | -1.228e-09 | -19.8783
281.382 | -1.2243e-09 | -19.9214
280.935 | -1.2292e-09 | -19.9644
280.575 | -1.4436e-09 | -19.8564
280.096 | -1.4263e-09 | -19.9607
279.721 | -1.153e-09 | -19.8856
279.232 | -1.2256e-09 | -19.9973
278.824 | -1.1237e-09 | -19.9583
278.473 | -1.288e-09 | -19.861
277.977 | -1.3625e-09 | -19.9587
277.589 | -1.4379e-09 | -19.9044
277.059 | -1.4429e-09 | -20.0435
276.686 | -1.2908e-09 | -19.9656
276.136 | -1.3441e-09 | -20.1158
275.784 | -1.2634e-09 | -20.027
275.242 | -1.2636e-09 | -20.1625
274.837 | -1.1919e-09 | -20.1404
274.409 | -1.2035e-09 | -20.1375
273.995 | -1.2576e-09 | -20.1262
273.637 | -1.28e-09 | -20.0454
273.102 | -1.2525e-09 | -20.1671
272.736 | -1.1968e-09 | -20.0961
272.299 | -1.1966e-09 | -20.0934
271.912 | -1.3796e-09 | -20.0488
271.43 | -1.4302e-09 | -20.0991
271.029 | -1.4323e-09 | -20.074
270.49 | -1.3859e-09 | -20.1745
270.056 | -1.4136e-09 | -20.1706
269.573 | -1.4114e-09 | -20.2208
269.104 | -1.3968e-09 | -20.2492
268.752 | -1.4165e-09 | -20.1816
268.268 | -1.358e-09 | -20.2319
267.899 | -1.398e-09 | -20.1747
267.369 | -1.4268e-09 | -20.2609
266.97 | -1.4091e-09 | -20.2343
266.552 | -1.3963e-09 | -20.2204
266.087 | -1.3627e-09 | -20.2439
265.58 | -1.3626e-09 | -20.3015
265.112 | -1.4136e-09 | -20.3258
264.552 | -1.3374e-09 | -20.4155
264.087 | -1.3377e-09 | -20.4312
263.616 | -1.3175e-09 | -20.4553
263.088 | -1.3701e-09 | -20.5174
262.693 | -1.3244e-09 | -20.4874
262.201 | -1.3154e-09 | -20.5171
261.775 | -1.3122e-09 | -20.5036
261.278 | -1.285e-09 | -20.5421
260.839 | -1.2847e-09 | -20.547
260.444 | -1.2936e-09 | -20.5179
260.05 | -1.2818e-09 | -20.4876
259.634 | -1.3084e-09 | -20.478
259.245 | -1.2735e-09 | -20.4477
258.776 | -1.2925e-09 | -20.4657
258.367 | -1.076e-09 | -20.4496
257.833 | -1.0982e-09 | -20.5101
257.419 | -7.4687e-10 | -20.4936
256.88 | -7.2607e-10 | -20.5529
256.48 | -6.8258e-10 | -20.5272
255.984 | -6.7644e-10 | -20.5573
255.499 | -6.7913e-10 | -20.5784
255.058 | -6.4612e-10 | -20.5733
254.561 | -7.3608e-10 | -20.6048
254.186 | -8.1708e-10 | -20.5621
253.598 | -7.5615e-10 | -20.6414
253.229 | -7.7396e-10 | -20.6055
252.664 | -8.9903e-10 | -20.6689
252.225 | -6.6806e-10 | -20.6647
251.695 | -1.0624e-09 | -20.708
251.192 | -1.0751e-09 | -20.741
250.738 | -1.0583e-09 | -20.7426
250.176 | -1.0001e-09 | -20.7991
249.765 | -9.9047e-10 | -20.7784
249.299 | -1.0085e-09 | -20.7908
248.825 | -9.8141e-10 | -20.8022
248.451 | -9.7919e-10 | -20.7691
247.915 | -9.8222e-10 | -20.8126
247.545 | -9.6054e-10 | -20.775
247.025 | -9.3941e-10 | -20.8055
246.631 | -9.5586e-10 | -20.7825
246.198 | -9.6565e-10 | -20.774
245.719 | -9.3647e-10 | -20.79
245.261 | -9.4374e-10 | -20.7877
244.802 | -9.1743e-10 | -20.7954
244.416 | -8.9444e-10 | -20.7698
243.886 | -8.8615e-10 | -20.807
243.436 | -8.7434e-10 | -20.8045
242.932 | -8.8038e-10 | -20.8268
242.465 | -8.6602e-10 | -20.8318
241.939 | -8.5934e-10 | -20.8613
241.474 | -8.6864e-10 | -20.8711
240.982 | -8.3574e-10 | -20.8846
240.429 | -8.3505e-10 | -20.9238
239.989 | -8.0113e-10 | -20.917
239.419 | -8.1771e-10 | -20.9627
238.975 | -7.9912e-10 | -20.956
238.446 | -7.8518e-10 | -20.9847
237.975 | -7.9398e-10 | -20.9895
237.561 | -7.6204e-10 | -20.9712
237.032 | -7.5803e-10 | -20.9976
236.621 | -7.946e-10 | -20.9803
236.209 | -7.913e-10 | -20.9628
235.722 | -7.8036e-10 | -20.9757
235.362 | -7.8532e-10 | -20.9387
234.822 | -7.714e-10 | -20.9689
234.417 | -7.7956e-10 | -20.9455
233.977 | -7.5717e-10 | -20.9399
233.511 | -7.4079e-10 | -20.943
233.129 | -7.851e-10 | -20.9181
232.583 | -7.5709e-10 | -20.9496
232.193 | -7.2603e-10 | -20.9272
231.653 | -7.1821e-10 | -20.9555
231.22 | -7.3717e-10 | -20.9477
230.759 | -7.4303e-10 | -20.9514
230.254 | -7.2797e-10 | -20.9661
229.865 | -7.263e-10 | -20.9457
229.31 | -7.3649e-10 | -20.9793
228.924 | -7.8293e-10 | -20.9579
228.394 | -7.7779e-10 | -20.9824
227.936 | -7.8456e-10 | -20.9817
227.427 | -7.8168e-10 | -21.0011
226.9 | -7.6368e-10 | -21.0218
226.443 | -7.7924e-10 | -21.0196
225.887 | -7.8447e-10 | -21.0524
225.494 | -7.4253e-10 | -21.034
224.896 | -7.2908e-10 | -21.0791
224.494 | -7.5698e-10 | -21.0619
223.94 | -7.1383e-10 | -21.0919
223.493 | -6.8824e-10 | -21.0875
222.992 | -6.823e-10 | -21.0984
222.483 | -6.903e-10 | -21.1158
222.027 | -6.6334e-10 | -21.1134
221.431 | -6.3449e-10 | -21.1537
221.044 | -6.6118e-10 | -21.1321
220.52 | -6.5977e-10 | -21.1512
220.111 | -6.8123e-10 | -21.1367
217.667 | 1.1818e-13 | -21.1286
217.097 | 2.1573e-13 | -21.1569
216.695 | 1.6296e-13 | -21.1419
216.135 | 2.3073e-13 | -21.1702
215.683 | 3.1127e-13 | -21.168
215.139 | 2.5621e-13 | -21.1894
214.67 | 2.027e-13 | -21.1932
214.211 | 1.291e-13 | -21.1921
213.68 | 8.4121e-14 | -21.2129
213.197 | 3.9445e-14 | -21.2179
212.633 | 6.2543e-14 | -21.2441
212.237 | 1.016e-13 | -21.2246
211.645 | 3.4482e-13 | -21.2571
211.232 | 1.5396e-13 | -21.2397
210.668 | 9.6261e-14 | -21.2673
210.317 | 1.1568e-13 | -21.2383
209.811 | 1.5531e-12 | -21.2474
208.99 | -5.9335e-10 | -21.23
208.626 | -5.8443e-10 | -21.2051
208.163 | -5.9596e-10 | -21.2049
207.81 | -5.9805e-10 | -21.1776
207.366 | -5.7547e-10 | -21.1754
207.009 | -5.8605e-10 | -21.148
206.612 | -5.7032e-10 | -21.1308
206.197 | -5.795e-10 | -21.1165
205.818 | -5.8619e-10 | -21.0956
205.407 | -5.7484e-10 | -21.0815
205.076 | -5.6141e-10 | -21.0482
204.695 | -5.7752e-10 | -21.0294
204.318 | -5.738e-10 | -21.0101
203.956 | -5.6766e-10 | -20.9858
203.574 | -5.7228e-10 | -20.9665
203.211 | -5.5219e-10 | -20.9428
202.871 | -5.6726e-10 | -20.9104
202.512 | -5.4703e-10 | -20.8875
202.236 | -5.5182e-10 | -20.8426
201.92 | -5.4875e-10 | -20.8091
201.649 | -5.4917e-10 | -20.7656
201.341 | -5.4537e-10 | -20.7292
201.027 | -5.4396e-10 | -20.6969
200.795 | -5.3024e-10 | -20.6461
200.47 | -5.3006e-10 | -20.6167
200.285 | -5.3565e-10 | -20.5564
199.917 | -5.2764e-10 | -20.5391
199.785 | -5.328e-10 | -20.469
199.388 | -5.1173e-10 | -20.4571
199.235 | -5.1867e-10 | -20.3907
198.855 | -5.202e-10 | -20.3748
198.76 | -5.2317e-10 | -20.2975
198.371 | -5.1903e-10 | -20.2839
198.26 | -5.2976e-10 | -20.213
197.988 | -5.1095e-10 | -20.1776
197.856 | -5.1217e-10 | -20.1096
197.637 | -5.0729e-10 | -20.0613
197.354 | -5.0552e-10 | -20.0272
197.228 | -4.9975e-10 | -19.9604
196.9 | -5.0398e-10 | -19.9378
196.829 | -4.9588e-10 | -19.8611
196.404 | -4.9839e-10 | -19.8577
196.279 | -4.972e-10 | -19.7952
195.963 | -4.926e-10 | -19.7702
195.754 | -4.6907e-10 | -19.7255
195.593 | -4.7668e-10 | -19.6716
195.279 | -4.8319e-10 | -19.6459
195.243 | -4.8102e-10 | -19.5634
194.914 | -4.8366e-10 | -19.5436
194.878 | -4.8654e-10 | -19.4631
194.647 | -4.8436e-10 | -19.4244
194.442 | -4.812e-10 | -19.3784
194.422 | -4.7722e-10 | -19.2986
194.102 | -4.5325e-10 | -19.2768
194.109 | -4.5881e-10 | -19.1898
193.874 | -4.5065e-10 | -19.1525
193.745 | -4.4311e-10 | -19.0931
193.628 | -4.6437e-10 | -19.0325
193.308 | -4.4965e-10 | -19.0134
193.28 | -4.3729e-10 | -18.9378
193.015 | -4.5501e-10 | -18.9077
192.969 | -4.3825e-10 | -18.8346
192.821 | -4.3794e-10 | -18.7827
192.687 | -4.421e-10 | -18.7295
192.714 | -4.3354e-10 | -18.6445
192.524 | -4.2451e-10 | -18.6029
192.575 | -4.3095e-10 | -18.5157
192.348 | -4.2046e-10 | -18.4829
192.346 | -4.3098e-10 | -18.4073
192.303 | -4.273e-10 | -18.3406
192.155 | -4.2428e-10 | -18.2919
192.205 | -4.2066e-10 | -18.2091
192.123 | -4.2735e-10 | -18.1495
192.188 | -4.0827e-10 | -18.0639
192.272 | -4.2121e-10 | -17.9755
192.353 | -4.2406e-10 | -17.8889
192.433 | -4.2464e-10 | -17.8035
192.527 | -4.4113e-10 | -17.7162
192.612 | -4.2148e-10 | -17.6306
192.704 | -4.2789e-10 | -17.5435
192.792 | -4.1905e-10 | -17.4587
192.889 | -4.2178e-10 | -17.3739
192.977 | -4.2214e-10 | -17.2904
193.077 | -4.2639e-10 | -17.2058
193.168 | -4.1041e-10 | -17.122
193.269 | -4.0863e-10 | -17.0384
193.151 | -4.103e-10 | -16.9929
193.174 | -4.0594e-10 | -16.924
193.099 | -4.0413e-10 | -16.873
193.066 | -4.1222e-10 | -16.8149
193.042 | -4.0765e-10 | -16.7556
192.837 | -4.1771e-10 | -16.7272
192.88 | -4.28e-10 | -16.6585
192.716 | -4.2468e-10 | -16.6227
192.678 | -4.1954e-10 | -16.5668
192.574 | -4.2348e-10 | -16.5218
192.353 | -4.3636e-10 | -16.4985
192.377 | -4.1579e-10 | -16.4334
192.208 | -4.0712e-10 | -16.4012
192.204 | -4.1276e-10 | -16.3428
192.256 | -4.204e-10 | -16.2758
192.301 | -4.1624e-10 | -16.2086
192.331 | -4.1758e-10 | -16.1443
192.395 | -4.0793e-10 | -16.0741
192.459 | -4.22e-10 | -16.0073
192.52 | -4.1195e-10 | -15.9406
192.583 | -4.1154e-10 | -15.8748
192.644 | -3.9993e-10 | -15.8096
192.681 | -4.0833e-10 | -15.7481
192.726 | -4.1074e-10 | -15.6864
192.775 | -4.1757e-10 | -15.6236
192.524 | -4.1176e-10 | -15.6085
192.542 | -4.1771e-10 | -15.5515
192.417 | -4.0458e-10 | -15.5176
192.171 | -4.036e-10 | -15.5022
192.164 | -4.1007e-10 | -15.4506
192.031 | -4.1055e-10 | -15.4179
191.94 | -4.113e-10 | -15.3789
191.965 | -4.1692e-10 | -15.3227
191.99 | -4.0801e-10 | -15.2659
192.046 | -1.1118e-11 | -15.1622
192.075 | -9.684e-12 | -15.1068
192.1 | -8.275e-12 | -15.0532
192.132 | -7.3858e-12 | -14.9979
192.166 | -6.5656e-12 | -14.9405
192.186 | -5.7834e-12 | -14.8881
192.218 | -5.2282e-12 | -14.8338
192.247 | -4.7578e-12 | -14.7808
192.278 | -4.4089e-12 | -14.7284
192.311 | -4.04e-12 | -14.6763
192.338 | -3.7198e-12 | -14.6249
192.366 | -3.5167e-12 | -14.573
192.392 | -3.2833e-12 | -14.5217
192.415 | -3.0587e-12 | -14.4715
192.435 | -2.9411e-12 | -14.4213
192.458 | -2.7827e-12 | -14.3718
192.479 | -2.6117e-12 | -14.3232
192.503 | -2.4606e-12 | -14.2729
192.523 | -2.2978e-12 | -14.2248
192.542 | -2.3315e-12 | -14.1753
192.56 | -2.2186e-12 | -14.1284
192.572 | -2.1206e-12 | -14.0824
192.564 | -1.9853e-12 | -14.0386
192.58 | -1.9071e-12 | -13.9911
192.589 | -1.7887e-12 | -13.9457
192.603 | -1.7831e-12 | -13.9011
192.614 | -1.7148e-12 | -13.856
192.624 | -1.6634e-12 | -13.8119
192.63 | -1.6161e-12 | -13.7692
192.633 | -1.566e-12 | -13.7262
192.634 | -1.5127e-12 | -13.6836
192.634 | -1.5688e-12 | -13.642
192.629 | -1.4174e-12 | -13.6012
192.622 | -1.531e-12 | -13.5607
192.62 | -1.3908e-12 | -13.5198
192.586 | -1.3049e-12 | -13.4844
192.549 | -1.3268e-12 | -13.4486
192.537 | -1.2514e-12 | -13.4106
192.469 | -1.2155e-12 | -13.3796
192.456 | -1.1176e-12 | -13.3418
192.363 | -9.6948e-13 | -13.3141
192.345 | -1.158e-12 | -13.2772
192.328 | -1.1076e-12 | -13.2408
192.301 | -1.061e-12 | -13.2047
192.258 | -1.0843e-12 | -13.1717
192.225 | -1.0378e-12 | -13.1371
192.195 | -1.012e-12 | -13.1023
192.144 | -9.7873e-13 | -13.0704
192.083 | -9.276e-13 | -13.0399
192.048 | -9.6549e-13 | -13.0066
191.867 | -8.8284e-13 | -12.865
191.805 | -8.6125e-13 | -12.8366
191.758 | -8.3649e-13 | -12.8061
191.713 | -8.2619e-13 | -12.7755
191.667 | -8.521e-13 | -12.7453
191.619 | -8.1754e-13 | -12.7152
191.572 | -7.6211e-13 | -12.685
191.518 | -7.2792e-13 | -12.6558
191.468 | -6.9147e-13 | -12.6258
191.414 | -6.7099e-13 | -12.5973
191.36 | -6.6244e-13 | -12.5681
191.308 | -6.4328e-13 | -12.5392
191.251 | -6.3453e-13 | -12.5116
191.195 | -6.3677e-13 | -12.4845
191.14 | -6.2007e-13 | -12.4564
191.077 | -6.1121e-13 | -12.4301
191.018 | -5.8668e-13 | -12.4033
190.958 | -5.746e-13 | -12.3767
190.9 | -5.698e-13 | -12.3496
190.834 | -5.5835e-13 | -12.3233
190.77 | -5.467e-13 | -12.2973
190.696 | -5.4993e-13 | -12.2732
190.603 | -5.1358e-13 | -12.2512
190.452 | -5.3062e-13 | -12.2362
190.38 | -5.2115e-13 | -12.212
190.306 | -4.995e-13 | -12.1876
190.231 | -5.1466e-13 | -12.1635
190.149 | -5.1856e-13 | -12.1409
190.069 | -5.0779e-13 | -12.1179
189.982 | -4.9638e-13 | -12.0955
189.902 | -4.7825e-13 | -12.0731
189.815 | -4.5801e-13 | -12.0512
189.724 | -4.4255e-13 | -12.0299
189.637 | -4.286e-13 | -12.0086
189.438 | -3.9211e-10 | -11.9646
189.335 | -3.8231e-10 | -11.9448
189.218 | -3.7722e-10 | -11.9274
189.123 | -3.9794e-10 | -11.9077
189.021 | -4.0091e-10 | -11.8884
188.926 | -3.9733e-10 | -11.869
188.823 | -3.9617e-10 | -11.8503
188.725 | -3.8877e-10 | -11.8313
188.626 | -3.8982e-10 | -11.8121
188.512 | -3.9001e-10 | -11.795
188.403 | -3.8022e-10 | -11.7769
188.292 | -3.8798e-10 | -11.7599
188.181 | -3.8421e-10 | -11.7424
188.061 | -3.8544e-10 | -11.7264
187.949 | -3.8016e-10 | -11.7088
187.833 | -3.9042e-10 | -11.6928
187.723 | -3.8877e-10 | -11.6758
187.604 | -3.7709e-10 | -11.6597
187.493 | -3.7388e-10 | -11.6431
187.371 | -3.7472e-10 | -11.6265
187.25 | -3.754e-10 | -11.6098
187.126 | -3.7561e-10 | -11.5947
187.007 | -3.8606e-10 | -11.5788
186.868 | -3.7927e-10 | -11.5658
186.715 | -3.7841e-10 | -11.5539
186.581 | -3.752e-10 | -11.5401
186.458 | -3.6166e-10 | -11.5252
186.323 | -3.7417e-10 | -11.5117
186.199 | -3.8378e-10 | -11.4974
186.06 | -3.7069e-10 | -11.4833
185.918 | -3.8419e-10 | -11.4704
185.783 | -3.878e-10 | -11.4569
185.636 | -3.8278e-10 | -11.4451
185.483 | -3.7414e-10 | -11.4336
185.304 | -3.8454e-10 | -11.4251
185.151 | -3.8209e-10 | -11.4136
185.009 | -3.828e-10 | -11.4013
184.855 | -3.8446e-10 | -11.3901
184.698 | -3.7471e-10 | -11.3792
184.547 | -3.7374e-10 | -11.3686
184.391 | -3.5936e-10 | -11.3578
184.224 | -3.6753e-10 | -11.3479
184.057 | -3.6657e-10 | -11.3384
183.897 | -3.6849e-10 | -11.3285
183.72 | -3.6556e-10 | -11.3208
183.558 | -3.5397e-10 | -11.3112
183.38 | -3.6239e-10 | -11.3028
183.211 | -3.6766e-10 | -11.2938
183.032 | -3.6386e-10 | -11.285
182.853 | -3.7111e-10 | -11.2768
182.666 | -3.7267e-10 | -11.2693
182.472 | -3.7193e-10 | -11.2628
182.29 | -3.7952e-10 | -11.2555
182.092 | -3.6334e-10 | -11.2495
181.887 | -3.6009e-10 | -11.2439
181.701 | -3.6044e-10 | -11.2372
181.502 | -3.6335e-10 | -11.2317
181.314 | -3.5101e-10 | -11.2248
181.111 | -3.497e-10 | -11.2199
180.909 | -3.4256e-10 | -11.2144
180.713 | -3.3865e-10 | -11.2081
180.497 | -3.4063e-10 | -11.2043
180.289 | -3.3708e-10 | -11.2001
180.051 | -3.3484e-10 | -11.1983
179.805 | -3.4084e-10 | -11.1975
179.593 | -3.3693e-10 | -11.193
179.368 | -3.389e-10 | -11.1904
179.154 | -3.4336e-10 | -11.1868
178.909 | -3.4914e-10 | -11.1861
178.577 | -3.3972e-10 | -11.1936
178.206 | -3.428e-10 | -11.2049
177.874 | -3.403e-10 | -11.2123
177.622 | -3.3489e-10 | -11.212
177.394 | -3.3575e-10 | -11.2094
177.151 | -3.3694e-10 | -11.2078
176.906 | -3.3724e-10 | -11.207
176.652 | -3.3224e-10 | -11.2067
176.407 | -3.3383e-10 | -11.2059
176.096 | -3.3386e-10 | -11.2114
175.808 | -3.3641e-10 | -11.2148
175.515 | -3.3422e-10 | -11.219
175.273 | -3.3498e-10 | -11.2181
175.015 | -3.337e-10 | -11.2187
174.777 | -3.3196e-10 | -11.2171
174.518 | -3.2809e-10 | -11.2172
174.253 | -3.2742e-10 | -11.2168
173.987 | -3.2646e-10 | -11.2179
173.733 | -3.2085e-10 | -11.2182
173.395 | -3.1663e-10 | -11.2257
172.952 | -3.2053e-10 | -11.2436
172.56 | -3.2557e-10 | -11.2564
172.204 | -3.2266e-10 | -11.2658
171.888 | -3.2575e-10 | -11.2716
171.497 | -3.174e-10 | -11.2844
171.025 | -3.0902e-10 | -11.3045
170.634 | -3.1541e-10 | -11.3169
170.294 | -3.1082e-10 | -11.3247
169.998 | -3.0308e-10 | -11.3282
169.727 | -3.0778e-10 | -11.3291
169.438 | -3.0672e-10 | -11.3321
169.14 | -3.0729e-10 | -11.3354
168.781 | -3.1063e-10 | -11.3445
168.375 | -2.997e-10 | -11.3581
167.856 | -3.0266e-10 | -11.382
167.385 | -2.9994e-10 | -11.4013
166.944 | -2.9996e-10 | -11.4176
166.383 | -3.0419e-10 | -11.4449
165.829 | -2.8998e-10 | -11.4711
165.245 | -2.9777e-10 | -11.5006
164.66 | -2.9937e-10 | -11.5301
163.984 | -3.0194e-10 | -11.5671
163.206 | -3.0408e-10 | -11.6134
162.439 | -2.902e-10 | -11.6583
161.483 | -3.0392e-10 | -11.7191
160.699 | -2.9915e-10 | -11.7648
160.093 | -2.8092e-10 | -11.7953
159.492 | -2.9374e-10 | -11.8248
158.889 | -2.8572e-10 | -11.8542
158.459 | -2.7782e-10 | -11.8684
158.029 | -2.7889e-10 | -11.8816
157.669 | -2.7335e-10 | -11.8896
157.292 | -2.6996e-10 | -11.8991
156.93 | -2.7626e-10 | -11.9069
156.621 | -2.7017e-10 | -11.9099
156.188 | -2.6695e-10 | -11.9244
155.728 | -2.6858e-10 | -11.9411
155.344 | -2.6785e-10 | -11.9506
155.016 | -2.6272e-10 | -11.955
154.693 | -2.5981e-10 | -11.9591
154.349 | -2.6017e-10 | -11.9656
154.039 | -2.6149e-10 | -11.9685
153.727 | -2.5382e-10 | -11.9721
153.405 | -2.4588e-10 | -11.9765
153.11 | -2.5513e-10 | -11.9783
152.771 | -2.4499e-10 | -11.984
152.427 | -2.4662e-10 | -11.9898
152.135 | -2.4935e-10 | -11.9914
151.823 | -2.4312e-10 | -11.9947
151.493 | -2.378e-10 | -11.9993
151.181 | -2.3782e-10 | -12.0031
150.863 | -2.2038e-10 | -12.0072
150.574 | -2.3735e-10 | -12.0088
150.249 | -2.3087e-10 | -12.0134
149.917 | -2.3008e-10 | -12.0183
149.609 | -2.2873e-10 | -12.0211
149.271 | -2.3357e-10 | -12.0263
148.954 | -2.3284e-10 | -12.0298
148.661 | -2.3739e-10 | -12.0316
148.353 | -2.3094e-10 | -12.0346
148.043 | -2.2528e-10 | -12.0372
147.757 | -2.2359e-10 | -12.0381
147.445 | -2.2526e-10 | -12.0407
147.133 | -2.2828e-10 | -12.0433
146.813 | -2.2477e-10 | -12.0473
146.509 | -2.2396e-10 | -12.0496
146.23 | -2.2168e-10 | -12.0504
145.924 | -2.1956e-10 | -12.0529
145.644 | -2.1856e-10 | -12.0537
145.344 | -2.1572e-10 | -12.056
145.051 | -2.1242e-10 | -12.0573
144.783 | -2.1131e-10 | -12.0565
144.497 | -2.1568e-10 | -12.0573
144.21 | -2.1147e-10 | -12.0584
143.93 | -2.1539e-10 | -12.0588
143.679 | -2.2208e-10 | -12.057
143.411 | -2.0976e-10 | -12.0562
143.144 | -2.1133e-10 | -12.0558
142.894 | -2.1402e-10 | -12.0537
142.625 | -2.0956e-10 | -12.0534
142.379 | -2.0898e-10 | -12.0514
142.112 | -2.0568e-10 | -12.051
141.835 | -2.0085e-10 | -12.051
141.555 | -2.0445e-10 | -12.0511
141.258 | -1.9863e-10 | -12.053
140.976 | -1.9274e-10 | -12.0534
140.678 | -1.9594e-10 | -12.0552
140.374 | -1.9586e-10 | -12.0563
139.871 | -1.8741e-10 | -12.0561
139.592 | -1.8979e-10 | -12.0561
139.303 | -1.8655e-10 | -12.0575
139.048 | -1.8797e-10 | -12.0561
138.766 | -1.859e-10 | -12.056
138.486 | -1.8657e-10 | -12.0565
138.191 | -1.8442e-10 | -12.0579
137.882 | -1.8406e-10 | -12.0601
137.599 | -1.8521e-10 | -12.0611
137.298 | -1.8372e-10 | -12.0633
137.018 | -1.8203e-10 | -12.0639
136.543 | -1.715e-10 | -12.0792
136.085 | -1.7822e-10 | -12.0932
135.737 | -1.7826e-10 | -12.0989
135.396 | -1.7776e-10 | -12.1035
134.921 | -1.7515e-10 | -12.1188
134.328 | -1.7637e-10 | -12.1425
133.702 | -1.7403e-10 | -12.1694
133.187 | -1.7379e-10 | -12.1874
132.745 | -1.7472e-10 | -12.1999
131.965 | -1.7198e-10 | -12.2383
130.772 | -1.7137e-10 | -12.3077
129.424 | -1.6998e-10 | -12.3893
127.877 | -1.7124e-10 | -12.485
126.235 | -1.6815e-10 | -12.5873
124.434 | -1.6672e-10 | -12.7018
122.693 | -1.7272e-10 | -12.8108
121.186 | -1.684e-10 | -12.902
119.951 | -1.6552e-10 | -12.9732
118.703 | -1.6378e-10 | -13.0448
117.212 | -1.605e-10 | -13.1338
115.705 | -1.5917e-10 | -13.2238
114.398 | -1.563e-10 | -13.2982
113.211 | -1.553e-10 | -13.3643
111.655 | -1.5612e-10 | -13.4574
109.573 | -1.5211e-10 | -13.5886
107.094 | -1.4736e-10 | -13.7492
104.233 | -1.4763e-10 | -13.9379
101.161 | -1.4301e-10 | -14.1414
97.7916 | -1.3958e-10 | -14.3663
95.0055 | -1.3603e-10 | -14.5475
93.8697 | -1.3539e-10 | -14.6064
93.2031 | -1.3266e-10 | -14.6309
89.2535 | -1.2902e-10 | -14.8963
85.7333 | -1.261e-10 | -15.1293
84.3431 | -1.2244e-10 | -15.2057
83.2406 | -1.2072e-10 | -15.26
82.8209 | -1.1641e-10 | -15.2652
82.4586 | -1.1544e-10 | -15.2658
82.0567 | -1.1315e-10 | -15.2691
81.9116 | -1.0878e-10 | -15.2538
81.8824 | -1.0633e-10 | -15.2308
81.8476 | -1.0038e-10 | -15.2074
81.8214 | -1.0208e-10 | -15.1832
81.7945 | -1.0087e-10 | -15.16
81.7571 | -9.7826e-11 | -15.1373
81.6989 | -9.6143e-11 | -15.1157
81.6663 | -9.5357e-11 | -15.0929
81.6183 | -9.2736e-11 | -15.0704
81.5771 | -9.0485e-11 | -15.0484
81.5286 | -8.9455e-11 | -15.0266
81.467 | -8.713e-11 | -15.0055
81.4412 | -8.6088e-11 | -14.9826
81.3876 | -8.3998e-11 | -14.9612
81.3481 | -8.3781e-11 | -14.9391
81.3317 | -8.4053e-11 | -14.915
81.3096 | -8.3712e-11 | -14.892
81.2758 | -8.241e-11 | -14.8696
81.2448 | -8.0733e-11 | -14.8475
81.2071 | -8.0698e-11 | -14.8261
81.1617 | -8.1256e-11 | -14.8052
81.1188 | -8.2109e-11 | -14.7838
81.0558 | -7.9884e-11 | -14.7646
81.0036 | -7.9545e-11 | -14.7431
80.9716 | -7.8797e-11 | -14.7215
80.9424 | -7.8156e-11 | -14.6995
80.9182 | -7.8409e-11 | -14.6776
80.8693 | -7.8554e-11 | -14.6557
80.841 | -7.8403e-11 | -14.6343
80.8167 | -7.7363e-11 | -14.6121
80.7966 | -7.6477e-11 | -14.5902
80.7933 | -7.6473e-11 | -14.5666
80.8029 | -7.5253e-11 | -14.5426
80.7913 | -7.3846e-11 | -14.5194

## Pulse
Temperature | Current | Time
80.7985 | 1.0528e-09 | 1.9156
80.8095 | 1.0719e-09 | 3.3323
80.8016 | 1.14e-09 | 4.75
80.8042 | 1.1029e-09 | 6.1607
80.8139 | 1.2684e-09 | 7.5611
80.8155 | 1.1523e-09 | 8.9486
80.8189 | 1.187e-09 | 10.3536
80.7904 | 1.1885e-09 | 11.8115
80.7956 | 1.1946e-09 | 13.1932
80.8008 | 1.1183e-09 | 14.5778
80.7835 | 1.136e-09 | 15.9862
80.7961 | 1.1101e-09 | 17.3866
80.8225 | 1.0778e-09 | 18.7814
80.8199 | 1.1231e-09 | 20.1712
80.7988 | 1.0839e-09 | 21.559
80.7841 | 1.1455e-09 | 22.9456
80.7477 | 1.1698e-09 | 24.3276
80.729 | 1.1482e-09 | 25.7127
80.721 | 1.1764e-09 | 27.1125
80.6864 | 1.2057e-09 | 28.4957
80.6453 | 1.2068e-09 | 29.892
80.5965 | 1.1944e-09 | 31.3009
80.5525 | 1.2124e-09 | 32.7057
80.5305 | 1.2576e-09 | 34.1119
80.5032 | 1.2898e-09 | 35.4976
80.4706 | 1.2709e-09 | 36.8973
80.4537 | 1.2952e-09 | 38.3066
80.4348 | 1.2282e-09 | 39.6909
80.4411 | 1.1709e-09 | 41.0808
80.4558 | 1.1775e-09 | 42.469
80.4456 | 1.1771e-09 | 43.863
80.4492 | 1.2681e-09 | 45.262
80.4506 | 1.3094e-09 | 46.6591
80.4564 | 1.3021e-09 | 48.0192
80.4492 | 1.2902e-09 | 49.4042
80.4267 | 1.3355e-09 | 50.8066
80.4185 | 1.3049e-09 | 52.2047
80.4061 | 1.2825e-09 | 53.5834
80.385 | 1.2731e-09 | 54.9688
80.3659 | 1.2623e-09 | 56.371
80.3482 | 1.2779e-09 | 57.7496
80.3295 | 1.2919e-09 | 59.137

## Measurements
Temperature | Current | Temp Rate
80.3022 | -8.354e-11 | 0
80.4079 | -8.5009e-11 | 1.2228
80.7272 | -8.3603e-11 | 3.0462
81.0173 | -8.5672e-11 | 4.0626
81.3021 | -8.6748e-11 | 5.0174
81.6983 | -8.6127e-11 | 6.1735
81.9284 | -8.7371e-11 | 7.03
82.3801 | -8.6723e-11 | 8.2016
82.6998 | -8.7514e-11 | 9.2848
83.1104 | -8.7437e-11 | 10.4381
83.5536 | -8.9161e-11 | 16.4502
84.7877 | -9.1074e-11 | 31.8808
85.8317 | -8.9415e-11 | 48.9273
86.237 | -9.0926e-11 | 78.5671
86.5787 | -8.9605e-11 | 286.1114
86.964 | -9.0099e-11 | 16.5252
87.332 | -8.9866e-11 | 16.865
88.6145 | -9.0826e-11 | 18.0467
89.5672 | -9.4351e-11 | 263.2655
89.871 | -9.4358e-11 | 18.8961
90.1268 | -9.5384e-11 | 19.0782
90.542 | -9.7576e-11 | 19.2072
90.7854 | -9.6657e-11 | 19.3517
91.0702 | -9.6383e-11 | 19.4655
91.345 | -9.7488e-11 | 19.5083
91.6964 | -9.5778e-11 | 19.6477
91.9634 | -9.7804e-11 | 19.6654
92.3044 | -9.9368e-11 | 19.7658
92.5671 | -9.9824e-11 | 19.8389
92.9386 | -9.9486e-11 | 19.8702
93.1557 | -9.9803e-11 | 19.9235
93.4837 | -9.9233e-11 | 19.9527
93.729 | -9.9984e-11 | 19.9907
94.0771 | -1.0322e-10 | 19.9838
94.3864 | -1.055e-10 | 20.0296
94.6923 | -1.054e-10 | 20.0235
94.9331 | -1.0734e-10 | 20.0066
95.2398 | -1.0658e-10 | 20.0426
95.5755 | -1.0908e-10 | 20.0378
95.8808 | -1.0993e-10 | 20.0668
96.184 | -1.0903e-10 | 20.0547
96.5199 | -1.0841e-10 | 20.0351
96.754 | -1.0882e-10 | 20.0436
97.0546 | -1.0793e-10 | 20.0613
97.3882 | -1.0326e-10 | 20.034
97.6896 | -1.0388e-10 | 20.0598
98.0523 | -1.0367e-10 | 19.9563
98.4212 | -1.0372e-10 | 19.9886
98.6535 | -1.0344e-10 | 20.032
98.8518 | -1.039e-10 | 20.0396
99.1848 | -1.0304e-10 | 20.052
99.5173 | -1.0511e-10 | 20.0246
99.7155 | -1.0582e-10 | 20.0396
100.048 | -1.0704e-10 | 20.0504
100.38 | -1.0515e-10 | 20.0475
100.673 | -1.0524e-10 | 20.0278
100.899 | -1.0539e-10 | 20.0267
101.291 | -1.0696e-10 | 20.0084
101.52 | -1.0731e-10 | 20.0172
101.844 | -1.0931e-10 | 19.986
102.174 | -1.0974e-10 | 19.979
102.502 | -1.0978e-10 | 19.9874
102.7 | -1.1089e-10 | 19.9892
103.13 | -1.1179e-10 | 19.9844
103.33 | -1.1141e-10 | 19.9935
103.661 | -1.1238e-10 | 19.9792
103.961 | -9.9629e-11 | 19.9972
104.293 | -9.5007e-11 | 19.9758
104.591 | -9.6758e-11 | 19.9851
104.925 | -9.6746e-11 | 19.9738
105.125 | -9.7297e-11 | 19.9805
105.459 | -9.7002e-11 | 19.9938
105.793 | -9.8306e-11 | 19.9909
106.027 | -9.897e-11 | 19.9935
106.36 | -1.2155e-10 | 19.979
106.659 | -9.8446e-11 | 19.9932
106.961 | -8.4129e-11 | 19.9813
107.295 | -9.054e-11 | 19.9877
107.53 | -9.2086e-11 | 19.9978
107.864 | -9.0878e-11 | 19.9775
108.198 | -9.0727e-11 | 19.9887
108.399 | -9.206e-11 | 19.993
108.733 | -9.2906e-11 | 19.9795
109.065 | -9.4768e-11 | 19.9835
109.36 | -9.5599e-11 | 19.9868
109.688 | -9.4168e-11 | 19.986
109.918 | -9.4304e-11 | 19.9847
110.248 | -9.5896e-11 | 19.9707
110.546 | -9.4971e-11 | 19.9797
110.878 | -9.5878e-11 | 19.9853
111.209 | -9.5455e-11 | 19.9668
111.444 | -9.2828e-11 | 19.9717
111.743 | -9.7399e-11 | 19.9752
112.075 | -1.0213e-10 | 19.9787
112.31 | -9.9634e-11 | 19.9811
112.645 | -9.9404e-11 | 19.9721
112.944 | -9.7848e-11 | 19.975
113.278 | -9.9726e-11 | 19.9785
113.513 | -1.0075e-10 | 19.982
113.848 | -1.0143e-10 | 19.989
114.184 | -1.0228e-10 | 19.9742
114.484 | -1.0163e-10 | 19.9789
114.753 | -9.7526e-11 | 19.9815
115.053 | -9.9263e-11 | 19.9889
115.388 | -9.9178e-11 | 19.9901
115.623 | -1.0136e-10 | 19.9943
115.959 | -1.0138e-10 | 19.9816
116.294 | -1.0111e-10 | 19.985
116.629 | -1.03e-10 | 19.9856
116.83 | -1.0312e-10 | 19.9906
117.166 | -1.074e-10 | 20.0004
117.499 | -1.0557e-10 | 19.9848
117.733 | -1.0417e-10 | 19.9834
118.068 | -1.0516e-10 | 19.9886
118.363 | -1.046e-10 | 19.9946
118.692 | -1.0514e-10 | 19.9932
118.923 | -1.0707e-10 | 19.9941
119.253 | -1.0566e-10 | 19.9842
119.552 | -1.089e-10 | 19.9937
119.885 | -1.0539e-10 | 19.9797
120.182 | -1.0334e-10 | 19.9849
120.415 | -1.0051e-10 | 19.9886
120.748 | -1.004e-10 | 19.9907
121.084 | -1.0079e-10 | 19.9885
121.318 | -9.9512e-11 | 19.9897
121.652 | -9.9613e-11 | 19.9948
121.952 | -9.9033e-11 | 19.9863
122.289 | -1.0206e-10 | 19.9904
122.52 | -1.2086e-10 | 19.9905
122.857 | -1.0293e-10 | 19.9914
123.192 | -1.0325e-10 | 19.9954
123.526 | -1.0238e-10 | 19.9835
123.761 | -1.016e-10 | 19.991
124.062 | -1.0166e-10 | 19.9971
124.397 | -1.0271e-10 | 19.9976
124.631 | -1.0208e-10 | 19.9985
124.967 | -1.0219e-10 | 19.9927
125.335 | -1.168e-10 | 19.9946
125.605 | -1.0306e-10 | 19.9951
125.806 | -1.0549e-10 | 19.9961
126.141 | -1.0431e-10 | 19.9977
126.475 | -1.0807e-10 | 19.9992
126.71 | -1.0691e-10 | 20.0003
127.046 | -1.081e-10 | 20.0014
127.381 | -1.077e-10 | 19.9919
127.614 | -1.0307e-10 | 20.0034
127.941 | -1.0908e-10 | 20.0044
128.269 | -1.0952e-10 | 19.9915
128.567 | -1.175e-10 | 19.9933
128.799 | -1.1062e-10 | 19.9936
129.129 | -1.0997e-10 | 19.9949
129.46 | -1.1358e-10 | 19.994
129.794 | -1.0814e-10 | 19.9969
130.028 | -1.0479e-10 | 19.9972
130.361 | -1.0724e-10 | 19.995
130.694 | -1.0996e-10 | 19.9963
130.927 | -1.1069e-10 | 19.9918
131.263 | -1.1153e-10 | 19.994
131.499 | -1.1308e-10 | 19.9945
131.832 | -1.1328e-10 | 19.997
132.165 | -1.1066e-10 | 19.9886
132.501 | -1.1385e-10 | 19.9903
132.736 | -1.0799e-10 | 19.9914
133.069 | -1.0978e-10 | 19.9895
133.305 | -1.0884e-10 | 20.0018
133.64 | -1.1336e-10 | 19.9916
133.975 | -1.1347e-10 | 19.992
134.31 | -1.1475e-10 | 19.9958
134.51 | -1.1338e-10 | 19.9962
134.845 | -1.1368e-10 | 19.9998
135.18 | -1.1505e-10 | 19.9999
135.413 | -1.1601e-10 | 19.9999
135.751 | -1.162e-10 | 20.0046
136.085 | -1.1644e-10 | 19.9953
136.419 | -1.1739e-10 | 20.0005
136.621 | -1.1747e-10 | 20.0012
136.954 | -1.179e-10 | 20.0038
137.29 | -1.1765e-10 | 20.0087
137.621 | -1.2261e-10 | 19.9977
137.851 | -1.3279e-10 | 19.9962
138.18 | -1.1905e-10 | 19.9959
138.479 | -1.1842e-10 | 20.0029
138.709 | -1.1886e-10 | 20.0028
139.04 | -1.2433e-10 | 19.993
139.372 | -1.1671e-10 | 19.9926
139.706 | -1.3095e-10 | 19.9908
139.937 | -1.1913e-10 | 20.0004
140.271 | -1.1847e-10 | 19.9987
140.504 | -1.1864e-10 | 19.9978
140.838 | -1.2101e-10 | 20.0005
141.173 | -1.1997e-10 | 19.9937
141.475 | -1.1991e-10 | 19.9981
141.709 | -1.2214e-10 | 20.0001
142.042 | -1.2207e-10 | 20.0037
142.377 | -1.409e-10 | 19.9947
142.612 | -1.3055e-10 | 20.001
142.947 | -1.2997e-10 | 20.0023
143.283 | -1.274e-10 | 20.0013
143.516 | -1.2784e-10 | 20.0007
143.885 | -1.2779e-10 | 19.9986
144.186 | -1.2405e-10 | 20.002
144.421 | -1.2698e-10 | 20.0023
144.756 | -1.2864e-10 | 20.001
145.124 | -1.2963e-10 | 19.9991
145.359 | -1.3033e-10 | 19.9983
145.66 | -1.2993e-10 | 20.0037
145.996 | -1.3364e-10 | 20.0064
146.228 | -1.349e-10 | 20.0029
146.597 | -1.3617e-10 | 20.0036
146.897 | -1.4329e-10 | 20.0057
147.131 | -1.3312e-10 | 20.0056
147.468 | -1.3346e-10 | 20.0071
147.737 | -1.3456e-10 | 20.0039
148.07 | -1.3653e-10 | 20.0024
148.398 | -1.6734e-10 | 19.9999
148.628 | -1.7011e-10 | 20.0062
148.958 | -1.7181e-10 | 20.0058
149.287 | -1.8132e-10 | 20.0059
149.519 | -1.7325e-10 | 20.0034
149.851 | -1.756e-10 | 20.0006
150.215 | -1.7381e-10 | 19.9973
150.448 | -1.8344e-10 | 19.9964
150.782 | -1.7621e-10 | 19.9987
151.084 | -1.7552e-10 | 19.9997
151.35 | -1.8466e-10 | 19.9956
151.68 | -1.7884e-10 | 20.0002
151.918 | -1.7539e-10 | 20.0002
152.254 | -1.8096e-10 | 20.0014
152.689 | -1.8314e-10 | 19.9955
152.956 | -1.8977e-10 | 20.0042
153.19 | -1.8831e-10 | 20.0022
153.459 | -1.875e-10 | 20.0014
153.792 | -1.9125e-10 | 20.0006
154.092 | -1.8751e-10 | 20.002
154.359 | -1.8905e-10 | 19.9973
154.694 | -1.8967e-10 | 20.0063
154.929 | -1.9033e-10 | 20.0061
155.263 | -1.8751e-10 | 20.0065
155.598 | -1.8879e-10 | 20.007
155.833 | -1.9495e-10 | 20.009
156.167 | -2.0506e-10 | 20.0063
156.403 | -1.8562e-10 | 20.0039
156.736 | -1.9467e-10 | 20.0073
157.071 | -1.9393e-10 | 20.0082
157.304 | -1.8789e-10 | 20.0054
157.64 | -2.0035e-10 | 20.007
157.974 | -1.9081e-10 | 20.0075
158.207 | -1.9085e-10 | 20.0041
158.576 | -1.942e-10 | 20.0087
158.812 | -1.912e-10 | 20.0084
159.145 | -1.9298e-10 | 20.0095
159.479 | -1.9153e-10 | 20.0093
159.71 | -2.061e-10 | 19.9113
160.337 | -1.9763e-10 | 20.0023
160.569 | -2.035e-10 | 20.0006
160.802 | -2.0366e-10 | 20.0072
161.034 | -2.08e-10 | 20.0026
161.303 | -2.0906e-10 | 20.0027
161.536 | -2.3504e-10 | 20.0014
161.87 | -2.484e-10 | 20.0009
162.104 | -2.4464e-10 | 20.0054
162.439 | -2.3477e-10 | 20.0062
162.806 | -2.3749e-10 | 20.004
163.04 | -2.3335e-10 | 20.0044
163.342 | -2.3077e-10 | 20.0054
163.676 | -2.5887e-10 | 20.006
163.91 | -2.543e-10 | 20.0048
164.245 | -2.6882e-10 | 20.0056
164.612 | -2.5229e-10 | 20.0012
164.842 | -2.5495e-10 | 20.0078
165.175 | -2.6232e-10 | 20.0077
165.406 | -2.399e-10 | 20.0084
165.738 | -2.4676e-10 | 20.0069
166.069 | -2.3347e-10 | 20.0052
166.339 | -2.2954e-10 | 20.0034
166.64 | -2.4751e-10 | 20.0041
166.978 | -2.3392e-10 | 20.0067
167.212 | -2.4283e-10 | 20.0061
167.549 | -2.4714e-10 | 20.0062
167.881 | -2.4014e-10 | 20.0061
168.148 | -2.4609e-10 | 20.0028
168.482 | -2.5065e-10 | 20.0082
168.715 | -2.4386e-10 | 20.006
169.081 | -2.4959e-10 | 20.0056
169.315 | -2.4235e-10 | 20.0104
169.65 | -2.4717e-10 | 20.0026
169.983 | -2.717e-10 | 20.0065
170.251 | -2.4825e-10 | 20.0056
170.584 | -2.2408e-10 | 20.005
170.918 | -2.247e-10 | 20.0052
171.153 | -2.2828e-10 | 20.0054
171.485 | -2.3953e-10 | 20.0113
171.717 | -2.4707e-10 | 20.0103
172.046 | -2.482e-10 | 20.0076
172.374 | -2.5423e-10 | 20.0065
172.638 | -2.4325e-10 | 20.001
172.969 | -2.504e-10 | 20.0061
173.199 | -2.484e-10 | 20.0045
173.528 | -2.5687e-10 | 20.0032
173.863 | -2.6045e-10 | 20.0033
174.099 | -2.6546e-10 | 20.0038
174.436 | -2.6212e-10 | 20.0055
174.769 | -2.6571e-10 | 20.006
175.004 | -2.6331e-10 | 20.0054
175.34 | -2.6035e-10 | 20.0061
175.672 | -2.6459e-10 | 20.0048
175.906 | -2.6516e-10 | 20.0038
176.275 | -2.6628e-10 | 20.0018
176.508 | -2.6545e-10 | 20.0068
176.843 | -2.5788e-10 | 20.0062
177.178 | -2.6618e-10 | 20.0049
177.448 | -2.6671e-10 | 20.0028
177.781 | -2.7314e-10 | 20.0028
178.015 | -2.7689e-10 | 20.0079
178.382 | -2.8314e-10 | 20.0034
178.616 | -2.8245e-10 | 20.0095
178.95 | -2.6991e-10 | 20.01
179.287 | -2.6903e-10 | 20.0096
179.554 | -2.7338e-10 | 20.0062
180.06 | -2.7614e-10 | 19.9862
180.296 | -2.8427e-10 | 20.0108
180.531 | -2.8321e-10 | 20.0084
180.8 | -2.8165e-10 | 20.0053
181.068 | -2.8376e-10 | 20.0071
181.402 | -2.9005e-10 | 20.0087
181.638 | -3.0275e-10 | 20.0068
181.973 | -3.0056e-10 | 20.0075
182.208 | -2.9901e-10 | 20.0125
182.541 | -2.9673e-10 | 20.012
182.875 | -2.9975e-10 | 20.0134
183.108 | -2.8025e-10 | 20.012
183.443 | -2.8164e-10 | 20.0118
183.776 | -2.7669e-10 | 20.0117
184.045 | -2.7733e-10 | 20.009
184.377 | -2.8349e-10 | 20.0133
184.609 | -2.7601e-10 | 20.0118
184.939 | -2.9264e-10 | 20.011
185.301 | -2.8934e-10 | 20.0087
185.534 | -2.9531e-10 | 20.0084
185.864 | -2.9334e-10 | 20.0073
186.195 | -3.0147e-10 | 20.0068
186.426 | -3.0647e-10 | 20.0091
186.759 | -3.0922e-10 | 20.0074
187.024 | -3.1046e-10 | 20.0083
187.358 | -3.0183e-10 | 20.0077
187.725 | -2.9744e-10 | 20.0059
187.958 | -2.9331e-10 | 20.0035
188.291 | -2.9242e-10 | 20.0077
188.525 | -2.9506e-10 | 20.0061
188.891 | -2.9499e-10 | 20.0057
189.128 | -2.9487e-10 | 20.0087
189.461 | -2.9639e-10 | 20.0081
189.828 | -3.0524e-10 | 20.0066
190.064 | -3.1001e-10 | 20.0057
190.398 | -3.1244e-10 | 20.0086
190.664 | -3.0698e-10 | 20.0074
190.998 | -3.0343e-10 | 20.0112
191.232 | -3.5702e-10 | 20.0087
191.566 | -3.4858e-10 | 20.0075
191.834 | -3.0998e-10 | 20.007
192.135 | -3.1486e-10 | 20.0086
192.502 | -3.1765e-10 | 20.0062
192.735 | -3.0415e-10 | 20.0056
193.003 | -3.1165e-10 | 20.0104
193.337 | -3.338e-10 | 20.0093
193.672 | -3.2206e-10 | 20.009
193.938 | -3.3525e-10 | 20.0069
194.273 | -3.3072e-10 | 20.0061
194.508 | -3.3794e-10 | 20.011
194.84 | -3.2979e-10 | 20.0079
195.107 | -3.2003e-10 | 20.0109
195.476 | -3.2551e-10 | 20.0079
195.71 | -3.2529e-10 | 20.0118
196.044 | -3.3001e-10 | 20.0101
196.378 | -3.2807e-10 | 20.0104
196.612 | -3.3675e-10 | 20.0086
196.979 | -3.2605e-10 | 20.0085
197.246 | -3.3449e-10 | 20.008
197.68 | -3.2398e-10 | 20.0029
197.947 | -3.5366e-10 | 20.0076
198.215 | -3.4937e-10 | 20.0097
198.448 | -3.987e-10 | 20.0118
198.777 | -3.3152e-10 | 20.0106
199.04 | -3.3979e-10 | 20.0062
199.37 | -3.2982e-10 | 20.0091
199.634 | -3.2926e-10 | 20.0066
199.963 | -3.3535e-10 | 20.0076
200.297 | -3.4682e-10 | 20.0067
200.562 | -3.685e-10 | 20.0089
200.894 | -3.512e-10 | 20.0086
201.126 | -3.7437e-10 | 20.0073
201.489 | -3.5786e-10 | 20.0049
201.728 | -3.5934e-10 | 20.0083
202.06 | -3.7042e-10 | 20.0073
202.426 | -3.7789e-10 | 20.0053
202.66 | -3.5292e-10 | 20.0055
203.03 | -3.4762e-10 | 20.005
203.263 | -3.5487e-10 | 20.0082
203.597 | -4.2874e-10 | 20.0068
203.831 | -4.251e-10 | 20.0061
204.2 | -3.6072e-10 | 20.0046
204.434 | -3.7861e-10 | 20.0072
204.803 | -3.6345e-10 | 20.0063
205.037 | -3.6829e-10 | 20.0058
205.368 | -4.3005e-10 | 20.0091
205.604 | -4.2007e-10 | 20.0084
205.97 | -4.2348e-10 | 20.0065
206.202 | -4.2245e-10 | 20.0086
206.57 | -3.8192e-10 | 20.0058
206.803 | -4.0343e-10 | 20.0091
207.239 | -3.8477e-10 | 20.0058
207.574 | -3.9505e-10 | 20.0037
207.808 | -4.2725e-10 | 20.0098
208.075 | -4.2974e-10 | 20.0075
208.309 | -3.8385e-10 | 20.0086
208.645 | -4.3333e-10 | 20.0091
208.979 | -4.5994e-10 | 20.0093
209.248 | -4.6276e-10 | 20.0105
209.612 | -3.7935e-10 | 20.008
209.881 | -3.845e-10 | 20.0114
210.113 | -3.857e-10 | 20.01
210.447 | -4.2853e-10 | 20.0087
210.715 | -4.3425e-10 | 20.0108
211.049 | -3.9816e-10 | 20.0096
211.415 | -4.1917e-10 | 20.0078
211.651 | -4.3057e-10 | 20.0113
211.985 | -4.3819e-10 | 20.0102
212.252 | -4.2486e-10 | 20.008
212.585 | -4.4364e-10 | 20.011
212.852 | -4.4646e-10 | 20.0067
213.216 | -4.4423e-10 | 20.0079
213.448 | -4.4636e-10 | 20.0099
213.712 | -4.3938e-10 | 20.0095
214.042 | -4.3832e-10 | 20.0077
214.406 | -4.3093e-10 | 20.0068
214.638 | -4.4364e-10 | 20.0061
214.905 | -4.3917e-10 | 20.0082
215.271 | -4.4133e-10 | 20.0052
215.503 | -4.3703e-10 | 20.0076
215.869 | -4.3458e-10 | 20.0057
216.103 | -4.3658e-10 | 20.0075
216.472 | -4.4579e-10 | 20.0051
216.705 | -4.4645e-10 | 20.0087
217.07 | -4.5204e-10 | 20.0078
217.34 | -4.5863e-10 | 20.0061
217.673 | -4.5628e-10 | 20.009
217.905 | -4.3768e-10 | 20.0071
218.273 | -4.5194e-10 | 20.0093
218.54 | -4.5511e-10 | 20.0065
218.875 | -5.3005e-10 | 20.004
219.14 | -4.7495e-10 | 20.0061
219.475 | -4.5463e-10 | 20.0079
219.742 | -4.5304e-10 | 20.0058
220.108 | -4.5588e-10 | 20.0061
220.344 | -4.5893e-10 | 20.0084
220.611 | -4.5858e-10 | 20.0094
220.977 | -4.6796e-10 | 20.0075
221.306 | -4.6001e-10 | 20.0061
221.537 | -4.5753e-10 | 20.0071
221.886 | -4.7059e-10 | 20.0051
222.125 | -4.6635e-10 | 20.0005
222.475 | -4.7696e-10 | 19.9954
222.713 | -4.8268e-10 | 19.9993
223.111 | -4.8546e-10 | 20.0016
223.366 | -4.8154e-10 | 20.0056
223.658 | -4.8301e-10 | 20.0069
223.907 | -4.8034e-10 | 20.0117
224.259 | -4.8827e-10 | 20.0141
224.535 | -4.8721e-10 | 20.0132
224.903 | -4.8897e-10 | 20.0143
225.168 | -4.8593e-10 | 20.0149
225.497 | -4.9267e-10 | 20.0161
225.758 | -5.1101e-10 | 20.0118
226.085 | -5.0468e-10 | 20.0133
226.348 | -5.115e-10 | 20.0137
226.676 | -4.9347e-10 | 20.0122
226.939 | -5.1506e-10 | 20.0119
227.302 | -5.2794e-10 | 20.0092
227.534 | -5.3114e-10 | 20.01
227.899 | -5.3619e-10 | 20.0084
228.13 | -5.2648e-10 | 20.01
228.492 | -4.9563e-10 | 20.0076
228.756 | -4.8532e-10 | 20.0084
229.085 | -5.0654e-10 | 20.0068
229.317 | -5.0102e-10 | 20.0087
229.682 | -4.7946e-10 | 20.0053
229.949 | -4.7827e-10 | 20.0091
230.281 | -4.8187e-10 | 20.007
230.547 | -4.8012e-10 | 20.0077
230.915 | -4.9824e-10 | 20.0061
231.183 | -4.1945e-10 | 20.0065
231.417 | -4.1304e-10 | 20.0079
231.785 | -4.1833e-10 | 20.0091
232.051 | -4.4343e-10 | 20.0066
232.386 | -4.0484e-10 | 20.0083
232.653 | -4.2057e-10 | 20.0095
232.985 | -4.0247e-10 | 20.0084
233.22 | -4.151e-10 | 20.008
233.586 | -4.1293e-10 | 20.0064
233.819 | -4.1002e-10 | 20.0088
234.185 | -4.0586e-10 | 20.0076
234.652 | -4.0818e-10 | 20.0056
234.886 | -3.9925e-10 | 20.0063
235.118 | -4.0362e-10 | 20.0082
235.384 | -4.1038e-10 | 20.0063
235.618 | -4.1242e-10 | 20.0079
235.989 | -4.1099e-10 | 20.0064
236.222 | -4.1658e-10 | 20.0091
236.592 | -4.1848e-10 | 20.007
236.859 | -4.1895e-10 | 20.0068
237.192 | -4.4022e-10 | 20.0092
237.459 | -4.3962e-10 | 20.006
237.791 | -4.3277e-10 | 20.0096
238.059 | -4.3214e-10 | 20.0065
238.391 | -4.3286e-10 | 20.0085
238.658 | -4.6507e-10 | 20.0098
238.991 | -4.6909e-10 | 20.0091
239.258 | -4.8375e-10 | 20.0074
239.592 | -4.9056e-10 | 20.0094
239.857 | -4.8443e-10 | 20.0065
240.125 | -4.8753e-10 | 20.0081
240.491 | -5.6775e-10 | 20.0079
240.757 | -4.8108e-10 | 20.0097
241.126 | -4.5205e-10 | 20.0075
241.36 | -4.7487e-10 | 20.006
241.727 | -4.6677e-10 | 20.0076
241.962 | -4.5688e-10 | 20.0091
242.233 | -4.6416e-10 | 20.0074
242.566 | -4.411e-10 | 20.0098
242.834 | -4.4643e-10 | 20.009
243.17 | -4.6127e-10 | 20.0105
243.435 | -4.63e-10 | 20.0078
243.77 | -4.4866e-10 | 20.0101
244.036 | -5.0575e-10 | 20.0107
244.398 | -5.1109e-10 | 20.0079
244.629 | -4.0656e-10 | 20.0089
244.956 | -6.7517e-10 | 20.0077
245.22 | -6.8716e-10 | 20.008
245.589 | -6.298e-10 | 20.0084
245.855 | -6.2951e-10 | 20.0055
246.225 | -6.3403e-10 | 20.0069
246.46 | -6.4625e-10 | 20.0098
246.831 | -6.6425e-10 | 20.0074
247.096 | -6.7182e-10 | 20.0071
247.364 | -6.8328e-10 | 20.0084
247.599 | -6.6335e-10 | 20.0106
247.934 | -6.7407e-10 | 20.0091
248.305 | -6.6678e-10 | 20.0086
248.576 | -6.7269e-10 | 20.0083
248.848 | -7.1276e-10 | 20.0092
249.186 | -6.817e-10 | 20.0123
249.456 | -6.7986e-10 | 20.0101
249.793 | -6.8968e-10 | 20.0128
250.061 | -7.0799e-10 | 20.0097
250.427 | -4.9217e-10 | 20.0114
250.664 | -5.1709e-10 | 20.0127
251.03 | -4.9945e-10 | 20.0107
251.294 | -4.7498e-10 | 20.011
251.527 | -4.8104e-10 | 20.0132
251.893 | -4.6311e-10 | 20.0113
252.127 | -4.6496e-10 | 20.0114
252.494 | -4.6265e-10 | 20.0124
252.76 | -4.598e-10 | 20.0114
253.027 | -5.7766e-10 | 20.0134
253.361 | -5.8382e-10 | 20.0118
253.627 | -5.7945e-10 | 20.0115
253.995 | -5.735e-10 | 20.0129
254.262 | -5.7788e-10 | 20.0108
254.594 | -5.8691e-10 | 20.0122
254.86 | -5.9451e-10 | 20.0103
255.195 | -8.0499e-10 | 20.0128
255.462 | -7.8627e-10 | 20.0124
255.729 | -7.9958e-10 | 20.0121
256.096 | -7.3472e-10 | 20.013
256.362 | -7.6743e-10 | 20.011
256.695 | -7.6062e-10 | 20.0104
256.927 | -7.5368e-10 | 20.0109
257.294 | -7.495e-10 | 20.0123
257.558 | -7.3205e-10 | 20.0097
257.891 | -7.5045e-10 | 20.0112
258.158 | -7.4209e-10 | 20.0125
258.525 | -7.685e-10 | 20.0103
258.794 | -7.8068e-10 | 20.0108
259.026 | -7.5326e-10 | 20.0127
259.361 | -6.1636e-10 | 20.0107
259.625 | -6.1882e-10 | 20.0108
259.991 | -6.8343e-10 | 20.0115
260.26 | -6.7339e-10 | 20.012
260.627 | -6.469e-10 | 20.0091
260.89 | -6.3727e-10 | 20.0093
261.156 | -6.4198e-10 | 20.0097
261.585 | -6.4501e-10 | 19.9945
261.982 | -6.4974e-10 | 20.0099
262.245 | -6.5564e-10 | 20.0096
262.544 | -6.5909e-10 | 20.0091
262.775 | -6.6099e-10 | 20.0103
263.039 | -6.6288e-10 | 20.0071
263.271 | -6.7065e-10 | 20.0079
263.538 | -6.874e-10 | 20.0091
263.906 | -7.0446e-10 | 20.0072
264.174 | -6.1618e-10 | 20.0075
264.406 | -6.6386e-10 | 20.0094
264.772 | -6.7285e-10 | 20.0096
265.037 | -6.6169e-10 | 20.0091
265.406 | -6.8667e-10 | 20.007
265.639 | -6.8847e-10 | 20.0084
265.908 | -7.0432e-10 | 20.0092
266.276 | -6.7048e-10 | 20.0102
266.541 | -6.7441e-10 | 20.007
266.904 | -8.1621e-10 | 20.0077
267.138 | -8.4978e-10 | 20.0082
267.405 | -8.48e-10 | 20.0081
267.775 | -8.4012e-10 | 20.0098
268.045 | -8.4127e-10 | 20.0074
268.38 | -8.4239e-10 | 20.0092
268.682 | -8.5058e-10 | 20.0083
268.918 | -7.8812e-10 | 20.0093
269.28 | -7.9205e-10 | 20.0088
269.543 | -7.9515e-10 | 20.0093
269.808 | -7.9875e-10 | 20.009
270.17 | -5.6286e-10 | 20.0086
270.434 | -5.8831e-10 | 20.0064
270.802 | -6.2029e-10 | 20.0064
271.071 | -6.5608e-10 | 20.0059
271.339 | -7.2193e-10 | 20.0075
271.677 | -6.6096e-10 | 20.0091
271.947 | -7.0047e-10 | 20.0102
272.318 | -6.3934e-10 | 20.0083
272.587 | -6.8079e-10 | 20.008
272.854 | -6.5305e-10 | 20.0079
273.221 | -5.8363e-10 | 20.0092
273.45 | -5.8291e-10 | 20.0094
273.719 | -6.1352e-10 | 20.0109
274.082 | -6.2388e-10 | 20.0082
274.315 | -6.7675e-10 | 20.0085
274.68 | -6.942e-10 | 20.0093
274.942 | -6.3472e-10 | 20.0099
275.274 | -7.0035e-10 | 20.0087
275.54 | -6.0926e-10 | 20.007
275.907 | -6.6746e-10 | 20.0073
276.143 | -6.8187e-10 | 20.0085
276.412 | -6.6536e-10 | 20.0102
276.78 | -6.6734e-10 | 20.0081
277.015 | -6.7155e-10 | 20.0097
277.383 | -6.4987e-10 | 20.008
277.652 | -6.6592e-10 | 20.0088
277.986 | -7.0282e-10 | 20.0101
278.253 | -6.7897e-10 | 20.0084
278.587 | -7.2537e-10 | 20.009
278.856 | -7.3656e-10 | 20.0103
279.123 | -6.9442e-10 | 20.0103
279.488 | -7.0377e-10 | 20.0101
279.755 | -7.0345e-10 | 20.0098
280.122 | -7.0907e-10 | 20.0079
280.389 | -6.9809e-10 | 20.0091
280.625 | -6.7501e-10 | 20.0098
280.983 | -7.222e-10 | 20.0096
281.24 | -7.3693e-10 | 20.0057
281.607 | -7.3957e-10 | 20.0063
281.876 | -7.5791e-10 | 20.0071
282.112 | -7.756e-10 | 20.0079
282.487 | -7.4778e-10 | 20.0089
282.796 | -7.4979e-10 | 20.0087
283.069 | -7.5743e-10 | 20.0085
283.342 | -7.6239e-10 | 20.0098
283.718 | -7.5285e-10 | 20.0105
283.99 | -7.6479e-10 | 20.0105
284.26 | -7.5257e-10 | 20.0116
284.631 | -7.8719e-10 | 20.0117
284.867 | -7.7873e-10 | 20.0132
285.167 | -7.6155e-10 | 20.0134
285.402 | -7.7685e-10 | 20.0142
285.769 | -7.8096e-10 | 20.012
286.036 | -7.7963e-10 | 20.0125
286.37 | -8.1399e-10 | 20.0133
286.636 | -7.3976e-10 | 20.0139
286.9 | -7.3496e-10 | 20.0133
287.269 | -6.804e-10 | 20.0121
287.533 | -8.0281e-10 | 20.013
287.902 | -8.617e-10 | 20.0121
288.169 | -8.2743e-10 | 20.0125
288.402 | -7.3675e-10 | 20.0131
288.77 | -8.1858e-10 | 20.014
289.039 | -8.2434e-10 | 20.0147
289.474 | -8.7385e-10 | 20.0134
289.742 | -8.7277e-10 | 20.0138
289.975 | -8.294e-10 | 20.0138
290.245 | -8.4161e-10 | 20.0141
290.512 | -8.3771e-10 | 20.0145
290.881 | -8.3559e-10 | 20.0132
291.148 | -8.2502e-10 | 20.0155
291.514 | -8.4512e-10 | 20.0131
291.779 | -8.5322e-10 | 20.0138
292.012 | -8.6309e-10 | 20.0137
292.376 | -8.2227e-10 | 20.0139
292.642 | -8.295e-10 | 20.0129
292.939 | -8.7232e-10 | 20.0129
293.27 | -8.3544e-10 | 20.0136
293.535 | -8.0022e-10 | 20.0115
293.867 | -8.1448e-10 | 20.0124
294.13 | -8.3607e-10 | 20.0129
294.496 | -8.567e-10 | 20.0128
294.759 | -8.5288e-10 | 20.0116
295.025 | -8.48e-10 | 20.0113
295.389 | -8.3922e-10 | 20.0125
295.654 | -8.4232e-10 | 20.0124
295.919 | -8.4303e-10 | 20.0128
296.283 | -8.6599e-10 | 20.0098
296.55 | -8.5836e-10 | 20.0099
296.881 | -6.7309e-10 | 20.0105
297.146 | -6.6592e-10 | 20.011
297.41 | -6.7123e-10 | 20.0109
297.775 | -6.707e-10 | 20.011
298.039 | -6.5173e-10 | 20.0104
298.307 | -6.8492e-10 | 20.0111
298.67 | -6.7189e-10 | 20.0087
298.9 | -6.7189e-10 | 20.0094
299.262 | -8.6889e-10 | 20.0089
299.525 | -9.1457e-10 | 20.0087
299.889 | -1.0603e-09 | 20.0093
300.153 | -9.9895e-10 | 20.0065
300.517 | -7.7154e-10 | 20.0069
300.782 | -9.1771e-10 | 20.0071
301.046 | -9.7061e-10 | 20.009
301.412 | -9.9763e-10 | 20.0062
301.68 | -1.0107e-09 | 20.0053
301.944 | -1.0682e-09 | 20.0078
302.209 | -1.1157e-09 | 20.0085
302.576 | -1.0752e-09 | 20.006
302.844 | -9.7211e-10 | 20.0059
303.175 | -9.8118e-10 | 20.007
303.474 | -9.5351e-10 | 20.0067
303.741 | -9.2053e-10 | 20.0057
304.107 | -9.4002e-10 | 20.0058
304.373 | -9.1922e-10 | 20.0065
304.64 | -9.4823e-10 | 20.0053
305.007 | -9.5076e-10 | 20.0059
305.239 | -9.426e-10 | 20.0068
305.507 | -9.5406e-10 | 20.0067
305.873 | -9.9765e-10 | 20.0069
306.14 | -9.8545e-10 | 20.0073
306.405 | -1.0455e-09 | 20.0067
306.772 | -1.0275e-09 | 20.0064
307.039 | -1.0489e-09 | 20.0065
307.305 | -1.2047e-09 | 20.0064
307.673 | -9.6321e-10 | 20.0071
307.94 | -9.1998e-10 | 20.0073
308.206 | -1.3095e-09 | 20.0066
308.573 | -1.5141e-09 | 20.0069
308.841 | -1.6289e-09 | 20.0075
309.206 | -1.596e-09 | 20.006
309.474 | -1.4264e-09 | 20.006
309.707 | -1.5943e-09 | 20.0065
310.075 | -1.4941e-09 | 20.0064
310.342 | -1.4773e-09 | 20.0071
310.608 | -1.5066e-09 | 20.0079
310.975 | -1.5847e-09 | 20.0057
311.243 | -1.6176e-09 | 20.0058
311.575 | -1.5646e-09 | 20.0066
311.875 | -1.6499e-09 | 20.005
312.143 | -1.563e-09 | 20.0076
312.41 | -1.6449e-09 | 20.0072
312.779 | -1.7115e-09 | 20.0075
313.044 | -1.7128e-09 | 20.0077
313.311 | -1.656e-09 | 20.0082
313.68 | -1.7515e-09 | 20.0059
313.945 | -1.6855e-09 | 20.0059
314.279 | -1.749e-09 | 20.0064
314.547 | -1.6164e-09 | 20.0065
314.848 | -1.6338e-09 | 20.0059
315.214 | -1.487e-09 | 20.0068
315.481 | -1.4772e-09 | 20.0066
315.748 | -1.4437e-09 | 20.0067
316.082 | -1.5241e-09 | 20.0073
316.349 | -1.4376e-09 | 20.0075
316.882 | -9.6406e-10 | 20.0056
317.116 | -9.8028e-10 | 20.0073
317.383 | -1.0881e-09 | 20.0071
317.65 | -1.1972e-09 | 20.0071
317.95 | -1.6466e-09 | 20.0059
318.217 | -1.6839e-09 | 20.006
318.484 | -1.9532e-09 | 20.0054
318.751 | -1.8923e-09 | 20.0071
319.051 | -1.9243e-09 | 20.006
319.384 | -1.5109e-09 | 20.0066
319.684 | -1.4726e-09 | 20.0065
319.919 | -1.4347e-09 | 20.007
320.296 | -1.4679e-09 | 20.0049