## Settings
Sample Info | vr2, dot b1r, irrad., run 14, Keysight
Comments | -6/9.5/-6
Additional Comments | proper connect (reverse)
Major Measurement Parameters
Starting Temperature | 298.197
Initial Temperature | 80.5
Final Temperature | 320
Preliminary Voltage | 6
Pulse Voltage | -9.5
Pulse Time | 60
Wait Time | 0
Measurement Voltage | 6
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 20
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 29.3.2024
Clock | 15:43:33

## Stabilization
Temperature | Current | Temp Rate
298.067 | 4.2702e-10 | 0
297.979 | 2.9103e-10 | -4.1573
297.927 | 2.6797e-10 | -3.259
297.828 | 2.5538e-10 | -3.7208
297.769 | 2.4039e-10 | -3.4957
297.723 | 2.3189e-10 | -3.2315
297.676 | 2.292e-10 | -3.0576
297.624 | 2.2078e-10 | -2.966
297.567 | 2.1602e-10 | -2.9378
297.521 | 2.1161e-10 | -2.8517
297.473 | 2.0792e-10 | -3.1002
297.423 | 2.0513e-10 | -3.7849
297.224 | 2.0548e-10 | -6.6025
296.968 | 1.8605e-10 | -13.273
296.9 | 1.8211e-10 | -19.0402
296.853 | 1.8061e-10 | -3.5512
296.805 | 1.7942e-10 | -3.475
296.755 | 1.7819e-10 | -3.411
296.702 | 1.7377e-10 | -63.6051
296.613 | 1.7344e-10 | -3.4002
296.536 | 1.746e-10 | -3.4108
296.486 | 1.7225e-10 | -3.3603
296.442 | 1.7133e-10 | -3.3041
296.387 | 1.7319e-10 | -3.2745
296.171 | 1.6806e-10 | -3.5473
296.035 | 1.7168e-10 | -3.6576
295.854 | 1.7122e-10 | -3.8379
295.683 | 1.7008e-10 | -3.9889
295.513 | 1.6509e-10 | -4.1281
295.34 | 1.6284e-10 | -4.2633
295.18 | 1.6127e-10 | -4.3683
295.056 | 1.613e-10 | -4.4123
294.84 | 1.602e-10 | -4.5846
294.751 | 1.5827e-10 | -4.5717
294.66 | 1.5533e-10 | -4.5623
294.562 | 1.5532e-10 | -4.5629
294.459 | 1.5355e-10 | -4.5705
294.309 | 1.5246e-10 | -4.6347
294.247 | 1.5236e-10 | -4.5924
294.184 | 1.5081e-10 | -4.5517
293.963 | 1.4939e-10 | -4.6949
293.846 | 1.5005e-10 | -4.7113
293.76 | 1.4845e-10 | -4.6912
293.688 | 1.4674e-10 | -4.6622
293.609 | 1.4642e-10 | -4.6411
293.543 | 1.4687e-10 | -4.6064
293.478 | 1.4418e-10 | -4.5737
293.351 | 1.4429e-10 | -4.6024
293.263 | 1.4378e-10 | -4.5924
293.117 | 1.4308e-10 | -4.6351
293.007 | 1.4276e-10 | -4.6457
292.883 | 1.4154e-10 | -4.6695
292.821 | 1.4089e-10 | -4.6363
292.768 | 1.4106e-10 | -4.5954
292.589 | 1.3977e-10 | -4.6643
292.491 | 1.3861e-10 | -4.6637
292.421 | 1.3678e-10 | -4.64
292.318 | 1.3532e-10 | -4.6428
292.067 | 1.3452e-10 | -4.7629
291.92 | 1.3386e-10 | -4.7984
291.769 | 1.3264e-10 | -4.8342
291.61 | 1.3175e-10 | -4.8768
291.461 | 1.3156e-10 | -4.9095
291.264 | 1.3031e-10 | -4.9764
291.069 | 1.2998e-10 | -5.0409
290.918 | 1.2934e-10 | -5.0708
290.771 | 1.2926e-10 | -5.0974
290.663 | 1.2734e-10 | -5.096
290.579 | 1.2785e-10 | -5.0785
290.492 | 1.2629e-10 | -5.0648
290.401 | 1.2568e-10 | -5.0529
290.29 | 1.2421e-10 | -5.0549
290.206 | 1.2386e-10 | -5.0398
290.041 | 1.2265e-10 | -5.0747
289.908 | 1.2343e-10 | -5.0885
289.74 | 1.2165e-10 | -5.1239
289.675 | 1.2062e-10 | -5.0966
289.619 | 1.2165e-10 | -5.0643
289.526 | 1.2013e-10 | -5.0548
289.407 | 1.2113e-10 | -5.0609
289.321 | 1.2034e-10 | -5.0468
289.167 | 1.2001e-10 | -5.0721
289.094 | 1.202e-10 | -5.0517
289.041 | 1.1827e-10 | -5.0205
288.877 | 1.1694e-10 | -5.0501
288.681 | 1.1593e-10 | -5.0978
288.606 | 1.1504e-10 | -5.0788
288.545 | 1.1611e-10 | -5.0498
288.485 | 1.1622e-10 | -5.0242
288.272 | 1.1484e-10 | -5.0774
288.148 | 1.1357e-10 | -5.0842
288.066 | 1.1407e-10 | -5.0698
287.901 | 1.1258e-10 | -5.0977
287.824 | 1.1038e-10 | -5.0803
287.734 | 1.1194e-10 | -5.0706
287.65 | 1.1031e-10 | -5.0576
287.593 | 1.0973e-10 | -5.0321
287.508 | 1.1109e-10 | -5.0199
287.435 | 1.0903e-10 | -5.0031
287.352 | 1.0808e-10 | -4.9908
287.235 | 1.0808e-10 | -4.9951
287.085 | 1.0824e-10 | -5.0142
287.016 | 1.0732e-10 | -4.9967
286.961 | 1.0543e-10 | -4.9732
286.878 | 1.0676e-10 | -4.9618
286.768 | 1.0447e-10 | -4.9627
286.593 | 1.0405e-10 | -4.9926
286.468 | 1.0381e-10 | -4.9994
286.34 | 1.0432e-10 | -5.0077
286.209 | 1.0444e-10 | -5.0173
286.013 | 1.0421e-10 | -5.0535
285.923 | 1.0395e-10 | -5.0459
285.859 | 1.0301e-10 | -5.0265
285.729 | 1.0283e-10 | -5.0352
285.599 | 1.0331e-10 | -5.0436
285.514 | 1.0275e-10 | -5.0336
285.406 | 1.0375e-10 | -5.0337
285.301 | 1.0301e-10 | -5.0329
285.198 | 1.0288e-10 | -5.0297
285.039 | 1.0233e-10 | -5.0493
284.855 | 1.0114e-10 | -5.0774
284.488 | 1.0169e-10 | -5.1757
284.249 | 1.0086e-10 | -5.2229
284.073 | 9.9388e-11 | -5.2464
283.71 | 9.9204e-11 | -5.339
283.511 | 9.9123e-11 | -5.3698
283.342 | 9.9197e-11 | -5.3887
283.031 | 9.8556e-11 | -5.4586
282.801 | 9.8329e-11 | -5.498
282.517 | 9.7876e-11 | -5.556
282.302 | 9.5989e-11 | -5.5888
282.012 | 9.4942e-11 | -5.6483
281.757 | 9.4435e-11 | -5.6946
281.353 | 9.553e-11 | -5.7915
281.114 | 9.4277e-11 | -5.8301
280.837 | 9.4264e-11 | -5.8811
280.596 | 9.367e-11 | -5.9203
280.394 | 9.2708e-11 | -5.9449
280.086 | 9.283e-11 | -6.004
279.864 | 9.1493e-11 | -6.0343
279.646 | 9.319e-11 | -6.0626
279.388 | 9.1815e-11 | -6.1037
279.147 | 9.159e-11 | -6.138
278.773 | 9.2356e-11 | -6.2151
278.451 | 9.0091e-11 | -6.2748
278.139 | 8.9277e-11 | -6.3305
277.814 | 8.8681e-11 | -6.3886
277.516 | 8.8551e-11 | -6.438
277.106 | 8.8118e-11 | -6.5222
276.731 | 8.6976e-11 | -6.5933
276.415 | 8.4812e-11 | -6.6457
276.136 | 8.5229e-11 | -6.6865
275.756 | 8.4151e-11 | -6.7572
275.379 | 8.5058e-11 | -6.8259
275.073 | 8.3632e-11 | -6.8726
274.72 | 8.2189e-11 | -6.933
274.274 | 8.129e-11 | -7.0196
273.951 | 8.2e-11 | -7.0695
273.633 | 8.0946e-11 | -7.1174
273.2 | 8.1209e-11 | -7.1984
272.902 | 8.0555e-11 | -7.2382
272.529 | 7.9083e-11 | -7.2982
272.106 | 7.9085e-11 | -7.3738
271.784 | 7.7639e-11 | -7.4185
271.409 | 7.6792e-11 | -7.4776
271.135 | 7.7847e-11 | -7.5087
270.867 | 7.684e-11 | -7.5377
270.445 | 7.6603e-11 | -7.6082
270.089 | 7.5958e-11 | -7.6587
269.782 | 7.3095e-11 | -7.6971
269.403 | 7.3104e-11 | -7.7541
269.123 | 7.1939e-11 | -7.7832
268.624 | 7.2735e-11 | -7.8706
268.284 | 7.2491e-11 | -7.9145
267.89 | 7.062e-11 | -7.9729
267.535 | 6.9913e-11 | -8.0204
267.221 | 7.1102e-11 | -8.0572
266.755 | 6.9971e-11 | -8.1319
266.415 | 6.8571e-11 | -8.1741
266.024 | 6.9685e-11 | -8.2294
265.609 | 6.7639e-11 | -8.2892
265.259 | 6.7951e-11 | -8.331
264.777 | 6.7129e-11 | -8.4052
264.433 | 6.5578e-11 | -8.4448
264.063 | 6.6201e-11 | -8.4911
263.679 | 6.4961e-11 | -8.5407
263.399 | 6.6492e-11 | -8.5639
262.932 | 6.6091e-11 | -8.6328
262.627 | 6.4767e-11 | -8.6617
262.254 | 6.3875e-11 | -8.7054
261.803 | 6.3482e-11 | -8.7673
261.49 | 6.3364e-11 | -8.7974
261.021 | 6.1528e-11 | -8.8636
260.667 | 6.2508e-11 | -8.9014
260.162 | 6.0518e-11 | -8.975
259.801 | 6.1628e-11 | -9.0137
259.366 | 6.0381e-11 | -9.0692
258.925 | 5.7792e-11 | -9.1253
258.598 | 5.792e-11 | -9.1554
258.174 | 5.8092e-11 | -9.2062
257.758 | 5.8714e-11 | -9.2554
257.376 | 5.6515e-11 | -9.297
257.009 | 5.6233e-11 | -9.3342
256.686 | 5.7429e-11 | -9.3608
256.137 | 5.5152e-11 | -9.438
255.82 | 5.4745e-11 | -9.4616
255.378 | 5.5387e-11 | -9.5128
255.044 | 5.5021e-11 | -9.5415
254.748 | 5.3482e-11 | -9.5615
254.225 | 5.3528e-11 | -9.6297
253.919 | 5.2025e-11 | -9.6508
253.505 | 5.227e-11 | -9.6948
253.116 | 5.1383e-11 | -9.7332
252.757 | 5.0935e-11 | -9.7643
252.339 | 5.053e-11 | -9.8073
252.019 | 5.0007e-11 | -9.8281
251.728 | 5.1487e-11 | -9.8437
251.228 | 5.1061e-11 | -9.9035
250.917 | 5.048e-11 | -9.9223
250.485 | 4.9247e-11 | -9.967
250.113 | 4.8208e-11 | -9.9989
249.805 | 4.6605e-11 | -10.0174
249.4 | 4.7739e-11 | -10.0558
249.094 | 4.8298e-11 | -10.0732
248.636 | 4.7975e-11 | -10.1219
248.277 | 4.6706e-11 | -10.1494
247.826 | 4.5919e-11 | -10.1946
247.372 | 4.7143e-11 | -10.2396
246.965 | 4.5849e-11 | -10.2755
246.432 | 4.6033e-11 | -10.3371
246.039 | 4.333e-11 | -10.369
245.605 | 4.4032e-11 | -10.4098
245.171 | 4.2563e-11 | -10.4494
244.85 | 4.2312e-11 | -10.4673
244.469 | 4.2789e-11 | -10.4971
244.064 | 4.2099e-11 | -10.5315
243.636 | 4.1248e-11 | -10.5694
243.242 | 4.0763e-11 | -10.6002
242.794 | 4.0636e-11 | -10.6411
242.35 | 4.0642e-11 | -10.6809
242.007 | 3.9776e-11 | -10.7011
241.593 | 3.9471e-11 | -10.7354
241.166 | 3.9136e-11 | -10.7719
240.82 | 3.8723e-11 | -10.7912
240.356 | 3.9819e-11 | -10.8329
239.99 | 4.0027e-11 | -10.8565
239.626 | 3.9963e-11 | -10.8792
239.216 | 3.824e-11 | -10.9102
238.887 | 3.7912e-11 | -10.9252
238.445 | 3.7672e-11 | -10.9617
238.044 | 3.7826e-11 | -10.9906
237.661 | 3.7196e-11 | -11.0158
237.206 | 3.6914e-11 | -11.0539
236.863 | 3.6576e-11 | -11.072
236.502 | 3.59e-11 | -11.0932
236.127 | 3.5787e-11 | -11.1167
235.702 | 3.5622e-11 | -11.1481
235.26 | 3.5185e-11 | -11.1824
234.902 | 3.5017e-11 | -11.2015
234.379 | 3.4771e-11 | -11.2502
234.052 | 3.4279e-11 | -11.2633
233.595 | 3.4059e-11 | -11.3001
233.226 | 3.3664e-11 | -11.3207
232.806 | 3.3444e-11 | -11.3503
232.342 | 3.4388e-11 | -11.3863
232.019 | 3.4064e-11 | -11.399
231.502 | 3.3862e-11 | -11.4441
231.159 | 3.3739e-11 | -11.4597
230.718 | 3.313e-11 | -11.4913
230.271 | 3.3164e-11 | -11.5236
229.888 | 3.2285e-11 | -11.5448
229.388 | 3.1094e-11 | -11.5857
229.069 | 3.0657e-11 | -11.5958
228.587 | 3.0234e-11 | -11.633
228.225 | 3.0101e-11 | -11.6512
227.857 | 2.981e-11 | -11.669
227.424 | 2.9435e-11 | -11.6974
227.109 | 2.9337e-11 | -11.7064
226.627 | 2.8953e-11 | -11.7428
226.34 | 2.8828e-11 | -11.7472
225.88 | 2.8527e-11 | -11.7804
225.542 | 2.8145e-11 | -11.7928
225.138 | 2.7919e-11 | -11.8158
224.757 | 2.8369e-11 | -11.8355
224.386 | 2.7885e-11 | -11.852
223.947 | 2.7767e-11 | -11.88
223.641 | 2.7359e-11 | -11.8864
223.162 | 2.7219e-11 | -11.9199
222.878 | 2.6957e-11 | -11.9218
222.456 | 2.6686e-11 | -11.9468
222.165 | 2.7427e-11 | -11.9501
221.812 | 2.7046e-11 | -11.9622
221.43 | 2.6912e-11 | -11.9805
221.116 | 2.6321e-11 | -11.9874
220.676 | 2.6279e-11 | -12.0149
220.431 | 2.5464e-11 | -12.0114
220.006 | 2.49e-11 | -12.0357
219.751 | 2.4881e-11 | -12.033
219.362 | 2.4596e-11 | -12.0522
219.149 | 2.43e-11 | -12.0439
218.773 | 2.3954e-11 | -12.0608
218.549 | 2.3951e-11 | -12.0541
218.177 | 2.3821e-11 | -12.0703
217.948 | 2.3867e-11 | -12.064
217.672 | 2.323e-11 | -12.0648
217.495 | 2.3338e-11 | -12.0509
217.239 | 2.305e-11 | -12.0495
217.016 | 2.2865e-11 | -12.0431
216.776 | 2.2761e-11 | -12.0382
216.533 | 2.2675e-11 | -12.035
216.324 | 2.2473e-11 | -12.0267
216.082 | 2.2119e-11 | -12.0231
215.873 | 2.275e-11 | -12.0147
215.576 | 2.233e-11 | -12.0186
215.36 | 2.2491e-11 | -12.0106
215.173 | 2.1959e-11 | -11.9985
214.957 | 2.2182e-11 | -11.9911
214.765 | 2.1885e-11 | -11.98
214.564 | 2.1648e-11 | -11.9703
214.404 | 2.1719e-11 | -11.9553
214.189 | 2.1645e-11 | -11.9477
214.048 | 2.1621e-11 | -11.9296
213.777 | 2.1454e-11 | -11.9287
213.669 | 2.1455e-11 | -11.9067
213.39 | 2.1301e-11 | -11.9078
213.327 | 2.0881e-11 | -11.8793
213.05 | 2.0936e-11 | -11.8806
212.994 | 2.0686e-11 | -11.8517
212.671 | 2.0606e-11 | -11.8606
212.568 | 2.0428e-11 | -11.8388
212.343 | 2.0187e-11 | -11.8326
212.248 | 2.026e-11 | -11.8098
212.071 | 2.0124e-11 | -11.7974
211.951 | 2.0177e-11 | -11.7774
211.828 | 1.9675e-11 | -11.7574
211.708 | 1.9609e-11 | -11.7376
211.626 | 1.9632e-11 | -11.7131
211.486 | 1.9638e-11 | -11.697
211.416 | 1.9443e-11 | -11.6705
211.217 | 1.9231e-11 | -11.6627
211.225 | 1.9433e-11 | -11.6266
210.984 | 1.936e-11 | -11.6245
210.977 | 1.8975e-11 | -11.5909
210.748 | 1.9144e-11 | -11.5864
210.732 | 1.882e-11 | -11.5533
210.513 | 1.8748e-11 | -11.5477
210.481 | 1.8631e-11 | -11.5183
210.431 | 1.8795e-11 | -11.4914
210.421 | 1.8429e-11 | -11.4582
210.301 | 1.8493e-11 | -11.4407
210.306 | 1.845e-11 | -11.4071
210.151 | 1.8487e-11 | -11.3935
210.138 | 1.8271e-11 | -11.3621
210.043 | 1.82e-11 | -11.3412
210.024 | 1.8072e-11 | -11.311
210.025 | 1.8095e-11 | -11.2779
210.06 | 1.8137e-11 | -11.241
210.114 | 1.8026e-11 | -11.2022
210.158 | 1.7678e-11 | -11.1643
210.182 | 1.7564e-11 | -11.1287
210.181 | 1.8035e-11 | -11.0979
210.119 | 1.801e-11 | -11.0739
209.995 | 1.7508e-11 | -11.058
209.98 | 1.7773e-11 | -11.0285
209.739 | 1.7636e-11 | -11.0271
209.755 | 1.7437e-11 | -10.9941
209.505 | 1.7722e-11 | -10.994
209.431 | 1.7654e-11 | -10.9722
209.366 | 1.7289e-11 | -10.9502
209.142 | 1.7471e-11 | -10.9476
209.141 | 1.733e-11 | -10.9178
208.902 | 1.7286e-11 | -10.9169
208.876 | 1.7377e-11 | -10.8901
208.893 | 1.6687e-11 | -10.8581
208.833 | 1.6448e-11 | -10.8355
208.844 | 1.6748e-11 | -10.8041
208.873 | 1.6897e-11 | -10.7715
208.583 | 1.6845e-11 | -10.7768
208.559 | 1.6818e-11 | -10.7499
208.443 | 1.6611e-11 | -10.7353
208.204 | 1.6593e-11 | -10.7352
208.189 | 1.6427e-11 | -10.7073
208.017 | 1.6478e-11 | -10.6989
207.984 | 1.6616e-11 | -10.6742
207.997 | 1.6211e-11 | -10.6439
208.018 | 1.6467e-11 | -10.6133
208.038 | 1.6345e-11 | -10.5831
208.062 | 1.6364e-11 | -10.5524
208.089 | 1.6384e-11 | -10.5216
208.116 | 1.6253e-11 | -10.4914
208.144 | 1.6431e-11 | -10.4603
208.163 | 1.6021e-11 | -10.4303
208.183 | 1.618e-11 | -10.4006
208.086 | 1.6219e-11 | -10.3848
208.096 | 1.6263e-11 | -10.3565
207.958 | 1.6204e-11 | -10.3459
207.744 | 1.6195e-11 | -10.3438
207.724 | 1.6062e-11 | -10.3188
207.451 | 1.6083e-11 | -10.3231
207.32 | 1.6012e-11 | -10.3112
207.234 | 1.609e-11 | -10.2949
206.999 | 1.6002e-11 | -10.2952
206.966 | 1.5874e-11 | -10.2725
206.919 | 1.6095e-11 | -10.2515
206.901 | 1.6029e-11 | -10.2272
206.898 | 1.5828e-11 | -10.2008
206.891 | 1.5887e-11 | -10.1755
206.88 | 1.6054e-11 | -10.1513
206.884 | 1.5813e-11 | -10.1252
206.883 | 1.5874e-11 | -10.1004
206.886 | 1.549e-11 | -10.0746
206.886 | 1.5543e-11 | -10.0496
206.888 | 1.5563e-11 | -10.0244
206.891 | 1.5537e-11 | -9.9985
206.895 | 1.5561e-11 | -9.9732
206.896 | 1.5535e-11 | -9.9483
206.9 | 1.5415e-11 | -9.9235
206.903 | 1.5488e-11 | -9.8984
206.905 | 1.5541e-11 | -9.8738
206.907 | 1.559e-11 | -9.8492
206.909 | 1.5295e-11 | -9.8237
206.91 | 1.5223e-11 | -9.7995
206.908 | 1.5193e-11 | -9.7758
206.906 | 1.5364e-11 | -9.7522
206.904 | 1.5443e-11 | -9.729
206.903 | 1.5443e-11 | -9.7056
206.901 | 1.5155e-11 | -9.6817
206.898 | 1.5351e-11 | -9.6588
206.893 | 1.5086e-11 | -9.6364
206.885 | 1.5108e-11 | -9.6141
206.767 | 1.5257e-11 | -9.6033
206.716 | 1.5122e-11 | -9.5857
206.522 | 1.5266e-11 | -9.5834
206.045 | 1.518e-11 | -9.6107
205.881 | 1.5155e-11 | -9.6046
205.648 | 1.5266e-11 | -9.6065
205.363 | 1.5139e-11 | -9.6125
205.243 | 1.5145e-11 | -9.6021
205.093 | 1.5154e-11 | -9.5952
205 | 1.5157e-11 | -9.5825
204.937 | 1.5001e-11 | -9.5664
204.884 | 1.5134e-11 | -9.5489
204.842 | 1.5296e-11 | -9.5314
204.798 | 1.5147e-11 | -9.5141
204.759 | 1.5075e-11 | -9.4957
204.723 | 1.501e-11 | -9.4775
204.684 | 1.5072e-11 | -9.4595
204.653 | 1.4894e-11 | -9.4407
204.617 | 1.492e-11 | -9.4222
204.588 | 1.4892e-11 | -9.4034
204.556 | 1.4669e-11 | -9.3853
204.526 | 1.4946e-11 | -9.3668
204.495 | 1.4871e-11 | -9.3487
204.462 | 1.486e-11 | -9.3304
204.426 | 1.4898e-11 | -9.3118
204.388 | 1.467e-11 | -9.2942
204.354 | 1.4436e-11 | -9.2765
204.319 | 1.4746e-11 | -9.259
204.286 | 1.4649e-11 | -9.2414
204.242 | 1.4707e-11 | -9.2253
204.195 | 1.479e-11 | -9.2088
204.152 | 1.4516e-11 | -9.1922
204.09 | 1.4489e-11 | -9.1772
204.052 | 1.4594e-11 | -9.1606
204.006 | 1.44e-11 | -9.1442
203.963 | 1.4462e-11 | -9.128
203.919 | 1.448e-11 | -9.1122
203.871 | 1.4577e-11 | -9.0968
203.825 | 1.4428e-11 | -9.081
203.775 | 1.4563e-11 | -9.066
203.723 | 1.4517e-11 | -9.0511
203.673 | 1.4624e-11 | -9.0367
203.62 | 1.4512e-11 | -9.0217
203.563 | 1.4398e-11 | -9.0074
203.46 | 1.4484e-11 | -8.9973
203.331 | 1.448e-11 | -8.9905
203.272 | 1.4422e-11 | -8.9766
203.199 | 1.4391e-11 | -8.964
203.126 | 1.424e-11 | -8.9509
203.027 | 1.4401e-11 | -8.9409
202.929 | 1.4087e-11 | -8.9309
202.823 | 1.4461e-11 | -8.9217
202.742 | 1.4132e-11 | -8.9099
202.587 | 1.4371e-11 | -8.9052
202.517 | 1.4186e-11 | -8.8927
202.438 | 1.4147e-11 | -8.881
202.354 | 1.3862e-11 | -8.8699
202.264 | 1.4163e-11 | -8.8593
202.124 | 1.3848e-11 | -8.8534
202.03 | 1.4148e-11 | -8.8433
201.95 | 1.4012e-11 | -8.832
201.859 | 1.3955e-11 | -8.8214
201.766 | 1.3962e-11 | -8.8115
201.67 | 1.3988e-11 | -8.8021
201.584 | 1.3907e-11 | -8.7914
201.49 | 1.3865e-11 | -8.7814
201.398 | 1.3789e-11 | -8.7713
201.303 | 1.3922e-11 | -8.7613
201.206 | 1.3933e-11 | -8.752
201.118 | 1.387e-11 | -8.7423
201.02 | 1.376e-11 | -8.7333
200.926 | 1.3801e-11 | -8.724
200.827 | 1.3803e-11 | -8.7144
200.727 | 1.3671e-11 | -8.7053
200.629 | 1.387e-11 | -8.6954
200.531 | 1.3844e-11 | -8.6866
200.439 | 1.3849e-11 | -8.6775
200.336 | 1.3698e-11 | -8.6691
200.234 | 1.3598e-11 | -8.6604
200.141 | 1.3706e-11 | -8.6508
200.038 | 1.3849e-11 | -8.6423
199.936 | 1.3629e-11 | -8.6335
199.826 | 1.3473e-11 | -8.6259
199.709 | 1.3451e-11 | -8.619
199.557 | 1.3458e-11 | -8.6149
199.385 | 1.3298e-11 | -8.6125
199.273 | 1.3395e-11 | -8.6047
199.16 | 1.3382e-11 | -8.5974
199.044 | 1.3361e-11 | -8.5904
198.924 | 1.3225e-11 | -8.5839
198.798 | 1.3373e-11 | -8.5773
198.673 | 1.3291e-11 | -8.5711
198.435 | 1.3074e-11 | -8.5745
198.208 | 1.3254e-11 | -8.5771
198.063 | 1.3105e-11 | -8.5719
197.922 | 1.3213e-11 | -8.5672
197.777 | 1.3087e-11 | -8.5623
197.635 | 1.3034e-11 | -8.5576
197.493 | 1.311e-11 | -8.5526
197.35 | 1.3004e-11 | -8.5478
197.195 | 1.3091e-11 | -8.5436
197.056 | 1.3168e-11 | -8.5389
196.903 | 1.298e-11 | -8.5354
196.743 | 1.3015e-11 | -8.5323
196.565 | 1.2722e-11 | -8.5304
196.346 | 1.2827e-11 | -8.5321
196.152 | 1.3027e-11 | -8.5321
195.987 | 1.2897e-11 | -8.5295
195.823 | 1.2811e-11 | -8.5269
195.657 | 1.2819e-11 | -8.5246
195.499 | 1.2729e-11 | -8.5213
195.329 | 1.2846e-11 | -8.5188
195.162 | 1.2884e-11 | -8.5165
194.991 | 1.2626e-11 | -8.5145
194.825 | 1.2564e-11 | -8.5119
194.652 | 1.2519e-11 | -8.5099
194.487 | 1.2518e-11 | -8.5077
194.301 | 1.2426e-11 | -8.5067
194.124 | 1.2304e-11 | -8.5055
193.942 | 1.2353e-11 | -8.5042
193.761 | 1.2294e-11 | -8.5023
193.584 | 1.2098e-11 | -8.5009
193.409 | 1.1903e-11 | -8.4995
193.237 | 1.1963e-11 | -8.4977
193.055 | 1.2123e-11 | -8.497
192.872 | 1.1914e-11 | -8.4961
192.706 | 1.2068e-11 | -8.4935
192.53 | 1.2116e-11 | -8.4921
192.354 | 1.1846e-11 | -8.4903
192.177 | 1.1929e-11 | -8.489
192.002 | 1.1949e-11 | -8.4874
191.842 | 1.1896e-11 | -8.4851
191.668 | 1.1802e-11 | -8.4835
191.495 | 1.1674e-11 | -8.4814
191.32 | 1.1742e-11 | -8.4797
191.158 | 1.1633e-11 | -8.477
190.984 | 1.1912e-11 | -8.4753
190.807 | 1.1898e-11 | -8.4739
190.624 | 1.1954e-11 | -8.4725
190.423 | 1.1856e-11 | -8.4726
190.203 | 1.1627e-11 | -8.4743
190.008 | 1.1609e-11 | -8.4742
189.806 | 1.1711e-11 | -8.4747
189.613 | 1.1514e-11 | -8.4746
189.425 | 1.1708e-11 | -8.4741
189.239 | 1.1425e-11 | -8.4734
189.054 | 1.142e-11 | -8.4723
188.871 | 1.1479e-11 | -8.4708
188.689 | 1.1322e-11 | -8.4695
188.51 | 1.1225e-11 | -8.4684
188.346 | 1.1181e-11 | -8.4661
188.165 | 1.1169e-11 | -8.465
187.988 | 1.1043e-11 | -8.4635
187.798 | 1.1032e-11 | -8.4627
187.586 | 1.0929e-11 | -8.4639
187.378 | 1.0846e-11 | -8.4651
187.177 | 1.0682e-11 | -8.4653
186.982 | 1.0976e-11 | -8.4656
186.789 | 1.0768e-11 | -8.4654
186.604 | 1.0858e-11 | -8.4647
186.401 | 1.0606e-11 | -8.4654
186.19 | 1.0566e-11 | -8.4664
185.974 | 1.0486e-11 | -8.4679
185.754 | 1.065e-11 | -8.4696
185.535 | 1.0464e-11 | -8.4715
185.318 | 1.0394e-11 | -8.4731
185.077 | 1.0423e-11 | -8.4763
184.84 | 1.0304e-11 | -8.4793
184.621 | 1.0169e-11 | -8.4805
184.404 | 1.0253e-11 | -8.482
184.2 | 1.0161e-11 | -8.4829
183.975 | 9.8739e-12 | -8.4848
183.725 | 9.9474e-12 | -8.4886
183.491 | 1.0049e-11 | -8.4913
183.221 | 9.8695e-12 | -8.4963
182.959 | 1.0035e-11 | -8.5009
182.72 | 9.8742e-12 | -8.504
182.478 | 9.7484e-12 | -8.5072
182.197 | 9.8002e-12 | -8.5133
181.921 | 9.6973e-12 | -8.5185
181.599 | 9.7966e-12 | -8.5273
181.314 | 9.6408e-12 | -8.5339
181.019 | 9.8121e-12 | -8.5411
180.754 | 9.7904e-12 | -8.546
180.503 | 9.659e-12 | -8.5496
180.234 | 9.5393e-12 | -8.5548
179.892 | 9.4737e-12 | -8.5649
179.561 | 9.36e-12 | -8.574
179.26 | 9.4034e-12 | -8.581
178.999 | 9.3375e-12 | -8.5852
178.709 | 9.1424e-12 | -8.5917
178.442 | 9.191e-12 | -8.5965
178.182 | 9.0809e-12 | -8.6007
177.833 | 9.1329e-12 | -8.6109
177.501 | 8.9579e-12 | -8.6203
177.203 | 8.9316e-12 | -8.6272
176.907 | 8.7926e-12 | -8.634
176.62 | 8.7303e-12 | -8.6398
176.309 | 8.7375e-12 | -8.6473
175.974 | 8.7449e-12 | -8.6569
175.677 | 8.6925e-12 | -8.6636
175.363 | 8.5862e-12 | -8.6715
175.018 | 8.641e-12 | -8.6814
174.695 | 8.506e-12 | -8.6897
174.406 | 8.3414e-12 | -8.6954
174.13 | 8.4281e-12 | -8.7004
173.819 | 8.6401e-12 | -8.7076
173.552 | 8.3093e-12 | -8.7123
173.24 | 8.2951e-12 | -8.7199
172.935 | 8.2252e-12 | -8.7268
172.636 | 8.18e-12 | -8.7333
172.347 | 8.0866e-12 | -8.7386
172.052 | 7.9581e-12 | -8.7445
171.784 | 8.0074e-12 | -8.7489
171.512 | 7.9211e-12 | -8.7535
171.234 | 8.006e-12 | -8.7587
170.959 | 7.729e-12 | -8.7635
170.681 | 7.8597e-12 | -8.7685
170.404 | 7.7721e-12 | -8.7736
170.121 | 7.6115e-12 | -8.779
169.839 | 7.5169e-12 | -8.7842
169.56 | 7.4368e-12 | -8.7889
169.246 | 7.3946e-12 | -8.7957
168.967 | 7.4223e-12 | -8.8005
168.651 | 7.4294e-12 | -8.8077
168.345 | 7.4164e-12 | -8.8145
168.07 | 7.3852e-12 | -8.8188
167.782 | 7.1506e-12 | -8.8243
167.423 | 7.2013e-12 | -8.8348
167.056 | 7.2077e-12 | -8.8457
166.736 | 7.0755e-12 | -8.8533
166.457 | 7.1076e-12 | -8.8582
166.192 | 6.8081e-12 | -8.8617
165.936 | 6.8854e-12 | -8.8649
165.668 | 6.8021e-12 | -8.8685
165.428 | 6.9567e-12 | -8.8706
165.191 | 6.7064e-12 | -8.8726
164.96 | 6.6913e-12 | -8.874
164.717 | 6.6577e-12 | -8.876
164.495 | 6.5897e-12 | -8.8769
164.278 | 6.5593e-12 | -8.8775
164.067 | 6.4946e-12 | -8.8775
163.856 | 6.4831e-12 | -8.8774
163.636 | 6.4538e-12 | -8.878
163.433 | 6.3586e-12 | -8.8776
163.234 | 6.4642e-12 | -8.8771
163.033 | 6.3038e-12 | -8.8761
162.839 | 6.2008e-12 | -8.8752
162.648 | 6.1202e-12 | -8.874
162.457 | 6.0243e-12 | -8.8733
162.264 | 6.1633e-12 | -8.8724
162.053 | 6.1068e-12 | -8.8722
161.864 | 5.9832e-12 | -8.8706
161.681 | 5.7969e-12 | -8.8691
161.5 | 5.7954e-12 | -8.8675
161.319 | 5.7517e-12 | -8.8657
161.142 | 5.8738e-12 | -8.8636
160.971 | 5.6856e-12 | -8.8613
160.802 | 5.7514e-12 | -8.8585
160.626 | 5.6171e-12 | -8.8564
160.466 | 5.6016e-12 | -8.8533
160.307 | 5.5678e-12 | -8.8502
160.156 | 5.3888e-12 | -8.8464
160.004 | 5.5135e-12 | -8.8428
159.853 | 5.5385e-12 | -8.8391
159.714 | 5.454e-12 | -8.8347
159.562 | 5.4213e-12 | -8.8312
159.424 | 5.2389e-12 | -8.8266
159.287 | 5.3036e-12 | -8.8218
159.144 | 5.3106e-12 | -8.8174
159.01 | 5.3114e-12 | -8.8126
158.884 | 5.278e-12 | -8.8075
158.76 | 5.3042e-12 | -8.8023
158.639 | 5.2384e-12 | -8.7969
158.521 | 5.2383e-12 | -8.7914
158.406 | 5.1746e-12 | -8.7858
158.294 | 5.0935e-12 | -8.7798
158.185 | 5.1076e-12 | -8.7736
158.078 | 5.0328e-12 | -8.7676
157.976 | 5.0502e-12 | -8.7612
157.873 | 5.1657e-12 | -8.755
157.772 | 4.8646e-12 | -8.7486
157.675 | 4.852e-12 | -8.7416
157.584 | 4.9259e-12 | -8.7347
157.491 | 4.7329e-12 | -8.7277
157.394 | 4.8254e-12 | -8.7208
157.307 | 4.7765e-12 | -8.7136
157.218 | 4.7342e-12 | -8.7065
157.134 | 4.8459e-12 | -8.6991
157.046 | 4.6583e-12 | -8.6919
156.961 | 4.7782e-12 | -8.6844
156.879 | 4.5904e-12 | -8.6768
156.786 | 4.8326e-12 | -8.6698
156.702 | 4.6517e-12 | -8.6622
156.614 | 4.6205e-12 | -8.6552
156.53 | 4.6586e-12 | -8.6478
156.445 | 4.4955e-12 | -8.6407
156.348 | 4.4361e-12 | -8.6339
156.263 | 4.4774e-12 | -8.6267
156.179 | 4.4748e-12 | -8.6196
156.088 | 4.5337e-12 | -8.6123
156.005 | 4.5132e-12 | -8.6049
155.919 | 4.5592e-12 | -8.5977
155.835 | 4.4666e-12 | -8.5907
155.743 | 4.5206e-12 | -8.584
155.665 | 4.2815e-12 | -8.5765
155.576 | 4.3722e-12 | -8.5697
155.491 | 4.3335e-12 | -8.5626
155.402 | 4.2816e-12 | -8.5557
155.313 | 4.462e-12 | -8.5487
155.231 | 4.3018e-12 | -8.5416
155.141 | 4.3223e-12 | -8.535
155.055 | 4.2538e-12 | -8.5277
154.965 | 4.2861e-12 | -8.5211
154.879 | 4.2055e-12 | -8.5144
154.793 | 4.2991e-12 | -8.5075
154.706 | 4.2823e-12 | -8.5006
154.623 | 4.2607e-12 | -8.4937
154.528 | 4.1358e-12 | -8.4873
154.437 | 4.1278e-12 | -8.4809
154.348 | 4.218e-12 | -8.4746
154.262 | 4.1168e-12 | -8.4678
154.172 | 4.2493e-12 | -8.4612
154.08 | 4.1598e-12 | -8.4551
153.983 | 4.0946e-12 | -8.4485
153.893 | 4.1012e-12 | -8.4421
153.801 | 4.1003e-12 | -8.4357
153.695 | 4.1416e-12 | -8.4298
153.589 | 4.1153e-12 | -8.4241
153.482 | 4.1546e-12 | -8.4184
153.386 | 4.2559e-12 | -8.4124
153.284 | 4.0944e-12 | -8.4066
153.182 | 4.1437e-12 | -8.401
153.069 | 4.1085e-12 | -8.3954
152.963 | 4.1598e-12 | -8.39
152.853 | 4.0197e-12 | -8.3848
152.755 | 4.1324e-12 | -8.3791
152.656 | 4.1585e-12 | -8.3734
152.552 | 4.037e-12 | -8.3682
152.447 | 3.9462e-12 | -8.3626
152.347 | 3.9635e-12 | -8.3572
152.242 | 3.9547e-12 | -8.3516
152.144 | 4.0941e-12 | -8.3457
152.04 | 3.9332e-12 | -8.3403
151.933 | 3.9496e-12 | -8.3352
151.821 | 3.9263e-12 | -8.3301
151.717 | 4.0026e-12 | -8.3248
151.618 | 4.0717e-12 | -8.3194
151.513 | 3.9554e-12 | -8.314
151.415 | 3.7736e-12 | -8.3082
151.314 | 3.9534e-12 | -8.3027
151.21 | 3.9e-12 | -8.2975
151.109 | 3.8088e-12 | -8.2923
151.011 | 3.8466e-12 | -8.2864
150.903 | 3.8428e-12 | -8.2811
150.802 | 3.883e-12 | -8.2757
150.697 | 3.8036e-12 | -8.2706
150.586 | 3.8104e-12 | -8.2657
150.481 | 3.8096e-12 | -8.2607
150.375 | 3.8041e-12 | -8.2556
150.261 | 3.8921e-12 | -8.2507
150.158 | 3.7097e-12 | -8.2456
150.056 | 3.7496e-12 | -8.2403
149.943 | 3.792e-12 | -8.2356
149.837 | 3.7651e-12 | -8.2307
149.725 | 3.7554e-12 | -8.2257
149.626 | 3.7103e-12 | -8.2201
149.52 | 3.7207e-12 | -8.215
149.424 | 3.6343e-12 | -8.2094
149.327 | 3.7042e-12 | -8.2041
149.22 | 3.6556e-12 | -8.199
149.12 | 3.7857e-12 | -8.1936
149.009 | 3.4403e-12 | -8.1888
148.911 | 3.5258e-12 | -8.1836
148.811 | 3.6271e-12 | -8.1785
148.704 | 3.6379e-12 | -8.1737
148.582 | 3.5966e-12 | -8.1697
148.463 | 3.5562e-12 | -8.1656
148.347 | 3.6125e-12 | -8.1614
148.23 | 3.7083e-12 | -8.1569
148.114 | 3.6223e-12 | -8.1526
147.984 | 3.7575e-12 | -8.1491
147.762 | 3.5848e-12 | -8.1504
147.574 | 3.516e-12 | -8.1503
147.406 | 3.6851e-12 | -8.1488
147.261 | 3.4897e-12 | -8.1461
147.133 | 3.5178e-12 | -8.1426
146.998 | 3.543e-12 | -8.1394
146.806 | 3.5417e-12 | -8.1393
146.635 | 3.4959e-12 | -8.1381
146.485 | 3.6927e-12 | -8.1355
146.343 | 3.4836e-12 | -8.1328
146.207 | 3.4699e-12 | -8.1295
146.036 | 3.4797e-12 | -8.1284
145.843 | 3.563e-12 | -8.1284
145.657 | 3.5192e-12 | -8.128
145.51 | 3.486e-12 | -8.1254
145.356 | 3.4816e-12 | -8.1234
145.128 | 3.3903e-12 | -8.1253
144.923 | 3.4696e-12 | -8.1258
144.75 | 3.5177e-12 | -8.1248
144.586 | 3.4211e-12 | -8.1232
144.436 | 3.5418e-12 | -8.1207
144.249 | 3.4116e-12 | -8.1203
144.039 | 3.4179e-12 | -8.1211
143.824 | 3.5572e-12 | -8.1223
143.598 | 3.3466e-12 | -8.1239
143.417 | 3.364e-12 | -8.1231
143.203 | 3.3873e-12 | -8.1238
142.943 | 3.3775e-12 | -8.1272
142.607 | 3.4816e-12 | -8.1347
142.318 | 3.3285e-12 | -8.1396
142.083 | 3.4243e-12 | -8.1417
141.871 | 3.3674e-12 | -8.1424
141.627 | 3.4669e-12 | -8.1447
141.313 | 3.3779e-12 | -8.1509
140.967 | 3.4536e-12 | -8.1588
140.585 | 3.3373e-12 | -8.1685
140.293 | 3.3757e-12 | -8.1732
140.047 | 3.2787e-12 | -8.1756
139.795 | 3.4261e-12 | -8.1782
139.472 | 3.3087e-12 | -8.1846
139.091 | 3.2259e-12 | -8.194
138.701 | 3.2682e-12 | -8.2039
138.406 | 3.3346e-12 | -8.209
138.15 | 3.2352e-12 | -8.2115
137.9 | 3.1898e-12 | -8.2141
137.578 | 3.2332e-12 | -8.2203
137.267 | 3.1524e-12 | -8.2262
137.009 | 3.267e-12 | -8.2291
136.801 | 3.2806e-12 | -8.2296
136.537 | 3.2536e-12 | -8.233
136.132 | 3.2466e-12 | -8.2436
135.604 | 3.1303e-12 | -8.2603
135.134 | 3.2814e-12 | -8.2741
134.72 | 3.1954e-12 | -8.285
134.329 | 2.9873e-12 | -8.2948
133.688 | 3.122e-12 | -8.3172
132.901 | 3.209e-12 | -8.3469
132.185 | 3.2224e-12 | -8.3729
131.52 | 3.278e-12 | -8.3963
131.028 | 3.2845e-12 | -8.411
130.656 | 3.3135e-12 | -8.4195
130.331 | 3.1332e-12 | -8.4256
129.976 | 3.3335e-12 | -8.4333
129.531 | 3.1795e-12 | -8.4455
129.151 | 3.3748e-12 | -8.4542
128.839 | 3.2465e-12 | -8.4597
128.597 | 3.2122e-12 | -8.4615
128.253 | 3.1374e-12 | -8.468
127.727 | 3.1604e-12 | -8.4839
127.066 | 3.1603e-12 | -8.5066
126.298 | 3.1349e-12 | -8.5344
125.616 | 3.1805e-12 | -8.5578
125.104 | 3.2221e-12 | -8.5732
124.682 | 2.9367e-12 | -8.5838
124.339 | 3.0491e-12 | -8.5903
123.819 | 2.9571e-12 | -8.6059
123.14 | 2.9957e-12 | -8.6293
122.42 | 2.9092e-12 | -8.6546
121.766 | 2.8705e-12 | -8.6765
121.296 | 2.9491e-12 | -8.6894
120.924 | 2.9294e-12 | -8.6974
120.347 | 2.8842e-12 | -8.7153
119.568 | 2.8075e-12 | -8.7432
118.579 | 2.9447e-12 | -8.7813
117.682 | 2.9256e-12 | -8.8146
117.018 | 2.8817e-12 | -8.8367
116.524 | 2.8705e-12 | -8.8506
116.136 | 2.8712e-12 | -8.8591
115.719 | 2.8889e-12 | -8.8692
115.148 | 2.8551e-12 | -8.8866
114.451 | 2.7547e-12 | -8.91
113.848 | 2.8434e-12 | -8.9285
113.426 | 2.5633e-12 | -8.9383
113.083 | 2.6885e-12 | -8.9444
112.642 | 2.6116e-12 | -8.9553
111.985 | 2.5908e-12 | -8.9762
111.297 | 2.5762e-12 | -8.999
110.779 | 2.6648e-12 | -9.0136
110.402 | 2.6453e-12 | -9.0213
110.1 | 2.4654e-12 | -9.0251
109.607 | 2.6381e-12 | -9.0386
108.667 | 2.4695e-12 | -9.0726
107.631 | 2.4999e-12 | -9.1118
106.655 | 2.4307e-12 | -9.1481
105.815 | 2.435e-12 | -9.1777
105.282 | 2.5214e-12 | -9.1927
104.835 | 2.4629e-12 | -9.2035
104.115 | 2.5147e-12 | -9.2268
103.198 | 2.4908e-12 | -9.2595
102.393 | 2.5269e-12 | -9.2869
101.863 | 2.5774e-12 | -9.3014
101.513 | 2.477e-12 | -9.3074
101.301 | 2.5286e-12 | -9.307
100.947 | 2.3853e-12 | -9.3129
100.453 | 2.1541e-12 | -9.3256
99.915 | 2.3477e-12 | -9.3404
99.5253 | 2.4143e-12 | -9.3481
99.2632 | 2.2592e-12 | -9.3497
98.9853 | 2.0725e-12 | -9.3521
98.2512 | 2.167e-12 | -9.376
97.1681 | 2.1348e-12 | -9.4162
96.1854 | 2.253e-12 | -9.4512
95.5173 | 2.173e-12 | -9.4719
95.1518 | 2.2665e-12 | -9.4782
94.9454 | 2.2374e-12 | -9.4771
94.8182 | 2.1589e-12 | -9.4724
94.7122 | 2.0087e-12 | -9.4665
94.6014 | 2.0448e-12 | -9.4607
94.5208 | 1.8849e-12 | -9.4535
94.5028 | 1.869e-12 | -9.4436
94.4084 | 1.884e-12 | -9.437
92.6504 | 1.5239e-12 | -9.4745
92.5597 | 1.5873e-12 | -9.4681
92.4689 | 1.633e-12 | -9.4619
91.8855 | 1.6175e-12 | -9.4782
91.5155 | 1.5978e-12 | -9.4847
91.336 | 1.5269e-12 | -9.4823
91.2494 | 1.5158e-12 | -9.4757
91.2389 | 1.485e-12 | -9.4655
90.8319 | 1.4484e-12 | -9.4738
89.6732 | 1.4091e-12 | -9.5162
88.3045 | 1.4488e-12 | -9.5682
88.0206 | 1.4619e-12 | -9.5703
88.0062 | 1.5297e-12 | -9.5605
88.0086 | 1.5244e-12 | -9.5499
87.9967 | 1.5373e-12 | -9.5402
85.3858 | 1.5341e-12 | -9.6481
84.2994 | 1.6115e-12 | -9.6868
84.2434 | 1.6524e-12 | -9.6787
84.1402 | 1.7011e-12 | -9.6728
84.258 | 1.702e-12 | -9.657
84.1705 | 1.6899e-12 | -9.6504
83.2959 | 1.6472e-12 | -9.6792
83.0221 | 1.6424e-12 | -9.6809
82.9948 | 1.5942e-12 | -9.6714
83.0911 | 1.5827e-12 | -9.6567
83.1918 | 1.5255e-12 | -9.6415
82.447 | 1.4597e-12 | -9.6644
81.6452 | 1.421e-12 | -9.6897
81.1753 | 1.4203e-12 | -9.7002
80.9256 | 1.408e-12 | -9.701
80.7783 | 1.3916e-12 | -9.6972
80.6855 | 1.3809e-12 | -9.6908
80.6366 | 1.3558e-12 | -9.6826
80.5338 | 1.2754e-12 | -9.6768
80.4296 | 1.231e-12 | -9.6709
80.398 | 1.1617e-12 | -9.6615
80.3936 | 1.134e-12 | -9.6515
80.3831 | 1.1037e-12 | -9.6415
80.3582 | 1.0274e-12 | -9.6323

## Pulse
Temperature | Current | Time
80.3802 | -3.9962e-10 | 6.3736
80.404 | -3.9761e-10 | 7.844
80.4108 | -3.9962e-10 | 9.2907
80.4123 | -4.1648e-10 | 10.7182
80.417 | -4.0618e-10 | 12.1844
80.4214 | -4.0335e-10 | 13.6179
80.4227 | -4.0735e-10 | 15.0642
80.4194 | -4.0905e-10 | 16.5327
80.4176 | -4.5444e-10 | 17.9887
80.4123 | -4.0663e-10 | 19.4603
80.4148 | -4.0188e-10 | 20.9038
80.4165 | -3.6678e-10 | 22.3529
80.4123 | -3.7055e-10 | 23.8162
80.4052 | -3.5604e-10 | 25.2611
80.3983 | -4.006e-10 | 26.7474
80.398 | -4.1568e-10 | 28.1943
80.404 | -3.5354e-10 | 29.6749
80.3946 | -3.4045e-10 | 31.124
80.3946 | -3.9106e-10 | 32.5825
80.3831 | -3.9279e-10 | 34.0373
80.3917 | -3.7583e-10 | 35.4818
80.3965 | -3.2682e-10 | 36.9341
80.3914 | -3.3679e-10 | 38.3793
80.3831 | -3.4177e-10 | 39.8445
80.3634 | -3.3831e-10 | 41.2968
80.3399 | -3.0776e-10 | 42.7586
80.3133 | -3.0367e-10 | 44.2424
80.3008 | -2.9075e-10 | 45.7013
80.2772 | -2.9214e-10 | 47.1617
80.2583 | -3.0338e-10 | 48.6456
80.2371 | -3.264e-10 | 50.0802
80.2131 | -3.2712e-10 | 51.5522
80.1849 | -3.3264e-10 | 52.9889
80.1701 | -3.2118e-10 | 54.4315
80.1545 | -3.3678e-10 | 55.8962
80.1022 | -3.4553e-10 | 57.3341
80.0473 | -3.328e-10 | 58.7948

## Measurements
Temperature | Current | Temp Rate
79.9955 | 6.1694e-10 | 0
80.1022 | 1.6054e-10 | 1.2768
80.4624 | 1.4518e-10 | 4.2181
80.7014 | 1.3582e-10 | 5.7557
81.0671 | 1.2751e-10 | 7.2061
81.3754 | 1.2205e-10 | 8.5578
81.6033 | 1.1866e-10 | 9.2641
81.9511 | 1.1463e-10 | 10.2837
82.2499 | 1.1183e-10 | 10.9597
82.5366 | 1.0956e-10 | 11.6899
82.8415 | 1.0743e-10 | 19.6992
83.1612 | 1.0538e-10 | 27.4476
83.4849 | 1.0318e-10 | 45.8918
83.8124 | 1.0135e-10 | 106.4301
84.189 | 9.9822e-11 | 166.3582
84.5147 | 9.8244e-11 | 15.4219
84.8825 | 9.6818e-11 | 15.8626
85.2079 | 9.5416e-11 | 16.2865
85.5301 | 9.413e-11 | 453.7995
85.8441 | 9.2743e-11 | 17.1359
86.1994 | 9.1372e-11 | 17.4265
87.4666 | 8.6272e-11 | 18.4064
88.5492 | 8.1599e-11 | 18.9905
88.8243 | 8.0219e-11 | 19.1606
89.0962 | 7.8769e-11 | 19.226
89.4073 | 7.7314e-11 | 19.3194
89.6751 | 7.5917e-11 | 19.4036
89.9434 | 7.4319e-11 | 19.5302
90.2089 | 7.2723e-11 | 19.5732
90.6241 | 7.0024e-11 | 19.6484
90.8876 | 6.779e-11 | 19.751
91.1462 | 6.5293e-11 | 19.8048
91.4407 | 6.2333e-11 | 19.8193
91.7352 | 5.8359e-11 | 19.8277
92.096 | 5.2627e-11 | 19.9396
92.3515 | 4.8854e-11 | 19.9869
92.6736 | 4.3023e-11 | 20.0191
92.9271 | 3.8617e-11 | 20.0511
93.3178 | 3.2303e-11 | 20.0689
93.5657 | 2.849e-11 | 20.1172
93.8445 | 2.4598e-11 | 20.1436
94.1889 | 1.8504e-11 | 20.154
94.4642 | 1.3832e-11 | 20.147
94.7404 | 9.9593e-12 | 20.125
95.0845 | 6.0631e-12 | 20.1837
95.3226 | 4.067e-12 | 20.1752
95.6666 | -1.2896e-13 | 18.3809
97.4706 | -1.0363e-13 | 20.2096
98.2854 | -9.901e-14 | 20.2236
98.5552 | -8.1895e-14 | 20.2005
98.8957 | -8.3526e-14 | 20.2068
99.1306 | -7.3154e-14 | 20.2314
99.4674 | -6.0159e-14 | 20.1981
99.8042 | -4.6595e-14 | 20.1987
100.04 | -4.9003e-14 | 20.2303
100.378 | -7.338e-14 | 20.2263
100.807 | -2.9727e-14 | 20.202
101.104 | -6.512e-15 | 20.1514
101.371 | 7.905e-15 | 20.2053
101.602 | 1.0545e-14 | 20.1921
101.866 | 1.0857e-14 | 20.18
102.099 | 3.429e-15 | 20.1814
102.464 | 4.46e-15 | 20.1935
102.73 | -3.038e-15 | 20.1752
103.062 | 5.0764e-14 | 20.1654
103.331 | 3.54e-14 | 20.1677
103.663 | 4.5754e-14 | 20.1802
103.93 | 1.8689e-14 | 20.1559
104.266 | 6.2393e-14 | 20.178
104.497 | 8.6396e-14 | 20.1688
104.867 | 8.937e-14 | 20.1591
105.101 | 8.071e-14 | 20.1734
105.437 | 7.9169e-14 | 20.1655
105.77 | 8.7368e-14 | 20.1605
106.039 | 1.0813e-13 | 20.1491
106.378 | 1.1961e-13 | 20.1649
106.647 | 1.2884e-13 | 20.1543
106.985 | 1.404e-13 | 20.1557
107.22 | 1.6494e-13 | 20.171
107.59 | 1.5167e-13 | 20.1609
107.827 | 1.6274e-13 | 20.1756
108.157 | 1.6294e-13 | 20.1656
108.433 | 1.7637e-13 | 20.1622
108.767 | 1.9357e-13 | 20.1719
109.036 | 2.085e-13 | 20.1608
109.363 | 1.9137e-13 | 20.1664
109.724 | 2.1146e-13 | 20.151
109.954 | 2.2156e-13 | 20.144
110.285 | 2.4943e-13 | 20.144
110.517 | 2.472e-13 | 20.1513
110.883 | 2.6945e-13 | 20.1404
111.113 | 2.6564e-13 | 20.1482
111.446 | 2.6383e-13 | 20.1439
111.779 | 2.7857e-13 | 20.1393
112.047 | 2.7276e-13 | 20.1321
112.382 | 2.9171e-13 | 20.1445
112.648 | 2.9996e-13 | 20.1316
112.982 | 3.0757e-13 | 20.1248
113.216 | 3.111e-13 | 20.1309
113.585 | 2.9578e-13 | 20.1244
113.819 | 2.9999e-13 | 20.1408
114.155 | 2.831e-13 | 20.1364
114.49 | 3.2087e-13 | 20.1346
114.759 | 3.4045e-13 | 20.1272
115.094 | 3.6386e-13 | 20.1417
115.328 | 3.5725e-13 | 20.1371
115.664 | 3.7155e-13 | 20.1346
115.933 | 3.6982e-13 | 20.1261
116.268 | 3.4419e-13 | 20.14
116.535 | 3.8565e-13 | 20.131
116.873 | 3.8172e-13 | 20.1265
117.107 | 3.9105e-13 | 20.1319
117.475 | 4.133e-13 | 20.13
117.712 | 4.307e-13 | 20.1367
118.077 | 4.314e-13 | 20.1224
118.342 | 4.5076e-13 | 20.1249
118.706 | 4.5222e-13 | 20.1235
118.935 | 4.7212e-13 | 20.114
119.268 | 4.9435e-13 | 20.1225
119.532 | 5.0697e-13 | 20.1132
119.899 | 4.9091e-13 | 20.1144
120.13 | 4.9506e-13 | 20.1198
120.499 | 5.188e-13 | 20.1111
120.731 | 5.1518e-13 | 20.1227
121.064 | 5.3791e-13 | 20.1157
121.333 | 5.7029e-13 | 20.1089
121.665 | 5.6273e-13 | 20.1192
121.936 | 5.9917e-13 | 20.1047
122.303 | 5.8095e-13 | 20.1059
122.537 | 5.7587e-13 | 20.1144
122.873 | 6.1457e-13 | 20.1167
123.143 | 6.3184e-13 | 20.1052
123.471 | 6.5075e-13 | 20.1121
123.746 | 6.6192e-13 | 20.1093
124.08 | 6.5394e-13 | 20.1214
124.315 | 6.7533e-13 | 20.1178
124.683 | 6.7094e-13 | 20.1095
124.918 | 6.582e-13 | 20.1199
125.282 | 6.8421e-13 | 20.1105
125.589 | 6.9636e-13 | 20.1096
125.857 | 6.9942e-13 | 20.1198
126.193 | 7.1659e-13 | 20.1198
126.459 | 7.2906e-13 | 20.1095
126.696 | 7.6738e-13 | 20.1191
127.031 | 7.5274e-13 | 20.1148
127.299 | 7.8542e-13 | 20.1199
127.665 | 8.1305e-13 | 20.1089
128.058 | 8.8693e-13 | 20.119
128.32 | 8.7361e-13 | 20.1064
128.553 | 8.516e-13 | 20.1117
128.882 | 9.0798e-13 | 20.105
129.149 | 8.9067e-13 | 20.0964
129.481 | 8.9664e-13 | 20.1028
129.747 | 9.4815e-13 | 20.0974
130.08 | 9.4086e-13 | 20.105
130.347 | 9.5205e-13 | 20.0996
130.683 | 9.5086e-13 | 20.1042
130.949 | 9.1556e-13 | 20.0908
131.317 | 9.0321e-13 | 20.0987
131.72 | 9.1232e-13 | 20.0818
131.955 | 9.6377e-13 | 20.1083
132.222 | 1.0118e-12 | 20.1023
132.49 | 9.9788e-13 | 20.0935
132.759 | 1.0021e-12 | 20.1043
133.025 | 1.001e-12 | 20.102
133.394 | 1.0197e-12 | 20.1047
133.662 | 1.0391e-12 | 20.0964
133.897 | 1.0515e-12 | 20.1016
134.266 | 1.0687e-12 | 20.0958
134.499 | 1.1066e-12 | 20.1038
134.836 | 1.129e-12 | 20.1003
135.205 | 1.0772e-12 | 20.0967
135.472 | 1.1176e-12 | 20.0992
135.742 | 1.1325e-12 | 20.1037
136.075 | 1.1363e-12 | 20.0955
136.345 | 1.1742e-12 | 20.0955
136.711 | 1.2144e-12 | 20.1012
137.013 | 1.2381e-12 | 20.0939
137.349 | 1.2615e-12 | 20.1051
137.581 | 1.3095e-12 | 20.0981
137.845 | 1.3104e-12 | 20.097
138.175 | 1.3234e-12 | 20.0933
138.406 | 1.3337e-12 | 20.093
138.736 | 1.3826e-12 | 20.0874
139.066 | 1.4457e-12 | 20.0924
139.364 | 1.4474e-12 | 20.0802
139.598 | 1.4682e-12 | 20.0931
139.965 | 1.4279e-12 | 20.0915
140.266 | 1.4509e-12 | 20.0833
140.532 | 1.5183e-12 | 20.0843
140.9 | 1.58e-12 | 20.0821
141.2 | 1.499e-12 | 20.0836
141.468 | 1.5492e-12 | 20.0896
141.735 | 1.5987e-12 | 20.0909
142.035 | 1.6425e-12 | 20.0884
142.405 | 1.6618e-12 | 20.0865
142.672 | 1.6692e-12 | 20.0852
143.042 | 1.6606e-12 | 20.0923
143.275 | 1.7043e-12 | 20.0864
143.612 | 1.6919e-12 | 20.0821
143.878 | 1.7033e-12 | 20.0862
144.147 | 1.7105e-12 | 20.0795
144.415 | 1.746e-12 | 20.0881
144.748 | 1.7711e-12 | 20.0906
145.05 | 1.7955e-12 | 20.0809
145.319 | 1.7095e-12 | 20.0892
145.686 | 1.8141e-12 | 20.0924
145.954 | 1.8779e-12 | 20.0914
146.221 | 1.9474e-12 | 20.0924
146.592 | 1.9562e-12 | 20.0858
146.858 | 2.0302e-12 | 20.0942
147.193 | 2.0348e-12 | 20.0879
147.461 | 2.0487e-12 | 20.0899
147.729 | 2.06e-12 | 20.0909
148.029 | 2.0598e-12 | 20.0849
148.392 | 2.062e-12 | 20.0891
148.654 | 2.2332e-12 | 19.9702
150.312 | 2.3198e-12 | 20.0793
151.246 | 2.367e-12 | 20.0805
151.579 | 2.212e-12 | 20.0808
151.88 | 2.2836e-12 | 20.0794
152.148 | 2.4889e-12 | 20.0835
152.417 | 2.5851e-12 | 20.0814
152.783 | 2.5689e-12 | 20.0734
153.051 | 2.5458e-12 | 20.0752
153.385 | 2.666e-12 | 20.0799
153.653 | 2.6055e-12 | 20.0818
153.988 | 2.7311e-12 | 20.0825
154.256 | 2.7208e-12 | 20.0755
154.625 | 2.7997e-12 | 20.0759
154.86 | 2.8093e-12 | 20.0808
155.193 | 2.8008e-12 | 19.9924
155.763 | 2.8906e-12 | 20.073
156.063 | 2.887e-12 | 20.0826
156.331 | 2.7885e-12 | 20.0775
156.6 | 2.8059e-12 | 20.0749
156.868 | 3.0484e-12 | 20.0755
157.138 | 2.9917e-12 | 20.0763
157.406 | 3.0867e-12 | 20.0766
157.673 | 3.0401e-12 | 20.0769
157.908 | 3.0767e-12 | 20.0802
158.175 | 3.1496e-12 | 20.0813
158.444 | 3.1881e-12 | 20.0767
158.81 | 3.1672e-12 | 20.0776
159.045 | 3.1345e-12 | 20.082
159.415 | 3.3182e-12 | 20.077
159.679 | 3.3256e-12 | 20.0781
159.91 | 3.3274e-12 | 20.0801
160.272 | 3.5393e-12 | 20.076
160.538 | 3.4408e-12 | 20.0752
160.869 | 3.4673e-12 | 20.0754
161.132 | 3.4506e-12 | 20.0759
161.399 | 3.5662e-12 | 20.0753
161.798 | 3.5791e-12 | 20.0724
162.03 | 3.5698e-12 | 20.0754
162.398 | 3.622e-12 | 20.07
162.665 | 3.6054e-12 | 20.0687
162.933 | 3.6481e-12 | 20.0713
163.266 | 3.7858e-12 | 20.0744
163.534 | 3.7452e-12 | 20.0679
163.868 | 3.913e-12 | 20.0726
164.136 | 3.882e-12 | 20.0725
164.403 | 3.8444e-12 | 20.0753
164.772 | 4.0312e-12 | 20.0685
165.039 | 4.1482e-12 | 20.0694
165.406 | 3.9062e-12 | 20.0698
165.708 | 4.0346e-12 | 20.0703
165.975 | 4.1509e-12 | 20.0704
166.277 | 4.0791e-12 | 20.0755
166.545 | 4.2779e-12 | 20.0688
166.881 | 4.3009e-12 | 20.0721
167.147 | 4.2393e-12 | 20.0733
167.414 | 4.3235e-12 | 20.0753
167.817 | 4.369e-12 | 20.073
168.084 | 4.4259e-12 | 20.0709
168.318 | 4.5083e-12 | 20.0745
168.653 | 4.4462e-12 | 20.0715
168.953 | 4.6496e-12 | 20.0727
169.288 | 4.4223e-12 | 20.0666
169.588 | 4.5709e-12 | 20.0733
169.856 | 4.675e-12 | 20.0729
170.125 | 4.6112e-12 | 20.0736
170.493 | 4.8612e-12 | 20.0691
170.76 | 4.708e-12 | 20.0704
171.093 | 4.8162e-12 | 20.0735
171.362 | 4.8526e-12 | 20.0693
171.724 | 5.0041e-12 | 20.0726
171.989 | 4.8205e-12 | 20.066
172.252 | 5.0965e-12 | 20.0667
172.516 | 5.0185e-12 | 20.0676
172.88 | 5.2114e-12 | 20.0716
173.144 | 5.1761e-12 | 20.0699
173.543 | 5.3274e-12 | 20.0643
173.81 | 5.2329e-12 | 20.0689
174.042 | 5.3841e-12 | 20.0677
174.308 | 5.3274e-12 | 20.0671
174.676 | 5.4358e-12 | 20.0671
174.943 | 5.5728e-12 | 20.0603
175.21 | 5.4901e-12 | 20.0661
175.578 | 5.5663e-12 | 20.0663
175.847 | 5.5385e-12 | 20.0662
176.114 | 5.6883e-12 | 20.0668
176.481 | 5.8612e-12 | 20.0688
176.748 | 5.9006e-12 | 20.0638
177.082 | 5.9246e-12 | 20.0648
177.35 | 6.0872e-12 | 20.0636
177.618 | 6.1123e-12 | 20.0674
178.02 | 6.1835e-12 | 20.0635
178.32 | 6.2395e-12 | 20.062
178.654 | 6.1586e-12 | 20.0611
178.958 | 6.3143e-12 | 20.0628
179.323 | 6.3304e-12 | 20.0665
179.592 | 6.2379e-12 | 20.0623
179.86 | 6.1715e-12 | 20.0679
180.125 | 6.1171e-12 | 20.0606
180.427 | 6.234e-12 | 20.0637
180.696 | 6.1784e-12 | 20.0674
180.962 | 6.2364e-12 | 20.0607
181.231 | 6.3523e-12 | 20.0653
181.498 | 6.2567e-12 | 20.0652
181.865 | 6.409e-12 | 20.0646
182.165 | 6.5343e-12 | 20.065
182.399 | 6.5628e-12 | 20.0645
182.832 | 6.6333e-12 | 20.0612
183.1 | 6.5529e-12 | 20.0685
183.365 | 6.7614e-12 | 20.0652
183.668 | 6.7087e-12 | 20.0636
183.936 | 6.8296e-12 | 20.0636
184.269 | 6.6909e-12 | 20.0664
184.536 | 7.0411e-12 | 20.061
184.895 | 7.0966e-12 | 20.0635
185.129 | 7.0516e-12 | 20.062
185.493 | 7.0284e-12 | 20.0644
185.757 | 7.1403e-12 | 20.0587
186.123 | 7.3139e-12 | 20.0578
186.388 | 7.3019e-12 | 20.0621
186.685 | 7.387e-12 | 20.0633
186.952 | 7.3385e-12 | 20.0579
187.286 | 7.4735e-12 | 20.0593
187.652 | 7.5135e-12 | 20.0604
187.886 | 7.5756e-12 | 20.0611
188.152 | 7.6946e-12 | 20.0595
188.453 | 7.6244e-12 | 20.0563
188.753 | 7.7431e-12 | 20.0561
189.054 | 7.7925e-12 | 20.0572
189.321 | 7.8255e-12 | 20.0604
189.723 | 7.8169e-12 | 20.0564
190.058 | 8.0565e-12 | 20.0596
190.358 | 8.1166e-12 | 20.0578
190.625 | 8.0659e-12 | 20.0575
190.893 | 8.1892e-12 | 20.0565
191.161 | 8.3729e-12 | 20.0561
191.462 | 8.4068e-12 | 20.058
191.795 | 8.6496e-12 | 20.0558
192.065 | 8.581e-12 | 20.0603
192.331 | 8.721e-12 | 20.0607
192.599 | 8.7899e-12 | 20.0593
192.999 | 8.9377e-12 | 20.0563
193.267 | 8.8925e-12 | 20.0569
193.537 | 9.0149e-12 | 20.0553
193.903 | 9.0936e-12 | 20.0555
194.17 | 9.2097e-12 | 20.0606
194.437 | 9.2064e-12 | 20.056
194.771 | 9.2949e-12 | 20.0599
195.038 | 9.395e-12 | 20.0603
195.34 | 9.3797e-12 | 20.0585
195.672 | 9.5679e-12 | 20.0602
195.942 | 9.6765e-12 | 20.0609
196.21 | 9.6939e-12 | 20.0609
196.576 | 9.7328e-12 | 20.0563
196.844 | 9.7469e-12 | 20.0565
197.211 | 9.9229e-12 | 20.0571
197.477 | 9.9323e-12 | 20.0598
197.744 | 9.9832e-12 | 20.0589
198.011 | 1.0126e-11 | 20.0598
198.379 | 1.0122e-11 | 20.057
198.645 | 1.0225e-11 | 20.0572
198.975 | 1.0271e-11 | 20.0575
199.239 | 1.0325e-11 | 20.0562
199.537 | 1.0562e-11 | 20.0549
199.9 | 1.0684e-11 | 20.054
200.164 | 1.061e-11 | 20.0561
200.431 | 1.0822e-11 | 20.0563
200.796 | 1.0876e-11 | 20.0561
201.062 | 1.0841e-11 | 20.0536
201.362 | 1.0964e-11 | 20.0511
201.63 | 1.1167e-11 | 20.0514
201.997 | 1.1086e-11 | 20.0536
202.232 | 1.0175e-11 | 20.0526
202.533 | 1.1338e-11 | 20.0563
202.8 | 1.1284e-11 | 20.0537
203.101 | 1.1652e-11 | 20.054
203.501 | 1.172e-11 | 20.0527
203.772 | 1.1831e-11 | 20.056
204.038 | 1.1865e-11 | 20.0526
204.337 | 1.2091e-11 | 20.0576
204.603 | 1.2257e-11 | 20.0544
204.972 | 1.2246e-11 | 20.0543
205.235 | 1.2244e-11 | 20.0526
205.541 | 1.2317e-11 | 20.0536
205.84 | 1.236e-11 | 20.0515
206.143 | 1.2386e-11 | 20.0572
206.443 | 1.2342e-11 | 20.0513
206.714 | 1.2554e-11 | 20.0558
207.114 | 1.273e-11 | 20.0563
207.381 | 1.2619e-11 | 20.055
207.716 | 1.2858e-11 | 20.0504
208.05 | 1.3012e-11 | 20.0538
208.315 | 1.324e-11 | 20.0515
208.582 | 1.3157e-11 | 20.0552
208.849 | 1.3365e-11 | 20.0554
209.118 | 1.3391e-11 | 20.0562
209.483 | 1.3402e-11 | 20.0542
209.751 | 1.3402e-11 | 20.0533
210.252 | 1.3504e-11 | 20.046
210.521 | 1.3729e-11 | 20.0544
210.79 | 1.3887e-11 | 20.0549
211.054 | 1.3953e-11 | 20.0527
211.322 | 1.3889e-11 | 20.0529
211.624 | 1.3914e-11 | 20.0554
211.892 | 1.419e-11 | 20.0555
212.158 | 1.4252e-11 | 20.0543
212.424 | 1.4213e-11 | 20.0535
212.725 | 1.4548e-11 | 20.055
213.124 | 1.4645e-11 | 20.0515
213.387 | 1.4344e-11 | 20.0529
213.75 | 1.4877e-11 | 20.0501
214.015 | 1.4911e-11 | 20.0501
214.28 | 1.5215e-11 | 20.052
214.546 | 1.5128e-11 | 20.0507
214.813 | 1.5306e-11 | 20.0513
215.176 | 1.5446e-11 | 20.0485
215.439 | 1.5516e-11 | 20.0515
215.706 | 1.5681e-11 | 20.0498
216.101 | 1.5735e-11 | 20.0487
216.335 | 1.6115e-11 | 20.0483
216.635 | 1.588e-11 | 20.0472
217.004 | 1.604e-11 | 20.047
217.272 | 1.5947e-11 | 20.0473
217.539 | 1.6223e-11 | 20.0467
217.807 | 1.6056e-11 | 20.0497
218.174 | 1.6375e-11 | 20.0493
218.442 | 1.6613e-11 | 20.0505
218.812 | 1.6833e-11 | 20.0472
219.079 | 1.6689e-11 | 20.0462
219.382 | 1.7015e-11 | 20.0467
219.65 | 1.6955e-11 | 20.0472
219.92 | 1.7176e-11 | 20.051
220.293 | 1.7498e-11 | 20.0516
220.562 | 1.738e-11 | 20.0518
220.834 | 1.751e-11 | 20.0527
221.103 | 1.7609e-11 | 20.0521
221.474 | 1.7689e-11 | 20.0518
221.774 | 1.7733e-11 | 20.0514
222.044 | 1.8003e-11 | 20.0544
222.312 | 1.8147e-11 | 20.0535
222.683 | 1.849e-11 | 20.0541
222.951 | 1.8384e-11 | 20.0546
223.217 | 1.8675e-11 | 20.0547
223.586 | 1.89e-11 | 20.05
223.852 | 1.894e-11 | 20.0499
224.118 | 1.9161e-11 | 20.0527
224.485 | 1.9261e-11 | 20.0523
224.782 | 1.9518e-11 | 20.0507
225.048 | 1.9458e-11 | 20.0494
225.316 | 1.97e-11 | 20.049
225.616 | 1.9678e-11 | 20.0522
225.982 | 1.983e-11 | 20.051
226.284 | 1.9811e-11 | 20.0495
226.549 | 1.9784e-11 | 20.0526
226.816 | 1.9843e-11 | 20.0511
227.181 | 1.998e-11 | 20.0516
227.45 | 2.0256e-11 | 20.0518
227.747 | 2.0018e-11 | 20.0495
228.112 | 2.007e-11 | 20.0501
228.376 | 2.0349e-11 | 20.05
228.605 | 2.0267e-11 | 20.0494
228.968 | 2.0545e-11 | 20.0493
229.234 | 2.0492e-11 | 20.0491
229.53 | 2.0815e-11 | 20.0466
229.896 | 2.1062e-11 | 20.0455
230.16 | 2.1129e-11 | 20.0453
230.492 | 2.0888e-11 | 20.0476
230.76 | 2.1319e-11 | 20.048
231.029 | 2.1363e-11 | 20.0478
231.332 | 2.1018e-11 | 20.0469
231.7 | 2.1372e-11 | 20.0461
231.964 | 2.1745e-11 | 20.0479
232.231 | 2.1985e-11 | 20.0489
232.499 | 2.194e-11 | 20.0493
232.866 | 2.2004e-11 | 20.0488
233.133 | 2.1981e-11 | 20.048
233.398 | 2.2132e-11 | 20.0475
233.766 | 2.2391e-11 | 20.0479
234.034 | 2.2487e-11 | 20.0487
234.334 | 2.2866e-11 | 20.0459
234.701 | 2.2963e-11 | 20.0461
234.969 | 2.2905e-11 | 20.0445
235.236 | 2.3169e-11 | 20.0452
235.505 | 2.3265e-11 | 20.0485
235.873 | 2.3062e-11 | 20.0481
236.138 | 2.3383e-11 | 20.0475
236.438 | 2.3565e-11 | 20.0463
236.772 | 2.3796e-11 | 20.048
237.243 | 2.38e-11 | 20.0452
237.507 | 2.3834e-11 | 20.0453
237.843 | 2.4281e-11 | 20.0454
238.111 | 2.4479e-11 | 20.0472
238.41 | 2.4502e-11 | 20.0457
238.675 | 2.4526e-11 | 20.0441
238.943 | 2.4834e-11 | 20.0475
239.211 | 2.5063e-11 | 20.0465
239.509 | 2.5266e-11 | 20.0447
239.775 | 2.5566e-11 | 20.0473
240.041 | 2.5504e-11 | 20.0467
240.343 | 2.5798e-11 | 20.0443
240.612 | 2.5759e-11 | 20.0474
240.982 | 2.6104e-11 | 20.0472
241.248 | 2.6277e-11 | 20.0475
241.547 | 2.6498e-11 | 20.0456
241.877 | 2.6636e-11 | 20.046
242.175 | 2.6878e-11 | 20.0448
242.44 | 2.6706e-11 | 20.0467
242.706 | 2.7097e-11 | 20.0454
243.069 | 2.7413e-11 | 20.0453
243.336 | 2.7378e-11 | 20.0446
243.601 | 2.7398e-11 | 20.0445
243.967 | 2.7655e-11 | 20.0445
244.263 | 2.8043e-11 | 20.0436
244.529 | 2.7963e-11 | 20.0432
244.891 | 2.8284e-11 | 20.0423
245.256 | 2.8356e-11 | 20.0358
245.553 | 2.8577e-11 | 20.0397
245.82 | 2.8864e-11 | 20.0423
246.154 | 2.9007e-11 | 20.0383
246.455 | 2.8931e-11 | 20.0434
246.758 | 2.9129e-11 | 20.0415
247.06 | 2.9394e-11 | 20.043
247.396 | 2.9459e-11 | 20.0416
247.666 | 2.9693e-11 | 20.0429
247.97 | 2.9983e-11 | 20.0428
248.274 | 3.025e-11 | 20.0433
248.578 | 3.0214e-11 | 20.0421
248.85 | 3.032e-11 | 20.0452
249.154 | 3.069e-11 | 20.0436
249.457 | 3.0641e-11 | 20.0446
249.727 | 3.0736e-11 | 20.044
249.996 | 3.0913e-11 | 20.0466
250.264 | 3.1676e-11 | 20.0454
250.565 | 3.2013e-11 | 20.0443
250.868 | 3.2236e-11 | 20.0456
251.136 | 3.2498e-11 | 20.0479
251.402 | 3.2443e-11 | 20.0479
251.771 | 3.2984e-11 | 20.0478
252.036 | 3.2934e-11 | 20.0464
252.338 | 3.2783e-11 | 20.0457
252.605 | 3.2325e-11 | 20.0471
253.007 | 3.2521e-11 | 20.0468
253.273 | 3.2799e-11 | 20.0466
253.543 | 3.2631e-11 | 20.0448
253.81 | 3.2707e-11 | 20.0468
254.177 | 3.3057e-11 | 20.047
254.479 | 3.3078e-11 | 20.0461
254.747 | 3.3253e-11 | 20.0451
255.012 | 3.3419e-11 | 20.0478
255.382 | 3.3684e-11 | 20.047
255.681 | 3.4936e-11 | 20.0462
255.949 | 3.4969e-11 | 20.0436
256.214 | 3.5219e-11 | 20.0468
256.581 | 3.4623e-11 | 20.0468
256.881 | 3.4722e-11 | 20.0455
257.148 | 3.4499e-11 | 20.0442
257.414 | 3.4576e-11 | 20.0467
257.781 | 3.4805e-11 | 20.0458
258.083 | 3.5434e-11 | 20.0459
258.382 | 3.5634e-11 | 20.0447
258.682 | 3.5916e-11 | 20.0453
259.05 | 3.6049e-11 | 20.0462
259.385 | 3.6028e-11 | 20.0464
259.718 | 3.6595e-11 | 20.0448
259.987 | 3.6788e-11 | 20.0469
260.285 | 3.7621e-11 | 20.0455
260.551 | 3.783e-11 | 20.0439
260.852 | 3.6976e-11 | 20.0447
261.118 | 3.6894e-11 | 20.0461
261.414 | 3.743e-11 | 20.0445
261.676 | 3.793e-11 | 20.043
262.006 | 3.7909e-11 | 20.0438
262.269 | 3.8666e-11 | 20.0445
262.599 | 3.8679e-11 | 20.0427
262.897 | 3.8957e-11 | 20.0439
263.16 | 3.9073e-11 | 20.0417
263.46 | 3.9307e-11 | 20.0408
263.823 | 3.9224e-11 | 20.0408
264.09 | 3.9637e-11 | 20.0398
264.354 | 3.9956e-11 | 20.0426
264.819 | 4.0429e-11 | 20.0398
265.152 | 4.0536e-11 | 20.0381
265.484 | 4.124e-11 | 20.0416
265.751 | 4.1288e-11 | 20.0413
266.049 | 4.1523e-11 | 20.039
266.316 | 4.1571e-11 | 20.0412
266.583 | 4.1856e-11 | 20.0404
266.882 | 4.2008e-11 | 20.0384
267.147 | 4.2224e-11 | 20.0401
267.414 | 4.2195e-11 | 20.0394
267.714 | 4.2346e-11 | 20.0393
268.014 | 4.2799e-11 | 20.0404
268.313 | 4.306e-11 | 20.0378
268.579 | 4.2817e-11 | 20.0395
268.879 | 4.3717e-11 | 20.0387
269.145 | 4.3866e-11 | 20.04
269.445 | 4.5718e-11 | 20.0378
269.746 | 4.4588e-11 | 20.0371
270.012 | 4.4627e-11 | 20.0391
270.378 | 4.4995e-11 | 20.0388
270.677 | 4.5167e-11 | 20.0374
270.943 | 4.6055e-11 | 20.0371
271.211 | 4.6453e-11 | 20.0395
271.61 | 4.7087e-11 | 20.0373
271.877 | 4.7346e-11 | 20.0392
272.178 | 4.906e-11 | 20.0374
272.445 | 4.794e-11 | 20.0366
272.709 | 4.8032e-11 | 20.0388
273.076 | 4.8309e-11 | 20.0384
273.376 | 4.8754e-11 | 20.0372
273.643 | 4.8997e-11 | 20.0388
273.91 | 4.9718e-11 | 20.038
274.309 | 4.9975e-11 | 20.0367
274.575 | 5.188e-11 | 20.0377
274.876 | 5.0532e-11 | 20.0371
275.142 | 5.1044e-11 | 20.0384
275.409 | 5.1454e-11 | 20.0375
275.809 | 5.3154e-11 | 20.0365
276.077 | 5.3393e-11 | 20.0372
276.375 | 5.4103e-11 | 20.0355
276.642 | 5.4144e-11 | 20.0378
276.943 | 5.4618e-11 | 20.0362
277.309 | 5.4782e-11 | 20.0356
277.575 | 5.4121e-11 | 20.0361
277.91 | 5.5836e-11 | 20.0343
278.243 | 5.68e-11 | 20.0361
278.507 | 5.6162e-11 | 20.0382
278.776 | 5.7345e-11 | 20.0368
279.075 | 5.6265e-11 | 20.0366
279.341 | 5.6602e-11 | 20.0359
279.604 | 5.6278e-11 | 20.0371
279.966 | 5.7141e-11 | 20.0361
280.266 | 5.9213e-11 | 20.0363
280.564 | 5.9308e-11 | 20.0341
280.928 | 6.0823e-11 | 20.0337
281.194 | 5.9956e-11 | 20.0361
281.495 | 5.957e-11 | 20.034
281.793 | 6.1813e-11 | 20.0362
282.093 | 6.1833e-11 | 20.0355
282.393 | 6.2227e-11 | 20.0354
282.694 | 6.2012e-11 | 20.0353
282.993 | 6.1786e-11 | 20.0324
283.294 | 6.3631e-12 | 20.0331
283.561 | 8.6809e-12 | 20.0346
283.861 | 1.2411e-11 | 20.03
284.162 | 1.5496e-11 | 20.0325
284.428 | 1.8125e-11 | 20.0348
284.731 | 2.5155e-11 | 20.0338
284.997 | 2.2423e-11 | 20.0353
285.363 | 2.3523e-11 | 20.0342
285.665 | 2.4802e-11 | 20.0331
285.932 | 2.5564e-11 | 20.0348
286.233 | 2.5457e-11 | 20.0345
286.598 | 1.9373e-12 | 20.0324
286.899 | 1.8073e-12 | 20.033
287.167 | 1.9885e-12 | 20.0351
287.466 | 1.4774e-10 | 20.0311
287.768 | 7.2408e-11 | 19.9961
289.369 | 2.0228e-12 | 20.0327
290.303 | 5.3939e-10 | 20.0333
290.705 | 6.5059e-11 | 19.9973
292.306 | 7.7891e-11 | 20.0322
293.241 | 7.8965e-11 | 20.0349
293.54 | 8.0041e-11 | 20.0314
293.841 | 8.1984e-11 | 20.0346
294.108 | 7.9394e-11 | 20.0336
294.408 | 8.1781e-11 | 20.0343
294.809 | 8.3498e-11 | 20.0327
295.107 | 8.3125e-11 | 20.0333
295.375 | 8.0575e-11 | 20.0323
295.642 | 8.5977e-11 | 20.0346
295.908 | 9.3595e-11 | 20.0333
296.308 | 8.9034e-11 | 20.0327
296.577 | 9.0009e-11 | 20.0343
296.875 | 9.0716e-11 | 20.0318
297.176 | 9.0365e-11 | 20.0321
297.444 | 9.2532e-11 | 20.0338
297.743 | 9.291e-11 | 20.0326
298.109 | 9.4233e-11 | 20.0326
298.376 | 9.5143e-11 | 20.0335
298.674 | 9.4912e-11 | 20.0334
298.972 | 9.6183e-11 | 20.0316
299.237 | 9.7427e-11 | 20.0341
299.501 | 9.9018e-11 | 20.0329
299.799 | 9.9215e-11 | 20.0329
300.165 | 1.0507e-10 | 20.032
300.462 | 1.0671e-10 | 20.0297
300.761 | 1.0729e-10 | 20.0304
301.028 | 1.0784e-10 | 20.0326
301.296 | 1.0904e-10 | 20.0315
301.695 | 1.1072e-10 | 20.0302
301.961 | 1.1283e-10 | 20.0313
302.262 | 1.1515e-10 | 20.0321
302.562 | 1.1607e-10 | 20.0311
302.797 | 1.1697e-10 | 20.0307
303.197 | 1.1849e-10 | 20.0306
303.497 | 1.1889e-10 | 20.031
303.764 | 1.1989e-10 | 20.0325
304.061 | 1.1953e-10 | 20.0306
304.332 | 1.1951e-10 | 20.0321
304.632 | 1.2139e-10 | 20.0308
305 | 1.2233e-10 | 20.0308
305.266 | 1.2529e-10 | 20.0316
305.567 | 1.2377e-10 | 20.0317
305.867 | 1.2575e-10 | 20.0305
306.134 | 1.2727e-10 | 20.0301
306.402 | 1.2832e-10 | 20.0317
306.801 | 1.298e-10 | 20.031
307.069 | 1.3148e-10 | 20.032
307.369 | 1.3396e-10 | 20.0295
307.636 | 1.3393e-10 | 20.0316
307.937 | 1.3574e-10 | 20.0296
308.204 | 1.3703e-10 | 20.0317
308.604 | 1.4021e-10 | 20.0308
308.871 | 1.4174e-10 | 20.032
309.172 | 1.4251e-10 | 20.0304
309.437 | 1.4753e-10 | 20.0296
309.705 | 1.4937e-10 | 20.0311
310.106 | 1.507e-10 | 20.03
310.406 | 1.5272e-10 | 20.0304
310.674 | 1.5416e-10 | 20.0314
310.973 | 1.556e-10 | 20.0299
311.274 | 1.5713e-10 | 20.0308
311.54 | 1.5702e-10 | 20.0318
311.84 | 1.5679e-10 | 20.0303
312.107 | 1.5919e-10 | 20.0311
312.508 | 1.6135e-10 | 20.0305
313.01 | 1.6313e-10 | 20.0215
313.309 | 1.658e-10 | 20.0302
313.609 | 1.6663e-10 | 20.0309
313.912 | 1.6968e-10 | 20.0312
314.211 | 1.7166e-10 | 20.0315
314.511 | 1.7325e-10 | 20.0297
314.778 | 1.7514e-10 | 20.0314
315.079 | 1.7723e-10 | 20.0292
315.378 | 1.789e-10 | 20.0298
315.645 | 1.8096e-10 | 20.0305
315.98 | 1.3497e-10 | 20.0309
316.246 | 1.0655e-10 | 20.0302
316.514 | 5.6629e-12 | 20.0294
316.78 | 4.6155e-12 | 20.0307
317.08 | 4.3365e-12 | 20.0309
317.381 | 4.02e-12 | 20.0319
317.681 | 3.9237e-12 | 20.0314
317.981 | 3.7991e-12 | 20.0317
318.281 | 3.5898e-12 | 20.0297
318.548 | 2.1684e-10 | 20.023
318.948 | 2.1043e-10 | 20.0291
319.483 | 1.9484e-10 | 20.0269