## Settings
Sample Info | vr2, dot 3, aside irrad, run 01
Comments | -6/+9.5/-6
Additional Comments | non-irradiated dot
Major Measurement Parameters
Starting Temperature | 298.205
Initial Temperature | 80.5
Final Temperature | 320
Preliminary Voltage | -6
Pulse Voltage | 9.5
Pulse Time | 60
Wait Time | 0
Measurement Voltage | -6
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 20
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 29.3.2024
Clock | 13:54:1

## Stabilization
Temperature | Current | Temp Rate
297.671 | -2.5027e-10 | 0
297.451 | -2.517e-10 | -6.2721
297.342 | -2.4935e-10 | -5.3925
297.185 | -2.4933e-10 | -5.6077
296.963 | -2.4984e-10 | -6.271
296.773 | -2.5146e-10 | -6.4449
296.485 | -2.5115e-10 | -7.1872
296.304 | -2.5053e-10 | -7.1802
296.127 | -2.5316e-10 | -7.1549
295.961 | -2.4946e-10 | -7.0377
295.788 | -2.484e-10 | -8.0582
295.614 | -2.4938e-10 | -9.8782
295.352 | -2.4622e-10 | -14.9121
295.164 | -2.4832e-10 | -32.2859
295.083 | -2.4945e-10 | -50.0587
294.945 | -2.5017e-10 | -6.3554
294.697 | -2.4905e-10 | -6.541
294.445 | -2.5057e-10 | -6.7156
294.152 | -2.5074e-10 | -137.1301
293.807 | -2.4968e-10 | -7.265
293.554 | -2.4841e-10 | -7.3832
293.178 | -2.4997e-10 | -7.7043
292.796 | -2.5064e-10 | -8.0041
292.451 | -2.4943e-10 | -8.2145
292.173 | -2.5046e-10 | -8.319
291.847 | -2.501e-10 | -8.4816
291.532 | -2.4983e-10 | -8.619
291.284 | -2.5095e-10 | -8.6569
291.051 | -2.4952e-10 | -8.6706
290.648 | -2.493e-10 | -8.8998
290.246 | -2.4999e-10 | -9.112
289.92 | -2.5034e-10 | -9.2221
289.509 | -2.5098e-10 | -9.4257
289.091 | -2.5051e-10 | -9.6202
288.816 | -2.4916e-10 | -9.6516
288.523 | -2.498e-10 | -9.6938
288.232 | -2.5237e-10 | -9.7368
287.874 | -2.503e-10 | -9.8451
287.636 | -2.4925e-10 | -9.8325
287.366 | -2.5057e-10 | -9.8478
287.165 | -2.5055e-10 | -9.7985
286.775 | -2.5164e-10 | -9.9214
286.48 | -2.507e-10 | -9.9553
286.155 | -2.5265e-10 | -10.012
285.807 | -2.5267e-10 | -10.0868
285.586 | -2.5179e-10 | -10.0533
285.39 | -2.5101e-10 | -10.0018
285.115 | -2.4842e-10 | -10.0146
284.915 | -2.5033e-10 | -9.9693
284.655 | -2.4992e-10 | -9.9709
284.461 | -2.5e-10 | -9.9219
284.169 | -2.4987e-10 | -9.9469
283.952 | -2.4923e-10 | -9.9179
283.701 | -2.4841e-10 | -9.9131
283.334 | -2.487e-10 | -9.988
283.005 | -2.4999e-10 | -10.0379
282.721 | -2.4975e-10 | -10.016
282.314 | -2.5177e-10 | -10.1089
281.987 | -2.518e-10 | -10.153
281.685 | -2.5202e-10 | -10.1771
281.445 | -2.5094e-10 | -10.1636
281.19 | -2.5154e-10 | -10.1593
280.769 | -2.5186e-10 | -10.2557
280.404 | -2.5278e-10 | -10.3161
280.148 | -2.5125e-10 | -10.3098
279.775 | -2.5094e-10 | -10.3728
279.475 | -2.4943e-10 | -10.391
279.134 | -2.5028e-10 | -10.4333
278.826 | -2.505e-10 | -10.4542
278.421 | -2.5243e-10 | -10.5293
278.078 | -2.5002e-10 | -10.5653
277.678 | -2.4868e-10 | -10.6236
277.377 | -2.5073e-10 | -10.6368
276.961 | -2.5067e-10 | -10.6982
276.56 | -2.5051e-10 | -10.7588
276.239 | -2.5051e-10 | -10.7794
275.867 | -2.5099e-10 | -10.8196
275.441 | -2.5048e-10 | -10.8898
274.996 | -2.4921e-10 | -10.967
274.621 | -2.4764e-10 | -11.0096
274.258 | -2.5041e-10 | -11.0462
273.81 | -2.5085e-10 | -11.121
273.426 | -2.5117e-10 | -11.1661
273.075 | -2.5002e-10 | -11.1933
272.669 | -2.5063e-10 | -11.2442
272.29 | -2.5214e-10 | -11.2846
271.963 | -2.4967e-10 | -11.2998
271.65 | -2.5151e-10 | -11.3076
271.225 | -2.5071e-10 | -11.3624
270.726 | -2.5141e-10 | -11.4497
270.387 | -2.5253e-10 | -11.4654
269.91 | -2.5294e-10 | -11.54
269.443 | -2.522e-10 | -11.6091
269.066 | -2.538e-10 | -11.6405
268.662 | -2.5352e-10 | -11.6807
268.148 | -2.5348e-10 | -11.7646
267.736 | -2.5268e-10 | -11.8026
267.324 | -2.5314e-10 | -11.8429
266.767 | -2.5311e-10 | -11.9382
266.387 | -2.5184e-10 | -11.9649
266.058 | -2.5144e-10 | -11.9709
265.696 | -2.5227e-10 | -11.9906
265.362 | -2.511e-10 | -11.9982
265.02 | -2.5182e-10 | -12.0101
264.722 | -2.5187e-10 | -12.0025
264.349 | -2.5191e-10 | -12.0232
263.942 | -2.5126e-10 | -12.0555
263.616 | -2.5212e-10 | -12.0583
263.224 | -2.4961e-10 | -12.085
262.766 | -2.5063e-10 | -12.1347
262.386 | -2.5153e-10 | -12.154
262.013 | -2.5049e-10 | -12.1694
261.601 | -2.5089e-10 | -12.2013
261.197 | -2.492e-10 | -12.2299
260.77 | -2.5165e-10 | -12.2642
260.41 | -2.4972e-10 | -12.2764
259.97 | -2.5149e-10 | -12.3135
259.578 | -2.5115e-10 | -12.3357
259.225 | -2.4922e-10 | -12.3449
258.879 | -2.4877e-10 | -12.3517
258.457 | -2.4982e-10 | -12.3815
258.045 | -2.4994e-10 | -12.4101
257.638 | -2.5144e-10 | -12.43
257.205 | -2.5052e-10 | -12.4631
256.702 | -2.4906e-10 | -12.5168
256.299 | -2.5133e-10 | -12.538
255.96 | -2.5022e-10 | -12.5411
255.627 | -2.4942e-10 | -12.542
255.167 | -2.4946e-10 | -12.5809
254.693 | -2.5011e-10 | -12.6228
254.309 | -2.5014e-10 | -12.6351
253.871 | -2.4959e-10 | -12.6657
253.412 | -2.4966e-10 | -12.7008
252.997 | -2.5201e-10 | -12.7243
252.598 | -2.5065e-10 | -12.7419
252.084 | -2.4763e-10 | -12.7912
251.647 | -2.5143e-10 | -12.8156
251.276 | -2.5109e-10 | -12.8244
250.812 | -2.5018e-10 | -12.8587
250.35 | -2.4928e-10 | -12.8913
250.009 | -2.4992e-10 | -12.8921
249.687 | -2.5028e-10 | -12.8848
249.244 | -2.5008e-10 | -12.9101
248.815 | -2.486e-10 | -12.9323
248.468 | -2.5159e-10 | -12.9344
247.988 | -2.4936e-10 | -12.97
247.541 | -2.4836e-10 | -12.998
247.222 | -2.4913e-10 | -12.9919
246.915 | -2.4902e-10 | -12.9833
246.54 | -2.4965e-10 | -12.9908
246.079 | -2.5045e-10 | -13.0206
245.732 | -2.5048e-10 | -13.0224
245.337 | -2.5016e-10 | -13.0338
244.891 | -2.5224e-10 | -13.059
244.451 | -2.4995e-10 | -13.082
244.09 | -2.5071e-10 | -13.0865
243.643 | -2.5154e-10 | -13.1092
243.158 | -2.4909e-10 | -13.1416
242.741 | -2.5033e-10 | -13.157
242.309 | -2.532e-10 | -13.1774
241.767 | -2.5229e-10 | -13.2225
241.321 | -2.5201e-10 | -13.2445
240.967 | -2.5069e-10 | -13.2439
240.55 | -2.517e-10 | -13.2588
240.056 | -2.4931e-10 | -13.2918
239.653 | -2.4972e-10 | -13.304
239.247 | -2.4865e-10 | -13.3164
238.735 | -2.4933e-10 | -13.3515
238.275 | -2.4873e-10 | -13.3756
237.886 | -2.4864e-10 | -13.3837
237.392 | -2.488e-10 | -13.4138
236.947 | -2.4854e-10 | -13.4341
236.525 | -2.4871e-10 | -13.4473
236.063 | -2.4604e-10 | -13.4711
235.656 | -2.4877e-10 | -13.4818
235.234 | -2.4829e-10 | -13.4957
234.875 | -2.4938e-10 | -13.4935
234.558 | -2.4858e-10 | -13.4849
234.056 | -2.4976e-10 | -13.5145
233.672 | -2.4943e-10 | -13.5207
233.315 | -2.4844e-10 | -13.5207
232.902 | -2.502e-10 | -13.532
232.506 | -2.5166e-10 | -13.5386
232.172 | -2.4895e-10 | -13.533
231.867 | -2.471e-10 | -13.522
231.563 | -2.5084e-10 | -13.5098
231.162 | -2.4812e-10 | -13.5183
230.729 | -2.4899e-10 | -13.5334
230.37 | -2.49e-10 | -13.5322
229.887 | -2.4937e-10 | -13.5558
229.411 | -2.4851e-10 | -13.5793
229.017 | -2.4974e-10 | -13.5863
228.509 | -2.4781e-10 | -13.616
228.052 | -2.4973e-10 | -13.6357
227.66 | -2.4794e-10 | -13.6404
227.228 | -2.5119e-10 | -13.6508
226.724 | -2.4974e-10 | -13.6778
226.294 | -2.5006e-10 | -13.6917
225.948 | -2.4729e-10 | -13.6884
225.469 | -2.4852e-10 | -13.7099
224.996 | -2.4692e-10 | -13.7309
224.627 | -2.4812e-10 | -13.7327
224.223 | -2.5028e-10 | -13.7396
223.714 | -2.4899e-10 | -13.7659
223.361 | -2.5085e-10 | -13.7615
222.852 | -2.5014e-10 | -13.7876
222.371 | -2.496e-10 | -13.8097
221.973 | -2.5005e-10 | -13.8162
221.511 | -2.4898e-10 | -13.8345
220.991 | -2.4875e-10 | -13.8594
220.613 | -2.4977e-10 | -13.861
220.226 | -2.4997e-10 | -13.8646
219.811 | -2.5058e-10 | -13.8737
219.465 | -2.506e-10 | -13.8701
219.119 | -2.4908e-10 | -13.8653
218.784 | -2.509e-10 | -13.8603
218.331 | -2.4986e-10 | -13.8738
217.858 | -2.5022e-10 | -13.8912
217.55 | -2.492e-10 | -13.8812
217.071 | -2.4962e-10 | -13.8995
216.629 | -2.5106e-10 | -13.9129
216.283 | -2.4903e-10 | -13.9088
215.734 | -2.4939e-10 | -13.9386
215.282 | -2.5058e-10 | -13.9505
214.887 | -2.5059e-10 | -13.9543
214.334 | -2.5098e-10 | -13.9827
213.853 | -2.5127e-10 | -14.0009
213.459 | -2.5089e-10 | -14.005
212.966 | -2.5278e-10 | -14.0255
212.479 | -2.5137e-10 | -14.0448
212.112 | -2.524e-10 | -14.0434
211.732 | -2.5116e-10 | -14.0433
211.368 | -2.5452e-10 | -14.0404
210.906 | -2.5381e-10 | -14.0546
210.564 | -2.5489e-10 | -14.049
210.225 | -2.525e-10 | -14.0432
209.735 | -2.4897e-10 | -14.062
209.347 | -2.518e-10 | -14.0642
208.971 | -2.5189e-10 | -14.0644
208.423 | -2.5088e-10 | -14.0926
207.981 | -2.519e-10 | -14.103
207.575 | -2.5094e-10 | -14.1078
207.056 | -2.5097e-10 | -14.1292
206.609 | -2.5002e-10 | -14.1409
206.246 | -2.4909e-10 | -14.1389
205.802 | -2.5236e-10 | -14.1505
205.314 | -2.5158e-10 | -14.1682
204.892 | -2.4793e-10 | -14.1743
204.436 | -2.5452e-10 | -14.186
203.897 | -2.5215e-10 | -14.2111
203.346 | -2.5109e-10 | -14.2159
202.856 | -2.5213e-10 | -14.2292
202.512 | -2.5135e-10 | -14.2241
202.16 | -2.5161e-10 | -14.22
201.649 | -2.527e-10 | -14.2398
201.288 | -2.5029e-10 | -14.2361
200.866 | -2.5018e-10 | -14.2417
200.322 | -2.5057e-10 | -14.2656
199.933 | -2.4943e-10 | -14.2676
199.508 | -2.4937e-10 | -14.2737
198.988 | -2.491e-10 | -14.2936
198.566 | -2.496e-10 | -14.2997
198.24 | -2.4945e-10 | -14.2915
197.862 | -2.4965e-10 | -14.2907
197.521 | -2.4986e-10 | -14.2845
197.083 | -2.5291e-10 | -14.2926
196.743 | -2.508e-10 | -14.2857
196.203 | -2.5105e-10 | -14.3079
195.804 | -2.519e-10 | -14.3102
195.414 | -2.5078e-10 | -14.3121
194.878 | -2.5106e-10 | -14.3327
194.476 | -2.5072e-10 | -14.336
194.128 | -2.5097e-10 | -14.3307
193.694 | -2.5231e-10 | -14.3382
193.282 | -2.5047e-10 | -14.3422
192.961 | -2.5172e-10 | -14.3333
192.565 | -2.5097e-10 | -14.3359
192.086 | -2.5061e-10 | -14.3483
191.757 | -2.4999e-10 | -14.3408
191.339 | -2.5087e-10 | -14.3452
190.864 | -2.4878e-10 | -14.3575
190.49 | -2.5031e-10 | -14.3564
190.163 | -2.5014e-10 | -14.3487
189.695 | -2.5044e-10 | -14.3599
189.265 | -2.5082e-10 | -14.366
188.942 | -2.4967e-10 | -14.3579
188.446 | -2.5181e-10 | -14.3723
188.057 | -2.5348e-10 | -14.3728
187.751 | -2.5283e-10 | -14.3633
187.262 | -2.5003e-10 | -14.3771
186.907 | -2.5136e-10 | -14.3736
186.612 | -2.5067e-10 | -14.3623
186.137 | -2.5126e-10 | -14.3745
185.821 | -2.5241e-10 | -14.366
185.604 | -2.5213e-10 | -14.3441
185.254 | -2.5317e-10 | -14.339
184.933 | -2.511e-10 | -14.3314
184.74 | -2.5022e-10 | -14.308
184.333 | -2.5191e-10 | -14.3102
184.002 | -2.5085e-10 | -14.3032
183.729 | -2.5067e-10 | -14.2888
183.275 | -2.5027e-10 | -14.2978
182.932 | -2.5105e-10 | -14.2926
182.652 | -2.5347e-10 | -14.28
182.211 | -2.5091e-10 | -14.2878
181.931 | -2.5104e-10 | -14.2747
181.569 | -2.5237e-10 | -14.2717
181.166 | -2.5035e-10 | -14.2727
180.959 | -2.4962e-10 | -14.2499
180.608 | -2.4941e-10 | -14.2459
180.317 | -2.5025e-10 | -14.235
180.187 | -2.4763e-10 | -14.2047
179.875 | -2.4989e-10 | -14.1946
179.718 | -2.4998e-10 | -14.1674
179.565 | -2.507e-10 | -14.1404
179.308 | -2.4856e-10 | -14.1259
179.274 | -2.4855e-10 | -14.0841
179.074 | -2.4828e-10 | -14.0633
178.933 | -2.4878e-10 | -14.035
178.848 | -2.4916e-10 | -14.0005
178.639 | -2.4936e-10 | -13.9811
178.637 | -2.4816e-10 | -13.9365
178.552 | -2.5102e-10 | -13.9026
178.501 | -2.5156e-10 | -13.8645
178.596 | -2.5082e-10 | -13.8097
178.515 | -2.5222e-10 | -13.7753
178.476 | -2.5198e-10 | -13.7366
178.51 | -2.5096e-10 | -13.6895
178.354 | -2.5208e-10 | -13.6653
178.419 | -2.5263e-10 | -13.6152
178.352 | -2.5293e-10 | -13.5811
178.453 | -2.5178e-10 | -13.5283
178.585 | -2.4986e-10 | -13.4715
178.731 | -2.516e-10 | -13.4143
178.687 | -2.524e-10 | -13.3783
178.649 | -2.5096e-10 | -13.3422
178.686 | -2.494e-10 | -13.2981
178.681 | -2.5158e-10 | -13.2585
178.829 | -2.5047e-10 | -13.2022
178.794 | -2.4961e-10 | -13.1652
178.902 | -2.488e-10 | -13.1138
178.984 | -2.5035e-10 | -13.0656
179.024 | -2.4961e-10 | -13.0229
179.192 | -2.5002e-10 | -12.9657
179.296 | -2.5012e-10 | -12.9166
179.47 | -2.4969e-10 | -12.8596
179.684 | -2.4979e-10 | -12.7973
179.9 | -2.4936e-10 | -12.7359
180.038 | -2.4968e-10 | -12.6838
179.881 | -2.5131e-10 | -12.6636
180.009 | -2.4953e-10 | -12.6131
180.018 | -2.4992e-10 | -12.5761
180.148 | -2.4998e-10 | -12.5264
180.267 | -2.508e-10 | -12.4767
180.47 | -2.5191e-10 | -12.4191
180.679 | -2.5062e-10 | -12.362
180.899 | -2.4803e-10 | -12.3035
181.111 | -2.5246e-10 | -12.2463
181.338 | -2.5093e-10 | -12.1877
181.576 | -2.5097e-10 | -12.1282
181.783 | -2.5098e-10 | -12.0714
181.845 | -2.4975e-10 | -12.0303
181.872 | -2.4958e-10 | -11.9942
181.909 | -2.5124e-10 | -11.9568
181.974 | -2.5043e-10 | -11.9166
182.056 | -2.5142e-10 | -11.8747
182.16 | -2.5018e-10 | -11.8313
182.358 | -2.5006e-10 | -11.7784
182.573 | -2.5168e-10 | -11.7239
182.606 | -2.5082e-10 | -11.6879
182.798 | -2.5044e-10 | -11.6359
182.758 | -2.5229e-10 | -11.6081
182.977 | -2.5187e-10 | -11.5528
182.923 | -2.4962e-10 | -11.5273
183.023 | -2.5121e-10 | -11.4856
182.868 | -2.5183e-10 | -11.4702
182.967 | -2.5106e-10 | -11.4296
182.805 | -2.5092e-10 | -11.4148
182.927 | -2.5103e-10 | -11.3726
182.912 | -2.5061e-10 | -11.344
183.075 | -2.5052e-10 | -11.2974
183.263 | -2.4958e-10 | -11.2484
183.45 | -2.5096e-10 | -11.1994
183.653 | -2.5194e-10 | -11.1495
183.834 | -2.5214e-10 | -11.1028
184.025 | -2.5219e-10 | -11.0554
184.164 | -2.533e-10 | -11.0126
184.37 | -2.5083e-10 | -10.9638
184.565 | -2.5202e-10 | -10.9164
184.759 | -2.5138e-10 | -10.8688
184.931 | -2.5014e-10 | -10.8241
185.131 | -2.5123e-10 | -10.7767
185.319 | -2.5014e-10 | -10.7309
185.508 | -2.5052e-10 | -10.6856
185.621 | -2.5058e-10 | -10.6472
185.674 | -2.5013e-10 | -10.615
185.836 | -2.5142e-10 | -10.5721
185.633 | -2.5056e-10 | -10.5641
185.803 | -2.5077e-10 | -10.5205
185.713 | -2.5162e-10 | -10.5023
185.859 | -2.5293e-10 | -10.4623
185.682 | -2.4976e-10 | -10.452
185.811 | -2.5175e-10 | -10.414
185.632 | -2.5048e-10 | -10.4042
185.739 | -2.502e-10 | -10.368
185.888 | -2.5252e-10 | -10.3283
186.011 | -2.5148e-10 | -10.2911
186.152 | -2.504e-10 | -10.2527
185.94 | -2.5312e-10 | -10.2459
186.032 | -2.5105e-10 | -10.2119
185.869 | -2.5134e-10 | -10.2004
185.901 | -2.5225e-10 | -10.1721
185.759 | -2.5112e-10 | -10.1601
185.796 | -2.5282e-10 | -10.1321
185.544 | -2.5146e-10 | -10.1294
185.461 | -2.5273e-10 | -10.1117
185.525 | -2.5214e-10 | -10.0813
185.578 | -2.5174e-10 | -10.0519
185.677 | -2.5113e-10 | -10.0186
185.77 | -2.5355e-10 | -9.9861
185.878 | -2.5147e-10 | -9.9524
185.982 | -2.5144e-10 | -9.9195
186.026 | -2.5117e-10 | -9.8917
186.081 | -2.5035e-10 | -9.863
186.194 | -2.5142e-10 | -9.8296
186.301 | -2.5168e-10 | -9.7967
186.392 | -2.5047e-10 | -9.7653
186.476 | -2.527e-10 | -9.7347
186.58 | -2.507e-10 | -9.702
186.68 | -2.514e-10 | -9.67
186.769 | -2.5236e-10 | -9.6396
186.829 | -2.5085e-10 | -9.6118
186.922 | -2.5078e-10 | -9.5807
186.908 | -2.5102e-10 | -9.5597
186.993 | -2.5139e-10 | -9.5303
186.989 | -2.4965e-10 | -9.5084
187.066 | -2.5024e-10 | -9.4793
187.142 | -2.5087e-10 | -9.4509
187.209 | -2.4907e-10 | -9.4237
187.217 | -2.513e-10 | -9.401
187.288 | -2.5013e-10 | -9.3734
187.342 | -2.5045e-10 | -9.3467
187.365 | -2.5172e-10 | -9.3233
187.42 | -2.5156e-10 | -9.2975
187.449 | -2.5101e-10 | -9.2736
187.453 | -2.5338e-10 | -9.2519
187.466 | -2.5054e-10 | -9.2296
187.507 | -2.4999e-10 | -9.205
187.454 | -2.5252e-10 | -9.189
187.489 | -2.5185e-10 | -9.165
187.478 | -2.5143e-10 | -9.1453
187.505 | -2.5228e-10 | -9.1222
187.526 | -2.5076e-10 | -9.1
187.538 | -2.5195e-10 | -9.0784
187.553 | -2.5199e-10 | -9.0568
187.57 | -2.5289e-10 | -9.035
187.584 | -2.5201e-10 | -9.0131
187.594 | -2.5187e-10 | -8.9922
187.598 | -2.5128e-10 | -8.9719
187.6 | -2.5093e-10 | -8.9517
187.548 | -2.5105e-10 | -8.9359
187.545 | -2.5083e-10 | -8.9165
187.531 | -2.516e-10 | -8.8978
187.522 | -2.5161e-10 | -8.8782
187.508 | -2.5153e-10 | -8.8594
187.498 | -2.5424e-10 | -8.8406
187.485 | -2.5443e-10 | -8.8222
187.471 | -2.5314e-10 | -8.8034
187.454 | -2.5442e-10 | -8.7852
187.438 | -2.5225e-10 | -8.7675
187.419 | -2.5112e-10 | -8.7495
187.395 | -2.5443e-10 | -8.7321
187.372 | -2.5296e-10 | -8.7152
187.34 | -2.5164e-10 | -8.6992
187.29 | -2.5198e-10 | -8.6843
187.249 | -2.5353e-10 | -8.6688
187.171 | -2.5278e-10 | -8.6565
187.135 | -2.519e-10 | -8.6407
187.095 | -2.5186e-10 | -8.6253
187.053 | -2.523e-10 | -8.6104
187.012 | -2.5273e-10 | -8.5954
186.958 | -2.5162e-10 | -8.581
186.9 | -2.5333e-10 | -8.567
186.771 | -2.5302e-10 | -8.5584
186.666 | -2.5207e-10 | -8.5482
186.606 | -2.5012e-10 | -8.5349
186.542 | -2.5134e-10 | -8.5212
186.48 | -2.5134e-10 | -8.508
186.412 | -2.5197e-10 | -8.4948
186.34 | -2.5145e-10 | -8.4822
186.263 | -2.5235e-10 | -8.4703
186.184 | -2.5163e-10 | -8.4587
186.006 | -2.5341e-10 | -8.4547
185.733 | -2.5308e-10 | -8.4577
185.628 | -2.5428e-10 | -8.4482
185.505 | -2.5335e-10 | -8.4399
185.369 | -2.5334e-10 | -8.4325
185.251 | -2.5223e-10 | -8.4239
185.142 | -2.5083e-10 | -8.4149
185.026 | -2.5048e-10 | -8.4063
184.91 | -2.5291e-10 | -8.3976
184.782 | -2.5252e-10 | -8.3899
184.648 | -2.529e-10 | -8.3824
184.5 | -2.5294e-10 | -8.3763
184.331 | -2.5283e-10 | -8.3718
184.192 | -2.5257e-10 | -8.3652
184.037 | -2.5334e-10 | -8.3597
183.884 | -2.5423e-10 | -8.3541
183.732 | -2.5201e-10 | -8.3483
183.588 | -2.5314e-10 | -8.3421
183.426 | -2.5315e-10 | -8.3372
183.258 | -2.5416e-10 | -8.3324
183.077 | -2.5359e-10 | -8.329
182.899 | -2.5332e-10 | -8.3253
182.725 | -2.5255e-10 | -8.3214
182.562 | -2.5338e-10 | -8.3167
182.389 | -2.5228e-10 | -8.3125
182.225 | -2.5496e-10 | -8.3079
182.049 | -2.5358e-10 | -8.3042
181.879 | -2.5293e-10 | -8.3001
181.689 | -2.5327e-10 | -8.2972
181.491 | -2.5236e-10 | -8.2951
181.275 | -2.5385e-10 | -8.2938
181.074 | -2.5459e-10 | -8.2919
180.883 | -2.5512e-10 | -8.2891
180.686 | -2.54e-10 | -8.2869
180.484 | -2.5528e-10 | -8.2849
180.296 | -2.5401e-10 | -8.2821
180.093 | -2.5288e-10 | -8.2803
179.901 | -2.5665e-10 | -8.2779
179.71 | -2.5334e-10 | -8.2755
179.51 | -2.5291e-10 | -8.2735
179.318 | -2.5457e-10 | -8.271
179.115 | -2.553e-10 | -8.2694
178.924 | -2.5396e-10 | -8.2667
178.721 | -2.5399e-10 | -8.2648
178.514 | -2.5444e-10 | -8.2632
178.324 | -2.5388e-10 | -8.2608
178.115 | -2.5554e-10 | -8.2595
177.917 | -2.5417e-10 | -8.2577
177.693 | -2.5388e-10 | -8.2575
177.461 | -2.5359e-10 | -8.2576
177.22 | -2.5374e-10 | -8.2584
176.985 | -2.5462e-10 | -8.2588
176.74 | -2.5401e-10 | -8.2595
176.507 | -2.5469e-10 | -8.26
176.261 | -2.5508e-10 | -8.261
176.027 | -2.5476e-10 | -8.2617
175.783 | -2.5447e-10 | -8.2628
175.554 | -2.5338e-10 | -8.263
175.307 | -2.543e-10 | -8.2643
175.075 | -2.5333e-10 | -8.2645
174.823 | -2.5449e-10 | -8.2659
174.571 | -2.5423e-10 | -8.2678
174.269 | -2.5238e-10 | -8.2729
173.928 | -2.538e-10 | -8.2803
173.589 | -2.5384e-10 | -8.2878
173.332 | -2.5249e-10 | -8.2896
173.055 | -2.5504e-10 | -8.2929
172.774 | -2.5401e-10 | -8.2962
172.501 | -2.5677e-10 | -8.2991
172.226 | -2.5655e-10 | -8.3024
171.936 | -2.5279e-10 | -8.3063
171.645 | -2.5302e-10 | -8.3104
171.362 | -2.5539e-10 | -8.314
171.008 | -2.5573e-10 | -8.3218
170.567 | -2.5518e-10 | -8.3358
170.187 | -2.5649e-10 | -8.3457
169.727 | -2.5629e-10 | -8.3606
169.176 | -2.5351e-10 | -8.3811
168.658 | -2.5387e-10 | -8.3999
168.101 | -2.5463e-10 | -8.4212
167.486 | -2.5282e-10 | -8.4456
166.934 | -2.5458e-10 | -8.4664
166.504 | -2.554e-10 | -8.479
165.952 | -2.5433e-10 | -8.4996
165.369 | -2.5454e-10 | -8.5221
164.8 | -2.5447e-10 | -8.5432
164.215 | -2.5407e-10 | -8.5657
163.788 | -2.5577e-10 | -8.5781
163.374 | -2.5556e-10 | -8.5892
162.991 | -2.5585e-10 | -8.5986
162.599 | -2.5631e-10 | -8.6085
162.212 | -2.534e-10 | -8.6178
161.841 | -2.5591e-10 | -8.6263
161.471 | -2.5588e-10 | -8.6341
161.112 | -2.5765e-10 | -8.6413
160.76 | -2.5761e-10 | -8.6483
160.409 | -2.5588e-10 | -8.6554
160.062 | -2.5494e-10 | -8.662
159.729 | -2.5656e-10 | -8.6676
159.364 | -2.5511e-10 | -8.6755
159.008 | -2.563e-10 | -8.6825
158.659 | -2.5216e-10 | -8.6888
158.303 | -2.5627e-10 | -8.696
157.932 | -2.5747e-10 | -8.7039
157.573 | -2.5496e-10 | -8.7109
157.22 | -2.5201e-10 | -8.7177
156.841 | -2.4903e-10 | -8.7259
156.481 | -2.5123e-10 | -8.7334
156.11 | -2.5648e-10 | -8.7409
155.717 | -2.5033e-10 | -8.7496
155.337 | -2.6574e-10 | -8.758
154.945 | -2.4883e-10 | -8.7672
154.555 | -2.6055e-10 | -8.7761
154.18 | -2.4816e-10 | -8.7842
153.751 | -2.557e-10 | -8.7958
153.344 | -2.5798e-10 | -8.8052
152.963 | -2.5151e-10 | -8.8139
152.605 | -2.5515e-10 | -8.8209
152.221 | -2.7636e-10 | -8.8294
151.836 | -2.5342e-10 | -8.8376
151.482 | -2.4937e-10 | -8.8441
151.118 | -2.4163e-10 | -8.8514
150.752 | -2.5972e-10 | -8.8586
150.41 | -2.4945e-10 | -8.8644
150.049 | -2.4462e-10 | -8.8713
149.692 | -2.5269e-10 | -8.8779
149.352 | -2.4905e-10 | -8.8836
148.994 | -2.5575e-10 | -8.8898
148.642 | -2.565e-10 | -8.8964
148.298 | -2.392e-10 | -8.9018
147.957 | -2.5502e-10 | -8.9072
147.635 | -2.4235e-10 | -8.9116
147.299 | -2.5307e-10 | -8.9169
146.994 | -2.5324e-10 | -8.9204
146.679 | -2.5479e-10 | -8.924
146.369 | -2.5365e-10 | -8.9278
146.057 | -2.5353e-10 | -8.9313
145.753 | -2.5457e-10 | -8.9347
145.466 | -2.5516e-10 | -8.937
145.155 | -2.5557e-10 | -8.9407
144.844 | -2.5475e-10 | -8.9445
144.513 | -2.5338e-10 | -8.9495
144.119 | -2.5473e-10 | -8.9576
143.767 | -2.5599e-10 | -8.9634
143.434 | -2.5533e-10 | -8.9682
143.096 | -2.5471e-10 | -8.9732
142.727 | -2.5474e-10 | -8.9802
142.395 | -2.5375e-10 | -8.9848
142.071 | -2.5479e-10 | -8.9891
141.724 | -2.5619e-10 | -8.9943
141.371 | -2.5464e-10 | -9.0002
141.029 | -2.5548e-10 | -9.0057
140.694 | -2.5588e-10 | -9.0105
140.345 | -2.5552e-10 | -9.0159
140.035 | -2.5444e-10 | -9.0195
139.692 | -2.5412e-10 | -9.0247
139.37 | -2.541e-10 | -9.0287
139.033 | -2.5387e-10 | -9.0334
138.684 | -2.533e-10 | -9.0391
138.318 | -2.5418e-10 | -9.0454
137.981 | -2.5438e-10 | -9.0501
137.599 | -2.5355e-10 | -9.0573
137.112 | -2.532e-10 | -9.0707
136.707 | -2.5351e-10 | -9.0792
136.173 | -2.5473e-10 | -9.095
135.565 | -2.5504e-10 | -9.1151
134.979 | -2.543e-10 | -9.1338
134.525 | -2.5475e-10 | -9.145
134.025 | -2.5628e-10 | -9.1589
133.365 | -2.5547e-10 | -9.1817
132.707 | -2.5398e-10 | -9.2041
132.11 | -2.542e-10 | -9.2231
131.508 | -2.5467e-10 | -9.2424
130.608 | -2.5423e-10 | -9.2781
129.359 | -2.5546e-10 | -9.333
128.032 | -2.547e-10 | -9.3919
126.923 | -2.5512e-10 | -9.4388
125.851 | -2.5497e-10 | -9.4833
124.386 | -2.554e-10 | -9.5493
122.751 | -2.5542e-10 | -9.6248
120.985 | -2.5509e-10 | -9.7071
119.03 | -2.5454e-10 | -9.7994
116.958 | -2.5454e-10 | -9.8978
115.189 | -2.5461e-10 | -9.9795
113.807 | -2.5428e-10 | -10.0393
111.884 | -2.5396e-10 | -10.1291
109.501 | -2.5411e-10 | -10.2435
106.29 | -2.5348e-10 | -10.4022
102.635 | -2.5367e-10 | -10.5847
97.6366 | -2.5477e-10 | -10.8395
90.7486 | -2.5498e-10 | -11.1958
85.1853 | -2.5497e-10 | -11.4793
83.3581 | -2.5539e-10 | -11.5596
82.5703 | -2.5603e-10 | -11.5848
82.0874 | -2.5571e-10 | -11.5933
81.7917 | -2.5524e-10 | -11.5914
81.5717 | -2.547e-10 | -11.5857
81.4313 | -2.56e-10 | -11.5759
81.345 | -2.5417e-10 | -11.5633
81.2857 | -2.5486e-10 | -11.5494
81.3015 | -2.5473e-10 | -11.5313
81.3195 | -2.5533e-10 | -11.513
81.3134 | -2.5391e-10 | -11.4961
81.3058 | -2.5501e-10 | -11.479
81.2738 | -2.5486e-10 | -11.4639
81.2301 | -2.5572e-10 | -11.4488
81.1733 | -2.563e-10 | -11.4351
81.1024 | -2.5498e-10 | -11.4219
81.0329 | -2.5455e-10 | -11.4088
80.9918 | -2.546e-10 | -11.394
80.93 | -2.5569e-10 | -11.3801
80.8678 | -2.5559e-10 | -11.3669
80.8066 | -2.5586e-10 | -11.3535
80.7569 | -2.5498e-10 | -11.3391
80.6959 | -2.5641e-10 | -11.3257
80.6418 | -2.5592e-10 | -11.3118
80.5774 | -2.5583e-10 | -11.2985
80.5272 | -2.5549e-10 | -11.2844
80.4803 | -2.5454e-10 | -11.2705

## Pulse
Temperature | Current | Time
80.4176 | -2.535e-10 | 1.3902
80.2758 | -2.5548e-10 | 3.0484
80.2539 | -2.5543e-10 | 4.7279
80.2535 | -2.5593e-10 | 6.4089
80.3018 | -2.5564e-10 | 8.0775
80.3659 | -2.5486e-10 | 9.7625
80.4227 | -2.5295e-10 | 11.4326
80.4411 | -2.542e-10 | 13.1014
80.6361 | -2.5325e-10 | 14.7434
80.8598 | -2.5294e-10 | 16.4023
80.9673 | -2.55e-10 | 18.0713
81.1287 | -2.5257e-10 | 19.7239
81.3712 | -2.5355e-10 | 21.382
81.648 | -2.5307e-10 | 23.045
81.8026 | -2.5419e-10 | 24.7186
81.9201 | -2.5337e-10 | 26.3594
81.9553 | -2.5387e-10 | 28.0112
82.0916 | -2.5411e-10 | 29.673
82.2801 | -2.527e-10 | 31.3474
82.4389 | -2.5425e-10 | 33.0143
82.3834 | -2.5391e-10 | 34.6658
82.0244 | -2.5519e-10 | 36.3134
82.1117 | -2.5364e-10 | 37.9792
82.2712 | -2.5247e-10 | 39.6313
82.4352 | -2.5505e-10 | 41.2976
82.0267 | -2.5555e-10 | 42.9742
81.399 | -2.5562e-10 | 44.6362
81.0323 | -2.5507e-10 | 46.3041
80.8132 | -2.5356e-10 | 48.0023
80.6616 | -2.556e-10 | 49.6294
80.6292 | -2.5485e-10 | 51.284
80.5803 | -2.5418e-10 | 52.9504
80.5133 | -2.5477e-10 | 54.6123
80.4514 | -2.5455e-10 | 56.2929
80.3931 | -2.5624e-10 | 57.9433
80.4061 | -2.559e-10 | 59.6055

## Measurements
Temperature | Current | Temp Rate
80.398 | -2.5523e-10 | 0
80.4989 | -2.5502e-10 | 0.91856
80.843 | -2.5531e-10 | 2.8179
81.1154 | -2.5449e-10 | 3.9197
81.4145 | -2.5424e-10 | 4.7731
81.8379 | -2.5448e-10 | 5.9946
82.2264 | -2.5378e-10 | 7.1532
83.5987 | -2.5525e-10 | 11.0983
84.6362 | -2.5441e-10 | 13.454
85.2321 | -2.5522e-10 | 14.4242
86.6575 | -2.546e-10 | 23.9442
87.5454 | -2.5428e-10 | 33.243
88.0118 | -2.5286e-10 | 46.3788
88.5074 | -2.5199e-10 | 140.079
89.7172 | -2.5282e-10 | 155.6787
90.749 | -2.5265e-10 | 19.0549
91.1616 | -2.5282e-10 | 19.1782
91.5219 | -2.5326e-10 | 19.3589
91.9146 | -2.5301e-10 | 720.7276
92.2605 | -2.531e-10 | 19.564
93.5606 | -2.5411e-10 | 19.7625
94.505 | -2.5393e-10 | 19.889
94.816 | -2.544e-10 | 19.8909
95.1569 | -2.5308e-10 | 19.8784
95.4588 | -2.5439e-10 | 19.9154
95.7965 | -2.5392e-10 | 19.8949
96.0998 | -2.5414e-10 | 19.9352
96.3995 | -2.5497e-10 | 19.9225
96.7309 | -2.5449e-10 | 19.9077
97.0297 | -2.5506e-10 | 19.9338
97.3253 | -2.5563e-10 | 19.9127
97.6557 | -2.5529e-10 | 19.9298
97.9546 | -2.5771e-10 | 19.9176
98.2828 | -2.5599e-10 | 19.9013
98.5774 | -2.5506e-10 | 19.9144
98.906 | -2.5514e-10 | 19.9003
99.2016 | -2.5646e-10 | 19.8831
99.4954 | -2.562e-10 | 19.8957
99.8223 | -2.5544e-10 | 19.8758
100.118 | -2.5539e-10 | 19.8941
100.444 | -2.5449e-10 | 19.8744
100.738 | -2.5579e-10 | 19.8824
101.058 | -2.5574e-10 | 19.8548
101.347 | -2.547e-10 | 19.8662
101.67 | -2.5445e-10 | 19.8489
101.958 | -2.5394e-10 | 19.8298
102.254 | -2.5357e-10 | 19.8406
102.582 | -2.5409e-10 | 19.8274
102.876 | -2.5416e-10 | 19.8401
103.205 | -2.5445e-10 | 19.8247
103.5 | -2.5431e-10 | 19.8379
103.83 | -2.5378e-10 | 19.8211
104.127 | -2.5441e-10 | 19.8294
104.458 | -2.5369e-10 | 19.8133
104.754 | -2.54e-10 | 19.8297
105.085 | -2.5425e-10 | 19.8395
105.385 | -2.5315e-10 | 19.8257
106.679 | -2.5392e-10 | 19.8235
107.679 | -2.5422e-10 | 19.8492
107.982 | -2.5506e-10 | 19.8384
108.315 | -2.5512e-10 | 19.8538
108.648 | -2.5477e-10 | 19.8395
108.95 | -2.5495e-10 | 19.8502
109.277 | -2.548e-10 | 19.8395
109.571 | -2.5449e-10 | 19.8471
109.899 | -2.5538e-10 | 19.8504
110.227 | -2.5366e-10 | 19.8328
110.526 | -2.5293e-10 | 19.8442
110.855 | -2.5455e-10 | 19.8317
111.153 | -2.5443e-10 | 19.8423
111.486 | -2.5438e-10 | 19.8519
111.82 | -2.5492e-10 | 19.8435
112.121 | -2.5542e-10 | 19.8538
112.454 | -2.5494e-10 | 19.8445
112.755 | -2.5361e-10 | 19.8593
113.057 | -2.5416e-10 | 19.855
113.392 | -2.5429e-10 | 19.8499
113.693 | -2.5416e-10 | 19.8618
114.028 | -2.5424e-10 | 19.8541
115.269 | -2.5282e-10 | 19.8689
116.274 | -2.5364e-10 | 19.8761
116.612 | -2.5325e-10 | 19.8866
116.912 | -2.5446e-10 | 19.8797
117.248 | -2.5315e-10 | 19.8736
117.548 | -2.5306e-10 | 19.8788
117.883 | -2.532e-10 | 19.8935
118.183 | -2.5392e-10 | 19.8855
118.513 | -2.5345e-10 | 19.8752
118.843 | -2.5471e-10 | 19.8928
119.139 | -2.5292e-10 | 19.8824
119.472 | -2.5372e-10 | 19.8898
119.802 | -2.535e-10 | 19.8807
120.103 | -2.5308e-10 | 19.8874
120.436 | -2.5431e-10 | 19.8798
120.737 | -2.5444e-10 | 19.8883
121.069 | -2.5432e-10 | 19.8796
121.369 | -2.5233e-10 | 19.8881
121.707 | -2.5434e-10 | 19.8884
122.007 | -2.532e-10 | 19.8813
123.279 | -2.5409e-10 | 19.8946
124.282 | -2.5485e-10 | 19.8979
124.584 | -2.5441e-10 | 19.9065
124.919 | -2.5509e-10 | 19.8981
125.22 | -2.5459e-10 | 19.9034
125.557 | -2.5359e-10 | 19.9118
125.892 | -2.5469e-10 | 19.9041
126.195 | -2.5555e-10 | 19.9163
126.495 | -2.5457e-10 | 19.9124
126.833 | -2.5477e-10 | 19.9064
127.133 | -2.5493e-10 | 19.9112
127.468 | -2.5465e-10 | 19.9155
127.797 | -2.5565e-10 | 19.9195
128.128 | -2.5525e-10 | 19.9103
128.423 | -2.5444e-10 | 19.9152
128.754 | -2.5314e-10 | 19.9072
129.05 | -2.5402e-10 | 19.9124
129.384 | -2.5362e-10 | 19.9031
129.717 | -2.5344e-10 | 19.9091
130.953 | -2.5542e-10 | 19.9193
131.957 | -2.5448e-10 | 19.9231
132.292 | -2.5435e-10 | 19.9161
132.593 | -2.5474e-10 | 19.9202
132.93 | -2.5473e-10 | 19.9271
133.231 | -2.5565e-10 | 19.923
133.567 | -2.566e-10 | 19.9284
134.069 | -2.5736e-10 | 19.9213
135.411 | -2.554e-10 | 19.9277
136.317 | -2.5546e-10 | 19.9359
136.654 | -2.5526e-10 | 19.9302
136.954 | -2.5537e-10 | 19.9389
137.29 | -2.5617e-10 | 19.9325
137.589 | -2.562e-10 | 19.9381
137.918 | -2.5517e-10 | 19.9348
138.216 | -2.5394e-10 | 19.9373
138.547 | -2.5693e-10 | 19.9298
138.845 | -2.5652e-10 | 19.9352
139.175 | -2.5628e-10 | 19.9378
139.507 | -2.5457e-10 | 19.9308
139.808 | -2.5448e-10 | 19.9376
140.108 | -2.5427e-10 | 19.9343
140.442 | -2.5413e-10 | 19.9364
140.775 | -2.5531e-10 | 19.9393
141.11 | -2.5612e-10 | 19.9327
141.41 | -2.55e-10 | 19.9374
141.744 | -2.5575e-10 | 19.9329
142.048 | -2.5552e-10 | 19.9399
142.382 | -2.5499e-10 | 19.9446
142.717 | -2.5525e-10 | 19.9396
143.956 | -2.5518e-10 | 19.9468
144.963 | -2.5522e-10 | 19.9473
145.298 | -2.5453e-10 | 19.9513
145.632 | -2.5596e-10 | 19.9452
145.934 | -2.556e-10 | 19.9479
146.271 | -2.5533e-10 | 19.9518
146.604 | -2.5559e-10 | 19.9473
146.906 | -2.5594e-10 | 19.9507
147.242 | -2.5576e-10 | 19.9513
147.577 | -2.5542e-10 | 19.9552
147.91 | -2.5552e-10 | 19.9572
148.241 | -2.5632e-10 | 19.9516
148.539 | -2.5635e-10 | 19.953
148.868 | -2.5552e-10 | 19.9472
149.199 | -2.564e-10 | 19.9509
149.497 | -2.5585e-10 | 19.9533
149.83 | -2.5627e-10 | 19.9453
151.063 | -2.5524e-10 | 19.9512
151.999 | -2.5625e-10 | 19.9537
152.334 | -2.5508e-10 | 19.9562
152.669 | -2.5432e-10 | 19.9492
152.968 | -2.5598e-10 | 19.9519
153.303 | -2.5594e-10 | 19.9549
153.639 | -2.563e-10 | 19.9514
153.975 | -2.5502e-10 | 19.9538
154.308 | -2.5488e-10 | 19.956
154.609 | -2.5625e-10 | 19.9594
154.945 | -2.544e-10 | 19.9558
155.246 | -2.5543e-10 | 19.9596
155.581 | -2.5538e-10 | 19.9551
155.917 | -2.5614e-10 | 19.957
156.253 | -2.5476e-10 | 19.96
156.553 | -2.5457e-10 | 19.9625
156.887 | -2.5519e-10 | 19.959
157.19 | -2.5519e-10 | 19.96
158.495 | -2.5379e-10 | 19.9671
159.499 | -2.5377e-10 | 19.968
159.828 | -2.544e-10 | 19.9602
160.159 | -2.5393e-10 | 19.9621
160.456 | -2.5316e-10 | 19.9648
160.787 | -2.5365e-10 | 19.958
161.118 | -2.5317e-10 | 19.9594
161.617 | -2.5382e-10 | 19.9622
162.852 | -2.5318e-10 | 19.9662
163.856 | -2.5126e-10 | 19.9649
164.191 | -2.519e-10 | 19.9656
164.525 | -2.5236e-10 | 19.9598
164.859 | -2.5256e-10 | 19.9622
165.16 | -2.5209e-10 | 19.9655
165.492 | -2.5228e-10 | 19.9683
165.824 | -2.5239e-10 | 19.9686
166.158 | -2.5268e-10 | 19.9684
166.494 | -2.5202e-10 | 19.9688
166.828 | -2.5141e-10 | 19.969
167.164 | -2.5089e-10 | 19.9652
167.466 | -2.532e-10 | 19.9698
168.74 | -2.52e-10 | 19.9739
169.741 | -2.536e-10 | 19.9705
170.076 | -2.5402e-10 | 19.9723
170.41 | -2.5385e-10 | 19.9733
170.743 | -2.5302e-10 | 19.9698
171.044 | -2.5223e-10 | 19.9719
171.38 | -2.5245e-10 | 19.9736
171.71 | -2.5286e-10 | 19.9746
172.038 | -2.5329e-10 | 19.9735
172.368 | -2.5356e-10 | 19.9685
172.667 | -2.5362e-10 | 19.9704
172.997 | -2.5399e-10 | 19.9715
173.329 | -2.5423e-10 | 19.9722
173.661 | -2.5387e-10 | 19.9673
173.961 | -2.5353e-10 | 19.9687
174.293 | -2.5183e-10 | 19.9715
174.627 | -2.5352e-10 | 19.967
175.898 | -2.5249e-10 | 19.9679
176.899 | -2.5345e-10 | 19.9678
177.199 | -2.534e-10 | 19.9706
177.535 | -2.5304e-10 | 19.9721
177.869 | -2.5391e-10 | 19.9728
178.204 | -2.5295e-10 | 19.9748
178.537 | -2.5272e-10 | 19.9695
178.871 | -2.5331e-10 | 19.9715
179.173 | -2.5357e-10 | 19.9729
179.507 | -2.5272e-10 | 19.9746
179.841 | -2.5213e-10 | 19.976
180.172 | -2.5171e-10 | 19.9731
180.477 | -2.5184e-10 | 19.975
181.746 | -2.5452e-10 | 19.9767
182.781 | -2.533e-10 | 19.9742
183.116 | -2.5183e-10 | 19.9734
183.449 | -2.5259e-10 | 19.975
183.751 | -2.5235e-10 | 19.9774
184.086 | -2.52e-10 | 19.979
184.42 | -2.532e-10 | 19.9751
184.75 | -2.5262e-10 | 19.9756
185.048 | -2.5316e-10 | 19.9761
185.375 | -2.5257e-10 | 19.9779
185.706 | -2.5375e-10 | 19.9728
186.005 | -2.5362e-10 | 19.9755
186.337 | -2.5355e-10 | 19.9754
186.669 | -2.5377e-10 | 19.9762
187.002 | -2.5248e-10 | 19.972
188.234 | -2.5255e-10 | 19.9748
189.237 | -2.5467e-10 | 19.9727
189.572 | -2.5434e-10 | 19.9749
189.873 | -2.543e-10 | 19.9774
190.206 | -2.5368e-10 | 19.9779
190.542 | -2.5254e-10 | 19.9783
190.876 | -2.5163e-10 | 19.9737
191.21 | -2.5275e-10 | 19.9746
191.545 | -2.5355e-10 | 19.9794
191.878 | -2.5333e-10 | 19.9758
192.179 | -2.5306e-10 | 19.9778
192.513 | -2.5416e-10 | 19.9778
192.849 | -2.5486e-10 | 19.9793
193.181 | -2.5536e-10 | 19.9803
193.516 | -2.5394e-10 | 19.9753
194.786 | -2.5473e-10 | 19.9763
195.788 | -2.5218e-10 | 19.9806
196.123 | -2.5352e-10 | 19.9822
196.456 | -2.5333e-10 | 19.9775
196.791 | -2.5261e-10 | 19.9785
197.09 | -2.5362e-10 | 19.98
197.425 | -2.5313e-10 | 19.9804
197.758 | -2.5446e-10 | 19.9823
198.092 | -2.5456e-10 | 19.9785
198.393 | -2.5384e-10 | 19.9802
198.724 | -2.5356e-10 | 19.9821
199.053 | -2.5349e-10 | 19.9768
199.382 | -2.5304e-10 | 19.9772
199.715 | -2.5338e-10 | 19.9768
200.976 | -2.5409e-10 | 19.9766
201.973 | -2.5273e-10 | 19.9795
202.309 | -2.5158e-10 | 19.9755
202.642 | -2.5271e-10 | 19.977
202.943 | -2.5361e-10 | 19.9782
203.276 | -2.5256e-10 | 19.9795
203.612 | -2.606e-10 | 19.9813
203.945 | -2.4761e-10 | 19.977
204.245 | -2.5547e-10 | 19.9788
204.579 | -2.4551e-10 | 19.9796
204.947 | -2.5294e-10 | 19.9783
205.247 | -2.5665e-10 | 19.9798
205.582 | -2.5457e-10 | 19.9773
205.915 | -2.7667e-10 | 19.9792
207.185 | -2.4418e-10 | 19.9769
208.185 | -2.558e-10 | 19.9823
208.521 | -2.5831e-10 | 19.9828
208.854 | -2.5044e-10 | 19.9829
209.189 | -2.5598e-10 | 19.9792
209.489 | -2.6485e-10 | 19.9808
209.856 | -2.5773e-10 | 19.9808
210.19 | -2.4952e-10 | 19.9806
210.49 | -2.4201e-10 | 19.9812
210.827 | -2.5126e-10 | 19.9825
211.161 | -2.3748e-10 | 19.9845
211.495 | -2.5088e-10 | 19.9845
212.767 | -2.5411e-10 | 19.9838
213.795 | -2.4794e-10 | 19.982
214.09 | -2.5182e-10 | 19.9813
214.423 | -2.5465e-10 | 19.9822
214.755 | -2.5371e-10 | 19.9821
215.086 | -2.5891e-10 | 19.9828
215.42 | -2.5146e-10 | 19.984
215.817 | -2.6068e-10 | 19.9832
216.184 | -2.4804e-10 | 19.9784
217.428 | -2.534e-10 | 19.9796
218.461 | -2.5253e-10 | 19.9785
218.762 | -2.5593e-10 | 19.9787
219.098 | -2.5023e-10 | 19.9802
219.441 | -2.4857e-10 | 19.9813
219.778 | -2.3883e-10 | 19.9816
220.156 | -2.5759e-10 | 19.9823
220.467 | -2.7492e-10 | 19.9853
220.81 | -2.3701e-10 | 19.9864
221.152 | -2.5102e-10 | 19.9884
221.491 | -2.5291e-10 | 19.9851
222.751 | -1.5717e-10 | 19.9885
223.742 | 6.9035e-11 | 19.9864
224.073 | 3.7188e-11 | 19.9855
224.407 | -2.7328e-10 | 19.986
224.738 | -2.4937e-10 | 19.9851
225.071 | -2.3112e-10 | 19.9837
225.436 | -2.5424e-10 | 19.9837
225.769 | -2.4992e-10 | 19.9826
226.102 | -2.502e-10 | 19.9827
226.434 | -2.489e-10 | 19.9837
226.769 | -2.5155e-10 | 19.9871
228.034 | -2.5022e-10 | 19.9874
229.025 | -2.4762e-10 | 19.9859
229.353 | -2.4823e-10 | 19.9854
229.684 | -2.5042e-10 | 19.9811
230.017 | -2.483e-10 | 19.9818
230.35 | -2.4995e-10 | 19.9814
230.685 | -2.4863e-10 | 19.9816
231.021 | -2.5031e-10 | 19.9826
231.358 | -2.5237e-10 | 19.9834
231.659 | -2.505e-10 | 19.9846
231.993 | -2.5184e-10 | 19.9833
232.361 | -2.4797e-10 | 19.9841
232.695 | -2.4965e-10 | 19.984
232.994 | -2.494e-10 | 19.9835
234.294 | -2.4867e-10 | 19.9849
235.227 | -2.4931e-10 | 19.9866
235.561 | -2.4813e-10 | 19.9868
235.893 | -2.5032e-10 | 19.9859
236.23 | -2.5065e-10 | 19.9854
236.563 | -2.4987e-10 | 19.9861
236.897 | -2.5084e-10 | 19.9862
237.232 | -2.4999e-10 | 19.9862
237.566 | -2.4845e-10 | 19.985
237.965 | -2.4861e-10 | 19.9836
239.268 | -2.4731e-10 | 19.985
240.269 | -2.4973e-10 | 19.9876
240.602 | -2.4973e-10 | 19.988
240.969 | -2.4837e-10 | 19.9855
241.37 | -2.5043e-10 | 19.986
241.671 | -2.4905e-10 | 19.9856
243.373 | -2.5108e-10 | 19.9593
244.04 | -2.4831e-10 | 19.9853
244.368 | -2.5031e-10 | 19.9855
244.7 | -2.4864e-10 | 19.9868
245.128 | -2.5011e-10 | 19.9867
245.459 | -2.4996e-10 | 19.9867
245.823 | -2.4747e-10 | 19.9872
246.19 | -2.4859e-10 | 19.9845
246.521 | -2.5003e-10 | 19.9839
247.821 | -2.4812e-10 | 19.9842
248.757 | -2.4906e-10 | 19.9868
249.124 | -2.4986e-10 | 19.9847
249.459 | -2.4859e-10 | 19.984
249.793 | -2.5052e-10 | 19.9846
250.126 | -2.4963e-10 | 19.9857
250.495 | -2.5085e-10 | 19.9831
250.895 | -2.4894e-10 | 19.9852
251.228 | -2.508e-10 | 19.9843
252.465 | -2.5098e-10 | 19.9886
253.466 | -2.5101e-10 | 19.9887
253.833 | -2.5076e-10 | 19.9836
254.201 | -2.5113e-10 | 19.9874
254.568 | -2.5025e-10 | 19.986
254.902 | -2.5055e-10 | 19.9864
255.234 | -2.5067e-10 | 19.9866
255.569 | -2.4918e-10 | 19.9873
256.872 | -2.4974e-10 | 19.9888
257.872 | -2.4981e-10 | 19.9863
258.207 | -2.5192e-10 | 19.989
258.572 | -2.4823e-10 | 19.9894
258.907 | -2.4918e-10 | 19.9895
259.273 | -2.4791e-10 | 19.9892
259.607 | -2.5054e-10 | 19.9889
259.942 | -2.4945e-10 | 19.9896
260.273 | -2.4848e-10 | 19.989
261.535 | -2.4989e-10 | 19.9876
262.529 | -2.4923e-10 | 19.9881
262.895 | -2.4933e-10 | 19.9854
263.257 | -2.5142e-10 | 19.9873
263.592 | -2.4958e-10 | 19.987
263.959 | -2.5132e-10 | 19.9885
264.325 | -2.4826e-10 | 19.9862
264.659 | -2.4931e-10 | 19.9852
264.992 | -2.496e-10 | 19.9861
266.227 | -2.4928e-10 | 19.9872
267.298 | -2.5167e-10 | 19.9871
267.665 | -2.5003e-10 | 19.986
267.998 | -2.4987e-10 | 19.9876
268.365 | -2.5059e-10 | 19.9847
268.732 | -2.5067e-10 | 19.9884
269.1 | -2.5011e-10 | 19.9845
270.569 | -2.4945e-10 | 19.985
271.337 | -2.5038e-10 | 19.9867
271.67 | -2.5057e-10 | 19.9894
272.003 | -2.5052e-10 | 19.989
272.369 | -2.4969e-10 | 19.9872
272.704 | -2.5133e-10 | 19.9868
273.037 | -2.506e-10 | 19.9869
273.372 | -2.4966e-10 | 19.9902
273.705 | -2.483e-10 | 19.9886
274.072 | -2.5074e-10 | 19.9866
275.373 | -2.4907e-10 | 19.9875
276.307 | -2.5127e-10 | 19.9897
276.641 | -2.5203e-10 | 19.9888
277.008 | -2.5149e-10 | 19.9879
277.341 | -2.527e-10 | 19.9903
277.674 | -2.5097e-10 | 19.9898
278.008 | -2.5245e-10 | 19.989
278.374 | -2.5358e-10 | 19.9887
278.708 | -2.512e-10 | 19.9883
279.042 | -2.5086e-10 | 19.9874
279.372 | -2.5055e-10 | 19.9902
280.729 | -2.5127e-10 | 19.9869
281.692 | -2.5138e-10 | 19.988
282.027 | -2.5149e-10 | 19.9874
282.427 | -2.5262e-10 | 19.9873
282.727 | -2.5407e-10 | 19.986
283.094 | -2.5244e-10 | 19.9891
283.46 | -2.5409e-10 | 19.9876
283.826 | -2.5457e-10 | 19.9865
285.13 | -2.5455e-10 | 19.9875
286.064 | -2.5336e-10 | 19.9859
286.431 | -2.5355e-10 | 19.9884
286.765 | -2.5469e-10 | 19.9872
287.099 | -2.5377e-10 | 19.9895
287.466 | -2.5482e-10 | 19.9886
287.8 | -2.527e-10 | 19.9884
288.134 | -2.5557e-10 | 19.9871
288.467 | -2.5441e-10 | 19.9897
289.702 | -2.5474e-10 | 19.9895
290.77 | -2.5368e-10 | 19.9907
291.103 | -2.5318e-10 | 19.9891
291.471 | -2.5369e-10 | 19.9901
291.804 | -2.5405e-10 | 19.9899
292.139 | -2.5371e-10 | 19.9896
292.505 | -2.5438e-10 | 19.988
292.838 | -2.517e-10 | 19.989
294.174 | -2.5151e-10 | 19.9882
295.14 | -2.5443e-10 | 19.9891
295.473 | -2.5372e-10 | 19.9908
295.806 | -2.5409e-10 | 19.9897
296.174 | -2.5325e-10 | 19.9887
296.541 | -2.55e-10 | 19.9881
296.875 | -2.5432e-10 | 19.9901
297.241 | -2.5464e-10 | 19.9894
298.542 | -2.5485e-10 | 19.991
299.533 | -2.558e-10 | 19.9891
299.864 | -2.5495e-10 | 19.9879
300.197 | -2.538e-10 | 19.9903
300.529 | -2.5413e-10 | 19.989
300.861 | -2.5431e-10 | 19.9891
301.227 | -2.5412e-10 | 19.9882
301.56 | -2.5417e-10 | 19.9882
301.894 | -2.5375e-10 | 19.9888
302.362 | -2.5476e-10 | 19.9897
303.596 | -2.552e-10 | 19.9897
304.565 | -2.5299e-10 | 19.9874
304.998 | -2.5543e-10 | 19.9894
305.332 | -2.5496e-10 | 19.9896
305.7 | -2.5426e-10 | 19.9883
306.034 | -2.5592e-10 | 19.9907
306.367 | -2.5362e-10 | 19.9901
307.668 | -2.535e-10 | 19.991
308.603 | -2.5478e-10 | 19.9906
308.969 | -2.55e-10 | 19.9887
309.303 | -2.5323e-10 | 19.9912
309.637 | -2.541e-10 | 19.9905
309.972 | -2.5563e-10 | 19.9903
310.303 | -2.562e-10 | 19.99
310.671 | -2.545e-10 | 19.9892
311.005 | -2.5518e-10 | 19.9909
311.372 | -2.5375e-10 | 19.9895
311.706 | -2.5204e-10 | 19.9888
312.974 | -2.5413e-10 | 19.9905
313.944 | -2.5426e-10 | 19.992
314.278 | -2.5372e-10 | 19.9919
314.645 | -2.542e-10 | 19.9902
314.978 | -2.5404e-10 | 19.9895
315.311 | -2.5343e-10 | 19.9918
315.647 | -2.5358e-10 | 19.9917
315.979 | -2.5357e-10 | 19.9912
316.347 | -2.5266e-10 | 19.9904
316.679 | -2.5347e-10 | 19.99
317.981 | -2.5356e-10 | 19.9902
318.916 | -2.5036e-10 | 19.9925
319.249 | -2.5279e-10 | 19.9916
319.583 | -2.5356e-10 | 19.9907
319.95 | -2.5383e-10 | 19.9924
320.281 | -2.541e-10 | 19.9918